## POWER STATUS
POWER STATUS ON DT 29.09.2026
[9 empty] | 2026-09-29 | 2026-09-28
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 20:00
Demand -> | [8 empty] | 5666.9633 | 6293.295
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla [Gate-L-19 , R-9] | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 255.292 | 6.127 | 630/590 ft | 629.29 | 629.08 | 629.67 | 242.4418 | 242.7704
| Chiplima | 72(3x24) | 44.667 | 1.072 | - |  |  |  | 32.5688 | 39.2865
| Balimela | 510(6x60+2x75) | 48.5 | 1.164 | 1516/1440 ft | 1496.2 | 1500.5 | 1501.4 | 179.5112 | 207.1368
| Rengali | 250(5x50) | 248.8333 | 5.972 | 123.5/109.75 mt | 123.45 | 123.71 | 123.98 | 244.1165 | 245.3086
| Upper Kolab | 320(4x80) | 57.5 | 1.38 | 858/844 mt | 856.43 | 855.6 | 855.69 | 0 | 224.9543
| Upper Indravati[ Gate- 1(0.5 m)] | 600(4x150) | 599.2292 | 14.3815 | 642/625 mt | 638.97 | 641.66 | 641.57 | 607.9595 | 605.7379
| Machkund | 60(50% of(3x17+3x23)) | 21.62 | 0.51888 | 2750/2685 ft | 2748 | 2747.15 | 2746.85 | 25.933 | 25.9896
| Total Hydro | 2099.5 | 1275.6415 | 30.6154 |  |  |  |  | 1332.531 | 1591.184
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1011.7567 | 24.2822 | RENEWABLE ENERGY (RE) |  |  |  | 1052.3426 | 1052.5268
[5 empty] | M.Hydl | 83.79
| Total Thermal | 2200 | 1011.7567 | 24.2822 | Solar | 115.66 |  |  | 1052.3426 | 1052.5268
IPP | VEDANTA #2 | 600 (1x600) | 426.6364 | 10.2393 | Total IPPs | Yesterday's Demand Profile |  |  | 390.2933 | 560.8985
| GMR #3 | 350 (1x350) | 319.4575 | 7.667 | 845.6645 |  | MW | HRS | 325.8011 | 324.7512
| NBVL(IPP) | 60(1x60) | 50.4239 | 1.2102 |  |  |  |  | 47.1388 | 53.574
| MDTPC |  | 49.1467 | 1.1795 |  |  |  |  | 31.317 | 55.8707
| CGPs |  | 789.0691 | 18.9377 | IPPs, CGPs & RE | Maximum | 6293 | 20:00 | 2157.5386 | 2001.9166
| Central Sector(Drawl) |  | 1567.578 | 37.6219 | 1834.1837 | Minimum | 5172 | 07:00 | 1124.5512 | 1647.6676
| Central Sector(Sch) |  | 1668.9081 | 40.0538 |  | Average | 5689.1599 |  | 1147.7289 | 1895.0889
| Grand Total |  | 5689.1599 | 136.5398 | Instantaneous Peak demand |  | 6593 | 46292.8201 | 5666.9633 | 6293.295
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(4) |  | ACTUAL |  | SCHEDULE(1)
Burla | NIL | IbTPS / OPGC | 4 |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1674 | 40.176 | 1651 | 39.624 | 1667 | 40.008
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1499 | 35.976 | 1665 | 39.96 | 1364 | 32.736
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1284 | 30.816 | 1434 | 34.416 | 1229 | 29.496
U.Kolab | 2 | KAHALGAON | 1,6 | TPSODL | 589 | 14.136 | 603 | 14.472 | 594 | 14.256
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5046 | 121.104 | 5353 | 128.472 | 4854 | 116.496
Machhkund | 4,5,6 | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 390.2933 | GMR |  |  |  | 325.8011
| NBVL #3 | 47.1388 | MDTPC |  |  |  | 31.317
Mini Hydel: | MEENAKSHI | 0 | OPCL |  |  |  | 0
| BTPL | 25.558 | SAPTADHARA |  |  |  | 19.0019
| SNHEP | 31.7283 | KAKATIYA |  |  |  | 7.4969
Solar: |  | 115.6567
CGPs : | JSPL (Angul) | 292.5921 | JSL(Duburi) |  |  |  | -145.3608
| ICCL | 29.7565 | visa |  |  |  | 25.4002
| NALCO | -54.1226 | VAL (CGP) |  |  |  | 30.4334
| RSP | -49.063 | BSL(MMDL) |  |  |  | 35.1446
| INDAL | -1.5543 | ADITYA ALUMINIUM |  |  |  | 40
| NINL | -32.0709 | VAL CPP 400 kV |  |  |  | -498.4311
| NBVL | 50.4239 | Arati |  |  |  | 10.1062
| BPSL(JSG) | 19.6908 | BPPL |  |  |  | 115.5273
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-09-21 | 2026-09-22 | 2026-09-23 | 2026-09-24 | 2026-09-25 | 2026-09-26 | 2026-09-27 | 2026-09-28
1226.1063 | 1269.6134 | 1234.573 | 1075.56 | 784.1312 | 1206.94 | 1241.34 | 1275.6415
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.28.09.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AARTISTEEL | GEB_Beneficiary | 0 | AARTISTEEL | UPPCL | 0 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0.69
AARTISTEEL | KPTCL | -5 | DCBL_Rajgangpur | DCL_RCW | -1.5 | AGE26AL_PSS6_KPS1_S | ODISHA | 129.72
AMNSIL_Pdeep | AMNSIL | -6.12 | ENVIROCARE_INFRA | DNHDDPDCL | -5 | AP41PL_BHDL | ODISHA | 57.44
ARYAN_ISPAT | BALCO_LOAD | -5 | FACORPOWER | PSPCL | -8.75 | AP43PL_BKN | ODISHA | 83.91
ENVIROCARE_INFRA | APCPDCL | -13 | FACORPOWER | PSPCL | -21.25 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 1.63
FACORPOWER | RUVITSL | -3.33 | FACORPOWER | RUVITSL | -4 | AWEK1L | ODISHA | 7.32
GMRKEL_STU | GEB_Beneficiary | -61.9 | JSPLANGUL | RUVITSL | -70.83 | AWEK1L | ODISHA | 10.98
GMRKEL_STU | TNEB | -18 | JSPLANGUL | RUVITSL | -2.08 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 3.39
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | JSPLANGUL | RUVITSL | -1.39 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 23.09
JPIPL | NPCL_UP | -13 | JSPLANGUL | RUVITSL | -47.22 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 13.45
JSPLANGUL | GEB_Beneficiary | -73.33 | KCMW_od | SFLPondyHEX288 | -0.58 | DADRI_SOLAR | ODISHA | 0.39
JSPLANGUL | RUVITSL | -27.08 | KCMW_od | SFLPondyHWF407 | -0.88 | ENERSON_SOLAR_10MW | ODISHA | 0.96
JSPLANGUL | RUVITSL | -18.06 | NBVLIPP | BSPHCL | -12.54 | GADAG_GreenInfra_W | ODISHA | 0.18
MAADURGA_THERMAL | NPCL_UP | -17.26 | NBVLIPP | RUVITSL | -5.38 | GADAG_GreenInfra_W | ODISHA | 0
NBVLIPP | KPTCL | -1.92 | OCL_IRON_STEEL | GOA_Beneficiary | -19.67 | GADAG_GreenInfra_W | ODISHA | 0
NBVLIPP | KPTCL | -3.83 | OCL_IRON_STEEL | TPDDL | 0 | GADAG_Serentica3_S | VLSEZ | 38.45
NBVLIPP | KPTCL | -5.75 | ODISHA | TANGEDCO | -12.5 | GADAG_Serentica3_W | VLSEZ | 23.42
NBVLIPP | TANGEDCO | 0 | ODISHA | TANGEDCO | -6.25 | GIWEL_SECI_II_RE | ODISHA | 28.25
ODISHA | BALCO_LOAD | -60 | ODISHA | TANGEDCO | -18.75 | GPCL_SOLAR_10 | ODISHA | 1.01
ORSISL | BALCO_LOAD | -5 | ODISHA | TANGEDCO | -12.5 | GSECL_SOLAR | ODISHA | 1.46
RSPL_JHARSUGUDA | GEB_Beneficiary | -20 | ORSISL | TPLD | -2.5 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.78
VSL | APCPDCL | -5 | SMEL | PSPCL | -7.29 | KARUR_TPVARDHAMAN_W | TSKPO | 20.97
FARIDABAD_SOLAR | ODISHA | 0.86 | SMEL | PSPCL | -17.71 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.37
JSWEL_UTKAL | ODISHA | 71.09 | Shri_JSPL | KSEB | -2 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.05
RAJ_SOLAR | ODISHA | 2.36 | VIRAJ_SEPL | PSPCL | 0 | Kurnool_Greenko_H_Inj | ADITYAAL | 8.2
RAJ_SOLAR | ODISHA | 2.35 | VIRAJ_SEPL | PSPCL | 0 | NTPCRE1_SMND_BHJ2_W | ODISHA | 4.16
|  |  | VSL | DNHDDPDCL | -5 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 0
|  |  | VSL | TANGEDCO | -10 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 1.49
|  |  | BSPHCL | VLSEZ | 3.63 | OKWPL_RE | ODISHA | 16.99
|  |  | Darlipali_NTPC | ODISHA | 17.91 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 2.14
|  |  | JIPL | ODISHA | 116.05 | RWE_AP2_SECI_III | ODISHA | 11.38
|  |  | NALCOAP | NACL_Odisha | 1.28 | RenewGreen_SLPR_HS | JSL_DUBURI | 15.66
|  |  | TATA_POWER_HALDIA | VLSEZ | 1.09 | SRI9PL_FTG3 | VLSEZ | 118.86
[6 empty] | TPVSL_BKN3 | TSKPO | 14.46
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.12
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.14
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 14.64
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 9.89
[6 empty] | XXPPL_FTG3 | ODISHA | 80.78

## DAM
DAM TRADING DETAILS FOR DT : 28.09.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | MGM_Minerals_Ltd | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | -1.6 | 0 | 19.34 | -1.1 | -2 | -3 | 0 | 319.15
00:15 - 00:30 | -1.6 | 0 | 19.34 | -1.1 | -2 | -3 | 0 | 291.1
00:30 - 00:45 | -1.6 | 0 | 19.34 | -1.1 | -2 | -3 | 0 | 264.99
00:45 - 01:00 | -1.6 | 0 | 19.34 | -1.1 | -2 | -3 | 0 | 236.94
01:00 - 01:15 | -1.6 | 0 | 19.34 | -1.1 | -2 | -3 | 0 | 210.83
01:15 - 01:30 | -1.6 | 0 | 19.34 | -1.1 | -2 | -3 | 0 | 182.78
01:30 - 01:45 | -1.6 | 0 | 19.34 | -1.1 | -2 | -3 | 0 | 155.71
01:45 - 02:00 | -1.6 | 0 | 19.34 | -1.1 | -2 | -3 | 0 | 128.63
02:00 - 02:15 | -1.6 | 0 | 19.34 | -1.1 | -2 | 0 | 0 | 0
02:15 - 02:30 | -1.6 | 0 | 19.34 | -1.1 | -2 | 0 | 0 | 0
02:30 - 02:45 | -1.6 | 0 | 19.34 | -1.1 | -2 | 0 | 0 | 0
02:45 - 03:00 | -1.6 | 0 | 19.34 | -1.1 | -2 | 0 | 0 | 0
03:00 - 03:15 | -1.6 | 0 | -200 | -1.1 | -2 | 0 | 0 | 0
03:15 - 03:30 | -1.6 | 0 | -200 | -1.1 | -2 | 0 | 0 | 0
03:30 - 03:45 | -1.6 | 0 | -200 | -1.1 | -2 | 0 | 0 | 0
03:45 - 04:00 | -1.6 | 0 | -200 | -1.1 | -2 | 0 | 0 | 0
04:00 - 04:15 | -1.6 | 0 | -200 | -1.1 | -2 | 0 | 0 | 0
04:15 - 04:30 | -1.6 | 0 | -200 | -1.1 | -2 | 0 | 0 | 0
04:30 - 04:45 | -1.6 | 0 | -200 | -1.1 | -2 | 0 | 0 | 0
04:45 - 05:00 | -1.6 | 0 | -200 | -1.1 | -2 | 0 | 0 | 0
05:00 - 05:15 | -1.6 | 0 | -200 | -1.2 | -2 | -3 | 0 | 0
05:15 - 05:30 | -1.6 | 0 | -200 | -1.2 | -2 | -3 | 0 | 0
05:30 - 05:45 | -1.6 | 0 | -200 | -1.2 | -2 | -3 | 0 | 0
05:45 - 06:00 | -1.6 | 0 | -200 | -1.2 | -2 | -3 | 0 | 0
06:00 - 06:15 | -1.6 | -25.5 | -300 | -1.2 | -2 | -3 | 0 | 0
06:15 - 06:30 | -1.6 | -25.5 | -300 | -1.2 | -2 | -3 | 0 | 0
06:30 - 06:45 | -1.6 | -25.5 | -300 | -1.2 | -2 | -3 | 0 | 0
06:45 - 07:00 | -1.6 | -25.5 | -300 | -1.2 | -2 | -3 | 0 | 0
07:00 - 07:15 | -1.6 | 0 | -675 | -1.2 | -2 | -3 | 0 | 0
07:15 - 07:30 | -1.6 | 0 | -675 | -1.2 | -2 | -3 | 0 | 0
07:30 - 07:45 | -1.6 | 0 | -675 | -1.2 | -2 | -3 | 0 | 0
07:45 - 08:00 | -1.6 | 0 | -675 | -1.2 | -2 | -3 | 0 | 0
08:00 - 08:15 | -1.6 | 0 | -1075 | -1.2 | -1 | -45.5 | 0 | 0
08:15 - 08:30 | -1.6 | 0 | -1075 | -1.2 | -1 | -45.5 | 0 | 0
08:30 - 08:45 | -1.6 | 0 | -1075 | -1.2 | -1 | -45.5 | 0 | 0
08:45 - 09:00 | -1.6 | 0 | -1075 | -1.2 | -1 | -45.5 | 6.77 | 0
09:00 - 09:15 | -1.6 | 0 | -1250 | -1.2 | -1 | -34 | 6.77 | 0
09:15 - 09:30 | -1.6 | 0 | -1001.88 | -1.2 | -1 | -34 | 6.77 | 0
09:30 - 09:45 | -1.6 | 0 | -738.44 | -1.2 | -1 | -34 | 6.77 | 0
09:45 - 10:00 | -1.6 | 0 | -419.72 | -1.2 | -1 | -34 | 6.77 | 0
10:00 - 10:15 | -1.6 | 0 | -225 | -1.2 | -1 | -34 | 6.77 | 0
10:15 - 10:30 | -1.6 | 0 | -225 | -1.2 | -1 | -34 | 6.77 | 0
10:30 - 10:45 | -1.6 | 0 | -225 | -1.2 | -1 | -34 | 6.77 | 0
10:45 - 11:00 | -1.6 | 0 | -225 | -1.2 | -1 | -34 | 6.77 | 0
11:00 - 11:15 | -1.6 | 0 | -225 | -1.2 | -1 | -34 | 6.77 | 0
11:15 - 11:30 | -1.6 | 0 | -225 | -1.2 | -1 | -34 | 6.77 | 0
11:30 - 11:45 | -1.6 | 0 | -225 | -1.2 | -1 | -34 | 6.77 | 0
11:45 - 12:00 | -1.6 | 0 | -225 | -1.2 | -1 | -34 | 6.77 | 0
12:00 - 12:15 | -1.6 | 0 | -225 | -1.2 | -1 | -34 | 6.77 | 0
12:15 - 12:30 | -1.6 | 0 | -225 | -1.2 | -1 | -34 | 6.77 | 0
12:30 - 12:45 | -1.6 | 0 | -225 | -1.2 | -1 | -34 | 6.77 | 0
12:45 - 13:00 | -1.6 | 0 | -225 | -1.2 | -1 | -34 | 6.77 | 0
13:00 - 13:15 | -1.6 | 0 | -225 | -1.2 | -1 | -34 | 6.77 | 0
13:15 - 13:30 | -1.6 | 0 | -225 | -1.2 | -1 | -34 | 6.77 | 0
13:30 - 13:45 | -1.6 | 0 | -225 | -1.2 | -1 | -34 | 6.77 | 0
13:45 - 14:00 | -1.6 | 0 | -225 | -1.2 | -1 | -34 | 6.77 | 0
14:00 - 14:15 | -1.6 | 0 | -225 | -1.2 | -1 | -34 | 6.77 | 0
14:15 - 14:30 | -1.6 | 0 | -339.91 | -1.2 | -1 | -34 | 6.77 | 0
14:30 - 14:45 | -1.6 | 0 | -406.02 | -1.2 | -1 | -34 | 6.77 | 0
14:45 - 15:00 | -1.6 | 0 | -688.97 | -1.2 | -1 | -34 | 6.77 | 0
15:00 - 15:15 | -1.6 | 0 | -1250 | -1.2 | -2 | -45.5 | 6.77 | 0
15:15 - 15:30 | -1.6 | 0 | -1250 | -1.2 | -2 | -45.5 | 6.77 | 0
15:30 - 15:45 | -1.6 | 0 | -1250 | -1.2 | -2 | -45.5 | 0 | 0
15:45 - 16:00 | -1.6 | 0 | -1250 | -1.2 | -2 | -45.5 | 0 | 0
16:00 - 16:15 | -1.6 | 0 | -850 | -1.2 | -2 | 0 | 0 | 0
16:15 - 16:30 | -1.6 | 0 | -725 | -1.2 | -2 | 0 | 0 | 0
16:30 - 16:45 | -1.6 | 0 | -550 | -1.2 | -2 | 0 | 0 | 0
16:45 - 17:00 | -1.6 | 0 | -600 | -1.2 | -2 | 0 | 0 | 0
17:00 - 17:15 | -1.6 | -25.5 | -525 | -1 | -2 | 0 | 0 | 0
17:15 - 17:30 | -1.6 | -25.5 | -525 | -1 | -2 | 0 | 0 | 0
17:30 - 17:45 | -1.6 | -25.5 | -275 | -1 | -2 | 0 | 0 | 0
17:45 - 18:00 | -1.6 | -25.5 | -225 | -1 | -2 | 0 | 0 | 0
18:00 - 18:15 | -1.6 | 0 | 1.01 | -1 | -2 | 0 | 0 | 0
18:15 - 18:30 | -1.6 | 0 | 0.09 | -1 | -2 | 0 | 0 | 0
18:30 - 18:45 | -1.6 | 0 | 0.09 | -1 | -2 | 0 | 0 | 0
18:45 - 19:00 | -1.6 | 0 | 0 | -1 | -2 | 0 | 0 | 0
19:00 - 19:15 | -1.6 | 0 | 0 | -1 | -2 | -3 | 0 | 0
19:15 - 19:30 | -1.6 | 0 | 0.05 | -1 | -2 | -3 | 0 | 0
19:30 - 19:45 | -1.6 | 0 | 0.12 | -1 | -2 | -3 | 0 | 0
19:45 - 20:00 | -1.6 | 0 | 0.2 | -1 | -2 | -3 | 0 | 0
20:00 - 20:15 | -1.6 | 0 | 0.46 | -1 | -2 | -3 | 0 | 0
20:15 - 20:30 | -1.6 | 0 | 0.77 | -1 | -2 | -3 | 0 | 0
20:30 - 20:45 | -1.6 | 0 | 1.16 | -1 | -2 | -3 | 0 | 0
20:45 - 21:00 | -1.6 | 0 | 1.43 | -1 | -2 | -3 | 0 | 0
21:00 - 21:15 | -1.6 | 0 | 1.82 | -1 | -2 | -3 | 0 | 0
21:15 - 21:30 | -1.6 | 0 | 2.34 | -1 | -2 | -3 | 0 | 0
21:30 - 21:45 | -1.6 | 0 | 2.36 | -1 | -2 | -3 | 0 | 0
21:45 - 22:00 | -1.6 | 0 | 2.79 | -1 | -2 | -3 | 0 | 0
22:00 - 22:15 | -1.6 | 0 | 1.96 | -1 | -2 | -3 | 0 | 0
22:15 - 22:30 | -1.6 | 0 | 0.7 | -1 | -2 | -3 | 0 | 0
22:30 - 22:45 | -1.6 | 0 | 0.67 | -1 | -2 | -3 | 0 | 0
22:45 - 23:00 | -1.6 | 0 | 0.79 | -1 | -2 | -3 | 0 | 0
23:00 - 23:15 | -1.6 | 0 | 0.86 | -1 | -2 | -3 | 0 | 0
23:15 - 23:30 | -1.6 | 0 | 1.43 | -1 | -2 | -3 | 0 | 0
23:30 - 23:45 | -1.6 | 0 | -97.86 | -1 | -2 | -3 | 0 | 0
23:45 - 24:00 | -1.6 | 0 | -97.16 | -1 | -2 | -3 | 0 | 0
Average | -1.6 | -2.125 | -296.7373 | -1.1208 | -1.7083 | -13.5417 | 1.9041 | 18.6472

## GDAM
GDAM TRADING DETAILS FOR DT:28.09.2026
Time Period | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | IOCL_Paradeep_Refinery | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Tata_Steel_Limited_Kalinga_Nagar | Vedanta_Aluminium_Metal_Ltd_CPP_9X135MW_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 9.67 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 9.67 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 9.23 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 5.89 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 9.67 | 0 | 0 | 3.38 | 5.42 | 0
07:45 - 08:00 | 0 | 0 | 0 | 9.67 | 29.01 | 0 | 3.38 | 67.71 | 0
08:00 - 08:15 | 0 | 0 | 0 | 0 | 15.99 | 9.67 | 3.38 | 29.02 | 0
08:15 - 08:30 | 0 | 0 | 33.86 | 0 | 29.01 | 9.67 | 3.38 | 29.01 | 0
08:30 - 08:45 | 0 | 0 | 33.86 | 0 | 29.01 | 9.67 | 3.38 | 29.01 | 0
08:45 - 09:00 | 0.04 | 7.64 | 33.86 | 0 | 29.01 | 9.67 | 3.38 | 29.01 | 0
09:00 - 09:15 | 0.96 | 6.96 | 33.86 | 0 | 29.01 | 9.67 | 3.38 | 19.34 | 0
09:15 - 09:30 | 1.09 | 6.58 | 33.86 | 0 | 29.01 | 9.67 | 3.38 | 19.34 | 0
09:30 - 09:45 | 2.18 | 6.19 | 33.85 | 0 | 29.01 | 9.67 | 3.38 | 19.34 | 0
09:45 - 10:00 | 95.78 | 5.22 | 33.85 | 0 | 29.01 | 9.67 | 3.38 | 19.34 | 50.29
10:00 - 10:15 | 95.82 | 5.32 | 33.85 | 0 | 29.01 | 9.67 | 3.38 | 19.34 | 100.59
10:15 - 10:30 | 95.75 | 5.03 | 33.85 | 0 | 29.01 | 9.67 | 3.38 | 19.34 | 100.59
10:30 - 10:45 | 95.91 | 5.22 | 33.85 | 0 | 29.01 | 9.67 | 3.38 | 19.34 | 100.59
10:45 - 11:00 | 95.77 | 5.22 | 33.85 | 0 | 29.01 | 9.67 | 3.38 | 19.34 | 100.59
11:00 - 11:15 | 95.74 | 5.03 | 33.85 | 0 | 29.01 | 9.67 | 3.38 | 19.34 | 100.59
11:15 - 11:30 | 89.46 | 5.03 | 33.85 | 0 | 29.01 | 9.67 | 3.38 | 19.34 | 100.58
11:30 - 11:45 | 95.74 | 4.74 | 33.85 | 0 | 29.01 | 9.67 | 3.38 | 19.34 | 100.59
11:45 - 12:00 | 95.65 | 4.64 | 33.85 | 0 | 29.01 | 9.67 | 3.38 | 19.34 | 100.59
12:00 - 12:15 | 95.83 | 4.74 | 33.85 | 0 | 29.01 | 9.67 | 3.38 | 19.34 | 100.59
12:15 - 12:30 | 95.79 | 5.61 | 33.85 | 0 | 29.01 | 9.67 | 3.38 | 19.34 | 100.59
12:30 - 12:45 | 96 | 6.38 | 33.85 | 0 | 29.01 | 9.67 | 3.38 | 19.34 | 100.59
12:45 - 13:00 | 96.31 | 7.25 | 33.85 | 0 | 29.01 | 9.67 | 3.38 | 19.34 | 100.59
13:00 - 13:15 | 96.3 | 8.12 | 33.85 | 0 | 29.01 | 9.67 | 3.38 | 19.34 | 100.6
13:15 - 13:30 | 96.11 | 7.64 | 33.85 | 0 | 29.01 | 9.67 | 3.38 | 19.34 | 100.59
13:30 - 13:45 | 96.16 | 7.25 | 33.85 | 0 | 29.01 | 9.67 | 3.38 | 19.34 | 100.59
13:45 - 14:00 | 96.11 | 6.48 | 33.85 | 0 | 29.01 | 9.67 | 3.38 | 19.34 | 100.59
14:00 - 14:15 | 96.39 | 6.09 | 33.85 | 0 | 29.01 | 9.67 | 3.38 | 19.34 | 100.59
14:15 - 14:30 | 96.57 | 6.48 | 33.85 | 0 | 29.01 | 9.67 | 3.38 | 19.34 | 100.59
14:30 - 14:45 | 96.69 | 6.96 | 33.85 | 0 | 29.01 | 9.67 | 3.38 | 19.34 | 100.59
14:45 - 15:00 | 96.73 | 7.35 | 33.85 | 0 | 29.01 | 9.67 | 3.38 | 19.34 | 100.59
15:00 - 15:15 | 0 | 0 | 33.85 | 0 | 29.01 | 9.67 | 3.38 | 19.34 | 50.3
15:15 - 15:30 | 0 | 8.61 | 33.86 | 0 | 29.01 | 9.67 | 3.38 | 19.34 | 0
15:30 - 15:45 | 0 | 0 | 33.86 | 0 | 29.01 | 9.67 | 3.38 | 19.34 | 0
15:45 - 16:00 | 0 | 0 | 33.86 | 0 | 29.01 | 9.67 | 3.38 | 19.34 | 0
16:00 - 16:15 | 0 | 0 | 33.85 | 9.67 | 29.01 | 9.67 | 3.38 | 58.03 | 0
16:15 - 16:30 | 0 | 0 | 33.85 | 9.67 | 29.01 | 9.67 | 3.38 | 58.03 | 0
16:30 - 16:45 | 0 | 0 | 0 | 9.67 | 29.01 | 0 | 3.38 | 58.03 | 0
16:45 - 17:00 | 0 | 0 | 0 | 9.67 | 28.58 | 0 | 3.34 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | 9.67 | 7.75 | 0 | 0.9 | 0 | 0
17:15 - 17:30 | 0 | 0 | 0 | 9.67 | 0 | 0 | 0 | 0 | 0
17:30 - 17:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:45 - 18:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | 20.9883 | 1.6852 | 11.6368 | 1.1648 | 11.1216 | 3.4248 | 1.3469 | 9.4249 | 22.0041

## RTM
RTM TRADING DETAILS FOR DT: 28.09.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | MGM_Green_Energy_Limited_5MW_Solar_Power_Plant_Lokapada | MGM_Green_Energy_Ltd | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Unit_II_PTC | Shree_Ganesh_Metaliks_Ltd_Kuarmunda | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_FAP_Gopalpur | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal | Thakur_Prasad_Sao_And_Sons_Private_Limited_Unit_IV | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Visa_Chrome_Limited
00:00 - 00:15 | -2 | 0 | -1.3 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -53 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -5 | -2 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -1
00:15 - 00:30 | -2 | 0 | -1.3 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -53 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -5 | -2 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -1
00:30 - 00:45 | -2 | 0 | -1.3 | -1.4 | 0 | 0 | -285.01 | 0 | 0 | 0 | -1 | 0 | -53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -5 | -2 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -1
00:45 - 01:00 | -2 | -10 | -1.3 | -1.4 | 0 | 0 | -128.46 | 0 | 0 | 0 | -1 | 0 | -53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -5 | -2 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -1
01:00 - 01:15 | -2 | 0 | -1.3 | -1.4 | 0 | 0 | -259.74 | 0 | 0 | 0 | -1 | 0 | -53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -5 | -2 | -10 | 0 | 0 | 0 | -1 | 0 | 0 | -1
01:15 - 01:30 | -2 | 0 | -1.3 | -1.4 | 0 | 0 | -258.08 | 0 | 0 | 0 | -1 | 0 | -53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -5 | -2 | -40 | 0 | 0 | 0 | -1 | 0 | 0 | -1
01:30 - 01:45 | -2 | 0 | -1.4 | -1.4 | 0 | 0 | -265.63 | 0 | 0 | 0 | -1 | 0 | -53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -5 | -2 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -1
01:45 - 02:00 | -2 | 0 | -1.4 | -1.4 | 0 | 0 | -264.67 | 0 | 0 | 0 | -1 | 0 | -53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -5 | -2 | 0 | 0 | 0 | 0 | -1 | 0 | 42.55 | -1
02:00 - 02:15 | -2 | 0 | -1.4 | -1.4 | 0 | 0 | -63.8 | 0 | 0 | 0 | -1 | 0 | -53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -2 | -10 | 0 | 0 | 0 | -1 | 0 | 50.29 | -1
02:15 - 02:30 | -2 | -9 | -1.4 | -1.4 | 0 | 0 | -60.61 | 0 | 0 | 0 | -1 | 0 | -53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -2 | 0 | 0 | 0 | 0 | -1 | 0 | 59.96 | -1
02:30 - 02:45 | -2 | 0 | -1.4 | -1.4 | 0 | 0 | -208.67 | 0 | 0 | 0 | -1 | 0 | -53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -5 | -2 | 0 | 0 | 0 | 0 | -1 | 0 | 78.34 | -1
02:45 - 03:00 | -2 | 0 | -1.4 | -1.4 | 0 | 0 | -161.67 | 0 | 0 | 0 | -1 | 0 | -53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -5 | -2 | -30 | 0 | 0 | 0 | -1 | 0 | 79.3 | -1
03:00 - 03:15 | -2 | 0 | -1.4 | -1.4 | 0 | 0 | -60.73 | 0 | 0 | 0 | -1 | 0 | -53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -5 | -2 | 0 | 0 | 0 | 0 | -1 | 0 | 78.34 | -1
03:15 - 03:30 | -2 | 0 | -1.4 | -1.4 | 0 | 0 | -63.34 | 0 | 0 | 0 | -1 | 0 | -53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -5 | -2 | -20 | 0 | 0 | 0 | -1 | 0 | 77.37 | -1
03:30 - 03:45 | -2 | 0 | -1.4 | -1.4 | 0 | 0 | -63.34 | 0 | 0 | 0 | -1 | 0 | -53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -5 | -2 | 0 | 0 | 0 | 0 | -1 | 0 | 55.12 | -1
03:45 - 04:00 | -2 | -15 | -1.4 | -1.4 | 0 | 0 | -163.34 | 0 | 0 | 0 | -1 | 0 | -53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -5 | -2 | 0 | 0 | 0 | 0 | -1 | 0 | 52.22 | -1
04:00 - 04:15 | -2 | -6 | -1.4 | -1.4 | 0 | 0 | -62.88 | 0 | 0 | 0 | -1 | 0 | -53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | -2 | 0 | 0 | 0 | 0 | -1 | 0 | 51.26 | -1
04:15 - 04:30 | -2 | 0 | -1.4 | -1.4 | 0 | 0 | -66.67 | 0 | 0 | 0 | -1 | 0 | -53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | -2 | -35 | 0 | 0 | 0 | -1 | 0 | 50.29 | -1
04:30 - 04:45 | -2 | 0 | -1.4 | -1.4 | 0 | 0 | -61.34 | 0 | 0 | 0 | -1 | 0 | -53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | -2 | 0 | 0 | 0 | 0 | -1 | 0 | 49.32 | -1
04:45 - 05:00 | -2 | 0 | -1.4 | -1.4 | 0 | 0 | -162.01 | 0 | 0 | 0 | -1 | 0 | -53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | -2 | 0 | 0 | 0 | 0 | -1 | 0 | 48.36 | -1
05:00 - 05:15 | -2 | 0 | -1.4 | -1.4 | 0 | 0 | -70.47 | 0 | 0 | 0 | -1 | 0 | -53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | -1 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -1
05:15 - 05:30 | -2 | 0 | -1.4 | -1.4 | 0 | 0 | -189.94 | 0 | 0 | 0 | -1 | 0 | -53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | -1 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -1
05:30 - 05:45 | -2 | -6 | -1.4 | -1.4 | 0 | 0 | -270.47 | 0 | 0 | 0 | -1 | 0 | -53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | -1 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -1
05:45 - 06:00 | -2 | -6 | -1.4 | -1.4 | 0 | 0 | -399.99 | 0 | 0 | 0 | -1 | 0 | -53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | -1 | -20 | 0 | 0 | 0 | -1 | 0 | 0 | -1
06:00 - 06:15 | -2 | 0 | -1.4 | -1.4 | 0 | 0 | -400 | 0 | 0 | 0 | -1 | 0 | -53 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -1 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -11
06:15 - 06:30 | -2 | 0 | -1.4 | -1.4 | 0 | 0 | -300 | 0 | 0 | 0 | -1 | 0 | -53 | -0.3 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -1 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -11
06:30 - 06:45 | -2 | 0 | -1.4 | -1.4 | 0 | 0 | -300 | 0 | 0 | 0 | -1 | 0 | -53 | -0.6 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -1 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -11
06:45 - 07:00 | -2 | 0 | -1.4 | -1.4 | 0 | 0 | -400 | 0 | 0 | 0 | -1 | 0 | -53 | -1 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -1 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -11
07:00 - 07:15 | -2 | -7 | -1.4 | -1.4 | -25.5 | 0 | -200 | 0 | 0 | -0.8 | -1 | 0 | -53 | -1.3 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -11
07:15 - 07:30 | -2 | -7 | -1.4 | -1.4 | -25.5 | 0 | -100 | 0 | 0 | -1.1 | -1 | 0 | -53 | -1.7 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -30 | 0 | 0 | 0 | -1 | 0 | 0 | -11
07:30 - 07:45 | -2 | 0 | -1.4 | -1.4 | 0 | 0 | -277.97 | 0 | 0 | -1.3 | -1 | 0 | -53 | -2.1 | -4 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -1 | -40 | 0 | 0 | 0 | -1 | 0 | 0 | -11
07:45 - 08:00 | -2 | 0 | -1.4 | -1.4 | 0 | 0 | -358.05 | 0 | 0 | -1.5 | -1 | 0 | -53 | -2.8 | -4 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -1 | -15 | 0 | 0 | 0 | -1 | 0 | 0 | -11
08:00 - 08:15 | -2 | 0 | -1.4 | -1.4 | 0 | 0 | -56.67 | 7.42 | 0 | -1.7 | -1 | 0 | -53 | -3.1 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0
08:15 - 08:30 | -2 | 0 | -1.4 | -1.4 | 0 | 0 | -55 | 10.64 | 0 | -1.9 | -1 | 0 | -53 | -3.3 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -1 | -10 | 0 | 0 | 0 | -1 | 0 | 0 | 0
08:30 - 08:45 | -2 | -13 | -1.4 | -1.3 | 0 | 0 | -253.6 | 10.64 | -1.5 | -2 | -1 | 0 | -53 | -3.9 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0
08:45 - 09:00 | -2 | 0 | -1.4 | -1.3 | 0 | 0 | -351.16 | 10.64 | -1.9 | -2.2 | -1 | 0 | -53 | -4 | 0 | 4.84 | 0 | 5.8 | 0 | 0 | -5 | 0 | 0 | -1 | -6 | 0 | 29.01 | 0 | -1 | 0 | 0 | 0
09:00 - 09:15 | -2 | 0 | -1.4 | 0 | 0 | 0 | -151.63 | 10.64 | -2.3 | -2.4 | -1 | -7 | -58 | -4.5 | 0 | 4.84 | 0 | 5.8 | 0 | 0 | -5 | 0 | 0 | -1 | -35 | 0 | 29.01 | 0 | -1 | 0 | 0 | 0
09:15 - 09:30 | -2 | 0 | -1.4 | 0 | 0 | 0 | -151.64 | 10.64 | -2.5 | -2.6 | -1 | 0 | -58 | -4.7 | 0 | 4.84 | 0 | 5.8 | 0 | 0 | -5 | 0 | 0 | -1 | -35 | 0 | 29.01 | 0 | -1 | 0 | 0 | 0
09:30 - 09:45 | -2 | 0 | -1.4 | 0 | 0 | 0 | -250.08 | 10.64 | -1.3 | -2.6 | -1 | 0 | -58 | -5 | 0 | 4.84 | 4.84 | 0 | 0 | 0 | -2 | 2.9 | 0 | -1 | 0 | 0 | 19.33 | 0 | -1 | 0 | 0 | 0
09:45 - 10:00 | -2 | 0 | -1.4 | 0 | 0 | 0 | -224.65 | 10.64 | -1.3 | -2.8 | -1 | 0 | -58 | -2.4 | 0 | 4.84 | 4.84 | 0 | 0 | 19.33 | -2 | 2.9 | 0 | -1 | 0 | 0 | 19.34 | 4.84 | -1 | 5.42 | 0 | 0
10:00 - 10:15 | -2 | -5 | -1.4 | 0 | 0 | 0 | -799.65 | 10.64 | -1.1 | -3 | -1 | 0 | -58 | 3.09 | 0 | 6.77 | 4.84 | 0 | 1.93 | 19.34 | 0 | 2.9 | 0 | 0 | 0 | 9.67 | 38.68 | 4.84 | 0 | 5.42 | 0 | 0
10:15 - 10:30 | -2 | -17 | -1.4 | 0 | 0 | 0 | -1085.28 | 10.64 | -1.2 | -3.1 | -1 | 0 | -58 | 3.09 | 0 | 6.77 | 4.84 | 0 | 1.93 | 19.34 | -2 | 2.9 | 0 | -1 | -8 | 9.67 | 48.35 | 4.84 | -1 | 5.42 | 0 | 0
10:30 - 10:45 | -2 | 0 | -1.4 | 0 | 0 | 0 | -1190.64 | 10.64 | -1.2 | -3 | -1 | 0 | -58 | 3.09 | 0 | 4.84 | 9.67 | 0 | 1.93 | 6.77 | -2 | 2.9 | 0 | -1 | -32 | 0 | 48.35 | 4.84 | -1 | 5.42 | 0 | 0
10:45 - 11:00 | -2 | 0 | -1.4 | 0 | 0 | 0 | -1004.94 | 10.64 | -1.5 | -3.2 | -1 | 0 | -58 | 0 | 0 | 3.87 | 9.67 | 0 | 1.93 | 6.77 | -2 | 2.9 | 0 | -1 | -32 | 0 | 48.35 | 4.84 | -1 | 5.42 | 0 | 0
11:00 - 11:15 | -2 | 0 | -1.4 | 0 | 0 | 0 | -875.02 | 10.64 | -1.3 | -3.1 | -1 | 0 | -59 | 0 | 0 | 3.87 | 9.67 | 0 | 1.93 | 6.77 | -2 | 2.9 | 0 | -1 | 0 | 0 | 48.35 | 4.84 | -1 | 5.42 | 0 | 0
11:15 - 11:30 | -2 | 0 | -1.4 | 0 | 0 | 0 | -868.26 | 10.64 | -1.3 | -3.2 | -1 | 0 | -59 | 0 | 0 | 3.87 | 9.67 | 0 | 1.93 | 6.77 | -2 | 2.9 | 0 | -1 | 0 | 0 | 48.35 | 4.84 | -1 | 5.42 | 0 | 0
11:30 - 11:45 | -2 | -6 | -1.4 | 0 | 0 | 0 | -1157.05 | 10.64 | -1.5 | -3.2 | -1 | 0 | -59 | 0 | 0 | 3.87 | 9.67 | 9.67 | 1.93 | 6.77 | 0 | 2.9 | 0 | -1 | 0 | 0 | 48.35 | 4.84 | -1 | 5.42 | 0 | 0
11:45 - 12:00 | -2 | -17 | -1.4 | 0 | 0 | 0 | -1438.1 | 10.64 | -1.7 | -3 | -1 | 0 | -59 | 0 | 0 | 3.87 | 9.67 | 9.67 | 1.93 | 6.77 | 0 | 2.9 | 0 | -1 | 0 | 0 | 48.35 | 4.84 | -1 | 5.42 | 0 | 0
12:00 - 12:15 | -2 | -7 | -1.4 | 0 | 0 | 0 | -1404.96 | 10.64 | -1.6 | -3 | -1 | 0 | -59 | 0 | 0 | 4.84 | 9.67 | 9.67 | 1.93 | 6.77 | -4 | 2.9 | 0 | -1 | 0 | 0 | 38.68 | 4.84 | -1 | 5.42 | 0 | 0
12:15 - 12:30 | -2 | 0 | -1.4 | 0 | 0 | 0 | -1390.57 | 10.64 | -1.6 | -2.9 | -1 | 0 | -59 | 0 | 0 | 6.77 | 9.67 | 9.67 | 1.93 | 6.77 | -4 | 2.9 | 0 | -1 | -25 | 0 | 38.68 | 4.84 | -1 | 5.42 | 0 | 0
12:30 - 12:45 | -2 | 0 | -1.4 | 0 | 0 | 0 | -1359.91 | 10.64 | -1.6 | -2.8 | -1 | 0 | -59 | 2.8 | 0 | 6.77 | 9.67 | 9.67 | 1.93 | 6.77 | -5 | 2.9 | 0 | -1 | 0 | 0 | 38.68 | 4.84 | -1 | 5.42 | 0 | 0
12:45 - 13:00 | -2 | 0 | -1.4 | 0 | 0 | 0 | -1359.92 | 10.64 | -1.6 | -2.8 | -1 | 0 | -59 | 2.9 | 0 | 6.77 | 9.67 | 9.67 | 1.93 | 6.77 | -5 | 2.9 | 0 | -1 | 0 | 0 | 38.68 | 4.84 | -1 | 5.42 | 0 | 0
13:00 - 13:15 | -2 | 0 | -1.4 | 0 | 0 | 0 | -1199.65 | 10.64 | 0 | -2.8 | -1 | 0 | -59 | 3.09 | 0 | 6.77 | 9.67 | 9.67 | 1.93 | 6.77 | -4.27 | 2.9 | 0 | -0.85 | -10 | 9.67 | 38.69 | 4.84 | 0 | 5.42 | 0 | 0
13:15 - 13:30 | -2 | 0 | -1.4 | 0 | 0 | 0 | -1205.07 | 10.64 | 0 | -2.6 | -1 | 0 | -59 | 3.19 | 0 | 6.77 | 9.67 | 9.67 | 1.93 | 6.77 | -5 | 2.9 | 0 | -1 | 0 | 9.67 | 38.68 | 4.84 | 0 | 5.42 | 0 | 0
13:30 - 13:45 | -2 | -12 | -1.4 | 0 | 0 | 0 | -1027 | 10.64 | 0 | -2.2 | -1 | 0 | -59 | -2.1 | 0 | 4.84 | 9.67 | 9.67 | 1.93 | 6.77 | -5 | 2.9 | 0 | -1 | 0 | 0 | 38.68 | 4.84 | 0 | 5.42 | 0 | 0
13:45 - 14:00 | -2 | 0 | -1.4 | 0 | 0 | 0 | -800.08 | 10.64 | 0 | -2 | -1 | 0 | -59 | -4.5 | 0 | 4.84 | 9.67 | 9.67 | 1.93 | 0 | -5 | 2.9 | 0 | -1 | -20 | 0 | 38.69 | 0 | 0 | 0 | 0 | 0
14:00 - 14:15 | -2 | 0 | -1.8 | 0 | 0 | 0 | -850.74 | 10.64 | 0 | -1.8 | -1 | 0 | -59 | -4.2 | 0 | 4.84 | 0 | 9.67 | 1.93 | 0 | -5 | 2.9 | 0 | -1 | -25 | 0 | 38.68 | 0 | 0 | 0 | 0 | 0
14:15 - 14:30 | -2 | 0 | -1.8 | 0 | 0 | 0 | -851.21 | 10.64 | 0 | -1.6 | -1 | 0 | -59 | -4 | 0 | 4.84 | 0 | 9.67 | 1.93 | 0 | -5 | 2.9 | 0 | -1 | 0 | 0 | 33.85 | 0 | 0 | 0 | 0 | 0
14:30 - 14:45 | -2 | 0 | -1.8 | 0 | 0 | 0 | -802.34 | 10.64 | -1.7 | -1.4 | -1 | 0 | -59 | -3.6 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -1 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14:45 - 15:00 | -2 | 0 | -1.8 | 0 | 0 | 0 | -553.93 | 10.64 | -1.7 | -1.2 | -1 | -7 | -59 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15:00 - 15:15 | -2 | -12 | -1.8 | 0 | 0 | 0 | 0 | 10.64 | -1.5 | 0 | -1 | 0 | -59 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15:15 - 15:30 | -2 | 0 | -1.8 | 0 | 0 | 0 | 0 | 10.64 | -1.5 | 0 | -1 | 0 | -59 | -2.6 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15:30 - 15:45 | -2 | 0 | -1.8 | 0 | 0 | 0 | 215.35 | 0 | -0.8 | -0.5 | -1 | 0 | -59 | -2.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -40 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15:45 - 16:00 | -2 | 0 | -1.8 | 0 | 0 | 0 | 196.65 | 0 | -0.7 | -0.3 | -1 | 0 | -59 | -1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:00 - 16:15 | -2 | 0 | -0.8 | 0 | 0 | 0 | -55.84 | 0 | -0.5 | 0 | 0 | 0 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5
16:15 - 16:30 | -2 | -6 | -0.8 | 0 | 0 | 0 | -15.27 | 0 | -0.5 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -5
16:30 - 16:45 | -2 | -6 | -0.8 | -1.5 | -25.5 | 0 | -450 | 0 | -0.2 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5
16:45 - 17:00 | -2 | 0 | -0.8 | -1.5 | -25.5 | 0 | -300 | 0 | -0.1 | 0 | 0 | 0 | 0 | -0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -5
17:00 - 17:15 | -2 | 0 | -0.8 | -1.5 | 0 | 0 | -350 | 0 | -0.1 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -30 | 0 | 0 | 0 | 0 | 0 | 0 | -5
17:15 - 17:30 | -2 | 0 | -0.8 | -1.5 | 0 | 0 | -200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -18 | 0 | 0 | 0 | 0 | 0 | 0 | -5
17:30 - 17:45 | -2 | 0 | -0.8 | -1.5 | 0 | 0 | -300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 108.87 | -14
17:45 - 18:00 | -2 | 0 | -0.8 | -1.5 | 0 | 0 | -300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 109.06 | -14
18:00 - 18:15 | -2 | -16 | -0.8 | -1.6 | 0 | 0 | -300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 108.57 | -4
18:15 - 18:30 | -2 | -5 | -0.8 | -1.6 | 0 | 0 | -300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 106.33 | -4
18:30 - 18:45 | -2 | 0 | -0.3 | -1.5 | 0 | 0 | -250 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -5 | -10 | 0 | 0 | 0 | 0 | 0 | 40.63 | -4
18:45 - 19:00 | -2 | 0 | -0.3 | -1.5 | 0 | 0 | -249.99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -5 | -30 | 0 | 0 | 0 | 0 | 0 | 39.23 | -4
19:00 - 19:15 | -2 | 0 | -0.3 | -1.6 | 0 | 0 | -175 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 54.64 | -5
19:15 - 19:30 | -2 | 0 | -0.3 | -1.6 | 0 | 0 | -175 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 52.47 | -5
19:30 - 19:45 | -2 | -11 | -0.3 | -1.5 | 0 | 0 | -200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 65.2 | -5
19:45 - 20:00 | -2 | 0 | -0.3 | -1.5 | 0 | 0 | -200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | -5 | -10 | 0 | 0 | 0 | 0 | 0 | 66.64 | -5
20:00 - 20:15 | -2 | 0 | -0.3 | -1.4 | 0 | -1 | -249.99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | -5 | -30 | 0 | 0 | 0 | 0 | 0 | 81.58 | -5
20:15 - 20:30 | -2 | 0 | -0.3 | -1.4 | 0 | -1 | -250 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | -5 | -30 | 0 | 0 | 0 | 0 | 0 | 85.96 | -5
20:30 - 20:45 | -2.2 | 0 | -0.3 | -1.4 | 0 | -1 | -250 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -5 | -5 | -35 | 0 | 9.67 | 0 | 0 | 0 | 64.14 | -5
20:45 - 21:00 | -2.2 | 0 | -0.3 | -1.4 | 0 | -1 | -250 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -5 | -5 | -35 | 0 | 9.67 | 0 | 0 | 0 | 68.01 | -5
21:00 - 21:15 | -2.2 | 0 | -0.3 | -1.4 | 0 | -1 | -200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -5 | -5 | -20 | 0 | 0 | 0 | 0 | 0 | 34.02 | -5
21:15 - 21:30 | -2.2 | -11 | -0.3 | -1.4 | 0 | -1 | -200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -5 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 39.03 | -5
21:30 - 21:45 | -2.2 | 0 | -0.3 | -1.4 | 0 | -1 | -250 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -5 | -5 | -40 | 0 | 0 | 0 | 0 | 0 | 76.12 | -5
21:45 - 22:00 | -2.2 | 0 | -0.3 | -1.4 | 0 | -1 | -250 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -5 | -5 | -40 | 0 | 0 | 0 | 0 | 0 | 79.3 | -5
22:00 - 22:15 | -2.2 | 0 | -0.3 | -1.4 | 0 | -1 | -275 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 7.43 | -5
22:15 - 22:30 | -2.2 | 0 | -0.3 | -1.4 | 0 | -1 | -275 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -5 | -15 | 0 | 0 | 0 | 0 | 0 | 7.97 | -5
22:30 - 22:45 | -2.2 | 0 | -0.3 | -1.4 | 0 | -1 | -300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 10.43 | -7
22:45 - 23:00 | -2.2 | 0 | -0.3 | -1.4 | 0 | -1 | -300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 10.68 | -7
23:00 - 23:15 | -2.2 | -6 | -0.3 | -1.4 | 0 | -1 | -349.99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 18.67 | -7
23:15 - 23:30 | -2.2 | -6 | -0.3 | -1.4 | 0 | -1 | -350 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -5 | -30 | 0 | 0 | 0 | 0 | 0 | 20.92 | -7
23:30 - 23:45 | -2.2 | 0 | -0.3 | -1.4 | 0 | -1 | -275.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -5 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 48.36 | -7
23:45 - 24:00 | -2.2 | 0 | -0.3 | -1.4 | 0 | -1 | -267.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -5 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 48.36 | -7
Average | -2.0292 | -2.3125 | -1.1125 | -0.98125 | -1.0625 | -0.16667 | -378.6143 | 3.2915 | -0.38854 | -0.7875 | -0.66667 | -0.14583 | -37 | -0.55781 | -1.2604 | 1.2498 | 1.6119 | 1.39 | 0.36188 | 1.521 | -2.4299 | 0.60417 | -2.6042 | -2.363 | -9.8021 | 0.40292 | 9.4183 | 0.80667 | -0.53125 | 0.90333 | 23.1806 | -3.1042