## POWER STATUS
POWER STATUS ON DT 30.09.2026
[9 empty] | 2026-09-30 | 2026-09-29
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 20:00
Demand -> | [8 empty] | 5577.8264 | 6409.462
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla [Gate-L-13 , R-6] | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 249.958 | 5.999 | 630/590 ft | 629.85 | 629.67 | 629.81 | 194.9009 | 243.9205
| Chiplima | 72(3x24) | 46.292 | 1.111 | - |  |  |  | 51.4684 | 45.7247
| Balimela | 510(6x60+2x75) | 179.541 | 4.309 | 1516/1440 ft | 1496.9 | 1501.4 | 1502.2 | -1.6653e-16 | 302.2318
| Rengali [Gate No-08] | 250(5x50) | 243.2166 | 5.8372 | 123.5/109.75 mt | 123.56 | 123.98 | 123.75 | 247.7682 | 243.2288
| Upper Kolab | 320(4x80) | 61.96 | 1.487 | 858/844 mt | 855.77 | 855.69 | 855.77 | 0 | 152.7746
| Upper Indravati[ Gate- 1(0.5 m)] | 600(4x150) | 600.8958 | 14.4215 | 642/625 mt | 639.02 | 641.57 | 641.6 | 604.5171 | 599.9874
| Machkund | 60(50% of(3x17+3x23)) | 21.81 | 0.52344 | 2750/2685 ft | 2748.05 | 2746.85 | 2746.75 | 31.0141 | 26.2485
| Total Hydro | 2099.5 | 1403.6734 | 33.6882 |  |  |  |  | 1129.6686 | 1614.1163
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1034.9981 | 24.84 | RENEWABLE ENERGY (RE) |  |  |  | 1034.9529 | 1046.7022
[5 empty] | M.Hydl | 87.0394
| Total Thermal | 2200 | 1034.9981 | 24.84 | Solar | 138.736 |  |  | 1034.9529 | 1046.7022
IPP | VEDANTA #2 | 600 (1x600) | 432.6075 | 10.3826 | Total IPPs | Yesterday's Demand Profile |  |  | 388.9063 | 532.5978
| GMR #3 | 350 (1x350) | 327.6404 | 7.8634 | 860.0797 |  | MW | HRS | 322.9903 | 326.4435
| NBVL(IPP) | 60(1x60) | 51.0925 | 1.2262 |  |  |  |  | 46.6364 | 7.6015
| MDTPC |  | 48.7393 | 1.1697 |  |  |  |  | 31.1812 | 53.3748
| CGPs |  | 871.3651 | 20.9128 | IPPs, CGPs & RE | Maximum | 6409 | 20:00 | 2324.4335 | 2009.4843
| Central Sector(Drawl) |  | 1477.7487 | 35.466 | 1957.2201 | Minimum | 5378 | 06:00 | 1088.7714 | 1739.1592
| Central Sector(Sch) |  | 1513.7315 | 36.3296 |  | Average | 5873.6403 |  | 1475.4507 | 1733.837
| Grand Total |  | 5873.6403 | 140.9674 | Instantaneous Peak demand |  | 6664.2266 | 46294.9014 | 5577.8264 | 6409.462
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(5) |  | ACTUAL |  | SCHEDULE(1)
Burla | NIL | IbTPS / OPGC | 4 |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1665.7693 | 39.9785 | 1728.2965 | 41.4791 | 1659.5594 | 39.8294
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1497.4424 | 35.9386 | 1704.9862 | 40.9197 | 1173.9899 | 28.1758
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1330.5848 | 31.934 | 1462.4465 | 35.0987 | 1357.8343 | 32.588
U.Kolab | 2 | KAHALGAON | 1,6 | TPSODL | 603.3347 | 14.48 | 616.2689 | 14.7905 | 616.5292 | 14.7967
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5097.1312 | 122.3311 | 5511.9981 | 132.288 | 4807.9128 | 115.3899
Machhkund | 4,5,6 | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 388.9063 | GMR |  |  |  | 322.9903
| NBVL #3 | 46.6364 | MDTPC |  |  |  | 31.1812
Mini Hydel: | MEENAKSHI | 0 | OPCL |  |  |  | 0
| BTPL | 28.2882 | SAPTADHARA |  |  |  | 19.8728
| SNHEP | 31.7283 | KAKATIYA |  |  |  | 7.6427
Solar: |  | 370.6169
CGPs : | JSPL (Angul) | 512.705 | JSL(Duburi) |  |  |  | -223.6902
| ICCL | 42.4713 | visa |  |  |  | 31.04
| NALCO | -129.1397 | VAL (CGP) |  |  |  | 93.407
| RSP | -64.2577 | BSL(MMDL) |  |  |  | 113.6245
| INDAL | 1.5605 | ADITYA ALUMINIUM |  |  |  | 40
| NINL | -31.2943 | VAL CPP 400 kV |  |  |  | -400.7299
| NBVL | 46.6364 | Arati |  |  |  | 1.5578
| BPSL(JSG) | -102.817 | BPPL |  |  |  | 117.4806
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-09-22 | 2026-09-23 | 2026-09-24 | 2026-09-25 | 2026-09-26 | 2026-09-27 | 2026-09-28 | 2026-09-29
1269.6134 | 1234.573 | 1075.56 | 784.1312 | 1206.94 | 1241.34 | 1275.6415 | 1403.6734
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.29.09.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AARTISTEEL | GEB_Beneficiary | 0 | AARTISTEEL | UPPCL | 0 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0.77
AARTISTEEL | KPTCL | -5 | ENVIROCARE_INFRA | DNHDDPDCL | -5 | AGE26AL_PSS6_KPS1_S | ODISHA | 129.03
AMNSIL_Pdeep | AMNSIL | -6.08 | FACORPOWER | PSPCL | -21.25 | AP41PL_BHDL | ODISHA | 56.96
ARYAN_ISPAT | BALCO_LOAD | -5 | FACORPOWER | PSPCL | -8.75 | AP43PL_BKN | ODISHA | 84.92
ENVIROCARE_INFRA | APCPDCL | -13 | FACORPOWER | RUVITSL | -4 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 1.67
FACORPOWER | RUVITSL | -3.33 | JSPLANGUL | RUVITSL | -56.25 | AWEK1L | ODISHA | 1.9
GMRKEL_STU | GEB_Beneficiary | -61.9 | JSPLANGUL | RUVITSL | -1.39 | AWEK1L | ODISHA | 2.85
GMRKEL_STU | TNEB | -18 | JSPLANGUL | RUVITSL | -2.08 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 5.68
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | JSPLANGUL | RUVITSL | -84.38 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 10.97
JPIPL | NPCL_UP | -13 | KCMW_od | SFLPondyHEX288 | -0.58 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 20.81
JSPLANGUL | GEB_Beneficiary | -83.26 | KCMW_od | SFLPondyHWF407 | -0.88 | DADRI_SOLAR | ODISHA | 0.73
JSPLANGUL | RUVITSL | -27.08 | NBVLIPP | BSPHCL | -12.54 | ENERSON_SOLAR_10MW | ODISHA | 0.9
JSPLANGUL | RUVITSL | -18.06 | NBVLIPP | RUVITSL | -5.38 | GADAG_GreenInfra_W | ODISHA | 0
MAADURGA_THERMAL | NPCL_UP | -17.26 | OCL_IRON_STEEL | TPDDL | -24.79 | GADAG_GreenInfra_W | ODISHA | 0
NBVLIPP | KPTCL | -1.92 | OCL_IRON_STEEL | TPDDL | -10.21 | GADAG_GreenInfra_W | ODISHA | 0.08
NBVLIPP | KPTCL | -5.75 | ODISHA | TANGEDCO | -12.5 | GADAG_Serentica3_S | VLSEZ | 31.68
NBVLIPP | KPTCL | -3.83 | ODISHA | TANGEDCO | -6.25 | GADAG_Serentica3_W | VLSEZ | 2.06
NBVLIPP | TANGEDCO | 0 | ODISHA | TANGEDCO | -18.75 | GIWEL_SECI_II_RE | ODISHA | 8.44
ODISHA | BALCO_LOAD | -60 | ODISHA | TANGEDCO | -12.5 | GPCL_SOLAR_10 | ODISHA | 1.03
ORSISL | BALCO_LOAD | -5 | ORSISL | TPLD | -2.5 | GSECL_SOLAR | ODISHA | 1.69
RSPL_JHARSUGUDA | GEB_Beneficiary | -20 | SMEL | CESC | -5 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.85
VSL | APCPDCL | -5 | SMEL | PSPCL | -17.71 | KARUR_TPVARDHAMAN_W | TSKPO | 19.8
FARIDABAD_SOLAR | ODISHA | 0.86 | SMEL | PSPCL | -7.29 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.9
JSWEL_UTKAL | ODISHA | 75.83 | Shri_JSPL | KSEB | -2 | Kurnool_Greenko_H_Inj | ADITYAAL | 4.82
RAJ_SOLAR | ODISHA | 2.35 | VIRAJ_SEPL | PSPCL | -2.33 | Kurnool_Greenko_H_Inj | ADITYAAL | 1.08
RAJ_SOLAR | ODISHA | 2.3 | VIRAJ_SEPL | PSPCL | -4.5 | NTPCRE1_SMND_BHJ2_W | ODISHA | 1.59
|  |  | VSL | DNHDDPDCL | -5 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 0
|  |  | VSL | TANGEDCO | -10 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0.31
|  |  | Darlipali_NTPC | ODISHA | 36.85 | OKWPL_RE | ODISHA | 4.52
|  |  | JIPL | ODISHA | 71.33 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 1.92
|  |  | MYTRAHVAYU | VLSEZ | 4.26 | RWE_AP2_SECI_III | ODISHA | 3.15
|  |  | NALCOAP | NACL_Odisha | 1.73 | RenewGreen_SLPR_HS | JSL_DUBURI | 9.86
|  |  | TATA_POWER_HALDIA | VLSEZ | 0.71 | SRI9PL_FTG3 | VLSEZ | 115.38
[6 empty] | TPVSL_BKN3 | TSKPO | 14.44
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.11
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.12
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 14.98
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 0.3
[6 empty] | XXPPL_FTG3 | ODISHA | 79.48

## DAM
DAM TRADING DETAILS FOR DT : 29.09.2026
Time Period | 0 | 4.84 | -1.13 | -2.06 | -3.09 | 0 | 45.85
00:00 - 00:15 | 0 | 5.14 | -1.13 | -2.06 | -3.09 | 0 | 48.95
00:15 - 00:30 | 0 | 5.01 | -1.13 | -2.06 | -3.09 | 0 | 48.63
00:30 - 00:45 | 0 | 5.44 | -1.13 | -2.06 | -3.09 | 0 | 52.38
00:45 - 01:00 | 0 | 7.36 | -1.13 | -2.06 | -3.09 | 0 | 72.49
01:00 - 01:15 | 0 | 8.12 | -1.13 | -2.06 | -3.09 | 0 | 79.27
01:15 - 01:30 | 0 | 9.66 | -1.13 | -2.06 | -3.09 | 0 | 93.12
01:30 - 01:45 | 0 | 10.96 | -1.13 | -2.06 | -3.09 | 0 | 106.05
01:45 - 02:00 | 0 | 12.5 | -1.13 | -2.06 | 0 | 0 | 0
02:00 - 02:15 | 0 | 12.47 | -1.13 | -2.06 | 0 | 0 | 0
02:15 - 02:30 | 0 | 12.4 | -1.13 | -2.06 | 0 | 0 | 0
02:30 - 02:45 | 0 | 11.13 | -1.13 | -2.06 | 0 | 0 | 0
02:45 - 03:00 | 0 | -50 | -1.13 | -2.06 | 0 | 0 | 0
03:00 - 03:15 | 0 | -50 | -1.13 | -2.06 | 0 | 0 | 0
03:15 - 03:30 | 0 | -50 | -1.13 | -2.06 | 0 | 0 | 0
03:30 - 03:45 | 0 | -50 | -1.13 | -2.06 | 0 | 0 | 0
03:45 - 04:00 | 0 | -125 | -1.13 | -2.06 | 0 | 0 | 0
04:00 - 04:15 | 0 | -125 | -1.13 | -2.06 | 0 | 0 | 0
04:15 - 04:30 | 0 | -125 | -1.13 | -2.06 | 0 | 0 | 0
04:30 - 04:45 | 0 | -125 | -1.13 | -2.06 | 0 | 0 | 0
04:45 - 05:00 | 0 | -125 | -1.24 | -2.06 | -3.09 | 0 | 0
05:00 - 05:15 | 0 | -125 | -1.24 | -2.06 | -3.09 | 0 | 0
05:15 - 05:30 | 0 | -125 | -1.24 | -2.06 | -3.09 | 0 | 0
05:30 - 05:45 | 0 | -125 | -1.24 | -2.06 | -3.09 | 0 | 0
05:45 - 06:00 | -26.29 | -300 | -1.24 | -2.06 | -3.09 | 0 | 0
06:00 - 06:15 | -26.29 | -300 | -1.24 | -2.06 | -3.09 | 0 | 0
06:15 - 06:30 | -26.29 | -300 | -1.24 | -2.06 | -3.09 | 0 | 0
06:30 - 06:45 | -26.29 | -300 | -1.24 | -2.06 | -3.09 | 0 | 0
06:45 - 07:00 | -26.29 | -550 | -1.24 | -2.06 | -3.09 | 0 | 0
07:00 - 07:15 | -26.29 | -550 | -1.24 | -2.06 | -3.09 | 0 | 0
07:15 - 07:30 | -26.29 | -550 | -1.24 | -2.06 | -3.09 | 0 | 0
07:30 - 07:45 | 0 | -550 | -1.24 | -2.06 | -3.09 | 0 | 0
07:45 - 08:00 | 0 | -1075 | -1.24 | -1.03 | -46.91 | 0 | 0
08:00 - 08:15 | 0 | -1075 | -1.24 | -1.03 | -46.91 | 0 | 0
08:15 - 08:30 | 0 | -1075 | -1.24 | -1.03 | -46.91 | 0 | 0
08:30 - 08:45 | 0 | -1075 | -1.24 | -1.03 | -46.91 | 0 | 0
08:45 - 09:00 | 0 | -1375 | -1.24 | -1.03 | -46.91 | 0 | 0
09:00 - 09:15 | 0 | -1375 | -1.24 | -1.03 | -46.91 | 0 | 0
09:15 - 09:30 | 0 | -1375 | -1.24 | -1.03 | -46.91 | 6.57 | 0
09:30 - 09:45 | 0 | -1356.02 | -1.24 | -1.03 | -46.91 | 6.57 | 0
09:45 - 10:00 | 0 | -1400 | -1.24 | -1.03 | -35.05 | 6.57 | 0
10:00 - 10:15 | 0 | -1400 | -1.24 | -1.03 | -35.05 | 6.57 | 0
10:15 - 10:30 | 0 | -1486.6 | -1.24 | -1.03 | -35.05 | 6.57 | 0
10:30 - 10:45 | 0 | -1465.25 | -1.24 | -1.03 | -35.05 | 6.57 | 0
10:45 - 11:00 | 0 | -1425 | -1.24 | -1.03 | -35.05 | 6.57 | 0
11:00 - 11:15 | 0 | -1425 | -1.24 | -1.03 | -35.05 | 6.57 | 0
11:15 - 11:30 | 0 | -1425 | -1.24 | -1.03 | -35.05 | 6.57 | 0
11:30 - 11:45 | 0 | -1425 | -1.24 | -1.03 | -35.05 | 6.57 | 0
11:45 - 12:00 | 0 | -1450 | -1.24 | -1.03 | -35.05 | 6.57 | 0
12:00 - 12:15 | 0 | -1450 | -1.24 | -1.03 | -35.05 | 6.57 | 0
12:15 - 12:30 | 0 | -1450 | -1.24 | -1.03 | -35.05 | 6.57 | 0
12:30 - 12:45 | 0 | -1450 | -1.24 | -1.03 | -35.05 | 6.57 | 0
12:45 - 13:00 | 0 | -1450 | -1.24 | -1.03 | -46.91 | 6.57 | 0
13:00 - 13:15 | 0 | -1450 | -1.24 | -1.03 | -46.91 | 6.57 | 0
13:15 - 13:30 | 0 | -1450 | -1.24 | -1.03 | -46.91 | 6.57 | 0
13:30 - 13:45 | 0 | -1450 | -1.24 | -1.03 | -46.91 | 6.57 | 0
13:45 - 14:00 | 0 | -1300 | -1.24 | -1.03 | -46.91 | 6.57 | 0
14:00 - 14:15 | 0 | -1300 | -1.24 | -1.03 | -46.91 | 6.57 | 0
14:15 - 14:30 | 0 | -1300 | -1.24 | -1.03 | -46.91 | 6.57 | 0
14:30 - 14:45 | 0 | -1300 | -1.24 | -1.03 | -46.91 | 0 | 0
14:45 - 15:00 | 0 | -1150 | -1.24 | -2.06 | -46.91 | 0 | 0
15:00 - 15:15 | 0 | -1150 | -1.24 | -2.06 | -46.91 | 0 | 0
15:15 - 15:30 | 0 | -1150 | -1.24 | -2.06 | -46.91 | 0 | 0
15:30 - 15:45 | 0 | -1150 | -1.24 | -2.06 | -46.91 | 0 | 0
15:45 - 16:00 | 0 | -1100 | -1.24 | -2.06 | 0 | 0 | 0
16:00 - 16:15 | -26.29 | -1100 | -1.24 | -2.06 | 0 | 0 | 0
16:15 - 16:30 | -26.29 | -1025 | -1.24 | -2.06 | 0 | 0 | 0
16:30 - 16:45 | -26.29 | -950 | -1.24 | -2.06 | 0 | 0 | 0
16:45 - 17:00 | -26.29 | -600 | -1.03 | -2.06 | 0 | 0 | 0
17:00 - 17:15 | -26.29 | -450 | -1.03 | -2.06 | 0 | 0 | 0
17:15 - 17:30 | -26.29 | 1.38 | -1.03 | -2.06 | 0 | 0 | 14.7
17:30 - 17:45 | -26.29 | 0.32 | -1.03 | -2.06 | 0 | 0 | 3.8
17:45 - 18:00 | 0 | 0.22 | -1.03 | -2.06 | 0 | 0 | 6.31
18:00 - 18:15 | 0 | 0.03 | -1.03 | -2.06 | 0 | 0 | 1.13
18:15 - 18:30 | 0 | 0.01 | -1.03 | -2.06 | 0 | 0 | 0.49
18:30 - 18:45 | 0 | 0 | -1.03 | -2.06 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | -1.03 | -2.06 | -3.09 | 0 | 0.16
19:00 - 19:15 | 0 | 0 | -1.03 | -2.06 | -3.09 | 0 | 0.17
19:15 - 19:30 | 0 | 0 | -1.03 | -2.06 | -3.09 | 0 | 0.14
19:30 - 19:45 | 0 | 0.01 | -1.03 | -2.06 | -3.09 | 0 | 0.28
19:45 - 20:00 | 0 | 0.03 | -1.03 | -2.06 | -3.09 | 0 | 0.8
20:00 - 20:15 | 0 | 0.03 | -1.03 | -2.06 | -3.09 | 0 | 0.81
20:15 - 20:30 | 0 | 0.03 | -1.03 | -2.06 | -3.09 | 0 | 0.66
20:30 - 20:45 | 0 | 0.05 | -1.03 | -2.06 | -3.09 | 0 | 1.11
20:45 - 21:00 | 0 | 0.01 | -1.03 | -2.06 | -3.09 | 0 | 0.17
21:00 - 21:15 | 0 | 0.04 | -1.03 | -2.06 | -3.09 | 0 | 0.82
21:15 - 21:30 | 0 | 0.04 | -1.03 | -2.06 | -3.09 | 0 | 0.9
21:30 - 21:45 | 0 | 0.05 | -1.03 | -2.06 | -3.09 | 0 | 1.04
21:45 - 22:00 | 0 | 0.05 | -1.03 | -2.06 | -3.09 | 0 | 1.08
22:00 - 22:15 | 0 | 0.01 | -1.03 | -2.06 | -3.09 | 0 | 0.17
22:15 - 22:30 | 0 | 0.02 | -1.03 | -2.06 | -3.09 | 0 | 0.39
22:30 - 22:45 | 0 | 0.01 | -1.03 | -2.06 | -3.09 | 0 | 0.21
22:45 - 23:00 | 0 | 0.03 | -1.03 | -2.06 | -3.09 | 0 | 0
23:00 - 23:15 | 0 | 0.03 | -1.03 | -2.06 | -3.09 | 0 | 0
23:15 - 23:30 | 0 | 0.1 | -1.03 | -2.06 | -3.09 | 0 | 0
23:30 - 23:45 | 0 | 0.11 | -1.03 | -2.06 | -3.09 | 0 | 0
23:45 - 24:00 | -1.6 | 0 | -97.16 | -1 | -2 | -3 | 0
Average | -3.8506 | -545.3653 | -2.1561 | -1.7485 | -15.4303 | 1.4059 | 5.5857

## GDAM
GDAM TRADING DETAILS FOR DT:29.09.2026
Time Period | IOCL_Paradeep_Refinery | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | Jindal_Stainless_Limited_Duburi_Odisha | MSP_Sponge_Iron_Limited_Odisha | Tata_Steel_Limited_Kalinga_Nagar | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0 | 98.06
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0 | 97.06
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0 | 93.73
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 95.37
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0 | 90.92
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0 | 92.77
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0 | 95.01
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 94.22
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:15 - 08:30 | 0 | 15.01 | 0 | 0 | 0 | 0 | 0
08:30 - 08:45 | 0 | 15.01 | 0 | 0 | 0 | 0 | 0
08:45 - 09:00 | 0 | 15.01 | 0 | 0 | 0 | 28.15 | 0
09:00 - 09:15 | 32.84 | 15.01 | 28.14 | 9.38 | 9.38 | 28.14 | 0
09:15 - 09:30 | 32.84 | 15.01 | 28.14 | 9.38 | 9.38 | 28.14 | 0
09:30 - 09:45 | 32.84 | 15.01 | 28.14 | 9.38 | 9.38 | 28.14 | 0
09:45 - 10:00 | 32.84 | 15.01 | 28.14 | 9.38 | 9.38 | 28.14 | 0
10:00 - 10:15 | 32.84 | 15.01 | 28.14 | 9.38 | 9.38 | 28.14 | 0
10:15 - 10:30 | 32.84 | 15.01 | 28.14 | 9.38 | 9.38 | 28.14 | 0
10:30 - 10:45 | 32.84 | 15.01 | 28.14 | 9.38 | 9.38 | 28.14 | 0
10:45 - 11:00 | 32.84 | 15.01 | 28.14 | 9.38 | 9.38 | 28.14 | 0
11:00 - 11:15 | 32.84 | 15.01 | 28.14 | 9.38 | 9.38 | 28.14 | 0
11:15 - 11:30 | 32.84 | 15.01 | 28.14 | 9.38 | 9.38 | 28.14 | 0
11:30 - 11:45 | 32.84 | 15.01 | 28.14 | 9.38 | 9.38 | 28.14 | 0
11:45 - 12:00 | 32.84 | 15.01 | 28.14 | 9.38 | 9.38 | 28.14 | 0
12:00 - 12:15 | 32.84 | 15.01 | 28.14 | 9.38 | 9.38 | 28.14 | 0
12:15 - 12:30 | 32.84 | 15.01 | 28.14 | 9.38 | 9.38 | 28.14 | 0
12:30 - 12:45 | 32.84 | 15.01 | 28.14 | 9.38 | 9.38 | 28.14 | 0
12:45 - 13:00 | 32.84 | 15.01 | 28.14 | 9.38 | 9.38 | 28.14 | 0
13:00 - 13:15 | 32.84 | 15.01 | 28.14 | 9.38 | 9.38 | 28.14 | 0
13:15 - 13:30 | 32.84 | 15.01 | 28.14 | 9.38 | 9.38 | 28.14 | 0
13:30 - 13:45 | 32.84 | 15.01 | 28.14 | 9.38 | 9.38 | 28.14 | 0
13:45 - 14:00 | 32.84 | 15.01 | 28.14 | 9.38 | 9.38 | 28.14 | 0
14:00 - 14:15 | 32.84 | 15.01 | 28.14 | 9.38 | 9.38 | 28.14 | 0
14:15 - 14:30 | 32.84 | 15.01 | 28.14 | 9.38 | 9.38 | 28.14 | 0
14:30 - 14:45 | 32.84 | 15.01 | 28.14 | 9.38 | 9.38 | 28.14 | 0
14:45 - 15:00 | 32.84 | 15.01 | 28.14 | 9.38 | 9.38 | 28.14 | 0
15:00 - 15:15 | 32.84 | 15.01 | 28.14 | 9.38 | 9.38 | 28.14 | 0
15:15 - 15:30 | 0 | 15.01 | 0 | 0 | 0 | 0 | 0
15:30 - 15:45 | 0 | 15.01 | 0 | 0 | 0 | 0 | 0
15:45 - 16:00 | 0 | 15.01 | 0 | 0 | 0 | 0 | 0
16:00 - 16:15 | 0 | 9.38 | 0 | 0 | 0 | 0 | 0
16:15 - 16:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:30 - 16:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:45 - 17:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:15 - 17:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:30 - 17:45 | 0 | 0 | 0 | 0 | 0 | 0 | 76.03
17:45 - 18:00 | 0 | 0 | 0 | 0 | 0 | 0 | 49.19
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 5.12
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 3.37
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0.89
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 2.63
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 2.74
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 2.98
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 2.88
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 3.79
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 3.15
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 2.82
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 2.75
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 2.51
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 2.65
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 2.54
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 2.64
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 2.56
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 2.26
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | 8.5521 | 4.9447 | 7.3281 | 2.4427 | 2.4427 | 7.6214 | 9.7483

## RTM
RTM TRADING DETAILS FOR DT: 29.09.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Limited_5MW_Solar_Power_Plant_Lokapada | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | NU_VISTA_LIMITED_(FORMERLY_EMAMI_CEMENT_LIMITED) | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Jharsuguda | Shri_Jagannath_Steels_&_Power_Ltd | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Visa_Chrome_Limited
00:00 - 00:15 | -2.47 | 0 | -0.21 | -1.44 | 0 | -1.03 | -316.77 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -24.74 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10.31 | 0 | 0 | 0 | -7.22
00:15 - 00:30 | -2.47 | 0 | -0.21 | -1.44 | 0 | -1.03 | -316.67 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -24.74 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10.31 | 0 | 0 | 0 | -7.22
00:30 - 00:45 | -2.47 | 0 | -0.21 | -1.44 | 0 | -1.03 | -337.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -24.74 | 0 | 0 | 0 | 0 | 0 | -8.25 | 0 | 0 | 0 | 0 | 0 | 0 | -6.19
00:45 - 01:00 | -2.47 | 0 | -0.21 | -1.44 | 0 | -1.03 | -331.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -24.74 | 0 | 0 | 0 | 0 | 0 | -8.25 | 0 | 0 | -20.62 | 0 | 0 | 0 | -6.19
01:00 - 01:15 | -2.47 | -5.15 | -0.21 | -1.44 | 0 | -1.03 | -341.66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -24.74 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | -6.19
01:15 - 01:30 | -2.47 | 0 | -0.21 | -1.44 | 0 | -1.03 | -341.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -24.74 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | -6.19
01:30 - 01:45 | -2.47 | 0 | -0.21 | -1.44 | 0 | -1.03 | -350 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -24.74 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -30.93 | 0 | 0 | 0 | -6.19
01:45 - 02:00 | -2.47 | 0 | -0.21 | -1.44 | 0 | -1.03 | -341.66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -24.74 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | -6.19
02:00 - 02:15 | -2.47 | 0 | -0.21 | -1.44 | 0 | -1.03 | -341.66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -24.74 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | -6.19
02:15 - 02:30 | -2.47 | 0 | -0.21 | -1.44 | 0 | -1.03 | -341.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -24.74 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -46.39 | 0 | 0 | 0 | -6.19
02:30 - 02:45 | -2.47 | 0 | -0.21 | -1.44 | 0 | -1.03 | -341.66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -24.74 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | -6.19
02:45 - 03:00 | -2.47 | -10.31 | -0.21 | -1.44 | 0 | -1.03 | -340.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -24.74 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | -6.19
03:00 - 03:15 | -2.47 | -15.46 | -0.21 | -1.44 | 0 | -1.03 | -330.74 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -24.74 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -46.39 | 0 | 0 | 0 | -6.19
03:15 - 03:30 | -2.47 | -10.31 | -0.21 | -1.44 | 0 | -1.03 | -341.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -24.74 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | -6.19
03:30 - 03:45 | -2.47 | 0 | -0.21 | -1.44 | 0 | -1.03 | -344.77 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -24.74 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | 0 | -6.19
03:45 - 04:00 | -2.47 | 0 | -0.21 | -1.44 | 0 | -1.03 | -341.66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -24.74 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -46.39 | 0 | 0 | 0 | -6.19
04:00 - 04:15 | -2.47 | 0 | -0.21 | -1.44 | 0 | -1.03 | -350 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -24.74 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | -36.08 | 0 | 0 | 0 | -6.19
04:15 - 04:30 | -2.47 | 0 | -0.21 | -1.44 | 0 | -1.03 | -350 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -24.74 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | -36.08 | 0 | 0 | 0 | -6.19
04:30 - 04:45 | -2.47 | -7.22 | -0.21 | -1.44 | 0 | -1.03 | -327.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -24.74 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | -6.19
04:45 - 05:00 | -2.47 | -7.22 | -0.21 | -1.44 | 0 | -1.03 | -329.99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -24.74 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | -6.19
05:00 - 05:15 | -2.47 | 0 | -0.21 | -1.44 | 0 | -1.03 | -350 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -24.74 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | -6.19
05:15 - 05:30 | -2.47 | 0 | -0.21 | -1.44 | 0 | -1.03 | -350 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -24.74 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | -18.56 | 0 | 0 | 0 | -6.19
05:30 - 05:45 | -2.47 | 0 | -0.72 | -1.44 | 0 | -1.03 | -350 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -24.74 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | -6.19
05:45 - 06:00 | -2.47 | 0 | -0.72 | -1.44 | 0 | -1.03 | -350 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -24.74 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | -15.46 | 0 | 0 | 0 | -6.19
06:00 - 06:15 | -2.47 | -8.25 | -0.72 | -1.44 | 0 | -1.03 | -350 | 0 | 0 | 0 | -0.1 | -0.1 | 0 | 0 | -3.09 | 0 | -24.74 | 0 | -7.73 | 0 | 0 | 0 | -9.28 | 0 | 0 | -10.31 | 18.76 | 0 | 0 | -16.49
06:15 - 06:30 | -2.47 | -7.22 | -0.72 | -1.44 | 0 | -1.03 | -350 | 0 | 0 | 0 | -0.21 | -0.31 | 0 | 0 | -3.09 | 0 | -24.74 | -0.31 | -7.73 | 0 | 0 | 0 | -9.28 | 0 | 0 | -10.31 | 18.76 | 0 | 0 | -16.49
06:30 - 06:45 | -2.47 | 0 | -0.72 | -1.44 | 0 | -1.03 | -200 | 0 | 0 | 0 | -0.31 | -0.52 | 0 | 0 | -3.09 | 0 | -24.74 | -0.62 | -7.73 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 18.76 | 0 | 0 | -16.49
06:45 - 07:00 | -2.47 | 0 | -0.72 | -1.44 | 0 | -1.03 | -200 | 0 | 0 | 0 | -0.52 | -0.72 | 0 | 0 | -3.09 | 0 | -24.74 | -1.03 | -7.73 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 18.76 | 0 | 0 | -16.49
07:00 - 07:15 | -2.47 | 0 | -0.21 | -1.65 | 0 | -1.03 | -150 | 0 | 0 | 0 | -0.72 | -0.93 | 0 | 0 | -3.09 | 0 | -24.74 | -1.34 | -7.22 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 18.76 | 0 | 0 | -16.49
07:15 - 07:30 | -2.47 | 0 | -0.21 | -1.65 | 0 | -1.03 | -150 | 0 | 0 | 0 | -0.93 | -1.13 | 0 | 0 | -3.09 | 0 | -24.74 | -1.65 | -7.22 | 0 | 0 | 0 | -9.28 | 0 | 0 | -15.46 | 18.76 | 0 | 0 | -16.49
07:30 - 07:45 | -2.47 | 0 | -0.21 | -1.55 | 0 | -1.03 | -200 | 0 | 0 | 0 | -1.03 | -1.34 | 0 | 0 | -3.09 | 0 | -24.74 | -2.16 | -4.12 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | -16.49
07:45 - 08:00 | -2.47 | 0 | -0.21 | -1.55 | -26.29 | -1.03 | -391.65 | 0 | 0 | 0 | -1.24 | -1.55 | 0 | 0 | -3.09 | 0 | -24.74 | -2.78 | -4.12 | 0 | 0 | 0 | -9.28 | 0 | 0 | -15.46 | 0 | 0 | 0 | -16.49
08:00 - 08:15 | -2.47 | -16.49 | -0.21 | -1.55 | 0 | -1.03 | -55.39 | 0 | 0 | 0 | -1.55 | -1.75 | 0 | 0 | -1.03 | 0 | -24.74 | -3.3 | 0 | 0 | 0 | 0 | -8.25 | 0 | 0 | -36.08 | 0 | 0 | 0 | -10.31
08:15 - 08:30 | -2.47 | -7.22 | -0.21 | -1.55 | 0 | -1.03 | 0 | 0 | 3.36 | 0 | -1.75 | -1.96 | 0 | 0 | -1.03 | 0 | -24.74 | -3.3 | 0 | 0 | 0 | 0 | -8.25 | 0 | 0 | 0 | 0 | 0 | 0 | -10.31
08:30 - 08:45 | -2.47 | 0 | -0.21 | 0 | 0 | -1.03 | -126.58 | 0 | 10.32 | 0 | -1.96 | -2.16 | 0 | 0 | -1.03 | 0 | -24.74 | -3.81 | 0 | 0 | 0 | 0 | -8.25 | 0 | 0 | -10.31 | 0 | 0 | 0 | -10.31
08:45 - 09:00 | -2.47 | 0 | -0.21 | 0 | 0 | -1.03 | -213.32 | 0 | 10.32 | 0 | -2.27 | -2.27 | 0 | 0 | -1.03 | 0 | -24.74 | -3.92 | 0 | 0 | 0 | 0 | -8.25 | 0 | 0 | -30.93 | 0 | 0 | 0 | -10.31
09:00 - 09:15 | -2.47 | 0 | -0.21 | 0 | 0 | 0 | -46.84 | 0 | 10.32 | 0 | -2.89 | -2.27 | 0 | 0 | -1.03 | 0 | -24.74 | -4.33 | 0 | 0 | 0 | 0 | -6.19 | 0 | 0 | -30.93 | 0 | 0 | 0 | -8.25
09:15 - 09:30 | -2.47 | 0 | -0.21 | 0 | 0 | 0 | -34.51 | 0 | 10.32 | 0 | -2.89 | -2.47 | 0 | 0 | -1.03 | 0 | -24.74 | -4.43 | 0 | 8.44 | 9.38 | 5.63 | -6.19 | 0 | 0 | 0 | 46.91 | 5.16 | 0 | -8.25
09:30 - 09:45 | -2.47 | -6.19 | -0.21 | 0 | 0 | 0 | -100.1 | 0 | 10.32 | 0 | -2.99 | -2.37 | 0 | 0 | -1.03 | 0 | -24.74 | -4.64 | 0 | 1.87 | 9.38 | 0 | -6.19 | 0 | 0 | -30.93 | 56.29 | 0 | 0 | -8.25
09:45 - 10:00 | -2.47 | -7.22 | -0.21 | 0 | 0 | 0 | -200.23 | 0 | 10.32 | 0 | -3.09 | -2.58 | 0 | 0 | -1.03 | 0 | -24.74 | -2.16 | 0 | 1.87 | 0 | 0 | -6.19 | 0 | 0 | -46.39 | 56.29 | 0 | 0 | -8.25
10:00 - 10:15 | -2.47 | 0 | -0.21 | 0 | 0 | 0 | -92.09 | 0 | 10.32 | 0 | 0 | -2.47 | 0 | 8.63 | -1.03 | -7.22 | -24.74 | 3.19 | 0 | 2.81 | 9.38 | 5.63 | -6.19 | 1.87 | 0 | 0 | 65.67 | 5.16 | 0 | -8.25
10:15 - 10:30 | -2.47 | 0 | -0.21 | 0 | 0 | 0 | -94.96 | 0 | 10.32 | 0 | 0 | -2.68 | 0 | 8.63 | -1.03 | 0 | -24.74 | 3.09 | 0 | 2.81 | 9.38 | 5.63 | -6.19 | 1.87 | 0 | -20.62 | 65.67 | 5.16 | 0 | -8.25
10:30 - 10:45 | -2.47 | 0 | -0.21 | 0 | 0 | 0 | -189.99 | 0 | 10.32 | 0 | 0 | -2.78 | 0 | 8.63 | -1.03 | 0 | -24.74 | 3 | 0 | 5.63 | 14.07 | 5.63 | -6.19 | 1.87 | 0 | -56.7 | 75.05 | 5.16 | 0 | -8.25
10:45 - 11:00 | -2.47 | 0 | -0.21 | 0 | 0 | 0 | -203.54 | 0 | 10.32 | 0 | 0 | -2.89 | 0 | 8.63 | -1.03 | 0 | -24.74 | 0 | 0 | 3.75 | 14.07 | 5.63 | -6.19 | 1.87 | 0 | -20.62 | 75.04 | 5.16 | 0 | -8.25
11:00 - 11:15 | -2.47 | 0 | -0.21 | 0 | 0 | 0 | -6.73 | 0 | 10.32 | 0 | 0 | -2.89 | 0 | 8.63 | -1.03 | 0 | -24.74 | 0 | 0 | 3.75 | 14.07 | 5.63 | -2.06 | 1.87 | 0 | 0 | 75.04 | 5.16 | 0 | -8.25
11:15 - 11:30 | -2.47 | 0 | -0.21 | 0 | 0 | 0 | -30 | 0 | 10.32 | 0 | 0 | -3.09 | 0 | 8.63 | -1.03 | 0 | -24.74 | 0 | 0 | 3.75 | 14.07 | 5.63 | -2.06 | 1.87 | 0 | -41.24 | 75.04 | 5.16 | 0 | -8.25
11:30 - 11:45 | -2.47 | -15.46 | -0.21 | 0 | 0 | 0 | -2.1 | 0 | 10.32 | 0 | 0 | -3.3 | 0 | 8.63 | -1.03 | 0 | -24.74 | 0 | 0 | 3.75 | 14.07 | 5.63 | 0 | 1.87 | 0 | -30.93 | 75.04 | 5.16 | 0 | -8.25
11:45 - 12:00 | -2.47 | -15.46 | -0.21 | 0 | 0 | 0 | 68.93 | 0 | 10.32 | 0 | 0 | -2.99 | 0 | 8.63 | -1.03 | 0 | -24.74 | 0 | 0 | 3.75 | 14.07 | 5.63 | 0 | 1.87 | 0 | 0 | 75.05 | 5.16 | 0 | -8.25
12:00 - 12:15 | -2.47 | -16.49 | -0.21 | 0 | 0 | 0 | 101.58 | 0 | 10.32 | 0 | 0 | -3.09 | 0 | 0 | -1.03 | 0 | -24.74 | 2.91 | 0 | 2.81 | 14.07 | 5.63 | 0 | 1.87 | 0 | 0 | 75.05 | 5.16 | 0 | -8.25
12:15 - 12:30 | -2.47 | -16.49 | -0.21 | 0 | 0 | 0 | 93.32 | 0 | 10.32 | 0 | 0 | -3.2 | 0 | 0 | -1.03 | 0 | -24.74 | 0 | 0 | 1.87 | 14.07 | 5.63 | 0 | 1.87 | 0 | 0 | 75.05 | 5.16 | 0 | -8.25
12:30 - 12:45 | -2.47 | -16.49 | -0.21 | 0 | 0 | 0 | 314.37 | 0 | 10.32 | 0 | 0 | -3.2 | 0 | 0 | -1.03 | 0 | -24.74 | 0 | 0 | 2.81 | 14.07 | 5.63 | -2.06 | 1.87 | 0 | 0 | 65.67 | 5.16 | 0 | -8.25
12:45 - 13:00 | -2.47 | -7.22 | -0.21 | 0 | 0 | 0 | 324.04 | 0 | 10.32 | 0 | 0 | -3.09 | 0 | 0 | -1.03 | -7.22 | -24.74 | 2.91 | 0 | 2.81 | 14.07 | 5.63 | -2.06 | 1.87 | 0 | -30.93 | 65.67 | 5.16 | 0 | -8.25
13:00 - 13:15 | -2.47 | 0 | -0.72 | 0 | 0 | 0 | 349.77 | 5.63 | 10.32 | 0 | 0 | -2.89 | 0 | 0 | -1.03 | 0 | -24.74 | 2.91 | 0 | 2.81 | 14.07 | 5.63 | 0 | 1.87 | 0 | -56.7 | 65.67 | 5.16 | 0 | 0
13:15 - 13:30 | -2.47 | 0 | -0.72 | 0 | 0 | 0 | 322.34 | 0 | 10.32 | 0 | 0 | -2.78 | 0 | 0 | -1.03 | 0 | -24.74 | 3.09 | 0 | 2.81 | 14.07 | 5.63 | -2.06 | 1.87 | 0 | -56.7 | 65.67 | 5.16 | 0 | -8.25
13:30 - 13:45 | -2.27 | 0 | -0.72 | 0 | 0 | 0 | 156.3 | 0 | 10.32 | 0 | 0 | -2.58 | 0 | 0 | -1.03 | 0 | -24.74 | 0 | 0 | 1.87 | 14.07 | 5.63 | -2.06 | 1.87 | -2.06 | -61.86 | 75.05 | 5.16 | 0 | -8.25
13:45 - 14:00 | -2.27 | 0 | -0.72 | 0 | 0 | 0 | 385.1 | 0 | 10.32 | 0 | 0 | -2.27 | 0 | 0 | -1.03 | 0 | -24.74 | 0 | 0 | 1.87 | 14.07 | 5.63 | -2.06 | 1.87 | 0 | -46.39 | 75.05 | 5.16 | 0 | -8.25
14:00 - 14:15 | -2.27 | -7.22 | -0.72 | 0 | 0 | 0 | 376.06 | 0 | 10.32 | 0 | 0 | -2.06 | 0 | 0 | -1.03 | 0 | -24.74 | -1.44 | 0 | 0 | 0 | 0 | 0 | 1.87 | 0 | -20.62 | 75.05 | 0 | 0 | -8.25
14:15 - 14:30 | -2.27 | -7.22 | -0.72 | 0 | 0 | 0 | 361.21 | 0 | 10.32 | 0 | 0 | -1.86 | 0 | 0 | -1.03 | 0 | -24.74 | -3.92 | 0 | 0 | 0 | 0 | 0 | 1.87 | -2.58 | -20.62 | 72.42 | 0 | 0 | -8.25
14:30 - 14:45 | -2.27 | 0 | -0.72 | 0 | 0 | 0 | 112.79 | 0 | 10.32 | 0 | -2.58 | -1.65 | 0 | 8.63 | -1.03 | 0 | -24.74 | -3.4 | 0 | 0 | 0 | 0 | -2.06 | 0.77 | -1.03 | -82.47 | 0 | 0 | 0 | -8.25
14:45 - 15:00 | -2.27 | 0 | -0.72 | 0 | 0 | 0 | 34.35 | 0 | 10.32 | 0 | -2.27 | -1.44 | 0 | 8.63 | -1.03 | 0 | -24.74 | -3.09 | 0 | 0 | 0 | 0 | -2.06 | 0 | -1.03 | -30.93 | 0 | 0 | 0 | -8.25
15:00 - 15:15 | -2.27 | 0 | -0.72 | 0 | 0 | 0 | 259.4 | 0 | 10.32 | 0 | -1.96 | -0.93 | 0 | 8.63 | 0 | 0 | -24.74 | -2.78 | 0 | 8.44 | 14.07 | 5.63 | -2.06 | 1.87 | 0 | -15.46 | 60.97 | 5.16 | 0 | -8.25
15:15 - 15:30 | -2.27 | 0 | -0.72 | 0 | 0 | 0 | 256.1 | 0 | 10.32 | 0 | -1.75 | -0.82 | 9.38 | 8.63 | 0 | 0 | -24.74 | -2.47 | 0 | 8.44 | 14.07 | 5.63 | -2.06 | 1.87 | 0 | -61.86 | 103.19 | 5.16 | 0 | -8.25
15:30 - 15:45 | -2.27 | 0 | -1.24 | 0 | 0 | 0 | 280.46 | 0 | 0 | 0 | -1.44 | 0 | 0 | 0 | 0 | 0 | -24.74 | -2.16 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -61.86 | 0 | 0 | 0 | -8.25
15:45 - 16:00 | -2.27 | 0 | -1.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -24.74 | -1.75 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -30.93 | 0 | 0 | 0 | -8.25
16:00 - 16:15 | -2.27 | 0 | -1.24 | 0 | 0 | 0 | 40.4 | 0 | 0 | 0 | -0.72 | 0 | 0 | 0 | 0 | 0 | -24.74 | -1.44 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -41.24 | 0 | 0 | 0 | -17.53
16:15 - 16:30 | -2.27 | -13.4 | -1.24 | 0 | 0 | 0 | 38.56 | 0 | 0 | 0 | -0.52 | 0 | 0 | 0 | 0 | 0 | -24.74 | -1.13 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -20.62 | 0 | 0 | 0 | -17.53
16:30 - 16:45 | -2.27 | 0 | -1.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.31 | 0 | 0 | 0 | 0 | 0 | -24.74 | -0.72 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -10.31 | 0 | 0 | 0 | -17.53
16:45 - 17:00 | -2.27 | 0 | -1.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.1 | 0 | 0 | 0 | 0 | 0 | -24.74 | -0.31 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -72.16 | 0 | 0 | 0 | -17.53
17:00 - 17:15 | -2.27 | 0 | -0.72 | 0 | 0 | 0 | 9.89 | 0 | 0 | 0 | -0.1 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -4.12 | 0 | 0 | 0 | -2.06 | 0 | 0 | -25.77 | 0 | 0 | 42.65 | -17.53
17:15 - 17:30 | -2.27 | 0 | -0.72 | 0 | 0 | 0 | 21.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -4.12 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 33.95 | -17.53
17:30 - 17:45 | -2.27 | -7.22 | -0.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -7.73 | 0 | 0 | 0 | -2.06 | 0 | 0 | -25.77 | 0 | 0 | 6.77 | -17.53
17:45 - 18:00 | -2.27 | -7.22 | -0.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -7.73 | 0 | 0 | 0 | -2.06 | 0 | 0 | -82.47 | 0 | 0 | 24.29 | -17.53
18:00 - 18:15 | -2.27 | 0 | -0.72 | 0 | 0 | -1.03 | 16.63 | 0 | 0 | -51.55 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -2.58 | 0 | 0 | 0 | -3.09 | 0 | 0 | -49.48 | 25.33 | 0 | 46.05 | -6.19
18:15 - 18:30 | -2.27 | 0 | -0.72 | 0 | 0 | -1.03 | 12.69 | 0 | 0 | -51.55 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -2.58 | 0 | 0 | 0 | -3.09 | 0 | 0 | 0 | 25.33 | 0 | 40.68 | -6.19
18:30 - 18:45 | -2.27 | 0 | -0.31 | -1.44 | 0 | -1.03 | 21.7 | 0 | 0 | -51.55 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -2.58 | 0 | 0 | 0 | -3.09 | 0 | 0 | -30.93 | 0 | 0 | 91.41 | -6.19
18:45 - 19:00 | -2.27 | 0 | -0.31 | -1.44 | 0 | -1.03 | 24.85 | 0 | 0 | -51.55 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -2.58 | 0 | 0 | 0 | -3.09 | 0 | 0 | -51.55 | 0 | 0 | 94.47 | -6.19
19:00 - 19:15 | -2.27 | -7.22 | -0.31 | -1.44 | 0 | -1.03 | 31.59 | 0 | 0 | -51.55 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -2.58 | 0 | 0 | 0 | -3.09 | 0 | 0 | 0 | 25.33 | 0 | 26.55 | -6.19
19:15 - 19:30 | -2.27 | -7.22 | -0.31 | -1.44 | 0 | -1.03 | 31.95 | 0 | 0 | -51.55 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -2.58 | 0 | 0 | 0 | -3.09 | 0 | 0 | -20.62 | 25.33 | 0 | 26.86 | -6.19
19:30 - 19:45 | -2.27 | 0 | -0.31 | -1.34 | 0 | -1.03 | 0 | 0 | 0 | -72.16 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -2.58 | 0 | 0 | 0 | -3.09 | 0 | 0 | -85.57 | 0 | 0 | 115.94 | -6.19
19:45 - 20:00 | -2.27 | 0 | -0.31 | -1.34 | 0 | -1.03 | 0 | 0 | 0 | -72.16 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -2.58 | 0 | 0 | 0 | -3.09 | 0 | 0 | -15.46 | 0 | 0 | 118.74 | -6.19
20:00 - 20:15 | -2.27 | 0 | -0.31 | -1.13 | 0 | -1.03 | 1.46 | 0 | 0 | -51.55 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -3.09 | 0 | 0 | 0 | 0 | 0 | 0 | -20.62 | 25.33 | 0 | 75.26 | -5.15
20:15 - 20:30 | -2.27 | 0 | -0.31 | -1.13 | 0 | -1.03 | 1.65 | 0 | 0 | -51.55 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -3.09 | 0 | 0 | 0 | 0 | 0 | 0 | -82.47 | 25.33 | 0 | 78.98 | -5.15
20:30 - 20:45 | -2.27 | 0 | -0.31 | -1.13 | 0 | -1.03 | 0 | 0 | 0 | -51.55 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -3.09 | 0 | 0 | 0 | -3.09 | 0 | 0 | -30.93 | 0 | 0 | 52.9 | -5.15
20:45 - 21:00 | -2.27 | 0 | -0.31 | -1.13 | 0 | -1.03 | 0 | 0 | 0 | -51.55 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -3.09 | 0 | 0 | 0 | -3.09 | 0 | 0 | -10.31 | 0 | 0 | 55.19 | -5.15
21:00 - 21:15 | -2.27 | 0 | -0.31 | -1.24 | 0 | -1.03 | 0 | 0 | 0 | -51.55 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -3.09 | 0 | 0 | 0 | -3.09 | 0 | 0 | -61.86 | 0 | 0 | 103.83 | -6.19
21:15 - 21:30 | -2.27 | 0 | -0.31 | -1.24 | 0 | -1.03 | 0 | 0 | 0 | -51.55 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -3.09 | 0 | 0 | 0 | -3.09 | 0 | 0 | 0 | 0 | 0 | 112.57 | -6.19
21:30 - 21:45 | -2.27 | 0 | -0.72 | -1.24 | 0 | -1.03 | 0 | 0 | 0 | -51.55 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -3.09 | 0 | 0 | 0 | -3.09 | 0 | 0 | 0 | 0 | 0 | 123.96 | -6.19
21:45 - 22:00 | -2.27 | 0 | -0.72 | -1.24 | 0 | -1.03 | 0 | 0 | 0 | -51.55 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -3.09 | 0 | 0 | 0 | -3.09 | 0 | 0 | -41.24 | 0 | 0 | 127.97 | -6.19
22:00 - 22:15 | -2.27 | 0 | -0.72 | -1.24 | 0 | -1.03 | 8.67 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -3.09 | 0 | 0 | 0 | 0 | 0 | 0 | -30.93 | 0 | 0 | 58.89 | -6.19
22:15 - 22:30 | -2.27 | 0 | -0.72 | -1.24 | 0 | -1.03 | 8.46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -3.09 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 57.48 | -6.19
22:30 - 22:45 | -2.27 | 0 | -0.31 | -1.24 | 0 | -1.03 | 11.44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -3.09 | 0 | 0 | 0 | -3.09 | 0 | 0 | 0 | 0 | 0 | 51.78 | -6.19
22:45 - 23:00 | -2.27 | -14.43 | -0.31 | -1.24 | 0 | -1.03 | 12.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -3.09 | 0 | 0 | 0 | -3.09 | 0 | 0 | 0 | 0 | 0 | 54.56 | -6.19
23:00 - 23:15 | -2.27 | 0 | -0.31 | -1.24 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -2.58 | 0 | 0 | 0 | -3.09 | 0 | 0 | 0 | 0 | 0 | 38.73 | -6.19
23:15 - 23:30 | -2.27 | 0 | -0.31 | -1.24 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -2.58 | 0 | 0 | 0 | -3.09 | 0 | 0 | -30.93 | 0 | 0 | 41.23 | -6.19
23:30 - 23:45 | -2.27 | 0 | -0.31 | -1.24 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -2.58 | 0 | 0 | 0 | -3.09 | 0 | 0 | -41.24 | 0 | 0 | 40.68 | -6.19
23:45 - 24:00 | -2.27 | 0 | -0.31 | -1.24 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -2.58 | 0 | 0 | 0 | -3.09 | 0 | 0 | -10.31 | 0 | 0 | 46.77 | -6.19
Average | -2.3825 | -2.7815 | -0.43125 | -0.80896 | -0.27385 | -0.64375 | -77.6809 | 0.058646 | 3.045 | -9.021 | -0.38781 | -0.82688 | 0.097708 | 1.0787 | -1.3304 | -0.15042 | -24.74 | -0.45094 | -1.514 | 0.82 | 2.7358 | 1.1143 | -4.209 | 0.3976 | -0.069792 | -22.8631 | 19.5848 | 1.0212 | 18.6369 | -8.658