## POWER STATUS
POWER STATUS ON DT 01.10.2026
[9 empty] | 2026-10-01 | 2026-09-30
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 21:00
Demand -> | [8 empty] | 5493.6965 | 6500.502
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla [Gate-L-7 , R-3] | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 224 | 5.376 | 630/590 ft | 629.95 | 629.81 | 629.6 | 237.7811 | 228.9057
| Chiplima | 72(3x24) | 51.208 | 1.229 | - |  |  |  | 56.6397 | 52.9337
| Balimela | 510(6x60+2x75) | 152.125 | 3.651 | 1516/1440 ft | 1498.1 | 1502.2 | 1502.8 | 57.0522 | 308.1437
| Rengali | 250(5x50) | 247.5583 | 5.9414 | 123.5/109.75 mt | 123.66 | 123.75 | 123.79 | 247.3113 | 251.116
| Upper Kolab | 320(4x80) | 53.42 | 1.2821 | 858/844 mt | 856.46 | 855.77 | 855.83 | 0 | 157.1167
| Upper Indravati[ Gate- 1(0.5 m)] | 600(4x150) | 601.8958 | 14.4455 | 642/625 mt | 639.14 | 641.6 | 641.61 | 604.1505 | 604.0436
| Machkund | 60(50% of(3x17+3x23)) | 20.33 | 0.48792 | 2750/2685 ft | 2748.3 | 2746.75 | 2746.75 | 23.8241 | 19.4787
| Total Hydro | 2099.5 | 1350.5371 | 32.4129 |  |  |  |  | 1226.759 | 1621.7382
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1007.1199 | 24.1709 | RENEWABLE ENERGY (RE) |  |  |  | 1060.1526 | 1025.1013
[5 empty] | M.Hydl | 155.5421
| Total Thermal | 2200 | 1007.1199 | 24.1709 | Solar | 157.236 |  |  | 1060.1526 | 1025.1013
IPP | VEDANTA #2 | 600 (1x600) | 418.8678 | 10.0528 | Total IPPs | Yesterday's Demand Profile |  |  | 400.6055 | 565.9763
| GMR #3 | 350 (1x350) | 299.6784 | 7.1923 | 819.4478 |  | MW | HRS | 327.5924 | 327.3353
| NBVL(IPP) | 60(1x60) | 52.0434 | 1.249 |  |  |  |  | 54.6103 | 53.5936
| MDTPC |  | 48.8582 | 1.1726 |  |  |  |  | 56.074 | 56.1563
| CGPs |  | 1003.1946 | 24.0767 | IPPs, CGPs & RE | Maximum | 6501 | 21:00 | 1830.1303 | 2039.6994
| Central Sector(Drawl) |  | 1386.3515 | 33.2724 | 2135.4206 | Minimum | 5297 | 08:00 | 1376.6546 | 1813.9631
| Central Sector(Sch) |  | 1489.5793 | 35.7499 |  | Average | 5879.4291 |  | 1457.14 | 1751.85
| Grand Total |  | 5879.4291 | 141.1063 | Instantaneous Peak demand |  | 6714 | 21:24 | 5493.6965 | 6500.502
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(4) |  | ACTUAL |  | SCHEDULE(1)
Burla | NIL | IbTPS / OPGC | 4 |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1752.5571 | 42.0614 | 1782.7697 | 42.7865 | 1781.585 | 42.758
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1520.8278 | 36.4999 | 1696.7168 | 40.7212 | 1514.3329 | 36.344
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1409.1475 | 33.8195 | 1450.0724 | 34.8017 | 1349.0753 | 32.3778
U.Kolab | 2 | KAHALGAON | 1,6 | TPSODL | 621.9824 | 14.9276 | 629.2595 | 15.1022 | 620.0192 | 14.8805
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5304.5148 | 127.3084 | 5558.8185 | 133.4116 | 5265.0124 | 126.3603
Machhkund | 4,5,6 | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 404.2383 | GMR |  |  |  | 316.7095
| NBVL #3 | 53.8573 | MDTPC |  |  |  | 33.0346
Mini Hydel: | MEENAKSHI | 0 | OPCL |  |  |  | 0
| BTPL | 28.5229 | SAPTADHARA |  |  |  | 19.8792
| SNHEP | 31.7283 | KAKATIYA |  |  |  | 7.6271
Solar: |  | 367.6351
CGPs : | JSPL (Angul) | 349.2642 | JSL(Duburi) |  |  |  | -102.3934
| ICCL | 36.9539 | visa |  |  |  | 21.3336
| NALCO | -130.1047 | VAL (CGP) |  |  |  | 100.0245
| RSP | -25.1789 | BSL(MMDL) |  |  |  | 110.6091
| INDAL | 7.3876 | ADITYA ALUMINIUM |  |  |  | 40
| NINL | -26.906 | VAL CPP 400 kV |  |  |  | -450.7305
| NBVL | 53.8573 | Arati |  |  |  | 4.3354
| BPSL(JSG) | -113.284 | BPPL |  |  |  | 118.8573
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-09-23 | 2026-09-24 | 2026-09-25 | 2026-09-26 | 2026-09-27 | 2026-09-28 | 2026-09-29 | 2026-09-30
1234.573 | 1075.56 | 784.1312 | 1206.94 | 1241.34 | 1275.6415 | 1403.6734 | 1350.5371
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.30.09.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AARTISTEEL | GEB_Beneficiary | 0 | AARTISTEEL | UPPCL | 0 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0.55
AARTISTEEL | KPTCL | -5 | ENVIROCARE_INFRA | DNHDDPDCL | -5 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0.52
AMNSIL_Pdeep | AMNSIL | -0.25 | FACORPOWER | PSPCL | -21.25 | AGE26AL_PSS6_KPS1_S | ODISHA | 127.13
ARYAN_ISPAT | BALCO_LOAD | -5 | FACORPOWER | PSPCL | -8.75 | AP41PL_BHDL | ODISHA | 57.8
ENVIROCARE_INFRA | APCPDCL | -13 | FACORPOWER | RUVITSL | -4 | AP43PL_BKN | ODISHA | 87.55
FACORPOWER | RUVITSL | -3.33 | JSPLANGUL | RUVITSL | -70.83 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 3.04
GMRKEL_STU | GEB_Beneficiary | -61.9 | JSPLANGUL | RUVITSL | -2.08 | AWEK1L | ODISHA | 2.6
GMRKEL_STU | TNEB | -18 | JSPLANGUL | RUVITSL | -3.12 | AWEK1L | ODISHA | 3.9
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | JSPLANGUL | RUVITSL | -106.25 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 5.44
JPIPL | NPCL_UP | -13.1 | KCMW_od | SFLPondyHEX288 | -0.58 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 14.17
JSPLANGUL | GEB_Beneficiary | -110 | KCMW_od | SFLPondyHWF407 | -0.88 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 20.74
JSPLANGUL | RUVITSL | -40.62 | NBVLIPP | BSPHCL | -12.54 | DADRI_SOLAR | ODISHA | 0.74
JSPLANGUL | RUVITSL | -27.08 | NBVLIPP | RUVITSL | -5.38 | ENERSON_SOLAR_10MW | ODISHA | 1.07
MAADURGA_THERMAL | NPCL_UP | -17.26 | NPSRL | CESC | -3 | GADAG_GreenInfra_W | ODISHA | 0
NBVLIPP | KPTCL | -5.75 | OCL_IRON_STEEL | TPDDL | -24.79 | GADAG_GreenInfra_W | ODISHA | 0
NBVLIPP | KPTCL | -3.83 | OCL_IRON_STEEL | TPDDL | -10.21 | GADAG_GreenInfra_W | ODISHA | 0.06
NBVLIPP | KPTCL | -1.92 | ODISHA | TANGEDCO | -12.5 | GADAG_Serentica3_S | VLSEZ | 27.69
NBVLIPP | TANGEDCO | 0 | ODISHA | TANGEDCO | -6.25 | GADAG_Serentica3_W | VLSEZ | 1.54
ODISHA | BALCO_LOAD | -60 | ODISHA | TANGEDCO | -18.75 | GIWEL_SECI_II_RE | ODISHA | 13.03
ORSISL | BALCO_LOAD | -5 | ODISHA | TANGEDCO | -12.5 | GPCL_SOLAR_10 | ODISHA | 1.05
RSPL_JHARSUGUDA | GEB_Beneficiary | -20 | ORSISL | TPLD | -2.5 | GSECL_SOLAR | ODISHA | 1.71
VSL | APCPDCL | -5 | RSPL_JHARSUGUDA | CESC | -11.67 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 2.14
FARIDABAD_SOLAR | ODISHA | 0.86 | SMEL | CESC | -5 | KARUR_TPVARDHAMAN_W | TSKPO | 18.27
JSWEL_UTKAL | ODISHA | 72.67 | SMEL | PSPCL | -17.71 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
RAJ_SOLAR | ODISHA | 2.35 | SMEL | PSPCL | -7.29 | Kurnool_Greenko_H_Inj | ADITYAAL | 4.01
RAJ_SOLAR | ODISHA | 2.43 | Shri_JSPL | KSEB | -2 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.2
|  |  | VIRAJ_SEPL | PSPCL | -7.08 | NTPCRE1_SMND_BHJ2_W | ODISHA | 1.76
|  |  | VIRAJ_SEPL | PSPCL | -2.92 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 0
|  |  | VSL | DNHDDPDCL | -5 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0.37
|  |  | VSL | TANGEDCO | -10 | OKWPL_RE | ODISHA | 7.6
|  |  | Darlipali_NTPC | ODISHA | 150.42 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 0
|  |  | JIPL | ODISHA | 58.03 | RWE_AP2_SECI_III | ODISHA | 4.46
|  |  | MYTRAHVAYU | VLSEZ | 7.81 | RenewGreen_SLPR_HS | JSL_DUBURI | 8.89
|  |  | NALCOAP | NACL_Odisha | 2.33 | SRI9PL_FTG3 | VLSEZ | 118.4
[6 empty] | TPVSL_BKN3 | TSKPO | 14.42
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.1
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.12
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 13.15
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 0.23
[6 empty] | XXPPL_FTG3 | ODISHA | 84.19

## DAM
DAM TRADING DETAILS FOR DT : 30.09.2026
Time Period | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | MGM_Minerals_Ltd | MSP_Sponge_Iron_Limited_Odisha | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | -1.13 | 0 | -2.06 | -3.09 | 0 | 22.02
00:15 - 00:30 | 0 | 0 | -1.13 | 0 | -2.06 | -3.09 | 0 | 28.59
00:30 - 00:45 | 0 | 0 | -1.13 | 0 | -2.06 | -3.09 | 0 | 35.91
00:45 - 01:00 | 0 | 0 | -1.13 | 0 | -2.06 | -3.09 | 0 | 41.06
01:00 - 01:15 | 0 | 0 | -1.13 | 0 | -2.06 | -3.09 | 0 | 26.09
01:15 - 01:30 | 0 | 0 | -1.13 | 0 | -2.06 | -3.09 | 0 | 28.33
01:30 - 01:45 | 0 | 0 | -1.13 | 0 | -2.06 | -3.09 | 0 | 34.32
01:45 - 02:00 | 0 | 0 | -1.13 | 0 | -2.06 | -3.09 | 0 | 42.11
02:00 - 02:15 | 0 | 0 | -1.13 | 0 | -2.06 | 0 | 0 | 24.06
02:15 - 02:30 | 0 | 0 | -1.13 | 0 | -2.06 | 0 | 0 | 24.71
02:30 - 02:45 | 0 | 0 | -1.13 | 0 | -2.06 | 0 | 0 | 28.55
02:45 - 03:00 | 0 | 0 | -1.13 | 0 | -2.06 | 0 | 0 | 27.01
03:00 - 03:15 | 0 | 0 | -1.13 | 0 | -2.06 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | -1.13 | 0 | -2.06 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | -1.13 | 0 | -2.06 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | -1.13 | 0 | -2.06 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | -1.13 | 0 | -2.06 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | -1.13 | 0 | -2.06 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | -1.13 | 0 | -2.06 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | -1.13 | 0 | -2.06 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | -1.24 | 0 | -2.06 | -3.09 | 0 | 0
05:15 - 05:30 | 0 | 0 | -1.24 | 0 | -2.06 | -3.09 | 0 | 0
05:30 - 05:45 | 0 | 0 | -1.24 | 0 | -2.06 | -3.09 | 0 | 0
05:45 - 06:00 | 0 | 0 | -1.24 | 0 | -2.06 | -3.09 | 0 | 0
06:00 - 06:15 | -26.29 | -200 | -1.24 | 0 | -2.06 | -3.09 | 0 | 0
06:15 - 06:30 | -26.29 | -200 | -1.24 | 0 | -2.06 | -3.09 | 0 | 0
06:30 - 06:45 | -26.29 | -200 | -1.24 | 0 | -2.06 | -3.09 | 0 | 0
06:45 - 07:00 | -26.29 | -200 | -1.24 | 0 | -2.06 | -3.09 | 0 | 0
07:00 - 07:15 | -26.29 | -250 | -1.24 | 0 | -2.06 | -3.09 | 0 | 0
07:15 - 07:30 | -26.29 | -250 | -1.24 | 0 | -2.06 | -3.09 | 0 | 0
07:30 - 07:45 | -26.29 | -300 | -1.24 | 0 | -2.06 | -3.09 | 0 | 0
07:45 - 08:00 | -26.29 | -300 | -1.24 | 0 | -2.06 | -3.09 | 0 | 0
08:00 - 08:15 | 0 | -850 | -1.24 | 0 | -2.06 | -46.91 | 0 | 0
08:15 - 08:30 | 0 | -850 | -1.24 | 0 | -2.06 | -46.91 | 0 | 0
08:30 - 08:45 | 0 | -850 | -1.24 | 0 | -2.06 | -46.91 | 0 | 0
08:45 - 09:00 | 0 | -850 | -1.24 | 0 | -2.06 | -46.91 | 0 | 0
09:00 - 09:15 | 0 | -1500 | -1.24 | 0 | -2.06 | -46.91 | 0 | 0
09:15 - 09:30 | 0 | -1500 | -1.24 | 0 | -2.06 | -46.91 | 0 | 0
09:30 - 09:45 | 0 | -1500 | -1.24 | 0 | -2.06 | -46.91 | 0 | 0
09:45 - 10:00 | 0 | -1400 | -1.24 | 0 | -2.06 | -46.91 | 0 | 0
10:00 - 10:15 | 0 | -1550 | -1.24 | 0 | -1.03 | -46.91 | 0 | 0
10:15 - 10:30 | 0 | -1550 | -1.24 | 0 | -1.03 | -46.91 | 0 | 0
10:30 - 10:45 | 0 | -1550 | -1.24 | 0 | -1.03 | -46.91 | 5.63 | 0
10:45 - 11:00 | 0 | -1550 | -1.24 | 0 | -1.03 | -46.91 | 5.63 | 0
11:00 - 11:15 | 0 | -1567.61 | -1.24 | 0 | -1.03 | -46.91 | 5.63 | 0
11:15 - 11:30 | 0 | -1568.23 | -1.24 | 0 | -1.03 | -46.91 | 5.63 | 0
11:30 - 11:45 | 0 | -1575 | -1.24 | 0 | -1.03 | -46.91 | 5.63 | 0
11:45 - 12:00 | 0 | -1567.65 | -1.24 | 0 | -1.03 | -46.91 | 5.63 | 0
12:00 - 12:15 | 0 | -1492.6 | -1.24 | 0 | -1.03 | -46.91 | 5.63 | 0
12:15 - 12:30 | 0 | -1466.29 | -1.24 | 0 | -1.03 | -46.91 | 5.63 | 0
12:30 - 12:45 | 0 | -1267.41 | -1.24 | 0 | -1.03 | -46.91 | 5.63 | 0
12:45 - 13:00 | 0 | -1250 | -1.24 | 3.36 | -1.03 | -46.91 | 5.63 | 0
13:00 - 13:15 | 0 | -1250 | -1.24 | 0 | -1.03 | -46.91 | 5.63 | 0
13:15 - 13:30 | 0 | -1250 | -1.24 | 0 | -1.03 | -46.91 | 5.63 | 0
13:30 - 13:45 | 0 | -1250 | -1.24 | 9.38 | -1.03 | -46.91 | 5.63 | 0
13:45 - 14:00 | 0 | -1250.01 | -1.24 | 2.79 | -1.03 | -46.91 | 5.63 | 0
14:00 - 14:15 | 0 | -1342.97 | -1.24 | 0 | -1.03 | -46.91 | 5.63 | 0
14:15 - 14:30 | 0 | -1350 | -1.24 | 0 | -1.03 | -46.91 | 0 | 0
14:30 - 14:45 | 0 | -1350 | -1.24 | 0 | -1.03 | -46.91 | 0 | 0
14:45 - 15:00 | 0 | -1500 | -1.24 | 0 | -1.03 | -46.91 | 0 | 0
15:00 - 15:15 | 0 | -1150 | -1.24 | 0 | -2.06 | -46.91 | 0 | 0
15:15 - 15:30 | 0 | -1150 | -1.24 | 0 | -2.06 | -46.91 | 0 | 0
15:30 - 15:45 | 0 | -1150 | -1.24 | 0 | -2.06 | -46.91 | 0 | 0
15:45 - 16:00 | 0 | -1150 | -1.24 | 0 | -2.06 | -46.91 | 0 | 0
16:00 - 16:15 | -26.29 | -775 | -1.24 | 0 | -2.06 | 0 | 0 | 0
16:15 - 16:30 | -26.29 | -775 | -1.24 | 0 | -2.06 | 0 | 0 | 0
16:30 - 16:45 | -26.29 | -625 | -1.24 | 0 | -2.06 | 0 | 0 | 0
16:45 - 17:00 | -26.29 | -625 | -1.24 | 0 | -2.06 | 0 | 0 | 0
17:00 - 17:15 | -26.29 | -600 | -1.03 | 0 | -2.06 | 0 | 0 | 0
17:15 - 17:30 | -26.29 | -150 | -1.03 | 0 | -2.06 | 0 | 0 | 0
17:30 - 17:45 | -26.29 | 0 | -1.03 | 0 | -2.06 | 0 | 0 | 63.19
17:45 - 18:00 | -26.29 | 0 | -1.03 | 0 | -2.06 | 0 | 0 | 52.95
18:00 - 18:15 | 0 | 0 | -1.03 | 0 | -2.06 | 0 | 0 | 23.55
18:15 - 18:30 | 0 | 0 | -1.03 | 0 | -2.06 | 0 | 0 | 2.49
18:30 - 18:45 | 0 | 0 | -1.03 | 0 | -2.06 | 0 | 0 | 0.15
18:45 - 19:00 | 0 | 0 | -1.03 | 0 | -2.06 | 0 | 0 | 0.56
19:00 - 19:15 | 0 | 0 | -1.03 | 0 | -2.06 | -3.09 | 0 | 0
19:15 - 19:30 | 0 | 0 | -1.03 | 0 | -2.06 | -3.09 | 0 | 0.49
19:30 - 19:45 | 0 | 0 | -1.03 | 0 | -2.06 | -3.09 | 0 | 0.13
19:45 - 20:00 | 0 | 0 | -1.03 | 0 | -2.06 | -3.09 | 0 | 3.55
20:00 - 20:15 | 0 | 0 | -1.03 | 0 | -2.06 | -3.09 | 0 | 3.69
20:15 - 20:30 | 0 | 0 | -1.03 | 0 | -2.06 | -3.09 | 0 | 5.72
20:30 - 20:45 | 0 | 0 | -1.03 | 0 | -2.06 | -3.09 | 0 | 5.5
20:45 - 21:00 | 0 | 0 | -1.03 | 0 | -2.06 | -3.09 | 0 | 6.77
21:00 - 21:15 | 0 | 0 | -1.03 | 0 | -2.06 | -3.09 | 0 | 2.2
21:15 - 21:30 | 0 | 0 | -1.03 | 0 | -2.06 | -3.09 | 0 | 3.13
21:30 - 21:45 | 0 | 0 | -1.03 | 0 | -2.06 | -3.09 | 0 | 3.35
21:45 - 22:00 | 0 | 0 | -1.03 | 0 | -2.06 | -3.09 | 0 | 3.57
22:00 - 22:15 | 0 | 0 | -1.03 | 0 | -2.06 | -3.09 | 0 | 0.88
22:15 - 22:30 | 0 | 0 | -1.03 | 0 | -2.06 | -3.09 | 0 | 0.26
22:30 - 22:45 | 0 | 0 | -1.03 | 0 | -2.06 | -3.09 | 0 | 0.93
22:45 - 23:00 | 0 | 0 | -1.03 | 0 | -2.06 | -3.09 | 0 | 0.75
23:00 - 23:15 | 0 | 0 | -1.03 | 0 | -2.06 | -3.09 | 0 | 1.42
23:15 - 23:30 | 0 | 0 | -1.03 | 0 | -2.06 | -3.09 | 0 | 1.94
23:30 - 23:45 | 0 | 0 | -1.03 | 0 | -2.06 | -3.09 | 0 | 3.49
23:45 - 24:00 | 0 | 0 | -1.03 | 0 | -2.06 | -3.09 | 0 | 3.27
Average | -4.3817 | -498.4143 | -1.1558 | 0.16177 | -1.8454 | -16.9242 | 0.87969 | 5.7989

## GDAM
GDAM TRADING DETAILS FOR DT:30.09.2026
Time Period | IOCL_Paradeep_Refinery | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | Jindal_Stainless_Limited_Duburi_Odisha | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Tata_Steel_Limited_Kalinga_Nagar | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.23
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.1
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.97
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.15
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.05
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.88
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:15 - 08:30 | 0 | 11.26 | 0 | 0 | 0 | 0 | 0 | 0
08:30 - 08:45 | 0 | 11.26 | 0 | 0 | 0 | 3.28 | 0 | 0
08:45 - 09:00 | 0 | 11.26 | 0 | 0 | 0 | 3.28 | 0 | 0
09:00 - 09:15 | 0 | 11.26 | 0 | 0 | 0 | 3.28 | 0 | 0
09:15 - 09:30 | 0 | 11.26 | 0 | 0 | 0 | 3.28 | 0 | 0
09:30 - 09:45 | 0 | 11.26 | 0 | 0 | 0 | 3.28 | 0.28 | 0
09:45 - 10:00 | 0 | 11.26 | 0 | 0 | 0 | 3.28 | 28.14 | 0
10:00 - 10:15 | 0 | 11.26 | 28.15 | 18.76 | 9.38 | 3.28 | 28.14 | 0
10:15 - 10:30 | 0 | 11.26 | 28.15 | 18.76 | 9.38 | 3.28 | 28.14 | 0
10:30 - 10:45 | 0 | 11.26 | 0 | 0 | 0 | 3.28 | 28.14 | 0
10:45 - 11:00 | 0 | 11.26 | 0 | 0 | 9.38 | 3.28 | 28.14 | 0
11:00 - 11:15 | 0 | 11.26 | 28.15 | 18.76 | 9.38 | 3.28 | 28.14 | 0
11:15 - 11:30 | 0 | 11.26 | 28.15 | 18.76 | 9.38 | 3.28 | 28.14 | 0
11:30 - 11:45 | 0 | 11.26 | 28.15 | 18.76 | 9.38 | 3.28 | 28.14 | 0
11:45 - 12:00 | 0 | 11.26 | 28.15 | 18.76 | 9.38 | 3.28 | 28.14 | 0
12:00 - 12:15 | 0 | 11.26 | 28.15 | 18.76 | 9.38 | 3.28 | 28.14 | 0
12:15 - 12:30 | 0 | 11.26 | 0 | 0 | 0 | 3.28 | 28.14 | 0
12:30 - 12:45 | 0 | 11.26 | 0 | 0 | 0 | 3.28 | 28.14 | 0
12:45 - 13:00 | 0 | 11.26 | 0 | 0 | 0 | 3.28 | 28.14 | 0
13:00 - 13:15 | 32.84 | 11.26 | 28.14 | 18.76 | 9.38 | 3.28 | 28.14 | 0
13:15 - 13:30 | 32.84 | 11.26 | 28.14 | 18.76 | 9.38 | 3.28 | 28.14 | 0
13:30 - 13:45 | 0 | 11.26 | 0 | 0 | 0 | 3.28 | 28.14 | 0
13:45 - 14:00 | 0 | 11.26 | 0 | 0 | 0 | 3.28 | 28.14 | 0
14:00 - 14:15 | 0 | 11.26 | 28.15 | 18.76 | 9.38 | 3.28 | 28.14 | 0
14:15 - 14:30 | 0 | 11.26 | 28.15 | 18.76 | 9.38 | 3.28 | 28.14 | 0
14:30 - 14:45 | 0 | 11.26 | 0 | 0 | 0 | 3.28 | 28.14 | 0
14:45 - 15:00 | 0 | 11.26 | 0 | 0 | 0 | 3.28 | 0 | 0
15:00 - 15:15 | 0 | 11.26 | 0 | 0 | 0 | 3.28 | 0 | 0
15:15 - 15:30 | 0 | 11.26 | 0 | 0 | 0 | 3.28 | 0 | 0
15:30 - 15:45 | 0 | 11.26 | 0 | 0 | 0 | 0 | 0 | 0
15:45 - 16:00 | 0 | 11.26 | 0 | 0 | 0 | 0 | 0 | 0
16:00 - 16:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:15 - 16:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:30 - 16:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:45 - 17:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:15 - 17:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:30 - 17:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:45 - 18:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.24
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.8
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.65
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.98
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.1
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.07
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.1
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.09
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.07
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.08
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.06
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.04
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.02
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.97
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.88
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.72
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.54
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.47
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.33
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.26
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.24
Average | 0.68417 | 3.636 | 3.2253 | 2.1496 | 1.1725 | 0.95667 | 5.8654 | 0.63104

## RTM
RTM TRADING DETAILS FOR DT: 30.09.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | IOCL_Paradeep_Refinery | Indian_Farmers_Fertiliser_Cooperative_Limited | MGM_Green_Energy_Limited_5MW_Solar_Power_Plant_Lokapada | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | NU_VISTA_LIMITED_(FORMERLY_EMAMI_CEMENT_LIMITED) | Neelachal_Ispat_Nigam_Limited | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | Shri_Jagannath_Steels_&_Power_Ltd | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Visa_Chrome_Limited
00:00 - 00:15 | -2.37 | 0 | -0.72 | -1.24 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -2.58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10.31 | 0 | 0 | 24.41 | -6.19
00:15 - 00:30 | -2.37 | 0 | -0.72 | -1.24 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -2.58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10.31 | 0 | 0 | 20.51 | -6.19
00:30 - 00:45 | -2.37 | -10.31 | -0.72 | -1.13 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -2.58 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | -10.31 | 0 | 0 | 12.51 | -5.15
00:45 - 01:00 | -2.37 | 0 | -0.72 | -1.13 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -2.58 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | -56.7 | 0 | 0 | 9.95 | -5.15
01:00 - 01:15 | -2.37 | 0 | -0.72 | -1.13 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -2.58 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | -30.93 | 0 | 0 | 33.49 | -5.15
01:15 - 01:30 | -2.37 | 0 | -0.72 | -1.13 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -2.58 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 32.31 | -5.15
01:30 - 01:45 | -2.37 | 0 | -0.72 | -1.24 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -2.58 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | -20.62 | 0 | 0 | 11.7 | -5.15
01:45 - 02:00 | -2.37 | 0 | -0.72 | -1.24 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -2.58 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | -5.15
02:00 - 02:15 | -2.37 | -7.22 | -0.72 | -1.24 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -2.58 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | -10.31 | 0 | 0 | 40.26 | -5.15
02:15 - 02:30 | -2.37 | 0 | -0.72 | -1.24 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -2.58 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | -56.7 | 0 | 0 | 41.59 | -5.15
02:30 - 02:45 | -2.37 | 0 | -0.72 | -1.24 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -2.58 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | -56.7 | 0 | 0 | 0 | -5.15
02:45 - 03:00 | -2.37 | 0 | -0.72 | -1.24 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -2.58 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | -5.15
03:00 - 03:15 | -2.37 | 0 | -0.72 | -1.24 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -2.58 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | -8.25 | 0 | 0 | 0 | -5.15
03:15 - 03:30 | -2.37 | -13.4 | -0.72 | -1.24 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -2.58 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | -51.55 | 0 | 0 | 0 | -5.15
03:30 - 03:45 | -2.37 | 0 | -0.72 | -1.34 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | -5.15
03:45 - 04:00 | -2.37 | 0 | -0.72 | -1.34 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | -10.31 | 0 | 0 | 0 | -5.15
04:00 - 04:15 | -2.37 | 0 | -0.72 | -1.34 | -1.03 | -12.51 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | -56.7 | 0 | 0 | 0 | -5.15
04:15 - 04:30 | -2.37 | 0 | -0.72 | -1.34 | -1.03 | -23.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | -67.01 | 0 | 0 | 0 | -5.15
04:30 - 04:45 | -2.37 | -6.19 | -0.72 | -1.34 | -1.03 | -21.87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | -77.32 | 0 | 0 | 0 | -5.15
04:45 - 05:00 | -2.37 | -6.19 | -0.72 | -1.34 | -1.03 | -37.49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | -51.55 | 0 | 0 | 0 | -5.15
05:00 - 05:15 | -2.37 | 0 | -0.72 | -1.34 | -1.03 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | -5.15
05:15 - 05:30 | -2.37 | 0 | -0.72 | -1.34 | -1.03 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | -5.15
05:30 - 05:45 | -2.37 | 0 | -0.72 | -1.34 | -1.03 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | -67.01 | 0 | 0 | 0 | -5.15
05:45 - 06:00 | -2.37 | 0 | -0.72 | -1.34 | -1.03 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -24.74 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | -72.16 | 0 | 0 | 0 | -5.15
06:00 - 06:15 | -2.37 | -10.31 | -0.72 | -1.34 | -1.03 | -100 | 0 | 0 | -0.1 | -0.1 | 0 | 0 | 0 | -24.74 | 0 | -7.73 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | -25.77 | 0 | 0 | 0 | -16.49
06:15 - 06:30 | -2.37 | 0 | -0.72 | -1.34 | -1.03 | -100 | 0 | 0 | -0.21 | -0.31 | 0 | 0 | 0 | -24.74 | -0.21 | -7.73 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | -25.77 | 0 | 0 | 0 | -16.49
06:30 - 06:45 | -2.37 | 0 | -0.72 | -1.44 | -1.03 | -100 | 0 | 0 | -0.31 | -0.52 | 0 | 0 | 0 | -24.74 | -0.62 | -7.73 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | -30.93 | 0 | 0 | 0 | -16.49
06:45 - 07:00 | -2.37 | 0 | -0.72 | -1.44 | -1.03 | -100 | 0 | 0 | -0.52 | -0.72 | 0 | 0 | 0 | -24.74 | -0.93 | -7.73 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | -30.93 | 0 | 0 | 0 | -16.49
07:00 - 07:15 | -2.37 | 0 | -0.72 | -1.55 | -1.03 | -150 | 0 | 0 | -0.72 | -0.62 | 0 | 0 | 0 | -24.74 | -1.24 | -7.22 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | -36.08 | 0 | 0 | 0 | -16.49
07:15 - 07:30 | -2.37 | 0 | -0.72 | -1.55 | -1.03 | -250 | 0 | 0 | -0.93 | -0.72 | 0 | 0 | 0 | -24.74 | -1.55 | -7.22 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | -36.08 | 0 | 0 | 0 | -16.49
07:30 - 07:45 | -2.37 | -10.31 | -0.72 | -1.55 | -1.03 | -278.13 | 0 | 0 | -1.24 | -0.82 | 0 | 0 | 0 | -24.74 | -2.16 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | -25.77 | 0 | 0 | 0 | -16.49
07:45 - 08:00 | -2.37 | -11.34 | -0.72 | -1.55 | -1.03 | -292.7 | 0 | 10.32 | -1.55 | -0.93 | 0 | 8.63 | 0 | -24.74 | -2.68 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | -25.77 | 63.79 | 0 | 0 | -16.49
08:00 - 08:15 | -2.37 | 0 | -0.72 | -1.34 | -1.03 | 0 | 0 | 10.32 | -1.96 | -1.24 | 0 | 8.63 | 0 | -24.74 | -3.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | -10.31 | 0 | 0 | 0 | -7.22
08:15 - 08:30 | -2.37 | 0 | -0.72 | 0 | -0.64 | 0 | 32.82 | 10.32 | -2.06 | -1.44 | 9.38 | 8.63 | 0 | -24.74 | -3.61 | 0 | 13.13 | 9.38 | 0 | 10.32 | 0 | 0 | -1.03 | -10.31 | 0 | 5.16 | 0 | -7.22
08:30 - 08:45 | -2.37 | 0 | -0.72 | 0 | 0 | -142.43 | 32.82 | 10.32 | -2.16 | -1.24 | 9.38 | 8.63 | 0 | -24.74 | -3.92 | 0 | 13.13 | 9.38 | 4.69 | 10.32 | 0 | 0 | -1.03 | -10.31 | 18.76 | 5.16 | 0 | -7.22
08:45 - 09:00 | -2.37 | 0 | -0.72 | 0 | -1.03 | -151.25 | 32.82 | 10.32 | -2.58 | -1.34 | 9.38 | 8.63 | 0 | -24.74 | -4.12 | 0 | 11.26 | 9.38 | 4.69 | 10.32 | 0 | 0 | -1.03 | -10.31 | 18.76 | 5.16 | 0 | -7.22
09:00 - 09:15 | -2.37 | 0 | -0.72 | 0 | 0 | 193.39 | 0 | 10.32 | -2.99 | -1.75 | 0 | 8.63 | 0 | -24.74 | -4.33 | 0 | 11.26 | 4.69 | 4.69 | 13.12 | 0 | 0 | -1.03 | -15.46 | 9.38 | 4.51 | 0 | -7.22
09:15 - 09:30 | -2.37 | -15.46 | -0.72 | 0 | 0 | 96.68 | 0 | 10.32 | 0 | -1.96 | 0 | 8.63 | 0 | -24.74 | -4.43 | 0 | 11.26 | 4.69 | 4.69 | 9.89 | 0 | 0 | -1.03 | -15.46 | 0 | 3.4 | 0 | -7.22
09:30 - 09:45 | -2.37 | -7.22 | -0.72 | 0 | 0 | 72.5 | 0 | 10.32 | 0 | -2.37 | 0 | 8.63 | 0 | -24.74 | -4.64 | 0 | 0 | 0 | 1.7 | 0 | 0 | 0 | -1.03 | -20.62 | 0 | 0 | 0 | -5.15
09:45 - 10:00 | -2.37 | 0 | -0.72 | 0 | 0 | 0 | 0 | 10.32 | 0 | -2.58 | 0 | 8.63 | 0 | -24.74 | -2.27 | 0 | 11.25 | 0 | 4.69 | 0 | 0 | 0 | -1.03 | -20.62 | 0 | 0 | 0 | -5.15
10:00 - 10:15 | -2.37 | 0 | -0.72 | 0 | 0 | 197.04 | 32.83 | 10.32 | 0 | -2.78 | 0 | 8.63 | 0 | -24.74 | 3.19 | 0 | 13.13 | 4.69 | 4.69 | 15.01 | 0 | 0 | -1.03 | -22.68 | 0 | 10.32 | 0 | -5.15
10:15 - 10:30 | -2.37 | 0 | -0.72 | 0 | 0 | 293.74 | 32.83 | 10.32 | 0 | -2.89 | 0 | 8.63 | 0 | -24.74 | 3.09 | 0 | 13.13 | 4.69 | 4.69 | 15.01 | 0 | 0 | -1.03 | -22.68 | 0 | 10.32 | 0 | -5.15
10:30 - 10:45 | -2.37 | 0 | -0.72 | 0 | 0 | 184.65 | 0 | 10.32 | 0 | -2.99 | 0 | 8.63 | 0 | -24.74 | 0 | 0 | 5.63 | 0 | 4.69 | 0 | 0 | 0 | -1.03 | -10.31 | 0 | 0 | 0 | -5.15
10:45 - 11:00 | -2.37 | -7.22 | -0.72 | 0 | 0 | 192.4 | 0 | 10.32 | 0 | -3.09 | 0 | 8.63 | 0 | -24.74 | 0 | 0 | 5.63 | 4.69 | 4.69 | 0 | 0 | 0 | -1.03 | -10.31 | 0 | 0 | 0 | -5.15
11:00 - 11:15 | -2.37 | -8.25 | -0.72 | 0 | 0 | 207.88 | 0 | 10.32 | 0 | -3.2 | 0 | 8.63 | 0 | -24.74 | 0 | 0 | 5.63 | 4.69 | 4.69 | 15.01 | 0 | 0 | -1.03 | -25.77 | 0 | 10.32 | 0 | -5.15
11:15 - 11:30 | -2.37 | 0 | -0.72 | 0 | 0 | 273.99 | 0 | 10.32 | 0 | -3.09 | 0 | 8.63 | 0 | -24.74 | 0 | 0 | 5.63 | 0 | 4.69 | 0 | 0 | 0 | -1.03 | -25.77 | 0 | 0 | 0 | -5.15
11:30 - 11:45 | -1.03 | 0 | -0.72 | 0 | 0 | 134.14 | 0 | 10.32 | 0 | -2.99 | 0 | 8.63 | 0 | -24.74 | 0 | 0 | 5.63 | 4.69 | 4.69 | 15.01 | 0 | 0 | -1.03 | -20.62 | 0 | 10.32 | 0 | -5.15
11:45 - 12:00 | -1.03 | 0 | -0.72 | 0 | 0 | 134.12 | 0 | 10.32 | 0 | -2.89 | 0 | 8.63 | 0 | -24.74 | 0 | 0 | 5.63 | 4.69 | 4.69 | 15.01 | 0 | 0 | -1.03 | -20.62 | 0 | 10.32 | 0 | -5.15
12:00 - 12:15 | -1.03 | 0 | -0.72 | 0 | 0 | 0 | 32.82 | 10.32 | 0 | -2.89 | 0 | 8.63 | 0 | -24.74 | 0 | 0 | 5.63 | 4.69 | 4.69 | 15.01 | 0 | 0 | -1.03 | -25.77 | 0 | 10.32 | 0 | -5.15
12:15 - 12:30 | -1.03 | 0 | -0.72 | 0 | 0 | 0 | 32.82 | 10.32 | 0 | -2.99 | 9.38 | 8.63 | 0 | -24.74 | 0 | 0 | 7.51 | 4.69 | 4.69 | 15.01 | 0 | 0 | -1.03 | -25.77 | 0 | 10.32 | 0 | -5.15
12:30 - 12:45 | -1.03 | -11.34 | -0.72 | 0 | 0 | 0 | 32.83 | 10.32 | 0 | -2.99 | 9.38 | 8.63 | 0 | -24.74 | 0 | 0 | 5.63 | 4.69 | 9.38 | 15.01 | 0 | 0 | -1.03 | -28.87 | 0 | 10.32 | 0 | -5.15
12:45 - 13:00 | -1.03 | 0 | -0.72 | 0 | 0 | 0 | 32.82 | 10.32 | 0 | -3.09 | 0 | 8.63 | 0 | -24.74 | 3.09 | 0 | 7.51 | 4.69 | 9.38 | 15.01 | 0 | 0 | -1.03 | -28.87 | 0 | 10.32 | 0 | -5.15
13:00 - 13:15 | -2.37 | 0 | -0.72 | 0 | 0 | 0 | 0 | 10.32 | 0 | -2.89 | 0 | 8.63 | 0 | -24.74 | 3.19 | 0 | 7.51 | 4.69 | 9.38 | 15 | 0 | 0 | -1.03 | -28.87 | 0 | 10.32 | 0 | -5.15
13:15 - 13:30 | -2.37 | 0 | -0.72 | 0 | 0 | 0 | 0 | 10.32 | 0 | -2.78 | 0 | 8.63 | 0 | -24.74 | 3.28 | 0 | 7.51 | 4.69 | 9.38 | 15.01 | 0 | 0 | -1.03 | -28.87 | 0 | 10.32 | 0 | -5.15
13:30 - 13:45 | -2.37 | 0 | -0.72 | 0 | 0 | 230.84 | 0 | 10.32 | 0 | -2.58 | 0 | 8.63 | 0 | -24.74 | 0 | 0 | 5.63 | 4.69 | 9.38 | 15.01 | 0 | 0 | -1.03 | -25.77 | 0 | 10.32 | 0 | -5.15
13:45 - 14:00 | -2.37 | 0 | -0.72 | 0 | 0 | 223.63 | 0 | 10.32 | 0 | -2.27 | 0 | 8.63 | 0 | -24.74 | 0 | 0 | 5.63 | 4.69 | 9.38 | 14.4 | 0 | 0 | -1.03 | -25.77 | 0 | 9.9 | 0 | -5.15
14:00 - 14:15 | -2.37 | -7.22 | -1.44 | 0 | 0 | 116.01 | 0 | 10.32 | 0 | -2.06 | 0 | 0 | 0 | -24.74 | -1.86 | 0 | 5.63 | 0 | 9.38 | 0 | 0 | 0 | -1.03 | -41.24 | 0 | 0 | 0 | -5.15
14:15 - 14:30 | -2.37 | 0 | -1.44 | 0 | 0 | 210.76 | 0 | 10.32 | 0 | -1.86 | 0 | 0 | 0 | -24.74 | -4.12 | 0 | 11.26 | 0 | 9.38 | 0 | 0 | 0 | -1.03 | -41.24 | 0 | 0 | 0 | -5.15
14:30 - 14:45 | -2.58 | 0 | -1.44 | 0 | 0 | 158.93 | 0 | 10.32 | -2.47 | -1.65 | 0 | 8.63 | 0 | -25.77 | -3.71 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | -36.08 | 0 | 0 | 0 | -5.15
14:45 - 15:00 | -2.58 | 0 | -1.44 | 0 | 0 | 38.55 | 0 | 10.32 | -2.27 | -1.44 | 0 | 5.42 | 0 | -25.77 | -3.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | -36.08 | 0 | 0 | 0 | -5.15
15:00 - 15:15 | -2.58 | 0 | -1.44 | 0 | 0 | 0 | 0 | 0 | -1.96 | 0 | 0 | 0 | 0 | -25.77 | -2.89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | -41.24 | 0 | 0 | 0 | -5.15
15:15 - 15:30 | -2.58 | -6.19 | -1.44 | 0 | 0 | 0 | 0 | 0 | -1.75 | 0 | 0 | 0 | 0 | -25.77 | -2.47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | -41.24 | 0 | 0 | 0 | -5.15
15:30 - 15:45 | -1.55 | -13.4 | -1.44 | -1.34 | 0 | 190.7 | 0 | 0 | -1.44 | 0 | 0 | 0 | 0 | -25.77 | -2.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | -72.16 | 0 | 0 | 0 | -5.15
15:45 - 16:00 | -1.55 | 0 | -1.44 | -1.34 | 0 | 43.95 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | -25.77 | -1.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | -72.16 | 0 | 0 | 0 | -5.15
16:00 - 16:15 | -1.55 | 0 | -1.44 | -1.34 | 0 | -300 | 0 | 10.32 | -0.72 | 0 | 0 | 8.63 | 7.51 | -25.77 | -1.44 | 0 | 11.26 | 0 | 0 | 0 | -5.15 | 0 | -1.03 | -87.63 | 18.75 | 0 | 0 | -13.4
16:15 - 16:30 | -1.55 | 0 | -1.44 | -1.34 | 0 | -300 | 0 | 0 | -0.52 | 0 | 0 | 0 | 0 | -25.77 | -1.03 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -1.03 | -87.63 | 0 | 0 | 0 | -13.4
16:30 - 16:45 | -1.55 | 0 | -1.44 | -1.34 | 0 | -250 | 0 | 0 | -0.31 | 0 | 0 | 0 | 0 | -25.77 | -0.62 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -1.03 | -90.72 | 0 | 0 | 0 | -13.4
16:45 - 17:00 | -1.55 | 0 | -1.44 | -1.34 | 0 | -150 | 0 | 0 | -0.1 | 0 | 0 | 0 | 0 | -25.77 | -0.21 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -1.03 | -90.72 | 0 | 0 | 0 | -13.4
17:00 - 17:15 | -1.55 | -11.34 | -1.03 | -1.13 | 0 | -150 | 0 | 0 | -0.1 | 0 | 0 | 0 | 0 | -25.77 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -1.03 | -85.57 | 0 | 0 | 0 | -14.43
17:15 - 17:30 | -1.55 | 0 | -1.03 | -1.13 | 0 | -400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -25.77 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -1.03 | -85.57 | 0 | 0 | 0 | -14.43
17:30 - 17:45 | -2.47 | 0 | -1.03 | -1.24 | 0 | -300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -25.77 | 0 | -8.25 | 0 | 0 | 0 | 0 | -5.15 | -5.15 | -1.03 | -75.26 | 0 | 0 | 1.86 | -14.43
17:45 - 18:00 | -2.47 | 0 | -1.03 | -1.24 | 0 | -200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -25.77 | 0 | -8.25 | 0 | 0 | 0 | 0 | -5.15 | -5.15 | -1.03 | -75.26 | 0 | 0 | 1.03 | -14.43
18:00 - 18:15 | -2.47 | 0 | -1.24 | -1.34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -25.77 | 0 | -2.58 | 0 | 0 | 0 | 0 | 0 | -3.09 | -1.03 | -61.86 | 0 | 0 | 11 | -6.19
18:15 - 18:30 | -2.47 | 0 | -1.24 | -1.34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -25.77 | 0 | -2.58 | 0 | 0 | 0 | 0 | 0 | -3.09 | -1.03 | -61.86 | 0 | 0 | 13.81 | -6.19
18:30 - 18:45 | -2.47 | -8.25 | -1.24 | -1.44 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -25.77 | 0 | -2.58 | 0 | 0 | 0 | 0 | 0 | -3.09 | -1.03 | -61.86 | 0 | 0 | 57.02 | -6.19
18:45 - 19:00 | -2.47 | 0 | -1.24 | -1.44 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -25.77 | 0 | -2.58 | 0 | 0 | 0 | 0 | 0 | -3.09 | -1.03 | -61.86 | 0 | 0 | 64.14 | -6.19
19:00 - 19:15 | -1.55 | 0 | -1.24 | -1.44 | -1.03 | 6.43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -25.77 | 0 | -3.09 | 0 | 0 | 0 | 0 | 0 | -3.09 | -1.03 | -92.78 | 0 | 0 | 17.47 | -6.19
19:15 - 19:30 | -1.55 | 0 | -1.24 | -1.44 | -1.03 | 6.48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -25.77 | 0 | -3.09 | 0 | 0 | 0 | 0 | 0 | -3.09 | -1.03 | -92.78 | 0 | 0 | 17.6 | -6.19
19:30 - 19:45 | -1.55 | 0 | -1.24 | -1.44 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -26.29 | 0 | -3.09 | 0 | 0 | 0 | 0 | 0 | -3.09 | -1.03 | -113.4 | 0 | 0 | 40.78 | -4.12
19:45 - 20:00 | -1.55 | 0 | -1.24 | -1.44 | -1.03 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -26.29 | 0 | -3.09 | 0 | 0 | 0 | 0 | 0 | -3.09 | -1.03 | -113.4 | 0 | 0 | 45.1 | -4.12
20:00 - 20:15 | -1.55 | -8.25 | -1.24 | -1.44 | -1.03 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -26.29 | 0 | -3.09 | 0 | 0 | 0 | 0 | 0 | -3.09 | -1.03 | -113.4 | 0 | 0 | 54.42 | -4.12
20:15 - 20:30 | -1.55 | 0 | -1.24 | -1.44 | -1.03 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -26.29 | 0 | -3.09 | 0 | 0 | 0 | 0 | 0 | -3.09 | -1.03 | -113.4 | 0 | 0 | 56.5 | -4.12
20:30 - 20:45 | -1.55 | 0 | -1.24 | -1.44 | -1.03 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -26.29 | 0 | -3.09 | 0 | 0 | 0 | 0 | 0 | -3.09 | -1.03 | -72.16 | 0 | 0 | 51.41 | -4.12
20:45 - 21:00 | -1.55 | 0 | -1.24 | -1.44 | -1.03 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -26.29 | 0 | -3.09 | 0 | 0 | 0 | 0 | 0 | -3.09 | -1.03 | -51.55 | 0 | 0 | 58.25 | -4.12
21:00 - 21:15 | -1.55 | 0 | -1.24 | -1.44 | -1.03 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -26.29 | 0 | -3.09 | 0 | 0 | 0 | 0 | 0 | -3.09 | -1.03 | -20.62 | 0 | 0 | 47.57 | -2.06
21:15 - 21:30 | -1.55 | 0 | -1.24 | -1.44 | -1.03 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -26.29 | 0 | -3.09 | 0 | 0 | 0 | 0 | 0 | -3.09 | -1.03 | -41.24 | 0 | 0 | 52.22 | -2.06
21:30 - 21:45 | -1.55 | 0 | -1.24 | -1.44 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -26.29 | 0 | -3.09 | 0 | 0 | 0 | 0 | 0 | -3.09 | -1.03 | -51.55 | 0 | 0 | 28.97 | -4.12
21:45 - 22:00 | -1.55 | 0 | -1.24 | -1.44 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -26.29 | 0 | -3.09 | 0 | 0 | 0 | 0 | 0 | -3.09 | -1.03 | -92.78 | 0 | 0 | 31.75 | -4.12
22:00 - 22:15 | -1.55 | 0 | -1.24 | -1.44 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -26.29 | 0 | -3.09 | 0 | 0 | 0 | 0 | 0 | -3.09 | -1.03 | -97.94 | 0 | 0 | 22.28 | -6.19
22:15 - 22:30 | -1.55 | 0 | -1.24 | -1.44 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -26.29 | 0 | -3.09 | 0 | 0 | 0 | 0 | 0 | -3.09 | -1.03 | -72.16 | 0 | 0 | 20.69 | -6.19
22:30 - 22:45 | -1.55 | 0 | -1.24 | -1.44 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -26.29 | 0 | -3.09 | 0 | 0 | 0 | 0 | 0 | -3.09 | -1.03 | -20.62 | 0 | 0 | 14.04 | -6.19
22:45 - 23:00 | -1.55 | 0 | -1.24 | -1.44 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -26.29 | 0 | -3.09 | 0 | 0 | 0 | 0 | 0 | -3.09 | -1.03 | -41.24 | 0 | 0 | 13.82 | -6.19
23:00 - 23:15 | -1.55 | -10.31 | -1.24 | -1.34 | -1.03 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -26.29 | 0 | -2.58 | 0 | 0 | 0 | 0 | 0 | -3.09 | -1.03 | -10.31 | 0 | 0 | 13.3 | -6.19
23:15 - 23:30 | -1.55 | 0 | -1.24 | -1.34 | -1.03 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -26.29 | 0 | -2.58 | 0 | 0 | 0 | 0 | 0 | -3.09 | -1.03 | -30.93 | 0 | 0 | 13.63 | -6.19
23:30 - 23:45 | -1.55 | 0 | -1.24 | -1.44 | -1.03 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -26.29 | 0 | -2.58 | 0 | 0 | 0 | 0 | 0 | -3.09 | -1.03 | -92.78 | 0 | 0 | 14.08 | -6.19
23:45 - 24:00 | -1.55 | 0 | -1.24 | -1.44 | -1.03 | -150 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -26.29 | 0 | -2.58 | 0 | 0 | 0 | 0 | 0 | -3.09 | -1.03 | -77.32 | 0 | 0 | 16.96 | -6.19
Average | -2.0621 | -1.9763 | -0.95292 | -0.94125 | -0.6075 | -18.7792 | 3.0772 | 3.225 | -0.3125 | -0.75073 | 0.48854 | 2.4836 | 0.078229 | -25.2452 | -0.51802 | -1.9223 | 2.2087 | 1.0748 | 1.5322 | 2.5883 | -0.42917 | -0.87979 | -1.0085 | -43.4601 | 1.3483 | 1.6368 | 10.4836 | -6.9779