## POWER STATUS
POWER STATUS ON DT 02.10.2026
[9 empty] | 2026-10-02 | 2026-10-01
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 21:00
Demand -> | [8 empty] | 5708.7141 | 6315.847
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla [Gate-L-1 , R-0] | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 235 | 5.64 | 630/590 ft | 629.75 | 629.6 | 630 | 224.08 | 249.1588
| Chiplima | 72(3x24) | 60.458 | 1.451 | - |  |  |  | 53.9378 | 64.9709
| Balimela | 510(6x60+2x75) | 124.62 | 2.9909 | 1516/1440 ft | 1499.1 | 1502.8 | 1503.2 | 176.3417 | 274.3359
| Rengali | 250(5x50) | 246.91 | 5.9258 | 123.5/109.75 mt | 123.7 | 123.79 | 123.84 | 246.8405 | 245.6955
| Upper Kolab | 320(4x80) | 66.38 | 1.5931 | 858/844 mt | 856.5 | 855.83 | 855.88 | 0 | 168.9466
| Upper Indravati[ Gate- 0 ] | 600(4x150) | 601.85 | 14.4444 | 642/625 mt | 639.25 | 641.61 | 641.63 | 601.4246 | 601.5999
| Machkund | 60(50% of(3x17+3x23)) | 23.56 | 0.56544 | 2750/2685 ft | 2748.45 | 2746.75 | 2746.65 | 24.8844 | 25.0395
| Total Hydro | 2099.5 | 1358.778 | 32.6107 |  |  |  |  | 1327.509 | 1629.7471
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1052.82 | 25.2677 | RENEWABLE ENERGY (RE) |  |  |  | 1045 | 1058
[5 empty] | M.Hydl | 86.33
| Total Thermal | 2200 | 1052.82 | 25.2677 | Solar | 145.24 |  |  | 1045 | 1058
IPP | VEDANTA #2 | 600 (1x600) | 403.49 | 9.6838 | Total IPPs | Yesterday's Demand Profile |  |  | 394.4531 | 412.4023
| GMR #3 | 350 (1x350) | 312.06 | 7.4894 | 817.41 |  | MW | HRS | 325.308 | 325.9944
| NBVL(IPP) | 60(1x60) | 53.08 | 1.2739 |  |  |  |  | 53.9733 | 53.9415
| MDTPC |  | 48.78 | 1.1707 |  |  |  |  | 30.6922 | 56.2612
| CGPs |  | 891.5 | 21.396 | IPPs, CGPs & RE | Maximum | 6315.7213 | 21.00 | 2187 | 1996.6914
| Central Sector(Drawl) |  | 1412.2914 | 33.895 | 1940.48 | Minimum | 5236.2392 | 07.00 | 1149.2051 | 1631.4085
| Central Sector(Sch) |  | 1470.4327 | 35.2904 |  | Average | 5764.3694 |  | 1315.9569 | 1673.97
| Grand Total |  | 5764.3694 | 138.3449 | Instantaneous Peak demand |  | 6562 | 475:41 | 5708.7141 | 6315.847
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(5) |  | ACTUAL |  | SCHEDULE(1)
Burla | NIL | IbTPS / OPGC | 4 |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1792.4972 | 43.0199 | 1758.7033 | 42.2089 | 1772.9063 | 42.5498
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1650.9101 | 39.6218 | 1672.5297 | 40.1407 | 1574.8408 | 37.7962
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1382.2298 | 33.1735 | 1410.6477 | 33.8555 | 1365.599 | 32.7744
U.Kolab | 2 | KAHALGAON | 4,6 | TPSODL | 623.1084 | 14.9546 | 623.4453 | 14.9627 | 631.6986 | 15.1608
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5448.7455 | 130.7699 | 5465.326 | 131.1678 | 5345.0447 | 128.2811
Machhkund | 4,5,6 | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 394.4531 | GMR |  |  |  | 325.308
| NBVL #3 | 53.9733 | MDTPC |  |  |  | 30.6922
Mini Hydel: | MEENAKSHI | 0 | OPCL |  |  |  | 0
| BTPL | 28.2037 | SAPTADHARA |  |  |  | 19.8771
| SNHEP | 31.7283 | KAKATIYA |  |  |  | 7.6837
Solar: |  | 358.8347
CGPs : | JSPL (Angul) | 426.1643 | JSL(Duburi) |  |  |  | -167.897
| ICCL | 44.8054 | visa |  |  |  | 13.3735
| NALCO | -138.8114 | VAL (CGP) |  |  |  | 100.8285
| RSP | -82.7474 | BSL(MMDL) |  |  |  | 80.2796
| INDAL | -5.9474 | ADITYA ALUMINIUM |  |  |  | 40
| NINL | -27.5566 | VAL CPP 400 kV |  |  |  | -604.6259
| NBVL | 53.9733 | Arati |  |  |  | 0.032085
| BPSL(JSG) | -188.7744 | BPPL |  |  |  | 102.98
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-09-24 | 2026-09-25 | 2026-09-26 | 2026-09-27 | 2026-09-28 | 2026-09-29 | 2026-09-30 | 2026-10-01
1075.56 | 784.1312 | 1206.94 | 1241.34 | 1275.6415 | 1403.6734 | 1350.5371 | 1358.778
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.01.10.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | ARYAN_ISPAT | DNHDDPDCL | -5 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0.75
ENVIROCARE_INFRA | BALCO_LOAD | -6.5 | ENVIROCARE_INFRA | DNHDDPDCL | -5 | AGE26AL_PSS6_KPS1_S | ODISHA | 128.47
ENVIROCARE_INFRA | BALCO_LOAD | -6.5 | FACORPOWER | BYPL | -14 | AP41PL_BHDL | ODISHA | 59.7
FACORPOWER | APCPDCL | -18.75 | GMRKEL_STU | RUVITSL | -23.21 | AP43PL_BKN | ODISHA | 88.65
FACORPOWER | PUNJAB | -5.5 | JPIPL | TANGEDCO | -13.1 | AWEK1L | ODISHA | 2.5
GMRKEL_STU | RUVITSL | -38.69 | JSPLANGUL | TANGEDCO | -50 | AWEK1L | ODISHA | 3.75
GMRKEL_STU | TNEB | -18 | NBVLIPP | BYPL | -46 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 5.01
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | NPSRL | MBPL | -0.42 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 12.46
JSPLANGUL | GEB_Beneficiary | -125 | NPSRL | TPL_DIS_SUR | -4 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 21.08
JSPLANGUL | GEB_Beneficiary | -100 | OCL_IRON_STEEL | WBSEDCL | -10 | DADRI_SOLAR | ODISHA | 0.79
MAADURGA_THERMAL | NPCL_UP | -17.26 | ODISHA | WBSEDCL | -50 | ENERSON_SOLAR_10MW | ODISHA | 1.16
NBVLIPP | TANGEDCO | 0 | ODISHA | WBSEDCL | -50 | GADAG_GreenInfra_W | ODISHA | 0
OCL_IRON_STEEL | TPL_DIS_AHM_ISTS | -46.56 | ORSISL | DNHDDPDCL | -3 | GADAG_GreenInfra_W | ODISHA | 0
ORSISL | BALCO_LOAD | -3.5 | RSPL_JHARSUGUDA | CESC | -7.33 | GADAG_GreenInfra_W | ODISHA | 0.1
SMEL | BALCO_LOAD | -5 | RSPL_JHARSUGUDA | DNHDDPDCL | -20 | GADAG_Serentica3_S | VLSEZ | 36.76
VSL | BALCO_LOAD | -5 | SGML | TPL_DIS_SUR | -7 | GADAG_Serentica3_W | VLSEZ | 3.63
FARIDABAD_SOLAR | ODISHA | 0.86 | SMEL | DNHDDPDCL | -25 | GADAG_Serentica3_W | VLSEZ | 3.3
JSWEL_UTKAL | ODISHA | 72.67 | SMEL | TPL_DIS_SUR | -5 | GIWEL_SECI_II_RE | ODISHA | 13.41
RAJ_SOLAR | ODISHA | 2.18 | Shri_JSPL | TPL_DIS_SUR | -2.5 | GPCL_SOLAR_10 | ODISHA | 1.07
RAJ_SOLAR | ODISHA | 2.51 | TSBSLA | DNHDDPDCL | -10 | GSECL_SOLAR | ODISHA | 1.91
|  |  | VIRAJ_SEPL | TANGEDCO | -10 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 2.2
|  |  | VSL | DNHDDPDCL | -8.75 | KARUR_TPVARDHAMAN_W | TSKPO | 19.63
|  |  | Darlipali_NTPC | ODISHA | 69.84 | Kurnool_Greenko_H_Inj | ADITYAAL | 6.25
|  |  | JIPL | ODISHA | 97.92 | Kurnool_Greenko_H_Inj | ADITYAAL | 2.14
|  |  | MYTRAHVAYU | VLSEZ | 7.68 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | NALCOAP | NACL_Odisha | 3.09 | NTPCRE1_SMND_BHJ2_W | ODISHA | 1.68
|  |  | PCBLTNLTD_UNIT2 | VLSEZ | 3.45 | O2RE3PL_Wasi_klm_W | VLSEZ | 5.16
[6 empty] | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 0
[6 empty] | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0
[6 empty] | OKWPL_RE | ODISHA | 6.37
[6 empty] | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 9.4
[6 empty] | RWE_AP2_SECI_III | ODISHA | 5
[6 empty] | RenewGreen_SLPR_HS | JSL_DUBURI | 11.02
[6 empty] | SRI9PL_FTG3 | VLSEZ | 117.33
[6 empty] | TPVSL_BKN3 | TSKPO | 14.34
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 11.93
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 0.24
[6 empty] | XXPPL_FTG3 | ODISHA | 84.88

## DAM
DAM TRADING DETAILS FOR DT : 01.10.2026
Time Period | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | IOCL_Paradeep_Refinery | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Minerals_Ltd | MSP_Sponge_Iron_Limited_Odisha | Nav_Bharat_ventures_Ltd | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Tata_Steel_Limited_Kalinga_Nagar | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | -25 | -1.2 | 0 | -2 | 0 | 0 | 6.3
00:15 - 00:30 | 0 | 0 | 0 | -25 | -1.2 | 0 | -2 | 0 | 0 | 6.49
00:30 - 00:45 | 0 | 0 | 0 | -25 | -1.2 | 0 | -2 | 0 | 0 | 7.43
00:45 - 01:00 | 0 | 0 | 0 | -25 | -1.2 | 0 | -2 | 0 | 0 | 8.78
01:00 - 01:15 | 0 | 0 | 0 | -25 | -1.2 | 0 | -2 | 0 | 0 | 11.01
01:15 - 01:30 | 0 | 0 | 0 | -25 | -1.2 | 0 | -2 | 0 | 0 | 10.89
01:30 - 01:45 | 0 | 0 | 0 | -25 | -1.2 | 0 | -2 | 0 | 0 | 12.05
01:45 - 02:00 | 0 | 0 | 0 | -25 | -1.2 | 0 | -2 | 0 | 0 | 12.81
02:00 - 02:15 | 0 | 0 | 0 | -25 | -1.2 | 0 | -2 | 0 | 0 | 41.89
02:15 - 02:30 | 0 | 0 | 0 | -25 | -1.2 | 0 | -2 | 0 | 0 | 54.2
02:30 - 02:45 | 0 | 0 | 0 | -25 | -1.2 | 0 | -2 | 0 | 0 | 75.29
02:45 - 03:00 | 0 | 0 | 0 | -25 | -1.2 | 0 | -2 | 0 | 0 | 83.11
03:00 - 03:15 | 0 | 0 | 0 | -25 | -1.2 | 0 | -2 | 0 | 0 | 87.32
03:15 - 03:30 | 0 | 0 | 0 | -25 | -1.2 | 0 | -2 | 0 | 0 | 86.27
03:30 - 03:45 | 0 | 0 | 0 | -25 | -1.2 | 0 | -2 | 0 | 0 | 92.89
03:45 - 04:00 | 0 | 0 | 0 | -25 | -1.2 | 0 | -2 | 0 | 0 | 94.54
04:00 - 04:15 | 0 | 0 | 0 | -25 | -1.2 | 0 | -2 | 0 | 0 | 46.98
04:15 - 04:30 | 0 | 0 | 0 | -25 | -1.2 | 0 | -2 | 0 | 0 | 48.65
04:30 - 04:45 | 0 | 0 | 0 | -25 | -1.2 | 0 | -2 | 0 | 0 | 31.5
04:45 - 05:00 | 0 | 0 | 0 | -25 | -1.2 | 0 | -2 | 0 | 0 | 20.73
05:00 - 05:15 | 0 | 0 | 0 | -25 | -1.3 | 0 | -2 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | -25 | -1.3 | 0 | -2 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | -25 | -1.3 | 0 | -2 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | -25 | -1.3 | 0 | -2 | 0 | 0 | 0
06:00 - 06:15 | -25.5 | -250 | 0 | -25 | -1.3 | 0 | -2 | 0 | 0 | 0
06:15 - 06:30 | -25.5 | -250 | 0 | -25 | -1.3 | 0 | -2 | 0 | 0 | 0
06:30 - 06:45 | -25.5 | -250 | 0 | -25 | -1.3 | 0 | -2 | 0 | 0 | 0
06:45 - 07:00 | -25.5 | -250 | 0 | -25 | -1.3 | 0 | -2 | 0 | 0 | 0
07:00 - 07:15 | -25.5 | -425 | 0 | -25 | -1.3 | 0 | -2 | 0 | 0 | 0
07:15 - 07:30 | -25.5 | -425 | 0 | -25 | -1.3 | 0 | -2 | 0 | 0 | 0
07:30 - 07:45 | 0 | -425 | 0 | -25 | -1.3 | 0 | -2 | 0 | 0 | 0
07:45 - 08:00 | 0 | -425 | 0 | -25 | -1.3 | 0 | -2 | 0 | 0 | 0
08:00 - 08:15 | 0 | -1200 | 0 | 0 | -1.3 | 0 | -1 | 0 | 0 | 0
08:15 - 08:30 | 0 | -1200 | 0 | 0 | -1.3 | 0 | -1 | 0 | 0 | 0
08:30 - 08:45 | 0 | -900 | 0 | 0 | -1.3 | 0 | -1 | 0 | 0 | 0
08:45 - 09:00 | 0 | -900 | 0 | 0 | -1.3 | 0 | -1 | 0 | 0 | 0
09:00 - 09:15 | 0 | -1325 | 0 | 0 | -1.3 | 0 | -1 | 0 | 0 | 0
09:15 - 09:30 | 0 | -1325 | 0 | 0 | -1.3 | 0 | -1 | 0.97 | 38.68 | 0
09:30 - 09:45 | 0 | -1325 | 0 | 0 | -1.3 | 0 | -1 | 0.97 | 38.68 | 0
09:45 - 10:00 | 0 | -1243.76 | 0 | 0 | -1.3 | 0 | -1 | 0.97 | 38.68 | 0
10:00 - 10:15 | 0 | -1326.73 | 33.85 | 0 | -1.3 | 9.67 | -1 | 0.97 | 0 | 0
10:15 - 10:30 | 0 | -1169.68 | 33.85 | 0 | -1.3 | 0 | -1 | 0.97 | 0 | 0
10:30 - 10:45 | 0 | -1136.76 | 33.85 | 0 | -1.3 | 0 | -1 | 0.97 | 0 | 0
10:45 - 11:00 | 0 | -1425 | 33.85 | 0 | -1.3 | 0 | -1 | 0.97 | 0 | 0
11:00 - 11:15 | 0 | -1475 | 33.85 | 0 | -1.3 | 0 | -1 | 0.97 | 0 | 0
11:15 - 11:30 | 0 | -1475 | 32.3 | 0 | -1.3 | 0 | -1 | 0.97 | 0 | 0
11:30 - 11:45 | 0 | -1475 | 33.85 | 0 | -1.3 | 0 | -1 | 0.97 | 0 | 0
11:45 - 12:00 | 0 | -1475 | 33.85 | 0 | -1.3 | 0 | -1 | 0.97 | 0 | 0
12:00 - 12:15 | 0 | -1375 | 0 | 0 | -1.3 | 0 | -1 | 0.97 | 0 | 0
12:15 - 12:30 | 0 | -1375 | 0 | 0 | -1.3 | 0 | -1 | 0.97 | 0 | 0
12:30 - 12:45 | 0 | -1366.65 | 0 | 0 | -1.3 | 0 | -1 | 0.97 | 0 | 0
12:45 - 13:00 | 0 | -1297.72 | 0 | 0 | -1.3 | 0 | -1 | 0.97 | 0 | 0
13:00 - 13:15 | 0 | -1023.32 | 0 | 0 | -1.3 | 0 | -1 | 0.97 | 0 | 0
13:15 - 13:30 | 0 | -1097.31 | 0 | 0 | -1.3 | 0 | -1 | 0.97 | 0 | 0
13:30 - 13:45 | 0 | -1275 | 0 | 0 | -1.3 | 0 | -1 | 0.97 | 0 | 0
13:45 - 14:00 | 0 | -1275 | 0 | 0 | -1.3 | 0 | -1 | 0.97 | 0 | 0
14:00 - 14:15 | 0 | -1316.3 | 0 | 0 | -1.3 | 0 | -1 | 0.97 | 0 | 0
14:15 - 14:30 | 0 | -1312.79 | 0 | 0 | -1.3 | 0 | -1 | 0.97 | 38.68 | 0
14:30 - 14:45 | 0 | -1350 | 0 | 0 | -1.3 | 0 | -1 | 0 | 0 | 0
14:45 - 15:00 | 0 | -1350 | 0 | 0 | -1.3 | 0 | -1 | 0 | 0 | 0
15:00 - 15:15 | 0 | -1100 | 0 | 0 | -1.3 | 0 | -2 | 0 | 0 | 0
15:15 - 15:30 | 0 | -1100 | 0 | 0 | -1.3 | 0 | -2 | 0 | 0 | 0
15:30 - 15:45 | 0 | -1100 | 0 | 0 | -1.3 | 0 | -2 | 0 | 0 | 0
15:45 - 16:00 | 0 | -1100 | 0 | 0 | -1.3 | 0 | -2 | 0 | 0 | 0
16:00 - 16:15 | 0 | -600 | 0 | -25 | -1.3 | 0 | -2 | 0 | 0 | 0
16:15 - 16:30 | 0 | -550 | 0 | -25 | -1.3 | 0 | -2 | 0 | 0 | 0
16:30 - 16:45 | -25.5 | -450 | 0 | -25 | -1.3 | 0 | -2 | 0 | 0 | 0
16:45 - 17:00 | -25.5 | -350 | 0 | -25 | -1.3 | 0 | -2 | 0 | 0 | 0
17:00 - 17:15 | -25.5 | -300 | 0 | -25 | -1.1 | 0 | -2 | 0 | 0 | 0
17:15 - 17:30 | -25.5 | -250 | 0 | -25 | -1.1 | 0 | -2 | 0 | 0 | 0
17:30 - 17:45 | -25.5 | 0 | 0 | -25 | -1.1 | 0 | -2 | 0 | 0 | 21.3
17:45 - 18:00 | -25.5 | 0 | 0 | -25 | -1.1 | 0 | -2 | 0 | 0 | 13.13
18:00 - 18:15 | 0 | 0 | 0 | -25 | -1.1 | 0 | -2 | 0 | 0 | 7.01
18:15 - 18:30 | 0 | 0 | 0 | -25 | -1.1 | 0 | -2 | 0 | 0 | 1.08
18:30 - 18:45 | 0 | 0 | 0 | -25 | -1.1 | 0 | -2 | 0 | 0 | 0.01
18:45 - 19:00 | 0 | 0 | 0 | -25 | -1.1 | 0 | -2 | 0 | 0 | 0.65
19:00 - 19:15 | 0 | 0 | 0 | -25 | -1.1 | 0 | -2 | 0 | 0 | 0.32
19:15 - 19:30 | 0 | 0 | 0 | -25 | -1.1 | 0 | -2 | 0 | 0 | 0.86
19:30 - 19:45 | 0 | 0 | 0 | -24.99 | -1.1 | 0 | -2 | 0 | 0 | 0.16
19:45 - 20:00 | 0 | 0 | 0 | -25 | -1.1 | 0 | -2 | 0 | 0 | 0.15
20:00 - 20:15 | 0 | 0 | 0 | -25 | -1.1 | 0 | -2 | 0 | 0 | 0.11
20:15 - 20:30 | 0 | 0 | 0 | -25 | -1.1 | 0 | -2 | 0 | 0 | 0.3
20:30 - 20:45 | 0 | 0 | 0 | -25 | -1.1 | 0 | -2 | 0 | 0 | 0.01
20:45 - 21:00 | 0 | 0 | 0 | -25 | -1.1 | 0 | -2 | 0 | 0 | 0.2
21:00 - 21:15 | 0 | 0 | 0 | -25 | -1.1 | 0 | -2 | 0 | 0 | 0.5
21:15 - 21:30 | 0 | 0 | 0 | -25 | -1.1 | 0 | -2 | 0 | 0 | 0.01
21:30 - 21:45 | 0 | 0 | 0 | -25 | -1.1 | 0 | -2 | 0 | 0 | 2.34
21:45 - 22:00 | 0 | 0 | 0 | -25 | -1.1 | 0 | -2 | 0 | 0 | 2.49
22:00 - 22:15 | 0 | 0 | 0 | -25 | -1.1 | 0 | -2 | 0 | 0 | 0.76
22:15 - 22:30 | 0 | 0 | 0 | -25 | -1.1 | 0 | -2 | 0 | 0 | 1.05
22:30 - 22:45 | 0 | 0 | 0 | -25 | -1.1 | 0 | -2 | 0 | 0 | 2.19
22:45 - 23:00 | 0 | 0 | 0 | -25 | -1.1 | 0 | -2 | 0 | 0 | 2.6
23:00 - 23:15 | 0 | 0 | 0 | -25 | -1.1 | 0 | -2 | 0 | 0 | 11.05
23:15 - 23:30 | 0 | 0 | 0 | -25 | -1.1 | 0 | -2 | 0 | 0 | 12.6
23:30 - 23:45 | 0 | 0 | 0 | -25 | -1.1 | 0 | -2 | 0 | 0 | 17.78
23:45 - 24:00 | 0 | 0 | 0 | -25 | -1.1 | 0 | -2 | 0 | 0 | 17.42
Average | -3.1875 | -472.8231 | 2.8047 | -16.6666 | -1.2208 | 0.10073 | -1.7083 | 0.21219 | 1.6117 | 9.9501

## GDAM
GDAM TRADING DETAILS FOR DT:01.10.2026
Time Period | IOCL_Paradeep_Refinery | JSW_Sambalpur_Steel_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Tata_Steel_Limited_Kalinga_Nagar | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 2.18
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 2.09
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 2.01
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 1.98
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 2.18
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 2.28
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 2.39
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 2.37
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | 0 | 0 | 0 | 0 | 0
08:15 - 08:30 | 0 | 0 | 0 | 0 | 0 | 0
08:30 - 08:45 | 0 | 9.67 | 0 | 0 | 0 | 0
08:45 - 09:00 | 0 | 9.67 | 0 | 0 | 0 | 0
09:00 - 09:15 | 0 | 9.67 | 0 | 0 | 0 | 0
09:15 - 09:30 | 0 | 9.67 | 0 | 2.9 | 0 | 0
09:30 - 09:45 | 0 | 9.67 | 0 | 2.9 | 0 | 0
09:45 - 10:00 | 0 | 9.67 | 0 | 2.9 | 0 | 0
10:00 - 10:15 | 0 | 9.67 | 0 | 2.9 | 38.69 | 0
10:15 - 10:30 | 0 | 9.67 | 9.67 | 2.9 | 38.69 | 0
10:30 - 10:45 | 0 | 9.67 | 9.67 | 2.9 | 38.69 | 0
10:45 - 11:00 | 0 | 9.67 | 9.67 | 2.9 | 38.69 | 0
11:00 - 11:15 | 0 | 9.67 | 9.67 | 2.9 | 38.69 | 0
11:15 - 11:30 | 1.55 | 9.67 | 9.67 | 2.9 | 38.68 | 0
11:30 - 11:45 | 0 | 9.67 | 9.67 | 2.9 | 38.69 | 0
11:45 - 12:00 | 0 | 9.67 | 9.67 | 2.9 | 38.69 | 0
12:00 - 12:15 | 33.85 | 9.67 | 9.67 | 2.9 | 38.69 | 0
12:15 - 12:30 | 33.85 | 9.67 | 9.67 | 2.9 | 38.69 | 0
12:30 - 12:45 | 33.85 | 9.67 | 9.67 | 2.9 | 38.69 | 0
12:45 - 13:00 | 33.85 | 9.67 | 9.67 | 2.9 | 38.69 | 0
13:00 - 13:15 | 33.85 | 9.67 | 9.67 | 2.9 | 38.69 | 0
13:15 - 13:30 | 33.85 | 9.67 | 9.67 | 2.9 | 38.69 | 0
13:30 - 13:45 | 33.85 | 9.67 | 9.67 | 2.9 | 38.69 | 0
13:45 - 14:00 | 33.85 | 9.67 | 9.67 | 2.9 | 38.69 | 0
14:00 - 14:15 | 0 | 9.67 | 0 | 2.9 | 38.69 | 0
14:15 - 14:30 | 0 | 9.67 | 0 | 2.9 | 0 | 0
14:30 - 14:45 | 0 | 9.67 | 0 | 2.9 | 0 | 0
14:45 - 15:00 | 0 | 9.67 | 0 | 2.9 | 0 | 0
15:00 - 15:15 | 0 | 9.67 | 0 | 0 | 0 | 0
15:15 - 15:30 | 0 | 9.67 | 0 | 0 | 0 | 0
15:30 - 15:45 | 0 | 9.67 | 0 | 0 | 0 | 0
15:45 - 16:00 | 0 | 9.67 | 0 | 0 | 0 | 0
16:00 - 16:15 | 0 | 0 | 0 | 0 | 0 | 0
16:15 - 16:30 | 0 | 0 | 0 | 0 | 0 | 0
16:30 - 16:45 | 0 | 0 | 0 | 0 | 0 | 0
16:45 - 17:00 | 0 | 0 | 0 | 0 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | 0 | 0 | 0
17:15 - 17:30 | 0 | 0 | 0 | 0 | 0 | 0
17:30 - 17:45 | 0 | 0 | 0 | 0 | 0 | 0
17:45 - 18:00 | 0 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 1.86
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0.14
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0.02
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0.84
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 1.07
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 1.21
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 1.19
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 1.61
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 1.62
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 1.52
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 1.34
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 1.26
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 1.18
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 1.11
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 1.05
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 1.03
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 1.01
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0.94
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0.92
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0.9
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0.93
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0.96
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0.97
Average | 2.837 | 3.0219 | 1.5109 | 0.69479 | 6.8513 | 0.43917

## RTM
RTM TRADING DETAILS FOR DT: 01.10.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Limited | GRIDCO | IOCL_Paradeep_Refinery | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Limited_5MW_Solar_Power_Plant_Lokapada | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | NU_VISTA_LIMITED_(FORMERLY_EMAMI_CEMENT_LIMITED) | Narbheram_Power_and_Steel_Private_Limited | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Unit_II_PTC | Shri_Jagannath_Steels_&_Power_Ltd | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Visa_Chrome_Limited
00:00 - 00:15 | -1.5 | -1 | 0 | -1.4 | 0 | 0 | -150 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -42 | 0 | 0 | 8.16 | -10
00:15 - 00:30 | -1.5 | -1 | 0 | -1.4 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -40 | 0 | 0 | 7.07 | -10
00:30 - 00:45 | -1.5 | -15 | -1.2 | -1.4 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -40 | 0 | 0 | 13.19 | -10
00:45 - 01:00 | -1.5 | -8 | -1.2 | -1.4 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -42 | 0 | 0 | 14.85 | -10
01:00 - 01:15 | -1.5 | -3 | -1.2 | -1.4 | 0 | 0 | -100 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -40 | 0 | 0 | 17.11 | -10
01:15 - 01:30 | -1.5 | -3 | -1.2 | -1.4 | 0 | 0 | -100 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -50 | 0 | 0 | 19.37 | -10
01:30 - 01:45 | -1.5 | -5 | -1.2 | -1.4 | 0 | 0 | -50 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -92 | 0 | 0 | 21.55 | -10
01:45 - 02:00 | -1.5 | -5 | -1.2 | -1.4 | 0 | 0 | -50 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -92 | 0 | 0 | 26.4 | -10
02:00 - 02:15 | -2.4 | -10 | -1.2 | -1.4 | 0 | 0 | -50 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -40 | 0 | 0 | 0 | -10
02:15 - 02:30 | -2.4 | -15 | -1.2 | -1.4 | 0 | 0 | -50 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -40 | 0 | 0 | 0 | -10
02:30 - 02:45 | -2.4 | -17 | -1.2 | -1.4 | 0 | 0 | -75 | 0 | 0 | -70 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -38 | 0 | 0 | 0 | -10
02:45 - 03:00 | -2.4 | -17 | -1.2 | -1.4 | 0 | 0 | -75 | 0 | 0 | -70 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -42 | 0 | 0 | 0 | -10
03:00 - 03:15 | -2.4 | -17 | -1.2 | -1.3 | 0 | 0 | -74.99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -2.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -90 | 19.34 | 0 | 0 | -10
03:15 - 03:30 | -2.4 | -17 | -1.2 | -1.3 | 0 | 0 | -124.99 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -2.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -65 | 19.34 | 0 | 0 | -10
03:30 - 03:45 | -2.4 | -16 | -1.2 | -1.2 | 0 | 0 | -55.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -2.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -35 | 19.34 | 0 | 0 | -10
03:45 - 04:00 | -2.4 | -16 | -1.2 | -1.2 | 0 | 0 | -55.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -2.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -60 | 19.34 | 0 | 0 | -10
04:00 - 04:15 | -2.4 | -2 | -1.2 | -1.2 | 0 | 0 | -150 | 0 | 0 | -40 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -50 | 19.34 | 0 | 0 | -10
04:15 - 04:30 | -2.4 | -2 | -1.2 | -1.2 | 0 | 0 | -150 | 0 | 0 | -40 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -35 | 19.34 | 0 | 0 | -10
04:30 - 04:45 | -2.4 | -5 | -1.2 | -1.3 | 0 | 0 | -125 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -2.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -45 | 19.34 | 0 | 0 | -10
04:45 - 05:00 | -2.4 | -4 | -1.2 | -1.3 | 0 | 0 | -125 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -2.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -85 | 19.34 | 0 | 0 | -10
05:00 - 05:15 | -2.4 | -4 | -1.2 | -1.3 | 0 | 0 | -125 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -2.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -60 | 19.34 | 0 | 0 | -10
05:15 - 05:30 | -2.4 | -4 | -1.2 | -1.3 | 0 | 0 | -125 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -2.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -28 | 19.34 | 0 | 0 | -10
05:30 - 05:45 | -2.4 | -3 | -1.2 | -1.3 | 0 | 0 | -125 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -2.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | -9
05:45 - 06:00 | -2.4 | -3 | -1.2 | -1.3 | 0 | 0 | -200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -2.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | -9
06:00 - 06:15 | -2.4 | -3 | -1.2 | -1.3 | 0 | 0 | -250 | 0 | 0 | 0 | 0 | -0.1 | 0 | 0 | 0 | -1 | 0 | -10.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -10 | 0 | 0 | 0 | -10
06:15 - 06:30 | -2.4 | -3 | -1.2 | -1.3 | 0 | 0 | -200 | 0 | 0 | 0 | -0.2 | -0.2 | 0 | 0 | 0 | -1 | -0.2 | -10.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -70 | 0 | 0 | 0 | -10
06:30 - 06:45 | -2.4 | -3 | -1.2 | -1.3 | 0 | 0 | -250 | 0 | 0 | 0 | -0.3 | -0.4 | 0 | 0 | 0 | -1 | -0.5 | -10.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -70 | 0 | 0 | 0 | -10
06:45 - 07:00 | -2.4 | -3 | -1.2 | -1.3 | 0 | 0 | -300 | 0 | 0 | 0 | -0.5 | -0.7 | 0 | 0 | 0 | -1 | -0.8 | -10.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -50 | 0 | 0 | 0 | -10
07:00 - 07:15 | -2.4 | -3 | -1.2 | -1.4 | 0 | 0 | -300 | 0 | 0 | 0 | -0.7 | -0.9 | 0 | 0 | 0 | -1 | -1.1 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -10 | 0 | 0 | 0 | -9
07:15 - 07:30 | -2.4 | -3 | -1.2 | -1.4 | 0 | 0 | -300 | 0 | 0 | 0 | -0.9 | -1.1 | 0 | 0 | 0 | -1 | -1.5 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -30 | 0 | 0 | 0 | -9
07:30 - 07:45 | -2.4 | -4 | -1.2 | -1.4 | -25.5 | 0 | -575 | 0 | 0 | 0 | -1.2 | -1.1 | 0 | 0 | 0 | -1 | -2 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -80 | 0 | 0 | 0 | -9
07:45 - 08:00 | -2.4 | -4 | -1.2 | -1.4 | 0 | 0 | -606.74 | 0 | 0 | 0 | -1.5 | -1.3 | 0 | 0 | 0 | -1 | -2.6 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | -9
08:00 - 08:15 | -2.4 | -1 | -1.2 | -1.4 | 0 | 14.5 | -21.32 | 0 | 10.64 | 0 | -1.9 | -1.5 | 0 | 0 | -0.8 | -1 | -3.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | -5
08:15 - 08:30 | -2.4 | -1 | -1.2 | -1.4 | 0 | 14.5 | -15.63 | 0 | 10.64 | 0 | -2 | -1.8 | 0 | 8.9 | -0.8 | -1 | -3.4 | 0 | 5.8 | 0 | 0 | 1.73 | 0 | 0 | 0 | 0 | -40 | 0 | 0.67 | 0 | -5
08:30 - 08:45 | -2.4 | -1 | -0.7 | 0 | 0 | 14.51 | -401.24 | 33.85 | 10.64 | 0 | -2.1 | -2 | 9.67 | 8.9 | -0.8 | -1 | -3.8 | 0 | 5.8 | 0 | 0 | 12.57 | 0 | 0 | 0 | 0 | -10 | 77.36 | 4.84 | 0 | -5
08:45 - 09:00 | -2.4 | -1 | -0.7 | 0 | 0 | 14.51 | -401.87 | 33.85 | 10.64 | 0 | -2.5 | -2.2 | 9.67 | 8.9 | -0.8 | -1 | -4.1 | 0 | 5.8 | 0 | 0 | 12.57 | 0 | 0 | 0 | 0 | -40 | 77.36 | 4.84 | 0 | -5
09:00 - 09:15 | -2.4 | -1 | -0.7 | 0 | 0 | 14.51 | -37.51 | 0 | 10.64 | 0 | -2.9 | -2.3 | 0 | 8.9 | -0.8 | -1 | -4.4 | 0 | 5.8 | 0 | 0 | 7.49 | 0 | 0 | 0 | 0 | -80 | 66.72 | 2.88 | 0 | -2
09:15 - 09:30 | -2.4 | -1 | -0.7 | 0 | 0 | 14.51 | -137.5 | 0 | 10.64 | 0 | 0 | -2.5 | 0 | 8.9 | -0.8 | -1 | -1.8 | 0 | 4.84 | 0 | 0 | 8.62 | 0 | 0 | 0 | 0 | 0 | 33.83 | 3.32 | 0 | -2
09:30 - 09:45 | -2.4 | -1 | -0.7 | 0 | 0 | 14.51 | -184.5 | 0 | 10.64 | 0 | 0 | -2.6 | 9.67 | 8.9 | -0.8 | -1 | 0 | 0 | 4.84 | 0 | 5.8 | 12.57 | -5 | 3.87 | 0 | 0 | -30 | 33.84 | 4.84 | 0 | -2
09:45 - 10:00 | -2.4 | -1 | -0.7 | 0 | 0 | 14.51 | -276.68 | 33.83 | 10.64 | 0 | 0 | -2.7 | 9.67 | 8.9 | -0.8 | -1 | 0 | 0 | 4.84 | 0 | 5.8 | 12.57 | -5 | 3.87 | 0 | 0 | -65 | 33.85 | 4.84 | 0 | -2
10:00 - 10:15 | -2.4 | -1 | -0.7 | 0 | 0 | 14.51 | -335.01 | 0 | 10.64 | 0 | 0 | -2.8 | 0 | 8.9 | -0.8 | -1 | 0 | 0 | 4.84 | 0 | 5.8 | 12.57 | -5 | 3.87 | 0 | 0 | -10 | 33.83 | 4.84 | 0 | 0
10:15 - 10:30 | -2.4 | -1 | -0.7 | 0 | 0 | 14.51 | -335.01 | 0 | 10.64 | 0 | 0 | -2.9 | 0 | 8.9 | -0.8 | -1 | 0 | 0 | 4.84 | 0 | 5.8 | 12.57 | -5 | 3.87 | 0 | 0 | 0 | 33.83 | 4.84 | 0 | 0
10:30 - 10:45 | -2.4 | -1 | -1.2 | 0 | 0 | 14.51 | -351.7 | 0 | 10.64 | 0 | 0 | -2.6 | 0 | 8.9 | -0.8 | -1 | 0 | 0 | 4.84 | 0 | 5.8 | 12.57 | -5 | 2.9 | 0 | 0 | -20 | 33.84 | 4.84 | 0 | 0
10:45 - 11:00 | -2.4 | -1 | -1.2 | 0 | 0 | 14.51 | -126.23 | 0 | 10.64 | 0 | 0 | -2.8 | 0 | 8.9 | -0.8 | -1 | 0 | 0 | 4.84 | 0 | 5.8 | 12.57 | -5 | 2.9 | 0 | 0 | 0 | 33.84 | 4.84 | 0 | 0
11:00 - 11:15 | -2.4 | -1 | -1.2 | 0 | 0 | 14.51 | -200 | 11.41 | 10.64 | 0 | 0 | -2.9 | 0 | 0 | -0.8 | -1 | 0 | 0 | 4.84 | 0 | 0 | 12.57 | -5 | 2.9 | 0 | -2.5 | -30 | 24.17 | 4.84 | 0 | 0
11:15 - 11:30 | -2.4 | -1 | -1.2 | 0 | 0 | 14.51 | -300 | 11.41 | 10.64 | 0 | 0 | -3 | 0 | 0 | -0.8 | -1 | 0 | 0 | 4.84 | 0 | 0 | 12.57 | -5 | 2.9 | 0 | -2.5 | -65 | 24.17 | 4.84 | 0 | 0
11:30 - 11:45 | -2.4 | -1 | -1.2 | 0 | 0 | 14.51 | -120.13 | 0 | 10.64 | 0 | 0 | -3.2 | 0 | 0 | -0.8 | -1 | 0 | 0 | 4.84 | 4.84 | 0 | 12.57 | -5 | 2.9 | 0 | -2.5 | -15 | 24.16 | 4.84 | 0 | 0
11:45 - 12:00 | -2.4 | -1 | -1.2 | 0 | 0 | 14.51 | -128.07 | 0 | 10.64 | 0 | 0 | -3 | 0 | 0 | -0.8 | -1 | 0 | 0 | 4.84 | 4.84 | 0 | 12.57 | -5 | 2.9 | 0 | -2.5 | 0 | 24.16 | 4.84 | 0 | 0
12:00 - 12:15 | -2.4 | -1 | -1.2 | 0 | 0 | 14.51 | -238.02 | 0 | 10.64 | 0 | 0 | -3 | 0 | 0 | -0.8 | -0.5 | 0 | 0 | 4.84 | 4.84 | 0 | 12.57 | -5 | 2.9 | 0 | -2.5 | -50 | 24.16 | 4.84 | 0 | 0
12:15 - 12:30 | -2.4 | -1 | -1.2 | 0 | 0 | 14.51 | -141.1 | 0 | 10.64 | 0 | 0 | -2.9 | 0 | 0 | -0.8 | -0.5 | 0 | 0 | 4.84 | 4.84 | 0 | 12.57 | -5 | 2.9 | 0 | -2.5 | 0 | 24.16 | 4.84 | 0 | 0
12:30 - 12:45 | -2.4 | -1 | -1.2 | 0 | 0 | 14.51 | -99.9 | 0 | 10.64 | 0 | 0 | -2.7 | 0 | 0 | -0.8 | -0.5 | 0 | 0 | 6.77 | 4.84 | 0 | 12.57 | -5 | 2.9 | -2.5 | -2.5 | -25 | 24.17 | 4.84 | 0 | 0
12:45 - 13:00 | -2.4 | -1 | -1.2 | 0 | 0 | 14.51 | -155.95 | 0 | 10.64 | 0 | 0 | -2.7 | 0 | 0 | -0.8 | -0.5 | 2.8 | 0 | 6.77 | 4.84 | 0 | 12.57 | -5 | 2.9 | -1 | -2.5 | -70 | 24.17 | 4.84 | 0 | 0
13:00 - 13:15 | -2.4 | -1 | -1.2 | 0 | 0 | 14.51 | -249.46 | 0 | 10.64 | 0 | 0 | -2.6 | 0 | 0 | -0.8 | 0 | 3.29 | 0 | 6.77 | 4.84 | 0 | 12.57 | 0 | 2.9 | -1 | 0 | -58 | 24.16 | 4.84 | 0 | 0
13:15 - 13:30 | -2.4 | -1 | -1.2 | 0 | 0 | 14.51 | -200 | 0 | 10.64 | 0 | 0 | -2.5 | 0 | 0 | -0.8 | 0 | 3.19 | 0 | 6.77 | 4.84 | 0 | 12.57 | -5 | 2.9 | 0 | -2.5 | -58 | 24.17 | 4.84 | 0 | 0
13:30 - 13:45 | -2.4 | -1 | -1.2 | 0 | 0 | 14.51 | 236.58 | 0 | 10.64 | 0 | 0 | -2.2 | 0 | 0 | -0.8 | 0 | 3.38 | 0 | 6.77 | 4.84 | 0 | 12.57 | -5 | 2.9 | 0 | -2.5 | -85 | 24.18 | 4.84 | 0 | 0
13:45 - 14:00 | -2.4 | -1 | -1.2 | 0 | 0 | 14.51 | 193.5 | 0 | 10.64 | 0 | 0 | -2 | 0 | 0 | -0.8 | 0 | 0 | 0 | 6.77 | 4.84 | 0 | 12.57 | -5 | 2.9 | 0 | -2.5 | -50 | 24.18 | 4.84 | 0 | 0
14:00 - 14:15 | -2.4 | -1 | -1.2 | 0 | 0 | 14.51 | 125.8 | 0 | 10.64 | 0 | 0 | -1.8 | 9.67 | 0 | 0 | 0 | 0 | 0 | 4.84 | 4.84 | 0 | 12.57 | -6 | 2.9 | 0 | -2.5 | -10 | 24.18 | 4.84 | 0 | 0
14:15 - 14:30 | -2.4 | -1 | -1.2 | 0 | 0 | 14.51 | 0 | 0 | 10.64 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 4.84 | 0 | 0 | 0 | -6 | 2.9 | 0 | -2.5 | -40 | 24.17 | 0 | 0 | 0
14:30 - 14:45 | -2.4 | -1 | -1.2 | 0 | 0 | 14.51 | 67.83 | 0 | 10.64 | 0 | -2.4 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 2.9 | 0 | -2.5 | -80 | 0 | 0 | 0 | 0
14:45 - 15:00 | -2.4 | -1 | -1.2 | 0 | 0 | 14.51 | 56.18 | 0 | 10.64 | 0 | -2.2 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | -2.5 | -80 | 0 | 0 | 0 | 0
15:00 - 15:15 | -2.4 | -1 | -1.2 | 0 | 0 | 14.5 | -245.37 | 0 | 10.64 | 0 | -1.9 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | -2.5 | -40 | 0 | 0 | 0 | 0
15:15 - 15:30 | -2.4 | -1 | -1.2 | 0 | 0 | 14.5 | -440.54 | 0 | 10.64 | 0 | -1.7 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | -2.5 | -50 | 0 | 0 | 0 | 0
15:30 - 15:45 | -2.4 | -1 | -1.2 | 0 | 0 | 14.51 | -203.59 | 0 | 0 | 0 | -1.4 | -0.5 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | -2.5 | -25 | 0 | 0 | 0 | 0
15:45 - 16:00 | -2.4 | -1 | -1.2 | 0 | 0 | 14.51 | -353.75 | 0 | 0 | 0 | -1 | -0.3 | 0 | 0 | 0 | 0 | -1.7 | -2 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | -2.5 | -10 | 0 | 0 | 0 | 0
16:00 - 16:15 | -2.4 | -1 | -1.2 | -1.2 | 0 | 0 | -700.85 | 0 | 0 | 0 | -0.7 | -0.1 | 0 | 0 | 0 | 0 | -1.3 | -2 | 0 | 0 | 0 | 0 | -8 | 0 | 0 | -2.5 | -22 | 0 | 0 | 0 | 0
16:15 - 16:30 | -2.4 | -4 | -1.2 | -1.2 | 0 | 0 | -718.33 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -0.9 | -2 | 0 | 0 | 0 | 0 | -8 | 0 | 0 | -2.5 | -65 | 0 | 0 | 0 | 0
16:30 - 16:45 | -2.4 | -4 | -1.2 | -1.2 | 0 | 0 | -700 | 0 | 0 | 0 | -0.3 | 0 | 0 | 0 | 0 | 0 | -0.6 | -3 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | -2.5 | -75 | 0 | 0 | 0 | 0
16:45 - 17:00 | -2.4 | -4 | -1.2 | -1.2 | 0 | 0 | -700 | 0 | 0 | 0 | -0.1 | 0 | 0 | 0 | 0 | 0 | -0.1 | -3 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | -2.5 | -20 | 0 | 0 | 0 | 0
17:00 - 17:15 | -2.4 | -4 | -1.2 | -1.2 | 0 | 0 | -450 | 0 | 0 | -100 | -0.1 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | -8 | 0 | -5 | 0 | -20 | 0 | 0 | 0 | 0
17:15 - 17:30 | -2.4 | -4 | -1.2 | -1.2 | 0 | 0 | -450 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | -8 | 0 | -5 | 0 | -30 | 0 | 0 | 0 | 0
17:30 - 17:45 | -2.4 | -4 | -1.2 | -1.2 | 0 | 0 | -500 | 0 | 0 | -150 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | -10 | 0 | -5 | -2.5 | -10 | 0 | 0 | 0.58 | 0
17:45 - 18:00 | -2.4 | -4 | -1.2 | -1.2 | 0 | 0 | -300 | 0 | 0 | -150 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | -10 | 0 | -5 | -2.5 | -45 | 0 | 0 | 0.3 | 0
18:00 - 18:15 | -2.4 | -4 | -1.2 | -1.3 | 0 | 0 | 0 | 0 | 0 | -180 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -10 | 0 | -2 | -2.5 | -92 | 0 | 0 | 47.52 | 0
18:15 - 18:30 | -2.4 | -4 | -1.2 | -1.3 | 0 | 0 | 0 | 0 | 0 | -180 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -10 | 0 | -2 | -2.5 | -30 | 0 | 0 | 16.84 | 0
18:30 - 18:45 | -2.4 | -4 | -1.2 | -1.3 | 0 | 0 | 0 | 0 | 0 | -180 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -6 | 0 | -2 | -2.5 | -15 | 0 | 0 | 11.17 | 0
18:45 - 19:00 | -2.4 | -4 | -1.2 | -1.3 | 0 | 0 | 0 | 0 | 0 | -180 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -6 | 0 | -2 | -2.5 | -85 | 0 | 0 | 11.43 | 0
19:00 - 19:15 | -2.4 | -4 | -0.5 | -1.4 | 0 | 0 | 0 | 0 | 0 | -180 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -6 | 0 | -2 | -2.5 | -65 | 0 | 0 | 15.05 | 0
19:15 - 19:30 | -2.4 | -4 | -0.5 | -1.4 | 0 | 0 | 0 | 0 | 0 | -180 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -6 | 0 | -2 | -2.5 | -20 | 0 | 0 | 12.27 | 0
19:30 - 19:45 | -2.4 | -5 | -0.5 | -1.4 | 0 | 0 | 8.4 | 0 | 0 | -180 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -6 | 0 | -2 | -2.5 | -40 | 0 | 0 | 26.91 | 0
19:45 - 20:00 | -2.4 | -5 | -0.5 | -1.4 | 0 | 0 | 9 | 0 | 0 | -180 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -6 | 0 | -2 | -2.5 | -50 | 0 | 0 | 28.83 | 0
20:00 - 20:15 | -2.4 | -5 | -0.5 | -1.4 | 0 | 0 | 38.5 | 0 | 0 | -180 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -6 | 0 | -2 | -2.5 | -20 | 0 | 0 | 41.07 | 0
20:15 - 20:30 | -2.4 | -5 | -0.5 | -1.4 | 0 | 0 | 37.48 | 0 | 0 | -180 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -6 | 0 | -2 | -2.5 | -45 | 0 | 0 | 39.98 | 0
20:30 - 20:45 | -2.4 | -5 | -0.5 | -1.5 | 0 | 0 | 45.27 | 0 | 0 | -180 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -6 | 0 | -2 | -2.5 | -95 | 0 | 0 | 0 | 0
20:45 - 21:00 | -2.4 | -5 | -0.5 | -1.5 | 0 | 0 | 38.39 | 0 | 0 | -180 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -6 | 0 | -2 | -2.5 | -75 | 0 | 0 | 0 | 0
21:00 - 21:15 | -2.4 | -5 | -0.5 | -1.4 | 0 | 0 | 29.61 | 0 | 0 | -180 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -6 | 0 | -2 | -2.5 | -35 | 0 | 0 | 0 | 0
21:15 - 21:30 | -2.4 | -5 | -0.5 | -1.4 | 0 | 0 | 27.19 | 0 | 0 | -180 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -6 | 0 | -2 | -2.5 | -35 | 0 | 0 | 0 | 0
21:30 - 21:45 | -2.4 | -5 | -0.5 | -1.4 | 0 | 0 | 0 | 0 | 0 | -180 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -6 | 0 | -2 | -2.5 | -20 | 0 | 0 | 0 | -1
21:45 - 22:00 | -2.4 | -5 | -0.5 | -1.4 | 0 | 0 | 0 | 0 | 0 | -180 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -6 | 0 | -2 | -2.5 | -50 | 0 | 0 | 0 | -1
22:00 - 22:15 | -2.4 | -5 | -0.5 | -1.4 | 0 | 0 | 0 | 0 | 0 | -150 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -6 | 0 | -2 | -2.5 | -90 | 0 | 0 | 0 | -2
22:15 - 22:30 | -2.4 | -5 | -0.5 | -1.4 | 0 | 0 | 0 | 0 | 0 | -150 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -6 | 0 | -2 | -2.5 | -30 | 0 | 0 | 0 | -2
22:30 - 22:45 | -2.4 | -5 | -0.5 | -1.5 | 0 | 0 | -50 | 0 | 0 | -150 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -6 | 0 | -2 | -2.5 | -10 | 0 | 0 | 0 | -2
22:45 - 23:00 | -2.4 | -5 | -0.5 | -1.5 | 0 | 0 | -50 | 0 | 0 | -150 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -6 | 0 | -2 | -2.5 | -20 | 0 | 0 | 0 | -2
23:00 - 23:15 | -1 | 0 | -0.5 | -1.5 | 0 | 0 | -50 | 0 | 0 | -150 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -6 | 0 | -2 | -2.5 | -20 | 0 | 0 | 0 | -2
23:15 - 23:30 | -1 | 0 | -0.5 | -1.5 | 0 | 0 | -50 | 0 | 0 | -150 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -6 | 0 | -2 | -2.5 | -20 | 0 | 0 | 0 | -2
23:30 - 23:45 | -1 | 0 | -0.5 | -1.5 | 0 | 0 | -150 | 0 | 0 | -150 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -8 | 0 | -2 | -2.5 | -10 | 0 | 0 | 0 | -2
23:45 - 24:00 | -1 | 0 | -0.5 | -1.5 | 0 | 0 | -200 | 0 | 0 | -150 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -8 | 0 | -2 | -2.5 | -50 | 0 | 0 | 0 | -2
Average | -2.2667 | -3.8958 | -0.9875 | -0.92917 | -0.26562 | 4.8362 | -157.0093 | 1.2953 | 3.325 | -54.4792 | -0.30208 | -0.78854 | 0.50365 | 1.0198 | -0.2 | -0.52083 | -0.22125 | -2.3854 | 1.421 | 0.55458 | 0.3625 | 2.9355 | -3.9271 | 0.67479 | -1.2344 | -1.276 | -41.7292 | 10.3131 | 1.1303 | 3.9547 | -3.75