## POWER STATUS
POWER STATUS ON DT 03.10.2026
[9 empty] | 2026-10-03 | 2026-10-02
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 5:00 | 21:00
Demand -> | [8 empty] | 6199.4757 | 6839.1875
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla [Gate-L-1 , R-0] | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 234.25 | 5.622 | 630/590 ft | 628.79 | 630 | 630 | 260.2323 | 215.9533
| Chiplima | 72(3x24) | 60.46 | 1.451 | - |  |  |  | 63.0687 | 54.3922
| Balimela | 510(6x60+2x75) | 188.25 | 4.518 | 1516/1440 ft | 1500.4 | 1503.2 | 1503.5 | 239.831 | 302.1338
| Rengali | 250(5x50) | 245.7 | 5.8968 | 123.5/109.75 mt | 123.48 | 123.84 | 123.86 | 246.9986 | 245.967
| Upper Kolab | 320(4x80) | 63.25 | 1.518 | 858/844 mt | 856.99 | 855.88 | 855.91 | 0 | 64.2268
| Upper Indravati[ Gate- 0 ] | 600(4x150) | 603.55 | 14.4852 | 642/625 mt | 640.92 | 641.63 | 641.65 | 604.2578 | 604.0922
| Machkund | 60(50% of(3x17+3x23)) | 24.79 | 0.59496 | 2750/2685 ft | 2748.48 | 2746.65 | 2746.6 | 30.0873 | 11.1733
| Total Hydro | 2099.5 | 1420.25 | 34.086 |  |  |  |  | 1444.4757 | 1497.9385
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1042.66 | 25.0238 | RENEWABLE ENERGY (RE) |  |  |  | 1026 | 1045
[5 empty] | M.Hydl | 87.6
| Total Thermal | 2200 | 1042.66 | 25.0238 | Solar | 142.98 |  |  | 1026 | 1045
IPP | VEDANTA #2 | 600 (1x600) | 419.91 | 10.0778 | Total IPPs | Yesterday's Demand Profile |  |  | 392.9497 | 559.5703
| GMR #3 | 350 (1x350) | 279.57 | 6.7097 | 799.87 |  | MW | HRS | 0 | 338.0918
| NBVL(IPP) | 60(1x60) | 52.64 | 1.2634 |  |  |  |  | 53.9616 | 53.5483
| MDTPC |  | 47.75 | 1.146 |  |  |  |  | 56.3866 | 56.1663
| CGPs |  | 885.6 | 21.2544 | IPPs, CGPs & RE | Maximum | 6839 | 21.00 | 1162 | 1672.0766
| Central Sector(Drawl) |  | 1741.3548 | 41.7925 | 1916.05 | Minimum | 5384 | 07.00 | 2567 | 2624.1723
| Central Sector(Sch) |  | 1833.5816 | 44.006 |  | Average | 6120.3148 |  | 2522 | 2620.4299
| Grand Total |  | 6120.3148 | 146.8876 | Instantaneous Peak demand |  | 7095 | 20:37 | 6199.4757 | 6839.1875
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(4) |  | ACTUAL |  | SCHEDULE(2)
Burla | NIL | IbTPS / OPGC | 4 |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1776.8202 | 42.6437 | 1733 | 41.592 | 1779 | 42.696
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1962.5445 | 47.1011 | 2010 | 48.24 | 1563 | 37.512
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1421.9406 | 34.1266 | 1475 | 35.4 | 1351 | 32.424
U.Kolab | 2 | KAHALGAON | 6,7 | TPSODL | 631.6986 | 15.1608 | 631 | 15.144 | 630 | 15.12
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5793.0038 | 139.0321 | 5849 | 140.376 | 5323 | 127.752
Machhkund | 4,5,6 | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 391 | GMR |  |  |  | 0
| NBVL #3 | 54 | MDTPC |  |  |  | 56
Mini Hydel: | MEENAKSHI | 0 | OPCL |  |  |  | 0
| BTPL | 28 | SAPTADHARA |  |  |  | 20
| SNHEP | 32 | KAKATIYA |  |  |  | 0
Solar: |  | 350
CGPs : | JSPL (Angul) | 407.091 | JSL(Duburi) |  |  |  | -139.8219
| ICCL | 52.5181 | visa |  |  |  | 13.6215
| NALCO | -127.6029 | VAL (CGP) |  |  |  | 94.3951
| RSP | -58.6984 | BSL(MMDL) |  |  |  | -4.0224
| INDAL | 0.43903 | ADITYA ALUMINIUM |  |  |  | 40
| NINL | -25.5601 | VAL CPP 400 kV |  |  |  | -953.5632
| NBVL | 53.5351 | Arati |  |  |  | 9.7145e-17
| BPSL(JSG) | -38.4857 | BPPL |  |  |  | 117.1449
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-09-25 | 2026-09-26 | 2026-09-27 | 2026-09-28 | 2026-09-29 | 2026-09-30 | 2026-10-01 | 2026-10-02
784.1312 | 1206.94 | 1241.34 | 1275.6415 | 1403.6734 | 1350.5371 | 1358.778 | 1420.25
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.02.10.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | ARYAN_ISPAT | DNHDDPDCL | -5 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0.74
ENVIROCARE_INFRA | BALCO_LOAD | -6.5 | ENVIROCARE_INFRA | DNHDDPDCL | -5 | AGE26AL_PSS6_KPS1_S | ODISHA | 127.22
ENVIROCARE_INFRA | BALCO_LOAD | -6.5 | FACORPOWER | BYPL | -14 | AP41PL_BHDL | ODISHA | 59.83
FACORPOWER | APCPDCL | -20 | GMRKEL_STU | RUVITSL | -23.21 | AP43PL_BKN | ODISHA | 89.07
FACORPOWER | PUNJAB | -6 | JPIPL | TANGEDCO | -13.1 | AWEK1L | ODISHA | 2.49
GMRKEL_STU | RUVITSL | -38.69 | JSPLANGUL | TANGEDCO | -72.92 | AWEK1L | ODISHA | 3.73
GMRKEL_STU | TNEB | -18 | JSPLANGUL | TANGEDCO | -36.46 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 5.66
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | KCMW_od | SFLPondyHEX288 | -0.47 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 12.94
JSPLANGUL | GEB_Beneficiary | -72.92 | KCMW_od | SFLPondyHWF407 | -0.7 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 21.24
JSPLANGUL | GEB_Beneficiary | -91.15 | NBVLIPP | BYPL | -46 | DADRI_SOLAR | ODISHA | 0.79
MAADURGA_THERMAL | NPCL_UP | -17.26 | NPSRL | KRCIPPL | -1 | ENERSON_SOLAR_10MW | ODISHA | 1.16
NBVLIPP | TANGEDCO | 0 | NPSRL | TPL_DIS_SUR | -4 | GADAG_GreenInfra_W | ODISHA | 0
OCL_IRON_STEEL | TPL_DIS_AHM_ISTS | -43.58 | OCL_IRON_STEEL | WBSEDCL | -10 | GADAG_GreenInfra_W | ODISHA | 0.28
ORSISL | BALCO_LOAD | -3.5 | ODISHA | WBSEDCL | -50 | GADAG_GreenInfra_W | ODISHA | 0
SMEL | BALCO_LOAD | -7 | ODISHA | WBSEDCL | -50 | GADAG_Serentica3_S | VLSEZ | 38.86
FARIDABAD_SOLAR | ODISHA | 0.86 | ORSISL | DNHDDPDCL | -3 | GADAG_Serentica3_W | VLSEZ | 16.22
JSWEL_UTKAL | ODISHA | 66.35 | RSPL_JHARSUGUDA | DNHDDPDCL | -20 | GADAG_Serentica3_W | VLSEZ | 4.14
RAJ_SOLAR | ODISHA | 2.19 | RSPL_JHARSUGUDA | TPL_DIS_AHM | -10 | GADAG_Serentica3_W | VLSEZ | 3
RAJ_SOLAR | ODISHA | 2.6 | SGML | TPL_DIS_SUR | -7 | GIWEL_SECI_II_RE | ODISHA | 10.94
|  |  | SMEL | DNHDDPDCL | -25 | GPCL_SOLAR_10 | ODISHA | 1.13
|  |  | SMEL | TPL_DIS_SUR | -5 | GSECL_SOLAR | ODISHA | 2.03
|  |  | Shri_JSPL | TPL_DIS_SUR | -2.5 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 2.15
|  |  | TSBSLA | DNHDDPDCL | -10 | KARUR_TPVARDHAMAN_W | TSKPO | 21.64
|  |  | VIRAJ_SEPL | TANGEDCO | -10 | Kurnool_Greenko_H_Inj | ADITYAAL | 3.75
|  |  | VSL | DNHDDPDCL | -10 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | APCPDCL | VLSEZ | 44.33 | Kurnool_Greenko_H_Inj | ADITYAAL | 1.41
|  |  | Assam_Ben | VLSEZ | 27.1 | NTPCRE1_SMND_BHJ2_W | ODISHA | 1.6
|  |  | Darlipali_NTPC | ODISHA | 55.09 | O2RE3PL_Wasi_klm_W | VLSEZ | 4.89
|  |  | HP | VLSEZ | 28.21 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 0
|  |  | JIPL | ODISHA | 116.05 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0.22
|  |  | MYTRAHVAYU | VLSEZ | 7.9 | OKWPL_RE | ODISHA | 6.18
|  |  | NALCOAP | NACL_Odisha | 3.18 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 26.71
[6 empty] | RWE_AP2_SECI_III | ODISHA | 4.99
[6 empty] | RenewGreen_SLPR_HS | JSL_DUBURI | 14.71
[6 empty] | SRI9PL_FTG3 | VLSEZ | 117.33
[6 empty] | TPVSL_BKN3 | TSKPO | 14.64
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.12
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.14
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 11.38
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 1.27
[6 empty] | XXPPL_FTG3 | ODISHA | 86.39

## DAM
DAM TRADING DETAILS FOR DT : 02.10.2026
Time Period | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | IOCL_Paradeep_Refinery | MGM_Minerals_Ltd | MSP_Sponge_Iron_Limited_Odisha | Nav_Bharat_ventures_Ltd | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | -1.2 | 0 | -2 | 2.67
00:15 - 00:30 | 0 | 0 | 0 | -1.2 | 0 | -2 | 1.94
00:30 - 00:45 | 0 | 0 | 0 | -1.2 | 0 | -2 | 2.22
00:45 - 01:00 | 0 | 0 | 0 | -1.2 | 0 | -2 | 2.67
01:00 - 01:15 | 0 | 0 | 0 | -1.2 | 0 | -2 | 3.38
01:15 - 01:30 | 0 | 0 | 0 | -1.2 | 0 | -2 | 3.53
01:30 - 01:45 | 0 | 0 | 0 | -1.2 | 0 | -2 | 4.21
01:45 - 02:00 | 0 | 0 | 0 | -1.2 | 0 | -2 | 5
02:00 - 02:15 | 0 | -50 | 0 | -1.2 | 0 | -2 | 20.36
02:15 - 02:30 | 0 | -50 | 0 | -1.2 | 0 | -2 | 22.94
02:30 - 02:45 | 0 | -50 | 0 | -1.2 | 0 | -2 | 41.94
02:45 - 03:00 | 0 | -50 | 0 | -1.2 | 0 | -2 | 54
03:00 - 03:15 | 0 | -150 | 0 | -1.2 | 0 | -2 | 0
03:15 - 03:30 | 0 | -150 | 0 | -1.2 | 0 | -2 | 0
03:30 - 03:45 | 0 | -150 | 0 | -1.2 | 0 | -2 | 0
03:45 - 04:00 | 0 | -150 | 0 | -1.2 | 0 | -2 | 0
04:00 - 04:15 | 0 | -200 | 0 | -1.2 | 0 | -2 | 0
04:15 - 04:30 | 0 | -200 | 0 | -1.2 | 0 | -2 | 0
04:30 - 04:45 | 0 | -200 | 0 | -1.2 | 0 | -2 | 0
04:45 - 05:00 | 0 | -200 | 0 | -1.2 | 0 | -2 | 0
05:00 - 05:15 | 0 | -275 | 0 | -1.3 | 0 | -2 | 0
05:15 - 05:30 | 0 | -275 | 0 | -1.3 | 0 | -2 | 0
05:30 - 05:45 | 0 | -275 | 0 | -1.3 | 0 | -2 | 0
05:45 - 06:00 | 0 | -275 | 0 | -1.3 | 0 | -2 | 0
06:00 - 06:15 | -25.5 | -450 | 0 | -1.3 | 0 | -2 | 0
06:15 - 06:30 | -25.5 | -450 | 0 | -1.3 | 0 | -2 | 0
06:30 - 06:45 | -25.5 | -450 | 0 | -1.3 | 0 | -2 | 0
06:45 - 07:00 | -25.5 | -450 | 0 | -1.3 | 0 | -2 | 0
07:00 - 07:15 | -25.5 | -600 | 0 | -1.3 | 0 | -2 | 0
07:15 - 07:30 | -25.5 | -600 | 0 | -1.3 | 0 | -2 | 0
07:30 - 07:45 | 0 | -600 | 0 | -1.3 | 0 | -2 | 0
07:45 - 08:00 | 0 | -600 | 0 | -1.3 | 0 | -2 | 0
08:00 - 08:15 | 0 | -1100 | 0 | -1.3 | 0 | -1 | 0
08:15 - 08:30 | 0 | -1100 | 0 | -1.3 | 0 | -1 | 0
08:30 - 08:45 | 0 | -1100 | 4.08 | -1.3 | 0 | -1 | 0
08:45 - 09:00 | 0 | -1100 | 0 | -1.3 | 0 | -1 | 0
09:00 - 09:15 | 0 | -1600 | 0 | -1.3 | 0 | -1 | 0
09:15 - 09:30 | 0 | -1484.27 | 0 | -1.3 | 0 | -1 | 0
09:30 - 09:45 | 0 | -1350 | 0 | -1.3 | 0 | -1 | 0
09:45 - 10:00 | 0 | -1085.1 | 0 | -1.3 | 0 | -1 | 0
10:00 - 10:15 | 0 | -632.81 | 0 | -1.3 | 0 | -1 | 0
10:15 - 10:30 | 0 | -418.1 | 0 | -1.3 | 0 | -1 | 0
10:30 - 10:45 | 0 | -339.48 | 0 | -1.3 | 0 | -1 | 0
10:45 - 11:00 | 0 | -372.63 | 0 | -1.3 | 0 | -1 | 0
11:00 - 11:15 | 0 | -379.96 | 0 | -1.3 | 0 | -1 | 0
11:15 - 11:30 | 0 | -425.06 | 0 | -1.3 | 0 | -1 | 0
11:30 - 11:45 | 0 | -393.01 | 0 | -1.3 | 0 | -1 | 0
11:45 - 12:00 | 0 | -369.14 | 0 | -1.3 | 0 | -1 | 0
12:00 - 12:15 | 0 | -372.81 | 0 | -1.3 | 0 | -1 | 0
12:15 - 12:30 | 0 | -372.02 | 0 | -1.3 | 0 | -1 | 0
12:30 - 12:45 | 0 | -372.39 | 0 | -1.3 | 0 | -1 | 0
12:45 - 13:00 | 0 | -300 | 0 | -1.3 | 0 | -1 | 0
13:00 - 13:15 | 0 | -300 | 0 | -1.3 | 0 | -1 | 0
13:15 - 13:30 | 0 | -300 | 0 | -1.3 | 0 | -1 | 0
13:30 - 13:45 | 0 | -300 | 0 | -1.3 | 0 | -1 | 0
13:45 - 14:00 | 0 | -300 | 0 | -1.3 | 0 | -1 | 0
14:00 - 14:15 | 0 | -250 | 33.85 | -1.3 | 9.67 | -1 | 0
14:15 - 14:30 | 0 | -394.66 | 0 | -1.3 | 0 | -1 | 0
14:30 - 14:45 | 0 | -1007.18 | 33.85 | -1.3 | 9.67 | -1 | 0
14:45 - 15:00 | 0 | -1250 | 33.85 | -1.3 | 9.67 | -1 | 0
15:00 - 15:15 | 0 | -1050 | 0 | -1.3 | 0 | -2 | 0
15:15 - 15:30 | 0 | -1050 | 0 | -1.3 | 0 | -2 | 0
15:30 - 15:45 | 0 | -1050 | 0 | -1.3 | 0 | -2 | 0
15:45 - 16:00 | 0 | -1050 | 0 | -1.3 | 0 | -2 | 0
16:00 - 16:15 | 0 | -775 | 0 | -1.3 | 0 | -2 | 0
16:15 - 16:30 | 0 | -625 | 0 | -1.3 | 0 | -2 | 0
16:30 - 16:45 | -25.5 | -525 | 0 | -1.3 | 0 | -2 | 0
16:45 - 17:00 | -25.5 | -425 | 0 | -1.3 | 0 | -2 | 0
17:00 - 17:15 | -25.5 | -150 | 0 | -1.1 | 0 | -2 | 0
17:15 - 17:30 | -25.5 | -150 | 0 | -1.1 | 0 | -2 | 0
17:30 - 17:45 | -25.5 | 0 | 0 | -1.1 | 0 | -2 | 36.13
17:45 - 18:00 | -25.5 | 0 | 0 | -1.1 | 0 | -2 | 10.72
18:00 - 18:15 | 0 | 0 | 0 | -1.1 | 0 | -2 | 14.65
18:15 - 18:30 | 0 | 0 | 0 | -1.1 | 0 | -2 | 0.58
18:30 - 18:45 | 0 | 0 | 0 | -1.1 | 0 | -2 | 0.21
18:45 - 19:00 | 0 | 0 | 0 | -1.1 | 0 | -2 | 0
19:00 - 19:15 | 0 | 0 | 0 | -1.1 | 0 | -2 | 0.91
19:15 - 19:30 | 0 | 0 | 0 | -1.1 | 0 | -2 | 0.69
19:30 - 19:45 | 0 | 0 | 0 | -1.1 | 0 | -2 | 1.93
19:45 - 20:00 | 0 | 0 | 0 | -1.1 | 0 | -2 | 2.23
20:00 - 20:15 | 0 | 0 | 0 | -1.1 | 0 | -2 | 3.45
20:15 - 20:30 | 0 | 0 | 0 | -1.1 | 0 | -2 | 3.41
20:30 - 20:45 | 0 | 0 | 0 | -1.1 | 0 | -2 | 3.95
20:45 - 21:00 | 0 | 0 | 0 | -1.1 | 0 | -2 | 4.22
21:00 - 21:15 | 0 | 0 | 0 | -1.1 | 0 | -2 | 2.3
21:15 - 21:30 | 0 | 0 | 0 | -1.1 | 0 | -2 | 1.92
21:30 - 21:45 | 0 | 0 | 0 | -1.1 | 0 | -2 | 3.22
21:45 - 22:00 | 0 | 0 | 0 | -1.1 | 0 | -2 | 3.64
22:00 - 22:15 | 0 | 0 | 0 | -1.1 | 0 | -2 | 1.42
22:15 - 22:30 | 0 | 0 | 0 | -1.1 | 0 | -2 | 0.02
22:30 - 22:45 | 0 | 0 | 0 | -1.1 | 0 | -2 | 0.22
22:45 - 23:00 | 0 | 0 | 0 | -1.1 | 0 | -2 | 0.23
23:00 - 23:15 | 0 | 0 | 0 | -1.1 | 0 | -2 | 1.29
23:15 - 23:30 | 0 | 0 | 0 | -1.1 | 0 | -2 | 1.49
23:30 - 23:45 | 0 | 0 | 0 | -1.1 | 0 | -2 | 3.27
23:45 - 24:00 | 0 | 0 | 0 | -1.1 | 0 | -2 | 3.03
Average | -3.1875 | -338.7356 | 1.1003 | -1.2208 | 0.30219 | -1.7083 | 2.8124

## GDAM
GDAM TRADING DETAILS FOR DT:02.10.2026
Time Period | GRIDCO | IOCL_Paradeep_Refinery | JSW_Sambalpur_Steel_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Tata_Steel_Limited_Kalinga_Nagar | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.16
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0.12
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0.08
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0.24
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0 | 8.9
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 9.72
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 12.52
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 13.93
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 6.24
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 1.67 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | 0 | 9.67 | 0 | 0 | 0 | 0
08:15 - 08:30 | 0 | 0 | 9.67 | 0 | 2.9 | 0 | 0
08:30 - 08:45 | 0 | 4.16 | 9.67 | 9.67 | 2.9 | 33.85 | 0
08:45 - 09:00 | 0 | 33.85 | 9.67 | 9.67 | 2.9 | 33.85 | 0
09:00 - 09:15 | 0 | 0 | 9.67 | 0 | 2.9 | 33.85 | 0
09:15 - 09:30 | 0 | 0 | 9.67 | 0 | 2.9 | 33.85 | 0
09:30 - 09:45 | 0 | 33.85 | 9.67 | 9.67 | 2.9 | 33.85 | 0
09:45 - 10:00 | 0 | 33.85 | 9.67 | 9.67 | 2.9 | 33.85 | 0
10:00 - 10:15 | 0 | 33.85 | 9.67 | 9.67 | 2.9 | 33.85 | 0
10:15 - 10:30 | 0 | 33.85 | 9.67 | 9.67 | 2.9 | 33.85 | 0
10:30 - 10:45 | 0 | 33.85 | 9.67 | 9.67 | 2.9 | 33.85 | 0
10:45 - 11:00 | 0 | 33.85 | 9.67 | 9.67 | 2.9 | 33.85 | 0
11:00 - 11:15 | 0 | 33.85 | 9.67 | 9.67 | 2.9 | 33.85 | 0
11:15 - 11:30 | 0 | 33.85 | 9.67 | 9.67 | 2.9 | 33.85 | 0
11:30 - 11:45 | 0 | 33.85 | 9.67 | 9.67 | 2.9 | 33.85 | 0
11:45 - 12:00 | 0 | 33.85 | 9.67 | 9.67 | 2.9 | 33.85 | 0
12:00 - 12:15 | 4.06 | 33.85 | 9.67 | 9.67 | 2.9 | 33.85 | 0
12:15 - 12:30 | 0 | 33.85 | 9.67 | 9.67 | 2.9 | 33.85 | 0
12:30 - 12:45 | 0 | 33.85 | 9.67 | 9.67 | 2.9 | 33.85 | 0
12:45 - 13:00 | 0 | 33.85 | 9.67 | 9.67 | 2.9 | 33.85 | 0
13:00 - 13:15 | 115.88 | 33.85 | 9.67 | 9.67 | 2.9 | 33.85 | 0
13:15 - 13:30 | 103.79 | 33.85 | 9.67 | 9.67 | 2.9 | 33.85 | 0
13:30 - 13:45 | 0 | 33.85 | 9.67 | 9.67 | 2.9 | 33.85 | 0
13:45 - 14:00 | 0 | 33.85 | 9.67 | 9.67 | 2.9 | 33.85 | 0
14:00 - 14:15 | 0 | 0 | 9.67 | 0 | 2.9 | 33.85 | 0
14:15 - 14:30 | 9.77 | 33.85 | 9.67 | 9.67 | 2.9 | 33.85 | 0
14:30 - 14:45 | 0 | 0 | 9.67 | 0 | 2.9 | 33.85 | 0
14:45 - 15:00 | 0 | 0 | 9.67 | 0 | 2.9 | 33.85 | 0
15:00 - 15:15 | 0 | 0 | 9.67 | 0 | 2.9 | 33.85 | 0
15:15 - 15:30 | 0 | 0 | 9.67 | 0 | 2.9 | 33.85 | 0
15:30 - 15:45 | 0 | 0 | 9.67 | 0 | 2.9 | 33.85 | 0
15:45 - 16:00 | 0 | 0 | 9.67 | 0 | 2.9 | 0 | 0
16:00 - 16:15 | 0 | 0 | 9.67 | 0 | 2.9 | 33.85 | 0
16:15 - 16:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:30 - 16:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:45 - 17:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:15 - 17:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:30 - 17:45 | 0 | 0 | 0 | 0 | 0 | 0 | 75.72
17:45 - 18:00 | 0 | 0 | 0 | 0 | 0 | 0 | 39.62
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 26.68
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 7.16
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0.73
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 5.78
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 5.91
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 8.45
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 6.79
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 5.06
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 5.1
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 5.14
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 5
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 3.04
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 3.06
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 3.23
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 3.25
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 3.28
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 3.26
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 3.18
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 3.09
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 3.09
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 3.14
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 3.17
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 3.1
Average | 2.4323 | 7.0954 | 3.3415 | 2.1153 | 0.96667 | 10.5781 | 3.0566

## RTM
RTM TRADING DETAILS FOR DT: 02.10.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | GRIDCO | IOCL_Paradeep_Refinery | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Limited_5MW_Solar_Power_Plant_Lokapada | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Unit_II_PTC | Shri_Jagannath_Steels_&_Power_Ltd | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Visa_Chrome_Limited
00:00 - 00:15 | -2.4 | -4 | -0.8 | -1.4 | -100 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -7 | 0 | -2 | -110 | 0 | 0 | 0 | 0
00:15 - 00:30 | -2.4 | -4 | -0.8 | -1.4 | -100 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -7 | 0 | -2 | -60 | 0 | 0 | 0 | 0
00:30 - 00:45 | -1.1 | -4 | -0.8 | -1.4 | -100 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -9 | 0 | -2 | -25 | 0 | 0 | 0 | -2
00:45 - 01:00 | -1.1 | -4 | -0.8 | -1.4 | -100 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -9 | 0 | -2 | -56 | 0 | 0 | 0 | -2
01:00 - 01:15 | -1.1 | -4 | -0.8 | -1.4 | -100 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -9 | 0 | -2 | -60 | 0 | 0 | 0 | -1
01:15 - 01:30 | -1.1 | -4 | -0.8 | -1.4 | -100 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -9 | 0 | -2 | -20 | 0 | 0 | 0 | -1
01:30 - 01:45 | -2.2 | -4 | -0.8 | -1.4 | -100 | 0 | 0 | -80 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -9 | 0 | -2 | -80 | 0 | 0 | 0 | -1
01:45 - 02:00 | -2.2 | -4 | -0.8 | -1.4 | -150 | 0 | 0 | -80 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -9 | 0 | -2 | -110 | 0 | 0 | 0 | -1
02:00 - 02:15 | -2.2 | -4 | -0.8 | -1.4 | -175 | 0 | 0 | -80 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -6 | 0 | -2 | -80 | 0 | 0 | 69.93 | -2
02:15 - 02:30 | -2.2 | -4 | -0.8 | -1.4 | -175 | 0 | 0 | -80 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -6 | 0 | -2 | -25 | 0 | 0 | 72.58 | -2
02:30 - 02:45 | -2.2 | -4 | -0.8 | -1.5 | -175 | 0 | 0 | -90 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -6 | 0 | -2 | -80 | 0 | 0 | 109.89 | -2
02:45 - 03:00 | -2.2 | -4 | -0.8 | -1.5 | -175 | 0 | 0 | -90 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -6 | 0 | -2 | -25 | 0 | 0 | 118.33 | -2
03:00 - 03:15 | -2.2 | -4 | -0.8 | -1.5 | -150 | 0 | 0 | -90 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -6 | 0 | -2 | -35 | 0 | 0 | 173.74 | -2
03:15 - 03:30 | -2.2 | -4 | -0.8 | -1.5 | -150 | 0 | 0 | -90 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -6 | 0 | -2 | -105 | 0 | 0 | 210.95 | -2
03:30 - 03:45 | -2.2 | -4 | -0.8 | -1.5 | -75 | 0 | 0 | -90 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -6 | 0 | -2 | -50 | 0 | 0 | 198.73 | -2
03:45 - 04:00 | -2.2 | -4 | -0.8 | -1.5 | -75 | 0 | 0 | -90 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -6 | 0 | -2 | -25 | 0 | 0 | 215.77 | -2
04:00 - 04:15 | -2.2 | -4 | -0.8 | -1.5 | -175 | 0 | 0 | -90 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -5 | 0 | -2 | -50 | 0 | 0 | 240.02 | -2
04:15 - 04:30 | -2.2 | -4 | -0.8 | -1.5 | -175 | 0 | 0 | -90 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -5 | 0 | -2 | -40 | 0 | 0 | 204.64 | -2
04:30 - 04:45 | -2.2 | -4 | -0.8 | -1.6 | -175 | 0 | 0 | -90 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -5 | 0 | -2 | -15 | 0 | 0 | 152.88 | -2
04:45 - 05:00 | -2.2 | -4 | -0.8 | -1.6 | -150 | 0 | 0 | -90 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -5 | 0 | -2 | -35 | 0 | 0 | 109 | -2
05:00 - 05:15 | -2.2 | -4 | -0.8 | -1.5 | -175 | 0 | 0 | -90 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -8 | 0 | -2 | -25 | 0 | 0 | 99.44 | -2
05:15 - 05:30 | -2.2 | -4 | -0.8 | -1.5 | -175 | 0 | 0 | -90 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -8 | 0 | -2 | -60 | 0 | 0 | 85.51 | -2
05:30 - 05:45 | -2.2 | -4 | -0.8 | -1.5 | -225 | 0 | 0 | -110 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -8 | 0 | -2 | -20 | 0 | 0 | 101.88 | -2
05:45 - 06:00 | -2.2 | -4 | -0.8 | -1.5 | -250 | 0 | 0 | -110 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -8 | 0 | -2 | -65 | 0 | 0 | 96.92 | -2
06:00 - 06:15 | -2.2 | -4 | -0.8 | -1.5 | -175 | 0 | 0 | -110 | -0.1 | -0.1 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | -8 | 0 | -6.5 | -115 | 0 | 0 | 62.2 | -2
06:15 - 06:30 | -2.2 | -4 | -0.8 | -1.5 | -175 | 0 | 0 | -110 | -0.2 | -0.2 | 0 | 0 | -0.1 | -10 | 0 | 0 | 0 | 0 | -8 | 0 | -6.5 | -60 | 0 | 0 | 56.56 | -2
06:30 - 06:45 | -2.2 | -4 | -0.8 | -1.6 | -300 | 0 | 0 | -90 | -0.3 | -0.4 | 0 | 0 | -0.5 | -10 | 0 | 0 | 0 | 0 | -8 | 0 | -6.5 | -25 | 0 | 0 | 51.73 | -2
06:45 - 07:00 | -2.2 | -4 | -0.8 | -1.6 | -300 | 0 | 0 | -90 | -0.5 | -0.6 | 0 | 0 | -0.8 | -10 | 0 | 0 | 0 | 0 | -8 | 0 | -6.5 | -55 | 0 | 0 | 55.54 | -2
07:00 - 07:15 | -2.2 | -2 | -0.8 | -1.4 | -250 | 0 | 0 | -90 | -0.7 | -0.8 | 0 | 0 | -1.2 | -9.5 | 0 | 0 | 0 | 0 | -8 | 0 | -6.5 | -25 | 0 | 0 | 154.39 | -2
07:15 - 07:30 | -2.2 | 0 | -0.8 | -1.4 | -250 | 0 | 0 | -90 | -0.9 | -1 | 0 | 0 | -1.5 | -9.5 | 0 | 0 | 0 | 0 | -8 | 0 | -6.5 | -40 | 0 | 0 | 251.65 | -2
07:30 - 07:45 | -2.2 | 6.77 | -0.8 | -1.4 | -377.67 | 0 | 0 | 0 | -1.2 | -1.1 | 0 | 0 | -2.1 | -4 | 0 | 0 | 0 | 0 | -8 | 0 | -4 | -105 | 0 | 0 | 386.84 | -2
07:45 - 08:00 | -2.2 | -1 | -0.8 | -1.4 | -348.74 | 0 | 10.64 | 0 | -1.5 | -1.3 | 0 | 7.74 | -2.6 | -4 | 10.64 | 0 | 0 | 0 | -8 | 0 | -3 | -100 | 77.37 | 0 | 290.12 | -2
08:00 - 08:15 | -2.2 | 7.74 | -0.8 | 0 | 0 | 0 | 10.64 | 0 | -1.9 | -1.5 | 0 | 7.74 | -3.2 | 0 | 5.8 | 4.84 | 0 | 19.34 | -6 | 0 | -1 | -30 | 43.52 | 4.84 | 105.4 | -2
08:15 - 08:30 | -2.2 | 0 | -0.8 | 0 | 0 | 33.85 | 10.64 | 0 | -2 | -1.7 | 9.67 | 7.74 | -3.5 | 0 | 7.74 | 4.84 | 0 | 19.34 | -6 | 0 | -1 | -50 | 43.52 | 4.84 | 49.31 | -2
08:30 - 08:45 | -2.2 | 0 | -0.8 | 0 | -27.55 | 0 | 10.64 | 0 | -2.1 | -1.9 | 0 | 7.74 | -3.8 | 0 | 5.8 | 4.84 | 5.8 | 19.34 | -4 | 0 | 0 | -80 | 14.51 | 4.84 | 220.49 | -2
08:45 - 09:00 | -2.2 | 7.74 | -0.8 | 0 | -29.41 | 0 | 10.64 | 0 | -2.5 | -2.1 | 0 | 7.74 | -4.1 | 0 | 5.8 | 4.84 | 5.8 | 19.34 | -4 | 0 | 0 | -30 | 14.51 | 4.84 | 153.76 | -2
09:00 - 09:15 | -2.2 | 7.74 | -0.8 | 0 | 57.76 | 0 | 10.64 | 0 | -2.9 | -2.4 | 0 | 7.74 | -4.4 | 0 | 5.8 | 0 | 5.8 | 0 | -4 | 1.93 | 0 | -65 | 0 | 0 | 0 | -1
09:15 - 09:30 | -2.2 | 7.74 | -0.8 | 0 | -87.77 | 0 | 10.64 | 0 | -3 | -2.4 | 0 | 7.74 | -4.5 | 0 | 5.8 | 4.84 | 5.8 | 0 | -4 | 1.93 | 0 | -118 | 0 | 0 | 0 | -1
09:30 - 09:45 | -2.2 | 7.74 | -0.8 | 0 | -278.36 | 0 | 10.64 | 0 | -3.1 | -2.6 | 0 | 7.74 | -4.7 | 0 | 5.8 | 4.84 | 5.8 | 19.33 | -4 | 1.93 | 0 | -70 | 0 | 4.84 | 0 | -2
09:45 - 10:00 | -2.2 | 7.74 | -0.8 | 0 | -402.66 | 0 | 10.64 | 0 | -3.2 | -2.8 | 0 | 7.74 | -2.4 | 0 | 7.74 | 4.84 | 5.8 | 19.33 | -4 | 1.93 | 0 | -40 | 0 | 4.84 | 0 | -2
10:00 - 10:15 | -2.2 | 7.74 | -0.8 | 0 | -489.46 | 0 | 10.64 | 0 | 0 | -2.8 | 0 | 7.74 | 2.9 | 0 | 7.74 | 4.84 | 5.8 | 19.34 | -4 | 1.93 | 0 | -50 | 0 | 4.84 | 117.98 | -2
10:15 - 10:30 | -2.2 | 7.74 | -0.8 | 0 | -401.24 | 0 | 10.64 | 0 | 0 | -2.7 | 0 | 7.74 | 0 | 0 | 5.8 | 4.84 | 5.8 | 19.34 | -4 | 1.93 | 0 | -20 | 0 | 4.84 | 137.32 | -2
10:30 - 10:45 | -2.2 | 19.34 | -0.8 | 0 | -450 | 0 | 10.64 | 0 | 0 | -2.8 | 0 | 7.74 | 0 | 0 | 5.8 | 4.84 | 5.8 | 19.34 | -4 | 1.93 | 0 | -80 | 0 | 4.84 | 363.63 | -2
10:45 - 11:00 | -2.2 | 19.34 | -0.8 | 0 | -350 | 0 | 10.64 | 0 | 0 | -2.8 | 0 | 7.74 | 0 | 0 | 5.8 | 4.84 | 5.8 | 19.34 | -4 | 1.93 | 0 | -100 | 0 | 4.84 | 387.81 | -2
11:00 - 11:15 | -2.2 | 19.34 | -0.8 | 0 | -474.97 | 0 | 10.64 | 0 | 0 | -2.8 | 0 | 7.74 | 0 | 0 | 7.74 | 4.84 | 5.8 | 19.34 | -4 | 1.93 | 0 | -40 | 0 | 4.84 | 391.67 | -2
11:15 - 11:30 | -2.2 | 19.34 | -0.8 | 0 | -569.95 | 0 | 10.64 | 0 | 0 | -2.8 | 0 | 7.74 | 2.71 | 0 | 7.74 | 4.84 | 5.8 | 19.34 | -4 | 1.93 | 0 | -20 | 0 | 4.84 | 391.67 | -2
11:30 - 11:45 | -2.2 | 19.34 | -0.8 | 0 | -664.48 | 0 | 10.64 | 0 | 0 | -2.8 | 0 | 7.74 | 2.61 | 0 | 7.74 | 0 | 5.8 | 19.34 | 0 | 1.93 | 0 | -50 | 0 | 4.84 | 390.71 | -3
11:45 - 12:00 | -2.2 | 19.34 | -0.8 | 0 | -764.47 | 0 | 10.64 | 0 | 0 | -2.8 | 0 | 7.74 | 2.61 | 0 | 7.74 | 0 | 5.8 | 19.34 | 0 | 1.93 | 0 | -20 | 0 | 4.84 | 390.71 | -3
12:00 - 12:15 | -2.2 | 4.84 | -0.8 | 0 | -350.59 | 0 | 10.64 | 0 | 0 | -3 | 0 | 7.74 | 2.9 | 0 | 6.77 | 0 | 5.8 | 19.34 | -5 | 1.93 | 0 | -60 | 0 | 4.84 | 390.7 | -4
12:15 - 12:30 | -2.2 | 19.34 | -0.8 | 0 | -52.66 | 0 | 10.64 | 0 | 0 | -2.9 | 0 | 7.74 | 2.9 | 0 | 6.77 | 0 | 5.8 | 19.34 | -5 | 1.93 | -2 | -95 | 0 | 4.84 | 390.71 | -4
12:30 - 12:45 | -2.2 | 19.34 | -0.8 | 0 | 433.46 | 0 | 10.64 | 0 | 0 | -2.8 | 0 | 7.74 | 2.9 | 0 | 6.77 | 0 | 5.8 | 19.34 | -5 | 1.93 | 0 | -80 | 0 | 4.84 | 390.71 | -4
12:45 - 13:00 | -2.2 | 15.47 | -0.8 | 0 | 433.23 | 0 | 10.64 | 0 | 0 | -2.7 | 0 | 7.74 | 2.9 | 0 | 6.77 | 0 | 5.8 | 19.34 | -5 | 1.93 | 0 | -15 | 0 | 4.84 | 390.71 | -4
13:00 - 13:15 | -2.2 | 19.34 | -0.8 | 0 | 48.45 | 0 | 10.64 | 0 | 0 | -2.6 | 0 | 7.74 | 3 | 0 | 6.77 | 0 | 5.8 | 19.34 | -5 | 1.93 | -3 | -35 | 0 | 4.84 | 390.71 | -3
13:15 - 13:30 | -2.2 | 19.34 | -0.8 | 0 | 239.86 | 0 | 10.64 | 0 | 0 | -2.5 | 0 | 7.74 | 3.19 | 0 | 6.77 | 0 | 5.8 | 19.34 | -5 | 1.93 | -1 | -5 | 0 | 4.84 | 390.71 | -3
13:30 - 13:45 | -2.2 | 19.34 | -0.8 | 0 | 325.89 | 0 | 10.64 | 0 | 0 | -2.2 | 0 | 7.74 | -1.7 | 0 | 6.77 | 0 | 5.8 | 19.34 | -5 | 1.93 | -1 | -50 | 0 | 4.84 | 390.71 | -3
13:45 - 14:00 | -2.2 | 19.34 | -0.8 | 0 | 320.08 | 0 | 10.64 | 0 | 0 | -2 | 0 | 7.74 | -4.2 | 0 | 4.84 | 0 | 5.8 | 19.34 | -5 | 1.93 | 0 | -110 | 0 | 4.84 | 390.71 | -3
14:00 - 14:15 | -2.2 | 19.34 | -0.8 | 0 | -172.34 | 0 | 10.64 | 0 | 0 | -1.8 | 0 | 7.74 | -4.3 | 0 | 4.84 | 0 | 5.8 | 19.34 | -5 | 1.93 | 0 | -100 | 0 | 4.84 | 85.1 | -3
14:15 - 14:30 | -2.2 | 19.34 | -0.8 | 0 | -150 | 0 | 10.64 | 0 | 0 | -1.6 | 0 | 7.74 | -3.7 | 0 | 4.84 | 0 | 5.8 | 19.34 | -5 | 1.93 | 0 | -10 | 0 | 4.84 | 51.25 | -3
14:30 - 14:45 | -1.5 | 19.34 | -0.8 | 0 | 310.11 | 0 | 10.64 | 0 | -2.4 | -1.4 | 0 | 7.74 | -3.4 | 0 | 4.84 | 0 | 5.8 | 19.34 | -5 | 1.93 | 0 | -10 | 0 | 4.84 | 18.37 | -3
14:45 - 15:00 | -1.5 | 19.34 | -0.8 | 0 | 305.85 | 0 | 10.64 | 0 | -2.2 | -1.2 | 0 | 7.74 | -3.3 | 0 | 4.84 | 0 | 5.8 | 0 | -5 | 1.93 | 0 | -10 | 0 | 0 | 0 | -3
15:00 - 15:15 | -1.5 | 19.34 | -0.8 | 0 | 25.13 | 0 | 10.64 | 0 | -1.5 | -0.9 | 9.67 | 7.74 | -2.8 | 0 | 4.84 | 0 | 5.8 | 19.34 | -5 | 1.93 | 0 | 0 | 0 | 4.84 | 6.77 | -3
15:15 - 15:30 | -1.5 | 19.34 | -0.8 | 0 | 46.63 | 33.85 | 10.64 | 0 | -1.5 | -0.7 | 9.67 | 7.74 | -2.5 | 0 | 6.77 | 0 | 5.8 | 19.34 | -5 | 1.93 | 0 | -50 | 0 | 4.84 | 32.88 | -3
15:30 - 15:45 | -1.5 | 19.34 | -1 | 0 | 86.09 | 0 | 10.64 | 0 | -1.2 | -0.5 | 0 | 7.74 | -2.1 | 0 | 4.84 | 0 | 5.8 | 0 | -5 | 1.93 | 0 | -70 | 0 | 0 | 0 | -3
15:45 - 16:00 | -1.5 | 19.34 | -1 | 0 | -50.01 | 0 | 10.64 | 0 | -1 | -0.3 | 0 | 0 | -1.7 | 0 | 0 | 0 | 1.47 | 0 | -5 | 0 | 0 | -45 | 0 | 0 | 0 | -3
16:00 - 16:15 | -1.5 | 19.34 | -1 | 0 | -390.79 | 0 | 10.64 | 0 | -0.9 | -0.1 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | -3
16:15 - 16:30 | -1.5 | 19.34 | -1 | 0 | -425.19 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -10 | 0 | 0 | 25.15 | -3
16:30 - 16:45 | -2.4 | 19.34 | -1 | -1.2 | -442.44 | 0 | 0 | 0 | -0.3 | 0 | 0 | 0 | -0.6 | -4 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 173.11 | -3
16:45 - 17:00 | -2.4 | 7.62 | -1 | -1.2 | -500 | 0 | 0 | -50 | -0.3 | 0 | 0 | 0 | -0.2 | -4 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -10 | 0 | 0 | 229.49 | -3
17:00 - 17:15 | -2.4 | 7.48 | -1 | -1.3 | -200 | 0 | 0 | 0 | -0.1 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | -25 | 0 | 0 | 373.73 | -3
17:15 - 17:30 | -2.4 | 5.16 | -1 | -1.3 | -75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | -25 | 0 | 0 | 361.35 | -3
17:30 - 17:45 | -2.4 | 1.5 | -1 | -1.3 | -75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | 0 | 0 | 0 | 1.5 | -3
17:45 - 18:00 | -2.4 | 0.76 | -1 | -1.3 | -75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | -6 | 0 | 0 | 49.12 | -3
18:00 - 18:15 | -2.4 | 0.62 | -1 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -5 | 0 | -2 | 0 | 0 | 0 | 79.19 | -3
18:15 - 18:30 | -2.4 | 0.12 | -1 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -5 | 0 | -2 | 0 | 0 | 0 | 48.82 | -3
18:30 - 18:45 | -2.4 | 0.3 | -1 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -5 | 0 | -2 | -10 | 0 | 0 | 137.09 | -3
18:45 - 19:00 | -2.4 | 0.35 | -1 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -5 | 0 | -2 | -10 | 0 | 0 | 143.86 | -3
19:00 - 19:15 | -2.4 | 0.31 | -0.7 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -5 | 0 | -2 | 0 | 0 | 0 | 91.35 | -3
19:15 - 19:30 | -2.4 | 0.24 | -0.7 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -5 | 0 | -2 | 0 | 0 | 0 | 83.57 | -3
19:30 - 19:45 | -1.4 | 0.36 | -0.7 | -1.4 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -5 | 0 | -2 | 0 | 0 | 0 | 36.18 | -3
19:45 - 20:00 | -1.4 | 0.4 | -0.7 | -1.4 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -5 | 0 | -2 | 0 | 0 | 0 | 39.36 | -3
20:00 - 20:15 | -1.4 | 0.44 | -0.5 | -1.4 | -75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -6 | 0 | -2 | 0 | 0 | 0 | 158.82 | -3
20:15 - 20:30 | -1.4 | 0.46 | -0.5 | -1.4 | -75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -6 | 0 | -2 | -5 | 0 | 0 | 160.16 | -3
20:30 - 20:45 | -1.4 | 0 | -0.5 | -1.5 | -75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -6 | 0 | -2 | -20 | 0 | 0 | 158.81 | -3
20:45 - 21:00 | -1.4 | 0 | -0.5 | -1.5 | -75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -6 | 0 | -2 | -20 | 0 | 0 | 156.28 | -3
21:00 - 21:15 | -1.4 | 0 | -0.5 | -1.5 | -75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -6 | 0 | -2 | 0 | 0 | 0 | 198.86 | -3
21:15 - 21:30 | -1.4 | 0 | -0.5 | -1.5 | -75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -6 | 0 | -2 | 0 | 0 | 0 | 193.65 | -3
21:30 - 21:45 | -1.4 | -2 | -0.5 | -1.5 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -6 | 0 | -2 | -10 | 0 | 0 | 46.07 | -4
21:45 - 22:00 | -1.4 | -2 | -0.5 | -1.5 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -6 | 0 | -2 | -10 | 0 | 0 | 45.21 | -4
22:00 - 22:15 | -1.4 | -2 | -0.5 | -1.5 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -6 | 0 | -2 | -10 | 0 | 0 | 28 | -4
22:15 - 22:30 | -1.4 | -2 | -0.5 | -1.5 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -6 | 0 | -2 | 0 | 0 | 0 | 26.9 | -4
22:30 - 22:45 | -1.4 | -2 | -0.5 | -1.5 | 2.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -6 | 0 | -2 | 0 | 0 | 0 | 76.6 | -4
22:45 - 23:00 | -1.4 | -2 | -0.5 | -1.5 | 2.73 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -6 | 0 | -2 | 0 | 0 | 0 | 80.88 | -4
23:00 - 23:15 | -1.4 | -2 | -0.5 | -1.5 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -6 | 0 | -2 | 0 | 0 | 0 | 70.7 | -4
23:15 - 23:30 | -1.4 | -2 | -0.5 | -1.5 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -6 | 0 | -2 | -15 | 0 | 0 | 76.08 | -4
23:30 - 23:45 | -1.4 | -2 | -0.5 | -1.5 | -75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -6 | 0 | -2 | -10 | 0 | 0 | 37.01 | -4
23:45 - 24:00 | -1.4 | -2 | -0.5 | -1.5 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -6 | 0 | -2 | 0 | 0 | 0 | 44.54 | -4
Average | -1.975 | 4.4265 | -0.775 | -0.94167 | -125.137 | 0.70521 | 3.7683 | -25.3125 | -0.39792 | -0.775 | 0.30219 | 2.58 | -0.455 | -2.4167 | 2.136 | 0.65542 | 1.7674 | 5.4392 | -5.7083 | 0.54281 | -1.7812 | -37.3438 | 2.0149 | 1.3613 | 139.804 | -2.5625