## POWER STATUS
POWER STATUS ON DT 04.10.2026
[9 empty] | 2026-10-04 | 2026-10-03
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 5:00 | 22:00
Demand -> | [8 empty] | 6108.4176 | 6612.106
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla [Gate-L-2 , R-0] | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 235.667 | 5.656 | 630/590 ft | 627.91 | 630 | 630 | 263.6405 | 240.8993
| Chiplima | 72(3x24) | 61.833 | 1.484 | - |  |  |  | 66.1753 | 65.0094
| Balimela | 510(6x60+2x75) | 206.5 | 4.956 | 1516/1440 ft | 1501.5 | 1503.5 | 1503.8 | 239.8999 | 384.1174
| Rengali | 250(5x50) | 246.9916 | 5.9278 | 123.5/109.75 mt | 123.5 | 123.86 | 123.82 | 244.6667 | 247.9193
| Upper Kolab | 320(4x80) | 65.46 | 1.571 | 858/844 mt | 857.09 | 855.91 | 855.95 | 0 | 222.5397
| Upper Indravati[ Gate- 1 ] | 600(4x150) | 603.75 | 14.49 | 642/625 mt | 640.67 | 641.65 | 641.55 | 602.3734 | 601.5203
| Machkund | 60(50% of(3x17+3x23)) | 24.54 | 0.58896 | 2750/2685 ft | 2748.5 | 2746.6 | 2746.65 | 21.0011 | 25.9891
| Total Hydro | 2099.5 | 1444.7416 | 34.6738 |  |  |  |  | 1437.7568 | 1787.9944
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1051.0449 | 25.2251 | RENEWABLE ENERGY (RE) |  |  |  | 1050.6477 | 1067.0792
[5 empty] | M.Hydl | 86.71
| Total Thermal | 2200 | 1051.0449 | 25.2251 | Solar | 147.7 |  |  | 1050.6477 | 1067.0792
IPP | VEDANTA #2 | 600 (1x600) | 422.6669 | 10.144 | Total IPPs | Yesterday's Demand Profile |  |  | 564.7459 | 560.7819
| GMR #3 | 350 (1x350) | -8.9354 | -0.21445 | 518.7788 |  | MW | HRS | -4.9766 | -5.0561
| NBVL(IPP) | 60(1x60) | 53.8653 | 1.2928 |  |  |  |  | 54.0037 | 54.5605
| MDTPC |  | 51.182 | 1.2284 |  |  |  |  | 56.1831 | 55.5641
| CGPs |  | 817.3077 | 19.6154 | IPPs, CGPs & RE | Maximum | 6809 | 16:00 | 1784.3549 | 1862.1915
| Central Sector(Drawl) |  | 2223.6837 | 53.3684 | 1570.4966 | Minimum | 5829 | 08:00 | 1835.6582 | 1894.8409
| Central Sector(Sch) |  | 2306.1526 | 55.3477 |  | Average | 6289.9667 |  | 1956.281 | 1977.3368
| Grand Total |  | 6289.9667 | 150.9592 | Instantaneous Peak demand |  | 7201 | 15:36 | 6108.4176 | 6612.106
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(4) |  | ACTUAL |  | SCHEDULE(0)
Burla | NIL | IbTPS / OPGC | 4 |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1788.8187 | 42.9316 | 1779.0272 | 42.6967 | 1783.5006 | 42.804
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1780.0364 | 42.7209 | 2157.7446 | 51.7859 | 1552.4248 | 37.2582
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1437.7606 | 34.5063 | 1472.3101 | 35.3354 | 1416.8693 | 34.0049
U.Kolab | 2 | KAHALGAON | 6,7 | TPSODL | 631.5927 | 15.1582 | 636.805 | 15.2833 | 632.9573 | 15.191
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5638.2084 | 135.317 | 6045.887 | 145.1013 | 5385.7519 | 129.258
Machhkund | 4,5,6 | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 391.7188 | GMR |  |  |  | -4.6818
| NBVL #3 | 54.4767 | MDTPC |  |  |  | 31.4555
Mini Hydel: | MEENAKSHI | 0 | OPCL |  |  |  | 0
| BTPL | 28.3406 | SAPTADHARA |  |  |  | 17.8528
| SNHEP | 31.7283 | KAKATIYA |  |  |  | 7.6557
Solar: |  | 382.0927
CGPs : | JSPL (Angul) | 438.0987 | JSL(Duburi) |  |  |  | -215.0543
| ICCL | 52.3874 | visa |  |  |  | 14.8132
| NALCO | -126.3368 | VAL (CGP) |  |  |  | 18.976
| RSP | -41.2397 | BSL(MMDL) |  |  |  | 58.5191
| INDAL | 1.9268 | ADITYA ALUMINIUM |  |  |  | 40
| NINL | -38.1676 | VAL CPP 400 kV |  |  |  | -981.8739
| NBVL | 54.4767 | Arati |  |  |  | 11.1948
| BPSL(JSG) | -91.5123 | BPPL |  |  |  | 118.0111
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-09-26 | 2026-09-27 | 2026-09-28 | 2026-09-29 | 2026-09-30 | 2026-10-01 | 2026-10-02 | 2026-10-03
1206.94 | 1241.34 | 1275.6415 | 1403.6734 | 1350.5371 | 1358.778 | 1420.25 | 1444.7416
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.03.10.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | ARYAN_ISPAT | DNHDDPDCL | -5 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0.84
ENVIROCARE_INFRA | BALCO_LOAD | -6.5 | ENVIROCARE_INFRA | DNHDDPDCL | -5 | AGE26AL_PSS6_KPS1_S | ODISHA | 130.19
ENVIROCARE_INFRA | BALCO_LOAD | -6.5 | FACORPOWER | BYPL | -14 | AP41PL_BHDL | ODISHA | 57.42
FACORPOWER | APCPDCL | -20 | GMRKEL_STU | RUVITSL | -2.58 | AP43PL_BKN | ODISHA | 89.69
FACORPOWER | PUNJAB | -6 | JPIPL | TANGEDCO | -13.1 | AWEK1L | ODISHA | 6.06
GMRKEL_STU | RUVITSL | 0 | JSPLANGUL | TANGEDCO | -32.92 | AWEK1L | ODISHA | 4.04
GMRKEL_STU | TNEB | -0.75 | JSPLANGUL | TANGEDCO | -65.83 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 4.16
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | KCMW_od | SFLPondyHEX288 | -0.47 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 12.6
JSPLANGUL | GEB_Beneficiary | -82.29 | KCMW_od | SFLPondyHWF407 | -0.7 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 18.72
JSPLANGUL | GEB_Beneficiary | -65.83 | NBVLIPP | BYPL | -46 | CMEESL_BKN2 | VLSEZ | 12.58
MAADURGA_THERMAL | NPCL_UP | -23.3 | NPSRL | TPL_DIS_SUR | -4 | CMEESL_BKN2 | VLSEZ | 6.3
NBVLIPP | TANGEDCO | 0 | OCL_IRON_STEEL | WBSEDCL | -10 | CPTTNPL | VLSEZ | 2.66
OCL_IRON_STEEL | TPL_DIS_AHM_ISTS | -42.5 | ODISHA | WBSEDCL | -50 | DADRI_SOLAR | ODISHA | 0.78
ORSISL | BALCO_LOAD | -3.5 | ODISHA | WBSEDCL | -50 | ENERSON_SOLAR_10MW | ODISHA | 1.08
FARIDABAD_SOLAR | ODISHA | 0.86 | ORSISL | DNHDDPDCL | -3 | GADAG_GreenInfra_W | ODISHA | 0.21
JSWEL_UTKAL | ODISHA | 74.48 | RSPL_JHARSUGUDA | DNHDDPDCL | -20 | GADAG_GreenInfra_W | ODISHA | 0
RAJ_SOLAR | ODISHA | 2.66 | SGML | TPL_DIS_SUR | -7 | GADAG_GreenInfra_W | ODISHA | 0
RAJ_SOLAR | ODISHA | 2.41 | SMEL | DNHDDPDCL | -25 | GADAG_Serentica3_S | VLSEZ | 39.71
|  |  | SMEL | TPL_DIS_SUR | -5 | GADAG_Serentica3_W | VLSEZ | 2.66
|  |  | Shri_JSPL | TPL_DIS_SUR | -2.5 | GADAG_Serentica3_W | VLSEZ | 18.32
|  |  | TSBSLA | DNHDDPDCL | -10 | GIWEL_SECI_II_RE | ODISHA | 17.8
|  |  | VIRAJ_SEPL | TANGEDCO | -10 | GPCL_SOLAR_10 | ODISHA | 1.08
|  |  | VSL | DNHDDPDCL | -10 | GSECL_SOLAR | ODISHA | 1.94
|  |  | Assam_Ben | VLSEZ | 29.92 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 2.15
|  |  | Darlipali_NTPC | ODISHA | 88.13 | KARUR_TPVARDHAMAN_W | TSKPO | 19.26
|  |  | GMRKEL | VLSEZ | 5.32 | KREPL_BKN2 | VLSEZ | 11.56
|  |  | HARYANA | VLSEZ | 32.54 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | IPCL_WB | VLSEZ | 7.05 | Kurnool_Greenko_H_Inj | ADITYAAL | 4.51
|  |  | JANKICORP | VLSEZ | 0.97 | Kurnool_Greenko_H_Inj | ADITYAAL | 5.56
|  |  | JIPL | ODISHA | 116.05 | NTPCRE1_SMND_BHJ2_W | ODISHA | 2.57
|  |  | LPPL_CSEB | VLSEZ | 1.93 | O2RE3PL_Wasi_klm_W | VLSEZ | 2.87
|  |  | MYTRAHVAYU | VLSEZ | 8.92 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 0
|  |  | NALCOAP | NACL_Odisha | 2.06 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0.26
|  |  | PONDY | VLSEZ | 30.6 | OKWPL_RE | ODISHA | 10.38
|  |  | RKM_POWER | VLSEZ | 16.12 | PGLR_SAUPL_W | VLSEZ | 0.68
|  |  | RKM_POWER | VLSEZ | 16.12 | RGMHP1_Patoda_klm_W | VLSEZ | 6.91
|  |  | RKM_POWER | VLSEZ | 64.47 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 11.31
|  |  | SANVIRA_IND_AP | VLSEZ | 4.84 | RSRPL_BKN | VLSEZ | 8.65
|  |  | VCE4PLTD | VLSEZ | 3.1 | RSS5PL_FTG3 | VLSEZ | 10.88
|  |  | VCE5PLTD | VLSEZ | 5.99 | RWE_AP2_SECI_III | ODISHA | 6.12
|  |  | VCE7PLP2 | VLSEZ | 1.83 | RenewGreen_SLPR_HS | JSL_DUBURI | 14.86
|  |  | VCE7PLTD | VLSEZ | 1.16 | SAUPL_HJRTPR_RJGR_W | VLSEZ | 2.93
|  |  | VGPPL1KA | VLSEZ | 1.26 | SRI4PL_BKN2 | VLSEZ | 26.8
[6 empty] | SRI5PL_BKN2 | VLSEZ | 11
[6 empty] | SRI9PL_FTG3 | VLSEZ | 117.33
[6 empty] | TPVSL_BKN3 | TSKPO | 14.85
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.11
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.13
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 8.29
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 0.21
[6 empty] | XXPPL_FTG3 | ODISHA | 87.05

## DAM
DAM TRADING DETAILS FOR DT : 03.10.2026
Time Period | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | IOCL_Paradeep_Refinery | MGM_Minerals_Ltd | MSP_Sponge_Iron_Limited_Odisha | Nav_Bharat_ventures_Ltd | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 2.37 | 0 | -1 | 0 | -2 | 0 | 0
00:15 - 00:30 | 0 | 2.23 | 0 | -1 | 0 | -2 | 0 | 0
00:30 - 00:45 | 0 | 1.99 | 0 | -1 | 0 | -2 | 0 | 0
00:45 - 01:00 | 0 | 2.5 | 0 | -1 | 0 | -2 | 0 | 0
01:00 - 01:15 | 0 | 3.67 | 0 | -1 | 0 | -2 | 0 | 0
01:15 - 01:30 | 0 | 3.63 | 0 | -1 | 0 | -2 | 0 | 0
01:30 - 01:45 | 0 | 3.6 | 0 | -1 | 0 | -2 | 0 | 0
01:45 - 02:00 | 0 | 3.84 | 0 | -1 | 0 | -2 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | -1 | 0 | -2 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | -1 | 0 | -2 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | -1 | 0 | -2 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | -1 | 0 | -2 | 0 | 5.73
03:00 - 03:15 | 0 | 0 | 0 | -1 | 0 | -2 | 0 | 4.59
03:15 - 03:30 | 0 | 0 | 0 | -1 | 0 | -2 | 0 | 4.79
03:30 - 03:45 | 0 | 0 | 0 | -1 | 0 | -2 | 0 | 4.83
03:45 - 04:00 | 0 | 0 | 0 | -1 | 0 | -2 | 0 | 5.32
04:00 - 04:15 | 0 | 0 | 0 | -1 | 0 | -2 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | -1 | 0 | -2 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | -1 | 0 | -2 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | -1 | 0 | -2 | 0 | 0
05:00 - 05:15 | 0 | -50 | 0 | -1 | 0 | -2 | 0 | 0
05:15 - 05:30 | 0 | -50 | 0 | -1 | 0 | -2 | 0 | 0
05:30 - 05:45 | 0 | -50 | 0 | -1 | 0 | -2 | 0 | 0
05:45 - 06:00 | 0 | -50 | 0 | -1 | 0 | -2 | 0 | 0
06:00 - 06:15 | -25.5 | -225 | 0 | -1 | 0 | -2 | 0 | 0
06:15 - 06:30 | -25.5 | -225 | 0 | -1 | 0 | -2 | 0 | 0
06:30 - 06:45 | -25.5 | -225 | 0 | -1 | 0 | -2 | 0 | 0
06:45 - 07:00 | -25.5 | -225 | 0 | -1 | 0 | -2 | 0 | 0
07:00 - 07:15 | -25.5 | -625 | 0 | -1 | 0 | -2 | 0 | 0
07:15 - 07:30 | -25.5 | -625 | 0 | -1 | 0 | -2 | 0 | 0
07:30 - 07:45 | 0 | -625 | 0 | -1 | 0 | -2 | 0 | 0
07:45 - 08:00 | 0 | -625 | 0 | -1 | 0 | -2 | 4.84 | 0
08:00 - 08:15 | 0 | -975 | 0 | -1 | 0 | -1 | 0 | 0
08:15 - 08:30 | 0 | -921.93 | 0 | -1 | 0 | -1 | 0 | 0
08:30 - 08:45 | 0 | -725 | 33.85 | -1 | 9.67 | -1 | 0 | 0
08:45 - 09:00 | 0 | -975 | 0 | -1 | 0 | -1 | 0 | 0
09:00 - 09:15 | 0 | -1450 | 0 | -1 | 0 | -1 | 0 | 0
09:15 - 09:30 | 0 | -1200 | 0 | -1 | 0 | -1 | 0 | 0
09:30 - 09:45 | 0 | -1200 | 0 | -1 | 0 | -1 | 0 | 0
09:45 - 10:00 | 0 | -971.4 | 0 | -1 | 0 | -1 | 0 | 0
10:00 - 10:15 | 0 | -924.68 | 0 | -1 | 0 | -1 | 0 | 0
10:15 - 10:30 | 0 | -869.27 | 0 | -1 | 0 | -1 | 0 | 0
10:30 - 10:45 | 0 | -688.46 | 0 | -1 | 0 | -1 | 0 | 0
10:45 - 11:00 | 0 | -514.25 | 0 | -1 | 0 | -1 | 0 | 0
11:00 - 11:15 | 0 | -417.96 | 0 | -1 | 0 | -1 | 0 | 0
11:15 - 11:30 | 0 | -587.18 | 0 | -1 | 0 | -1 | 0 | 0
11:30 - 11:45 | 0 | -514.22 | 0 | -1 | 0 | -1 | 0 | 0
11:45 - 12:00 | 0 | -402.83 | 0 | -1 | 0 | -1 | 0 | 0
12:00 - 12:15 | 0 | -395.43 | 0 | -1 | 0 | -1 | 0 | 0
12:15 - 12:30 | 0 | -250 | 0 | -1 | 0 | -1 | 0 | 0
12:30 - 12:45 | 0 | -250 | 0 | -1 | 0 | -1 | 0 | 0
12:45 - 13:00 | 0 | -250 | 0 | -1 | 0 | -1 | 0 | 0
13:00 - 13:15 | 0 | -250 | 0 | -1 | 0 | -1 | 0 | 0
13:15 - 13:30 | 0 | -250 | 0 | -1 | 0 | -1 | 0 | 0
13:30 - 13:45 | 0 | -250 | 0 | -1 | 0 | -1 | 0 | 0
13:45 - 14:00 | 0 | -525.84 | 0 | -1 | 0 | -1 | 0 | 0
14:00 - 14:15 | 0 | -376.66 | 0 | -1 | 0 | -1 | 0 | 0
14:15 - 14:30 | 0 | -737.15 | 0 | -1 | 0 | -1 | 0 | 0
14:30 - 14:45 | 0 | -1050 | 0 | -1 | 0 | -1 | 0 | 0
14:45 - 15:00 | 0 | -1050 | 0 | -1 | 0 | -1 | 0 | 0
15:00 - 15:15 | 0 | -975 | 0 | -1 | 0 | -2 | 0 | 0
15:15 - 15:30 | 0 | -975 | 0 | -1 | 0 | -2 | 0 | 0
15:30 - 15:45 | 0 | -975 | 0 | -1 | 0 | -2 | 0 | 0
15:45 - 16:00 | 0 | -1100 | 0 | -1 | 0 | -2 | 0 | 0
16:00 - 16:15 | 0 | -625 | 0 | -1 | 0 | -2 | 0 | 0
16:15 - 16:30 | 0 | -425 | 0 | -1 | 0 | -2 | 0 | 0
16:30 - 16:45 | -25.5 | -100 | 0 | -1 | 0 | -2 | 0 | 0
16:45 - 17:00 | -25.5 | -25 | 0 | -1 | 0 | -2 | 0 | 0
17:00 - 17:15 | -25.5 | 0 | 0 | -1 | 0 | -2 | 0 | 32.67
17:15 - 17:30 | -25.5 | 0 | 0 | -1 | 0 | -2 | 0 | 34.39
17:30 - 17:45 | -25.5 | 0 | 0 | -1 | 0 | -2 | 0 | 77.21
17:45 - 18:00 | -25.5 | 0 | 0 | -1 | 0 | -2 | 0 | 8.18
18:00 - 18:15 | 0 | 2.94 | 0 | -1 | 0 | -2 | 0 | 9.42
18:15 - 18:30 | 0 | 0.15 | 0 | -1 | 0 | -2 | 0 | 0.51
18:30 - 18:45 | 0 | 0 | 0 | -1 | 0 | -2 | 0 | 0
18:45 - 19:00 | 0 | 0.13 | 0 | -1 | 0 | -2 | 0 | 0.39
19:00 - 19:15 | 0 | 0.13 | 0 | -1 | 0 | -2 | 0 | 0.4
19:15 - 19:30 | 0 | 0.16 | 0 | -1 | 0 | -2 | 0 | 0.55
19:30 - 19:45 | 0 | 0.09 | 0 | -1 | 0 | -2 | 0 | 0.29
19:45 - 20:00 | 0 | 0.24 | 0 | -1 | 0 | -2 | 0 | 0.79
20:00 - 20:15 | 0 | 0.44 | 0 | -1 | 0 | -2 | 0 | 1.42
20:15 - 20:30 | 0 | 0.18 | 0 | -1 | 0 | -2 | 0 | 0.6
20:30 - 20:45 | 0 | 0.34 | 0 | -1 | 0 | -2 | 0 | 1.08
20:45 - 21:00 | 0 | 1.09 | 0 | -1 | 0 | -2 | 0 | 3.51
21:00 - 21:15 | 0 | 1.61 | 0 | -1 | 0 | -2 | 0 | 5.12
21:15 - 21:30 | 0 | 1.82 | 0 | -1 | 0 | -2 | 0 | 5.82
21:30 - 21:45 | 0 | 0.98 | 0 | -1 | 0 | -2 | 0 | 3.14
21:45 - 22:00 | 0 | 0.96 | 0 | -1 | 0 | -2 | 0 | 3.07
22:00 - 22:15 | 0 | 0.73 | 0 | -1 | 0 | -2 | 0 | 2.37
22:15 - 22:30 | 0 | 0 | 0 | -1 | 0 | -2 | 0 | 0.01
22:30 - 22:45 | 0 | 0.3 | 0 | -1 | 0 | -2 | 0 | 0.96
22:45 - 23:00 | 0 | 0.27 | 0 | -1 | 0 | -2 | 0 | 0.88
23:00 - 23:15 | 0 | 1.05 | 0 | -1 | 0 | -2 | 0 | 3.37
23:15 - 23:30 | 0 | 1.02 | 0 | -1 | 0 | -2 | 0 | 3.25
23:30 - 23:45 | 0 | 1.43 | 0 | -1 | 0 | -2 | 0 | 4.57
23:45 - 24:00 | 0 | 1.5 | 0 | -1 | 0 | -2 | 0 | 4.81
Average | -3.1875 | -288.8632 | 0.3526 | -1 | 0.10073 | -1.7083 | 0.050417 | 2.4379

## GDAM
GDAM TRADING DETAILS FOR DT:03.10.2026
Time Period | GRIDCO | IOCL_Paradeep_Refinery | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0.66 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0.65 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0.65 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0.62 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0.75 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0.73 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0.73 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0.69 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0.35
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.88
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0.71
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0.28
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:15 - 08:30 | 0 | 0 | 19.34 | 0 | 0 | 0 | 0
08:30 - 08:45 | 0 | 0 | 19.34 | 0 | 0 | 2.9 | 0
08:45 - 09:00 | 0 | 0 | 19.34 | 0 | 0 | 2.9 | 0
09:00 - 09:15 | 0 | 0 | 19.34 | 0 | 0 | 2.9 | 0
09:15 - 09:30 | 0 | 0 | 19.34 | 0 | 0 | 2.9 | 0
09:30 - 09:45 | 0 | 33.85 | 19.34 | 24.18 | 9.67 | 2.9 | 0
09:45 - 10:00 | 0 | 33.85 | 19.34 | 24.18 | 9.67 | 2.9 | 0
10:00 - 10:15 | 0 | 33.85 | 19.34 | 24.18 | 9.67 | 2.9 | 0
10:15 - 10:30 | 0 | 33.85 | 19.34 | 24.18 | 9.67 | 2.9 | 0
10:30 - 10:45 | 0 | 33.85 | 19.34 | 24.18 | 9.67 | 2.9 | 0
10:45 - 11:00 | 0 | 33.85 | 19.34 | 24.18 | 9.67 | 2.9 | 0
11:00 - 11:15 | 0 | 33.85 | 19.34 | 24.18 | 9.67 | 2.9 | 0
11:15 - 11:30 | 0 | 33.85 | 19.34 | 24.18 | 9.67 | 2.9 | 0
11:30 - 11:45 | 0 | 33.85 | 19.34 | 24.18 | 9.67 | 2.9 | 0
11:45 - 12:00 | 0 | 33.85 | 19.34 | 24.18 | 9.67 | 2.9 | 0
12:00 - 12:15 | 0 | 33.85 | 19.34 | 24.18 | 9.67 | 2.9 | 0
12:15 - 12:30 | 0 | 33.85 | 19.34 | 24.18 | 9.67 | 2.9 | 0
12:30 - 12:45 | 0 | 33.85 | 19.34 | 24.18 | 9.67 | 2.9 | 0
12:45 - 13:00 | 0 | 33.85 | 19.34 | 24.18 | 9.67 | 2.9 | 0
13:00 - 13:15 | 0 | 33.85 | 19.34 | 24.18 | 9.67 | 2.9 | 0
13:15 - 13:30 | 0 | 33.85 | 19.34 | 24.18 | 9.67 | 2.9 | 0
13:30 - 13:45 | 0 | 33.85 | 19.34 | 24.18 | 9.67 | 2.9 | 0
13:45 - 14:00 | 0 | 33.85 | 19.34 | 24.18 | 9.67 | 2.9 | 0
14:00 - 14:15 | 0 | 33.85 | 19.34 | 24.18 | 9.67 | 2.9 | 0
14:15 - 14:30 | 0 | 33.85 | 19.34 | 24.18 | 9.67 | 2.9 | 0
14:30 - 14:45 | 0 | 33.85 | 19.34 | 24.18 | 9.67 | 2.9 | 0
14:45 - 15:00 | 0 | 33.85 | 19.34 | 24.18 | 9.67 | 2.9 | 0
15:00 - 15:15 | 0 | 0 | 19.34 | 0 | 0 | 2.9 | 0
15:15 - 15:30 | 0 | 0 | 19.34 | 0 | 0 | 2.9 | 0
15:30 - 15:45 | 0 | 0 | 19.34 | 0 | 0 | 0 | 0
15:45 - 16:00 | 0 | 0 | 19.34 | 0 | 0 | 0 | 0
16:00 - 16:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:15 - 16:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:30 - 16:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:45 - 17:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | 0 | 0 | 0 | 77.96
17:15 - 17:30 | 0 | 0 | 0 | 0 | 0 | 0 | 60.86
17:30 - 17:45 | 0 | 0 | 0 | 0 | 0 | 0 | 56.58
17:45 - 18:00 | 0 | 0 | 0 | 0 | 0 | 0 | 31.87
18:00 - 18:15 | 5.11 | 0 | 0 | 0 | 0 | 0 | 16.33
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0.88 | 0 | 0 | 0 | 0 | 0 | 2.81
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01
19:00 - 19:15 | 1.79 | 0 | 0 | 0 | 0 | 0 | 5.71
19:15 - 19:30 | 1.84 | 0 | 0 | 0 | 0 | 0 | 5.88
19:30 - 19:45 | 2.5 | 0 | 0 | 0 | 0 | 0 | 7.98
19:45 - 20:00 | 2.26 | 0 | 0 | 0 | 0 | 0 | 7.26
20:00 - 20:15 | 2.34 | 0 | 0 | 0 | 0 | 0 | 7.49
20:15 - 20:30 | 2.48 | 0 | 0 | 0 | 0 | 0 | 7.91
20:30 - 20:45 | 2.6 | 0 | 0 | 0 | 0 | 0 | 8.33
20:45 - 21:00 | 2.6 | 0 | 0 | 0 | 0 | 0 | 8.32
21:00 - 21:15 | 2.59 | 0 | 0 | 0 | 0 | 0 | 8.3
21:15 - 21:30 | 2.42 | 0 | 0 | 0 | 0 | 0 | 7.72
21:30 - 21:45 | 2.34 | 0 | 0 | 0 | 0 | 0 | 7.5
21:45 - 22:00 | 2.15 | 0 | 0 | 0 | 0 | 0 | 6.86
22:00 - 22:15 | 2.2 | 0 | 0 | 0 | 0 | 0 | 7.02
22:15 - 22:30 | 2.05 | 0 | 0 | 0 | 0 | 0 | 6.57
22:30 - 22:45 | 1.94 | 0 | 0 | 0 | 0 | 0 | 6.22
22:45 - 23:00 | 1.87 | 0 | 0 | 0 | 0 | 0 | 5.95
23:00 - 23:15 | 1.85 | 0 | 0 | 0 | 0 | 0 | 5.93
23:15 - 23:30 | 1.9 | 0 | 0 | 0 | 0 | 0 | 6.06
23:30 - 23:45 | 1.93 | 0 | 0 | 0 | 0 | 0 | 6.19
23:45 - 24:00 | 1.99 | 0 | 0 | 0 | 0 | 0 | 6.39
Average | 0.57406 | 7.7573 | 6.2452 | 5.5413 | 2.216 | 0.84583 | 4.053

## RTM
RTM TRADING DETAILS FOR DT: 03.10.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Limited | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Limited_5MW_Solar_Power_Plant_Lokapada | MGM_Green_Energy_Ltd | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Jharsuguda | SMC_Power_Generation_Limited_Unit_II_PTC | Shri_Jagannath_Steels_&_Power_Ltd | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Visa_Chrome_Limited
00:00 - 00:15 | -1.4 | -4 | 0 | -1.5 | 0 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4
00:15 - 00:30 | -1.4 | -4 | 0 | -1.5 | 0 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4
00:30 - 00:45 | -1.4 | -4 | -0.3 | -1.5 | 0 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35.82 | -4
00:45 - 01:00 | -1.4 | -4 | -0.3 | -1.5 | 0 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40.46 | -4
01:00 - 01:15 | -1.4 | -4 | -0.3 | -1.5 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | -8 | 0 | 0 | 59.72 | -4
01:15 - 01:30 | -1.4 | -4 | -0.3 | -1.5 | 0 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 67.06 | -4
01:30 - 01:45 | -1.4 | -4 | -0.3 | -1.5 | 0 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 61.85 | -4
01:45 - 02:00 | -1.4 | -4 | -0.3 | -1.5 | 0 | 0 | 0 | -200 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 72.93 | -4
02:00 - 02:15 | -1.4 | -4 | -0.3 | -1.5 | 0 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.6 | -4
02:15 - 02:30 | -1.4 | -4 | -0.3 | -1.5 | 0 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.13 | -4
02:30 - 02:45 | -1.4 | -4 | -0.3 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.73 | -4
02:45 - 03:00 | -1.4 | -4 | -0.3 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40.11 | -4
03:00 - 03:15 | -1.4 | -11 | -0.3 | -1.5 | 0 | 0 | 0 | -75 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.09 | -4
03:15 - 03:30 | -1.4 | -11 | -0.3 | -1.5 | 0 | 0 | 0 | -75 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.98 | -4
03:30 - 03:45 | -1.4 | -11 | -0.3 | -1.5 | 0 | 0 | 0 | -75 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -4
03:45 - 04:00 | -1.4 | -11 | -0.3 | -1.5 | 0 | 0 | 0 | -75 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4
04:00 - 04:15 | -1.4 | -11 | -0.3 | -1.5 | 0 | 0 | 0 | -75 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4
04:15 - 04:30 | -1.4 | -11 | -0.3 | -1.5 | 0 | 0 | 0 | -75 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -4
04:30 - 04:45 | -1.4 | -11 | -0.3 | -1.5 | 0 | 0 | 0 | -75 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4
04:45 - 05:00 | -1.4 | -11 | -0.3 | -1.5 | 0 | 0 | 0 | -75 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4
05:00 - 05:15 | -1.4 | -11 | -0.3 | -1.5 | 0 | 0 | 0 | -75 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4
05:15 - 05:30 | -1.4 | -11 | -0.3 | -1.5 | 0 | 0 | 0 | -75 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4
05:30 - 05:45 | -1.4 | -11 | -0.8 | -1.5 | 0 | 0 | 0 | -75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4
05:45 - 06:00 | -1.4 | -11 | -0.8 | -1.5 | 0 | 0 | 0 | -75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4
06:00 - 06:15 | -1.4 | -11 | -0.8 | -1.5 | 0 | 0 | 0 | -75 | 0 | 0 | -0.1 | -0.1 | 0 | -10 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -3.5 | 0 | -10 | 0 | 0 | 0 | -4
06:15 - 06:30 | -1.4 | -11 | -0.8 | -1.5 | 0 | 0 | 0 | -75 | 0 | 0 | -0.2 | -0.2 | -0.1 | -10 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | 0 | -4
06:30 - 06:45 | -1.4 | -11 | -0.8 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | -0.3 | -0.4 | -0.4 | -10 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | 0 | -4
06:45 - 07:00 | -1.4 | -11 | -0.8 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -0.6 | -0.8 | -10 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | 0 | -4
07:00 - 07:15 | -1.4 | -11 | -0.3 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7 | -0.8 | -1.1 | -9.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | 0 | -4
07:15 - 07:30 | -1.4 | -11 | -0.3 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -0.9 | -1 | -1.5 | -9.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | 0 | -4
07:30 - 07:45 | -1.4 | -11 | -0.3 | -1.3 | -25.5 | 0 | 0 | 0 | 0 | 0 | -1.2 | -1.1 | -1.8 | -4 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3
07:45 - 08:00 | -1.4 | -10 | -0.3 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | -1.3 | -2.4 | -4 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | -3
08:00 - 08:15 | -1.4 | 12.57 | -0.3 | -1.3 | 0 | 0 | 0 | 364.03 | 0 | 0 | -1.9 | -1.5 | -2.9 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3
08:15 - 08:30 | -1.4 | 12.57 | -0.3 | -1.3 | 0 | 0 | 0 | 371.98 | 0 | 0 | -2 | -1.7 | -3.2 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3
08:30 - 08:45 | -1.4 | 12.57 | -0.3 | -1.3 | 0 | 0 | 0 | 191.57 | 0 | 0 | -2.1 | -1.9 | -3.7 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3
08:45 - 09:00 | -1.4 | 12.57 | -0.3 | -1.3 | 0 | 0 | 0 | 352.66 | 10.64 | 0 | -2.5 | -2.1 | -4.1 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3
09:00 - 09:15 | -1.2 | 11.61 | -0.3 | 0 | 0 | 0 | 0 | 626.15 | 0 | 0 | -2.9 | -2.4 | -4.3 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3
09:15 - 09:30 | -1.2 | 11.61 | -0.3 | 0 | 0 | 0 | 0 | 255.75 | 10.64 | 0 | -3 | -2.4 | -4.3 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3
09:30 - 09:45 | -1.2 | -3 | -0.3 | -1.3 | 0 | 0 | 0 | 270.23 | 10.64 | 0 | -3.1 | -2.6 | -4.8 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
09:45 - 10:00 | -1.2 | 9.67 | -0.3 | -1.3 | 0 | 0 | 0 | -48.49 | 10.63 | 0 | -3.2 | -2.8 | -2.3 | 0 | 0 | 0 | 4.84 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
10:00 - 10:15 | -1.2 | 11.59 | -0.3 | -1.3 | 0 | 0 | 0 | -325.5 | 10.64 | 0 | -3.3 | -2.8 | 0 | 0 | 4.84 | 0 | 4.84 | 0 | -2 | 0 | 3.87 | 0 | 0 | 0 | 9.67 | 0 | 0 | -2
10:15 - 10:30 | -1.2 | 11.61 | -0.3 | 0 | 0 | 0 | 0 | -368 | 10.64 | 0 | -3.3 | -2.7 | 0 | 0 | 4.84 | 0 | 4.84 | 19.32 | -2 | 0 | 3.87 | 0 | 0 | 0 | 9.67 | 4.84 | 0 | -2
10:30 - 10:45 | -1.2 | 11.59 | -0.3 | 0 | 0 | 6.77 | 0 | -480.66 | 10.64 | 0 | 0 | -2.8 | 0 | 0 | 4.84 | 0 | 4.84 | 0 | -2 | 0 | 3.87 | 0 | 0 | 0 | 9.67 | 0 | 0 | 0
10:45 - 11:00 | -1.2 | 11.6 | -0.3 | 0 | 0 | 6.77 | 0 | -685 | 10.64 | 0 | 0 | -2.8 | 0 | 0 | 0 | 0 | 4.84 | 0 | -2 | 0 | 3.87 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11:00 - 11:15 | -1.2 | 8.7 | -0.3 | 0 | 0 | 6.77 | 0 | -495.03 | 10.64 | 0 | 0 | -2.8 | 0 | 0 | 4.84 | 0 | 4.84 | 19.33 | -2 | 3.87 | 3.87 | 0 | 0 | 0 | 19.34 | 4.84 | 0 | 0
11:15 - 11:30 | -1.2 | 8.7 | -0.3 | 0 | 0 | 6.77 | 0 | 0 | 10.64 | 0 | 0 | -2.8 | 0 | 0 | 4.84 | 0 | 4.84 | 19.33 | -2 | 3.87 | 3.87 | 0 | 0 | 0 | 19.34 | 4.84 | 0 | 0
11:30 - 11:45 | -1.2 | 11.61 | -0.3 | 0 | 0 | 6.77 | 0 | 0 | 10.64 | 0 | 0 | -2.8 | 0 | 0 | 4.84 | 0 | 4.84 | 0 | -2 | 3.87 | 3.87 | 0 | 0 | 0 | 19.32 | 0 | 0 | 0
11:45 - 12:00 | -1.2 | 11.61 | -0.3 | 0 | 0 | 6.77 | 0 | -105.57 | 10.64 | 0 | 0 | -2.8 | 0 | 0 | 4.84 | 0 | 4.84 | 0 | -2 | 3.87 | 3.87 | 0 | 0 | 0 | 19.32 | 0 | 0 | 0
12:00 - 12:15 | -1.2 | 12.57 | -0.8 | 0 | 0 | 6.77 | 0 | -807.02 | 10.64 | 0 | 0 | -3 | 0 | 0 | 4.84 | 0 | 4.84 | 0 | -2 | 3.87 | 3.87 | 0 | 0 | 0 | 29 | 0 | 0 | -1
12:15 - 12:30 | -1.2 | 12.57 | -0.8 | 0 | 0 | 6.77 | 0 | -1064.19 | 10.64 | 0 | 0 | -2.9 | 0 | 0 | 4.84 | 0 | 4.84 | 0 | -2 | 3.87 | 3.87 | 0 | 0 | 0 | 29 | 0 | 0 | -1
12:30 - 12:45 | -1.2 | 0 | -0.8 | 0 | 0 | 0 | 0 | -1060.47 | 10.64 | 0 | 0 | -2.8 | 0 | 0 | 4.84 | 0 | 4.84 | 0 | -2 | 3.87 | 3.87 | 0 | 0 | 0 | 29 | 0 | 0 | -2
12:45 - 13:00 | -1.2 | 12.57 | -0.8 | 0 | 0 | 0 | 0 | -1060.97 | 10.64 | 0 | 0 | -2.7 | 0 | 0 | 4.84 | 0 | 4.84 | 0 | -2 | 3.87 | 3.87 | 0 | 0 | 0 | 29 | 0 | 0 | -2
13:00 - 13:15 | -1.2 | 12.57 | -1.3 | 0 | 0 | 0 | 0 | -1060.01 | 10.64 | 0 | 0 | -2.6 | 0 | 0 | 4.84 | 4.84 | 4.84 | 19.34 | 0 | 3.87 | 3.87 | 0 | 0 | 0 | 28.99 | 4.84 | 0 | -2
13:15 - 13:30 | -1.2 | 12.57 | -1.3 | 0 | 0 | 0 | 0 | -1053.71 | 10.64 | 0 | 0 | -2.5 | 0 | 0 | 4.84 | 4.84 | 4.84 | 19.34 | 0 | 3.87 | 3.87 | 0 | 0 | 0 | 28.99 | 4.84 | 0 | -2
13:30 - 13:45 | -1.2 | 12.57 | -1.3 | 0 | 0 | 0 | 0 | -955.48 | 10.64 | 0 | 0 | -2.2 | 0 | 0 | 4.84 | 0 | 4.84 | 0 | 0 | 3.87 | 3.87 | 0 | 0 | 0 | 29 | 0 | 0 | -2
13:45 - 14:00 | -1.2 | -3 | -1.3 | 0 | 0 | 0 | 0 | -685.04 | 10.64 | 0 | 0 | -2 | 0 | 0 | 4.84 | 0 | 4.84 | 0 | 0 | 3.87 | 3.87 | 0 | 0 | 0 | 29 | 0 | 0 | -2
14:00 - 14:15 | -1.2 | 11.6 | -1.5 | 0 | 0 | 0 | 0 | -450.04 | 10.64 | 0 | 0 | -1.8 | -1.4 | 0 | 0 | 0 | 0.99 | 0 | 0 | 0.78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
14:15 - 14:30 | -1.2 | 11.6 | -1.5 | 0 | 0 | 0 | 0 | -160.34 | 10.64 | 0 | 0 | -1.6 | -3.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
14:30 - 14:45 | -1 | 11.6 | -1.5 | 0 | 0 | 0 | 0 | -112.55 | 10.64 | 0 | -2.4 | -1.4 | -3.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
14:45 - 15:00 | -1 | 11.61 | -1.5 | 0 | 0 | 0 | 0 | -128 | 0 | 0 | -2.2 | -1.2 | -3.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
15:00 - 15:15 | -1 | -10 | -1.5 | 0 | 0 | 0 | 0 | -77.28 | 0 | 0 | -1.9 | -0.9 | -2.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
15:15 - 15:30 | -1 | 3.87 | -1.5 | 0 | 0 | 0 | 0 | -82.39 | 0 | 0 | -1.7 | -0.7 | -2.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
15:30 - 15:45 | -1 | 3.87 | -1.5 | 0 | 0 | 0 | 0 | -7.84 | 0 | 0 | -1.4 | -0.5 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
15:45 - 16:00 | -1 | 0 | -1.5 | 0 | -16.33 | 0 | 0 | -20.83 | 0 | 0 | -1 | -0.3 | -1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
16:00 - 16:15 | -1 | 0 | -1.5 | -1.4 | -25.5 | 0 | 0 | -100 | 0 | 0 | -0.7 | -0.1 | -1.3 | -4 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
16:15 - 16:30 | -1 | 0 | -1.5 | -1.4 | -25.5 | 0 | 0 | -250 | 0 | 0 | -0.5 | 0 | -0.9 | -4 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
16:30 - 16:45 | -1 | -5 | -1.9 | -1.4 | 0 | 0 | 0 | -300 | 0 | 0 | -0.3 | 0 | -0.6 | -8 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -3 | -1 | 0 | 0 | 0 | 2.38 | -1
16:45 - 17:00 | -1 | 0 | -1.9 | -1.4 | 0 | 0 | 0 | -300 | 0 | 0 | -0.2 | 0 | -0.2 | -8 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -3 | -1 | 0 | 0 | 0 | 1.69 | -1
17:00 - 17:15 | -1 | 0 | -1.4 | -1.5 | 0 | 0 | 0 | -200 | 0 | -70 | -0.1 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -1 | 0 | 0 | 0 | 0.91 | -1
17:15 - 17:30 | -1 | 0 | -1.4 | -1.5 | 0 | 0 | 0 | -150 | 0 | -70 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -1 | 0 | 0 | 0 | 0.65 | -1
17:30 - 17:45 | -1 | -4 | -1.9 | -1.5 | 0 | 0 | 0 | -200 | 0 | -70 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -1 | 0 | 0 | 0 | 37.39 | -1
17:45 - 18:00 | -1 | -4 | -1.9 | -1.5 | 0 | 0 | 0 | -150 | 0 | -70 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -1 | 0 | 0 | 0 | 31.38 | -1
18:00 - 18:15 | -1 | 0 | -1.9 | -1.6 | 0 | 0 | 0 | 2.38 | 0 | -70 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 81.25 | -1
18:15 - 18:30 | -1 | 0 | -1.9 | -1.6 | 0 | 0 | 0 | 5.83 | 0 | -70 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 76.34 | -1
18:30 - 18:45 | -1 | 0 | -1.9 | -1.6 | 0 | 0 | 0 | 27.28 | 0 | -70 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 90.71 | -2
18:45 - 19:00 | -1 | 0 | -1.9 | -1.6 | 0 | 0 | 0 | 21.18 | 0 | -70 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 91.26 | -2
19:00 - 19:15 | -1 | -15 | -1.9 | -1.6 | 0 | 0 | 0 | 31.6 | 0 | -70 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 14.53 | -3
19:15 - 19:30 | -1 | -5 | -1.9 | -1.6 | 0 | 0 | 0 | 28.73 | 0 | -70 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 13.16 | -3
19:30 - 19:45 | -1 | 0 | -1.9 | -1.6 | 0 | 0 | 0 | 22.76 | 0 | -70 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 10.41 | -3
19:45 - 20:00 | -1 | 0 | -1.9 | -1.6 | 0 | 0 | 0 | 23 | 0 | -70 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 10.52 | -3
20:00 - 20:15 | -1 | 0 | -1.1 | -1.6 | 0 | 0 | 0 | 18.03 | 0 | -70 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 56.55 | -3
20:15 - 20:30 | -1 | 0 | -1.1 | -1.6 | 0 | 0 | 0 | 18.74 | 0 | -70 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 56.88 | -3
20:30 - 20:45 | -0.8 | 0 | -1.1 | -1.6 | 0 | 0 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 10.17 | -3
20:45 - 21:00 | -0.8 | 0 | -1.1 | -1.6 | 0 | 0 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 10.66 | -3
21:00 - 21:15 | -0.8 | 0 | -1.1 | -1.7 | 0 | 0 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 32.97 | -3
21:15 - 21:30 | -0.8 | 0 | -1.1 | -1.7 | 0 | 0 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 31.74 | -3
21:30 - 21:45 | -0.8 | 0 | -1.1 | -1.7 | 0 | 0 | 0 | 0 | 0 | -70 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 56.11 | -3
21:45 - 22:00 | -0.8 | 0 | -1.1 | -1.7 | 0 | 0 | 0 | 0 | 0 | -70 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 56.45 | -3
22:00 - 22:15 | -0.8 | 0 | -1.1 | -1.6 | 0 | 0 | 0 | 18.4 | 0 | -70 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 57.83 | -3
22:15 - 22:30 | -0.8 | 0 | -1.1 | -1.6 | 0 | 0 | 0 | 17.76 | 0 | -70 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 57.53 | -3
22:30 - 22:45 | -0.8 | 0 | -1.1 | -1.6 | 0 | 0 | -14 | 18.31 | 0 | -70 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 56.67 | -3.5
22:45 - 23:00 | -0.8 | 0 | -1.1 | -1.6 | 0 | 0 | -14 | 19 | 0 | -70 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 57 | -3.5
23:00 - 23:15 | -0.8 | 0 | -1.1 | -1.6 | 0 | 0 | -14 | 27.88 | 0 | -70 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 61 | -3.5
23:15 - 23:30 | -0.8 | 0 | -1.1 | -1.6 | 0 | 0 | -14 | 25.32 | 0 | -70 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 61.43 | -3.5
23:30 - 23:45 | -0.8 | 0 | -1.1 | -1.7 | 0 | 0 | -14 | 26.63 | 0 | -70 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 17.18 | -3.5
23:45 - 24:00 | -0.8 | 0 | -1.1 | -1.7 | 0 | 0 | -14 | 20.24 | 0 | -70 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 17.39 | -3.5
Average | -1.1667 | -0.16927 | -0.86875 | -1.1135 | -0.96698 | 0.56417 | -0.875 | -127.4893 | 2.5491 | -19.5833 | -0.46979 | -0.775 | -0.63437 | -2.5625 | 0.75625 | 0.10083 | 0.8674 | 1.0069 | -2.3958 | 0.49188 | 0.645 | -0.36458 | -0.3125 | -0.39583 | 3.5241 | 0.25208 | 16.5273 | -2.6562