## POWER STATUS
POWER STATUS ON DT 05.10.2026
[9 empty] | 2026-10-05 | 2026-10-04
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 5:00 | 20:00
Demand -> | [8 empty] | 6102.3387 | 6697.4306
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla [Gate-L-0 , R-0] | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 233.833 | 5.612 | 630/590 ft | 628.89 | 630 | 630 | 219.9931 | 219.1398
| Chiplima | 72(3x24) | 63.417 | 1.522 | - |  |  |  | 59.7081 | 61.9167
| Balimela | 510(6x60+2x75) | 164.8333 | 3.956 | 1516/1440 ft | 1502.3 | 1503.8 | 1504 | 371.0988 | 280.8062
| Rengali | 250(5x50) | 243.025 | 5.8326 | 123.5/109.75 mt | 123.53 | 123.82 | 123.75 | 244.4836 | 247.8952
| Upper Kolab | 320(4x80) | 74.75 | 1.794 | 858/844 mt | 857.1 | 855.95 | 855.96 | 21.8976 | 227.2202
| Upper Indravati [Gate-0] | 600(4x150) | 600.8125 | 14.4195 | 642/625 mt | 640.84 | 641.55 | 641.5 | 601.4202 | 603.6702
| Machkund | 60(50% of(3x17+3x23)) | 24.06 | 0.57744 | 2750/2685 ft | 2748.48 | 2746.65 | 2746.6 | 21.5631 | 27.7573
| Total Hydro | 2099.5 | 1404.7308 | 33.7135 |  |  |  |  | 1540.1645 | 1668.4056
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1047.1954 | 25.1327 | RENEWABLE ENERGY (RE) |  |  |  | 1044.8681 | 1057.7066
[5 empty] | M.Hydl | 83.61
| Total Thermal | 2200 | 1047.1954 | 25.1327 | Solar | 145.01 |  |  | 1044.8681 | 1057.7066
IPP | VEDANTA #2 | 600 (1x600) | 484.3328 | 11.624 | Total IPPs | Yesterday's Demand Profile |  |  | 570.1369 | 564.5307
| GMR #3 | 350 (1x350) | -2.1139 | -0.050733 | 584.5066 |  | MW | HRS | -0.34868 | -0.33963
| NBVL(IPP) | 60(1x60) | 53.9395 | 1.2945 |  |  |  |  | 54.0935 | 53.2718
| MDTPC |  | 48.3481 | 1.1604 |  |  |  |  | 55.6943 | 56.2265
| CGPs |  | 926.7055 | 22.2409 | IPPs, CGPs & RE | Maximum | 6911 | 15:00 | 1875.0608 | 1711.7108
| Central Sector(Drawl) |  | 2076.2941 | 49.8311 | 1739.8321 | Minimum | 5797 | 07:00 | 1642.2453 | 2259.6077
| Central Sector(Sch) |  | 2212.3231 | 53.0958 |  | Average | 6268.0524 |  | 1438.8 | 2412.9199
| Grand Total |  | 6268.0524 | 150.4333 | Instantaneous Peak demand |  | 7108 | 14:57 | 6102.3387 | 6697.4306
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(2) |  | ACTUAL |  | SCHEDULE(1)
Burla | NIL | IbTPS / OPGC | 4 |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1746.7493 | 41.922 | 1722.2827 | 41.3348 | 1761.4835 | 42.2756
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 2212.8295 | 53.1079 | 2270.1601 | 54.4838 | 2088.1686 | 50.116
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1507.8523 | 36.1885 | 1493.3804 | 35.8411 | 1453.9186 | 34.894
U.Kolab | 2 | KAHALGAON | 6 | TPSODL | 622.6719 | 14.9441 | 616.5228 | 14.7965 | 634.3247 | 15.2238
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 6090.1029 | 146.1625 | 6102.346 | 146.4563 | 5937.8955 | 142.5095
Machhkund | 4,5,6 | Darlipali | 1
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 391.3675 | GMR |  |  |  | 0
| NBVL #3 | 54.4787 | MDTPC |  |  |  | 33.5253
Mini Hydel: | MEENAKSHI | 0 | OPCL |  |  |  | 0
| BTPL | 27.7848 | SAPTADHARA |  |  |  | 13.0347
| SNHEP | 31.7283 | KAKATIYA |  |  |  | 7.642
Solar: |  | 362.9526
CGPs : | JSPL (Angul) | 477.6376 | JSL(Duburi) |  |  |  | -156.5803
| ICCL | 51.3446 | visa |  |  |  | 13.2934
| NALCO | -126.5899 | VAL (CGP) |  |  |  | 54.669
| RSP | -62.5004 | BSL(MMDL) |  |  |  | 30.2333
| INDAL | -7.9973 | ADITYA ALUMINIUM |  |  |  | 40
| NINL | -41.2052 | VAL CPP 400 kV |  |  |  | -1064.6019
| NBVL | 54.4787 | Arati |  |  |  | -1.9429e-16
| BPSL(JSG) | -86.1606 | BPPL |  |  |  | 118.2392
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-09-27 | 2026-09-28 | 2026-09-29 | 2026-09-30 | 2026-10-01 | 2026-10-02 | 2026-10-03 | 2026-10-04
1241.34 | 1275.6415 | 1403.6734 | 1350.5371 | 1358.778 | 1420.25 | 1444.7416 | 1404.7308
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.04.10.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | ARYAN_ISPAT | DNHDDPDCL | -5 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0.64
ENVIROCARE_INFRA | BALCO_LOAD | -6.5 | ENVIROCARE_INFRA | DNHDDPDCL | -5 | AEG10_S_FTG4 | VLSEZ | 4.61
ENVIROCARE_INFRA | BALCO_LOAD | -6.5 | FACORPOWER | BYPL | -14 | AEG10_W_FTG4 | VLSEZ | 3.94
FACORPOWER | APCPDCL | -13.75 | GMRKEL_STU | RUVITSL | 0 | AGE25BL_PSS9_KPS1_HW | VLSEZ | 4.75
FACORPOWER | PUNJAB | -4.12 | JPIPL | TANGEDCO | -13.2 | AGE25CL_PSS14_KPS3_W | VLSEZ | 9.38
GMRKEL_STU | RUVITSL | 0 | JSPLANGUL | TANGEDCO | -100 | AGE25L_BHDL2 | VLSEZ | 40.73
GMRKEL_STU | TNEB | 0 | JSPLANGUL | TANGEDCO | -50 | AGE26AL_PSS6_KPS1_S | ODISHA | 77.37
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | KCMW_od | SFLPondyHEX288 | -0.47 | AHEJ5L_PSS4_KPS1_W | VLSEZ | 9.83
JSPLANGUL | GEB_Beneficiary | -100 | KCMW_od | SFLPondyHWF407 | -0.7 | AP41PL_BHDL | ODISHA | 58.06
JSPLANGUL | GEB_Beneficiary | -125 | NBVLIPP | BYPL | -46 | AP43PL_BKN | ODISHA | 89.84
MAADURGA_THERMAL | NPCL_UP | -17.26 | NPSRL | TPL_DIS_SUR | -4 | AWEK1L | ODISHA | 7.53
NBVLIPP | TANGEDCO | 0 | OCL_IRON_STEEL | WBSEDCL | -10 | AWEK1L | ODISHA | 11.29
OCL_IRON_STEEL | TPL_DIS_AHM_ISTS | -42.5 | ODISHA | WBSEDCL | -50 | AWEK4L_DEDYA_BHUJ2_W | VLSEZ | 1.78
ORSISL | BALCO_LOAD | -3.5 | ODISHA | WBSEDCL | -50 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 4.14
FARIDABAD_SOLAR | ODISHA | 0.86 | ORSISL | DNHDDPDCL | -3 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 21.11
JSWEL_UTKAL | ODISHA | 63.06 | RSPL_JHARSUGUDA | DNHDDPDCL | -20 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 17.3
RAJ_SOLAR | ODISHA | 2.41 | SGML | TPL_DIS_SUR | -7 | CMEESL_BKN2 | VLSEZ | 7.15
RAJ_SOLAR | ODISHA | 2.64 | SMEL | DNHDDPDCL | -25 | CMEESL_BKN2 | VLSEZ | 13.82
|  |  | SMEL | TPL_DIS_SUR | -5 | CPTTNPL | VLSEZ | 15.34
|  |  | Shri_JSPL | TPL_DIS_SUR | -2.5 | DADRI_SOLAR | ODISHA | 0.76
|  |  | TSBSLA | DNHDDPDCL | -10 | ENERSON_SOLAR_10MW | ODISHA | 1.03
|  |  | VIRAJ_SEPL | TANGEDCO | -10 | GADAG_GreenInfra_W | ODISHA | 0.11
|  |  | VSL | DNHDDPDCL | -10 | GADAG_GreenInfra_W | ODISHA | 0
|  |  | Assam_Ben | VLSEZ | 220.87 | GADAG_GreenInfra_W | ODISHA | 0
|  |  | Assam_Ben | VLSEZ | 27.2 | GADAG_Serentica3_S | VLSEZ | 38.58
|  |  | Darlipali_NTPC | ODISHA | 31.62 | GADAG_Serentica3_W | VLSEZ | 12.41
|  |  | GMRKEL | VLSEZ | 5.32 | GIWEL_SECI_II_RE | ODISHA | 28.93
|  |  | JANKICORP | VLSEZ | 0.97 | GPCL_SOLAR_10 | ODISHA | 1.09
|  |  | JIPL | ODISHA | 116.05 | GSECL_SOLAR | ODISHA | 1.93
|  |  | LPPL_CSEB | VLSEZ | 1.93 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 2.15
|  |  | MYTRAHVAYU | VLSEZ | 11.74 | KARUR_TPVARDHAMAN_W | TSKPO | 18.18
|  |  | NALCOAP | NACL_Odisha | 1.67 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | PONDY | VLSEZ | 41.04 | Kurnool_Greenko_H_Inj | ADITYAAL | 3.76
|  |  | VCE4PLTD | VLSEZ | 2.91 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.01
|  |  | VCE5PLTD | VLSEZ | 5.63 | NTPCRE1_SMND_BHJ2_W | ODISHA | 4.25
|  |  | VCE7PLP2 | VLSEZ | 1.73 | O2RE3PL_Wasi_klm_W | VLSEZ | 1.82
|  |  | VCE7PLTD | VLSEZ | 0.8 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 0
|  |  | VGPPL1KA | VLSEZ | 0.88 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0.26
|  |  | VIPL_CSEB | VLSEZ | 4.84 | OKWPL_RE | ODISHA | 16.04
[6 empty] | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 5.37
[6 empty] | RWE_AP2_SECI_III | ODISHA | 8.72
[6 empty] | RenewGreen_SLPR_HS | JSL_DUBURI | 16.16
[6 empty] | SRI9PL_FTG3 | VLSEZ | 118.5
[6 empty] | TPVSL_BKN3 | TSKPO | 14.92
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.11
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.12
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 9.3
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 5.09
[6 empty] | W5RL_DAYAPAR_BHUJ_W | VLSEZ | 4.04
[6 empty] | XXPPL_FTG3 | ODISHA | 86.6

## DAM
DAM TRADING DETAILS FOR DT : 04.10.2026
Time Period | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | IOCL_Paradeep_Refinery | MGM_Minerals_Ltd | Nav_Bharat_ventures_Ltd | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 1.62 | 0 | -1.1 | -2 | 0 | 8.68
00:15 - 00:30 | 0 | 1.67 | 0 | -1.1 | -2 | 0 | 8.93
00:30 - 00:45 | 0 | 1.66 | 0 | -1.1 | -2 | 0 | 8.86
00:45 - 01:00 | 0 | 1.8 | 0 | -1.1 | -2 | 0 | 9.59
01:00 - 01:15 | 0 | 2.91 | 0 | -1.1 | -2 | 0 | 15.55
01:15 - 01:30 | 0 | 3.13 | 0 | -1.1 | -2 | 0 | 16.72
01:30 - 01:45 | 0 | 3.28 | 0 | -1.1 | -2 | 0 | 17.47
01:45 - 02:00 | 0 | 3.48 | 0 | -1.1 | -2 | 0 | 18.59
02:00 - 02:15 | 0 | 0 | 0 | -1.1 | -2 | 0 | 35.45
02:15 - 02:30 | 0 | 0 | 0 | -1.1 | -2 | 0 | 36.52
02:30 - 02:45 | 0 | 0 | 0 | -1.1 | -2 | 0 | 43.87
02:45 - 03:00 | 0 | 0 | 0 | -1.1 | -2 | 0 | 45.86
03:00 - 03:15 | 0 | 0 | 0 | -1.1 | -2 | 0 | 26.01
03:15 - 03:30 | 0 | 0 | 0 | -1.1 | -2 | 0 | 26.9
03:30 - 03:45 | 0 | 0 | 0 | -1.1 | -2 | 0 | 15.99
03:45 - 04:00 | 0 | 0 | 0 | -1.1 | -2 | 0 | 16.05
04:00 - 04:15 | 0 | 0 | 0 | -1.1 | -2 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | -1.1 | -2 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | -1.1 | -2 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | -1.1 | -2 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | -1.1 | -2 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | -1.1 | -2 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | -1.1 | -2 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | -1.1 | -2 | 0 | 0
06:00 - 06:15 | -25.5 | -375 | 0 | -1.1 | -2 | 0 | 0
06:15 - 06:30 | -25.5 | -375 | 0 | -1.1 | -2 | 0 | 0
06:30 - 06:45 | -25.5 | -375 | 0 | -1.1 | -2 | 0 | 0
06:45 - 07:00 | -25.5 | -375 | 0 | -1.1 | -2 | 0 | 0
07:00 - 07:15 | -25.5 | -425 | 0 | -1.1 | -2 | 0 | 0
07:15 - 07:30 | -25.5 | -425 | 0 | -1.1 | -2 | 0 | 0
07:30 - 07:45 | 0 | -425 | 0 | -1.1 | -2 | 0 | 0
07:45 - 08:00 | 0 | -425 | 0 | -1.1 | -2 | 4.84 | 0
08:00 - 08:15 | 0 | -525 | 0 | -1.1 | -1 | 0 | 0
08:15 - 08:30 | 0 | -525 | 0 | -1.1 | -1 | 0 | 0
08:30 - 08:45 | 0 | -350 | 16.92 | -1.1 | -1 | 0 | 0
08:45 - 09:00 | 0 | -350 | 0 | -1.1 | -1 | 0 | 0
09:00 - 09:15 | 0 | -850 | 33.85 | -1.1 | -1 | 0 | 0
09:15 - 09:30 | 0 | -624.31 | 28.14 | -1.1 | -1 | 0 | 0
09:30 - 09:45 | 0 | -283.49 | 0 | -1.1 | -1 | 0 | 0
09:45 - 10:00 | 0 | -200 | 0 | -1.1 | -1 | 0 | 0
10:00 - 10:15 | 0 | -200 | 0 | -1.1 | -1 | 0 | 0
10:15 - 10:30 | 0 | -200 | 0 | -1.1 | -1 | 0 | 0
10:30 - 10:45 | 0 | -200 | 0 | -1.1 | -1 | 0 | 0
10:45 - 11:00 | 0 | -200 | 0 | -1.1 | -1 | 0 | 0
11:00 - 11:15 | 0 | -200 | 0 | -1.1 | -1 | 0 | 0
11:15 - 11:30 | 0 | -200 | 0 | -1.1 | -1 | 0 | 0
11:30 - 11:45 | 0 | -200 | 0 | -1.1 | -1 | 0 | 0
11:45 - 12:00 | 0 | -200 | 0 | -1.1 | -1 | 0 | 0
12:00 - 12:15 | 0 | -200 | 0 | -1.1 | -1 | 0 | 0
12:15 - 12:30 | 0 | -200 | 0 | -1.1 | -1 | 0 | 0
12:30 - 12:45 | 0 | -200 | 0 | -1.1 | -1 | 0 | 0
12:45 - 13:00 | 0 | -200 | 0 | -1.1 | -1 | 0 | 0
13:00 - 13:15 | 0 | -200 | 0 | -1.1 | -1 | 0 | 0
13:15 - 13:30 | 0 | -200 | 0 | -1.1 | -1 | 0 | 0
13:30 - 13:45 | 0 | -200 | 0 | -1.1 | -1 | 0 | 0
13:45 - 14:00 | 0 | -200 | 0 | -1.1 | -1 | 0 | 0
14:00 - 14:15 | 0 | -200 | 0 | -1.1 | -1 | 0 | 0
14:15 - 14:30 | 0 | -200 | 0 | -1.1 | -1 | 0 | 0
14:30 - 14:45 | 0 | -380.35 | 0 | -1.1 | -1 | 0 | 0
14:45 - 15:00 | 0 | -577.78 | 0 | -1.1 | -1 | 0 | 0
15:00 - 15:15 | 0 | -450 | 0 | -1.1 | -2 | 0 | 0
15:15 - 15:30 | 0 | -450 | 0 | -1.1 | -2 | 0 | 0
15:30 - 15:45 | 0 | -500 | 0 | -1.1 | -2 | 0 | 0
15:45 - 16:00 | 0 | -500 | 0 | -1.1 | -2 | 0 | 0
16:00 - 16:15 | 0 | -200 | 0 | -1.1 | -2 | 0 | 0
16:15 - 16:30 | 0 | -100 | 0 | -1.1 | -2 | 0 | 0
16:30 - 16:45 | -25.5 | 0 | 0 | -1.1 | -2 | 0 | 0
16:45 - 17:00 | -25.5 | 0 | 0 | -1.1 | -2 | 0 | 0
17:00 - 17:15 | -25.5 | 0 | 0 | -1.1 | -2 | 0 | 18.49
17:15 - 17:30 | -25.5 | 0 | 0 | -1.1 | -2 | 0 | 131.62
17:30 - 17:45 | -25.5 | 32.74 | 0 | -1.1 | -2 | 0 | 163.72
17:45 - 18:00 | -25.5 | 15.7 | 0 | -1.1 | -2 | 0 | 78.52
18:00 - 18:15 | 0 | 9.77 | 0 | -1.1 | -2 | 0 | 19.53
18:15 - 18:30 | 0 | 1.22 | 0 | -1.1 | -2 | 0 | 2.45
18:30 - 18:45 | 0 | 0 | 0 | -1.1 | -2 | 0 | 0.01
18:45 - 19:00 | 0 | 1.23 | 0 | -1.1 | -2 | 0 | 2.46
19:00 - 19:15 | 0 | 2.46 | 0 | -1.1 | -2 | 0 | 4.92
19:15 - 19:30 | 0 | 2.78 | 0 | -1.1 | -2 | 0 | 5.55
19:30 - 19:45 | 0 | 2.25 | 0 | -1.1 | -2 | 0 | 4.52
19:45 - 20:00 | 0 | 3.79 | 0 | -1.1 | -2 | 0 | 7.59
20:00 - 20:15 | 0 | 5.38 | 0 | -1.1 | -2 | 0 | 10.74
20:15 - 20:30 | 0 | 5.17 | 0 | -1.1 | -2 | 0 | 10.36
20:30 - 20:45 | 0 | 5.05 | 0 | -1.1 | -2 | 0 | 10.09
20:45 - 21:00 | 0 | 4.57 | 0 | -1.1 | -2 | 0 | 9.16
21:00 - 21:15 | 0 | 2.92 | 0 | -1.1 | -2 | 0 | 5.84
21:15 - 21:30 | 0 | 0.3 | 0 | -1.1 | -2 | 0 | 0.6
21:30 - 21:45 | 0 | 1.03 | 0 | -1.1 | -2 | 0 | 2.05
21:45 - 22:00 | 0 | 0.52 | 0 | -1.1 | -2 | 0 | 1.05
22:00 - 22:15 | 0 | 0.43 | 0 | -1.1 | -2 | 0 | 0.86
22:15 - 22:30 | 0 | 0.55 | 0 | -1.1 | -2 | 0 | 1.09
22:30 - 22:45 | 0 | 0.66 | 0 | -1.1 | -2 | 0 | 1.31
22:45 - 23:00 | 0 | 0.32 | 0 | -1.1 | -2 | 0 | 0.63
23:00 - 23:15 | 0 | 0.1 | 0 | -1.1 | -2 | 0 | 0.18
23:15 - 23:30 | 0 | 0.27 | 0 | -1.1 | -2 | 0 | 0.54
23:30 - 23:45 | 0 | 3.84 | 0 | -1.1 | -2 | 0 | 7.68
23:45 - 24:00 | 0 | 3.9 | 0 | -1.1 | -2 | 0 | 7.78
Average | -3.1875 | -141.0357 | 0.82198 | -1.1 | -1.7083 | 0.050417 | 8.9623

## GDAM
GDAM TRADING DETAILS FOR DT:04.10.2026
Time Period | GRIDCO | IOCL_Paradeep_Refinery | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | Jindal_Stainless_Limited_Duburi_Odisha | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0.09
00:15 - 00:30 | 0.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23
00:30 - 00:45 | 0.08 | 0 | 0 | 0 | 0 | 0 | 0 | 0.4
00:45 - 01:00 | 0.11 | 0 | 0 | 0 | 0 | 0 | 0 | 0.55
01:00 - 01:15 | 0.12 | 0 | 0 | 0 | 0 | 0 | 0 | 0.6
01:15 - 01:30 | 0.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87
01:30 - 01:45 | 0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 1.08
01:45 - 02:00 | 0.25 | 0 | 0 | 0 | 0 | 0 | 0 | 1.31
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.38
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.89
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.75
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.34
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.79
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.58
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.7
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | 0 | 9.67 | 0 | 0 | 0 | 0 | 0
08:15 - 08:30 | 0 | 0 | 9.67 | 0 | 0 | 0 | 5.8 | 0
08:30 - 08:45 | 0 | 16.92 | 9.67 | 33.86 | 19.34 | 9.67 | 5.8 | 0
08:45 - 09:00 | 0 | 33.85 | 9.67 | 33.85 | 19.34 | 9.67 | 5.8 | 0
09:00 - 09:15 | 0 | 0 | 9.67 | 20.33 | 11.61 | 9.67 | 5.8 | 0
09:15 - 09:30 | 0 | 5.71 | 9.67 | 33.85 | 19.34 | 9.67 | 5.8 | 0
09:30 - 09:45 | 0 | 33.85 | 9.67 | 33.85 | 19.34 | 9.67 | 5.8 | 0
09:45 - 10:00 | 0 | 33.85 | 9.67 | 33.85 | 19.34 | 9.67 | 5.8 | 0
10:00 - 10:15 | 0 | 33.85 | 9.67 | 33.85 | 19.34 | 9.67 | 5.8 | 0
10:15 - 10:30 | 0 | 33.85 | 9.67 | 33.85 | 19.34 | 9.67 | 5.8 | 0
10:30 - 10:45 | 0 | 33.85 | 9.67 | 33.85 | 19.34 | 9.67 | 5.8 | 0
10:45 - 11:00 | 0 | 33.85 | 9.67 | 33.85 | 19.34 | 9.67 | 5.8 | 0
11:00 - 11:15 | 0 | 33.85 | 9.67 | 33.85 | 19.34 | 9.67 | 5.8 | 0
11:15 - 11:30 | 0 | 33.85 | 9.67 | 33.85 | 19.34 | 9.67 | 5.8 | 0
11:30 - 11:45 | 0 | 33.85 | 9.67 | 33.85 | 19.34 | 9.67 | 5.8 | 0
11:45 - 12:00 | 0 | 33.85 | 9.67 | 33.85 | 19.34 | 9.67 | 5.8 | 0
12:00 - 12:15 | 0 | 33.85 | 9.67 | 33.85 | 19.34 | 9.67 | 5.8 | 0
12:15 - 12:30 | 0 | 33.85 | 9.67 | 33.85 | 19.34 | 9.67 | 5.8 | 0
12:30 - 12:45 | 0 | 33.85 | 9.67 | 33.85 | 19.34 | 9.67 | 5.8 | 0
12:45 - 13:00 | 0 | 33.85 | 9.67 | 33.85 | 19.34 | 9.67 | 5.8 | 0
13:00 - 13:15 | 112.44 | 33.85 | 9.67 | 33.85 | 19.34 | 9.67 | 5.8 | 0
13:15 - 13:30 | 96.28 | 33.85 | 9.67 | 33.85 | 19.34 | 9.67 | 5.8 | 0
13:30 - 13:45 | 0 | 33.85 | 9.67 | 33.85 | 19.34 | 9.67 | 5.8 | 0
13:45 - 14:00 | 0 | 33.85 | 9.67 | 33.85 | 19.34 | 9.67 | 5.8 | 0
14:00 - 14:15 | 0 | 33.85 | 9.67 | 33.85 | 19.34 | 9.67 | 5.8 | 0
14:15 - 14:30 | 0 | 33.85 | 9.67 | 33.85 | 19.34 | 9.67 | 5.8 | 0
14:30 - 14:45 | 0 | 33.85 | 9.67 | 33.85 | 19.34 | 9.67 | 5.8 | 0
14:45 - 15:00 | 0 | 33.85 | 9.67 | 33.85 | 19.34 | 9.67 | 5.8 | 0
15:00 - 15:15 | 0 | 33.85 | 9.67 | 33.85 | 19.34 | 9.67 | 5.8 | 0
15:15 - 15:30 | 0 | 33.85 | 9.67 | 33.85 | 19.34 | 9.67 | 5.8 | 0
15:30 - 15:45 | 0 | 33.85 | 9.67 | 33.85 | 19.34 | 9.67 | 5.8 | 0
15:45 - 16:00 | 0 | 0 | 9.67 | 28.05 | 16.02 | 9.67 | 5.8 | 0
16:00 - 16:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:15 - 16:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:30 - 16:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:45 - 17:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 361.08
17:15 - 17:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 197.32
17:30 - 17:45 | 22.01 | 0 | 0 | 0 | 0 | 0 | 0 | 110.04
17:45 - 18:00 | 13.76 | 0 | 0 | 0 | 0 | 0 | 0 | 68.8
18:00 - 18:15 | 9.85 | 0 | 0 | 0 | 0 | 0 | 0 | 19.69
18:15 - 18:30 | 0.56 | 0 | 0 | 0 | 0 | 0 | 0 | 1.12
18:30 - 18:45 | 2.99 | 0 | 0 | 0 | 0 | 0 | 0 | 5.97
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 5.71 | 0 | 0 | 0 | 0 | 0 | 0 | 11.42
19:15 - 19:30 | 10.48 | 0 | 0 | 0 | 0 | 0 | 0 | 20.97
19:30 - 19:45 | 11.03 | 0 | 0 | 0 | 0 | 0 | 0 | 22.08
19:45 - 20:00 | 9.72 | 0 | 0 | 0 | 0 | 0 | 0 | 19.43
20:00 - 20:15 | 5.22 | 0 | 0 | 0 | 0 | 0 | 0 | 10.46
20:15 - 20:30 | 4.25 | 0 | 0 | 0 | 0 | 0 | 0 | 8.49
20:30 - 20:45 | 4.49 | 0 | 0 | 0 | 0 | 0 | 0 | 8.98
20:45 - 21:00 | 4.56 | 0 | 0 | 0 | 0 | 0 | 0 | 9.11
21:00 - 21:15 | 3.08 | 0 | 0 | 0 | 0 | 0 | 0 | 6.16
21:15 - 21:30 | 2.54 | 0 | 0 | 0 | 0 | 0 | 0 | 5.09
21:30 - 21:45 | 2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 4.99
21:45 - 22:00 | 2.42 | 0 | 0 | 0 | 0 | 0 | 0 | 4.82
22:00 - 22:15 | 2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 5
22:15 - 22:30 | 2.22 | 0 | 0 | 0 | 0 | 0 | 0 | 4.45
22:30 - 22:45 | 2.31 | 0 | 0 | 0 | 0 | 0 | 0 | 4.62
22:45 - 23:00 | 2.21 | 0 | 0 | 0 | 0 | 0 | 0 | 4.45
23:00 - 23:15 | 2.1 | 0 | 0 | 0 | 0 | 0 | 0 | 4.2
23:15 - 23:30 | 2.11 | 0 | 0 | 0 | 0 | 0 | 0 | 4.21
23:30 - 23:45 | 2.48 | 0 | 0 | 0 | 0 | 0 | 0 | 4.94
23:45 - 24:00 | 2.67 | 0 | 0 | 0 | 0 | 0 | 0 | 5.34
Average | 3.5779 | 9.4034 | 3.2233 | 10.377 | 5.9286 | 3.0219 | 1.8729 | 10.2686

## RTM
RTM TRADING DETAILS FOR DT: 04.10.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Limited_5MW_Solar_Power_Plant_Lokapada | MGM_Green_Energy_Ltd | Neelachal_Ispat_Nigam_Limited | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Jharsuguda | SMC_Power_Generation_Limited_Unit_II_PTC | Shri_Jagannath_Steels_&_Power_Ltd | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Vedanta_Aluminium_Metal_Ltd_CPP_9X135MW_Jharsuguda | Visa_Chrome_Limited
00:00 - 00:15 | -1 | 0 | -1 | -1.7 | -14 | 0 | 0 | -70 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -2 | -30 | 0 | 0 | 0 | 17.93 | 0 | -3.5
00:15 - 00:30 | -1 | 0 | -1 | -1.7 | -14 | 0 | 0 | -70 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 16.31 | 0 | -3.5
00:30 - 00:45 | -1 | 0 | -1 | -1.7 | -14 | -100 | 0 | -70 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 65.13 | 0 | -3.5
00:45 - 01:00 | -1 | 0 | -1 | -1.7 | -14 | -100 | 0 | -70 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 66.03 | 0 | -3.5
01:00 - 01:15 | -1 | 0 | -1 | -1.7 | -14 | 0 | 0 | -70 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 65.26 | 0 | -3
01:15 - 01:30 | -1 | 0 | -1 | -1.7 | -14 | 0 | 0 | -70 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -2 | -20 | 0 | 0 | 0 | 68.4 | 0 | -3
01:30 - 01:45 | -1 | -4 | -1 | -1.7 | 0 | -75 | 0 | -70 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -2 | -30 | 0 | 0 | 0 | 69.52 | 0 | -3
01:45 - 02:00 | -1 | -5 | -1 | -1.7 | 0 | -75 | 0 | -70 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 70.29 | 0 | -3
02:00 - 02:15 | -1 | 0 | -1 | -1.7 | 0 | -100 | 0 | -70 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -2 | -10 | 0 | 0 | 0 | 47.93 | 0 | -3
02:15 - 02:30 | -1 | 0 | -1 | -1.7 | 0 | -100 | 0 | -70 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -2 | -30 | 0 | 0 | 0 | 50.58 | 0 | -3
02:30 - 02:45 | -1 | 0 | -1 | -1.7 | 0 | -100 | 0 | -70 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 26.59 | 0 | -3
02:45 - 03:00 | -1 | 0 | -1 | -1.7 | 0 | -125 | 0 | -70 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 28.56 | 0 | -3
03:00 - 03:15 | -1 | 0.12 | -1 | -1.7 | 0 | -200 | 0 | -70 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -3 | -40 | 0 | 0 | 0 | 33.1 | 0 | -3
03:15 - 03:30 | -1 | -8 | -1 | -1.7 | 0 | -200 | 0 | -70 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -3 | -40 | 0 | 0 | 0 | 29.51 | 0 | -3
03:30 - 03:45 | -1 | 0 | -1 | -1.7 | 0 | -300 | 0 | -70 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 35.61 | 0 | -3
03:45 - 04:00 | -1 | 0 | -1 | -1.7 | 0 | -300 | 0 | -70 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -3
04:00 - 04:15 | -1 | 0 | -1 | -1.7 | 0 | -350 | 0 | -70 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -3 | -20 | 0 | 0 | 0 | 9.5 | 0 | -3
04:15 - 04:30 | -1 | 0 | -1 | -1.7 | 0 | -350 | 0 | -70 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 8.93 | 0 | -3
04:30 - 04:45 | -1 | 0 | -1 | -1.8 | 0 | -350 | 0 | -70 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -3 | -10 | 0 | 0 | 0 | 0 | 0 | -3
04:45 - 05:00 | -1 | 0 | -1 | -1.8 | 0 | -350 | 0 | -70 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -3 | -30 | 0 | 0 | 0 | 0 | 0 | -3
05:00 - 05:15 | -1 | 0 | -1 | -1.8 | 0 | -350 | 0 | -70 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -3
05:15 - 05:30 | -1 | -6 | -1 | -1.8 | 0 | -350 | 0 | -70 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -3
05:30 - 05:45 | -1 | 0 | -1 | -1.8 | 0 | -450 | 0 | -70 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -3
05:45 - 06:00 | -1 | 0 | -1 | -1.8 | 0 | -600 | 0 | -70 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -3
06:00 - 06:15 | -1 | 0 | -1 | -1.8 | 0 | -400 | 0 | -70 | -0.1 | -0.1 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | -2.5 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5
06:15 - 06:30 | -1 | 0 | -1 | -1.8 | 0 | -400 | 0 | -70 | -0.2 | -0.2 | 0 | 0 | -0.1 | -10 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | -2.5 | -3 | -20 | 0 | 0 | 0 | 0 | 0 | -3.5
06:30 - 06:45 | -1 | 0 | -1 | -1.8 | 0 | -400 | 0 | -70 | -0.3 | -0.4 | 0 | 0 | -0.4 | -10 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | -2.5 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5
06:45 - 07:00 | -1 | 0 | -1 | -1.8 | 0 | -400 | 0 | -70 | -0.5 | -0.6 | 0 | 0 | -0.8 | -10 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | -2.5 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5
07:00 - 07:15 | -1 | -3 | -1 | -1.8 | 0 | -400 | 0 | -70 | -0.9 | -0.8 | 0 | -5 | -1.2 | -9.5 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | -2.5 | -3 | -20 | 0 | 0 | 0 | 0 | 0 | -4
07:15 - 07:30 | -1 | -3 | -1 | -1.8 | 0 | -400 | 0 | -70 | -1 | -0.9 | 0 | -5 | -1.5 | -9.5 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | -2.5 | -3 | -20 | 0 | 0 | 0 | 0 | 0 | -4
07:30 - 07:45 | -1 | 4.84 | -1 | -2 | 0 | -501.52 | 0 | 0 | -1.3 | -1 | 0 | -5 | -1.9 | -4 | 0 | -12 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -3 | -10 | 0 | 0 | 0 | 0 | 0 | -4
07:45 - 08:00 | -1 | 4.84 | -1 | -2 | 0 | -550.99 | 0 | 0 | -1.7 | -1.3 | 7.74 | -5 | -2.5 | -4 | 4.84 | -12 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -3 | 0 | 62.84 | 0 | 4.84 | 0 | 0 | -4
08:00 - 08:15 | -1 | 3.87 | -0.7 | -1.8 | 0 | -264.74 | 10.64 | 0 | -1.9 | -1.5 | 0 | -5 | -3 | 0 | 0 | -12 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -4
08:15 - 08:30 | -1 | 3.87 | -0.7 | -1.8 | 0 | -164.73 | 10.64 | 0 | -2 | -1.6 | 0 | -5 | -3.4 | 0 | 0 | -12 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -4
08:30 - 08:45 | -1 | 3.87 | -0.7 | -1.5 | 0 | -567.73 | 10.64 | 0 | -2.1 | -1.8 | 0 | -5 | -3.8 | 0 | 0 | -12 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -3 | -10 | 0 | 0 | 0 | 0 | 0 | -3
08:45 - 09:00 | -1 | -9 | -0.7 | -1.5 | 0 | -567.73 | 10.64 | 0 | -2.5 | -2 | 0 | -5 | -4.3 | 0 | 0 | -12 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -3 | -20 | 0 | 0 | 0 | 0 | 0 | -3
09:00 - 09:15 | -1 | 3.87 | -0.3 | 0 | 0 | -197.51 | 10.64 | 0 | -2.9 | -2.3 | 0 | -5 | -4.5 | 0 | 0 | -8 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -3
09:15 - 09:30 | -1 | 3.87 | -0.3 | 0 | 0 | -485.25 | 10.63 | 0 | -3 | -2.3 | 0 | -5 | -1.9 | 0 | 0 | -8 | 4.84 | 0 | 0 | -4 | 2.9 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -3
09:30 - 09:45 | -1 | 3.87 | -0.3 | 0 | 0 | -888.07 | 10.64 | 0 | -3.1 | -2.5 | 0 | -5 | 3.11 | 0 | 0 | -15 | 4.84 | 0 | 19.33 | -4 | 2.9 | 4.84 | 0 | -3 | 0 | 0 | 4.84 | 10.64 | 0 | 0 | -3
09:45 - 10:00 | -1 | 3.87 | -0.3 | 0 | 0 | -949.99 | 10.64 | 0 | -3.2 | -2.6 | 0 | -5 | 2.98 | 0 | 0 | -15 | 4.84 | 0 | 19.32 | -4 | 2.9 | 4.84 | 0 | -3 | 0 | 0 | 4.84 | 10.64 | 0 | 0 | -3
10:00 - 10:15 | -1 | 3.87 | -0.3 | 0 | 0 | -999.95 | 10.64 | 0 | 0 | -2.6 | 0 | -5 | 0 | 0 | 0 | -10 | 4.84 | 0 | 19.32 | -4 | 2.9 | 4.84 | 0 | -3 | 0 | 0 | 4.84 | 10.64 | 0 | 0 | -3
10:15 - 10:30 | -1 | -9 | -0.3 | 0 | 0 | -1003.36 | 10.64 | 0 | 0 | -2.4 | 0 | -5 | 0 | 0 | 0 | -10 | 4.84 | 0 | 19.33 | -4 | 2.9 | 4.84 | 0 | -3 | -20 | 0 | 4.84 | 10.64 | 0 | 0 | -3
10:30 - 10:45 | -1 | 3.87 | -0.3 | 0 | 0 | -1014.03 | 10.64 | 0 | 0 | -2.7 | 0 | -5 | 0 | 0 | 0 | -10 | 4.84 | 0 | 19.33 | -4 | 2.9 | 4.84 | 0 | -3 | 0 | 9.67 | 4.84 | 10.64 | 0 | 0 | -3
10:45 - 11:00 | -1 | 3.87 | -0.3 | 0 | 0 | -1016.97 | 10.64 | 0 | 0 | -3 | 0 | -5 | 0 | 0 | 0 | -10 | 4.84 | 0 | 19.33 | -4 | 2.9 | 4.84 | 0 | -3 | 0 | 9.67 | 4.84 | 10.64 | 0 | 0 | -3
11:00 - 11:15 | -1 | 3.87 | -0.3 | 0 | 0 | -987.49 | 10.64 | 0 | 0 | -3 | 0 | -5 | 0 | 0 | 0 | -10 | 4.84 | 0 | 19.33 | -5 | 2.9 | 4.84 | 0 | -3 | 0 | 9.67 | 4.84 | 10.64 | 0 | 0 | -4
11:15 - 11:30 | -1 | 3.87 | -0.3 | 0 | 0 | -994.01 | 10.64 | 0 | 0 | -3 | 0 | -5 | 0 | 0 | 0 | -10 | 4.84 | 0 | 19.33 | -5 | 2.9 | 4.84 | 0 | -3 | 0 | 9.67 | 4.84 | 10.64 | 0 | 0 | -4
11:30 - 11:45 | -1 | -9 | -0.3 | 0 | 0 | -999.25 | 10.64 | 0 | 0 | -2.9 | 0 | -5 | 0 | 0 | 0 | -10 | 4.84 | 3.87 | 19.33 | -5 | 2.9 | 4.84 | 0 | -3 | 0 | 9.67 | 0 | 10.64 | 0 | 0 | -4
11:45 - 12:00 | -1 | 3.87 | -0.3 | 0 | 0 | -999.27 | 10.64 | 0 | 0 | -2.7 | 0 | -5 | 0 | 0 | 0 | -10 | 4.84 | 3.87 | 19.33 | -5 | 2.9 | 4.84 | 0 | -3 | 0 | 9.67 | 0 | 10.64 | 0 | 0 | -4
12:00 - 12:15 | -1 | 3.87 | -0.3 | 0 | 0 | -1044.05 | 10.64 | 0 | 0 | -2.8 | 0 | -5 | 0 | 0 | 0 | -10 | 4.84 | 3.87 | 19.32 | -5 | 2.9 | 4.84 | 0 | -3 | -20 | 14.51 | 4.84 | 10.64 | 0 | 0 | -5
12:15 - 12:30 | -1 | 2.9 | -0.3 | 0 | 0 | -1044.05 | 10.64 | 0 | 0 | -3 | 0 | -5 | 0 | 0 | 0 | -10 | 4.84 | 3.87 | 19.32 | -5 | 2.9 | 4.84 | 0 | -3 | -15 | 14.51 | 4.84 | 10.64 | 0 | 0 | -5
12:30 - 12:45 | -1 | 3.87 | -0.3 | 0 | 0 | -984.21 | 10.64 | 0 | 0 | -2.8 | 0 | -5 | 0 | 0 | 0 | -10 | 4.84 | 3.87 | 19.34 | -5 | 2.9 | 4.84 | 0 | -3 | 0 | 0 | 4.84 | 10.64 | 0 | 103.46 | -5
12:45 - 13:00 | -1 | 3.87 | -0.3 | 0 | 0 | -978.52 | 10.64 | 0 | 0 | -2.8 | 0 | -5 | 0 | 0 | 0 | -10 | 4.84 | 3.87 | 19.34 | -5 | 2.9 | 4.84 | 0 | -3 | -10 | 0 | 4.84 | 10.64 | 0 | 154.72 | -5
13:00 - 13:15 | -1 | 4.84 | -0.3 | 0 | 0 | -1328 | 10.64 | 0 | 0 | -2.7 | 0 | -5 | 2.8 | 0 | 2.9 | -10 | 0 | 3.87 | 19.34 | -5 | 2.9 | 4.84 | 0 | -3 | -5 | 0 | 4.84 | 10.64 | 0 | 154.73 | -5
13:15 - 13:30 | -1 | 4.84 | -0.3 | 0 | 0 | -1185.51 | 10.64 | 0 | 0 | -2.5 | 0 | -5 | 3.09 | 0 | 2.9 | -10 | 0 | 3.87 | 19.34 | -5 | 2.9 | 4.84 | 0 | -3 | 0 | 0 | 4.84 | 10.64 | 0 | 154.73 | -5
13:30 - 13:45 | -1 | 4.84 | -0.6 | 0 | 0 | -1114.47 | 10.64 | 0 | 0 | -2.2 | 0 | -5 | 3.77 | 0 | 2.9 | -10 | 0 | 3.87 | 19.34 | -3 | 2.9 | 4.84 | 0 | -3 | -5 | 0 | 4.84 | 10.64 | 0 | 154.72 | -5
13:45 - 14:00 | -1 | 4.84 | -0.6 | 0 | 0 | -1220.33 | 10.64 | 0 | 0 | -2.1 | 0 | -5 | 4.06 | 0 | 2.9 | -10 | 0 | 3.87 | 19.34 | -3 | 2.9 | 4.84 | 0 | -3 | -20 | 0 | 4.84 | 10.64 | 0 | 154.72 | -5
14:00 - 14:15 | -1 | -3 | -0.6 | 0 | 0 | -1109.98 | 10.64 | 0 | 0 | -1.9 | 0 | -5 | 0 | 0 | 1.93 | -10 | 0 | 3.87 | 19.34 | -2 | 2.9 | 4.84 | 0 | -3 | -20 | 14.51 | 4.84 | 10.64 | 0 | 154.73 | -5
14:15 - 14:30 | -1 | -3 | -0.6 | 0 | 0 | -1024.26 | 10.64 | 0 | 0 | -1.8 | 0 | -5 | 0 | 0 | 1.93 | -10 | 0 | 3.87 | 19.34 | -2 | 2.9 | 4.84 | 0 | -3 | -20 | 14.51 | 0 | 10.64 | 0 | 154.73 | -5
14:30 - 14:45 | -1 | 4.84 | -0.6 | 0 | 0 | -637.27 | 10.64 | 0 | -2.4 | -1.5 | 0 | -5 | 0 | 0 | 2.9 | -10 | 0 | 3.87 | 0 | -2 | 2.9 | 4.84 | 0 | -3 | -10 | 9.67 | 0 | 0 | 0 | 154.73 | -5
14:45 - 15:00 | -1 | 4.84 | -0.6 | 0 | 0 | -500.66 | 10.64 | 0 | -2.2 | -1.3 | 0 | -5 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 154.73 | -5
15:00 - 15:15 | -1 | 4.84 | -0.6 | 0 | 0 | -329.7 | 10.64 | 0 | -1.9 | -1 | 0 | -5 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 103.47 | -5.5
15:15 - 15:30 | -1 | 4.84 | -0.6 | 0 | 0 | -150.01 | 8.13 | 0 | -1.7 | -0.7 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -20 | 0 | 0 | 0 | 0 | 51.26 | -5.5
15:30 - 15:45 | -1 | -8 | -0.6 | 0 | 0 | -307.36 | 0 | 0 | -1.4 | -0.5 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -10 | 0 | 0 | 0 | 0 | 0 | -4
15:45 - 16:00 | -1 | 4.84 | -0.6 | 0 | 0 | -306.58 | 0 | 0 | -1 | -0.3 | 0 | -5 | -1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -10 | 0 | 0 | 0 | 0 | 0 | -4
16:00 - 16:15 | -1 | -13 | -0.6 | 0 | 0 | -725.53 | 0 | 0 | -0.7 | -0.1 | 0 | -5 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -25 | 0 | 0 | 0 | 0 | 0 | -3.5
16:15 - 16:30 | -1 | -13 | -0.6 | 0 | 0 | -950.77 | 0 | 0 | -0.5 | 0 | 0 | -5 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -25 | 0 | 0 | 0 | 0 | 0 | -3.5
16:30 - 16:45 | -1 | -13 | -0.6 | -1.5 | 0 | -970.84 | 0 | 0 | -0.3 | 0 | 0 | -5 | -0.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5
16:45 - 17:00 | -1 | 0 | -0.6 | -1.5 | 0 | -950 | 0 | 0 | -0.2 | 0 | 0 | -5 | -0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5
17:00 - 17:15 | -1 | 0 | -0.6 | -1.5 | 0 | -700 | 0 | -20 | -0.1 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 6.61 | 0 | -3.5
17:15 - 17:30 | -1 | 0 | -0.6 | -1.5 | 0 | -550 | 0 | -20 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 4.57 | 0 | -3.5
17:30 - 17:45 | -1 | 0 | -0.6 | -1.5 | 0 | -500 | 0 | -20 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 1.6 | 0 | -3.5
17:45 - 18:00 | -1 | 0 | -0.6 | -1.5 | 0 | -300 | 0 | -20 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -3 | -25 | 0 | 0 | 0 | 39.1 | 0 | -3.5
18:00 - 18:15 | -1 | -3 | -0.6 | -1.7 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 125.51 | 0 | -4
18:15 - 18:30 | -1 | 0 | -0.6 | -1.7 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 109.28 | 0 | -4
18:30 - 18:45 | -1 | 0 | -0.6 | -1.7 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 47.34 | 0 | -4
18:45 - 19:00 | -1 | 0 | -0.6 | -1.7 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 47.34 | 0 | -4
19:00 - 19:15 | -1 | 0 | -0.6 | -1.7 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 77.5 | 0 | -4
19:15 - 19:30 | -1 | 0 | -0.6 | -1.7 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -3 | -15 | 0 | 0 | 0 | 72.04 | 0 | -4
19:30 - 19:45 | -1.2 | 0 | -0.6 | -1.7 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -3 | -30 | 0 | 0 | 0 | 79.88 | 0 | -4
19:45 - 20:00 | -1.2 | 0 | -0.6 | -1.7 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -3 | -10 | 0 | 0 | 0 | 78.7 | 0 | -4
20:00 - 20:15 | -1.2 | 0 | -0.6 | -1.7 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 84.92 | 0 | -4
20:15 - 20:30 | -1.2 | 0 | -0.6 | -1.7 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -3 | -20 | 0 | 0 | 0 | 81.84 | 0 | -4
20:30 - 20:45 | -1.2 | -7 | -0.6 | -1.7 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | -6.5 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -3 | -5 | 0 | 0 | 0 | 50.95 | 0 | -4
20:45 - 21:00 | -1.2 | 0 | -0.6 | -1.7 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | -6.5 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 47.52 | 0 | -4
21:00 - 21:15 | -1.2 | 0 | -0.6 | -1.7 | 0 | 0 | 0 | -40 | 0 | 0 | 0 | -6.5 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 82.31 | 0 | -4
21:15 - 21:30 | -1.2 | 0 | -0.6 | -1.7 | 0 | 0 | 0 | -40 | 0 | 0 | 0 | -6.5 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 70.26 | 0 | -4
21:30 - 21:45 | -1.2 | 0 | -0.6 | -1.7 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | -6.5 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 70.05 | 0 | -4
21:45 - 22:00 | -1.2 | 0 | -0.6 | -1.7 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | -6.5 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -3 | -20 | 0 | 0 | 0 | 65.82 | 0 | -4
22:00 - 22:15 | -1.2 | -3 | -0.6 | -1.7 | 0 | -50 | 0 | -30 | 0 | 0 | 0 | -6.5 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -3 | -20 | 0 | 0 | 0 | 82.4 | 0 | -4.5
22:15 - 22:30 | -1.2 | 0 | -0.6 | -1.7 | 0 | -50 | 0 | -30 | 0 | 0 | 0 | -6.5 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 77.75 | 0 | -4.5
22:30 - 22:45 | -1.2 | 0 | -0.6 | -1.7 | 0 | -50 | 0 | -30 | 0 | 0 | 0 | -6.5 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 49.21 | 0 | -4.5
22:45 - 23:00 | -1.2 | 0 | -0.6 | -1.7 | 0 | -50 | 0 | -30 | 0 | 0 | 0 | -6.5 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 48.44 | 0 | -4.5
23:00 - 23:15 | -1.2 | 0 | -0.6 | -1.6 | 0 | -75 | 0 | -30 | 0 | 0 | 0 | -6.5 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -3 | -20 | 0 | 0 | 0 | 43.8 | 0 | -4.5
23:15 - 23:30 | -1.2 | -6 | -0.6 | -1.6 | 0 | -75 | 0 | -30 | 0 | 0 | 0 | -6.5 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -3 | -20 | 0 | 0 | 0 | 44.75 | 0 | -4.5
23:30 - 23:45 | -1.2 | 0 | -0.6 | -1.7 | 0 | -100 | 0 | -30 | 0 | 0 | 0 | -6.5 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 51.5 | 0 | -4.5
23:45 - 24:00 | -1.2 | 0 | -0.6 | -1.7 | 0 | -100 | 0 | -30 | 0 | 0 | 0 | -6.5 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 55.01 | 0 | -4.5
Average | -1.0375 | -0.10229 | -0.68125 | -1.1708 | -0.875 | -416.0384 | 3.2987 | -32.9167 | -0.40729 | -0.77292 | 0.080625 | -3.7604 | -0.14885 | -1.7292 | 0.24167 | -3.7292 | 0.75625 | 0.52406 | 4.0275 | -3.3333 | 0.66458 | 1.0588 | -0.15625 | -2.875 | -8.125 | 1.9643 | 0.85708 | 2.2671 | 25.054 | 17.1951 | -3.8021