## POWER STATUS
POWER STATUS ON DT 06.10.2026
[9 empty] | 2026-10-06 | 2026-10-05
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 5:00 | 20:00
Demand -> | [8 empty] | 6135.8325 | 6735.3453
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla [Gate-L-0 , R-0] | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 228.75 | 5.49 | 630/590 ft | 629.69 | 630 | 630 | 262.3434 | 252.2868
| Chiplima | 72(3x24) | 61.96 | 1.487 | - |  |  |  | 66.2587 | 63.2992
| Balimela | 510(6x60+2x75) | 258.38 | 6.2011 | 1516/1440 ft | 1502.7 | 1504 | 1504.2 | 57.9315 | 376.7335
| Rengali | 250(5x50) | 245.55 | 5.8932 | 123.5/109.75 mt | 123.58 | 123.75 | 123.68 | 251.3989 | 252.952
| Upper Kolab | 320(4x80) | 124.38 | 2.9851 | 858/844 mt | 857.1 | 855.96 | 855.95 | 177.927 | 229.899
| Upper Indravati [Gate-0] | 600(4x150) | 600.69 | 14.4166 | 642/625 mt | 640.92 | 641.5 | 641.45 | 604.5559 | 605.1606
| Machkund | 60(50% of(3x17+3x23)) | 24.5 | 0.588 | 2750/2685 ft | 2748.5 | 2746.6 | 2746.6 | 28.4172 | 21.0143
| Total Hydro | 2099.5 | 1544.21 | 37.061 |  |  |  |  | 1448.8325 | 1801.3453
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1048.45 | 25.1628 | RENEWABLE ENERGY (RE) |  |  |  | 1066 | 1044
[5 empty] | M.Hydl | 79.35
| Total Thermal | 2200 | 1048.45 | 25.1628 | Solar | 142.6 |  |  | 1066 | 1044
IPP | VEDANTA #2 | 600 (1x600) | 483.52 | 11.6045 | Total IPPs | Yesterday's Demand Profile |  |  | 561.3672 | 556.4053
| GMR #3 | 350 (1x350) | 0 | 0 | 583.76 |  | MW | HRS | -0.12479 | -0.11827
| NBVL(IPP) | 60(1x60) | 54.06 | 1.2974 |  |  |  |  | 54.1172 | 53.8189
| MDTPC |  | 46.18 | 1.1083 |  |  |  |  | 55.7649 | 55.79
| CGPs |  | 942.19 | 22.6126 | IPPs, CGPs & RE | Maximum | 7160 | 15:00 | 1838 | 1661
| Central Sector(Drawl) |  | 2024.5477 | 48.5891 | 1747.9 | Minimum | 5749 | 06:00 | 1783 | 2229
| Central Sector(Sch) |  | 1968.1411 | 47.2354 |  | Average | 6365.1077 |  | 2041 | 1820
| Grand Total |  | 6365.1077 | 152.7626 | Instantaneous Peak demand |  | 7286.1328 | 46300.6375 | 6135.8325 | 6735.3453
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(2) |  | ACTUAL |  | SCHEDULE(1)
Burla | NIL | IbTPS / OPGC | 4 |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1793.7111 | 43.0491 | 1752 | 42.048 | 1756.9421 | 42.1666
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 2322.7392 | 55.7457 | 2306 | 55.344 | 2054.1905 | 49.3006
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1486.9418 | 35.6866 | 1486 | 35.664 | 1510.4088 | 36.2498
U.Kolab | 2 | KAHALGAON | 6 | TPSODL | 624.6825 | 14.9924 | 624 | 14.976 | 619.3264 | 14.8638
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 6228.0746 | 149.4738 | 6168 | 148.032 | 5940.8677 | 142.5808
Machhkund | 4,5,6 | Darlipali | 1
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 396 | GMR |  |  |  | 0
| NBVL #3 | 54 | MDTPC |  |  |  | 34
Mini Hydel: | MEENAKSHI | 0 | OPCL |  |  |  | 0
| BTPL | 28 | SAPTADHARA |  |  |  | 12
| SNHEP | 32 | KAKATIYA |  |  |  | 8
Solar: |  | 363
CGPs : | JSPL (Angul) | 432.1263 | JSL(Duburi) |  |  |  | -136.485
| ICCL | 54.823 | visa |  |  |  | 12.3803
| NALCO | -117.4701 | VAL (CGP) |  |  |  | -254.1362
| RSP | -20.4704 | BSL(MMDL) |  |  |  | 51.0454
| INDAL | 2.9195 | ADITYA ALUMINIUM |  |  |  | 58.9389
| NINL | -25.0866 | VAL CPP 400 kV |  |  |  | -701.1859
| NBVL | 54.1044 | Arati |  |  |  | -1.8041e-16
| BPSL(JSG) | -67.8452 | BPPL |  |  |  | 117.6056
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-09-28 | 2026-09-29 | 2026-09-30 | 2026-10-01 | 2026-10-02 | 2026-10-03 | 2026-10-04 | 2026-10-05
1275.6415 | 1403.6734 | 1350.5371 | 1358.778 | 1420.25 | 1444.7416 | 1404.7308 | 1544.21
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.05.10.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | ARYAN_ISPAT | DNHDDPDCL | -5 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0.49
ENVIROCARE_INFRA | BALCO_LOAD | -6.5 | ENVIROCARE_INFRA | DNHDDPDCL | -5 | AGE26AL_PSS6_KPS1_S | ODISHA | 126.15
ENVIROCARE_INFRA | BALCO_LOAD | -6.5 | FACORPOWER | BYPL | -14 | AP41PL_BHDL | ODISHA | 57.43
FACORPOWER | APCPDCL | -6.25 | GMRKEL_STU | RUVITSL | 0 | AP43PL_BKN | ODISHA | 89.18
FACORPOWER | PUNJAB | -1.88 | JPIPL | TANGEDCO | -13.2 | AWEK1L | ODISHA | 5.56
GMRKEL_STU | RUVITSL | 0 | JSPLANGUL | TANGEDCO | -50 | AWEK1L | ODISHA | 8.34
GMRKEL_STU | TNEB | 0 | JSPLANGUL | TANGEDCO | -100 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 3.94
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | KCMW_od | DALCEMAP | -1.77 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 15.35
JSPLANGUL | GEB_Beneficiary | -100 | KCMW_od | SFLPondyHEX288 | -0.47 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 17.96
JSPLANGUL | GEB_Beneficiary | -125 | KCMW_od | SFLPondyHWF407 | -0.7 | CPTTNPL | VLSEZ | 14.08
MAADURGA_THERMAL | NPCL_UP | -17.26 | NBVLIPP | BYPL | -46 | DADRI_SOLAR | ODISHA | 0.73
NBVLIPP | TANGEDCO | 0 | NPSRL | TPL_DIS_SUR | -4 | ENERSON_SOLAR_10MW | ODISHA | 1.19
OCL_IRON_STEEL | TPL_DIS_AHM_ISTS | -47.5 | OCL_IRON_STEEL | WBSEDCL | -10 | GADAG_GreenInfra_W | ODISHA | 0
ORSISL | BALCO_LOAD | -3.5 | ODISHA | WBSEDCL | -50 | GADAG_GreenInfra_W | ODISHA | 0
FARIDABAD_SOLAR | ODISHA | 0.86 | ODISHA | WBSEDCL | -50 | GADAG_GreenInfra_W | ODISHA | 0.12
JSWEL_UTKAL | ODISHA | 53.15 | ORSISL | DNHDDPDCL | -3 | GADAG_Serentica3_S | VLSEZ | 36.25
RAJ_SOLAR | ODISHA | 2.41 | RSPL_JHARSUGUDA | DNHDDPDCL | -20 | GADAG_Serentica3_W | VLSEZ | 6.68
|  |  | SGML | TPL_DIS_SUR | -7 | GIWEL_SECI_II_RE | ODISHA | 22.94
|  |  | SMEL | DNHDDPDCL | -25 | GPCL_SOLAR_10 | ODISHA | 1.02
|  |  | SMEL | TPL_DIS_SUR | -5 | GSECL_SOLAR | ODISHA | 2.05
|  |  | Shri_JSPL | KRCIPPL | -2 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 2.06
|  |  | Shri_JSPL | TPL_DIS_SUR | -2.5 | KARUR_TPVARDHAMAN_W | TSKPO | 13.82
|  |  | TSBSLA | DNHDDPDCL | -10 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.01
|  |  | VIRAJ_SEPL | TANGEDCO | -10 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | VSL | DNHDDPDCL | -10 | Kurnool_Greenko_H_Inj | ADITYAAL | 9.03
|  |  | Assam_Ben | VLSEZ | 82.45 | NTPCRE1_SMND_BHJ2_W | ODISHA | 3.31
|  |  | Assam_Ben | VLSEZ | 49.15 | O2RE3PL_Wasi_klm_W | VLSEZ | 1.51
|  |  | Assam_Ben | VLSEZ | 134.4 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 0
|  |  | Assam_Ben | VLSEZ | 90.47 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0.08
|  |  | Assam_Ben | VL_CPP_1215 | 40.12 | OKWPL_RE | ODISHA | 10.97
|  |  | Darlipali_NTPC | ODISHA | 30.07 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 6.14
|  |  | GMRKEL | VLSEZ | 3.95 | RWE_AP2_SECI_III | ODISHA | 8.24
|  |  | JIPL | ODISHA | 115.55 | RenewGreen_SLPR_HS | JSL_DUBURI | 15.36
|  |  | LPPL_CSEB | VLSEZ | 7.22 | SRI9PL_FTG3 | VLSEZ | 115.72
|  |  | MYTRAHVAYU | VLSEZ | 10.71 | TPVSL_BKN3 | TSKPO | 15.02
|  |  | NALCOAP | NACL_Odisha | 2.13 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.1
|  |  | PONDY | VLSEZ | 22.96 | TSESOPL_BKN2 | OPL_CUTTAK | 0.12
|  |  | VIPL_CSEB | VLSEZ | 4.81 | Tuticorin_BETAMWIND | ODISHA | 9.29
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 8.11
[6 empty] | XXPPL_FTG3 | ODISHA | 86.22

## DAM
DAM TRADING DETAILS FOR DT : 05.10.2026
Time Period | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | MGM_Minerals_Ltd | Nav_Bharat_ventures_Ltd | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 1 | -1.2 | -2 | 3.22
00:15 - 00:30 | 0 | 1.11 | -1.2 | -2 | 3.53
00:30 - 00:45 | 0 | 1.13 | -1.2 | -2 | 3.61
00:45 - 01:00 | 0 | 1.15 | -1.2 | -2 | 3.66
01:00 - 01:15 | 0 | 1.47 | -1.2 | -2 | 4.72
01:15 - 01:30 | 0 | 1.24 | -1.2 | -2 | 3.97
01:30 - 01:45 | 0 | 1.44 | -1.2 | -2 | 4.63
01:45 - 02:00 | 0 | 1.6 | -1.2 | -2 | 5.13
02:00 - 02:15 | 0 | 3.24 | -1.2 | -2 | 10.39
02:15 - 02:30 | 0 | 3.67 | -1.2 | -2 | 11.75
02:30 - 02:45 | 0 | 4.51 | -1.2 | -2 | 14.43
02:45 - 03:00 | 0 | 5.44 | -1.2 | -2 | 17.42
03:00 - 03:15 | 0 | 0 | -1.2 | -2 | 9.05
03:15 - 03:30 | 0 | 0 | -1.2 | -2 | 10.49
03:30 - 03:45 | 0 | 0 | -1.2 | -2 | 12.05
03:45 - 04:00 | 0 | 0 | -1.2 | -2 | 12.24
04:00 - 04:15 | 0 | 0 | -1.2 | -2 | 8.69
04:15 - 04:30 | 0 | 0 | -1.2 | -2 | 7.93
04:30 - 04:45 | 0 | 0 | -1.2 | -2 | 6.46
04:45 - 05:00 | 0 | 0 | -1.2 | -2 | 6.07
05:00 - 05:15 | 0 | 0 | -1.2 | -2 | 4.31
05:15 - 05:30 | 0 | 0 | -1.2 | -2 | 3.99
05:30 - 05:45 | 0 | 0 | -1.2 | -2 | 0
05:45 - 06:00 | 0 | 0 | -1.2 | -2 | 1.61
06:00 - 06:15 | -25.5 | -200 | -1.2 | -2 | 3.31
06:15 - 06:30 | -25.5 | -200 | -1.2 | -2 | 7.81
06:30 - 06:45 | -25.5 | -200 | -1.2 | -2 | 11.21
06:45 - 07:00 | -25.5 | -200 | -1.2 | -2 | 14.62
07:00 - 07:15 | -25.5 | -500 | -1.2 | -2 | 34.26
07:15 - 07:30 | -25.5 | -500 | -1.2 | -2 | 53.64
07:30 - 07:45 | -25.5 | -500 | -1.2 | -2 | 0
07:45 - 08:00 | -25.5 | -500 | -1.2 | -2 | 0
08:00 - 08:15 | 0 | -875 | -1.2 | -1 | 0
08:15 - 08:30 | 0 | -875 | -1.2 | -1 | 0
08:30 - 08:45 | 0 | -725 | -1.2 | -1 | 0
08:45 - 09:00 | 0 | -725 | -1.2 | -1 | 0
09:00 - 09:15 | 0 | -1125 | -1.2 | -1 | 0
09:15 - 09:30 | 0 | -1125 | -1.2 | -1 | 0
09:30 - 09:45 | 0 | -1089.81 | -1.2 | -1 | 0
09:45 - 10:00 | 0 | -992.08 | -1.2 | -1 | 0
10:00 - 10:15 | 0 | -1175 | -1.2 | -1 | 0
10:15 - 10:30 | 0 | -1175 | -1.2 | -1 | 0
10:30 - 10:45 | 0 | -1175 | -1.2 | -1 | 0
10:45 - 11:00 | 0 | -1175 | -1.2 | -1 | 0
11:00 - 11:15 | 0 | -1125 | -1.2 | -1 | 0
11:15 - 11:30 | 0 | -1125 | -1.2 | -1 | 0
11:30 - 11:45 | 0 | -1125 | -1.2 | -1 | 0
11:45 - 12:00 | 0 | -1125 | -1.2 | -1 | 0
12:00 - 12:15 | 0 | -877.57 | -1.2 | -1 | 0
12:15 - 12:30 | 0 | -845.63 | -1.2 | -1 | 0
12:30 - 12:45 | 0 | -843.86 | -1.2 | -1 | 0
12:45 - 13:00 | 0 | -843.99 | -1.2 | -1 | 0
13:00 - 13:15 | 0 | -807.34 | -1.2 | -1 | 0
13:15 - 13:30 | 0 | -806.5 | -1.2 | -1 | 0
13:30 - 13:45 | 0 | -807.81 | -1.2 | -1 | 0
13:45 - 14:00 | 0 | -1000 | -1.2 | -1 | 0
14:00 - 14:15 | 0 | -825 | -1.2 | -1 | 0
14:15 - 14:30 | 0 | -825 | -1.2 | -1 | 0
14:30 - 14:45 | 0 | -825 | -1.2 | -1 | 0
14:45 - 15:00 | 0 | -825 | -1.2 | -1 | 0
15:00 - 15:15 | 0 | -550 | -1.2 | -2 | 0
15:15 - 15:30 | 0 | -550 | -1.2 | -2 | 0
15:30 - 15:45 | 0 | -550 | -1.2 | -2 | 0
15:45 - 16:00 | 0 | -550 | -1.2 | -2 | 0
16:00 - 16:15 | -25.5 | -350 | -1.2 | -2 | 0
16:15 - 16:30 | -25.5 | -300 | -1.2 | -2 | 0
16:30 - 16:45 | -25.5 | -200 | -1.2 | -2 | 0
16:45 - 17:00 | -25.5 | -150 | -1.2 | -2 | 0
17:00 - 17:15 | -25.5 | -50 | -1.2 | -2 | 12.59
17:15 - 17:30 | -25.5 | -50 | -1.2 | -2 | 13.23
17:30 - 17:45 | -25.5 | 0 | -1.2 | -2 | 7.68
17:45 - 18:00 | -25.5 | 0 | -1.2 | -2 | 1.69
18:00 - 18:15 | 0 | 3.17 | -1.2 | -2 | 1.49
18:15 - 18:30 | 0 | 0.19 | -1.2 | -2 | 0.09
18:30 - 18:45 | 0 | 0.27 | -1.2 | -2 | 0.07
18:45 - 19:00 | 0 | 0.02 | -1.2 | -2 | 0
19:00 - 19:15 | 0 | 0.5 | -1.2 | -2 | 0.12
19:15 - 19:30 | 0 | 0 | -1.2 | -2 | 0
19:30 - 19:45 | 0 | 0.47 | -1.2 | -2 | 0.11
19:45 - 20:00 | 0 | 0.05 | -1.2 | -2 | 0.01
20:00 - 20:15 | 0 | 0.38 | -1.2 | -2 | 0.09
20:15 - 20:30 | 0 | 0.75 | -1.2 | -2 | 0.16
20:30 - 20:45 | 0 | 0.81 | -1.2 | -2 | 0.18
20:45 - 21:00 | 0 | 0.85 | -1.2 | -2 | 0.19
21:00 - 21:15 | 0 | 0.8 | -1.2 | -2 | 0.18
21:15 - 21:30 | 0 | 0.64 | -1.2 | -2 | 0.14
21:30 - 21:45 | 0 | 0.4 | -1.2 | -2 | 0.09
21:45 - 22:00 | 0 | 0.45 | -1.2 | -2 | 0.11
22:00 - 22:15 | 0 | 0.35 | -1.2 | -2 | 0.08
22:15 - 22:30 | 0 | 0.1 | -1.2 | -2 | 0.02
22:30 - 22:45 | 0 | 0.64 | -1.2 | -2 | 0.14
22:45 - 23:00 | 0 | 0.82 | -1.2 | -2 | 0.18
23:00 - 23:15 | 0 | 1.95 | -1.2 | -2 | 0.42
23:15 - 23:30 | 0 | 2.14 | -1.2 | -2 | 0.47
23:30 - 23:45 | 0 | 3.24 | -1.2 | -2 | 0.71
23:45 - 24:00 | 0 | 3.47 | -1.2 | -2 | 0.75
Average | -4.25 | -342.8659 | -1.2 | -1.7083 | 3.4916

## GDAM
GDAM TRADING DETAILS FOR DT:05.10.2026
Time Period | GRIDCO | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | Jindal_Stainless_Limited_Duburi_Odisha | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 1.08 | 0 | 0 | 0 | 0 | 0 | 3.46
00:15 - 00:30 | 1.09 | 0 | 0 | 0 | 0 | 0 | 3.49
00:30 - 00:45 | 1.17 | 0 | 0 | 0 | 0 | 0 | 3.73
00:45 - 01:00 | 0.62 | 0 | 0 | 0 | 0 | 0 | 1.97
01:00 - 01:15 | 0.9 | 0 | 0 | 0 | 0 | 0 | 2.88
01:15 - 01:30 | 0.86 | 0 | 0 | 0 | 0 | 0 | 2.73
01:30 - 01:45 | 0.71 | 0 | 0 | 0 | 0 | 0 | 2.28
01:45 - 02:00 | 0.63 | 0 | 0 | 0 | 0 | 0 | 1.99
02:00 - 02:15 | 0.65 | 0 | 0 | 0 | 0 | 0 | 2.07
02:15 - 02:30 | 0.59 | 0 | 0 | 0 | 0 | 0 | 1.89
02:30 - 02:45 | 0.49 | 0 | 0 | 0 | 0 | 0 | 1.57
02:45 - 03:00 | 0.21 | 0 | 0 | 0 | 0 | 0 | 0.69
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.45
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0.22
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0.45
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0.34
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.05
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0.09
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0.07
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0.07
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.02
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0.07
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 1.29
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 2.26
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0 | 4.05
07:15 - 07:30 | 0 | 0 | 0 | 0 | 0 | 0 | 7.92
07:30 - 07:45 | 0 | 0 | 0 | 0 | 0 | 0 | 227.24
07:45 - 08:00 | 0 | 0 | 0 | 0 | 0 | 0 | 197.39
08:00 - 08:15 | 0 | 9.63 | 0 | 0 | 0 | 0 | 142.51
08:15 - 08:30 | 0 | 9.63 | 0 | 0 | 0 | 5.78 | 85.69
08:30 - 08:45 | 0 | 9.63 | 33.69 | 9.63 | 9.63 | 5.78 | 28.89
08:45 - 09:00 | 0 | 9.63 | 33.7 | 9.63 | 9.63 | 5.78 | 0
09:00 - 09:15 | 0 | 9.63 | 33.7 | 9.63 | 9.63 | 5.78 | 0
09:15 - 09:30 | 0 | 9.63 | 33.7 | 9.63 | 9.63 | 5.78 | 0
09:30 - 09:45 | 0 | 9.63 | 33.7 | 9.63 | 9.63 | 5.78 | 0
09:45 - 10:00 | 0 | 9.63 | 33.7 | 9.63 | 9.63 | 5.78 | 0
10:00 - 10:15 | 0 | 9.63 | 33.7 | 9.63 | 9.63 | 5.78 | 0
10:15 - 10:30 | 0 | 9.63 | 33.7 | 9.63 | 9.63 | 5.78 | 0
10:30 - 10:45 | 0 | 9.63 | 33.7 | 9.63 | 9.63 | 5.78 | 0
10:45 - 11:00 | 0 | 9.63 | 33.7 | 9.63 | 9.63 | 5.78 | 0
11:00 - 11:15 | 0 | 9.63 | 33.7 | 9.63 | 9.63 | 5.78 | 0
11:15 - 11:30 | 0 | 9.63 | 33.7 | 9.63 | 9.63 | 5.78 | 0
11:30 - 11:45 | 0 | 9.63 | 33.7 | 9.63 | 9.63 | 5.78 | 0
11:45 - 12:00 | 0 | 9.63 | 33.7 | 9.63 | 9.63 | 5.78 | 0
12:00 - 12:15 | 0 | 9.63 | 33.7 | 9.63 | 9.63 | 5.78 | 0
12:15 - 12:30 | 0 | 9.63 | 33.7 | 9.63 | 9.63 | 5.78 | 0
12:30 - 12:45 | 0 | 9.63 | 33.7 | 9.63 | 9.63 | 5.78 | 0
12:45 - 13:00 | 0 | 9.63 | 33.7 | 9.63 | 9.63 | 5.78 | 0
13:00 - 13:15 | 39.53 | 9.63 | 33.7 | 9.63 | 9.63 | 5.78 | 0
13:15 - 13:30 | 44.33 | 9.63 | 33.7 | 9.63 | 9.63 | 5.78 | 0
13:30 - 13:45 | 0 | 9.63 | 33.7 | 9.63 | 9.63 | 5.78 | 0
13:45 - 14:00 | 0 | 9.63 | 33.7 | 9.63 | 9.63 | 5.78 | 0
14:00 - 14:15 | 0 | 9.63 | 33.7 | 9.63 | 9.63 | 5.78 | 0
14:15 - 14:30 | 0 | 9.63 | 33.7 | 9.63 | 9.63 | 5.78 | 0
14:30 - 14:45 | 0 | 9.63 | 33.7 | 9.63 | 9.63 | 5.78 | 0
14:45 - 15:00 | 0 | 9.63 | 33.7 | 9.63 | 9.63 | 5.78 | 0
15:00 - 15:15 | 0 | 9.63 | 33.7 | 9.63 | 9.63 | 5.78 | 0
15:15 - 15:30 | 0 | 9.63 | 33.7 | 9.63 | 9.63 | 5.78 | 0
15:30 - 15:45 | 0 | 9.63 | 0 | 0 | 0 | 5.78 | 0
15:45 - 16:00 | 0 | 9.63 | 0 | 0 | 0 | 5.78 | 0
16:00 - 16:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:15 - 16:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:30 - 16:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:45 - 17:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | 0 | 0 | 0 | 8.46
17:15 - 17:30 | 0 | 0 | 0 | 0 | 0 | 0 | 10.54
17:30 - 17:45 | 0 | 0 | 0 | 0 | 0 | 0 | 10.97
17:45 - 18:00 | 0 | 0 | 0 | 0 | 0 | 0 | 3.42
18:00 - 18:15 | 5.04 | 0 | 0 | 0 | 0 | 0 | 2.38
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 1.92 | 0 | 0 | 0 | 0 | 0 | 0.46
18:45 - 19:00 | 0.21 | 0 | 0 | 0 | 0 | 0 | 0.05
19:00 - 19:15 | 3.48 | 0 | 0 | 0 | 0 | 0 | 0.83
19:15 - 19:30 | 2.8 | 0 | 0 | 0 | 0 | 0 | 0.65
19:30 - 19:45 | 3.97 | 0 | 0 | 0 | 0 | 0 | 0.92
19:45 - 20:00 | 3.81 | 0 | 0 | 0 | 0 | 0 | 0.88
20:00 - 20:15 | 5.9 | 0 | 0 | 0 | 0 | 0 | 1.33
20:15 - 20:30 | 5.51 | 0 | 0 | 0 | 0 | 0 | 1.23
20:30 - 20:45 | 4.85 | 0 | 0 | 0 | 0 | 0 | 1.08
20:45 - 21:00 | 4.48 | 0 | 0 | 0 | 0 | 0 | 1
21:00 - 21:15 | 4.17 | 0 | 0 | 0 | 0 | 0 | 0.93
21:15 - 21:30 | 3.6 | 0 | 0 | 0 | 0 | 0 | 0.8
21:30 - 21:45 | 3.57 | 0 | 0 | 0 | 0 | 0 | 0.8
21:45 - 22:00 | 3.25 | 0 | 0 | 0 | 0 | 0 | 0.72
22:00 - 22:15 | 3.27 | 0 | 0 | 0 | 0 | 0 | 0.72
22:15 - 22:30 | 3.23 | 0 | 0 | 0 | 0 | 0 | 0.71
22:30 - 22:45 | 3.14 | 0 | 0 | 0 | 0 | 0 | 0.69
22:45 - 23:00 | 3.08 | 0 | 0 | 0 | 0 | 0 | 0.68
23:00 - 23:15 | 3.08 | 0 | 0 | 0 | 0 | 0 | 0.67
23:15 - 23:30 | 3.1 | 0 | 0 | 0 | 0 | 0 | 0.67
23:30 - 23:45 | 3.11 | 0 | 0 | 0 | 0 | 0 | 0.68
23:45 - 24:00 | 3.14 | 0 | 0 | 0 | 0 | 0 | 0.68
Average | 1.8184 | 3.21 | 9.8291 | 2.8087 | 2.8087 | 1.8665 | 8.1367

## RTM
RTM TRADING DETAILS FOR DT: 05.10.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Limited_5MW_Solar_Power_Plant_Lokapada | MGM_Green_Energy_Ltd | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Jharsuguda | SMC_Power_Generation_Limited_Unit_II_PTC | Shri_Jagannath_Steels_&_Power_Ltd | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Visa_Chrome_Limited
00:00 - 00:15 | -1.2 | 0 | -1 | -1.7 | 0 | -300 | 0 | -30 | 0 | 0 | -1.5 | 0 | -3 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -1 | -30 | 0 | 0 | 0 | -4.5
00:15 - 00:30 | -1.2 | 0 | -1 | -1.7 | 0 | -300 | 0 | -30 | 0 | 0 | -1.5 | 0 | -3 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -1 | -10 | 0 | 0 | 18.79 | -4.5
00:30 - 00:45 | -1.2 | 0 | -1 | -1.7 | 0 | -300 | 0 | -30 | 0 | 0 | -1.5 | 0 | -3 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 70.71 | -4.5
00:45 - 01:00 | -1.2 | -7 | -1 | -1.7 | 0 | -300 | 0 | -30 | 0 | 0 | -1.5 | 0 | -3 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 73.15 | -4.5
01:00 - 01:15 | -1.2 | 0 | -1 | -1.7 | 0 | -299.99 | 0 | 0 | 0 | 0 | -1.5 | 0 | -3 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -1 | -30 | 0 | 0 | 79.98 | -4.5
01:15 - 01:30 | -1.2 | 0 | -1 | -1.7 | 0 | -300 | 0 | 0 | 0 | 0 | -1.5 | 0 | -3 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 83.44 | -4.5
01:30 - 01:45 | -1.2 | 0 | -1 | -1.7 | 0 | -300 | 0 | 0 | 0 | 0 | -1.5 | 0 | -3 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 124.5 | -4.5
01:45 - 02:00 | -1.2 | 0 | -1 | -1.7 | 0 | -400 | 0 | 0 | 0 | 0 | -1.5 | 0 | -3 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -1 | -20 | 0 | 0 | 127 | -4.5
02:00 - 02:15 | -1.2 | 0 | -1 | -1.7 | 0 | -400 | 0 | 0 | 0 | 0 | -1.5 | 0 | -3 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 117.22 | -4.5
02:15 - 02:30 | -1.2 | -7 | -1 | -1.7 | 0 | -300 | 0 | 0 | 0 | 0 | -1.5 | 0 | -3 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 119.16 | -4.5
02:30 - 02:45 | -1.2 | 0 | -1 | -1.7 | 0 | -299.99 | 0 | 0 | 0 | 0 | -1.5 | 0 | -3 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 48.28 | -4.5
02:45 - 03:00 | -1.2 | 0 | -1 | -1.7 | 0 | -500 | 0 | 0 | 0 | 0 | -1.5 | 0 | -3 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 47.09 | -4.5
03:00 - 03:15 | -1.2 | 0.29 | -1 | -1.6 | 0 | -500 | 0 | 0 | 0 | 0 | -1.5 | 0 | -3 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 43.31 | -4.5
03:15 - 03:30 | -1.2 | 0 | -1 | -1.6 | 0 | -400 | 0 | 0 | 0 | 0 | -1.5 | 0 | -3 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 41.94 | -4.5
03:30 - 03:45 | -1.2 | 0 | -1 | -1.6 | 0 | -400 | 0 | 0 | 0 | 0 | -1.5 | 0 | -3 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -1 | -20 | 0 | 0 | 47.45 | -4.5
03:45 - 04:00 | -1.2 | -7 | -1 | -1.6 | 0 | -400 | 0 | 0 | 0 | 0 | -1.5 | 0 | -3 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 40.82 | -4.5
04:00 - 04:15 | -1.2 | 0 | -1 | -1.6 | 0 | -500 | 0 | 0 | 0 | 0 | -1.5 | 0 | -3 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 18.11 | -4.5
04:15 - 04:30 | -1.2 | 0 | -1 | -1.6 | 0 | -500 | 0 | 0 | 0 | 0 | -1.5 | 0 | -3 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 16.03 | -4.5
04:30 - 04:45 | -1.2 | 0 | -1 | -1.7 | 0 | -500 | 0 | 0 | 0 | 0 | -1.5 | 0 | -3 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 6.62 | -4.5
04:45 - 05:00 | -1.2 | 0 | -1 | -1.7 | 0 | -600 | 0 | 0 | 0 | 0 | -1.5 | 0 | -3 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -4.5
05:00 - 05:15 | -1.2 | 0 | -1 | -1.6 | 0 | -350 | 0 | 0 | 0 | 0 | -1.5 | 0 | -3 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -4.5
05:15 - 05:30 | -1.2 | -14 | -1 | -1.6 | 0 | -300 | 0 | 0 | 0 | 0 | -1.5 | 0 | -3 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -4.5
05:30 - 05:45 | -1.2 | 0 | -1 | -1.6 | 0 | -350 | 0 | 0 | 0 | 0 | -1.5 | 0 | -3 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5
05:45 - 06:00 | -1.2 | 0 | -1 | -1.6 | 0 | -550 | 0 | 0 | 0 | 0 | -1.5 | 0 | -3 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5
06:00 - 06:15 | -1.2 | 0 | -1 | -1.6 | 0 | -550 | 0 | -30 | -0.1 | -0.1 | -1.5 | 0 | -10 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -3 | -1 | -10 | 0 | 0 | 0 | -4.5
06:15 - 06:30 | -1.2 | 0 | -1 | -1.6 | 0 | -450 | 0 | -30 | -0.2 | -0.2 | -1.5 | 0 | -10 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -3 | -1 | 0 | 0 | 0 | 0 | -4.5
06:30 - 06:45 | -1.2 | 0 | -1 | -1.7 | 0 | -450 | 0 | -30 | -0.3 | -0.4 | -1.5 | -0.4 | -10 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -3 | -1 | -10 | 0 | 0 | 0 | -4.5
06:45 - 07:00 | -1.2 | -7 | -1 | -1.7 | 0 | -550 | 0 | -30 | -0.5 | -0.6 | -1.5 | -0.9 | -10 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -3 | -1 | 0 | 0 | 0 | 0 | -4.5
07:00 - 07:15 | -1.2 | 0 | -1 | -1.7 | 0 | -350 | 0 | -30 | -0.9 | -0.8 | -1.5 | -1.2 | -9.5 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -4.5
07:15 - 07:30 | -1.2 | 0 | -1 | -1.7 | 0 | -450 | 0 | -30 | -1.1 | -0.9 | -1.5 | -1.6 | -9.5 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -1 | -10 | 0 | 0 | 0 | -4.5
07:30 - 07:45 | -1.2 | 0 | -1 | -1.7 | 0 | -550 | 0 | 0 | -1.4 | -1 | -1.5 | -1.9 | -4 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -1 | -15 | 0 | 0 | 0 | -4.5
07:45 - 08:00 | -1.2 | 0 | -1 | -1.7 | 0 | -600 | 0 | 0 | -1.7 | -1.3 | -1.5 | -2.6 | -4 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -4.5
08:00 - 08:15 | -1.2 | 4.81 | -1 | -1.8 | 0 | -222.52 | 0 | 0 | -2 | -1.5 | -1.5 | -3.1 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -1 | -10 | 0 | 0 | 0 | -4
08:15 - 08:30 | -1.2 | -9 | -1 | -1.8 | 0 | -280.54 | 0 | 0 | -2.2 | -1.6 | -1.5 | -3.4 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -1 | -5 | 0 | 0 | 0 | -4
08:30 - 08:45 | -1.2 | 4.81 | -1 | 0 | 0 | -292.51 | 0 | 0 | -2.3 | -1.8 | -1.5 | -4 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -4
08:45 - 09:00 | -1.2 | 4.81 | -1 | 0 | 0 | -121.61 | 0 | 0 | -2.6 | -2 | -1.5 | -4.3 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -1 | -20 | 0 | 0 | 0 | -4
09:00 - 09:15 | -1.2 | 4.81 | -1 | 0 | 0 | 32.13 | 0 | 0 | -2.9 | -2.3 | -1.5 | -4.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -15 | 0 | 0 | 0 | -3
09:15 - 09:30 | -1.2 | 4.81 | -1 | 0 | 0 | 89.9 | 0 | 0 | -3 | -2.3 | -1.5 | -4.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -3
09:30 - 09:45 | -1.2 | 2.89 | -1 | 0 | 0 | -489.92 | 0 | 0 | -3.1 | -2.5 | -1.5 | -5.1 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -2
09:45 - 10:00 | -1.2 | 2.89 | -1 | 0 | 0 | -689.98 | 0 | 0 | -3.2 | -2.6 | -1.5 | -2.7 | 0 | 0 | 0 | 0 | 0 | -5 | 1.93 | 4.33 | 0 | -1 | 0 | 0 | 0 | 0 | -2
10:00 - 10:15 | -1.2 | 4.81 | -1 | 0 | 0 | -550.02 | 5.79 | 0 | -3.2 | -2.8 | -1.5 | 0 | 0 | 0 | 3.79 | 3.85 | 0 | -5 | 1.52 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -3
10:15 - 10:30 | -1.2 | 4.81 | -1 | 0 | 0 | -550.03 | 5.79 | 0 | -3.2 | -2.8 | -1.5 | 0 | 0 | 0 | 3.09 | 3.85 | 0 | -5 | 1.23 | 0 | 0 | -1 | -20 | 0 | 0 | 0 | -3
10:30 - 10:45 | -1.4 | 5.78 | -1 | 0 | 0 | -611.04 | 5.78 | 0 | -3.5 | -2.9 | -1.5 | 0 | 0 | 0 | 0 | 3.85 | 0 | -5 | 0 | 4.33 | 0 | -1 | 0 | 0 | 0 | 0 | -3
10:45 - 11:00 | -1.4 | 5.78 | -1 | 0 | 0 | -485.5 | 5.78 | 0 | -3.5 | -3 | -1.5 | 0 | 0 | 0 | 0 | 3.85 | 0 | -5 | 0 | 4.33 | 0 | -1 | 0 | 0 | 0 | 0 | -3
11:00 - 11:15 | -1.4 | -9 | -1 | 0 | 0 | -345.54 | 5.78 | 0 | -3.7 | -3.1 | -1.5 | 0 | 0 | 2.89 | 4.81 | 3.85 | 12.52 | -3 | 1.93 | 4.33 | 0 | -1 | -5 | 24.08 | 4.81 | 0 | -4
11:15 - 11:30 | -1.4 | 5.78 | -1 | 0 | 0 | -352.49 | 5.78 | 0 | -3.9 | -3.1 | -1.5 | 0 | 0 | 2.89 | 4.81 | 3.85 | 0 | -3 | 1.93 | 4.33 | 0 | -1 | 0 | 24.07 | 0 | 0 | -4
11:30 - 11:45 | -1.4 | 7.71 | -1 | 0 | 0 | -309.04 | 0 | 0 | -3.7 | -3 | -1.5 | 0 | 0 | 2.89 | 4.81 | 3.85 | 0 | -3 | 1.93 | 4.33 | 0 | -1 | 0 | 0 | 0 | 0 | -4
11:45 - 12:00 | -1.4 | 7.71 | -1 | 0 | 0 | -325.6 | 0 | 0 | -3.7 | -2.9 | -1.5 | 0 | 0 | 0 | 0 | 3.85 | 0 | -3 | 0 | 4.33 | 0 | -1 | -30 | 0 | 0 | 0 | -4
12:00 - 12:15 | -1.4 | 7.71 | -1 | 0 | 0 | -490 | 0 | 0 | 0 | -2.9 | -2.5 | 0 | 0 | 0 | 4.81 | 3.85 | 0 | -2 | 1.93 | 4.33 | 0 | -1 | -30 | 0 | 0 | 0 | -4
12:15 - 12:30 | -1.4 | -9 | -1 | 0 | 0 | -485.72 | 0 | 0 | 0 | -2.8 | -2.5 | 0 | 0 | 2.89 | 4.81 | 3.85 | 0 | -2 | 1.93 | 4.33 | 0 | -1 | -30 | 0 | 0 | 0 | -4
12:30 - 12:45 | -1.4 | 7.71 | -1.4 | 0 | 0 | -539.93 | 0 | 0 | 0 | -2.8 | -2.5 | 0 | 0 | 0 | 4.81 | 3.85 | 0 | -2 | 1.93 | 4.33 | 0 | -1 | -35 | 0 | 0 | 0 | -4.5
12:45 - 13:00 | -1.4 | 7.71 | -1.4 | 0 | 0 | -539.51 | 0 | 0 | 0 | -2.8 | -2.5 | 0 | 0 | 2.89 | 4.81 | 3.85 | 0 | -2 | 1.93 | 4.33 | 0 | -1 | -35 | 0 | 0 | 0 | -4.5
13:00 - 13:15 | -1.4 | 7.71 | -1.4 | 0 | 0 | -680.58 | 0 | 0 | 0 | -2.7 | -2.5 | 0 | 0 | 2.89 | 4.81 | 3.85 | 0 | -2 | 1.93 | 4.33 | 0 | -1 | 0 | 0 | 0 | 0 | -5
13:15 - 13:30 | -1.4 | 7.71 | -1.4 | 0 | 0 | -559.01 | 0 | 0 | 0 | -2.5 | -2.5 | 0 | 0 | 2.89 | 4.81 | 3.85 | 0 | -2 | 1.93 | 4.33 | 0 | -1 | 0 | 0 | 0 | 0 | -5
13:30 - 13:45 | -1.6 | -9 | -1.4 | 0 | 0 | -360.04 | 0 | 0 | 0 | -2.2 | -2.5 | -2.1 | 0 | 2.89 | 4.81 | 3.85 | 0 | -2 | 1.93 | 4.33 | 0 | -1 | -25 | 0 | 0 | 0 | -5
13:45 - 14:00 | -1.6 | 7.7 | -1.4 | 0 | 0 | -179.6 | 0 | 0 | -2.9 | -2.1 | -2.5 | -4.3 | 0 | 0 | 0 | 3.85 | 0 | -2 | 0 | 0 | 0 | -1 | -25 | 0 | 0 | 0 | -5
14:00 - 14:15 | -1.4 | 7.7 | -1.4 | 0 | 0 | -473.67 | 5.78 | 0 | -2.7 | -1.9 | -2.5 | -4.3 | 0 | 0 | 0 | 6.74 | 0 | -2 | 0 | 0 | 0 | -1 | -40 | 0 | 0 | 0 | -4
14:15 - 14:30 | -1.4 | 7.7 | -1.4 | 0 | 0 | -275.36 | 0 | 0 | -2.5 | -1.8 | -2.5 | -3.7 | 0 | 0 | 0 | 6.74 | 0 | -2 | 0 | 0 | 0 | -1 | -40 | 0 | 0 | 0 | -4
14:30 - 14:45 | -1.6 | 7.7 | -1.4 | -1.5 | 0 | -471.67 | 0 | 0 | -2.4 | -1.5 | -2.5 | -3.5 | 0 | 0 | 0 | 6.74 | 0 | -2 | 0 | 0 | 0 | -1 | -10 | 0 | 0 | 0 | -4
14:45 - 15:00 | -1.6 | -9 | -1.4 | -1.5 | 0 | -380.12 | 0 | 0 | -2.2 | -1.3 | -2.5 | -3.3 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -4
15:00 - 15:15 | -1.6 | 0 | -1.4 | -1.6 | 0 | -384.44 | 0 | 0 | -1.9 | -1 | -2.5 | -3.1 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -1 | -15 | 0 | 0 | 63.55 | -5
15:15 - 15:30 | -1.6 | 0 | -1.4 | -1.6 | 0 | -312.5 | 0 | 0 | -1.7 | -0.7 | -2.5 | -2.5 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 72.22 | -5
15:30 - 15:45 | -1.6 | 0 | -1.4 | -1.6 | -25.5 | -275 | 0 | 0 | -1.4 | -0.5 | -2.5 | -2 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -1 | -10 | 0 | 0 | 142.13 | -5
15:45 - 16:00 | -1.6 | 0 | -1.4 | -1.6 | -25.5 | -150 | 0 | 0 | -1 | -0.3 | -2.5 | -1.7 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -1 | -35 | 0 | 0 | 122.08 | -5
16:00 - 16:15 | -1.6 | -9 | -1.4 | -1.6 | 0 | -300 | 0 | 0 | -0.7 | -0.1 | -2.5 | -1.3 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -1 | -10 | 0 | 0 | 202.29 | -3
16:15 - 16:30 | -1.6 | 0 | -1.4 | -1.6 | 0 | -450 | 0 | 0 | -0.5 | 0 | -2.5 | -0.9 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 105.79 | -3
16:30 - 16:45 | -1.6 | 0 | -1.4 | -1.7 | 0 | -300 | 0 | 0 | -0.3 | 0 | -2.5 | -0.5 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -1 | -15 | 0 | 0 | 96.06 | -3
16:45 - 17:00 | -1.6 | 0 | -1.4 | -1.7 | 0 | -250 | 0 | 0 | -0.2 | 0 | -2.5 | -0.1 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 87.22 | -3
17:00 - 17:15 | -1.6 | 0 | -1.4 | -1.8 | 0 | -300 | 0 | 0 | -0.1 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 129.55 | -3
17:15 - 17:30 | -1.6 | -9 | -1.4 | -1.8 | 0 | -100 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -1 | -10 | 0 | 0 | 121.39 | -3
17:30 - 17:45 | -1.6 | 0 | -1.4 | -1.7 | 0 | 20.45 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 85.25 | -3
17:45 - 18:00 | -1.6 | 0 | -1.4 | -1.7 | 0 | 35.95 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 65.45 | -3
18:00 - 18:15 | -1.6 | 0 | -1.4 | -1.8 | 0 | 38.52 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 21.61 | -4.5
18:15 - 18:30 | -1.6 | 0 | -1.4 | -1.8 | 0 | 15.66 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 8.87 | -4.5
18:30 - 18:45 | -1.6 | -7 | -1 | -1.8 | 0 | 11.56 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 6.73 | -4.5
18:45 - 19:00 | -1.6 | 0 | -1 | -1.8 | 0 | 11.44 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 6.41 | -4.5
19:00 - 19:15 | -1.5 | 0 | -1 | -1.8 | 0 | 13.65 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -1 | -20 | 0 | 0 | 7.68 | -4.5
19:15 - 19:30 | -1.5 | 0 | -1 | -1.8 | 0 | 11.17 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 6.29 | -4.5
19:30 - 19:45 | -1.5 | 0 | -1.4 | -1.8 | 0 | 7.35 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 4.72 | -4.5
19:45 - 20:00 | -1.5 | 0 | -1.4 | -1.8 | 0 | 8.36 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 5.39 | -4.5
20:00 - 20:15 | -1.5 | 0 | -1.4 | -1.8 | 0 | 8.08 | 0 | 0 | 0 | 0 | -2.5 | 0 | -3 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 4.1 | -4.5
20:15 - 20:30 | -1.5 | 0 | -1.4 | -1.8 | 0 | 9.5 | 0 | 0 | 0 | 0 | -2.5 | 0 | -3 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -1 | -10 | 0 | 0 | 4.8 | -4.5
20:30 - 20:45 | -1.5 | 0 | -1.4 | -1.7 | 0 | 14.83 | 0 | 0 | 0 | 0 | -2.5 | 0 | -3 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -1 | -10 | 0 | 0 | 7.5 | -4.5
20:45 - 21:00 | -1.5 | 0 | -1.4 | -1.7 | 0 | 13.38 | 0 | 0 | 0 | 0 | -2.5 | 0 | -3 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 6.78 | -4.5
21:00 - 21:15 | -1.4 | 0 | -1.4 | -1.7 | 0 | 20.82 | 0 | 0 | 0 | 0 | -2.5 | 0 | -3 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 10.47 | -4.5
21:15 - 21:30 | -1.4 | -7 | -1.4 | -1.7 | 0 | 21.95 | 0 | 0 | 0 | 0 | -2.5 | 0 | -3 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 10.95 | -4.5
21:30 - 21:45 | -1.4 | 0 | -1.4 | -1.7 | 0 | 18.97 | 0 | 0 | 0 | 0 | -2.5 | 0 | -3 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 9.39 | -5
21:45 - 22:00 | -1.4 | 0 | -1.4 | -1.7 | 0 | 20.58 | 0 | 0 | 0 | 0 | -2.5 | 0 | -3 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 10.17 | -5
22:00 - 22:15 | -1.4 | 0 | -1.4 | -1.7 | 0 | 28.64 | 0 | 0 | 0 | 0 | -2.5 | 0 | -2.7 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -1 | -20 | 0 | 0 | 14.48 | -5
22:15 - 22:30 | -1.4 | 0 | -1.4 | -1.7 | 0 | 29.91 | 0 | 0 | 0 | 0 | -2.5 | 0 | -2.7 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -1 | -20 | 0 | 0 | 15 | -5
22:30 - 22:45 | -1.4 | -7 | -1.4 | -1.7 | 0 | 23.44 | 0 | 0 | 0 | 0 | -2.5 | 0 | -2.7 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 11.76 | -5
22:45 - 23:00 | -1.4 | 0 | -1.4 | -1.7 | 0 | 21.73 | 0 | 0 | 0 | 0 | -2.5 | 0 | -2.7 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 10.73 | -5
23:00 - 23:15 | -1.4 | 0 | -1.4 | -1.7 | 0 | 25.81 | 0 | 0 | 0 | 0 | -2.5 | 0 | -2.7 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 37.2 | -5
23:15 - 23:30 | -1.4 | 0 | -1.4 | -1.7 | 0 | 26.42 | 0 | 0 | 0 | 0 | -2.5 | 0 | -2.7 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 37.3 | -5
23:30 - 23:45 | -1.4 | 0 | -1.4 | -1.7 | 0 | 32.91 | 0 | 0 | 0 | 0 | -2.5 | 0 | -2.7 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -1 | -50 | 0 | 0 | 41.43 | -5
23:45 - 24:00 | -1.4 | 0 | -1.4 | -1.7 | 0 | 6.67 | 0 | 0 | 0 | 0 | -2.5 | 0 | -2.7 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -1 | -50 | 0 | 0 | 40.75 | -5
Average | -1.3625 | 0.1651 | -1.175 | -1.2667 | -0.53125 | -276.7051 | 0.42167 | -3.125 | -0.79583 | -0.78542 | -2 | -0.76771 | -1.9229 | 0.24083 | 0.57271 | 0.85229 | 0.13042 | -3.2917 | 0.24979 | 0.63146 | -0.125 | -1 | -8.3854 | 0.50156 | 0.050104 | 28.7197 | -4.2604