## POWER STATUS
POWER STATUS ON DT 07.10.2026
[9 empty] | 2026-10-07 | 2026-10-06
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 23:00
Demand -> | [8 empty] | 6005.7601 | 6410.8975
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla [Gate-L-0 , R-0] | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 263.38 | 6.3211 | 630/590 ft | 629.69 | 630 | 629.97 | 275.9599 | 277.2824
| Chiplima | 72(3x24) | 65.17 | 1.5641 | - |  |  |  | 64.2605 | 65.9428
| Balimela | 510(6x60+2x75) | 177.04 | 4.249 | 1516/1440 ft | 1503 | 1504.2 | 1504.4 | 57.9027 | 377.7117
| Rengali | 250(5x50) | 240.86 | 5.7806 | 123.5/109.75 mt | 123.67 | 123.68 | 123.64 | 150.4553 | 247.0534
| Upper Kolab | 320(4x80) | 147.17 | 3.5321 | 858/844 mt | 857.09 | 855.95 | 855.94 | 3.0531e-16 | 235.8139
| Upper Indravati [Gate-0] | 600(4x150) | 602.46 | 14.459 | 642/625 mt | 640.95 | 641.45 | 641.38 | 492.4841 | 604.8664
| Machkund | 60(50% of(3x17+3x23)) | 26 | 0.624 | 2750/2685 ft | 2748.5 | 2746.6 | 2746.6 | 21.6977 | 21.1739
| Total Hydro | 2099.5 | 1522.08 | 36.5299 |  |  |  |  | 1062.7601 | 1829.8444
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1063.43 | 25.5223 | RENEWABLE ENERGY (RE) |  |  |  | 1058 | 1072
[5 empty] | M.Hydl | 79.33
| Total Thermal | 2200 | 1063.43 | 25.5223 | Solar | 150.82 |  |  | 1058 | 1072
IPP | VEDANTA #2 | 600 (1x600) | 394.785 | 9.4748 | Total IPPs | Yesterday's Demand Profile |  |  | 394.785 | 567.48
| GMR #3 | 350 (1x350) | 0 | 0 | 482.8938 |  | MW | HRS | -0.12361 | -0.11168
| NBVL(IPP) | 60(1x60) | 54.1995 | 1.3008 |  |  |  |  | 54.1995 | 54.5083
| MDTPC |  | 33.9093 | 0.81382 |  |  |  |  | 33.9093 | 55.6541
| CGPs |  | 871.2227 | 20.9093 | IPPs, CGPs & RE | Maximum |  | 15:00 | 1830 | 1718.1504
| Central Sector(Drawl) |  | 1842.5673 | 44.2216 | 1584.2665 | Minimum |  | 06:00 | 2055 | 1790.9027
| Central Sector(Sch) |  | 1953.2947 | 46.8791 |  | Average | 6012.3438 |  | 2027 | 1577.38
| Grand Total |  | 6012.3438 | 144.2963 | Instantaneous Peak demand |  | 6896.2852 | 46301.6417 | 6005.7601 | 6410.8975
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(2) |  | ACTUAL |  | SCHEDULE(1)
Burla | NIL | IbTPS / OPGC | 4 |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1770 | 42.48 | 1780.4368 | 42.7305 | 1755.9845 | 42.1436
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1828 | 43.872 | 2134.8792 | 51.2371 | 1514.741 | 36.3538
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1483 | 35.592 | 1474.7771 | 35.3946 | 1404.8077 | 33.7154
U.Kolab | 2 | KAHALGAON | 6 | TPSODL | 631 | 15.144 | 634.9806 | 15.2395 | 637.5492 | 15.3012
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5712 | 137.088 | 6025.0737 | 144.6018 | 5313.0824 | 127.514
Machhkund | 4,5,6 | Darlipali | 1
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 394 | GMR |  |  |  | 0
| NBVL #3 | 54 | MDTPC |  |  |  | 34
Mini Hydel: | MEENAKSHI | 21 | OPCL |  |  |  | 0
| BTPL | 28 | SAPTADHARA |  |  |  | 11
| SNHEP | 32 | KAKATIYA |  |  |  | 3
Solar: |  | 381
CGPs : | JSPL (Angul) | 396.2609 | JSL(Duburi) |  |  |  | -153.2754
| ICCL | 52.4402 | visa |  |  |  | 25.7112
| NALCO | -121.922 | VAL (CGP) |  |  |  | -208.7496
| RSP | -34.814 | BSL(MMDL) |  |  |  | 73.466
| INDAL | -1.7855 | ADITYA ALUMINIUM |  |  |  | 58.7273
| NINL | -31.5675 | VAL CPP 400 kV |  |  |  | -673.0449
| NBVL | 54.1995 | Arati |  |  |  | 19.0155
| BPSL(JSG) | -64.8013 | BPPL |  |  |  | 118.2979
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-09-29 | 2026-09-30 | 2026-10-01 | 2026-10-02 | 2026-10-03 | 2026-10-04 | 2026-10-05 | 2026-10-06
1403.6734 | 1350.5371 | 1358.778 | 1420.25 | 1444.7416 | 1404.7308 | 1544.21 | 1522.08
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.06.10.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | ARYAN_ISPAT | DNHDDPDCL | -5 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0.57
ENVIROCARE_INFRA | BALCO_LOAD | -6.5 | ENVIROCARE_INFRA | DNHDDPDCL | -5 | AGE26AL_PSS6_KPS1_S | ODISHA | 129.9
ENVIROCARE_INFRA | BALCO_LOAD | -6.5 | FACORPOWER | BYPL | -14 | AP41PL_BHDL | ODISHA | 57.29
FACORPOWER | APCPDCL | -6.25 | GMRKEL_STU | RUVITSL | 0 | AP43PL_BKN | ODISHA | 90.26
FACORPOWER | PUNJAB | -1.88 | JPIPL | TANGEDCO | -13.2 | AWEK1L | ODISHA | 3.34
GMRKEL_STU | RUVITSL | 0 | JSPLANGUL | TANGEDCO | -100 | AWEK1L | ODISHA | 5.01
GMRKEL_STU | TNEB | 0 | JSPLANGUL | TANGEDCO | -50 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 4.63
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | KCMW_od | SFLPondyHEX288 | -0.47 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 12.74
JSPLANGUL | GEB_Beneficiary | -100 | KCMW_od | SFLPondyHWF407 | -0.7 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 20.94
JSPLANGUL | GEB_Beneficiary | -125 | NBVLIPP | BYPL | -46 | CPTTNPL | VLSEZ | 3.13
MAADURGA_THERMAL | NPCL_UP | -17.26 | NPSRL | MBPL | -1 | DADRI_SOLAR | ODISHA | 0.69
NBVLIPP | TANGEDCO | 0 | NPSRL | TPL_DIS_SUR | -4 | ENERSON_SOLAR_10MW | ODISHA | 1.11
OCL_IRON_STEEL | TPL_DIS_AHM_ISTS | -51.5 | OCL_IRON_STEEL | WBSEDCL | -8.5 | GADAG_GreenInfra_W | ODISHA | 0
ORSISL | BALCO_LOAD | -3.5 | ODISHA | WBSEDCL | -50 | GADAG_GreenInfra_W | ODISHA | 0
RSPL_JHARSUGUDA | BRPL | -9.67 | ODISHA | WBSEDCL | -50 | GADAG_GreenInfra_W | ODISHA | 0.08
FARIDABAD_SOLAR | ODISHA | 0.86 | ORSISL | DNHDDPDCL | -3 | GADAG_Serentica3_S | VLSEZ | 37.7
JSWEL_UTKAL | ODISHA | 59.12 | RSPL_JHARSUGUDA | DNHDDPDCL | -20 | GADAG_Serentica3_W | VLSEZ | 11.05
RAJ_SOLAR | ODISHA | 2.41 | SGML | TPL_DIS_SUR | -7 | GIWEL_SECI_II_RE | ODISHA | 11.77
RAJ_SOLAR | ODISHA | 2.64 | SMEL | DNHDDPDCL | -25 | GPCL_SOLAR_10 | ODISHA | 1.09
|  |  | SMEL | TPL_DIS_SUR | -5 | GSECL_SOLAR | ODISHA | 1.91
|  |  | Shri_JSPL | TPL_DIS_SUR | -2.5 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 2.1
|  |  | TSBSLA | DNHDDPDCL | -10 | KARUR_TPVARDHAMAN_W | TSKPO | 18.66
|  |  | VIRAJ_SEPL | TANGEDCO | -10 | Kurnool_Greenko_H_Inj | ADITYAAL | 1.2
|  |  | VSL | DNHDDPDCL | -10 | Kurnool_Greenko_H_Inj | ADITYAAL | 5.47
|  |  | Assam_Ben | VLSEZ | 155.87 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.06
|  |  | Darlipali_NTPC | ODISHA | 20.66 | NTPCRE1_SMND_BHJ2_W | ODISHA | 1.83
|  |  | JIPL | ODISHA | 115.55 | O2RE3PL_Wasi_klm_W | VLSEZ | 4.32
|  |  | LPPL_CSEB | VLSEZ | 2.89 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 0
|  |  | MPSEB_Beneficiary | VLSEZ | 21.57 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0.08
|  |  | MYTRAHVAYU | VLSEZ | 12.38 | OKWPL_RE | ODISHA | 5.82
|  |  | NALCOAP | NACL_Odisha | 2.13 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 22.29
|  |  | North_Karanpura_STPS | ODISHA | 2.81 | RWE_AP2_SECI_III | ODISHA | 3.73
|  |  | TPC_MSEB | VLSEZ | 17.55 | RenewGreen_SLPR_HS | JSL_DUBURI | 15.61
|  |  | TPC_MSEB | VL_CPP_1215 | 32.6 | SRI9PL_FTG3 | VLSEZ | 113.86
|  |  | UPPCL | VLSEZ | 37.61 | TPVSL_BKN3 | TSKPO | 15.02
|  |  | UPPCL | VL_CPP_1215 | 40.62 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.11
|  |  | VIPL_CSEB | VLSEZ | 5.78 | TSESOPL_BKN2 | OPL_CUTTAK | 0.12
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 9.28
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 1.47
[6 empty] | XXPPL_FTG3 | ODISHA | 86.97

## DAM
DAM TRADING DETAILS FOR DT : 06.10.2026
Time Period | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | MGM_Minerals_Ltd | Nav_Bharat_ventures_Ltd | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0.41 | -1.2 | -2 | 0.27
00:15 - 00:30 | 0 | 0.85 | -1.2 | -2 | 0.55
00:30 - 00:45 | 0 | 1.43 | -1.2 | -2 | 0.91
00:45 - 01:00 | 0 | 1.8 | -1.2 | -2 | 1.15
01:00 - 01:15 | 0 | 1.73 | -1.2 | -2 | 1.39
01:15 - 01:30 | 0 | 1.93 | -1.2 | -2 | 1.53
01:30 - 01:45 | 0 | 2.22 | -1.2 | -2 | 1.77
01:45 - 02:00 | 0 | 2.34 | -1.2 | -2 | 1.88
02:00 - 02:15 | 0 | 14.29 | -1.2 | -2 | 12.67
02:15 - 02:30 | 0 | 15.2 | -1.2 | -2 | 13.48
02:30 - 02:45 | 0 | 17.11 | -1.2 | -2 | 15.17
02:45 - 03:00 | 0 | 18.78 | -1.2 | -2 | 16.65
03:00 - 03:15 | 0 | 8.06 | -1.2 | -2 | 25.81
03:15 - 03:30 | 0 | 9.56 | -1.2 | -2 | 30.6
03:30 - 03:45 | 0 | 10.87 | -1.2 | -2 | 34.79
03:45 - 04:00 | 0 | 12.62 | -1.2 | -2 | 40.39
04:00 - 04:15 | 0 | 10.34 | -1.2 | -2 | 14.72
04:15 - 04:30 | 0 | 10.44 | -1.2 | -2 | 14.87
04:30 - 04:45 | 0 | 9.15 | -1.2 | -2 | 13.03
04:45 - 05:00 | 0 | 8.46 | -1.2 | -2 | 12.07
05:00 - 05:15 | 0 | 0 | -1.2 | -2 | 13.02
05:15 - 05:30 | 0 | 0 | -1.2 | -2 | 12
05:30 - 05:45 | 0 | 0 | -1.2 | -2 | 0
05:45 - 06:00 | 0 | 0 | -1.2 | -2 | 7.42
06:00 - 06:15 | -25.5 | 0 | -1.2 | -2 | 5.52
06:15 - 06:30 | -25.5 | 0 | -1.2 | -2 | 14.57
06:30 - 06:45 | -25.5 | 0 | -1.2 | -2 | 19.24
06:45 - 07:00 | -25.5 | 0 | -1.2 | -2 | 20.09
07:00 - 07:15 | -25.5 | -250 | -1.2 | -2 | 0
07:15 - 07:30 | -25.5 | -200 | -1.2 | -2 | 0
07:30 - 07:45 | -25.5 | -150 | -1.2 | -2 | 0
07:45 - 08:00 | -25.5 | -125 | -1.2 | -2 | 0
08:00 - 08:15 | 0 | -875 | -1.2 | -2 | 0
08:15 - 08:30 | 0 | -875 | -1.2 | -2 | 0
08:30 - 08:45 | 0 | -875 | -1.2 | -2 | 0
08:45 - 09:00 | 0 | -875 | -1.2 | -2 | 0
09:00 - 09:15 | 0 | -1100 | -1.2 | -2 | 0
09:15 - 09:30 | 0 | -1004.09 | -1.2 | -2 | 0
09:30 - 09:45 | 0 | -950 | -1.2 | -2 | 0
09:45 - 10:00 | 0 | -942.81 | -1.2 | -2 | 0
10:00 - 10:15 | 0 | -991.1 | -1.2 | -1 | 0
10:15 - 10:30 | 0 | -1129.89 | -1.2 | -1 | 0
10:30 - 10:45 | 0 | -1150.21 | -1.2 | -1 | 0
10:45 - 11:00 | 0 | -1148.54 | -1.2 | -1 | 0
11:00 - 11:15 | 0 | -1118.21 | -1.2 | -1 | 0
11:15 - 11:30 | 0 | -1098.42 | -1.2 | -1 | 0
11:30 - 11:45 | 0 | -1075 | -1.2 | -1 | 0
11:45 - 12:00 | 0 | -1075 | -1.2 | -1 | 0
12:00 - 12:15 | 0 | -900 | -1.2 | -1 | 0
12:15 - 12:30 | 0 | -900 | -1.2 | -1 | 0
12:30 - 12:45 | 0 | -900 | -1.2 | -1 | 0
12:45 - 13:00 | 0 | -900 | -1.2 | -1 | 0
13:00 - 13:15 | 0 | -650 | -1.2 | -1 | 0
13:15 - 13:30 | 0 | -650 | -1.2 | -1 | 0
13:30 - 13:45 | 0 | -650 | -1.2 | -1 | 0
13:45 - 14:00 | 0 | -650 | -1.2 | -1 | 0
14:00 - 14:15 | 0 | -600 | -1.2 | -1 | 0
14:15 - 14:30 | 0 | -600 | -1.2 | -1 | 0
14:30 - 14:45 | 0 | -600 | -1.2 | -1 | 0
14:45 - 15:00 | 0 | -600 | -1.2 | -1 | 0
15:00 - 15:15 | 0 | -550 | -1.2 | -2 | 0
15:15 - 15:30 | 0 | -550 | -1.2 | -2 | 0
15:30 - 15:45 | -25.5 | -500 | -1.2 | -2 | 0
15:45 - 16:00 | -25.5 | -400 | -1.2 | -2 | 0
16:00 - 16:15 | -25.5 | -275 | -1.2 | -2 | 0
16:15 - 16:30 | -25.5 | -200 | -1.2 | -2 | 0
16:30 - 16:45 | -25.5 | -100 | -1.2 | -2 | 0
16:45 - 17:00 | -25.5 | 0 | -1.2 | -2 | 30.31
17:00 - 17:15 | -25.5 | 0 | -1.2 | -2 | 26.75
17:15 - 17:30 | -25.5 | 0 | -1.2 | -2 | 22.84
17:30 - 17:45 | -25.5 | 0 | -1.2 | -2 | 18.82
17:45 - 18:00 | -25.5 | 0 | -1.2 | -2 | 7.14
18:00 - 18:15 | 0 | 1.25 | -1.2 | -2 | 1.53
18:15 - 18:30 | 0 | 0.37 | -1.2 | -2 | 0.45
18:30 - 18:45 | 0 | 2.11 | -1.2 | -2 | 1.35
18:45 - 19:00 | 0 | 0.14 | -1.2 | -2 | 0.1
19:00 - 19:15 | 0 | 0.06 | -1.2 | -2 | 0.04
19:15 - 19:30 | 0 | 0.43 | -1.2 | -2 | 0.28
19:30 - 19:45 | 0 | 2.5 | -1.2 | -2 | 1.61
19:45 - 20:00 | 0 | 5.25 | -1.2 | -2 | 3.35
20:00 - 20:15 | 0 | 5.36 | -1.2 | -2 | 3.43
20:15 - 20:30 | 0 | 4.08 | -1.2 | -2 | 2.61
20:30 - 20:45 | 0 | 4.71 | -1.2 | -2 | 3.01
20:45 - 21:00 | 0 | 4.22 | -1.2 | -2 | 2.71
21:00 - 21:15 | 0 | 4.31 | -1.2 | -2 | 2.75
21:15 - 21:30 | 0 | 3.85 | -1.2 | -2 | 2.47
21:30 - 21:45 | 0 | 3.18 | -1.2 | -2 | 2.03
21:45 - 22:00 | 0 | 2.55 | -1.2 | -2 | 1.64
22:00 - 22:15 | 0 | 0.8 | -1.2 | -2 | 0.51
22:15 - 22:30 | 0 | 0.01 | -1.2 | -2 | 0.01
22:30 - 22:45 | 0 | 0.99 | -1.2 | -2 | 0.64
22:45 - 23:00 | 0 | 0.72 | -1.2 | -2 | 0.46
23:00 - 23:15 | 0 | 1.05 | -1.2 | -2 | 0.66
23:15 - 23:30 | 0 | 0.66 | -1.2 | -2 | 0.41
23:30 - 23:45 | 0 | 1.38 | -1.2 | -2 | 0.89
23:45 - 24:00 | 0 | 1.1 | -1.2 | -2 | 0.7
Average | -4.7812 | -291.4021 | -1.2 | -1.7917 | 5.0527

## GDAM
GDAM TRADING DETAILS FOR DT:06.10.2026
Time Period | GRIDCO | IOCL_Paradeep_Refinery | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | Jindal_Stainless_Limited_Duburi_Odisha | MSP_Sponge_Iron_Limited_Odisha | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 2.94 | 0 | 0 | 0 | 0 | 0 | 0 | 3.14
00:15 - 00:30 | 3.15 | 0 | 0 | 0 | 0 | 0 | 0 | 3.36
00:30 - 00:45 | 3.09 | 0 | 0 | 0 | 0 | 0 | 0 | 3.29
00:45 - 01:00 | 3.11 | 0 | 0 | 0 | 0 | 0 | 0 | 3.32
01:00 - 01:15 | 2.05 | 0 | 0 | 0 | 0 | 0 | 0 | 3.28
01:15 - 01:30 | 1.92 | 0 | 0 | 0 | 0 | 0 | 0 | 3.06
01:30 - 01:45 | 1.81 | 0 | 0 | 0 | 0 | 0 | 0 | 2.9
01:45 - 02:00 | 1.69 | 0 | 0 | 0 | 0 | 0 | 0 | 2.7
02:00 - 02:15 | 3.35 | 0 | 0 | 0 | 0 | 0 | 0 | 6.7
02:15 - 02:30 | 3.24 | 0 | 0 | 0 | 0 | 0 | 0 | 6.47
02:30 - 02:45 | 3.09 | 0 | 0 | 0 | 0 | 0 | 0 | 6.18
02:45 - 03:00 | 2.84 | 0 | 0 | 0 | 0 | 0 | 0 | 5.68
03:00 - 03:15 | 1.61 | 0 | 0 | 0 | 0 | 0 | 0 | 5.14
03:15 - 03:30 | 1.43 | 0 | 0 | 0 | 0 | 0 | 0 | 4.6
03:30 - 03:45 | 1.32 | 0 | 0 | 0 | 0 | 0 | 0 | 4.22
03:45 - 04:00 | 1.24 | 0 | 0 | 0 | 0 | 0 | 0 | 3.98
04:00 - 04:15 | 1.02 | 0 | 0 | 0 | 0 | 0 | 0 | 1.45
04:15 - 04:30 | 0.07 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1
04:30 - 04:45 | 0.07 | 0 | 0 | 0 | 0 | 0 | 0 | 0.09
04:45 - 05:00 | 0.07 | 0 | 0 | 0 | 0 | 0 | 0 | 0.09
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.17
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.16
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.43
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:15 - 08:30 | 0 | 0 | 7.7 | 0 | 0 | 0 | 0 | 0
08:30 - 08:45 | 0 | 0 | 7.7 | 0 | 0 | 0 | 0 | 0
08:45 - 09:00 | 0 | 0 | 7.7 | 0 | 0 | 0 | 0 | 0
09:00 - 09:15 | 0 | 0 | 7.7 | 0 | 0 | 0 | 0 | 0
09:15 - 09:30 | 0 | 0 | 7.7 | 0 | 0 | 0 | 0 | 0
09:30 - 09:45 | 0 | 0 | 7.7 | 0 | 0 | 0 | 0 | 0
09:45 - 10:00 | 0 | 0 | 7.7 | 37.9 | 18.95 | 9.63 | 0 | 0
10:00 - 10:15 | 0 | 33.7 | 7.7 | 38.52 | 19.26 | 9.63 | 4.81 | 0
10:15 - 10:30 | 0 | 33.7 | 7.7 | 38.52 | 19.26 | 9.63 | 4.81 | 0
10:30 - 10:45 | 0 | 33.7 | 7.7 | 38.52 | 19.26 | 9.63 | 4.81 | 0
10:45 - 11:00 | 0 | 33.7 | 7.7 | 38.52 | 19.26 | 9.63 | 4.81 | 0
11:00 - 11:15 | 0 | 33.7 | 7.7 | 38.52 | 19.26 | 9.63 | 4.81 | 0
11:15 - 11:30 | 0 | 33.7 | 7.7 | 38.52 | 19.26 | 9.63 | 4.81 | 0
11:30 - 11:45 | 0 | 33.7 | 7.7 | 38.52 | 19.26 | 9.63 | 4.81 | 0
11:45 - 12:00 | 0 | 33.7 | 7.7 | 38.52 | 19.26 | 9.63 | 4.81 | 0
12:00 - 12:15 | 0 | 33.7 | 7.7 | 38.52 | 19.26 | 9.63 | 4.81 | 0
12:15 - 12:30 | 0 | 33.7 | 7.7 | 38.52 | 19.26 | 9.63 | 4.81 | 0
12:30 - 12:45 | 0 | 33.7 | 7.7 | 38.52 | 19.26 | 9.63 | 4.81 | 0
12:45 - 13:00 | 0 | 33.7 | 7.7 | 38.52 | 19.26 | 9.63 | 4.81 | 0
13:00 - 13:15 | 0 | 33.7 | 7.7 | 38.52 | 19.26 | 9.63 | 4.81 | 0
13:15 - 13:30 | 0 | 33.7 | 7.7 | 38.52 | 19.26 | 9.63 | 4.81 | 0
13:30 - 13:45 | 0 | 33.7 | 7.7 | 38.52 | 19.26 | 9.63 | 4.81 | 0
13:45 - 14:00 | 0 | 33.7 | 7.7 | 38.52 | 19.26 | 9.63 | 4.81 | 0
14:00 - 14:15 | 0 | 0 | 7.7 | 0 | 0 | 0 | 0 | 0
14:15 - 14:30 | 0 | 0 | 7.7 | 0 | 0 | 0 | 0 | 0
14:30 - 14:45 | 0 | 0 | 7.7 | 0 | 0 | 0 | 0 | 0
14:45 - 15:00 | 0 | 0 | 7.7 | 0 | 0 | 0 | 0 | 0
15:00 - 15:15 | 0 | 0 | 7.7 | 0 | 0 | 0 | 0 | 0
15:15 - 15:30 | 0 | 0 | 7.7 | 0 | 0 | 0 | 0 | 0
15:30 - 15:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15:45 - 16:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:00 - 16:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:15 - 16:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:30 - 16:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:45 - 17:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36.35
17:00 - 17:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30.79
17:15 - 17:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.06
17:30 - 17:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18.03
17:45 - 18:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.35
18:00 - 18:15 | 7.47 | 0 | 0 | 0 | 0 | 0 | 0 | 14.96
18:15 - 18:30 | 0.94 | 0 | 0 | 0 | 0 | 0 | 0 | 1.88
18:30 - 18:45 | 2.26 | 0 | 0 | 0 | 0 | 0 | 0 | 1.81
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 3.63 | 0 | 0 | 0 | 0 | 0 | 0 | 2.91
19:15 - 19:30 | 3.85 | 0 | 0 | 0 | 0 | 0 | 0 | 3.08
19:30 - 19:45 | 6.29 | 0 | 0 | 0 | 0 | 0 | 0 | 5.04
19:45 - 20:00 | 6.21 | 0 | 0 | 0 | 0 | 0 | 0 | 4.97
20:00 - 20:15 | 7.72 | 0 | 0 | 0 | 0 | 0 | 0 | 6.18
20:15 - 20:30 | 7.29 | 0 | 0 | 0 | 0 | 0 | 0 | 5.84
20:30 - 20:45 | 7.53 | 0 | 0 | 0 | 0 | 0 | 0 | 6.02
20:45 - 21:00 | 6.84 | 0 | 0 | 0 | 0 | 0 | 0 | 5.47
21:00 - 21:15 | 6.89 | 0 | 0 | 0 | 0 | 0 | 0 | 5.51
21:15 - 21:30 | 6.9 | 0 | 0 | 0 | 0 | 0 | 0 | 5.53
21:30 - 21:45 | 6.37 | 0 | 0 | 0 | 0 | 0 | 0 | 5.08
21:45 - 22:00 | 6.23 | 0 | 0 | 0 | 0 | 0 | 0 | 4.99
22:00 - 22:15 | 6.04 | 0 | 0 | 0 | 0 | 0 | 0 | 4.82
22:15 - 22:30 | 6.05 | 0 | 0 | 0 | 0 | 0 | 0 | 4.83
22:30 - 22:45 | 6.56 | 0 | 0 | 0 | 0 | 0 | 0 | 5.25
22:45 - 23:00 | 6.5 | 0 | 0 | 0 | 0 | 0 | 0 | 5.21
23:00 - 23:15 | 6.19 | 0 | 0 | 0 | 0 | 0 | 0 | 4.95
23:15 - 23:30 | 6.23 | 0 | 0 | 0 | 0 | 0 | 0 | 4.99
23:30 - 23:45 | 6.26 | 0 | 0 | 0 | 0 | 0 | 0 | 5.01
23:45 - 24:00 | 6.16 | 0 | 0 | 0 | 0 | 0 | 0 | 4.93
Average | 1.8283 | 5.6167 | 2.326 | 6.8148 | 3.4074 | 1.7053 | 0.80167 | 3.2298

## RTM
RTM TRADING DETAILS FOR DT: 06.10.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Limited_5MW_Solar_Power_Plant_Lokapada | MGM_Green_Energy_Ltd | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Jharsuguda | SMC_Power_Generation_Limited_Unit_II_PTC | Shri_Jagannath_Steels_&_Power_Ltd | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Vedanta_Aluminium_Metal_Ltd_CPP_9X135MW_Jharsuguda | Visa_Chrome_Limited
00:00 - 00:15 | -1.5 | -7 | -1.1 | -1.7 | 25.96 | 0 | -40 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 34.95 | 0 | -4.5
00:15 - 00:30 | -1.5 | 0 | -1.1 | -1.7 | 24.84 | 0 | -40 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 34.47 | 0 | -4.5
00:30 - 00:45 | -1.5 | 0 | -1.1 | -1.7 | 25.81 | 0 | -40 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -1 | 0 | 11.22 | 0 | -4.5
00:45 - 01:00 | -1.5 | 0 | -1.1 | -1.7 | 26.5 | 0 | -40 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -1 | 0 | 11.52 | 0 | -4.5
01:00 - 01:15 | -1.5 | 0 | -1.1 | -1.8 | 29.61 | 0 | -40 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -1 | 0 | 12.17 | 0 | -4.5
01:15 - 01:30 | -1.5 | 0 | -1.1 | -1.8 | 31.91 | 0 | -40 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -1 | -20 | 13.25 | 0 | -4.5
01:30 - 01:45 | -1.5 | -7 | -1.1 | -1.8 | 15.84 | 0 | -40 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -1 | 0 | 17.26 | 0 | -4.5
01:45 - 02:00 | -1.5 | 0 | -1.1 | -1.8 | 16.56 | 0 | -40 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -1 | 0 | 18.38 | 0 | -4.5
02:00 - 02:15 | -1.5 | 0 | -1.1 | -1.8 | 24.12 | 0 | -40 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -1 | -20 | 73.62 | 0 | -4.5
02:15 - 02:30 | -1.5 | 0 | -1.1 | -1.8 | 26.14 | 0 | -40 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -1 | 0 | 75.75 | 0 | -4.5
02:30 - 02:45 | -1.5 | 0 | -1.1 | -1.7 | 45.2 | 0 | -40 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -1 | 0 | 47.24 | 0 | -4.5
02:45 - 03:00 | -1.5 | 0 | -1.1 | -1.7 | 51.96 | 0 | -40 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -1 | -20 | 53.78 | 0 | -4.5
03:00 - 03:15 | -1.5 | 0 | -1.1 | -1.8 | 70.42 | 0 | -40 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -1 | 0 | 118.77 | 0 | -4.5
03:15 - 03:30 | -1.5 | 0 | -1.1 | -1.8 | 69.19 | 0 | -40 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -1 | 0 | 118.73 | 0 | -4.5
03:30 - 03:45 | -1.5 | 0 | -1.1 | -1.8 | 80.48 | 0 | -40 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -1 | -10 | 0 | 0 | -4.5
03:45 - 04:00 | -1.5 | 0 | -1.1 | -1.8 | 82.86 | 0 | -40 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | -4.5
04:00 - 04:15 | -1.5 | 0 | -1.1 | -1.7 | 13.73 | 0 | -40 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -1 | -30 | 100.7 | 0 | -4.5
04:15 - 04:30 | -1.5 | 0 | -1.1 | -1.7 | 11.86 | 0 | -40 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -1 | -30 | 86.96 | 0 | -4.5
04:30 - 04:45 | -1.5 | -14 | -1.1 | -1.7 | 11.81 | 0 | -40 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -1 | 0 | 82.6 | 0 | -4.5
04:45 - 05:00 | -1.5 | 0 | -1.1 | -1.7 | 10.81 | 0 | -40 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -1 | 0 | 75.73 | 0 | -4.5
05:00 - 05:15 | -1.5 | 0 | -1.1 | -1.7 | -200 | 0 | -40 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -1 | -10 | 86.98 | 0 | -4.5
05:15 - 05:30 | -1.5 | 0 | -1.1 | -1.7 | -200 | 0 | -40 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -1 | 0 | 83.53 | 0 | -4.5
05:30 - 05:45 | -1.5 | 0 | -1.1 | -1.7 | -200 | 0 | -40 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -1 | -30 | 108.79 | 0 | -4.5
05:45 - 06:00 | -1.5 | 0 | -1.1 | -1.7 | -300 | 0 | -40 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -1 | -30 | 108.5 | 0 | -4.5
06:00 - 06:15 | -1.5 | 0 | -1.1 | -1.8 | -300 | 0 | -40 | -0.1 | -0.1 | 0 | -10 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | -3 | -1 | -30 | 86.32 | 0 | -4
06:15 - 06:30 | -1.5 | 0 | -1.1 | -1.8 | -300 | 0 | -40 | -0.2 | -0.2 | -0.1 | -10 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | -3 | -1 | 0 | 81.33 | 0 | -4
06:30 - 06:45 | -1.5 | 0 | -1.1 | -1.8 | -200 | 0 | -40 | -0.3 | -0.4 | -0.4 | -10 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | -2 | 0 | 0 | 103.04 | 0 | -4
06:45 - 07:00 | -1.5 | 0 | -1.1 | -1.8 | -200 | 0 | -40 | -0.5 | -0.6 | -0.7 | -10 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | -1 | 0 | 0 | 105.01 | 0 | -4
07:00 - 07:15 | -1.5 | 0 | -1.1 | -1.8 | -300 | 0 | -40 | -0.9 | -0.8 | -1.2 | -9.5 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5
07:15 - 07:30 | -1.5 | 0 | -1.1 | -1.8 | -400 | 0 | -40 | -1.1 | -0.9 | -1.5 | -9.5 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5
07:30 - 07:45 | -1.5 | 0 | -1.1 | -1.8 | -700 | 0 | -40 | -1.4 | -1 | -1.9 | -4 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | -60 | 0 | 0 | -3.5
07:45 - 08:00 | -1.5 | 0 | -1.1 | -1.8 | -779.99 | 0 | -6.31 | -1.7 | -1.3 | -2.3 | -4 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | -3.5
08:00 - 08:15 | -1.5 | -7 | -1.4 | -1.8 | -161.19 | 0 | 0 | -2 | -1.6 | -2.9 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
08:15 - 08:30 | -1.5 | 7.7 | -1.4 | -1.8 | -258.48 | 0 | 0 | -2.2 | -1.7 | -3.2 | 0 | 0 | 0 | 3.85 | 0 | -3 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | -2
08:30 - 08:45 | -1.5 | 7.7 | -1.4 | -1.4 | -357.54 | 0 | 0 | -2.3 | -1.8 | -3.8 | 0 | 0 | 0 | 3.85 | 0 | -2 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | -2
08:45 - 09:00 | -1.5 | 7.7 | -1.4 | -1.4 | -457.33 | 0 | 0 | -2.6 | -2 | -4.2 | 0 | 0 | 0 | 3.85 | 0 | -2 | 0 | 0 | -3 | 0 | -20 | 0 | 0 | -2
09:00 - 09:15 | -1.5 | 7.7 | -1.4 | -1.4 | -300 | 0 | 0 | -2.9 | -2.3 | -4.5 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -3 | 0 | -40 | 0 | 0 | -1
09:15 - 09:30 | -1.5 | 7.7 | -1.4 | -1.4 | -200 | 0 | 0 | -3 | -2.3 | -4.8 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -3 | 0 | -25 | 0 | 0 | -1
09:30 - 09:45 | -1.5 | 7.7 | -1.1 | -1.6 | -158.21 | 0 | 0 | -3.1 | -2.5 | -5 | 0 | 0 | 0 | 3.85 | 2.89 | -2 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | -1
09:45 - 10:00 | -1.5 | 7.7 | -1.1 | -1.6 | -156.77 | 0 | 0 | -3.2 | -2.6 | -2.7 | 0 | 0 | 0 | 3.85 | 2.89 | -2 | 0 | 0 | -3 | 0 | -20 | 0 | 0 | -1
10:00 - 10:15 | -1.5 | 7.71 | -1.1 | -1.7 | -450.94 | 6.74 | 0 | -3.2 | -2.8 | 0 | 0 | 2.89 | 0 | 3.85 | 2.89 | -2 | 4.81 | 0 | -3 | 0 | -10 | 0 | 0 | -1
10:15 - 10:30 | -1.5 | 7.71 | -1.1 | -1.7 | -451.13 | 6.74 | 0 | -3.2 | -2.8 | 0 | 0 | 2.89 | 0 | 3.85 | 2.89 | -2 | 4.81 | 0 | -3 | 0 | 0 | 0 | 0 | -1
10:30 - 10:45 | -1 | -7 | -1.6 | 0 | -425.74 | 6.75 | 0 | -3.5 | -2.9 | 0 | 0 | 2.89 | 0 | 3.85 | 2.89 | -2 | 4.81 | 3.85 | -3 | 0 | -10 | 0 | 0 | -1
10:45 - 11:00 | -1 | 7.71 | -1.6 | 0 | -426.13 | 6.74 | 0 | -3.5 | -3 | 0 | 0 | 2.89 | 0 | 3.85 | 2.89 | -2 | 4.81 | 3.85 | -3 | 0 | -25 | 0 | 0 | -1
11:00 - 11:15 | -1 | 7.71 | -1.6 | 0 | -350.75 | 6.74 | 0 | -3.7 | -3.3 | 0 | 0 | 2.89 | 0 | 3.85 | 4.81 | -3 | 4.81 | 3.85 | 0 | 0 | 0 | 0 | 0 | -1
11:15 - 11:30 | -1 | 7.71 | -1.6 | 0 | -376.2 | 6.74 | 0 | -3.9 | -3.3 | 0 | 0 | 2.89 | 0 | 3.85 | 4.81 | -3 | 4.81 | 3.85 | 0 | 0 | 0 | 0 | 0 | -1
11:30 - 11:45 | -1 | 7.71 | -1.6 | 0 | -350.69 | 0 | 0 | -3.7 | -3.1 | 0 | 0 | 2.89 | 0 | 3.85 | 4.81 | -3 | 4.81 | 3.85 | 0 | 0 | -45 | 0 | 0 | 0
11:45 - 12:00 | -1 | -7 | -1.6 | 0 | -300.33 | 0 | 0 | -3.7 | -2.9 | 0 | 0 | 2.89 | 0 | 3.85 | 4.82 | -3 | 4.81 | 3.85 | 0 | 0 | -40 | 0 | 0 | 0
12:00 - 12:15 | -1 | 7.72 | -1.6 | 0 | -201.2 | 4.81 | 0 | -3.8 | -3.2 | 0 | 0 | 2.89 | 0 | 3.85 | 4.81 | -2 | 4.81 | 3.85 | 0 | 0 | -40 | 0 | 0 | 0
12:15 - 12:30 | -1 | 7.72 | -1.6 | 0 | -101.99 | 4.81 | 0 | -3.7 | -3.1 | 0 | 0 | 0 | 0 | 3.85 | 4.81 | -2 | 4.81 | 3.85 | 0 | 0 | -40 | 0 | 0 | 0
12:30 - 12:45 | -0.5 | 7.72 | -1.6 | 0 | -53.33 | 4.81 | 0 | -3.6 | -2.9 | 0 | 0 | 0 | 0 | 3.85 | 4.81 | -2 | 4.81 | 2.89 | 0 | 0 | -15 | 0 | 0 | 0
12:45 - 13:00 | -0.5 | 7.72 | -1.6 | 0 | -178.33 | 4.81 | 0 | -3.5 | -2.9 | 0 | 0 | 0 | 0 | 3.85 | 4.81 | -2 | 4.81 | 2.89 | 0 | 0 | 0 | 0 | 0 | 0
13:00 - 13:15 | -0.5 | -7 | -1.6 | 0 | -450.74 | 4.82 | 0 | -3.4 | -2.7 | 0 | 0 | 2.89 | 0 | 3.85 | 4.81 | -2 | 4.81 | 2.89 | 0 | 0 | -30 | 0 | 0 | 0
13:15 - 13:30 | -0.5 | 7.72 | -1.6 | 0 | -450.74 | 4.81 | 0 | -3.2 | -2.5 | 0 | 0 | 2.89 | 0 | 3.85 | 4.81 | -2 | 4.81 | 2.89 | 0 | 0 | -60 | 0 | 0 | 0
13:30 - 13:45 | -1.4 | 7.72 | -1.6 | 0 | -325.94 | 4.81 | 0 | -3 | -2.2 | 0 | 0 | 2.89 | 0 | 3.85 | 4.81 | -2 | 4.81 | 2.89 | 0 | 0 | -45 | 0 | 0 | 0
13:45 - 14:00 | -1.4 | 7.72 | -1.6 | 0 | -252.14 | 4.81 | 0 | -2.9 | -2.1 | 0 | 0 | 0 | 0 | 3.85 | 4.81 | -2 | 4.81 | 2.89 | 0 | 0 | -45 | 0 | 0 | 0
14:00 - 14:15 | -1.4 | 4.81 | -1.6 | 0 | -206.85 | 0 | 0 | -2.7 | -1.9 | 0 | 0 | 0 | 0 | 3.85 | 4.81 | 0 | 0 | 0 | 0 | 0 | -60 | 49.12 | 0 | 0
14:15 - 14:30 | -1.4 | 4.81 | -1.6 | 0 | -57.86 | 0 | 0 | -2.5 | -1.8 | 0 | 0 | 0 | 0 | 3.85 | 4.81 | 0 | 0 | 0 | 0 | 0 | -20 | 34.68 | 0 | 0
14:30 - 14:45 | -1.4 | 7.71 | -1.6 | -1.6 | 0 | 0 | 0 | -2.4 | -1.5 | 0 | 0 | 0 | 0 | 3.85 | 4.81 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14:45 - 15:00 | -1.4 | 7.7 | -1.6 | -1.6 | -102.9 | 0 | 0 | -2.2 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -45 | 0 | 0 | 0
15:00 - 15:15 | -1.4 | 7.7 | -1.6 | -1.6 | -63.53 | 0 | 0 | -1.9 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -3 | 0 | -50 | 0 | 93.4 | 0
15:15 - 15:30 | -1.4 | 4.81 | -1.6 | -1.6 | 0 | 0 | 0 | -1.7 | -0.7 | -2.3 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -3 | 0 | -50 | 0 | 42.37 | 0
15:30 - 15:45 | -1.4 | 0 | -1.6 | -1.6 | -12.1 | 0 | 0 | -1.4 | -0.5 | -1.8 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -1 | 0 | -70 | 0 | 0 | 0
15:45 - 16:00 | -1.4 | 0 | -1.6 | -1.6 | -100 | 0 | 0 | -1 | -0.3 | -1.5 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -1 | 0 | -70 | 0 | 0 | 0
16:00 - 16:15 | -1.4 | 0 | -1.6 | -1.7 | -400 | 0 | 0 | -0.7 | -0.1 | -1.2 | -5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 22.34 | 0
16:15 - 16:30 | -1.4 | 0 | -1.6 | -1.7 | -400 | 0 | 0 | -0.5 | 0 | -0.8 | -5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:30 - 16:45 | -1.4 | 0 | -1 | -1.7 | -350 | 0 | 0 | -0.3 | 0 | -0.5 | -9.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -30 | 4.51 | 27.05 | -5
16:45 - 17:00 | -1.4 | 0 | -1 | -1.7 | -350 | 0 | 0 | -0.2 | 0 | -0.1 | -9.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -30 | 3.37 | 20.23 | -5
17:00 - 17:15 | -1.4 | -2 | -1 | -1.7 | -250 | 0 | 0 | -0.1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -50 | 5.57 | 0 | -5
17:15 - 17:30 | -1.4 | -3 | -1 | -1.7 | -150 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -50 | 4.32 | 0 | -5
17:30 - 17:45 | -1.4 | 0 | -1 | -1.6 | -75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 86.47 | 0 | -20
17:45 - 18:00 | -1.4 | 0 | -1 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 74.1 | 0 | -20
18:00 - 18:15 | -1.4 | 0 | -1 | -1.7 | 5.63 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 76.5 | 0 | -20
18:15 - 18:30 | -1.4 | 0 | -1 | -1.7 | 2.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 59.77 | 0 | -19.99
18:30 - 18:45 | -1.4 | -3 | -1 | -1.7 | 5.56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -30 | 5.58 | 0 | -20
18:45 - 19:00 | -1.4 | 0 | -1 | -1.7 | 5.48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -50 | 5.51 | 0 | -20
19:00 - 19:15 | -1.4 | 0 | -1 | -1.8 | 12.73 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 6.85 | 0 | -5
19:15 - 19:30 | -1.4 | 0 | -1 | -1.8 | 13.63 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 7.32 | 0 | -5
19:30 - 19:45 | -1.4 | 0 | -1 | -1.8 | 15.31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 8.21 | 0 | -5
19:45 - 20:00 | -1.4 | 0 | -1 | -1.8 | 13.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 6.96 | 0 | -5
20:00 - 20:15 | -1.4 | -3 | -0.7 | -1.8 | 22.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 12.07 | 0 | -25
20:15 - 20:30 | -1.4 | -4 | -0.7 | -1.8 | 22.17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 11.82 | 0 | -25
20:30 - 20:45 | -1.4 | 0 | -1 | -1.8 | 27.98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -20 | 14.93 | 0 | -25
20:45 - 21:00 | -1.4 | 0 | -1 | -1.8 | 28.51 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 15.22 | 0 | -25
21:00 - 21:15 | -1.4 | 0 | -1 | -1.8 | 34.73 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -50 | 12.4 | 0 | -25
21:15 - 21:30 | -1.4 | 0 | -1 | -1.8 | 32.31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 11.55 | 0 | -25
21:30 - 21:45 | -1 | -6 | -1.5 | -1.7 | 40.87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 11.67 | 0 | -25
21:45 - 22:00 | -1 | 0 | -1.5 | -1.7 | 40.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 11.52 | 0 | -25
22:00 - 22:15 | -1 | 0 | -1.5 | -1.7 | 41.76 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -50 | 11.69 | 0 | -25
22:15 - 22:30 | -1 | 0 | -1.5 | -1.7 | 40.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 11.26 | 0 | -25
22:30 - 22:45 | -1 | 0 | -1 | -1.7 | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 5.59 | 0 | -25
22:45 - 23:00 | -1 | -6 | -1 | -1.7 | 36.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 5.78 | 0 | -25
23:00 - 23:15 | -1 | 0 | -0.6 | -1.8 | 36.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 5.9 | 0 | -25
23:15 - 23:30 | -1 | 0 | -0.6 | -1.8 | 38.19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 6.11 | 0 | -25
23:30 - 23:45 | -1 | 0 | -0.6 | -1.8 | 49.21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -20 | 9.84 | 0 | -25
23:45 - 24:00 | -1 | 0 | -0.6 | -1.8 | 55.79 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -20 | 11.16 | 0 | -25
Average | -1.3313 | 1.1327 | -1.2104 | -1.4292 | -129.6055 | 0.82229 | -12.9824 | -1.0479 | -0.80104 | -0.49375 | -1.625 | 0.36125 | -0.10417 | 0.9625 | 0.93229 | -2.7708 | 0.80167 | 0.50146 | -0.48958 | -0.27083 | -16.8229 | 24.562 | 2.1395 | -7.4582