## POWER STATUS
POWER STATUS ON DT 08.10.2026
[9 empty] | 2026-10-08 | 2026-10-07
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 21:00
Demand -> | [8 empty] | 5665.6146 | 6326.3511
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla [Gate-L-0 , R-0] | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 193.917 | 4.654 | 630/590 ft | 629.62 | 629.97 | 630 | 196.9552 | 197.4763
| Chiplima | 72(3x24) | 60.208 | 1.445 | - |  |  |  | 56.7094 | 53.6793
| Balimela | 510(6x60+2x75) | 203.625 | 4.887 | 1516/1440 ft | 1503.2 | 1504.4 | 1504.6 | 0 | 257.3871
| Rengali | 250(5x50) | 185.6083 | 4.4546 | 123.5/109.75 mt | 123.77 | 123.64 | 123.59 | 242.1749 | 240.9552
| Upper Kolab | 320(4x80) | 111.33 | 2.6719 | 858/844 mt | 857.07 | 855.94 | 855.96 | 45.2608 | 176.6592
| Upper Indravati [Gate-0] | 600(4x150) | 602.1667 | 14.452 | 642/625 mt | 640.98 | 641.38 | 641.31 | 606.2365 | 602.3414
| Machkund | 60(50% of(3x17+3x23)) | 23.68 | 0.56832 | 2750/2685 ft | 2748.55 | 2746.6 | 2746.65 | 25.8822 | 26.3707
| Total Hydro | 2099.5 | 1380.535 | 33.1328 |  |  |  |  | 1173.219 | 1554.8692
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1063.5559 | 25.5253 | RENEWABLE ENERGY (RE) |  |  |  | 1068.0824 | 1062.9073
[5 empty] | M.Hydl | 99.2104
| Total Thermal | 2200 | 1063.5559 | 25.5253 | Solar | 151.4518 |  |  | 1068.0824 | 1062.9073
IPP | VEDANTA #2 | 600 (1x600) | 437.8776 | 10.5091 | Total IPPs | Yesterday's Demand Profile |  |  | 389.7656 | 564.5898
| GMR #3 | 350 (1x350) | -0.1103 | -0.0026473 | 529.7408 |  | MW | HRS | -0.12846 | -0.125
| NBVL(IPP) | 60(1x60) | 43.0539 | 1.0333 |  |  |  |  | 54.8405 | 54.3639
| MDTPC |  | 48.9196 | 1.1741 |  |  |  |  | 33.3786 | 55.6771
| CGPs |  | 945.3027 | 22.6873 | IPPs, CGPs & RE | Maximum | 6625 | 15:00 | 1818.19 | 1872.8525
| Central Sector(Drawl) |  | 1833.5471 | 44.0051 | 1725.7057 | Minimum | 5407 | 07:00 | 1606.1233 | 1835.7222
| Central Sector(Sch) |  | 1978.58 | 47.4859 |  | Average | 6003.3437 |  | 1815.29 | 2035.08
| Grand Total |  | 6003.3437 | 144.0802 | Instantaneous Peak demand |  | 7038 | 15:31 | 5665.6146 | 6326.3511
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(5) |  | ACTUAL |  | SCHEDULE(1)
Burla | 1,7 | IbTPS / OPGC | 4 |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1784.7377 | 42.8337 | 1758.9602 | 42.215 | 1777.1979 | 42.6527
Balimela | 5,6 | TSTPP St-I | 2 | TPWODL | 1735.4258 | 41.6502 | 1984.3587 | 47.6246 | 1715.703 | 41.1769
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1443.8432 | 34.6522 | 1492.6468 | 35.8235 | 1389.4712 | 33.3473
U.Kolab | 2 | KAHALGAON | 6 | TPSODL | 632.0403 | 15.169 | 611.1256 | 14.667 | 623.8907 | 14.9734
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5596.0471 | 134.3051 | 5847.0913 | 140.3302 | 5506.2628 | 132.1503
Machhkund | 4,5,6 | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 389.7656 | GMR |  |  |  | 0
| NBVL #3 | 54.8405 | MDTPC |  |  |  | 33.3786
Mini Hydel: | MEENAKSHI | 37.8181 | OPCL |  |  |  | 0
| BTPL | 28.6564 | SAPTADHARA |  |  |  | 10.0014
| SNHEP | 31.7283 | KAKATIYA |  |  |  | 6.5147
Solar: |  | 362.5802
CGPs : | JSPL (Angul) | 465.6966 | JSL(Duburi) |  |  |  | -194.7609
| ICCL | 35.948 | visa |  |  |  | 16.3346
| NALCO | -123.3453 | VAL (CGP) |  |  |  | -220.394
| RSP | -70.8772 | BSL(MMDL) |  |  |  | 25.4822
| INDAL | -0.2817 | ADITYA ALUMINIUM |  |  |  | 58.0495
| NINL | -33.3132 | VAL CPP 400 kV |  |  |  | -431.7795
| NBVL | 54.8405 | Arati |  |  |  | 12.7302
| BPSL(JSG) | 21.0758 | BPPL |  |  |  | 120.4196
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-09-30 | 2026-10-01 | 2026-10-02 | 2026-10-03 | 2026-10-04 | 2026-10-05 | 2026-10-06 | 2026-10-07
1350.5371 | 1358.778 | 1420.25 | 1444.7416 | 1404.7308 | 1544.21 | 1522.08 | 1380.535
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.07.10.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | ARYAN_ISPAT | DNHDDPDCL | -5 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0.46
ENVIROCARE_INFRA | BALCO_LOAD | -6.5 | ENVIROCARE_INFRA | DNHDDPDCL | -5 | AGE26AL_PSS6_KPS1_S | ODISHA | 121.14
ENVIROCARE_INFRA | BALCO_LOAD | -6.5 | FACORPOWER | BYPL | -14 | AP41PL_BHDL | ODISHA | 58.42
FACORPOWER | APCPDCL | -13.33 | GMRKEL_STU | RUVITSL | 0 | AP43PL_BKN | ODISHA | 90.31
FACORPOWER | PUNJAB | -4 | JPIPL | TANGEDCO | -13.2 | AWEK1L | ODISHA | 1.83
GMRKEL_STU | RUVITSL | 0 | JSPLANGUL | TANGEDCO | -100 | AWEK1L | ODISHA | 2.74
GMRKEL_STU | TNEB | 0 | JSPLANGUL | TANGEDCO | -50 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 5.11
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | KCMW_od | SFLPondyHEX288 | -0.47 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 12.32
JSPLANGUL | GEB_Beneficiary | -100 | KCMW_od | SFLPondyHWF407 | -0.7 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 20.54
JSPLANGUL | GEB_Beneficiary | -125 | NBVLIPP | BYPL | -46 | CGERP_MORJAR_BHJ2_HS | VLSEZ | 1.81
MAADURGA_THERMAL | NPCL_UP | -17.26 | NPSRL | MBPL | -1 | CGERP_MORJAR_BHJ2_HW | VLSEZ | 0.54
NBVLIPP | TANGEDCO | 0 | NPSRL | TPL_DIS_SUR | -4 | CPTTNPL | VLSEZ | 0.8
OCL_IRON_STEEL | TPL_DIS_AHM_ISTS | -51.5 | OCL_IRON_STEEL | WBSEDCL | -8.5 | DADRI_SOLAR | ODISHA | 0.74
ORSISL | BALCO_LOAD | -3.5 | ODISHA | WBSEDCL | -50 | ENERSON_SOLAR_10MW | ODISHA | 1.11
FARIDABAD_SOLAR | ODISHA | 0.86 | ODISHA | WBSEDCL | -50 | GADAG_GreenInfra_W | ODISHA | 0
JSWEL_UTKAL | ODISHA | 64.71 | ORSISL | DNHDDPDCL | -3 | GADAG_GreenInfra_W | ODISHA | 0
RAJ_SOLAR | ODISHA | 2.72 | RSPL_JHARSUGUDA | DNHDDPDCL | -20 | GADAG_GreenInfra_W | ODISHA | 0.17
RAJ_SOLAR | ODISHA | 2.18 | SGML | TPL_DIS_SUR | -7 | GADAG_Serentica3_S | VLSEZ | 37.46
|  |  | SMEL | DNHDDPDCL | -25 | GADAG_Serentica3_W | VLSEZ | 15.83
|  |  | SMEL | TPL_DIS_SUR | -5 | GADAG_Serentica3_W | VLSEZ | 3.21
|  |  | Shri_JSPL | NPCL_UP | -1.5 | GIWEL_SECI_II_RE | ODISHA | 6.75
|  |  | Shri_JSPL | TPL_DIS_SUR | -2.5 | GPCL_SOLAR_10 | ODISHA | 1.03
|  |  | TSBSLA | DNHDDPDCL | -10 | GSECL_SOLAR | ODISHA | 1.95
|  |  | TSBSLA | GPEPL | -1.15 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 2.1
|  |  | TSBSLA | KRCIPPL | -1.6 | KARUR_TPVARDHAMAN_W | TSKPO | 14.57
|  |  | TSBSLA | MBPL | -0.92 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.49
|  |  | VIRAJ_SEPL | TANGEDCO | -10 | Kurnool_Greenko_H_Inj | ADITYAAL | 5
|  |  | VSL | DNHDDPDCL | -10 | Kurnool_Greenko_H_Inj | ADITYAAL | 1.21
|  |  | Darlipali_NTPC | ODISHA | 17.68 | NTPCRE1_SMND_BHJ2_W | ODISHA | 1.5
|  |  | JIPL | ODISHA | 115.55 | O2RE3PL_Wasi_klm_W | VLSEZ | 5.74
|  |  | MYTRAHVAYU | VLSEZ | 6.33 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 0.22
|  |  | NALCOAP | NACL_Odisha | 1.01 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0.08
|  |  | TPC_MSEB | VLSEZ | 101.9 | OKWPL_RE | ODISHA | 3.53
|  |  | UPPCL | VLSEZ | 65.7 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 24.34
|  |  | UPPCL | VL_CPP_1215 | 78.74 | RWE_AP2_SECI_III | ODISHA | 2.1
[6 empty] | RenewGreen_SLPR_HS | JSL_DUBURI | 11.48
[6 empty] | SRI9PL_FTG3 | VLSEZ | 113.1
[6 empty] | TPVSL_BKN3 | TSKPO | 14.56
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.1
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.12
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 11.1
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 3.97
[6 empty] | XXPPL_FTG3 | ODISHA | 86.07

## DAM
DAM TRADING DETAILS FOR DT : 07.10.2026
Time Period | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | MGM_Minerals_Ltd | Nav_Bharat_ventures_Ltd | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 1.24 | -1.24 | -2.06 | 0
00:15 - 00:30 | 0 | 0.94 | -1.24 | -2.06 | 0
00:30 - 00:45 | 0 | 0.81 | -1.24 | -2.06 | 0
00:45 - 01:00 | 0 | 0.64 | -1.24 | -2.06 | 0
01:00 - 01:15 | 0 | 0.94 | -1.24 | -2.06 | 0
01:15 - 01:30 | 0 | 0.9 | -1.24 | -2.06 | 0
01:30 - 01:45 | 0 | 0.72 | -1.24 | -2.06 | 0
01:45 - 02:00 | 0 | 0.75 | -1.24 | -2.06 | 0
02:00 - 02:15 | 0 | 2.46 | -1.24 | -2.06 | 0
02:15 - 02:30 | 0 | 5.54 | -1.24 | -2.06 | 0
02:30 - 02:45 | 0 | 8.5 | -1.24 | -2.06 | 0
02:45 - 03:00 | 0 | 10.5 | -1.24 | -2.06 | 0
03:00 - 03:15 | 0 | 3.6 | -1.24 | -2.06 | 0
03:15 - 03:30 | 0 | 6.24 | -1.24 | -2.06 | 0
03:30 - 03:45 | 0 | 8.44 | -1.24 | -2.06 | 0
03:45 - 04:00 | 0 | 9.94 | -1.24 | -2.06 | 0
04:00 - 04:15 | 0 | 0 | -1.24 | -2.06 | 0
04:15 - 04:30 | 0 | 0 | -1.24 | -2.06 | 0
04:30 - 04:45 | 0 | 0 | -1.24 | -2.06 | 0
04:45 - 05:00 | 0 | 0 | -1.24 | -2.06 | 0
05:00 - 05:15 | 0 | 0 | -1.24 | -2.06 | 0
05:15 - 05:30 | 0 | 0 | -1.24 | -2.06 | 0
05:30 - 05:45 | 0 | 0 | -1.24 | -2.06 | 0
05:45 - 06:00 | 0 | 0 | -1.24 | -2.06 | 0
06:00 - 06:15 | -26.29 | -25 | -1.24 | -2.06 | 0
06:15 - 06:30 | -26.29 | -25 | -1.24 | -2.06 | 0
06:30 - 06:45 | -26.29 | -25 | -1.24 | -2.06 | 0
06:45 - 07:00 | -26.29 | -25 | -1.24 | -2.06 | 0
07:00 - 07:15 | -26.29 | -225 | -1.24 | -2.06 | 0
07:15 - 07:30 | -26.29 | -225 | -1.24 | -2.06 | 0
07:30 - 07:45 | -26.29 | -225 | -1.24 | -2.06 | 0
07:45 - 08:00 | -26.29 | -225 | -1.24 | -2.06 | 0
08:00 - 08:15 | 0 | -875 | -1.24 | -2.06 | 0
08:15 - 08:30 | 0 | -875 | -1.24 | -2.06 | 0
08:30 - 08:45 | 0 | -875 | -1.24 | -2.06 | 0
08:45 - 09:00 | 0 | -875 | -1.24 | -2.06 | 0
09:00 - 09:15 | 0 | -1200 | -1.24 | -2.06 | 0
09:15 - 09:30 | 0 | -1200 | -1.24 | -2.06 | 0
09:30 - 09:45 | 0 | -1200 | -1.24 | -2.06 | 0
09:45 - 10:00 | 0 | -1200 | -1.24 | -2.06 | 0
10:00 - 10:15 | 0 | -1150 | -1.24 | -1.03 | 0
10:15 - 10:30 | 0 | -1150 | -1.24 | -1.03 | 0
10:30 - 10:45 | 0 | -1150 | -1.24 | -1.03 | 0
10:45 - 11:00 | 0 | -1150 | -1.24 | -1.03 | 0
11:00 - 11:15 | 0 | -1175 | -1.24 | -1.03 | 0
11:15 - 11:30 | 0 | -1175 | -1.24 | -1.03 | 0
11:30 - 11:45 | 0 | -1175 | -1.24 | -1.03 | 0
11:45 - 12:00 | 0 | -1175 | -1.24 | -1.03 | 0
12:00 - 12:15 | 0 | -1100 | -1.24 | -1.03 | 0
12:15 - 12:30 | 0 | -1100 | -1.24 | -1.03 | 0
12:30 - 12:45 | 0 | -1100 | -1.24 | -1.03 | 0
12:45 - 13:00 | 0 | -1100 | -1.24 | -1.03 | 0
13:00 - 13:15 | 0 | -975 | -1.24 | -2.06 | 0
13:15 - 13:30 | 0 | -975 | -1.24 | -2.06 | 0
13:30 - 13:45 | 0 | -975 | -1.24 | -2.06 | 0
13:45 - 14:00 | 0 | -975 | -1.24 | -2.06 | 0
14:00 - 14:15 | 0 | -750 | -1.24 | -2.06 | 0
14:15 - 14:30 | 0 | -750 | -1.24 | -2.06 | 0
14:30 - 14:45 | 0 | -750 | -1.24 | -2.06 | 0
14:45 - 15:00 | 0 | -750 | -1.24 | -2.06 | 0
15:00 - 15:15 | -26.29 | -400 | -1.24 | -2.06 | 0
15:15 - 15:30 | -26.29 | -400 | -1.24 | -2.06 | 0
15:30 - 15:45 | -26.29 | -400 | -1.24 | -2.06 | 0
15:45 - 16:00 | -26.29 | -400 | -1.24 | -2.06 | 0
16:00 - 16:15 | -26.29 | -400 | -1.24 | -2.06 | 0
16:15 - 16:30 | -26.29 | -300 | -1.24 | -2.06 | 0
16:30 - 16:45 | -26.29 | -100 | -1.24 | -2.06 | 0
16:45 - 17:00 | -26.29 | 0 | -1.24 | -2.06 | 0
17:00 - 17:15 | -26.29 | 0 | -1.24 | -2.06 | 0
17:15 - 17:30 | -26.29 | 0 | -1.24 | -2.06 | 0
17:30 - 17:45 | -26.29 | 0 | -1.24 | -2.06 | 0
17:45 - 18:00 | -26.29 | 0 | -1.24 | -2.06 | 0
18:00 - 18:15 | 0 | 5.32 | -1.24 | -2.06 | 16.5
18:15 - 18:30 | 0 | 0.02 | -1.24 | -2.06 | 0.08
18:30 - 18:45 | 0 | 0 | -1.24 | -2.06 | 0
18:45 - 19:00 | 0 | 0.05 | -1.24 | -2.06 | 0.09
19:00 - 19:15 | 0 | 0.3 | -1.24 | -2.06 | 0.46
19:15 - 19:30 | 0 | 0.66 | -1.24 | -2.06 | 1.04
19:30 - 19:45 | 0 | 1.33 | -1.24 | -2.06 | 2.07
19:45 - 20:00 | 0 | 1.99 | -1.24 | -2.06 | 3.1
20:00 - 20:15 | 0 | 2.17 | -1.24 | -2.06 | 3.35
20:15 - 20:30 | 0 | 1.59 | -1.24 | -2.06 | 2.46
20:30 - 20:45 | 0 | 1.46 | -1.24 | -2.06 | 2.27
20:45 - 21:00 | 0 | 1.51 | -1.24 | -2.06 | 2.35
21:00 - 21:15 | 0 | 1.63 | -1.24 | -2.06 | 2.52
21:15 - 21:30 | 0 | 1.38 | -1.24 | -2.06 | 2.13
21:30 - 21:45 | 0 | 1.08 | -1.24 | -2.06 | 1.66
21:45 - 22:00 | 0 | 1.02 | -1.24 | -2.06 | 1.58
22:00 - 22:15 | 0 | 0.42 | -1.24 | -2.06 | 0.66
22:15 - 22:30 | 0 | 0.26 | -1.24 | -2.06 | 0.4
22:30 - 22:45 | 0 | 0.17 | -1.24 | -2.06 | 0.27
22:45 - 23:00 | 0 | 0.02 | -1.24 | -2.06 | 0.04
23:00 - 23:15 | 0 | 0.11 | -1.24 | -2.06 | 0.16
23:15 - 23:30 | 0 | 0.07 | -1.24 | -2.06 | 0.1
23:30 - 23:45 | 0 | 0.76 | -1.24 | -2.06 | 1.17
23:45 - 24:00 | 0 | 0.69 | -1.24 | -2.06 | 1.09
Average | -5.4771 | -335.5607 | -1.24 | -1.9313 | 0.47448

## GDAM
GDAM TRADING DETAILS FOR DT:07.10.2026
Time Period | GRIDCO | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | Jindal_Stainless_Limited_Duburi_Odisha | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 1.4 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 1.41 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 1.43 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 1.56 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 1.68 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 1.28 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 1.34 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 1.32 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0.85 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0.78 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0.38 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 1.08 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0.49 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0.38 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0.34 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0.3 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:15 - 08:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:30 - 08:45 | 0 | 7.47 | 0 | 0 | 0 | 0 | 0
08:45 - 09:00 | 0 | 7.47 | 0 | 0 | 0 | 0 | 0
09:00 - 09:15 | 0 | 7.48 | 0 | 0 | 0 | 5.23 | 0
09:15 - 09:30 | 0 | 7.47 | 0 | 0 | 0 | 6.07 | 0
09:30 - 09:45 | 0 | 7.47 | 0 | 0 | 0 | 6.07 | 0
09:45 - 10:00 | 0 | 7.47 | 0 | 0 | 0 | 6.07 | 0
10:00 - 10:15 | 0 | 7.47 | 37.36 | 18.68 | 9.34 | 6.07 | 0
10:15 - 10:30 | 0 | 7.47 | 0 | 0 | 0 | 6.07 | 0
10:30 - 10:45 | 0 | 7.47 | 0 | 0 | 0 | 6.07 | 0
10:45 - 11:00 | 0 | 7.47 | 0 | 0 | 0 | 6.07 | 0
11:00 - 11:15 | 0 | 7.47 | 0 | 0 | 0 | 6.07 | 0
11:15 - 11:30 | 0 | 7.47 | 0 | 0 | 0 | 6.07 | 0
11:30 - 11:45 | 0 | 7.47 | 0 | 0 | 0 | 6.07 | 0
11:45 - 12:00 | 0 | 7.47 | 0 | 0 | 0 | 6.07 | 0
12:00 - 12:15 | 0 | 7.47 | 0 | 0 | 0 | 6.07 | 0
12:15 - 12:30 | 0 | 7.47 | 0 | 0 | 0 | 6.07 | 0
12:30 - 12:45 | 0 | 7.47 | 0 | 0 | 0 | 6.07 | 0
12:45 - 13:00 | 0 | 7.47 | 0 | 0 | 0 | 6.07 | 0
13:00 - 13:15 | 0 | 7.47 | 0 | 0 | 0 | 6.07 | 0
13:15 - 13:30 | 0 | 7.47 | 0 | 0 | 0 | 6.07 | 0
13:30 - 13:45 | 0 | 7.47 | 0 | 0 | 0 | 6.07 | 0
13:45 - 14:00 | 0 | 7.47 | 0 | 0 | 0 | 6.07 | 0
14:00 - 14:15 | 0 | 7.47 | 0 | 0 | 0 | 6.07 | 0
14:15 - 14:30 | 0 | 7.47 | 0 | 0 | 0 | 6.07 | 0
14:30 - 14:45 | 0 | 7.47 | 0 | 0 | 0 | 0 | 0
14:45 - 15:00 | 0 | 7.47 | 0 | 0 | 0 | 0 | 0
15:00 - 15:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15:15 - 15:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15:30 - 15:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15:45 - 16:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:00 - 16:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:15 - 16:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:30 - 16:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:45 - 17:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:15 - 17:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:30 - 17:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:45 - 18:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | 3.21 | 0 | 0 | 0 | 0 | 0 | 9.96
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0.91 | 0 | 0 | 0 | 0 | 0 | 1.77
18:45 - 19:00 | 0.04 | 0 | 0 | 0 | 0 | 0 | 0.07
19:00 - 19:15 | 1.9 | 0 | 0 | 0 | 0 | 0 | 2.94
19:15 - 19:30 | 2.48 | 0 | 0 | 0 | 0 | 0 | 3.85
19:30 - 19:45 | 2.04 | 0 | 0 | 0 | 0 | 0 | 3.18
19:45 - 20:00 | 2.4 | 0 | 0 | 0 | 0 | 0 | 3.72
20:00 - 20:15 | 2.89 | 0 | 0 | 0 | 0 | 0 | 4.48
20:15 - 20:30 | 3.24 | 0 | 0 | 0 | 0 | 0 | 5.04
20:30 - 20:45 | 3.25 | 0 | 0 | 0 | 0 | 0 | 5.05
20:45 - 21:00 | 3.22 | 0 | 0 | 0 | 0 | 0 | 4.99
21:00 - 21:15 | 3.22 | 0 | 0 | 0 | 0 | 0 | 4.99
21:15 - 21:30 | 3.11 | 0 | 0 | 0 | 0 | 0 | 4.83
21:30 - 21:45 | 2.86 | 0 | 0 | 0 | 0 | 0 | 4.43
21:45 - 22:00 | 2.83 | 0 | 0 | 0 | 0 | 0 | 4.39
22:00 - 22:15 | 2.9 | 0 | 0 | 0 | 0 | 0 | 4.49
22:15 - 22:30 | 2.86 | 0 | 0 | 0 | 0 | 0 | 4.43
22:30 - 22:45 | 2.83 | 0 | 0 | 0 | 0 | 0 | 4.39
22:45 - 23:00 | 2.73 | 0 | 0 | 0 | 0 | 0 | 4.25
23:00 - 23:15 | 2.52 | 0 | 0 | 0 | 0 | 0 | 3.93
23:15 - 23:30 | 2.37 | 0 | 0 | 0 | 0 | 0 | 3.67
23:30 - 23:45 | 2.19 | 0 | 0 | 0 | 0 | 0 | 3.39
23:45 - 24:00 | 2.26 | 0 | 0 | 0 | 0 | 0 | 3.51
Average | 0.77375 | 2.0232 | 0.38917 | 0.19458 | 0.097292 | 1.3823 | 0.9974

## RTM
RTM TRADING DETAILS FOR DT: 07.10.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Limited_5MW_Solar_Power_Plant_Lokapada | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Sponge_Iron_and_Steel_Limited | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Jharsuguda | SMC_Power_Generation_Limited_Unit_II_PTC | Shri_Jagannath_Steels_&_Power_Ltd | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Vedanta_Aluminium_Metal_Ltd_CPP_9X135MW_Jharsuguda | Visa_Chrome_Limited
00:00 - 00:15 | -1.44 | 0 | -0.62 | -1.86 | 3.78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | -2.06 | -20.62 | 0 | 0 | 0 | -20.62
00:15 - 00:30 | -1.44 | 0 | -0.62 | -1.86 | 4.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | -2.06 | -87.63 | 0 | 0 | 0 | -20.62
00:30 - 00:45 | -1.44 | 0 | -0.62 | -1.86 | 40.62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | 0 | -2.06 | -77.32 | 0 | 0 | 0 | -20.62
00:45 - 01:00 | -1.44 | 0 | -0.62 | -1.86 | 43.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | -20.62
01:00 - 01:15 | -1.44 | 0 | -0.62 | -1.86 | 29.92 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | 0 | -2.06 | -10.31 | 0 | 0 | 0 | -20.62
01:15 - 01:30 | -1.44 | 0 | -0.62 | -1.86 | 31.47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | 0 | -2.06 | -51.55 | 0 | 0 | 0 | -20.62
01:30 - 01:45 | -1.44 | 0 | -0.62 | -1.86 | 4.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -3.09 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | -20.62
01:45 - 02:00 | -1.44 | 0 | -0.62 | -1.86 | 5.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -3.09 | 0 | 0 | 0 | -2.06 | -10.31 | 0 | 0 | 0 | -20.62
02:00 - 02:15 | -1.44 | -3.09 | -0.62 | -1.86 | 5.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -3.09 | 0 | 0 | 0 | -2.06 | -61.86 | 0 | 0 | 0 | -20.62
02:15 - 02:30 | -1.44 | -4.12 | -0.62 | -1.86 | 6.35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -3.09 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | -20.62
02:30 - 02:45 | -1.44 | 0 | -0.62 | -1.86 | 7.66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -1.03 | 0 | 0 | 0 | -2.06 | -10.31 | 0 | 0 | 0 | -20.62
02:45 - 03:00 | -1.44 | 0 | -0.62 | -1.86 | 7.92 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -1.03 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | -20.62
03:00 - 03:15 | -1.44 | 0 | -0.62 | -1.86 | 9.29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -1.03 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | -20.62
03:15 - 03:30 | -1.44 | 0 | -0.62 | -1.86 | 8.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -1.03 | 0 | 0 | 0 | -2.06 | -20.62 | 0 | 0 | 0 | -20.62
03:30 - 03:45 | -1.44 | -3.09 | -0.62 | -1.86 | 8.58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -1.03 | 0 | 0 | 0 | -2.06 | -51.55 | 0 | 0 | 0 | -20.62
03:45 - 04:00 | -1.44 | -4.12 | -0.62 | -1.86 | 10.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -1.03 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | -20.62
04:00 - 04:15 | -1.44 | 0 | -0.62 | -1.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -1.03 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | -20.62
04:15 - 04:30 | -1.44 | 0 | -0.62 | -1.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -1.03 | 0 | 0 | 0 | -2.06 | -30.93 | 0 | 0 | 0 | -20.62
04:30 - 04:45 | -1.44 | 0 | -0.62 | -1.86 | 0 | 0 | -20.62 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -1.03 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | -20.62
04:45 - 05:00 | -1.44 | 0 | -0.62 | -1.86 | 0 | 0 | -20.62 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -1.03 | 0 | 0 | 0 | -2.06 | -10.31 | 0 | 0 | 0 | -20.62
05:00 - 05:15 | -1.44 | 0 | -0.62 | -1.86 | 0 | 0 | -41.24 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | -61.86 | 0 | 0 | 0 | -20.62
05:15 - 05:30 | -1.44 | 0 | -0.62 | -1.86 | 0 | 0 | -41.24 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | -10.31 | 0 | 0 | 0 | -20.62
05:30 - 05:45 | -1.44 | 0 | -0.62 | -1.86 | 0 | 0 | -41.24 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -1.03 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | -14.43
05:45 - 06:00 | -1.44 | 0 | -0.62 | -1.86 | 0 | 0 | -41.24 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -1.03 | 0 | 0 | 0 | -1.03 | -15.46 | 0 | 0 | 0 | -14.43
06:00 - 06:15 | -1.44 | 0 | -0.62 | -1.86 | -50 | 0 | -20.62 | -0.1 | -0.1 | 0 | 0 | 0 | -8.25 | -5.15 | 0 | 0 | -1.03 | 0 | 0 | -3.61 | -1.03 | -70.1 | 0 | 0 | 0 | -14.43
06:15 - 06:30 | -1.44 | 0 | -0.62 | -1.86 | -50 | 0 | -20.62 | -0.21 | -0.21 | 0 | 0 | 0 | -8.25 | -5.15 | 0 | 0 | -1.03 | 0 | 0 | -3.61 | -1.03 | -46.39 | 0 | 0 | 0 | -14.43
06:30 - 06:45 | -1.44 | 0 | -0.62 | -1.86 | -50 | 0 | -20.62 | -0.31 | -0.41 | 0 | 0 | -0.41 | -8.25 | -5.15 | 0 | 0 | -1.03 | 0 | 0 | -1.55 | -1.03 | 0 | 0 | 0 | 0 | -14.43
06:45 - 07:00 | -1.44 | 0 | -0.62 | -1.86 | -50 | 0 | -20.62 | -0.52 | -0.62 | 0 | 0 | -0.72 | -8.25 | -5.15 | 0 | 0 | -1.03 | 0 | 0 | -0.52 | -1.03 | 0 | 0 | 0 | 0 | -14.43
07:00 - 07:15 | -1.44 | 0 | -0.62 | -1.65 | -50 | 0 | -41.24 | -0.93 | -0.82 | 0 | 0 | -1.24 | -8.25 | -5.15 | 0 | 0 | -1.03 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | -14.43
07:15 - 07:30 | -1.44 | -7.22 | -0.62 | -1.65 | -50 | 0 | -41.24 | -1.13 | -0.93 | 0 | 0 | -1.55 | -8.25 | -5.15 | 0 | 0 | -1.03 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | -14.43
07:30 - 07:45 | -1.44 | -8.25 | -0.62 | -1.65 | -100 | 0 | 0 | -1.44 | -1.03 | 0 | 0 | -1.96 | -3.09 | -5.15 | 0 | 0 | -1.03 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 24.24 | -14.43
07:45 - 08:00 | -1.44 | 0 | -0.62 | -1.65 | -100 | 0 | 0 | -1.75 | -1.34 | 0 | 0 | -2.37 | -3.09 | -5.15 | 0 | 0 | -1.03 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | -14.43
08:00 - 08:15 | -1.44 | 7.47 | -1.03 | -1.65 | 192.58 | 0 | 0 | -2.06 | -1.55 | 0 | 0 | -2.99 | 0 | -5.15 | 0 | 0 | -1.03 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | -10.31
08:15 - 08:30 | -1.44 | 7.47 | -1.03 | -1.65 | 0 | 0 | 0 | -2.27 | -1.65 | 0 | 0 | -3.3 | 0 | -5.15 | 0 | 0 | -1.03 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | -10.31
08:30 - 08:45 | -1.13 | 7.47 | -1.03 | -1.65 | -46.99 | 0 | 0 | -2.37 | -1.86 | 0 | 0 | -3.92 | 0 | -5.15 | 0 | 0 | -1.03 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | -10.31
08:45 - 09:00 | -1.13 | 7.47 | -1.03 | -1.65 | -91.25 | 0 | 0 | -2.68 | -2.06 | 0 | 0 | -4.33 | 0 | -5.15 | 0 | 0 | -1.03 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | -10.31
09:00 - 09:15 | -1.13 | -4.12 | -1.03 | -1.65 | 0 | 5.61 | 0 | -2.99 | -2.37 | 0 | 0 | -4.64 | 0 | -5.15 | 0 | 0 | -1.03 | 0 | 0 | 0 | -1.03 | -51.55 | 0 | 0 | 0 | -7.22
09:15 - 09:30 | -1.13 | 7.47 | -1.03 | -1.65 | -4.26 | 5.61 | 0 | -3.09 | -2.37 | 0 | 0 | -4.95 | 0 | -5.15 | 0 | 0 | -1.03 | 0 | 0 | 0 | -1.03 | -51.55 | 0 | 0 | 0 | -7.22
09:30 - 09:45 | -1.13 | 7.47 | -0.62 | -1.65 | 0 | 5.61 | 0 | -3.2 | -2.58 | 0 | 0 | -5.15 | 0 | -5.15 | 3.73 | 0 | -1.03 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | -7.22
09:45 - 10:00 | -1.13 | 7.47 | -0.62 | -1.65 | 0 | 5.61 | 0 | -3.3 | -2.68 | 0 | 0 | -2.78 | 0 | -5.15 | 3.73 | 0 | -1.03 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | -7.22
10:00 - 10:15 | -1.13 | 7.47 | -1.03 | 0 | 0 | 5.61 | 0 | -3.3 | -2.68 | 0 | 0 | 0 | 0 | -5.15 | 3.73 | 0 | -1.03 | 0 | 0 | -1.55 | -1.03 | -51.55 | 0 | 0 | 0 | -7.22
10:15 - 10:30 | -1.13 | 7.47 | -1.03 | 0 | 0 | 5.61 | 0 | -3.3 | -2.78 | 0 | 0 | 0 | 0 | -5.15 | 3.73 | 0 | -1.03 | 0 | 0 | -1.55 | -1.03 | -30.93 | 0 | 0 | 0 | -7.22
10:30 - 10:45 | -1.13 | -7.22 | -1.03 | 0 | 0 | 5.6 | 0 | -3.61 | -2.99 | 0 | 0 | 0 | 0 | 0 | 3.73 | 0 | -1.03 | 0 | 1.87 | -1.55 | -1.03 | 0 | 0 | 0 | 0 | -7.22
10:45 - 11:00 | -1.13 | 7.47 | -1.03 | 0 | 1.45 | 5.61 | 0 | -3.61 | -3.09 | 0 | 0 | 0 | 0 | 0 | 3.73 | 0 | -1.03 | 0 | 1.87 | -1.55 | -1.03 | 0 | 0 | 0 | 0 | -7.22
11:00 - 11:15 | -1.13 | 7.47 | -1.03 | 0 | 91.45 | 5.61 | 0 | -3.81 | -3.2 | 0 | 5.61 | 0 | 0 | 0 | 3.73 | 0 | -1.03 | 1.87 | 1.87 | -1.55 | -1.03 | -61.86 | 0 | 0 | 0 | -4.12
11:15 - 11:30 | -1.13 | 7.47 | -1.03 | 0 | 91.46 | 5.61 | 0 | -4.02 | -3.2 | 0 | 5.61 | 0 | 0 | 0 | 3.73 | 0 | -1.03 | 1.87 | 1.87 | -1.55 | -1.03 | -30.93 | 0 | 0 | 0 | -4.12
11:30 - 11:45 | -1.13 | -3.09 | -1.03 | 0 | 115.45 | 5.61 | 0 | -3.81 | -3.09 | 0 | 0 | 0 | 0 | 0 | 3.73 | 0 | -1.03 | 1.87 | 1.87 | -1.55 | -1.03 | -20.62 | 0 | 0 | 0 | -4.12
11:45 - 12:00 | -1.13 | -4.12 | -1.03 | 0 | 186.08 | 5.61 | 0 | -3.81 | -2.89 | 0 | 0 | 0 | 0 | 0 | 3.73 | 0 | -1.03 | 1.87 | 1.87 | -1.55 | -1.03 | -61.86 | 0 | 0 | 0 | -4.12
12:00 - 12:15 | -1.13 | 7.47 | -1.03 | 0 | 343.78 | 0 | 0 | -3.92 | -3.09 | 0 | 0 | 0 | 0 | 0 | 3.73 | 0 | -1.03 | 0 | 0 | -1.55 | -1.03 | -61.86 | 0 | 0 | 0 | -4.12
12:15 - 12:30 | -1.13 | 7.47 | -1.03 | 0 | 356.23 | 0 | 0 | -3.81 | -2.99 | 0 | 0 | 0 | 0 | 0 | 3.73 | 0 | -1.03 | 0.61 | 0.61 | -1.55 | -1.03 | -61.86 | 0 | 0 | 0 | -4.12
12:30 - 12:45 | -1.13 | 7.47 | -1.03 | 0 | 341.29 | 0 | 0 | -3.71 | -2.89 | 0 | 5.61 | 0 | 0 | 0 | 3.73 | 8.41 | -1.03 | 1.87 | 1.87 | -1.55 | -1.03 | -61.86 | 10.27 | 0 | 0 | -4.12
12:45 - 13:00 | -1.13 | 7.47 | -1.03 | 0 | 287.23 | 0 | 0 | -3.61 | -2.89 | 0 | 5.61 | 0 | 0 | 0 | 3.73 | 0 | -1.03 | 1.87 | 1.87 | -1.55 | -1.03 | -41.24 | 0 | 0 | 0 | -4.12
13:00 - 13:15 | -1.13 | -4.12 | -1.03 | 0 | 219.86 | 0 | 0 | -3.51 | -2.78 | 9.34 | 5.61 | 2.99 | 0 | 0 | 3.73 | 8.41 | -1.03 | 1.87 | 1.87 | 0 | -1.03 | 0 | 10.27 | 0 | 0 | -4.12
13:15 - 13:30 | -1.13 | 7.47 | -1.03 | 0 | 243.57 | 0 | 0 | -3.3 | -2.58 | 9.34 | 5.61 | 3.17 | 0 | 0 | 3.73 | 8.41 | -1.03 | 1.87 | 1.87 | 0 | -1.03 | -20.62 | 10.27 | 0 | 0 | -4.12
13:30 - 13:45 | -1.13 | 7.47 | -0.52 | 0 | 175.25 | 7.47 | 0 | -3.09 | -2.27 | 0 | 0 | 0 | 0 | 0 | 3.73 | 0 | -1.03 | 1.87 | 1.87 | 0 | -1.03 | 0 | 0 | 0 | 0 | -1.03
13:45 - 14:00 | -1.13 | 7.47 | -0.52 | 0 | 156.48 | 7.47 | 0 | -2.99 | -2.16 | 0 | 0 | 0 | 0 | 0 | 3.73 | 0 | -1.03 | 0 | 0 | 0 | -1.03 | -51.55 | 0 | 0 | 0 | -1.03
14:00 - 14:15 | -1.13 | -7.22 | -0.52 | 0 | 24.07 | 3.86 | 0 | -2.78 | -1.96 | 0 | 0 | 0 | 0 | 0 | 3.73 | 0 | -1.03 | 0 | 0 | 0 | -1.03 | -51.55 | 0 | 0 | 0 | -1.03
14:15 - 14:30 | -1.13 | 7.47 | -0.52 | 0 | 95.62 | 0 | 0 | -2.58 | -1.86 | 0 | 0 | 0 | 0 | 0 | 3.73 | 0 | -1.03 | 0 | 0 | 0 | -1.03 | -51.55 | 0 | 0 | 0 | -1.03
14:30 - 14:45 | -1.13 | 7.47 | -0.52 | 0 | 28.64 | 0 | 0 | -2.47 | -1.55 | 0 | 0 | -0.62 | 0 | 0 | 3.73 | 0 | -1.03 | 0 | 0 | 0 | -1.03 | -51.55 | 0 | 0 | 0 | -1.03
14:45 - 15:00 | -1.13 | 7.47 | -0.52 | 0 | 72.21 | 0 | 0 | -2.27 | -1.34 | 0 | 0 | -3.09 | 0 | 0 | 1.69 | 0 | -1.03 | 0 | 0 | 0 | -1.03 | -51.55 | 0 | 0 | 0 | -1.03
15:00 - 15:15 | -1.13 | 7.47 | -0.52 | -1.65 | -283.36 | 0 | 0 | -1.96 | -1.03 | 0 | 0 | -2.78 | 0 | 0 | 0.23 | 0 | -1.03 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | -1.03
15:15 - 15:30 | -1.13 | 7.47 | -0.52 | -1.65 | -104.64 | 0 | 0 | -1.75 | -0.72 | 0 | 0 | -2.37 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | -1.03
15:30 - 15:45 | -1.13 | 0 | -1.13 | -1.65 | -33.17 | 0 | 0 | -1.44 | -0.52 | 0 | 0 | -1.86 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | -1.03 | -20.62 | 0 | 0 | 0 | -1.03
15:45 - 16:00 | -1.13 | 0 | -1.13 | -1.65 | -50 | 0 | 0 | -1.03 | -0.31 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | -1.03 | -20.62 | 0 | 0 | 0 | -1.03
16:00 - 16:15 | -1.13 | 0 | -1.34 | -1.65 | -100 | 0 | 0 | -0.72 | -0.1 | 0 | 0 | -1.24 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | -1.55 | -1.03 | -51.55 | 0 | 0 | 0 | -4.12
16:15 - 16:30 | -1.13 | 0 | -1.34 | -1.65 | -100 | 0 | 0 | -0.52 | 0 | 0 | 0 | -0.82 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | -1.55 | -1.03 | -51.55 | 0 | 0 | 0 | -4.12
16:30 - 16:45 | -1.13 | -7.22 | -1.34 | -1.65 | -150 | 0 | -41.24 | -0.31 | 0 | 0 | 0 | -0.52 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | -1.55 | -1.03 | -54.64 | 0 | 0 | 0 | -4.12
16:45 - 17:00 | -1.13 | 0 | -1.34 | -1.65 | -150 | 0 | -41.24 | -0.21 | 0 | 0 | 0 | -0.1 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | -1.55 | -1.03 | -54.64 | 0 | 0 | 0 | -4.12
17:00 - 17:15 | -1.13 | 0 | -1.34 | -1.86 | -150 | 0 | -41.24 | -0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -2.06 | -1.03 | -70.1 | 0 | 0 | 0 | 0
17:15 - 17:30 | -1.13 | 0 | -1.34 | -1.86 | -100 | 0 | -41.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -2.06 | -1.03 | -70.1 | 0 | 0 | 0 | 0
17:30 - 17:45 | -1.13 | 0 | -1.34 | -1.86 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -2.06 | -1.03 | -63.92 | 0 | 0 | 0 | 0
17:45 - 18:00 | -1.13 | 0 | -1.34 | -1.86 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -2.06 | -1.03 | -63.92 | 0 | 0 | 0 | 0
18:00 - 18:15 | -0.31 | 0 | -1.34 | -1.96 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | -53.61 | 0 | 2.76 | 0 | 0
18:15 - 18:30 | -0.31 | 0 | -1.34 | -1.96 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | -53.61 | 0 | 1.94 | 0 | 0
18:30 - 18:45 | -0.31 | 0 | -1.03 | -1.86 | -100 | 0 | -41.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | -53.61 | 0 | 7.55 | 0 | 0
18:45 - 19:00 | -0.31 | 0 | -1.03 | -1.86 | -100 | 0 | -41.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | -53.61 | 0 | 5.74 | 0 | 0
19:00 - 19:15 | -0.31 | 0 | -0.72 | -1.86 | 0 | 0 | -41.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | -27.84 | 0 | 0 | 0 | 0
19:15 - 19:30 | -0.31 | 0 | -0.72 | -1.86 | 0 | 0 | -41.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | -27.84 | 0 | 0 | 0 | 0
19:30 - 19:45 | -0.31 | -4.12 | -0.72 | -1.86 | 0 | 0 | -41.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -30.93 | 0 | 0 | 0 | 0
19:45 - 20:00 | -0.31 | 0 | -0.72 | -1.86 | 0 | 0 | -41.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -30.93 | 0 | 0 | 0 | 0
20:00 - 20:15 | -0.31 | 0 | -0.72 | -1.86 | 0 | 0 | -41.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -34.02 | 0 | 0 | 0 | 0
20:15 - 20:30 | -0.31 | 0 | -0.72 | -1.86 | 0 | 0 | -41.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -34.02 | 0 | 0 | 0 | 0
20:30 - 20:45 | -0.31 | 0 | -0.72 | -1.86 | 0 | 0 | -41.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -32.99 | 0 | 0 | 0 | 0
20:45 - 21:00 | -0.31 | 0 | -0.72 | -1.86 | 0 | 0 | -41.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -32.99 | 0 | 0 | 0 | 0
21:00 - 21:15 | -0.31 | 0 | -0.72 | -1.86 | 0 | 0 | -41.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -40.21 | 0 | 0 | 0 | 0
21:15 - 21:30 | -0.31 | 0 | -0.72 | -1.86 | 0 | 0 | -41.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -40.21 | 0 | 0 | 0 | 0
21:30 - 21:45 | -0.31 | 0 | -0.72 | -1.96 | 0 | 0 | -41.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -53.61 | 0 | 0 | 0 | 0
21:45 - 22:00 | -0.31 | 0 | -0.72 | -1.96 | 0 | 0 | -41.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -51.55 | 0 | 0 | 0 | 0
22:00 - 22:15 | -0.31 | 0 | -0.72 | -1.86 | 0 | 0 | -41.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -46.39 | 0 | 0 | 0 | 0
22:15 - 22:30 | -0.31 | 0 | -0.72 | -1.86 | 0 | 0 | -41.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -46.39 | 0 | 0 | 0 | 0
22:30 - 22:45 | -0.31 | -7.22 | -0.31 | -1.96 | 0 | 0 | -41.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -46.39 | 0 | 0 | 0 | -3.09
22:45 - 23:00 | -0.31 | 0 | -0.31 | -1.96 | 0 | 0 | -41.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -46.39 | 0 | 0 | 0 | -3.09
23:00 - 23:15 | -0.1 | 0 | -0.31 | -1.86 | 0 | 0 | -41.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -47.42 | 0 | 0 | 0 | -3.09
23:15 - 23:30 | -0.1 | 0 | -0.31 | -1.86 | 0 | 0 | -41.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -47.42 | 0 | 0 | 0 | -3.09
23:30 - 23:45 | -0.1 | 0 | -0.31 | -1.96 | 0 | 0 | -41.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -51.55 | 0 | 0 | 0 | -3.09
23:45 - 24:00 | -0.1 | -3.09 | -0.31 | -1.96 | 0 | 0 | -41.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -51.55 | 0 | 0 | 0 | -3.09
Average | -1.026 | 1.0193 | -0.78646 | -1.4371 | 10.2811 | 0.89698 | -15.0354 | -1.0802 | -0.80771 | 0.19458 | 0.35063 | -0.51146 | -0.58 | -1.9313 | 0.83594 | 0.26281 | -1.1158 | 0.18167 | 0.22063 | -0.44094 | -0.96563 | -31.9815 | 0.32094 | 0.1874 | 0.2525 | -8.161