## POWER STATUS
POWER STATUS ON DT 09.10.2026
[9 empty] | 2026-10-09 | 2026-10-08
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 19:00
Demand -> | [8 empty] | 5759.9134 | 6168.677
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla [Gate-L-0 , R-0] | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 205.208 | 4.925 | 630/590 ft | 629.83 | 630 | 629.95 | 214.4344 | 237.6157
| Chiplima | 72(3x24) | 56.75 | 1.362 | - |  |  |  | 51.4878 | 56.7409
| Balimela | 510(6x60+2x75) | 162.958 | 3.911 | 1516/1440 ft | 1503.4 | 1504.6 | 1504.8 | 1.027e-15 | 361.9254
| Rengali | 250(5x50) | 242.3 | 5.8152 | 123.5/109.75 mt | 123.83 | 123.59 | 123.53 | 247.35 | 244.6148
| Upper Kolab | 320(4x80) | 122.33 | 2.9359 | 858/844 mt | 857.4 | 855.96 | 855.96 | 0 | 176.4469
| Upper Indravati [Gate-0] | 600(4x150) | 603.9792 | 14.4955 | 642/625 mt | 640.97 | 641.31 | 641.24 | 604.1174 | 604.3362
| Machkund | 60(50% of(3x17+3x23)) | 16.33 | 0.39192 | 2750/2685 ft | 2748.7 | 2746.65 | 2746.6 | 0 | 0
| Total Hydro | 2099.5 | 1409.8552 | 33.8365 |  |  |  |  | 1117.3895 | 1681.68
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1064.3768 | 25.545 | RENEWABLE ENERGY (RE) |  |  |  | 1057.1052 | 1074.1463
[5 empty] | M.Hydl | 114.1871
| Total Thermal | 2200 | 1064.3768 | 25.545 | Solar | 140.5452 |  |  | 1057.1052 | 1074.1463
IPP | VEDANTA #2 | 600 (1x600) | 438.0899 | 10.5142 | Total IPPs | Yesterday's Demand Profile |  |  | 390.43 | 523.1445
| GMR #3 | 350 (1x350) | -0.072775 | -0.0017466 | 539.9471 |  | MW | HRS | -0.1225 | -0.11338
| NBVL(IPP) | 60(1x60) | 53.9929 | 1.2958 |  |  |  |  | 54.1664 | 53.5977
| MDTPC |  | 47.9371 | 1.1505 |  |  |  |  | 45.5269 | 55.3125
| CGPs |  | 1021.9547 | 24.5269 | IPPs, CGPs & RE | Maximum | 6483 | 15:00 | 1875.8882 | 1901.1651
| Central Sector(Drawl) |  | 1504.816 | 36.1156 | 1816.6342 | Minimum | 5097 | 06:00 | 1709.5305 | 1511.6857
| Central Sector(Sch) |  | 1637.3136 | 39.2955 |  | Average | 5795.6822 |  | 2023.2 | 1784.4012
| Grand Total |  | 5795.6822 | 139.0964 | Instantaneous Peak demand |  | 6558 | 15:20 | 5759.9134 | 6168.677
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(2) |  | ACTUAL |  | SCHEDULE(1)
Burla | 7 | IbTPS / OPGC | 4 |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1750.6578 | 42.0158 | 1712.798 | 41.1072 | 1737.2852 | 41.6948
Balimela | 5,6 | TSTPP St-I | 2 | TPWODL | 1859.2167 | 44.6212 | 1823.0914 | 43.7542 | 1808.1581 | 43.3958
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1355.4652 | 32.5312 | 1418.4081 | 34.0418 | 1289.452 | 30.9468
U.Kolab | 2 | KAHALGAON | 4,6 | TPSODL | 605.2241 | 14.5254 | 595.9034 | 14.3017 | 616.6002 | 14.7984
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5570.5639 | 133.6935 | 5550.2009 | 133.2048 | 5451.4955 | 130.8359
Machhkund | 1,3,4,5,6 | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 390.43 | GMR |  |  |  | -0.1225
| NBVL #3 | 54.1664 | MDTPC |  |  |  | 45.5269
Mini Hydel: | MEENAKSHI | 35.6081 | OPCL |  |  |  | 0
| BTPL | 28.5463 | SAPTADHARA |  |  |  | 10.0099
| SNHEP | 31.7283 | KAKATIYA |  |  |  | 7.6899
Solar: |  | 368.7066
CGPs : | JSPL (Angul) | 460.0988 | JSL(Duburi) |  |  |  | -149.2423
| ICCL | 48.9221 | visa |  |  |  | 19.3643
| NALCO | -112.6461 | VAL (CGP) |  |  |  | -187.374
| RSP | -32.3848 | BSL(MMDL) |  |  |  | 61.0861
| INDAL | -0.20742 | ADITYA ALUMINIUM |  |  |  | 61.378
| NINL | -29.627 | VAL CPP 400 kV |  |  |  | -504.4131
| NBVL | 54.1664 | Arati |  |  |  | 5.7718
| BPSL(JSG) | -46.2608 | BPPL |  |  |  | 117.0953
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-10-01 | 2026-10-02 | 2026-10-03 | 2026-10-04 | 2026-10-05 | 2026-10-06 | 2026-10-07 | 2026-10-08
1358.778 | 1420.25 | 1444.7416 | 1404.7308 | 1544.21 | 1522.08 | 1380.535 | 1409.8552
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.08.10.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | ARYAN_ISPAT | DNHDDPDCL | -5 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0.42
ENVIROCARE_INFRA | BALCO_LOAD | -6.5 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -0.6 | AGE26AL_PSS6_KPS1_S | ODISHA | 120.63
ENVIROCARE_INFRA | BALCO_LOAD | -6.5 | DCBL_Rajgangpur | DALCEMAP | -1.38 | AP41PL_BHDL | ODISHA | 58.77
FACORPOWER | APCPDCL | -20 | ENVIROCARE_INFRA | DNHDDPDCL | -5 | AP43PL_BKN | ODISHA | 90.07
FACORPOWER | PUNJAB | -6 | FACORPOWER | BYPL | -14 | AWEK1L | ODISHA | 2.69
GMRKEL_STU | RUVITSL | 0 | GMRKEL_STU | RUVITSL | 0 | AWEK1L | ODISHA | 4.04
GMRKEL_STU | TNEB | 0 | JPIPL | TANGEDCO | -1.1 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 4.75
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | JSPLANGUL | TANGEDCO | -100 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 11.7
JSPLANGUL | GEB_Beneficiary | -125 | JSPLANGUL | TANGEDCO | -50 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 19.53
JSPLANGUL | GEB_Beneficiary | -100 | KCMW_od | SFLPondyHEX288 | -0.47 | CGERP_MORJAR_BHJ2_HS | VLSEZ | 2.57
MAADURGA_THERMAL | NPCL_UP | -17.26 | KCMW_od | SFLPondyHWF407 | -0.7 | CGERP_MORJAR_BHJ2_HW | VLSEZ | 1.08
NBVLIPP | TANGEDCO | 0 | NBVLIPP | BYPL | -46 | CPTTNPL | VLSEZ | 4.22
OCL_IRON_STEEL | TPL_DIS_AHM_ISTS | -51.5 | NPSRL | MBPL | -5 | DADRI_SOLAR | ODISHA | 0.69
ODISHA | AMNSIL | -22.92 | OCL_IRON_STEEL | WBSEDCL | -8.5 | ENERSON_SOLAR_10MW | ODISHA | 1.11
ORSISL | BALCO_LOAD | -1.75 | ODISHA | TANGEDCO | -22.92 | GADAG_GreenInfra_W | ODISHA | 0.17
TSBSLA | BALCO_LOAD | -4.27 | ODISHA | WBSEDCL | -50 | GADAG_GreenInfra_W | ODISHA | 0
FARIDABAD_SOLAR | ODISHA | 0.86 | ODISHA | WBSEDCL | -50 | GADAG_GreenInfra_W | ODISHA | 0
JSWEL_UTKAL | ODISHA | 53.15 | ORSISL | DNHDDPDCL | -2.06 | GADAG_Serentica3_S | VLSEZ | 42.91
RAJ_SOLAR | ODISHA | 2.32 | RSPL_JHARSUGUDA | DNHDDPDCL | -20 | GADAG_Serentica3_W | VLSEZ | 2.66
RAJ_SOLAR | ODISHA | 2.72 | SGML | TPL_DIS_SUR | -7 | GADAG_Serentica3_W | VLSEZ | 11.77
|  |  | SMEL | DNHDDPDCL | -25 | GIWEL_SECI_II_RE | ODISHA | 3.87
|  |  | SMEL | TPL_DIS_SUR | -5 | GPCL_SOLAR_10 | ODISHA | 1.36
|  |  | Shri_JSPL | KRCIPPL | -2 | GSECL_SOLAR | ODISHA | 1.99
|  |  | Shri_JSPL | TPL_DIS_SUR | -2.5 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 2
|  |  | TSBSLA | DNHDDPDCL | -10 | KARUR_TPVARDHAMAN_W | TSKPO | 17.96
|  |  | TSBSLA | NPCL_UP | -10 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.5
|  |  | VIRAJ_SEPL | TANGEDCO | -10 | Kurnool_Greenko_H_Inj | ADITYAAL | 5.9
|  |  | VSL | DNHDDPDCL | -10 | Kurnool_Greenko_H_Inj | ADITYAAL | 1.51
|  |  | BSPHCL | VLSEZ | 4.01 | NTPCRE1_SMND_BHJ2_W | ODISHA | 2.04
|  |  | Darlipali_NTPC | ODISHA | 96.37 | O2RE3PL_Wasi_klm_W | VLSEZ | 4.49
|  |  | JIPL | ODISHA | 115.55 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 0
|  |  | MYTRAHVAYU | VLSEZ | 7.6 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0.08
|  |  | NALCOAP | NACL_Odisha | 1.48 | OKWPL_RE | ODISHA | 6.33
|  |  | VIPL_CSEB | VLSEZ | 6.74 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 20.11
[6 empty] | RWE_AP2_SECI_III | ODISHA | 4.61
[6 empty] | RenewGreen_SLPR_HS | JSL_DUBURI | 14.04
[6 empty] | SRI9PL_FTG3 | VLSEZ | 113.59
[6 empty] | TPVSL_BKN3 | TSKPO | 14.71
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.1
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.12
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 8.61
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 1.39
[6 empty] | XXPPL_FTG3 | ODISHA | 83.56

## DAM
DAM TRADING DETAILS FOR DT : 08.10.2026
Time Period | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | MGM_Minerals_Ltd | Nav_Bharat_ventures_Ltd
00:00 - 00:15 | 0 | 0.02 | -1.13 | -2.06
00:15 - 00:30 | 0 | 0.07 | -1.13 | -2.06
00:30 - 00:45 | 0 | 0.1 | -1.13 | -2.06
00:45 - 01:00 | 0 | 0.12 | -1.13 | -2.06
01:00 - 01:15 | 0 | 0.78 | -1.13 | -2.06
01:15 - 01:30 | 0 | 0.89 | -1.13 | -2.06
01:30 - 01:45 | 0 | 0.86 | -1.13 | -2.06
01:45 - 02:00 | 0 | 0.8 | -1.13 | -2.06
02:00 - 02:15 | 0 | 1.27 | -1.13 | -2.06
02:15 - 02:30 | 0 | 1.56 | -1.13 | -2.06
02:30 - 02:45 | 0 | 1.99 | -1.13 | -2.06
02:45 - 03:00 | 0 | 2.21 | -1.13 | -2.06
03:00 - 03:15 | 0 | 3.86 | -1.13 | -2.06
03:15 - 03:30 | 0 | 4.88 | -1.13 | -2.06
03:30 - 03:45 | 0 | 5.75 | -1.13 | -2.06
03:45 - 04:00 | 0 | 7.5 | -1.13 | -2.06
04:00 - 04:15 | 0 | 0 | -1.13 | -2.06
04:15 - 04:30 | 0 | 0 | -1.13 | -2.06
04:30 - 04:45 | 0 | 0 | -1.13 | -2.06
04:45 - 05:00 | 0 | 0 | -1.13 | -2.06
05:00 - 05:15 | 0 | 0 | -1.13 | -2.06
05:15 - 05:30 | 0 | 0 | -1.13 | -2.06
05:30 - 05:45 | 0 | 0 | -1.13 | -2.06
05:45 - 06:00 | 0 | 0 | -1.13 | -2.06
06:00 - 06:15 | -26.29 | -100 | -1.13 | -2.06
06:15 - 06:30 | -26.29 | -100 | -1.13 | -2.06
06:30 - 06:45 | -26.29 | -100 | -1.13 | -2.06
06:45 - 07:00 | -26.29 | -100 | -1.13 | -2.06
07:00 - 07:15 | -26.29 | -350 | -1.13 | -2.06
07:15 - 07:30 | -26.29 | -350 | -1.13 | -2.06
07:30 - 07:45 | -26.29 | -350 | -1.13 | -2.06
07:45 - 08:00 | -26.29 | -350 | -1.13 | -2.06
08:00 - 08:15 | -26.29 | -700 | -1.13 | -2.06
08:15 - 08:30 | -26.29 | -700 | -1.13 | -2.06
08:30 - 08:45 | 0 | -700 | -1.13 | -2.06
08:45 - 09:00 | 0 | -700 | -1.13 | -2.06
09:00 - 09:15 | 0 | -1075 | -1.13 | -2.06
09:15 - 09:30 | 0 | -1075 | -1.13 | -2.06
09:30 - 09:45 | 0 | -1075 | -1.13 | -2.06
09:45 - 10:00 | 0 | -1075 | -1.13 | -2.06
10:00 - 10:15 | 0 | -1150 | -1.13 | -1.03
10:15 - 10:30 | 0 | -1150 | -1.13 | -1.03
10:30 - 10:45 | 0 | -1150 | -1.13 | -1.03
10:45 - 11:00 | 0 | -1150 | -1.13 | -1.03
11:00 - 11:15 | 0 | -1125 | -1.13 | -1.03
11:15 - 11:30 | 0 | -1125 | -1.13 | -1.03
11:30 - 11:45 | 0 | -1125 | -1.13 | -1.03
11:45 - 12:00 | 0 | -1125 | -1.13 | -1.03
12:00 - 12:15 | 0 | -975 | -1.13 | -1.03
12:15 - 12:30 | 0 | -975 | -1.13 | -1.03
12:30 - 12:45 | 0 | -975 | -1.13 | -1.03
12:45 - 13:00 | 0 | -975 | -1.13 | -1.03
13:00 - 13:15 | 0 | -900 | -1.13 | -1.03
13:15 - 13:30 | 0 | -900 | -1.13 | -1.03
13:30 - 13:45 | 0 | -900 | -1.13 | -1.03
13:45 - 14:00 | 0 | -900 | -1.13 | -1.03
14:00 - 14:15 | 0 | -750 | -1.13 | -1.03
14:15 - 14:30 | 0 | -750 | -1.13 | -1.03
14:30 - 14:45 | 0 | -750 | -1.13 | -1.03
14:45 - 15:00 | 0 | -750 | -1.13 | -1.03
15:00 - 15:15 | -26.29 | -600 | -1.13 | -2.06
15:15 - 15:30 | -26.29 | -600 | -1.13 | -2.06
15:30 - 15:45 | -26.29 | -525 | -1.13 | -2.06
15:45 - 16:00 | -26.29 | -525 | -1.13 | -2.06
16:00 - 16:15 | -26.29 | -675 | -1.13 | -2.06
16:15 - 16:30 | -26.29 | -575 | -1.13 | -2.06
16:30 - 16:45 | -26.29 | -375 | -1.13 | -2.06
16:45 - 17:00 | -26.29 | -275 | -1.13 | -2.06
17:00 - 17:15 | -26.29 | -200 | -1.13 | -2.06
17:15 - 17:30 | -26.29 | -100 | -1.13 | -2.06
17:30 - 17:45 | -26.29 | 0 | -1.13 | -2.06
17:45 - 18:00 | -26.29 | 0 | -1.13 | -2.06
18:00 - 18:15 | 0 | 1.07 | -1.13 | -2.06
18:15 - 18:30 | 0 | 0.02 | -1.13 | -2.06
18:30 - 18:45 | 0 | 0 | -1.13 | -2.06
18:45 - 19:00 | 0 | 0.02 | -1.13 | -2.06
19:00 - 19:15 | 0 | 0.28 | -1.13 | -2.06
19:15 - 19:30 | 0 | 0.52 | -1.13 | -2.06
19:30 - 19:45 | 0 | 0.65 | -1.13 | -2.06
19:45 - 20:00 | 0 | 1.16 | -1.13 | -2.06
20:00 - 20:15 | 0 | 1.53 | -1.13 | -2.06
20:15 - 20:30 | 0 | 0.81 | -1.13 | -2.06
20:30 - 20:45 | 0 | 0.64 | -1.13 | -2.06
20:45 - 21:00 | 0 | 0.44 | -1.13 | -2.06
21:00 - 21:15 | 0 | 0.37 | -1.13 | -2.06
21:15 - 21:30 | 0 | 0.33 | -1.13 | -2.06
21:30 - 21:45 | 0 | 0.3 | -1.13 | -2.06
21:45 - 22:00 | 0 | 0.34 | -1.13 | -2.06
22:00 - 22:15 | 0 | 0.06 | -1.13 | -2.06
22:15 - 22:30 | 0 | 0.01 | -1.13 | -2.06
22:30 - 22:45 | 0 | 0.21 | -1.13 | -2.06
22:45 - 23:00 | 0 | 0.12 | -1.13 | -2.06
23:00 - 23:15 | 0 | 0.02 | -1.13 | -2.06
23:15 - 23:30 | 0 | 0.01 | -1.13 | -2.06
23:30 - 23:45 | 0 | 0.58 | -1.13 | -2.06
23:45 - 24:00 | 0 | 1.09 | -1.13 | -2.06
Average | -6.0248 | -342.7788 | -1.13 | -1.8454

## GDAM
GDAM TRADING DETAILS FOR DT:08.10.2026
Time Period | GRIDCO | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0.88 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0.85 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0.85 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0.84 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0.98 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 1 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0.62 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0.63 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0.12 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0.13 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0.13 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0.13 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0.13 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0.13 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0.13 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0.14 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | 0 | 0 | 0 | 0 | 0
08:15 - 08:30 | 0 | 0 | 0 | 0 | 0 | 0
08:30 - 08:45 | 0 | 0 | 0 | 0 | 0 | 0
08:45 - 09:00 | 0 | 7.47 | 0 | 0 | 0 | 0
09:00 - 09:15 | 0 | 7.47 | 0 | 0 | 0 | 0
09:15 - 09:30 | 0 | 7.47 | 0 | 0 | 0 | 0
09:30 - 09:45 | 0 | 7.47 | 0 | 0 | 0 | 0
09:45 - 10:00 | 0 | 7.47 | 0 | 0 | 6.07 | 0
10:00 - 10:15 | 0 | 7.47 | 0 | 0 | 6.07 | 0
10:15 - 10:30 | 0 | 7.47 | 0 | 0 | 6.07 | 0
10:30 - 10:45 | 0 | 7.47 | 0 | 0 | 6.07 | 0
10:45 - 11:00 | 0 | 7.47 | 0 | 0 | 6.07 | 0
11:00 - 11:15 | 0 | 7.47 | 0 | 0 | 6.07 | 0
11:15 - 11:30 | 0 | 7.47 | 0 | 0 | 6.07 | 0
11:30 - 11:45 | 0 | 7.47 | 0 | 0 | 6.07 | 0
11:45 - 12:00 | 0 | 7.47 | 0 | 0 | 6.07 | 0
12:00 - 12:15 | 0 | 7.47 | 0 | 0 | 6.07 | 0
12:15 - 12:30 | 0 | 7.47 | 0 | 0 | 6.07 | 0
12:30 - 12:45 | 0 | 7.47 | 0 | 0 | 6.07 | 0
12:45 - 13:00 | 0 | 7.47 | 0 | 0 | 6.07 | 0
13:00 - 13:15 | 0 | 7.47 | 37.36 | 9.34 | 6.07 | 0
13:15 - 13:30 | 0 | 7.47 | 37.36 | 9.34 | 6.07 | 0
13:30 - 13:45 | 0 | 7.47 | 37.36 | 9.34 | 6.07 | 0
13:45 - 14:00 | 0 | 7.47 | 37.36 | 9.34 | 6.07 | 0
14:00 - 14:15 | 0 | 7.47 | 0 | 0 | 0 | 0
14:15 - 14:30 | 0 | 7.47 | 0 | 0 | 0 | 0
14:30 - 14:45 | 0 | 6.67 | 0 | 0 | 0 | 0
14:45 - 15:00 | 0 | 7.44 | 0 | 0 | 0 | 0
15:00 - 15:15 | 0 | 7.47 | 0 | 0 | 0 | 0
15:15 - 15:30 | 0 | 7.47 | 0 | 0 | 0 | 0
15:30 - 15:45 | 0 | 0 | 0 | 0 | 0 | 0
15:45 - 16:00 | 0 | 0 | 0 | 0 | 0 | 0
16:00 - 16:15 | 0 | 0 | 0 | 0 | 0 | 0
16:15 - 16:30 | 0 | 0 | 0 | 0 | 0 | 0
16:30 - 16:45 | 0 | 0 | 0 | 0 | 0 | 0
16:45 - 17:00 | 0 | 0 | 0 | 0 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | 0 | 0 | 0
17:15 - 17:30 | 0 | 0 | 0 | 0 | 0 | 0
17:30 - 17:45 | 0 | 0 | 0 | 0 | 0 | 0
17:45 - 18:00 | 0 | 0 | 0 | 0 | 0 | 1.86
18:00 - 18:15 | 1.89 | 0 | 0 | 0 | 0 | 3.66
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 2.73 | 0 | 0 | 0 | 0 | 3.16
18:45 - 19:00 | 1.54 | 0 | 0 | 0 | 0 | 1.78
19:00 - 19:15 | 2.41 | 0 | 0 | 0 | 0 | 1.75
19:15 - 19:30 | 2.46 | 0 | 0 | 0 | 0 | 1.79
19:30 - 19:45 | 2.5 | 0 | 0 | 0 | 0 | 1.82
19:45 - 20:00 | 2.52 | 0 | 0 | 0 | 0 | 1.84
20:00 - 20:15 | 2.57 | 0 | 0 | 0 | 0 | 1.87
20:15 - 20:30 | 2.61 | 0 | 0 | 0 | 0 | 1.89
20:30 - 20:45 | 2.68 | 0 | 0 | 0 | 0 | 1.94
20:45 - 21:00 | 2.67 | 0 | 0 | 0 | 0 | 1.94
21:00 - 21:15 | 2.72 | 0 | 0 | 0 | 0 | 1.98
21:15 - 21:30 | 2.45 | 0 | 0 | 0 | 0 | 1.78
21:30 - 21:45 | 2.44 | 0 | 0 | 0 | 0 | 1.78
21:45 - 22:00 | 2.43 | 0 | 0 | 0 | 0 | 1.77
22:00 - 22:15 | 2.44 | 0 | 0 | 0 | 0 | 1.78
22:15 - 22:30 | 2.42 | 0 | 0 | 0 | 0 | 1.76
22:30 - 22:45 | 2.39 | 0 | 0 | 0 | 0 | 1.74
22:45 - 23:00 | 2.42 | 0 | 0 | 0 | 0 | 1.76
23:00 - 23:15 | 2.39 | 0 | 0 | 0 | 0 | 1.74
23:15 - 23:30 | 2.4 | 0 | 0 | 0 | 0 | 1.75
23:30 - 23:45 | 2.41 | 0 | 0 | 0 | 0 | 1.75
23:45 - 24:00 | 2.46 | 0 | 0 | 0 | 0 | 1.79
Average | 0.66292 | 2.0923 | 1.5567 | 0.38917 | 1.0749 | 0.48625

## RTM
RTM TRADING DETAILS FOR DT: 08.10.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Limited_5MW_Solar_Power_Plant_Lokapada | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | NU_VISTA_LIMITED_(FORMERLY_EMAMI_CEMENT_LIMITED) | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Jharsuguda | Shri_Jagannath_Steels_&_Power_Ltd | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Visa_Chrome_Limited | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Vedanta_Aluminium_Metal_Ltd_CPP_9X135MW_Jharsuguda | Visa_Chrome_Limited
00:00 - 00:15 | -0.21 | -4.12 | -0.62 | -1.96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | -67.01 | 0 | 0 | -3.09 | 0 | 0 | 0 | -20.62
00:15 - 00:30 | -0.21 | 0 | -0.62 | -1.96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | -67.01 | 0 | 0 | -3.09 | 0 | 0 | 0 | -20.62
00:30 - 00:45 | -0.21 | 0 | -0.62 | -1.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | -69.07 | 0 | 0 | -3.09 | 0 | 0 | 0 | -20.62
00:45 - 01:00 | -0.21 | 0 | -0.62 | -1.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | -69.07 | 0 | 0 | -3.09 | 0 | 0 | 0 | -20.62
01:00 - 01:15 | -0.21 | 0 | -0.62 | -1.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -70.1 | 0 | 0 | -3.09 | 0 | 0 | 0 | -20.62
01:15 - 01:30 | -0.21 | -3.09 | -0.62 | -1.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -70.1 | 0 | 0 | -3.09 | 0 | 0 | 0 | -20.62
01:30 - 01:45 | -0.21 | -4.12 | -0.62 | -1.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -80.41 | 0 | 0 | -3.09 | 0 | 0 | 0 | -20.62
01:45 - 02:00 | -0.21 | 0 | -0.62 | -1.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -80.41 | 0 | 0 | -3.09 | 0 | 0 | 0 | -20.62
02:00 - 02:15 | -0.21 | 0 | -0.62 | -1.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -72.16 | 0 | 0 | -3.09 | 0 | 0 | 0 | -20.62
02:15 - 02:30 | -0.21 | 0 | -0.62 | -1.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -72.16 | 0 | 0 | -3.09 | 0 | 0 | 0 | -20.62
02:30 - 02:45 | -0.21 | 0 | -0.62 | -1.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -70.1 | 0 | 0 | -3.09 | 0 | 0 | 0 | -20.62
02:45 - 03:00 | -0.21 | 0 | -0.62 | -1.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -70.1 | 0 | 0 | -3.09 | 0 | 0 | 0 | -20.62
03:00 - 03:15 | -0.21 | 0 | -0.62 | -1.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -56.7 | 0 | 0 | -3.09 | 0 | 0 | 0 | -20.62
03:15 - 03:30 | -0.21 | 0 | -0.62 | -1.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -56.7 | 0 | 0 | -3.09 | 0 | 0 | 0 | -20.62
03:30 - 03:45 | -0.21 | -12.37 | -0.62 | -1.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -53.61 | 0 | 0 | -3.09 | 0 | 0 | 0 | -20.62
03:45 - 04:00 | -0.21 | 0 | -0.62 | -1.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -53.61 | 0 | 0 | -3.09 | 0 | 0 | 0 | -20.62
04:00 - 04:15 | -0.21 | 0 | -0.62 | -1.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -51.55 | 0 | 0 | -3.09 | 0 | 0 | 0 | -20.62
04:15 - 04:30 | -0.21 | 0 | -0.62 | -1.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -51.55 | 0 | 0 | -3.09 | 0 | 0 | 0 | -20.62
04:30 - 04:45 | -0.21 | 0 | -0.62 | -1.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -56.7 | 0 | 0 | -3.09 | 0 | 0 | 0 | -20.62
04:45 - 05:00 | -0.21 | 0 | -0.62 | -1.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -56.7 | 0 | 0 | -3.09 | 0 | 0 | 0 | -20.62
05:00 - 05:15 | -0.21 | -7.22 | -0.62 | -1.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -59.79 | 0 | 0 | -3.09 | 0 | 0 | 0 | -20.62
05:15 - 05:30 | -0.21 | 0 | -0.62 | -1.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -59.79 | 0 | 0 | -3.09 | 0 | 0 | 0 | -20.62
05:30 - 05:45 | -0.21 | 0 | -0.62 | -1.86 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -61.86 | 0 | 0 | -3.09 | 0 | 0 | 0 | -14.43
05:45 - 06:00 | -0.21 | 0 | -0.62 | -1.86 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -61.86 | 0 | 0 | -3.09 | 0 | 0 | 0 | -14.43
06:00 - 06:15 | -0.21 | 0 | -0.62 | -1.86 | -200 | 0 | 0 | -0.1 | -0.1 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | 0 | -67.01 | 0 | 0 | -2.06 | 0 | 0 | 0 | -14.43
06:15 - 06:30 | -0.21 | 0 | -0.62 | -1.86 | -200 | 0 | 0 | -0.21 | -0.21 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | 0 | -67.01 | 0 | 0 | -2.06 | 0 | 0 | 0 | -14.43
06:30 - 06:45 | -0.21 | 0 | -0.62 | -1.75 | -200 | 0 | 0 | -0.31 | -0.31 | 0 | 0 | -0.41 | 0 | 0 | -4.12 | 0 | 0 | 0 | -61.86 | 0 | 0 | -2.06 | 0 | 0 | 0 | -14.43
06:45 - 07:00 | -0.21 | 0 | -0.62 | -1.75 | -200 | 0 | 0 | -0.52 | -0.52 | 0 | 0 | -0.72 | 0 | 0 | -4.12 | 0 | 0 | 0 | -61.86 | 0 | 0 | -2.06 | 0 | 0 | 0 | -14.43
07:00 - 07:15 | -0.21 | -7.22 | -0.62 | -1.75 | 0 | 0 | 0 | -0.93 | -0.72 | 0 | 0 | -1.13 | 0 | 0 | -8.25 | 0 | 0 | 0 | -67.01 | 0 | 0 | -2.06 | 0 | 0 | 0 | -14.43
07:15 - 07:30 | -0.21 | 0 | -0.62 | -1.75 | -50 | 0 | 0 | -1.13 | -0.82 | 0 | 0 | -1.44 | 0 | 0 | -8.25 | 0 | 0 | 0 | -67.01 | 0 | 0 | -2.06 | 0 | 0 | 0 | -14.43
07:30 - 07:45 | -0.21 | 0 | -0.62 | -1.75 | -50 | 0 | 0 | -1.44 | -1.03 | 0 | 0 | -1.86 | 0 | 0 | -8.25 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 24.24 | -14.43
07:45 - 08:00 | -0.21 | 0 | -0.62 | -1.75 | -100 | 0 | 0 | -1.75 | -1.24 | 0 | 0 | -2.27 | 0 | 0 | -8.25 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | -14.43
08:00 - 08:15 | -0.21 | 7.47 | -0.62 | -1.75 | 0 | 0 | 0 | -2.06 | -1.44 | 0 | 0 | -2.89 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | -10.31
08:15 - 08:30 | -0.21 | 7.47 | -0.62 | -1.75 | 0 | 0 | 0 | -2.27 | -1.65 | 0 | 0 | -3.2 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | -10.31
08:30 - 08:45 | -0.21 | 7.47 | -0.62 | -1.86 | 0 | 3.73 | 0 | -2.37 | -1.86 | 0 | 0 | -3.81 | 2.8 | 0 | -5.15 | 0 | 0 | 0 | -41.24 | 0 | 0 | -2.06 | 0 | 0 | 0 | -10.31
08:45 - 09:00 | -0.21 | -6.19 | -0.62 | -1.86 | 0 | 3.73 | 0 | -2.68 | -2.06 | 0 | 0 | -4.23 | 2.8 | 0 | -5.15 | 0 | 0 | 0 | -20.62 | 0 | 0 | -2.06 | 0 | 0 | 0 | -10.31
09:00 - 09:15 | -0.21 | 7.47 | -0.62 | -1.65 | 0 | 0 | 0 | -2.99 | -2.27 | 0 | 0 | -4.43 | 2.8 | 0 | -5.15 | 0 | 0 | 0 | -51.55 | 0 | 0 | 0 | 0 | 0 | 0 | -7.22
09:15 - 09:30 | -0.21 | 7.47 | -0.62 | -1.65 | 0 | 3.73 | 0 | -3.09 | -2.37 | 0 | 0 | -4.74 | 2.8 | 0 | -5.15 | 0 | 0 | 0 | -41.24 | 0 | 0 | 0 | 0 | 0 | 0 | -7.22
09:30 - 09:45 | -0.21 | 7.47 | -0.62 | -1.65 | 0 | 0 | 0 | -3.2 | -2.58 | 0 | 0 | -5.05 | 2.8 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.22
09:45 - 10:00 | -0.21 | 7.47 | -0.62 | -1.65 | 0 | 0 | 0 | -3.3 | -2.68 | 0 | 0 | -2.68 | 2.8 | 0 | -5.15 | 0 | 0 | 0 | -10.31 | 0 | 0 | 0 | 0 | 0 | 0 | -7.22
10:00 - 10:15 | -0.21 | 7.47 | -0.62 | 0 | 0 | 5.61 | 0 | -3.3 | -2.68 | 0 | 0 | 0 | 2.8 | 8.72 | -6.19 | 4.67 | 0 | 0 | -41.24 | 3.36 | 0 | 0 | 0 | 0 | 0 | -7.22
10:15 - 10:30 | -0.21 | 7.47 | -0.62 | 0 | 0 | 5.61 | 0 | -3.3 | -2.78 | 9.34 | 0 | 0 | 2.8 | 12.15 | -6.19 | 4.67 | 0 | 0 | 0 | 4.67 | 0 | 0 | 0 | 0 | 0 | -7.22
10:30 - 10:45 | -0.21 | -28.87 | -0.62 | 0 | 0 | 5.61 | 0 | -3.61 | -2.99 | 0 | 0 | 0 | 2.8 | 0 | -6.19 | 4.67 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.22
10:45 - 11:00 | -0.21 | -20.62 | -0.62 | 0 | 0 | 5.61 | 0 | -3.61 | -3.09 | 0 | 0 | 0 | 2.8 | 0 | -6.19 | 4.67 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.22
11:00 - 11:15 | -0.21 | 2.8 | -0.62 | 0 | 0 | 5.61 | 0 | -3.81 | -2.47 | 0 | 0 | 0 | 2.8 | 0 | -6.19 | 4.67 | 0 | 0 | -41.24 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12
11:15 - 11:30 | -0.21 | 4.67 | -0.62 | 0 | 0 | 5.62 | 0 | -4.02 | -2.27 | 0 | 0 | 0 | 2.8 | 0 | -6.19 | 4.67 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12
11:30 - 11:45 | -0.21 | 7.48 | -0.62 | 0 | -65.03 | 0 | 0 | -3.81 | -2.06 | 0 | 0 | 0 | 2.8 | 0 | -6.19 | 4.67 | 0 | 0 | -20.62 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12
11:45 - 12:00 | -0.21 | 7.48 | -0.62 | 0 | -65.03 | 0 | 0 | -3.81 | -1.65 | 0 | 0 | 0 | 2.8 | 0 | -6.19 | 4.67 | 0 | 0 | -61.86 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12
12:00 - 12:15 | -0.21 | 7.47 | -0.62 | 0 | -58.49 | 5.61 | 0 | -3.92 | -2.06 | 0 | 0 | 0 | 2.8 | 0 | -6.19 | 4.67 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12
12:15 - 12:30 | -0.21 | 7.47 | -0.62 | 0 | 0 | 5.61 | 0 | -3.81 | -2.68 | 0 | 0 | 0 | 2.8 | 0 | -6.19 | 4.67 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12
12:30 - 12:45 | -0.21 | -7.22 | -0.62 | 0 | 0 | 0 | 0 | -3.71 | -2.27 | 9.34 | 8.59 | 0 | 2.8 | 12.14 | -6.19 | 4.67 | -1.03 | 0 | -51.55 | 4.67 | 0 | 0 | 10.27 | 0 | 0 | -4.12
12:45 - 13:00 | -0.21 | 7.47 | -0.62 | 0 | 0 | 0 | 0 | -3.61 | -2.06 | 9.34 | 8.59 | 0 | 2.8 | 12.15 | -6.19 | 4.67 | -1.55 | 0 | -72.16 | 4.67 | 0 | 0 | 0 | 0 | 0 | -4.12
13:00 - 13:15 | -0.21 | 7.47 | -0.62 | 0 | 136.96 | 3.73 | 0 | -3.51 | -2.06 | 0 | 8.59 | 3.17 | 2.8 | 12.14 | -6.19 | 4.67 | -1.55 | 0 | -10.31 | 4.67 | 0 | 0 | 10.27 | 0 | 0 | -4.12
13:15 - 13:30 | -0.21 | 7.47 | -0.62 | 0 | 130.02 | 3.73 | 0 | -3.3 | -1.86 | 0 | 8.59 | 3.37 | 2.8 | 12.14 | -6.19 | 4.67 | -1.03 | 0 | -20.62 | 4.67 | 0 | 0 | 10.27 | 0 | 0 | -4.12
13:30 - 13:45 | -0.21 | 7.47 | -0.62 | 0 | 0 | 3.73 | 0 | -3.09 | -1.86 | 0 | 8.59 | -1.65 | 2.8 | 12.15 | -6.19 | 4.67 | 0 | 0 | -30.93 | 4.67 | 0 | 0 | 0 | 0 | 0 | -1.03
13:45 - 14:00 | -0.21 | 7.47 | -0.62 | 0 | -20.03 | 3.73 | 0 | -2.99 | -1.65 | 0 | 8.6 | -3.92 | 2.8 | 0 | -6.19 | 4.67 | 0 | 0 | -61.86 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
14:00 - 14:15 | -0.21 | -7.22 | -1.24 | 0 | -74.67 | 3.73 | 0 | -2.78 | -1.65 | 0 | 8.59 | -4.23 | 2.8 | 0 | -6.19 | 4.67 | 0 | 0 | -61.86 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
14:15 - 14:30 | -0.21 | 7.47 | -1.24 | 0 | 0 | 3.73 | 0 | -2.58 | -1.44 | 0 | 0 | -3.4 | 2.8 | 0 | -6.19 | 0 | 0 | 0 | -61.86 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
14:30 - 14:45 | -0.21 | 7.48 | -1.24 | 0 | -0.01 | 1.39 | 0 | -2.47 | -1.24 | 0 | 0 | -3.09 | 2.8 | 0 | -6.19 | 0 | 0 | -2.06 | -61.86 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
14:45 - 15:00 | -0.21 | 7.47 | -1.24 | 0 | -9.09 | 0 | 0 | -2.27 | -1.13 | 0 | 0 | -2.68 | 2.8 | 0 | -6.19 | 0 | 0 | -2.06 | -41.24 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
15:00 - 15:15 | -0.21 | 7.47 | -1.24 | -1.75 | -364.28 | 0 | 0 | -1.96 | -0.93 | 0 | 0 | -2.37 | 0 | 0 | -6.19 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
15:15 - 15:30 | -0.21 | 0.86 | -1.24 | -1.75 | -271.43 | 0 | 0 | -1.75 | -0.62 | 0 | 0 | -2.06 | 0 | 0 | -6.19 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
15:30 - 15:45 | -0.21 | -14.43 | -1.75 | -1.75 | -200 | 0 | 0 | -1.44 | -0.41 | 0 | 0 | -1.65 | 0 | 0 | -6.19 | 0 | 0 | -2.06 | -41.24 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
15:45 - 16:00 | -0.21 | -14.43 | -1.75 | -1.75 | -300 | 0 | 0 | -1.03 | -0.21 | 0 | 0 | -1.34 | 0 | 0 | -6.19 | 0 | 0 | -2.06 | -72.16 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
16:00 - 16:15 | -0.21 | 0 | -1.75 | -1.75 | -450 | 0 | -20.62 | -0.72 | -0.1 | 0 | 0 | -1.03 | 0 | 0 | -6.19 | 0 | 0 | -2.06 | -61.86 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12
16:15 - 16:30 | -0.21 | 0 | -1.75 | -1.75 | -450 | 0 | -20.62 | -0.52 | 0 | 0 | 0 | -0.72 | 0 | 0 | -6.19 | 0 | 0 | -2.06 | -61.86 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12
16:30 - 16:45 | -0.21 | -3.09 | -1.75 | -1.86 | -450 | 0 | -20.62 | -0.31 | 0 | 0 | 0 | -0.41 | 0 | 0 | -2.06 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12
16:45 - 17:00 | -0.21 | -4.12 | -1.75 | -1.86 | -450 | 0 | -20.62 | -0.21 | 0 | 0 | 0 | -0.1 | 0 | 0 | -2.06 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12
17:00 - 17:15 | -0.21 | 0 | -1.34 | -1.96 | -300 | 0 | -41.24 | -0.1 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -2.06 | -20.62 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:15 - 17:30 | -0.21 | 0 | -1.34 | -1.96 | -400 | 0 | -41.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -2.06 | -51.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:30 - 17:45 | -0.21 | 0 | -1.34 | -1.96 | -400 | 0 | -41.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | -1.55 | -2.06 | -61.86 | 0 | 2.08 | -1.03 | 0 | 0 | 0 | 0
17:45 - 18:00 | -0.21 | 0 | -1.34 | -1.96 | -250 | 0 | -41.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | -1.55 | -2.06 | -61.86 | 0 | 2.01 | -1.03 | 0 | 0 | 0 | 0
18:00 - 18:15 | -0.21 | 0 | -1.34 | -1.96 | 0 | 0 | -41.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | -2.06 | -61.86 | 0 | 1.55 | -1.03 | 0 | 2.76 | 0 | 0
18:15 - 18:30 | -0.21 | 0 | -1.34 | -1.96 | 0 | 0 | -41.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | -2.06 | -41.24 | 0 | 1.19 | -1.03 | 0 | 1.94 | 0 | 0
18:30 - 18:45 | -0.21 | -7.22 | -1.34 | -1.96 | 0 | 0 | -41.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -2.06 | 0 | 0 | 11.66 | -1.03 | 0 | 7.55 | 0 | 0
18:45 - 19:00 | -0.21 | 0 | -1.34 | -1.96 | 0 | 0 | -41.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -2.06 | 0 | 0 | 13.54 | -1.03 | 0 | 5.74 | 0 | 0
19:00 - 19:15 | -0.21 | 0 | -1.34 | -2.06 | 10.3 | 0 | -41.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | -1.03 | 0 | -61.86 | 0 | 12 | -2.06 | 0 | 0 | 0 | 0
19:15 - 19:30 | -0.21 | 0 | -1.34 | -2.06 | 9.69 | 0 | -41.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | -1.03 | 0 | -61.85 | 0 | 11.27 | -2.06 | 0 | 0 | 0 | 0
19:30 - 19:45 | -0.21 | 0 | -0.82 | -2.06 | 0 | 0 | -41.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | -1.03 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0
19:45 - 20:00 | -0.21 | -3.09 | -0.82 | -2.06 | 0 | 0 | -41.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | -1.03 | 0 | -30.93 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0
20:00 - 20:15 | -0.21 | -4.12 | -0.62 | -1.96 | -150 | 0 | -51.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.19 | 0 | -1.03 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0
20:15 - 20:30 | -0.21 | 0 | -0.62 | -1.96 | -150 | 0 | -51.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.19 | 0 | -1.03 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0
20:30 - 20:45 | -0.21 | 0 | -0.62 | -1.96 | -100 | 0 | -51.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -1.55 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0
20:45 - 21:00 | -0.21 | 0 | -0.62 | -1.96 | -100 | 0 | -51.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -1.55 | 0 | -36.08 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0
21:00 - 21:15 | -0.21 | 0 | -0.62 | -1.96 | -100 | 0 | -51.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -1.55 | 0 | -41.24 | 0 | 0 | -3.09 | 0 | 0 | 0 | 0
21:15 - 21:30 | -0.21 | 0 | -0.62 | -1.96 | -100 | 0 | -51.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -1.55 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | 0 | 0
21:30 - 21:45 | -0.21 | -7.22 | -0.62 | -1.96 | -100 | 0 | -51.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -1.55 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | 0 | 0
21:45 - 22:00 | -0.21 | 0 | -0.62 | -1.96 | -100 | 0 | -51.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -1.55 | 0 | -30.93 | 0 | 0 | -3.09 | 0 | 0 | 0 | 0
22:00 - 22:15 | -0.21 | 0 | -0.62 | -1.65 | -150 | 0 | -51.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -1.55 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | 0 | 0
22:15 - 22:30 | -0.21 | 0 | -0.62 | -1.65 | -150 | 0 | -51.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -1.55 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | 0 | 0
22:30 - 22:45 | -0.21 | 0 | -0.62 | -1.96 | -100 | 0 | -51.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -1.55 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | 0 | -3.09
22:45 - 23:00 | -0.21 | 0 | -0.62 | -1.96 | -100 | 0 | -51.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -1.55 | 0 | -20.62 | 0 | 0 | -4.12 | 0 | 0 | 0 | -3.09
23:00 - 23:15 | -0.21 | -11.34 | -0.62 | -1.96 | -50 | 0 | -61.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -1.55 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | 0 | -3.09
23:15 - 23:30 | -0.21 | -4.12 | -0.62 | -1.96 | -50 | 0 | -61.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -1.55 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | 0 | -3.09
23:30 - 23:45 | -0.21 | 0 | -0.62 | -1.96 | -150 | 0 | -61.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -1.55 | 0 | -30.93 | 0 | 0 | -4.12 | 0 | 0 | 0 | -3.09
23:45 - 24:00 | -0.21 | 0 | -0.62 | -1.96 | -200 | 0 | -61.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -1.55 | 0 | -51.55 | 0 | 0 | -4.12 | 0 | 0 | 0 | -3.09
Average | -0.21 | -0.091042 | -0.80854 | -1.4767 | -75.9489 | 0.83177 | -15.0354 | -1.0802 | -0.68833 | 0.29187 | 0.62646 | -0.6351 | 0.75833 | 0.8499 | -3.8658 | 0.82698 | -0.39792 | -0.38625 | -37.8766 | 0.32688 | 0.57604 | -1.7381 | 0.32094 | 0.1874 | 0.2525 | -8.161