## POWER STATUS
POWER STATUS ON DT 10.10.2026
[9 empty] | 2026-10-10 | 2026-10-09
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 18:00
Demand -> | [8 empty] | 5681.7804 | 6286.5927
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla [Gate-L-0 , R-0] | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 220.417 | 5.29 | 630/590 ft | 629.79 | 629.95 | 629.85 | 216.5781 | 196.5717
| Chiplima | 72(3x24) | 59.66 | 1.4318 | - |  |  |  | 56.7239 | 53.3509
| Balimela | 510(6x60+2x75) | 166.208 | 3.989 | 1516/1440 ft | 1503.6 | 1504.8 | 1505 | 29.0031 | 374.1461
| Rengali | 250(5x50) | 245.56 | 5.8934 | 123.5/109.75 mt | 123.83 | 123.53 | 123.46 | 247.7813 | 246.4433
| Upper Kolab | 320(4x80) | 102.54 | 2.461 | 858/844 mt | 857.03 | 855.96 | 855.96 | -6.245e-16 | 221.8311
| Upper Indravati [Gate-0] | 600(4x150) | 603 | 14.472 | 642/625 mt | 641.01 | 641.24 | 641.18 | 603.2378 | 602.0591
| Machkund | 60(50% of(3x17+3x23)) | 2.85 | 0.0684 | 2750/2685 ft | 2748.85 | 2746.6 | 2746.5 | 25.4872 | 0
| Total Hydro | 2099.5 | 1400.235 | 33.6056 |  |  |  |  | 1178.8115 | 1694.4023
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1054.92 | 25.3181 | RENEWABLE ENERGY (RE) |  |  |  | 1067 | 1056
[5 empty] | M.Hydl | 112.3274
| Total Thermal | 2200 | 1054.92 | 25.3181 | Solar | 146.7119 |  |  | 1067 | 1056
IPP | VEDANTA #2 | 600 (1x600) | 434.9854 | 10.4397 | Total IPPs | Yesterday's Demand Profile |  |  | 393.7895 | 400.7422
| GMR #3 | 350 (1x350) | 0 | 0 | 538.8787 |  | MW | HRS | 0 | 0
| NBVL(IPP) | 60(1x60) | 53.9091 | 1.2938 |  |  |  |  | 53.5092 | 53.336
| MDTPC |  | 49.9842 | 1.1996 |  |  |  |  | 45.2356 | 55.5789
| CGPs |  | 1026.5471 | 24.6371 | IPPs, CGPs & RE | Maximum | 6287 | 18.00 | 1816.2823 | 1915
| Central Sector(Drawl) |  | 1564.7118 | 37.5531 | 1824.4651 | Minimum | 5250 | 06.00 | 1619.6867 | 1621.1905
| Central Sector(Sch) |  | 1703.9571 | 40.895 |  | Average | 5844.3319 |  | 1810.8199 | 1407.6899
| Grand Total |  | 5844.3319 | 140.264 | Instantaneous Peak demand |  | 6566 | 450:53 | 5681.7804 | 6286.5927
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(2) |  | ACTUAL |  | SCHEDULE(1)
Burla | 7 | IbTPS / OPGC | 4 |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1737.0943 | 41.6903 | 1729.1939 | 41.5007 | 1723.9114 | 41.3739
Balimela | 5,6 | TSTPP St-I | 2 | TPWODL | 1884.9809 | 45.2395 | 1860.0119 | 44.6403 | 1810.36 | 43.4486
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1317.3293 | 31.6159 | 1438.3647 | 34.5208 | 1347.4342 | 32.3384
U.Kolab | 2 | KAHALGAON | 4,6 | TPSODL | 599.8398 | 14.3962 | 594.5804 | 14.2699 | 621.2214 | 14.9093
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5539.2444 | 132.9419 | 5622.1508 | 134.9316 | 5502.927 | 132.0702
Machhkund | 4,5,6 | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 393.7895 | GMR |  |  |  | 0
| NBVL #3 | 53.5092 | MDTPC |  |  |  | 45.2356
Mini Hydel: | MEENAKSHI | 35.9048 | OPCL |  |  |  | 0
| BTPL | 28.4993 | SAPTADHARA |  |  |  | 8.0436
| SNHEP | 31.7283 | KAKATIYA |  |  |  | 7.606
Solar: |  | 358.357
CGPs : | JSPL (Angul) | 453.3765 | JSL(Duburi) |  |  |  | -227.3849
| ICCL | 34.8834 | visa |  |  |  | 18.4119
| NALCO | -116.0032 | VAL (CGP) |  |  |  | -212.154
| RSP | -58.298 | BSL(MMDL) |  |  |  | 55.4175
| INDAL | 1.5288 | ADITYA ALUMINIUM |  |  |  | 45.8932
| NINL | -30.2918 | VAL CPP 400 kV |  |  |  | -395.515
| NBVL | 53.5092 | Arati |  |  |  | -3.8858e-16
| BPSL(JSG) | -127.3887 | BPPL |  |  |  | 116.8171
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-10-02 | 2026-10-03 | 2026-10-04 | 2026-10-05 | 2026-10-06 | 2026-10-07 | 2026-10-08 | 2026-10-09
1420.25 | 1444.7416 | 1404.7308 | 1544.21 | 1522.08 | 1380.535 | 1409.8552 | 1400.235
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.09.10.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | ARYAN_ISPAT | DNHDDPDCL | -5 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0.44
ENVIROCARE_INFRA | BALCO_LOAD | -6.5 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -2.4 | AGE26AL_PSS6_KPS1_S | ODISHA | 130.34
ENVIROCARE_INFRA | BALCO_LOAD | -6.5 | DCBL_Rajgangpur | DALCEMAP | -6.42 | AP41PL_BHDL | ODISHA | 59.78
FACORPOWER | APCPDCL | -20 | DCBL_Rajgangpur | DCNELUSOUNIT2 | -1.88 | AP43PL_BKN | ODISHA | 87.88
FACORPOWER | PUNJAB | -6 | DCBL_Rajgangpur | DalmiaCementNEL2 | -2.48 | AWEK1L | ODISHA | 7.79
GMRKEL_STU | RUVITSL | 0 | DCBL_Rajgangpur | Dalmia_Cem_Lanka | -2.04 | AWEK1L | ODISHA | 11.68
GMRKEL_STU | TNEB | 0 | ENVIROCARE_INFRA | DNHDDPDCL | -5 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 3.73
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | FACORPOWER | BYPL | -14 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 22.51
JSPLANGUL | GEB_Beneficiary | -100 | GMRKEL_STU | RUVITSL | 0 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 15.56
JSPLANGUL | GEB_Beneficiary | -125 | JPIPL | TANGEDCO | 0 | DADRI_SOLAR | ODISHA | 0.7
MAADURGA_THERMAL | NPCL_UP | -18.77 | JSPLANGUL | TANGEDCO | -100 | ENERSON_SOLAR_10MW | ODISHA | 1.11
NBVLIPP | TANGEDCO | 0 | JSPLANGUL | TANGEDCO | -50 | GADAG_GreenInfra_W | ODISHA | 0.15
OCL_IRON_STEEL | TPL_DIS_AHM_ISTS | -51.5 | KCMW_od | DALCEMAP | -0.84 | GADAG_GreenInfra_W | ODISHA | 0
ODISHA | KPTCL | -9.38 | KCMW_od | SFLPondyHEX288 | -0.47 | GADAG_GreenInfra_W | ODISHA | 0
ORSISL | BALCO_LOAD | -3.21 | KCMW_od | SFLPondyHWF407 | -0.7 | GADAG_Serentica3_S | VLSEZ | 38.79
FARIDABAD_SOLAR | ODISHA | 0.86 | NBVLIPP | BYPL | -46 | GADAG_Serentica3_W | VLSEZ | 16.71
JSWEL_UTKAL | ODISHA | 59.17 | NPSRL | MBPL | -5 | GIWEL_SECI_II_RE | ODISHA | 20.23
RAJ_SOLAR | ODISHA | 2.57 | OCL_IRON_STEEL | WBSEDCL | -8.5 | GPCL_SOLAR_10 | ODISHA | 1.31
RAJ_SOLAR | ODISHA | 2.32 | ODISHA | TANGEDCO | -56.25 | GSECL_SOLAR | ODISHA | 2.07
|  |  | ODISHA | WBSEDCL | -50 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 2.09
|  |  | ODISHA | WBSEDCL | -50 | KARUR_TPVARDHAMAN_W | TSKPO | 19.97
|  |  | ORSISL | DNHDDPDCL | -0.75 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.26
|  |  | RSPL_JHARSUGUDA | DNHDDPDCL | -20 | Kurnool_Greenko_H_Inj | ADITYAAL | 3.83
|  |  | SGML | TPL_DIS_SUR | -7 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.7
|  |  | SMEL | DNHDDPDCL | -25 | NTPCRE1_SMND_BHJ2_W | ODISHA | 4.95
|  |  | SMEL | TPL_DIS_SUR | -5 | O2RE3PL_Wasi_klm_W | VLSEZ | 2.52
|  |  | Shri_JSPL | MBPL | -1.5 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 5.81
|  |  | Shri_JSPL | NPCL_UP | -1.5 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0.08
|  |  | Shri_JSPL | TPL_DIS_SUR | -2.5 | OKWPL_RE | ODISHA | 17.62
|  |  | TSBSLA | DNHDDPDCL | -10 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 15.53
|  |  | VIRAJ_SEPL | TANGEDCO | -10 | RWE_AP2_SECI_III | ODISHA | 8.24
|  |  | VSL | DNHDDPDCL | -10 | RenewGreen_SLPR_HS | JSL_DUBURI | 9.23
|  |  | VSL | TPL_DIS_AHM | -5 | SRI9PL_FTG3 | VLSEZ | 108
|  |  | VSL | gscl2016 | -2 | TPVSL_BKN3 | TSKPO | 13.33
|  |  | Darlipali_NTPC | ODISHA | 109.97 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.1
|  |  | JIPL | ODISHA | 115.55 | TSESOPL_BKN2 | OPL_CUTTAK | 0.12
|  |  | LPPL_CSEB | VLSEZ | 2.89 | Tuticorin_BETAMWIND | ODISHA | 8.18
|  |  | NALCOAP | NACL_Odisha | 2.79 | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 4.98
|  |  | NU_VISTA_LTD_CG | VLSEZ | 10.59 | XXPPL_FTG3 | ODISHA | 76.94
|  |  | VIPL_CSEB | VLSEZ | 6.74
|  |  | pssk1234 | VLSEZ | 1.25

## DAM
DAM TRADING DETAILS FOR DT : 09.10.2026
Time Period | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | MGM_Minerals_Ltd | Nav_Bharat_ventures_Ltd
00:00 - 00:15 | 0 | 0.4 | -1 | -2
00:15 - 00:30 | 0 | 0.44 | -1 | -2
00:30 - 00:45 | 0 | 0.56 | -1 | -2
00:45 - 01:00 | 0 | 0.71 | -1 | -2
01:00 - 01:15 | 0 | 0.76 | -1 | -2
01:15 - 01:30 | 0 | 1.23 | -1 | -2
01:30 - 01:45 | 0 | 2.4 | -1 | -2
01:45 - 02:00 | 0 | 2.53 | -1 | -2
02:00 - 02:15 | 0 | 9.04 | -1 | -2
02:15 - 02:30 | 0 | 9.83 | -1 | -2
02:30 - 02:45 | 0 | 9.93 | -1 | -2
02:45 - 03:00 | 0 | 10.54 | -1 | -2
03:00 - 03:15 | 0 | 6.56 | -1 | -2
03:15 - 03:30 | 0 | 6.93 | -1 | -2
03:30 - 03:45 | 0 | 7.68 | -1 | -2
03:45 - 04:00 | 0 | 8.11 | -1 | -2
04:00 - 04:15 | 0 | 0 | -1 | -2
04:15 - 04:30 | 0 | 0 | -1 | -2
04:30 - 04:45 | 0 | 0 | -1 | -2
04:45 - 05:00 | 0 | 0 | -1 | -2
05:00 - 05:15 | 0 | 0 | -1 | -2
05:15 - 05:30 | 0 | 0 | -1 | -2
05:30 - 05:45 | 0 | 0 | -1 | -2
05:45 - 06:00 | 0 | 0 | -1 | -2
06:00 - 06:15 | -25.5 | 0 | -1 | -2
06:15 - 06:30 | -25.5 | 0 | -1 | -2
06:30 - 06:45 | -25.5 | 0 | -1 | -2
06:45 - 07:00 | -25.5 | 0 | -1 | -2
07:00 - 07:15 | -25.5 | 0 | -1 | -2
07:15 - 07:30 | -25.5 | 0 | -1 | -2
07:30 - 07:45 | -25.5 | 0 | -1 | -2
07:45 - 08:00 | -25.5 | 0 | -1 | -2
08:00 - 08:15 | -25.5 | -650 | -1 | -2
08:15 - 08:30 | 0 | -650 | -1 | -2
08:30 - 08:45 | 0 | -650 | -1 | -2
08:45 - 09:00 | 0 | -650 | -1 | -2
09:00 - 09:15 | 0 | -825 | -1 | -2
09:15 - 09:30 | 0 | -825 | -1 | -2
09:30 - 09:45 | 0 | -825 | -1 | -2
09:45 - 10:00 | 0 | -825 | -1 | -2
10:00 - 10:15 | 0 | -1050 | -1 | -1
10:15 - 10:30 | 0 | -1050 | -1 | -1
10:30 - 10:45 | 0 | -1050 | -1 | -1
10:45 - 11:00 | 0 | -1050 | -1 | -1
11:00 - 11:15 | 0 | -1050 | -1 | -1
11:15 - 11:30 | 0 | -1050 | -1 | -1
11:30 - 11:45 | 0 | -1050 | -1 | -1
11:45 - 12:00 | 0 | -1050 | -1 | -1
12:00 - 12:15 | 0 | -950 | -1 | -1
12:15 - 12:30 | 0 | -950 | -1 | -1
12:30 - 12:45 | 0 | -950 | -1 | -1
12:45 - 13:00 | 0 | -950 | -1 | -1
13:00 - 13:15 | 0 | -875 | -1 | -1
13:15 - 13:30 | 0 | -875 | -1 | -1
13:30 - 13:45 | 0 | -875 | -1 | -1
13:45 - 14:00 | 0 | -875 | -1 | -1
14:00 - 14:15 | 0 | -600 | -1 | -2
14:15 - 14:30 | 0 | -600 | -1 | -2
14:30 - 14:45 | 0 | -600 | -1 | -2
14:45 - 15:00 | 0 | -600 | -1 | -2
15:00 - 15:15 | -25.5 | -600 | -1 | -2
15:15 - 15:30 | -25.5 | -600 | -1 | -2
15:30 - 15:45 | -25.5 | -500 | -1 | -2
15:45 - 16:00 | -25.5 | -500 | -1 | -2
16:00 - 16:15 | -25.5 | -500 | -1 | -2
16:15 - 16:30 | -25.5 | -400 | -1 | -2
16:30 - 16:45 | -25.5 | -200 | -1 | -2
16:45 - 17:00 | -25.5 | -100 | -1 | -2
17:00 - 17:15 | -25.5 | 0 | -1 | -2
17:15 - 17:30 | -25.5 | 0 | -1 | -2
17:30 - 17:45 | -25.5 | 0 | -1 | -2
17:45 - 18:00 | -25.5 | 0 | -1 | -2
18:00 - 18:15 | 0 | 2.55 | -1 | -2
18:15 - 18:30 | 0 | 0.43 | -1 | -2
18:30 - 18:45 | 0 | 0.52 | -1 | -2
18:45 - 19:00 | 0 | 0.52 | -1 | -2
19:00 - 19:15 | 0 | 0.39 | -1 | -2
19:15 - 19:30 | 0 | 0.54 | -1 | -2
19:30 - 19:45 | 0 | 0.09 | -1 | -2
19:45 - 20:00 | 0 | 1.85 | -1 | -2
20:00 - 20:15 | 0 | 4.43 | -1 | -2
20:15 - 20:30 | 0 | 3.93 | -1 | -2
20:30 - 20:45 | 0 | 3.76 | -1 | -2
20:45 - 21:00 | 0 | 3.68 | -1 | -2
21:00 - 21:15 | 0 | 3.54 | -1 | -2
21:15 - 21:30 | 0 | 2.64 | -1 | -2
21:30 - 21:45 | 0 | 2.01 | -1 | -2
21:45 - 22:00 | 0 | 1.62 | -1 | -2
22:00 - 22:15 | 0 | 0.62 | -1 | -2
22:15 - 22:30 | 0 | 0.12 | -1 | -2
22:30 - 22:45 | 0 | 0.15 | -1 | -2
22:45 - 23:00 | 0 | 0 | -1 | -2
23:00 - 23:15 | 0 | 0.02 | -1 | -2
23:15 - 23:30 | 0 | 0.01 | -1 | -2
23:30 - 23:45 | 0 | 0.65 | -1 | -2
23:45 - 24:00 | 0 | 0.78 | -1 | -2
Average | -5.5781 | -284.2448 | -1 | -1.8333

## GDAM
GDAM TRADING DETAILS FOR DT:09.10.2026
Time Period | GRIDCO | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Tata_Steel_Limited_Kalinga_Nagar
00:00 - 00:15 | 1.05 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 1.07 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 1.09 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 1.24 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 1.29 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 1.31 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 1.46 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 1.47 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 1.84 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 1.85 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 1.85 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 1.63 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 1.79 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 1.78 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 1.79 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 1.8 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | 0 | 0 | 0 | 0 | 0
08:15 - 08:30 | 0 | 0 | 0 | 0 | 0 | 0
08:30 - 08:45 | 0 | 0 | 0 | 0 | 0 | 0
08:45 - 09:00 | 0 | 3.85 | 0 | 0 | 0 | 0
09:00 - 09:15 | 0 | 3.85 | 0 | 0 | 0 | 0
09:15 - 09:30 | 0 | 3.85 | 0 | 0 | 0 | 0
09:30 - 09:45 | 0 | 3.85 | 0 | 0 | 0 | 0
09:45 - 10:00 | 0 | 3.85 | 0 | 0 | 6.26 | 0
10:00 - 10:15 | 0 | 3.85 | 0 | 0 | 6.26 | 0
10:15 - 10:30 | 0 | 3.85 | 0 | 0 | 6.26 | 0
10:30 - 10:45 | 0 | 3.85 | 0 | 0 | 6.26 | 0
10:45 - 11:00 | 0 | 3.85 | 0 | 0 | 6.26 | 19.26
11:00 - 11:15 | 0 | 3.85 | 0 | 0 | 6.26 | 19.26
11:15 - 11:30 | 0 | 3.85 | 0 | 0 | 6.26 | 19.26
11:30 - 11:45 | 0 | 3.85 | 0 | 0 | 6.26 | 19.26
11:45 - 12:00 | 0 | 3.85 | 0 | 0 | 6.26 | 19.26
12:00 - 12:15 | 0 | 3.85 | 0 | 0 | 6.26 | 19.26
12:15 - 12:30 | 0 | 3.85 | 0 | 0 | 6.26 | 19.26
12:30 - 12:45 | 0 | 3.85 | 36.38 | 9.63 | 6.26 | 19.26
12:45 - 13:00 | 0 | 3.85 | 38.37 | 9.63 | 6.26 | 19.26
13:00 - 13:15 | 0 | 3.85 | 6.1 | 9.63 | 6.26 | 19.25
13:15 - 13:30 | 0 | 3.85 | 0 | 0 | 6.26 | 19.26
13:30 - 13:45 | 0 | 3.85 | 0 | 0 | 6.26 | 19.26
13:45 - 14:00 | 0 | 3.85 | 0 | 0 | 6.26 | 0
14:00 - 14:15 | 0 | 3.85 | 0 | 0 | 6.26 | 0
14:15 - 14:30 | 0 | 3.85 | 0 | 0 | 0 | 0
14:30 - 14:45 | 0 | 3.85 | 0 | 0 | 6.26 | 0
14:45 - 15:00 | 0 | 3.85 | 0 | 0 | 0 | 0
15:00 - 15:15 | 0 | 0 | 0 | 0 | 0 | 0
15:15 - 15:30 | 0 | 0 | 0 | 0 | 0 | 0
15:30 - 15:45 | 0 | 0 | 0 | 0 | 0 | 0
15:45 - 16:00 | 0 | 0 | 0 | 0 | 0 | 0
16:00 - 16:15 | 0 | 0 | 0 | 0 | 0 | 0
16:15 - 16:30 | 0 | 0 | 0 | 0 | 0 | 0
16:30 - 16:45 | 0 | 0 | 0 | 0 | 0 | 0
16:45 - 17:00 | 0 | 0 | 0 | 0 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | 0 | 0 | 0
17:15 - 17:30 | 0 | 0 | 0 | 0 | 0 | 0
17:30 - 17:45 | 0 | 0 | 0 | 0 | 0 | 0
17:45 - 18:00 | 0 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | 2.38 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 4.08 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 3.83 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 5.46 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 5.47 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 5.26 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 5.87 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 5.94 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 5.88 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 5.79 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 5.7 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 5.68 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 5.58 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 4.98 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 4.7 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 4.34 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 4.25 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 4.14 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 4.08 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 4.07 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 4 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 4.09 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 4.1 | 0 | 0 | 0 | 0 | 0
Average | 1.3956 | 1.0026 | 0.84219 | 0.30094 | 1.239 | 2.4074

## RTM
RTM TRADING DETAILS FOR DT: 09.10.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | Jagannath_Power_And_Infra_Private_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Limited_5MW_Solar_Power_Plant_Lokapada | MGM_Green_Energy_Ltd | NU_VISTA_LIMITED_(FORMERLY_EMAMI_CEMENT_LIMITED) | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Unit_II_PTC | Shri_Jagannath_Steels_&_Power_Ltd | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Visa_Chrome_Limited
00:00 - 00:15 | -0.2 | 0 | -0.6 | -1.9 | 0 | 0 | 0 | -60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2
00:15 - 00:30 | -0.2 | 0 | -0.6 | -1.9 | 0 | 0 | 0 | -60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2
00:30 - 00:45 | -0.2 | -11 | -0.6 | -1.9 | 0 | 0 | 0 | -60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -1.5 | -30 | 0 | 0 | 0 | -2
00:45 - 01:00 | -0.2 | 0 | -0.6 | -1.9 | 0 | 0 | 0 | -60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2
01:00 - 01:15 | -0.2 | 0 | -0.6 | -1.9 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -1.5 | 0 | 0 | 0 | 0 | -1
01:15 - 01:30 | -0.2 | 0 | -0.6 | -1.9 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -1.5 | -50 | 0 | 0 | 0 | -1
01:30 - 01:45 | -0.2 | 0 | -0.6 | -1.9 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -1.5 | -20 | 0 | 0 | 0 | -1
01:45 - 02:00 | -0.2 | 0 | -0.6 | -1.9 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -1.5 | 0 | 0 | 0 | 0 | -1
02:00 - 02:15 | -0.2 | -7 | -0.6 | -1.9 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -1.5 | 0 | 0 | 0 | 0 | -1
02:15 - 02:30 | -0.2 | 0 | -0.6 | -1.9 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -1.5 | -20 | 0 | 0 | 0 | -1
02:30 - 02:45 | -0.2 | 0 | -0.6 | -1.9 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -1.5 | 0 | 0 | 0 | 0 | -1
02:45 - 03:00 | -0.2 | 0 | -0.6 | -1.9 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -1.5 | -15 | 0 | 0 | 0 | -1
03:00 - 03:15 | -0.2 | 0 | -0.6 | -1.9 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -1.5 | -50 | 0 | 0 | 0 | -1
03:15 - 03:30 | -0.2 | -3 | -0.6 | -1.9 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -1.5 | -30 | 0 | 0 | 0 | -1
03:30 - 03:45 | -0.2 | -11 | -0.6 | -1.8 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -1.5 | 0 | 0 | 0 | 0 | -1
03:45 - 04:00 | -0.2 | 0 | -0.6 | -1.8 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -1.5 | 0 | 0 | 0 | 0 | -1
04:00 - 04:15 | -0.2 | 0 | -0.6 | -1.8 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | -1.5 | 0 | 0 | 0 | 24.75 | -1
04:15 - 04:30 | -0.2 | 0 | -0.6 | -1.8 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | -1.5 | -10 | 0 | 0 | 24.4 | -1
04:30 - 04:45 | -0.2 | 0 | -0.6 | -1.8 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | -1.5 | -25 | 0 | 0 | 27.81 | -1
04:45 - 05:00 | -0.2 | 0 | -0.6 | -1.8 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | -1.5 | -50 | 0 | 0 | 27.84 | -1
05:00 - 05:15 | -0.2 | -7 | -0.6 | -1.8 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | -1.5 | 0 | 0 | 0 | 49.52 | -1
05:15 - 05:30 | -0.2 | 0 | -0.6 | -1.8 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | -1.5 | 0 | 0 | 0 | 43.27 | -1
05:30 - 05:45 | -0.2 | 0 | -0.6 | -1.8 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | -1.5 | -25 | 0 | 0 | 52.04 | -1
05:45 - 06:00 | -0.2 | 0 | -0.6 | -1.8 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | -1.5 | -30 | 0 | 0 | 46.57 | -1
06:00 - 06:15 | -0.2 | 0 | -0.6 | -1.9 | 0 | 0 | 0 | -30 | -0.1 | -0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | -6 | 0 | 0 | 0 | 29.32 | -1
06:15 - 06:30 | -0.2 | -3 | -0.6 | -1.9 | 0 | 0 | 0 | -30 | -0.2 | -0.2 | 0 | 0 | -0.1 | 0 | 0 | 0 | 0 | -6 | 0 | -6 | 0 | 0 | 0 | 24.93 | -1
06:30 - 06:45 | -0.2 | -4 | -0.6 | -1.9 | 0 | 0 | 0 | -30 | -0.3 | -0.4 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | -6 | 0 | -6 | -40 | 0 | 0 | 16.71 | -1
06:45 - 07:00 | -0.2 | 0 | -0.6 | -1.9 | 0 | 0 | 0 | -30 | -0.5 | -0.6 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | -6 | 0 | -6 | 0 | 0 | 0 | 13.91 | -1
07:00 - 07:15 | -0.2 | 0 | -0.6 | -1.8 | 0 | 0 | 0 | -30 | -0.9 | -0.8 | 0 | 0 | -1.1 | 0 | 0 | 0 | 0 | -6 | 0 | -6 | 0 | 0 | 0 | 12.76 | -1
07:15 - 07:30 | -0.2 | 0 | -0.6 | -1.8 | 0 | 0 | 0 | -30 | -1.1 | -0.9 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -6 | 0 | -6 | -30 | 0 | 0 | 2.92 | -1
07:30 - 07:45 | -0.2 | 0 | -0.6 | -1.8 | 0 | 0 | 0 | -30 | -1.4 | -1 | 0 | 0 | -1.8 | 0 | 0 | 0 | 0 | -6 | 0 | -3 | -35 | 0 | 0 | 23.85 | -1
07:45 - 08:00 | -0.2 | 3.7 | -0.6 | -1.8 | 0 | 0 | 0 | 0 | -1.7 | -1.3 | 0 | 0 | -2.2 | 0 | 0 | 0 | 0 | -6 | 0 | -3 | 0 | 0 | 0 | 41.4 | -1
08:00 - 08:15 | -0.2 | -12 | -0.6 | -1.9 | 0 | 0 | 0 | 0 | -2 | -1.5 | 0 | 0 | -2.8 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | -1
08:15 - 08:30 | -0.2 | -12 | -0.6 | -1.9 | 0 | 7.7 | 0 | 0 | -2.2 | -1.6 | 8.86 | 0 | -3.1 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | -30 | 0 | 0 | 0 | -1
08:30 - 08:45 | -1.2 | -12 | -0.6 | -1.9 | 0 | 7.7 | 0 | 0 | -2.3 | -1.8 | 8.86 | 0 | -3.6 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | -1
08:45 - 09:00 | -1.2 | -12 | -0.6 | -1.9 | 0 | 0 | 0 | 0 | -2.6 | -2 | 0 | 0 | -4.1 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | -40 | 0 | 0 | 0 | -1
09:00 - 09:15 | -1.2 | -12 | -0.6 | -1.8 | 57.65 | 0 | 0 | 0 | -2.9 | -2.3 | 0 | 0 | -4.3 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | -1
09:15 - 09:30 | -1.2 | -12 | -0.6 | -1.8 | 70.9 | 0 | 0 | 0 | -3 | -2.4 | 0 | 0 | -4.5 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | -1
09:30 - 09:45 | -1.2 | -12 | -0.6 | -1.8 | 0 | 0 | 0 | 0 | -3.1 | -2.6 | 0 | 0 | -4.8 | 0 | 0 | 1.93 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | -1
09:45 - 10:00 | -1.2 | -12 | -0.6 | -1.8 | 0 | 0 | 0 | 0 | -3.4 | -2.7 | 0 | 0 | -2.5 | 0 | 0 | 1.93 | 0 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | -1
10:00 - 10:15 | -1.2 | -15 | -0.6 | -1.8 | 0 | 10.59 | 0 | 0 | -3.5 | -2.8 | 8.86 | 0 | 0 | 0 | 0 | 1.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
10:15 - 10:30 | -1.2 | -15 | -0.6 | -1.8 | 0 | 10.59 | 0 | 0 | -3.5 | -2.7 | 8.86 | 0 | 0 | 0 | 0 | 1.93 | 0 | 0 | 0 | 0 | -45 | 0 | 0 | 0 | -1
10:30 - 10:45 | -1.2 | -15 | -0.2 | 0 | -35.35 | 10.59 | 0 | 0 | -3.7 | -2.8 | 8.86 | 0 | 0 | 0 | 0 | 1.93 | 0 | 0 | 0 | 0 | -45 | 0 | 0 | 0 | -1
10:45 - 11:00 | -1.2 | -15 | -0.2 | 0 | -85.31 | 10.59 | 0 | 0 | -3.8 | -3 | 8.86 | 0 | 0 | 0 | 0 | 1.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
11:00 - 11:15 | -1 | -15 | -0.2 | 0 | -66.97 | 10.59 | 0 | 0 | -3.9 | -3 | 8.86 | 0 | 0 | 0 | 2.89 | 1.93 | 0 | 0 | 0.96 | 0 | 0 | 30.81 | 0 | 0 | -11
11:15 - 11:30 | -1 | -15 | -0.2 | 0 | 0 | 10.59 | 0 | 0 | -4 | -3 | 8.86 | 0 | 0 | 0 | 2.89 | 1.93 | 0 | 0 | 0.96 | 0 | -60 | 30.81 | 0 | 0 | -11
11:30 - 11:45 | -1 | -14 | -0.2 | 0 | 0 | 10.59 | 0 | 0 | -3.8 | -3 | 8.86 | 0 | 0 | 0 | 2.89 | 1.93 | 0 | 0 | 0.96 | 0 | 0 | 30.81 | 0 | 0 | 0
11:45 - 12:00 | -1 | -14 | -0.2 | 0 | 0 | 10.59 | 0 | 0 | -3.8 | -2.8 | 8.86 | 0 | 0 | 0 | 0 | 1.93 | 0 | 0 | 0.96 | 0 | 0 | 0 | 0 | 0 | 0
12:00 - 12:15 | -1 | -15 | -0.2 | 0 | 0 | 10.59 | 0 | 0 | -3.8 | -2.8 | 8.86 | 0 | 0 | 0 | 0 | 1.93 | 0 | -1 | 0.96 | 0 | -25 | 0 | 0 | 0 | 0
12:15 - 12:30 | -1 | -15 | -0.2 | 0 | 0 | 10.59 | 0 | 0 | -3.7 | -2.9 | 8.86 | 0 | 0 | 0 | 0 | 1.93 | 0 | -1 | 0.96 | 0 | -65 | 0 | 0 | 0 | 0
12:30 - 12:45 | -1 | -16 | -0.2 | 0 | -100 | 10.59 | 0 | 0 | -3.6 | -2.8 | 8.86 | 0 | 0 | 0 | 2.89 | 1.93 | 0 | -1 | 0.96 | 0 | 0 | 22.43 | 0 | 0 | 0
12:45 - 13:00 | -1 | -16 | -0.2 | 0 | -100 | 10.59 | 0 | 0 | -3.5 | -2.8 | 8.86 | 0 | 0 | 0 | 2.89 | 1.93 | 0 | -1 | 0.96 | 0 | 0 | 30.81 | 0 | 0 | 0
13:00 - 13:15 | -1 | -16 | -0.2 | 0 | -50 | 10.59 | 0 | 0 | -3.4 | -2.7 | 8.86 | 0 | 0 | 0 | 2.89 | 1.93 | 12.52 | -1 | 0.96 | 0 | -40 | 30.81 | 4.81 | 0 | 0
13:15 - 13:30 | -1 | -16 | -0.2 | 0 | -50 | 10.59 | 0 | 0 | -3.2 | -2.5 | 8.86 | 0 | 0 | 0 | 2.89 | 1.93 | 12.52 | -1 | 0.96 | 0 | -5 | 30.81 | 4.81 | 0 | 0
13:30 - 13:45 | -0.3 | -16 | -0.2 | 0 | -105.04 | 10.59 | 0 | 0 | -3 | -2.2 | 8.86 | 0 | 0 | 0 | 2.89 | 1.93 | 0 | -2 | 0.96 | 0 | -30 | 30.81 | 0 | 0 | 0
13:45 - 14:00 | -0.3 | -16 | -0.2 | 0 | -125.02 | 10.59 | 0 | 0 | -2.9 | -2.2 | 8.86 | 0 | 0 | 0 | 0 | 1.93 | 0 | -2 | 0.96 | 0 | -55 | 0 | 0 | 0 | 0
14:00 - 14:15 | -0.3 | -16 | -0.7 | 0 | -500 | 10.59 | 0 | 0 | -2.7 | -1.8 | 8.86 | 0 | 0 | 0 | 0 | 1.93 | 0 | -2 | 0.96 | 0 | -25 | 0 | 0 | 0 | 0
14:15 - 14:30 | -0.3 | -16 | -0.7 | 0 | -300 | 10.58 | 0 | 0 | -2.5 | -1.8 | 8.86 | 0 | 0 | 0 | 0 | 1.93 | 0 | -2 | 0.13 | 0 | 0 | 0 | 0 | 0 | 0
14:30 - 14:45 | -0.3 | -2 | -1 | 0 | -112.32 | 10.59 | 0 | 0 | -2.4 | -1.5 | 8.86 | 0 | 0 | 0 | 0 | 1.93 | 0 | -2 | 0 | 0 | -40 | 0 | 0 | 0 | 0
14:45 - 15:00 | -0.3 | -2 | -1 | 0 | -120.56 | 10.59 | 0 | 0 | -2.2 | -1.3 | 0 | 0 | 0 | 0 | 0 | 1.93 | 0 | -2 | 0 | 0 | -25 | 0 | 0 | 0 | 0
15:00 - 15:15 | -0.3 | -2 | -1 | 0 | -127.54 | 0 | 0 | 0 | -1.9 | -1 | 0 | 0 | 0 | 0 | 0 | 1.93 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15:15 - 15:30 | -0.3 | -2 | -1 | 0 | -125.46 | 0 | 0 | 0 | -1.6 | -0.7 | 0 | 0 | 0 | 0 | 0 | 1.93 | 0 | -2 | 0 | 0 | -40 | 0 | 0 | 0 | 0
15:30 - 15:45 | -0.3 | -2 | -1 | 0 | -300 | 0 | 0 | 0 | -1.3 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0.54 | 0 | -2 | 0 | 0 | -60 | 0 | 0 | 0 | 0
15:45 - 16:00 | -0.3 | -2 | -1 | 0 | -400 | 0 | 0 | -100 | -0.9 | -0.3 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:00 - 16:15 | -0.3 | 0 | -1 | -1.6 | -600 | 0 | 0 | -150 | -0.6 | -0.1 | 0 | 0 | -1.2 | -5 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:15 - 16:30 | -0.3 | 0 | -1 | -1.6 | -600 | 0 | 0 | -150 | -0.4 | 0 | 0 | 0 | -0.8 | -5 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:30 - 16:45 | -0.3 | 0 | -1 | -1.6 | -625 | 0 | 0 | -150 | -0.2 | 0 | 0 | 0 | -0.4 | -5 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:45 - 17:00 | -0.3 | 0 | -1 | -1.6 | -625 | 0 | 0 | -150 | -0.1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -3 | 0 | 0 | -30 | 0 | 0 | 0 | 0
17:00 - 17:15 | -0.3 | -9 | -0.6 | -1.6 | -600 | 0 | 0 | -150 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -10 | 0 | -6 | -55 | 0 | 0 | 0 | 0
17:15 - 17:30 | -0.3 | 0 | -0.6 | -1.6 | -600 | 0 | 0 | -180 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -10 | 0 | -6 | -5 | 0 | 0 | 0 | 0
17:30 - 17:45 | -0.3 | 0 | -0.6 | -1.8 | -550 | 0 | 0 | -250 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -13 | 0 | -5 | 0 | 0 | 0 | 0 | 0
17:45 - 18:00 | -0.3 | 0 | -0.6 | -1.8 | -350 | 0 | -5 | -250 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -13 | 0 | -5 | -15 | 0 | 0 | 0 | 0
18:00 - 18:15 | -0.1 | 0 | -0.3 | -1.8 | -50 | 0 | -6 | -250 | 0 | 0 | 0 | -0.5 | 0 | -5 | 0 | 0 | 0 | -13 | 0 | 0 | -50 | 0 | 0 | 0 | 0
18:15 - 18:30 | -0.1 | 0 | -0.3 | -1.8 | -50 | 0 | -7 | -250 | 0 | 0 | 0 | -0.5 | 0 | -5 | 0 | 0 | 0 | -13 | 0 | 0 | -40 | 0 | 0 | 0 | 0
18:30 - 18:45 | -0.1 | 0 | -0.3 | -2 | -25 | 0 | -7 | -250 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | -1 | -45 | 0 | 0 | 0 | 0
18:45 - 19:00 | -0.1 | 0 | -0.3 | -2 | -25 | 0 | -8 | -250 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | -1 | -45 | 0 | 0 | 0 | 0
19:00 - 19:15 | -0.1 | 0 | -0.3 | -2 | 8.9 | 0 | -8 | -200 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | -1 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | -0.1 | 0 | -0.3 | -2 | 9.51 | 0 | -10 | -200 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | -1 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | -0.1 | -3 | -0.3 | -2 | 0 | 0 | -10 | -200 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | -1 | -55 | 0 | 0 | 0 | 0
19:45 - 20:00 | -0.1 | -4 | -0.3 | -2 | 0 | 0 | -12 | -200 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | -1 | -60 | 0 | 0 | 0 | 0
20:00 - 20:15 | -0.1 | 0 | -0.3 | -2 | 0 | 0 | -12 | -150 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | -1 | -55 | 0 | 0 | 0 | 0
20:15 - 20:30 | -0.1 | 0 | -0.3 | -2 | 0 | 0 | -13 | -150 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | -1 | -40 | 0 | 0 | 0 | 0
20:30 - 20:45 | -0.1 | 0 | -0.3 | -2 | 0 | 0 | -7 | -130 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -1 | -25 | 0 | 0 | 0 | 0
20:45 - 21:00 | -0.1 | 0 | -0.3 | -2 | 0 | 0 | -8 | -130 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -1 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | -0.1 | 0 | -0.3 | -2.1 | -75 | 0 | -8 | -100 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -1 | -25 | 0 | 0 | 0 | 0
21:15 - 21:30 | -0.1 | -7 | -0.3 | -2.1 | -75 | 0 | -10 | -100 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -1 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | -0.1 | 0 | -0.8 | -2.1 | -125 | 0 | -10 | -50 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | -1 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | -0.1 | 0 | -0.8 | -2.1 | -125 | 0 | -12 | -50 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | -1 | -10 | 0 | 0 | 0 | 0
22:00 - 22:15 | -0.1 | 0 | -0.8 | -2 | -250 | 0 | -12 | -50 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | -1 | -45 | 0 | 0 | 0 | 0
22:15 - 22:30 | -0.1 | 0 | -0.8 | -2 | -200 | 0 | -13 | -50 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | -1 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | -0.1 | 0 | -0.3 | -2 | -175 | 0 | -13.2 | -30 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -1 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | -0.1 | 0 | -0.3 | -2 | -175 | 0 | -13.2 | -30 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -1 | -15 | 0 | 0 | 0 | 0
23:00 - 23:15 | -0.1 | -7 | -0.3 | -2 | -175 | 0 | -13.2 | -30 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -1 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | -0.1 | 0 | -0.3 | -2 | -175 | 0 | -13.2 | -30 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -1 | -15 | 0 | 0 | 0 | 0
23:30 - 23:45 | -0.1 | 0 | -0.3 | -2 | -275 | 0 | -13.2 | -30 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -1 | -35 | 0 | 0 | 0 | 0
23:45 - 24:00 | -0.1 | 0 | -0.3 | -2 | -325 | 0 | -13.2 | -30 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -1 | 0 | 0 | 0 | 0 | 0
Average | -0.38125 | -4.7531 | -0.53125 | -1.4479 | -97.9855 | 2.3666 | -2.6792 | -56.6667 | -1.0583 | -0.78333 | 1.9381 | -0.125 | -0.43125 | -0.52083 | 0.24083 | 0.48812 | 0.26083 | -4.9583 | 0.13135 | -1.2708 | -18.6458 | 2.4802 | 0.10021 | 4.8125 | -0.72917 | #DIV/0!