## POWER STATUS
POWER STATUS ON DT 14.10.2026
[9 empty] | 2026-10-14 | 2026-10-13
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 5:00 | 19:00
Demand -> | [8 empty] | 5299.3668 | 6033.9175
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla [Gate-L-0 , R-0] | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 201.208 | 4.829 | 630/590 ft | 630 | 629.39 | 629.19 | 190.85 | 190.6875
| Chiplima | 72(3x24) | 51.417 | 1.234 | - |  |  |  | 63.0183 | 49.6138
| Balimela | 510(6x60+2x75) | 225.916 | 5.422 | 1516/1440 ft | 1505 | 1505.2 | 1505.2 | 319.3268 | 339.1029
| Rengali | 250(5x50) | 245.0583 | 5.8814 | 123.5/109.75 mt | 123.71 | 123.26 | 123.17 | 246.4424 | 245.7733
| Upper Kolab | 320(4x80) | 123.04 | 2.953 | 858/844 mt | 856.96 | 855.93 | 855.92 | 77.9127 | 228.3063
| Upper Indravati [Gate-0] | 600(4x150) | 603.3125 | 14.4795 | 642/625 mt | 640.98 | 640.97 | 640.89 | 603.8507 | 608.8307
| Machkund | 60(50% of(3x17+3x23)) | 28.91 | 0.69384 | 2750/2685 ft | 2748.5 | 2746.45 | 2746.45 | 29.6777 | 27.9543
| Total Hydro | 2099.5 | 1478.8618 | 35.4927 |  |  |  |  | 1531.0786 | 1690.269
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1055.4727 | 25.3313 | RENEWABLE ENERGY (RE) |  |  |  | 1061.2306 | 1062.186
[5 empty] | M.Hydl | 102.13
| Total Thermal | 2200 | 1055.4727 | 25.3313 | Solar | 131.55 |  |  | 1061.2306 | 1062.186
IPP | VEDANTA #2 | 600 (1x600) | 436.919 | 10.4861 | Total IPPs | Yesterday's Demand Profile |  |  | 397.8314 | 531.1133
| GMR #3 | 350 (1x350) | -0.24462 | -0.005871 | 512.3741 |  | MW | HRS | -0.36806 | -0.36015
| NBVL(IPP) | 60(1x60) | 25.4866 | 0.61168 |  |  |  |  | 25.7246 | 25.5182
| MDTPC |  | 50.2132 | 1.2051 |  |  |  |  | 56.6134 | 56.0604
| CGPs |  | 839.6874 | 20.1525 | IPPs, CGPs & RE | Maximum | 6356 | 15:00 | 1479.1526 | 1589.659
| Central Sector(Drawl) |  | 1769.7695 | 42.4745 | 1585.7415 | Minimum | 5403 | 06:00 | 1227.905 | 1691.8035
| Central Sector(Sch) |  | 1836.9975 | 44.0879 |  | Average | 5889.8455 |  | 1286.59 | 1905.23
| Grand Total |  | 5889.8455 | 141.3563 | Instantaneous Peak demand |  | 6551 | 15:02 | 5299.3668 | 6033.9175
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(2) |  | ACTUAL |  | SCHEDULE(1)
Burla | 7 | IbTPS / OPGC | 4 |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1694.8688 | 40.6769 | 1624.2551 | 38.9821 | 1706.5938 | 40.9582
Balimela | NIL | TSTPP St-I | NIL | TPWODL | 1919.5126 | 46.0683 | 2016.7442 | 48.4019 | 1533.4656 | 36.8032
Rengali | NIL | TSTPP St-II | 5 | TPNODL | 1384.6397 | 33.2314 | 1449.6611 | 34.7919 | 1244.1042 | 29.8585
U.Kolab | 2 | KAHALGAON | 4,6 | TPSODL | 618.4224 | 14.8421 | 615.6467 | 14.7755 | 619.7812 | 14.8748
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5617.4435 | 134.8186 | 5706.3071 | 136.9514 | 5103.9448 | 122.4947
Machhkund | 4,5,6 | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 387.1484 | GMR |  |  |  | -0.35311
| NBVL #3 | 26.0263 | MDTPC |  |  |  | 45.4959
Mini Hydel: | MEENAKSHI | 33.3752 | OPCL |  |  |  | 0
| BTPL | 20.97 | SAPTADHARA |  |  |  | 7.0179
| SNHEP | 31.7283 | KAKATIYA |  |  |  | 7.6185
Solar: |  | 275.436
CGPs : | JSPL (Angul) | 384.298 | JSL(Duburi) |  |  |  | -164.7191
| ICCL | 42.8607 | visa |  |  |  | 20.8251
| NALCO | -128.005 | VAL (CGP) |  |  |  | -17.881
| RSP | -34.4845 | BSL(MMDL) |  |  |  | 122.1
| INDAL | -4.7868 | ADITYA ALUMINIUM |  |  |  | 35.2395
| NINL | -39.7295 | VAL CPP 400 kV |  |  |  | -412.3852
| NBVL | 26.0263 | Arati |  |  |  | -1.6653e-16
| BPSL(JSG) | -19.95 | BPPL |  |  |  | 120.3981
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-10-06 | 2026-10-07 | 2026-10-08 | 2026-10-09 | 2026-10-10 | 2026-10-11 | 2026-10-12 | 2026-10-13
1522.08 | 1380.535 | 1409.8552 | 1400.235 | 1459.671 | 1462.5235 | 1429.2754 | 1478.8618
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.13.10.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | ARYAN_ISPAT | DNHDDPDCL | -5 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0.37
ENVIROCARE_INFRA | BALCO_LOAD | -6.5 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -2.4 | AGE26AL_PSS6_KPS1_S | ODISHA | 114.85
ENVIROCARE_INFRA | BALCO_LOAD | -6.5 | DCBL_Rajgangpur | DALCEMAP | -1.77 | AP41PL_BHDL | ODISHA | 52.18
FACORPOWER | APCPDCL | -20 | DCBL_Rajgangpur | DCBLME | -3.67 | AP43PL_BKN | ODISHA | 80.62
FACORPOWER | PUNJAB | -6 | DCBL_Rajgangpur | DCNELUSOUNIT2 | -6.75 | AWEK1L | ODISHA | 1.63
GMRKEL_STU | RUVITSL | 0 | DCBL_Rajgangpur | Dalmia_Cem_Lanka | -1.17 | AWEK1L | ODISHA | 2.45
GMRKEL_STU | TNEB | 0 | ENVIROCARE_INFRA | DNHDDPDCL | -5 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 4.82
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | FACORPOWER | BYPL | -14 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 12.68
JSPLANGUL | GEB_Beneficiary | -92.5 | GMRKEL_STU | RUVITSL | 0 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 19.64
JSPLANGUL | GEB_Beneficiary | -74 | JPIPL | TANGEDCO | -13.2 | CGERP_MORJAR_BHJ2_HS | VLSEZ | 1.47
MAADURGA_THERMAL | NPCL_UP | -18.09 | JSPLANGUL | TANGEDCO | -74 | CGERP_MORJAR_BHJ2_HW | VLSEZ | 0.39
NBVLIPP | TANGEDCO | 0 | JSPLANGUL | TANGEDCO | -37 | CPTTNPL | VLSEZ | 1.49
OCL_IRON_STEEL | TPL_DIS_AHM_ISTS | -14.25 | KCMW_od | DALCEMAP | -0.52 | DADRI_SOLAR | ODISHA | 0.76
ORSISL | BALCO_LOAD | -3.5 | NBVLIPP | BYPL | -21.5 | ENERSON_SOLAR_10MW | ODISHA | 1.08
RSPL_JHARSUGUDA | BALCO_LOAD | 0 | NPSRL | MBPL | -5 | GADAG_GreenInfra_W | ODISHA | 0
TSBSLA | BALCO_LOAD | -19.79 | OCL_IRON_STEEL | WBSEDCL | -2.88 | GADAG_GreenInfra_W | ODISHA | 0.37
VSL | BALCO_LOAD | -5 | ODISHA | TANGEDCO | -25 | GADAG_GreenInfra_W | ODISHA | 0
FARIDABAD_SOLAR | ODISHA | 0.86 | ODISHA | WBSEDCL | -50 | GADAG_Serentica3_S | VLSEZ | 43.56
JSWEL_UTKAL | ODISHA | 75.74 | ODISHA | WBSEDCL | -50 | GADAG_Serentica3_W | VLSEZ | 13.42
RAJ_SOLAR | ODISHA | 2.29 | ORSISL | DNHDDPDCL | -3 | GADAG_Serentica3_W | VLSEZ | 54.71
RAJ_SOLAR | ODISHA | 2.32 | RSPL_JHARSUGUDA | DNHDDPDCL | -20 | GIWEL_SECI_II_RE | ODISHA | 6.36
|  |  | SGML | TPL_DIS_SUR | -7 | GPCL_SOLAR_10 | ODISHA | 1.44
|  |  | SMEL | DNHDDPDCL | -25 | GSECL_SOLAR | ODISHA | 2.02
|  |  | SMEL | TPL_DIS_SUR | -5 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.99
|  |  | Shri_JSPL | TPL_DIS_SUR | -2.5 | KARUR_TPVARDHAMAN_W | TSKPO | 8.89
|  |  | TSBSLA | DNHDDPDCL | -10 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.78
|  |  | VIRAJ_SEPL | TANGEDCO | -10 | Kurnool_Greenko_H_Inj | ADITYAAL | 2.01
|  |  | VSL | DNHDDPDCL | -10 | Kurnool_Greenko_H_Inj | ADITYAAL | 3.42
|  |  | Darlipali_NTPC | ODISHA | 25.14 | NTPCRE1_SMND_BHJ2_W | ODISHA | 1.46
|  |  | JIPL | ODISHA | 115.92 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 0
|  |  | LPPL_CSEB | VLSEZ | 2.9 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0.08
|  |  | MYTRAHVAYU | VLSEZ | 3.48 | OKWPL_RE | ODISHA | 3.67
|  |  | NALCOAP | NACL_Odisha | 4.24 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 26.32
|  |  | NU_VISTA_LTD_CG | VLSEZ | 3.86 | RWE_AP2_SECI_III | ODISHA | 3.22
|  |  | RISENIPL_CSEB | VLSEZ | 4.15 | RenewGreen_SLPR_HS | JSL_DUBURI | 14.97
|  |  | TPC_MSEB | VLSEZ | 33.81 | SRI9PL_FTG3 | VLSEZ | 113.2
|  |  | TPC_MSEB | VLSEZ | 17.61 | TPVSL_BKN3 | TSKPO | 13.64
|  |  | TPC_MSEB | VL_CPP_1215 | 14.59 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.1
|  |  | UPPCL | VLSEZ | 90.02 | TSESOPL_BKN2 | OPL_CUTTAK | 0.11
|  |  | UPPCL | VL_CPP_1215 | 48.84 | Tuticorin_BETAMWIND | ODISHA | 19.04
|  |  | VIPL_CSEB | VLSEZ | 6.76 | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 9.2
|  |  | pssk1234 | VLSEZ | 1.45 | XXPPL_FTG3 | ODISHA | 76.12

## DAM
DAM TRADING DETAILS FOR DT : 13.10.2026
Time Period | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | MGM_Minerals_Ltd | MSP_Sponge_Iron_Limited_Odisha | Nav_Bharat_ventures_Ltd | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | -1 | 0 | -2 | 0.07
00:15 - 00:30 | 0 | 0 | -1 | 0 | -2 | 0.93
00:30 - 00:45 | 0 | 0 | -1 | 0 | -2 | 1.31
00:45 - 01:00 | 0 | 0 | -1 | 0 | -2 | 1.26
01:00 - 01:15 | 0 | 0 | -1 | 0 | -2 | 1.15
01:15 - 01:30 | 0 | 0 | -1 | 0 | -2 | 1.64
01:30 - 01:45 | 0 | 0 | -1 | 0 | -2 | 1.8
01:45 - 02:00 | 0 | 0 | -1 | 0 | -2 | 2.35
02:00 - 02:15 | 0 | -100 | -1 | 0 | -2 | 6.26
02:15 - 02:30 | 0 | -100 | -1 | 0 | -2 | 15.02
02:30 - 02:45 | 0 | -100 | -1 | 0 | -2 | 20.85
02:45 - 03:00 | 0 | -100 | -1 | 0 | -2 | 24.93
03:00 - 03:15 | 0 | -100 | -1 | 0 | -2 | 15.72
03:15 - 03:30 | 0 | -100 | -1 | 0 | -2 | 17.19
03:30 - 03:45 | 0 | -100 | -1 | 0 | -2 | 18.07
03:45 - 04:00 | 0 | -100 | -1 | 0 | -2 | 19.33
04:00 - 04:15 | 0 | -100 | -1 | 0 | -2 | 14.36
04:15 - 04:30 | 0 | -100 | -1 | 0 | -2 | 12.72
04:30 - 04:45 | 0 | -100 | -1 | 0 | -2 | 6.27
04:45 - 05:00 | 0 | -100 | -1 | 0 | -2 | 5.29
05:00 - 05:15 | 0 | -100 | -1.1 | 0 | -2 | 0.02
05:15 - 05:30 | 0 | -100 | -1.1 | 0 | -2 | 0.27
05:30 - 05:45 | 0 | -100 | -1.1 | 0 | -2 | 0.14
05:45 - 06:00 | 0 | -100 | -1.1 | 0 | -2 | 0.14
06:00 - 06:15 | -25.49 | -300 | -1.1 | 0 | -2 | 0.08
06:15 - 06:30 | -25.5 | -300 | -1.1 | 0 | -2 | 0.42
06:30 - 06:45 | -25.5 | -300 | -1.1 | 0 | -2 | 0.3
06:45 - 07:00 | -25.5 | -300 | -1.1 | 0 | -2 | 0.44
07:00 - 07:15 | -25.5 | -300 | -1.1 | 0 | -2 | 1.08
07:15 - 07:30 | -25.5 | -300 | -1.1 | 0 | -2 | 0
07:30 - 07:45 | -25.5 | -300 | -1.1 | 0 | -2 | 0
07:45 - 08:00 | -25.5 | -300 | -1.1 | 0 | -2 | 0
08:00 - 08:15 | -25.5 | -1000 | -1.1 | 0 | -2 | 0
08:15 - 08:30 | 0 | -1000 | -1.1 | 0 | -2 | 0
08:30 - 08:45 | 0 | -1000 | -1.1 | 0 | -2 | 0
08:45 - 09:00 | 0 | -1000 | -1.1 | 0 | -2 | 0
09:00 - 09:15 | 0 | -1300 | -1.1 | 0 | -2 | 0
09:15 - 09:30 | 0 | -1300 | -1.1 | 0 | -2 | 0
09:30 - 09:45 | 0 | -1300 | -1.1 | 0 | -2 | 0
09:45 - 10:00 | 0 | -1125 | -1.1 | 0 | -2 | 0
10:00 - 10:15 | 0 | -1289.87 | -1.1 | 9.66 | -1 | 0
10:15 - 10:30 | 0 | -1063.08 | -1.1 | 9.66 | -1 | 0
10:30 - 10:45 | 0 | -434.67 | -1.1 | 0 | -1 | 0
10:45 - 11:00 | 0 | -300 | -1.1 | 0 | -1 | 0
11:00 - 11:15 | 0 | -300 | -1.1 | 0 | -1 | 0
11:15 - 11:30 | 0 | -300 | -1.1 | 0 | -1 | 0
11:30 - 11:45 | 0 | -300 | -1.1 | 0 | -1 | 0
11:45 - 12:00 | 0 | -300 | -1.1 | 0 | -1 | 0
12:00 - 12:15 | 0 | -300 | -1.1 | 0 | -1 | 0
12:15 - 12:30 | 0 | -300 | -1.1 | 0 | -1 | 0
12:30 - 12:45 | 0 | -300 | -1.1 | 0 | -1 | 0
12:45 - 13:00 | 0 | -300 | -1.1 | 0 | -1 | 0
13:00 - 13:15 | 0 | -300 | -1.1 | 0 | -1 | 0
13:15 - 13:30 | 0 | -300 | -1.1 | 0 | -1 | 0
13:30 - 13:45 | 0 | -300 | -1.1 | 0 | -1 | 0
13:45 - 14:00 | 0 | -350.13 | -1.1 | 9.66 | -1 | 0
14:00 - 14:15 | 0 | -827.28 | -1.1 | 9.66 | -1 | 0
14:15 - 14:30 | 0 | -1025 | -1.1 | 9.66 | -1 | 0
14:30 - 14:45 | 0 | -1025 | -1.1 | 0 | -1 | 0
14:45 - 15:00 | 0 | -1025 | -1.1 | 0 | -1 | 0
15:00 - 15:15 | 0 | -950 | -1.1 | 0 | -2 | 0
15:15 - 15:30 | 0 | -950 | -1.1 | 0 | -2 | 0
15:30 - 15:45 | -25.5 | -950 | -1.1 | 0 | -2 | 0
15:45 - 16:00 | -25.5 | -950 | -1.1 | 0 | -2 | 0
16:00 - 16:15 | -25.5 | -775 | -1.1 | 0 | -2 | 0
16:15 - 16:30 | -25.5 | -725 | -1.1 | 0 | -2 | 0
16:30 - 16:45 | -25.5 | -400 | -1.1 | 0 | -2 | 0
16:45 - 17:00 | -25.5 | -375 | -1.1 | 0 | -2 | 0
17:00 - 17:15 | -25.5 | -50 | -1 | 0 | -2 | 0
17:15 - 17:30 | -25.5 | -50 | -1 | 0 | -2 | 0
17:30 - 17:45 | -25.5 | 0 | -1 | 0 | -2 | 0
17:45 - 18:00 | -25.5 | 0 | -1 | 0 | -2 | 0
18:00 - 18:15 | 0 | 0.58 | -1 | 0 | -2 | 0
18:15 - 18:30 | 0 | 0.28 | -1 | 0 | -2 | 0
18:30 - 18:45 | 0 | 0.21 | -1 | 0 | -2 | 0
18:45 - 19:00 | 0 | 0 | -1 | 0 | -2 | 0
19:00 - 19:15 | 0 | 0.23 | -1 | 0 | -2 | 0
19:15 - 19:30 | 0 | 0.19 | -1 | 0 | -2 | 0
19:30 - 19:45 | 0 | 0.07 | -1 | 0 | -2 | 0
19:45 - 20:00 | 0 | 0.11 | -1 | 0 | -2 | 0
20:00 - 20:15 | 0 | 0.28 | -1 | 0 | -2 | 0
20:15 - 20:30 | 0 | 0.27 | -1 | 0 | -2 | 0
20:30 - 20:45 | 0 | 0.4 | -1 | 0 | -2 | 0
20:45 - 21:00 | 0 | 0.58 | -1 | 0 | -2 | 0
21:00 - 21:15 | 0 | 0.92 | -1 | 0 | -2 | 0
21:15 - 21:30 | 0 | 0.73 | -1 | 0 | -2 | 0
21:30 - 21:45 | 0 | 0.25 | -1 | 0 | -2 | 0
21:45 - 22:00 | 0 | 0.15 | -1 | 0 | -2 | 0
22:00 - 22:15 | 0 | 0 | -1 | 0 | -2 | 0
22:15 - 22:30 | 0 | 0 | -1 | 0 | -2 | 0
22:30 - 22:45 | 0 | 0 | -1 | 0 | -2 | 0
22:45 - 23:00 | 0 | 0 | -1 | 0 | -2 | 0
23:00 - 23:15 | 0 | 0 | -1 | 0 | -2 | 0
23:15 - 23:30 | 0 | 0 | -1 | 0 | -2 | 0
23:30 - 23:45 | 0 | 0 | -1 | 0 | -2 | 0
23:45 - 24:00 | 0 | 0 | -1 | 0 | -2 | 0
Average | -5.0468 | -310.779 | -1.05 | 0.50312 | -1.7917 | 1.973

## GDAM
GDAM TRADING DETAILS FOR DT:13.10.2026
Time Period | GRIDCO | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0.97
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0.97
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0.98
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0.99
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0.87
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0.9
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0.95
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0.98
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 1.67
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 1.76
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 1.73
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 1.65
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0.99
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0.97
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0.95
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0.99
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0.15
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0.14
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0.11
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0.09
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0.07
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0.05
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0.02
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0.01
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0.01
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0.04
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0.08
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0.16
07:15 - 07:30 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | 0 | 0 | 0 | 0 | 0
08:15 - 08:30 | 0 | 0 | 0 | 0 | 0 | 0
08:30 - 08:45 | 0 | 0 | 0 | 0 | 0 | 0
08:45 - 09:00 | 0 | 3.86 | 0 | 0 | 0 | 0
09:00 - 09:15 | 0 | 3.86 | 0 | 0 | 0 | 0
09:15 - 09:30 | 0 | 3.86 | 0 | 0 | 0 | 0
09:30 - 09:45 | 0 | 3.86 | 0 | 0 | 0 | 0
09:45 - 10:00 | 0 | 3.86 | 0 | 0 | 0 | 0
10:00 - 10:15 | 0 | 7.73 | 0 | 0 | 0 | 0
10:15 - 10:30 | 0 | 7.73 | 0 | 0 | 0 | 0
10:30 - 10:45 | 0 | 7.73 | 18.91 | 9.66 | 0 | 0
10:45 - 11:00 | 0 | 7.73 | 12.24 | 9.66 | 0 | 0
11:00 - 11:15 | 0 | 7.73 | 38.05 | 9.66 | 0 | 0
11:15 - 11:30 | 0 | 7.73 | 43.47 | 9.66 | 0 | 0
11:30 - 11:45 | 0 | 7.73 | 43.47 | 9.66 | 0 | 0
11:45 - 12:00 | 0 | 7.73 | 43.47 | 9.66 | 0 | 0
12:00 - 12:15 | 0 | 7.73 | 43.47 | 9.66 | 4.83 | 0
12:15 - 12:30 | 0 | 7.73 | 43.47 | 9.66 | 4.83 | 0
12:30 - 12:45 | 0 | 7.73 | 43.47 | 9.66 | 4.83 | 0
12:45 - 13:00 | 0 | 7.73 | 43.47 | 9.66 | 4.83 | 0
13:00 - 13:15 | 0 | 7.73 | 43.47 | 9.66 | 4.83 | 0
13:15 - 13:30 | 0 | 7.73 | 43.47 | 9.66 | 4.83 | 0
13:30 - 13:45 | 0 | 7.73 | 0 | 9.66 | 0 | 0
13:45 - 14:00 | 0 | 7.73 | 0 | 0 | 0 | 0
14:00 - 14:15 | 0 | 3.86 | 0 | 0 | 0 | 0
14:15 - 14:30 | 0 | 3.86 | 0 | 0 | 0 | 0
14:30 - 14:45 | 0 | 3.86 | 0 | 0 | 0 | 0
14:45 - 15:00 | 0 | 3.86 | 0 | 0 | 0 | 0
15:00 - 15:15 | 0 | 3.86 | 0 | 0 | 0 | 0
15:15 - 15:30 | 0 | 3.86 | 0 | 0 | 0 | 0
15:30 - 15:45 | 0 | 0 | 0 | 0 | 0 | 0
15:45 - 16:00 | 0 | 0 | 0 | 0 | 0 | 0
16:00 - 16:15 | 0 | 0 | 0 | 0 | 0 | 0
16:15 - 16:30 | 0 | 0 | 0 | 0 | 0 | 0
16:30 - 16:45 | 0 | 0 | 0 | 0 | 0 | 0
16:45 - 17:00 | 0 | 0 | 0 | 0 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | 0 | 0 | 0
17:15 - 17:30 | 0 | 0 | 0 | 0 | 0 | 0
17:30 - 17:45 | 0 | 0 | 0 | 0 | 0 | 0
17:45 - 18:00 | 0 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | 0.54 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0.09 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0.11 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0.44 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0.45 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0.45 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0.46 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0.57 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0.57 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0.58 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0.58 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0.59 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0.6 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0.63 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0.65 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0
Average | 0.076146 | 1.7306 | 4.7961 | 1.3081 | 0.30187 | 0.20052

## RTM
RTM TRADING DETAILS FOR DT: 13.10.2026
Time Period | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | GRIDCO | MGM_Green_Energy_Limited_5MW_Solar_Power_Plant_Lokapada | MGM_Green_Energy_Ltd | Maithan_Ispat_Limited_MPL | Neelachal_Ispat_Nigam_Limited | OCL_Iron_and_Steel_Limited_ENE | ORISSA_SPONGE_IRON_AND_STEEL_LIMITED | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Vedanta_Aluminium_Metal_Ltd_CPP_9X135MW_Jharsuguda | Visa_Chrome_Limited
00:00 - 00:15 | 0 | -0.3 | -2.1 | -300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -2 | -65 | 0 | 0 | 30.32 | 0 | -2
00:15 - 00:30 | 0 | -0.3 | -2.1 | -300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -2 | 0 | 0 | 0 | 101.82 | 0 | -2
00:30 - 00:45 | 0 | -0.3 | -2 | -400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -2 | 0 | 0 | 0 | 83.04 | 0 | -2
00:45 - 01:00 | 0 | -0.3 | -2 | -500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -2 | -40 | 0 | 0 | 75.14 | 0 | -2
01:00 - 01:15 | -8 | -0.3 | -1.9 | -400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -2 | -30 | 0 | 0 | 23.72 | 0 | -2
01:15 - 01:30 | 0 | -0.3 | -1.9 | -400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -2 | 0 | 0 | 0 | 17.99 | 0 | -2
01:30 - 01:45 | 0 | -0.3 | -1.9 | -300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -2
01:45 - 02:00 | 0 | -0.3 | -1.9 | -300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -45 | 0 | 0 | 0 | 0 | -2
02:00 - 02:15 | -5 | -0.3 | -1.9 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -45 | 0 | 0 | 0 | 0 | -2
02:15 - 02:30 | -8 | -0.3 | -1.9 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -2
02:30 - 02:45 | 0 | -0.3 | -1.8 | -200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -3
02:45 - 03:00 | 0 | -0.3 | -1.8 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -10 | 0 | 0 | 0 | 0 | -3
03:00 - 03:15 | 0 | -0.3 | -1.8 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -3
03:15 - 03:30 | 0 | -0.3 | -1.8 | -83.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -3
03:30 - 03:45 | 12.56 | -0.3 | -1.9 | -61.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -2 | -40 | 0 | 0 | 0 | 0 | -3
03:45 - 04:00 | 12.56 | -0.3 | -1.9 | -161.31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -2 | -30 | 0 | 0 | 0 | 0 | -3
04:00 - 04:15 | 12.56 | -0.3 | -1.8 | -160.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | 0 | -3
04:15 - 04:30 | 0 | -0.3 | -1.8 | -170.83 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | 0 | -3
04:30 - 04:45 | 5.75 | -0.3 | -1.8 | -266.67 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -2 | -15 | 0 | 0 | 0 | 0 | -3
04:45 - 05:00 | 0 | -0.3 | -1.8 | -283.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -2 | 0 | 0 | 0 | 0 | 0 | -3
05:00 - 05:15 | 0 | -0.3 | -1.8 | -200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | -3
05:15 - 05:30 | -7 | -0.3 | -1.8 | -300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | -3
05:30 - 05:45 | 0 | -0.8 | -1.6 | -300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | -40 | 0 | 0 | 0 | 0 | -3
05:45 - 06:00 | 0 | -0.8 | -1.6 | -500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | -3
06:00 - 06:15 | 0 | -0.8 | -1.6 | -400 | -0.1 | -0.1 | 0 | 0 | 0 | -7 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | -3
06:15 - 06:30 | 0 | -0.8 | -1.6 | -500 | -0.2 | -0.1 | 0 | 0 | 0 | -7 | 0 | 0 | -6 | 0 | -10 | 0 | 0 | 0 | 0 | -3
06:30 - 06:45 | 0 | -0.8 | -1.5 | -600 | -0.3 | -0.3 | 0 | 0 | 0 | -7 | -0.3 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -3
06:45 - 07:00 | 0 | -0.8 | -1.5 | -600 | -0.5 | -0.4 | 0 | 0 | 0 | -7 | -0.6 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -3
07:00 - 07:15 | -8 | -0.3 | -1.6 | -600 | -0.9 | -0.5 | 0 | 0 | 0 | -7 | -1 | 0 | -1 | -1 | -30 | 0 | 0 | 0 | 0 | -4
07:15 - 07:30 | 0 | -0.3 | -1.6 | -700 | -1.1 | -0.6 | 0 | 0 | 0 | -7 | -1.4 | 0 | -1 | -1 | -45 | 0 | 0 | 0 | 0 | -4
07:30 - 07:45 | 0 | -0.3 | -1.6 | -700 | -1.4 | -0.8 | 0 | 0 | 0 | -3 | -1.9 | 0 | -3 | -1 | -10 | 0 | 0 | 0 | 0 | -4
07:45 - 08:00 | 0 | -0.3 | -1.6 | -900 | -1.7 | -1 | 0 | 0 | 0 | -3 | -2.2 | 0 | -3 | -1 | 0 | 0 | 0 | 0 | 0 | -4
08:00 - 08:15 | 11.59 | -0.3 | -1.5 | -55.4 | -2 | -1.2 | 0 | 0 | 0 | 0 | -2.8 | 0 | -6 | -1 | 0 | 0 | 0 | 0 | 0 | -4
08:15 - 08:30 | -7 | -0.3 | -1.5 | -150 | -2.2 | -1.4 | 0 | 0 | 0 | 0 | -3.2 | 0 | -6 | -1 | 0 | 0 | 0 | 0 | 0 | -4
08:30 - 08:45 | 11.59 | -0.3 | 0 | -515.54 | -2.3 | -1.6 | 0 | 0 | 0 | 0 | -3.6 | 0 | -6 | -1 | 0 | 0 | 0 | 0 | 0 | -4
08:45 - 09:00 | 11.59 | -0.3 | 0 | -414.56 | -2.6 | -1.8 | 0 | 0 | 0 | 0 | -4 | 0 | -6 | -1 | 0 | 0 | 0 | 0 | 0 | -4
09:00 - 09:15 | 11.59 | 0 | 0 | -135.3 | -2.9 | -2.1 | 0 | 0 | 0 | 0 | -4.4 | 0 | -5 | -1 | 0 | 0 | 0 | 0 | 0 | 0
09:15 - 09:30 | 11.59 | 0 | 0 | -223.02 | -3 | -2 | 0 | 0 | 0 | 0 | -2.1 | 0 | -5 | -1 | -10 | 0 | 0 | 0 | 0 | 0
09:30 - 09:45 | 11.59 | 0 | 0 | -302.52 | -3.1 | -2.3 | 0 | 1.93 | 0 | 0 | 0 | 0 | -5 | -1 | 0 | 0 | 0 | 0 | 0 | 0
09:45 - 10:00 | 11.59 | 0 | 0 | -502.51 | -3.4 | -2.4 | 0 | 1.93 | 0 | 0 | 0 | 0 | -5 | -1 | 0 | 0 | 0 | 0 | 0 | 0
10:00 - 10:15 | 11.59 | 0 | 0 | -310.04 | -3.5 | -2.6 | 0 | 1.93 | 0 | 0 | 0 | 0 | -6 | -1 | -30 | 0 | 0 | 0 | 0 | 0
10:15 - 10:30 | 11.59 | 0 | 0 | -404.08 | -3.5 | -2.6 | 0 | 1.93 | 0 | 0 | 0 | 0 | -6 | -1 | -10 | 0 | 0 | 0 | 0 | 0
10:30 - 10:45 | 11.59 | 0 | 0 | -405.03 | -3.6 | -2.6 | 0 | 1.93 | 0 | 0 | 0 | 0 | -6 | -1 | 0 | 0 | 0 | 0 | 0 | 0
10:45 - 11:00 | 11.59 | 0 | 0 | -354.08 | -3.7 | -2.7 | 0 | 1.93 | 0 | 0 | 0 | 0 | -6 | -1 | -10 | 0 | 0 | 0 | 0 | 0
11:00 - 11:15 | 11.59 | -0.4 | 0 | -831.53 | -3.8 | -2.8 | -4 | 1.93 | 0 | 0 | 0 | 4.83 | -6 | -1 | -10 | 9.66 | 5.41 | 0 | 0 | 0
11:15 - 11:30 | 11.59 | -0.4 | 0 | -1031.54 | -3.8 | -2.8 | -4 | 1.93 | 0 | 0 | 0 | 4.83 | -1 | -1 | 0 | 9.66 | 5.41 | 0 | 0 | 0
11:30 - 11:45 | -5 | -0.4 | 0 | -1200 | 0 | -0.9 | 0 | 1.93 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 9.66 | 0 | 0 | 0 | 0
11:45 - 12:00 | 11.59 | -0.4 | 0 | -1081.25 | 0 | -0.9 | 0 | 1.93 | 0 | 0 | 0 | 0 | -1 | -1 | -30 | 9.66 | 0 | 0 | 0 | 0
12:00 - 12:15 | 11.59 | -0.4 | 0 | -1001.08 | -3.6 | -0.6 | -4 | 1.93 | 0 | 0 | 0 | 4.83 | -1 | -1 | 0 | 9.66 | 0 | 0 | 0 | 0
12:15 - 12:30 | 11.59 | -0.4 | 0 | -1105.21 | -3.6 | -0.6 | -4 | 1.93 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 9.66 | 0 | 0 | 0 | 0
12:30 - 12:45 | -6 | -0.4 | 0 | -1124.48 | -3.5 | -0.7 | -4 | 1.93 | 0 | 0 | 0 | 4.83 | -1 | -1 | 0 | 9.66 | 5.41 | 0 | 0 | 0
12:45 - 13:00 | -6 | -0.4 | 0 | -1161.8 | -3.4 | -0.8 | -4 | 1.93 | 0 | 0 | 0 | 4.83 | -1 | -1 | -35 | 9.66 | 5.41 | 0 | 0 | 0
13:00 - 13:15 | 11.6 | -0.8 | 0 | -1147.47 | -1.6 | -0.9 | -5 | 1.93 | 0 | 0 | 3.28 | 4.83 | -3 | -1 | -10 | 9.66 | 5.41 | 0 | 0 | 0
13:15 - 13:30 | 11.59 | -0.8 | 0 | -1107.51 | -1.7 | -0.9 | -5 | 1.93 | 0 | 0 | 0 | 4.83 | -3 | -1 | 0 | 9.66 | 5.41 | 0 | 0 | 0
13:30 - 13:45 | -4 | -0.8 | 0 | -961.77 | 0 | -0.5 | -5 | 1.93 | 0 | 0 | 0 | 4.83 | -3 | -1 | -40 | 0 | 5.41 | 0 | 0 | 0
13:45 - 14:00 | 11.59 | -0.8 | 0 | -900.03 | 0 | -0.5 | -5 | 1.93 | 0 | 0 | 0 | 4.83 | -3 | -1 | -30 | 0 | 2.33 | 0 | 0 | 0
14:00 - 14:15 | 11.59 | -1.3 | 0 | -431.22 | 0 | -0.5 | -5 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | -45 | 0 | 0 | 0 | 0 | 0
14:15 - 14:30 | 11.59 | -1.3 | 0 | -127.5 | 0 | -0.6 | -5 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | -45 | 0 | 0 | 0 | 0 | 0
14:30 - 14:45 | 11.59 | -1.3 | 0 | -37.32 | 0 | -0.5 | -5 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | -35 | 0 | 0 | 0 | 0 | 0
14:45 - 15:00 | 11.59 | -1.3 | 0 | -150.02 | -2.2 | -0.4 | -5 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0
15:00 - 15:15 | 5.8 | -1.3 | 0 | -51.45 | -1.9 | -0.3 | -5 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 103.36 | 0
15:15 - 15:30 | 11.59 | -1.3 | 0 | -25.46 | -1.5 | -0.3 | -5 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0
15:30 - 15:45 | 6.48 | -1.3 | 0 | 0 | -1.3 | -0.2 | -5 | 0 | 0 | 0 | 0 | 0 | -1 | -1 | -45 | 0 | 0 | 0 | 0 | 0
15:45 - 16:00 | 0 | -1.3 | 0 | -25 | -0.9 | -0.1 | -5 | 0 | 0 | 0 | -1.4 | 0 | -1 | -1 | -45 | 0 | 0 | 0 | 0 | 0
16:00 - 16:15 | 0 | -1.3 | -1.7 | -100 | -0.6 | 0 | -5 | 0 | 0 | 0 | -1.1 | 0 | 0 | -1 | -45 | 0 | 0 | 0 | 0 | -3
16:15 - 16:30 | 0 | -1.3 | -1.7 | -50 | -0.4 | 0 | -5 | 0 | 0 | 0 | -0.7 | 0 | 0 | -1 | -45 | 0 | 0 | 0 | 0 | -3
16:30 - 16:45 | -10 | -1 | -1.7 | -300 | -0.2 | 0 | -10 | 0 | -15 | 0 | -0.4 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -3
16:45 - 17:00 | 0 | -1 | -1.7 | -200 | -0.1 | 0 | -10 | 0 | -15 | 0 | -0.1 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -3
17:00 - 17:15 | 0 | -0.7 | -1.8 | -250 | 0 | 0 | -10 | 0 | -20 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -3
17:15 - 17:30 | 0 | -0.7 | -1.8 | -50 | 0 | 0 | -10 | 0 | -20 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -3
17:30 - 17:45 | 0 | -0.7 | -1.9 | -250 | 0 | 0 | -10 | 0 | -20 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -3
17:45 - 18:00 | 0 | -0.7 | -1.9 | -125 | 0 | 0 | -10 | 0 | -20 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -3
18:00 - 18:15 | -10 | -0.7 | -1.9 | -200 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -45 | 0 | 0 | 0 | 0 | -3
18:15 - 18:30 | 0 | -0.7 | -1.9 | -200 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -20 | 0 | 0 | 0 | 0 | -3
18:30 - 18:45 | 0 | -0.7 | -1.9 | -250 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -3
18:45 - 19:00 | 0 | -0.7 | -1.9 | -250 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -3
19:00 - 19:15 | 0 | -0.4 | -1.7 | -300 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -20 | 0 | 0 | 0 | 0 | -3
19:15 - 19:30 | 0 | -0.4 | -1.7 | -300 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -3
19:30 - 19:45 | 0 | -0.2 | -1.7 | -300 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -3
19:45 - 20:00 | 0 | -0.2 | -1.7 | -300 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -30 | 0 | 0 | 0 | 0 | -3
20:00 - 20:15 | 0 | -0.2 | -1.7 | -350 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -20 | 0 | 0 | 0 | 0 | -3
20:15 - 20:30 | 0 | -0.2 | -1.7 | -350 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -3
20:30 - 20:45 | 0 | -0.2 | -1.8 | -400 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -3
20:45 - 21:00 | 0 | -0.2 | -1.8 | -500 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -20 | 0 | 0 | 0 | 0 | -3
21:00 - 21:15 | 0 | -0.2 | -1.8 | -400 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -3
21:15 - 21:30 | 0 | -0.2 | -1.8 | -400 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -3
21:30 - 21:45 | 0 | -0.5 | -1.8 | -500 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -3
21:45 - 22:00 | 0 | -0.5 | -1.8 | -500 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -3
22:00 - 22:15 | 0 | -0.5 | -1.8 | -400 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -3
22:15 - 22:30 | 0 | -0.5 | -1.8 | -400 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -30 | 0 | 0 | 0 | 0 | -3
22:30 - 22:45 | 0 | -0.2 | -1.8 | -400 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -30 | 0 | 0 | 0 | 0 | -3
22:45 - 23:00 | 0 | -0.2 | -1.8 | -500 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -20 | 0 | 0 | 0 | 0 | -3
23:00 - 23:15 | 0 | -0.2 | -1.8 | -500 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -3
23:15 - 23:30 | 0 | -0.2 | -1.8 | -600 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -3
23:30 - 23:45 | 0 | -0.2 | -1.8 | -400 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -3
23:45 - 24:00 | 0 | -0.2 | -1.8 | -450 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -3
Average | 2.6029 | -0.48333 | -1.2229 | -403.497 | -0.79271 | -0.46771 | -4.1042 | 0.36188 | -1.1458 | -0.5 | -0.29083 | 0.45281 | -1.9062 | -1.125 | -12.6042 | 1.0062 | 0.41875 | 3.4586 | 1.0767 | -2.1042