## POWER STATUS
POWER STATUS ON DT 16.10.2026
[9 empty] | 2026-10-16 | 2026-10-15
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 19:00
Demand -> | [8 empty] | 6081.5332 | 6779.7042
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla [Gate-L-0 , R-0] | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 204.333 | 4.904 | 630/590 ft | 630 | 629 | 628.77 | 184.721 | 203.5098
| Chiplima | 72(3x24) | 66.833 | 1.604 | - |  |  |  | 65.5422 | 66.4302
| Balimela | 510(6x60+2x75) | 314.708 | 7.553 | 1516/1440 ft | 1505.4 | 1505.2 | 1505.2 | 89.7248 | 347.481
| Rengali | 250(5x50) | 243.1333 | 5.8352 | 123.5/109.75 mt | 123.55 | 123.08 | 122.99 | 246.0596 | 244.9221
| Upper Kolab | 320(4x80) | 104.33 | 2.5039 | 858/844 mt | 856.87 | 855.91 | 855.9 | 44.1134 | 172.7311
| Upper Indravati [Gate-0] | 600(4x150) | 602.2917 | 14.455 | 642/625 mt | 640.98 | 640.8 | 640.71 | 599.4005 | 598.6231
| Machkund | 60(50% of(3x17+3x23)) | 28.95 | 0.6948 | 2750/2685 ft | 2748.5 | 2746.45 | 2746.5 | 25.3462 | 35.6831
| Total Hydro | 2099.5 | 1564.579 | 37.5499 |  |  |  |  | 1254.9078 | 1669.3805
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1360.9432 | 32.6626 | RENEWABLE ENERGY (RE) |  |  |  | 1720.8364 | 1593.3251
[5 empty] | M.Hydl | 95.4253
| Total Thermal | 2200 | 1360.9432 | 32.6626 | Solar | 145.429 |  |  | 1720.8364 | 1593.3251
IPP | VEDANTA #2 | 600 (1x600) | 435.9643 | 10.4631 | Total IPPs | Yesterday's Demand Profile |  |  | 389.0819 | 547.8516
| GMR #3 | 350 (1x350) | 28.5041 | 0.6841 | 569.0894 |  | MW | HRS | 329.3734 | -12.7969
| NBVL(IPP) | 60(1x60) | 54.0676 | 1.2976 |  |  |  |  | 53.7077 | 54.3836
| MDTPC |  | 50.5533 | 1.2133 |  |  |  |  | 45.3111 | 56.0727
| CGPs |  | 857.9069 | 20.5898 | IPPs, CGPs & RE | Maximum | 6780 | 19:00 | 2146.3159 | 1656.0282
| Central Sector(Drawl) |  | 1504.7035 | 36.1129 | 1667.8506 | Minimum | 5412 | 07:00 | 959.4731 | 1860.9704
| Central Sector(Sch) |  | 1612.6789 | 38.7043 |  | Average | 6098.0764 |  | 1063.76 | 2004.1997
| Grand Total |  | 6098.0764 | 146.3538 | Instantaneous Peak demand |  | 7040 | 20:34 | 6081.5332 | 6779.7042
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(3) |  | ACTUAL |  | SCHEDULE(1)
Burla | 7 | IbTPS / OPGC | 4 |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1650.1494 | 39.6036 | 1638.6199 | 39.3269 | 1637.9539 | 39.3109
Balimela | NIL | TSTPP St-I | NIL | TPWODL | 1761.9503 | 42.2868 | 2146.9521 | 51.5269 | 2277.4044 | 54.6577
Rengali | NIL | TSTPP St-II | 5 | TPNODL | 1406.8235 | 33.7638 | 1509.846 | 36.2363 | 1440.0386 | 34.5609
U.Kolab | 2 | KAHALGAON | 4,6 | TPSODL | 594.3276 | 14.2639 | 583.5746 | 14.0058 | 582.7752 | 13.9866
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5413.251 | 129.918 | 5878.9926 | 141.0958 | 5938.1721 | 142.5161
Machhkund | 4,5,6 | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 389 | GMR |  |  |  | 329.3734
| NBVL #3 | 53.7077 | MDTPC |  |  |  | 45.3111
Mini Hydel: | MEENAKSHI | 34.5769 | OPCL |  |  |  | 0
| BTPL | 18.7051 | SAPTADHARA |  |  |  | 5.994
| SNHEP | 31.7283 | KAKATIYA |  |  |  | 7.3797
Solar: |  | 426.9521
CGPs : | JSPL (Angul) | 308.5544 | JSL(Duburi) |  |  |  | -165.4027
| ICCL | 47.0087 | visa |  |  |  | 18.0573
| NALCO | -127.968 | VAL (CGP) |  |  |  | 100.2208
| RSP | -82.2672 | BSL(MMDL) |  |  |  | 5.7687
| INDAL | 5.8419 | ADITYA ALUMINIUM |  |  |  | 43.6875
| NINL | -37.4987 | VAL CPP 400 kV |  |  |  | -970.2587
| NBVL | 53.7077 | Arati |  |  |  | 2.4286e-16
| BPSL(JSG) | 39.0953 | BPPL |  |  |  | 115.7237
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-10-08 | 2026-10-09 | 2026-10-10 | 2026-10-11 | 2026-10-12 | 2026-10-13 | 2026-10-14 | 2026-10-15
1409.8552 | 1400.235 | 1459.671 | 1462.5235 | 1429.2754 | 1478.8618 | 1570.28 | 1564.579
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.15.10.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | ARYAN_ISPAT | DNHDDPDCL | -5 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0.2
ENVIROCARE_INFRA | BALCO_LOAD | -6.5 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -2.4 | AGE26AL_PSS6_KPS1_S | ODISHA | 122.1
ENVIROCARE_INFRA | BALCO_LOAD | -6.5 | DCBL_Rajgangpur | DALCEMAP | -2.04 | AP41PL_BHDL | ODISHA | 54.16
FACORPOWER | APCPDCL | -20 | DCBL_Rajgangpur | DALCEMAP | -2 | AP43PL_BKN | ODISHA | 79.22
FACORPOWER | PUNJAB | -6 | DCBL_Rajgangpur | DCBLME | -2.92 | AWEK1L | ODISHA | 3.11
GMRKEL_STU | RUVITSL | 0 | DCBL_Rajgangpur | DCL_RCW | -3.54 | AWEK1L | ODISHA | 4.66
GMRKEL_STU | TNEB | 0 | DCBL_Rajgangpur | DCNELUSOUNIT2 | -6 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 4.5
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | DCBL_Rajgangpur | DalmiaCementNEL2 | -1.17 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 17.47
JSPLANGUL | GEB_Beneficiary | -68 | ENVIROCARE_INFRA | DNHDDPDCL | -5 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 18.89
JSPLANGUL | GEB_Beneficiary | -85 | FACORPOWER | BYPL | -14 | DADRI_SOLAR | ODISHA | 0.44
MAADURGA_THERMAL | NPCL_UP | -18.09 | GMRKEL_STU | RUVITSL | 0 | ENERSON_SOLAR_10MW | ODISHA | 1.04
NBVLIPP | TANGEDCO | 0 | JPIPL | TANGEDCO | -13.1 | GADAG_GreenInfra_W | ODISHA | 0
OCL_IRON_STEEL | TPL_DIS_AHM_ISTS | -46 | JSPLANGUL | TANGEDCO | -68 | GADAG_GreenInfra_W | ODISHA | 0.2
ODISHA | AMNSIL | -21.88 | JSPLANGUL | TANGEDCO | -34 | GADAG_GreenInfra_W | ODISHA | 0
ODISHA | HP | -55 | KCMW_od | DALCEMAP | -0.67 | GADAG_Serentica3_S | VLSEZ | 44.22
ODISHA | KPTCL | -22.92 | NBVLIPP | BYPL | -46 | GADAG_Serentica3_W | VLSEZ | 20.24
ORSISL | BALCO_LOAD | -3.5 | NPSRL | TPL_DIS_SUR | -5 | GIWEL_SECI_II_RE | ODISHA | 11.54
VSL | BALCO_LOAD | -5 | OCL_IRON_STEEL | WBSEDCL | -8 | GPCL_SOLAR_10 | ODISHA | 1.5
FARIDABAD_SOLAR | ODISHA | 0.86 | ODISHA | CESC | -45.83 | GSECL_SOLAR | ODISHA | 1.76
JSWEL_UTKAL | ODISHA | 75.74 | ODISHA | TANGEDCO | -47.92 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.85
RAJ_SOLAR | ODISHA | 2.27 | ODISHA | WBSEDCL | -50 | KARUR_TPVARDHAMAN_W | TSKPO | 9.8
RAJ_SOLAR | ODISHA | 2.28 | ODISHA | WBSEDCL | -50 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | ORSISL | DNHDDPDCL | -3 | Kurnool_Greenko_H_Inj | ADITYAAL | 3.22
|  |  | RSPL_JHARSUGUDA | CESC | -6.67 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.01
|  |  | RSPL_JHARSUGUDA | DNHDDPDCL | -20 | NTPCRE1_SMND_BHJ2_W | ODISHA | 1.99
|  |  | SGML | TPL_DIS_SUR | -7 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 0
|  |  | SMEL | DNHDDPDCL | -25 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0.08
|  |  | SMEL | TPL_DIS_SUR | -5 | OKWPL_RE | ODISHA | 7.82
|  |  | Shri_JSPL | TPL_DIS_SUR | -2.5 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 15.86
|  |  | TSBSLA | DNHDDPDCL | -10 | RWE_AP2_SECI_III | ODISHA | 5.02
|  |  | TSBSLA | TANGEDCO | -20 | RenewGreen_SLPR_HS | JSL_DUBURI | 13.42
|  |  | VIRAJ_SEPL | TANGEDCO | -10 | SRI9PL_FTG3 | VLSEZ | 106.69
|  |  | VSL | DNHDDPDCL | -10 | TPVSL_BKN3 | TSKPO | 13.4
|  |  | BYPL | VLSEZ | 6.04 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.09
|  |  | Darlipali_NTPC | ODISHA | 4.26 | Tuticorin_BETAMWIND | ODISHA | 9.34
|  |  | JIPL | ODISHA | 115.92 | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 1.61
|  |  | NALCOAP | NACL_Odisha | 3.45 | XXPPL_FTG3 | ODISHA | 77.36
|  |  | PSPCL | VLSEZ | 120.75
|  |  | REAL_ISPAT_Ltd_CG | VLSEZ | 2.9

## DAM
DAM TRADING DETAILS FOR DT : 15.10.2026
Time Period | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | MGM_Minerals_Ltd | Nav_Bharat_ventures_Ltd
00:00 - 00:15 | 0 | 0 | -1.03 | -2.06
00:15 - 00:30 | 0 | 0 | -1.03 | -2.06
00:30 - 00:45 | 0 | 0 | -1.03 | -2.06
00:45 - 01:00 | 0 | 0 | -1.03 | -2.06
01:00 - 01:15 | 0 | 0 | -1.03 | -2.06
01:15 - 01:30 | 0 | 0 | -1.03 | -2.06
01:30 - 01:45 | 0 | 0 | -1.03 | -2.06
01:45 - 02:00 | 0 | 0 | -1.03 | -2.06
02:00 - 02:15 | 0 | 0 | -1.03 | -2.06
02:15 - 02:30 | 0 | 0 | -1.03 | -2.06
02:30 - 02:45 | 0 | 0 | -1.03 | -2.06
02:45 - 03:00 | 0 | 0 | -1.03 | -2.06
03:00 - 03:15 | 0 | -75 | -1.03 | -2.06
03:15 - 03:30 | 0 | -75 | -1.03 | -2.06
03:30 - 03:45 | 0 | -75 | -1.03 | -2.06
03:45 - 04:00 | 0 | -75 | -1.03 | -2.06
04:00 - 04:15 | 0 | 0 | -1.03 | -2.06
04:15 - 04:30 | 0 | 0 | -1.03 | -2.06
04:30 - 04:45 | 0 | 0 | -1.03 | -2.06
04:45 - 05:00 | 0 | 0 | -1.03 | -2.06
05:00 - 05:15 | 0 | -75 | -1.03 | -2.06
05:15 - 05:30 | 0 | -75 | -1.03 | -2.06
05:30 - 05:45 | 0 | -75 | -1.03 | -2.06
05:45 - 06:00 | 0 | -75 | -1.03 | -2.06
06:00 - 06:15 | -26.29 | 0 | -1.03 | -2.06
06:15 - 06:30 | -26.29 | 0 | -1.03 | -2.06
06:30 - 06:45 | -26.29 | 0 | -1.03 | -2.06
06:45 - 07:00 | -26.29 | 0 | -1.03 | -2.06
07:00 - 07:15 | -26.29 | -100 | -1.03 | -2.06
07:15 - 07:30 | -26.29 | -100 | -1.03 | -2.06
07:30 - 07:45 | -26.29 | -100 | -1.03 | -2.06
07:45 - 08:00 | -26.29 | -100 | -1.03 | -2.06
08:00 - 08:15 | -26.29 | -900 | -1.03 | -2.06
08:15 - 08:30 | -26.29 | -900 | -1.03 | -2.06
08:30 - 08:45 | 0 | -900 | -1.03 | -2.06
08:45 - 09:00 | 0 | -900 | -1.03 | -2.06
09:00 - 09:15 | 0 | -1275 | -1.03 | -2.06
09:15 - 09:30 | 0 | -1275 | -1.03 | -2.06
09:30 - 09:45 | 0 | -1275 | -1.03 | -2.06
09:45 - 10:00 | 0 | -1275 | -1.03 | -2.06
10:00 - 10:15 | 0 | -1250 | -1.03 | -1.03
10:15 - 10:30 | 0 | -1250 | -1.03 | -1.03
10:30 - 10:45 | 0 | -1250 | -1.03 | -1.03
10:45 - 11:00 | 0 | -1250 | -1.03 | -1.03
11:00 - 11:15 | 0 | -1150 | -1.03 | -1.03
11:15 - 11:30 | 0 | -1150 | -1.03 | -1.03
11:30 - 11:45 | 0 | -1150 | -1.03 | -1.03
11:45 - 12:00 | 0 | -1150 | -1.03 | -1.03
12:00 - 12:15 | 0 | -1150 | -1.03 | -1.03
12:15 - 12:30 | 0 | -1150 | -1.03 | -1.03
12:30 - 12:45 | 0 | -1150 | -1.03 | -1.03
12:45 - 13:00 | 0 | -1150 | -1.03 | -1.03
13:00 - 13:15 | 0 | -1100 | -1.03 | -1.03
13:15 - 13:30 | 0 | -1100 | -1.03 | -1.03
13:30 - 13:45 | 0 | -1100 | -1.03 | -1.03
13:45 - 14:00 | 0 | -1128.6 | -1.03 | -1.03
14:00 - 14:15 | 0 | -1150 | -1.03 | -1.03
14:15 - 14:30 | 0 | -1150 | -1.03 | -1.03
14:30 - 14:45 | 0 | -1150 | -1.03 | -1.03
14:45 - 15:00 | 0 | -1150 | -1.03 | -1.03
15:00 - 15:15 | 0 | -975 | -1.03 | -2.06
15:15 - 15:30 | -26.29 | -900 | -1.03 | -2.06
15:30 - 15:45 | -26.29 | -825 | -1.03 | -2.06
15:45 - 16:00 | -26.29 | -825 | -1.03 | -2.06
16:00 - 16:15 | -26.29 | -675 | -1.03 | -2.06
16:15 - 16:30 | -26.29 | -675 | -1.03 | -2.06
16:30 - 16:45 | -26.29 | -625 | -1.03 | -2.06
16:45 - 17:00 | -26.29 | -525 | -1.03 | -2.06
17:00 - 17:15 | -26.29 | -375 | -1.03 | -2.06
17:15 - 17:30 | -26.29 | -250 | -1.03 | -2.06
17:30 - 17:45 | -26.29 | 0 | -1.03 | -2.06
17:45 - 18:00 | -26.29 | 0 | -1.03 | -2.06
18:00 - 18:15 | 0 | 0.11 | -1.03 | -2.06
18:15 - 18:30 | 0 | 0.17 | -1.03 | -2.06
18:30 - 18:45 | 0 | 0.04 | -1.03 | -2.06
18:45 - 19:00 | 0 | 0.19 | -1.03 | -2.06
19:00 - 19:15 | 0 | 0.08 | -1.03 | -2.06
19:15 - 19:30 | 0 | 0.1 | -1.03 | -2.06
19:30 - 19:45 | 0 | 0.06 | -1.03 | -2.06
19:45 - 20:00 | 0 | 0.43 | -1.03 | -2.06
20:00 - 20:15 | 0 | 0.36 | -1.03 | -2.06
20:15 - 20:30 | 0 | 0.38 | -1.03 | -2.06
20:30 - 20:45 | 0 | 0.46 | -1.03 | -2.06
20:45 - 21:00 | 0 | 0.61 | -1.03 | -2.06
21:00 - 21:15 | 0 | 0.71 | -1.03 | -2.06
21:15 - 21:30 | 0 | 0.34 | -1.03 | -2.06
21:30 - 21:45 | 0 | 0.22 | -1.03 | -2.06
21:45 - 22:00 | 0 | 0.09 | -1.03 | -2.06
22:00 - 22:15 | 0 | 0.05 | -1.03 | -2.06
22:15 - 22:30 | 0 | 0.09 | -1.03 | -2.06
22:30 - 22:45 | 0 | 0.31 | -1.03 | -2.06
22:45 - 23:00 | 0 | 0.27 | -1.03 | -2.06
23:00 - 23:15 | 0 | 0.38 | -1.03 | -2.06
23:15 - 23:30 | 0 | 0.2 | -1.03 | -2.06
23:30 - 23:45 | 0 | 0.43 | -1.03 | -2.06
23:45 - 24:00 | 0 | 0.47 | -1.03 | -2.06
Average | -5.7509 | -412.2089 | -1.03 | -1.8454

## GDAM
GDAM TRADING DETAILS FOR DT:15.10.2026
Time Period | GRIDCO | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | 0 | 0 | 0 | 0
08:15 - 08:30 | 0 | 0 | 0 | 0 | 0
08:30 - 08:45 | 0 | 0 | 0 | 0 | 0
08:45 - 09:00 | 0 | 3.74 | 0 | 0 | 0
09:00 - 09:15 | 0 | 3.74 | 0 | 0 | 0
09:15 - 09:30 | 0 | 3.74 | 0 | 0 | 0
09:30 - 09:45 | 0 | 3.74 | 0 | 0 | 0
09:45 - 10:00 | 0 | 3.74 | 0 | 0 | 0
10:00 - 10:15 | 0 | 7.5 | 0 | 0 | 0
10:15 - 10:30 | 0 | 7.5 | 0 | 5.44 | 0
10:30 - 10:45 | 0 | 7.5 | 42.17 | 9.37 | 0
10:45 - 11:00 | 0 | 7.5 | 42.17 | 9.37 | 0
11:00 - 11:15 | 0 | 7.5 | 42.17 | 9.37 | 4.69
11:15 - 11:30 | 0 | 7.5 | 42.17 | 9.37 | 4.69
11:30 - 11:45 | 0 | 7.5 | 42.17 | 9.37 | 4.69
11:45 - 12:00 | 0 | 7.5 | 42.17 | 9.37 | 4.69
12:00 - 12:15 | 0 | 7.5 | 42.17 | 9.37 | 4.69
12:15 - 12:30 | 0 | 7.5 | 42.17 | 9.37 | 4.69
12:30 - 12:45 | 0 | 7.5 | 42.17 | 9.37 | 4.69
12:45 - 13:00 | 0 | 7.5 | 42.17 | 9.37 | 4.69
13:00 - 13:15 | 0 | 7.5 | 42.17 | 9.37 | 4.69
13:15 - 13:30 | 0 | 7.5 | 42.17 | 9.37 | 4.69
13:30 - 13:45 | 0 | 7.5 | 42.17 | 9.37 | 0
13:45 - 14:00 | 0 | 7.5 | 35.38 | 9.37 | 0
14:00 - 14:15 | 0 | 3.74 | 0 | 0 | 0
14:15 - 14:30 | 0 | 3.74 | 0 | 0 | 0
14:30 - 14:45 | 0 | 3.74 | 0 | 0 | 0
14:45 - 15:00 | 0 | 3.74 | 0 | 0 | 0
15:00 - 15:15 | 0 | 3.74 | 0 | 0 | 0
15:15 - 15:30 | 0 | 0 | 0 | 0 | 0
15:30 - 15:45 | 0 | 0 | 0 | 0 | 0
15:45 - 16:00 | 0 | 0 | 0 | 0 | 0
16:00 - 16:15 | 0 | 0 | 0 | 0 | 0
16:15 - 16:30 | 0 | 0 | 0 | 0 | 0
16:30 - 16:45 | 0 | 0 | 0 | 0 | 0
16:45 - 17:00 | 0 | 0 | 0 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | 0 | 0
17:15 - 17:30 | 0 | 0 | 0 | 0 | 0
17:30 - 17:45 | 0 | 0 | 0 | 0 | 0
17:45 - 18:00 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | 0.43 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0.01 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0.01 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0.27 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0.27 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0.28 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0.29 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0.3 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0.31 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0.32 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0.31 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0.34 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0.36 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0.36 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0.37 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0.38 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0.39 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0.39 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0.39 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0.4 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0.4 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0.4 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0.4 | 0 | 0 | 0 | 0
Average | 0.076875 | 1.6396 | 6.0791 | 1.4231 | 0.48854

## RTM
RTM TRADING DETAILS FOR DT: 15.10.2026
Time Period | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | MGM_Green_Energy_Limited_5MW_Solar_Power_Plant_Lokapada | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | NU_VISTA_LIMITED_(FORMERLY_EMAMI_CEMENT_LIMITED) | Neelachal_Ispat_Nigam_Limited | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Jharsuguda | SMC_Power_Generation_Limited_Unit_II_PTC | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Power_Plant_Athagarh | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Visa_Chrome_Limited
00:00 - 00:15 | 0 | -0.31 | -1.86 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 45.44 | -4.12
00:15 - 00:30 | 0 | -0.31 | -1.86 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | -2.06 | -20.62 | 0 | 0 | 0 | 45.55 | -4.12
00:30 - 00:45 | 0 | -0.31 | -1.75 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | -2.06 | -41.24 | 0 | 0 | 0 | 40.3 | -4.12
00:45 - 01:00 | 0 | -0.31 | -1.75 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 41.55 | -4.12
01:00 - 01:15 | -13.4 | -0.31 | -1.75 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -12.37 | 0 | 0 | -1.03 | -46.39 | 0 | 0 | 0 | 49.57 | -4.12
01:15 - 01:30 | -14.43 | -0.31 | -1.75 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -12.37 | 0 | 0 | -1.03 | -56.7 | 0 | 0 | 0 | 51.07 | -4.12
01:30 - 01:45 | -14.43 | -0.31 | -1.86 | -25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -12.37 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 44.54 | -4.12
01:45 - 02:00 | -14.43 | -0.31 | -1.86 | -25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -12.37 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 49.76 | -4.12
02:00 - 02:15 | 0 | -0.31 | -1.86 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -1.03 | -8.25 | 0 | 0 | 0 | 67.97 | -4.12
02:15 - 02:30 | 0 | -0.31 | -1.86 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 64.79 | -4.12
02:30 - 02:45 | 0 | -0.31 | -1.96 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -1.03 | -41.24 | 0 | 0 | 0 | 57.38 | -4.12
02:45 - 03:00 | 0 | -0.31 | -1.96 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -1.03 | -61.86 | 0 | 0 | 0 | 60.15 | -4.12
03:00 - 03:15 | 0 | -0.31 | -1.96 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -1.03 | -56.7 | 0 | 0 | 0 | 55.39 | -4.12
03:15 - 03:30 | 0 | -0.31 | -1.96 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 55.29 | -4.12
03:30 - 03:45 | 0 | -0.31 | -1.96 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 62.07 | -4.12
03:45 - 04:00 | 0 | -0.31 | -1.96 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 67.95 | -4.12
04:00 - 04:15 | 0 | -0.31 | -1.96 | -25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -1.03 | -41.24 | 0 | 0 | 0 | 43.3 | -4.12
04:15 - 04:30 | 0 | -0.31 | -1.96 | -25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -1.03 | -51.55 | 0 | 0 | 0 | 41.3 | -4.12
04:30 - 04:45 | -3.09 | -0.31 | -1.96 | -25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | -1.03 | -6.19 | 0 | 0 | 0 | 36.2 | -4.12
04:45 - 05:00 | -4.12 | -0.31 | -1.96 | -25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 38.36 | -4.12
05:00 - 05:15 | 0 | -1.03 | -1.96 | -25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -4.12
05:15 - 05:30 | 0 | -1.03 | -1.96 | -25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -4.12
05:30 - 05:45 | 0 | -1.03 | -1.96 | -25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | -1.03 | -20.62 | 0 | 0 | 0 | 0 | -4.12
05:45 - 06:00 | 0 | -1.03 | -1.96 | -25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | -1.03 | -46.39 | 0 | 0 | 0 | 0 | -4.12
06:00 - 06:15 | -7.22 | -1.03 | -1.75 | 0 | 0 | -0.1 | -0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | -1.03 | -46.39 | 0 | -10 | 0 | 0 | -4.12
06:15 - 06:30 | 0 | -1.03 | -1.75 | 0 | 0 | -0.21 | -0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | -1.03 | 0 | 0 | -10 | 0 | 0 | -4.12
06:30 - 06:45 | 0 | -1.03 | -1.75 | 0 | 0 | -0.31 | -0.1 | 0 | 0 | 0 | 0 | -0.21 | 0 | 0 | 0 | -3.09 | 0 | 0 | -1.03 | -10.31 | 0 | -10 | 0 | 0 | -4.12
06:45 - 07:00 | 0 | -1.03 | -1.75 | 0 | 0 | -0.52 | -0.21 | 0 | 0 | 0 | 0 | -0.52 | 0 | 0 | 0 | -3.09 | 0 | 0 | -1.03 | 0 | 0 | -10 | 0 | 0 | -4.12
07:00 - 07:15 | 0 | -1.03 | -1.75 | -25 | 0 | -0.93 | -0.31 | 0 | 0 | 0 | 0 | -0.82 | 0 | 0 | 0 | -3.09 | 0 | 0 | -1.03 | 0 | 0 | -10 | 0 | 0 | -4.12
07:15 - 07:30 | 0 | -1.03 | -1.75 | -100 | 0 | -1.13 | -0.31 | 0 | 0 | 0 | 0 | -1.13 | 0 | 0 | 0 | -3.09 | 0 | 0 | -1.03 | -46.39 | 0 | -10 | 0 | 0 | -4.12
07:30 - 07:45 | 0 | -1.03 | -1.75 | -200 | 0 | -1.44 | -0.52 | 0 | 0 | 0 | 0 | -1.55 | 0 | 0 | 0 | -3.09 | 0 | 0 | -1.03 | -56.7 | 0 | -10 | 0 | 0 | -4.12
07:45 - 08:00 | 0 | -1.03 | -1.75 | -300 | 0 | -1.75 | -0.52 | 0 | 0 | 0 | 0 | -1.96 | 0 | 0 | 0 | -3.09 | 0 | 0 | -1.03 | -20.62 | 0 | -10 | 0 | 0 | -4.12
08:00 - 08:15 | 0 | -1.03 | -1.75 | 480.27 | 0 | -2.06 | -0.82 | 0 | 0 | 0 | 0 | -2.16 | 0 | 0 | 0 | -3.09 | 0 | 0 | -1.03 | 0 | 0 | -24.95 | 0 | 0 | -4.12
08:15 - 08:30 | 11.24 | -1.03 | -1.75 | 338.1 | 0 | -2.27 | -1.03 | 0 | 0 | 0 | 0 | -2.58 | 0 | 0 | 0 | -3.09 | 0 | 0 | -1.03 | 0 | 0 | -24.95 | 0 | 0 | -4.12
08:30 - 08:45 | 11.24 | -1.03 | -1.86 | 0 | 0 | -2.37 | -1.65 | 0 | 0 | 0 | 0 | -2.78 | 0 | 0 | 0 | -3.09 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | -4.12
08:45 - 09:00 | 11.24 | -1.03 | -1.86 | 0 | 0 | -2.68 | -1.86 | 0 | 0 | 0 | 0 | -2.89 | 0 | 0 | 0 | -3.09 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | -4.12
09:00 - 09:15 | 11.24 | -1.03 | 0 | -157.07 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | -3.2 | 0 | 0 | 0 | -3.09 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0
09:15 - 09:30 | 11.24 | -1.03 | 0 | -270.42 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | -0.72 | 0 | 0 | 0 | -3.09 | 0 | 0 | -2.06 | -41.24 | 0 | 0 | 0 | 0 | 0
09:30 - 09:45 | 11.24 | -0.41 | 0 | -237.15 | 0 | -3.2 | -1.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | -2.06 | -41.24 | 0 | 0 | 0 | 0 | 0
09:45 - 10:00 | 11.24 | -0.41 | 0 | -325.04 | 0.23 | -3.4 | -1.44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0
10:00 - 10:15 | 2.81 | -0.41 | 0 | -362.49 | 0.94 | -3.51 | -1.55 | 0 | 8.61 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0
10:15 - 10:30 | 4.69 | -0.41 | 0 | -337.45 | 0.94 | -3.61 | -1.65 | 0 | 8.61 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -2.06 | -10.31 | 0 | 0 | 0 | 0 | 0
10:30 - 10:45 | 11.23 | -0.41 | 0 | -275.08 | 0.94 | -3.61 | -1.86 | 0 | 8.62 | 0 | 0 | 0 | 3.74 | 0 | 0.94 | -5.15 | 0 | 0 | -2.06 | 0 | 0 | 0 | 5.25 | 0 | 0
10:45 - 11:00 | 11.23 | -0.41 | 0 | -324.85 | 0.94 | -3.71 | -2.06 | 0 | 8.62 | 0 | 0 | 0 | 3.74 | 0 | 0.94 | -5.15 | 0 | 0 | -2.06 | 0 | 0 | 0 | 5.25 | 0 | 0
11:00 - 11:15 | 11.24 | -0.41 | 0 | -409.74 | 5.63 | -3.81 | -0.52 | 0 | 8.62 | 0 | 0 | 4.78 | 3.74 | 0 | 0.94 | -5.15 | 0 | 1.41 | -2.06 | -46.39 | 23.43 | 0 | 5.25 | 91.72 | 0
11:15 - 11:30 | 11.24 | -0.41 | 0 | -456.2 | 5.63 | -3.81 | -0.52 | 0 | 8.62 | 0 | 0 | 0 | 1.87 | 0 | 0.94 | -5.15 | 0 | 1.41 | -2.06 | 0 | 23.43 | 0 | 5.25 | 203.7 | 0
11:30 - 11:45 | -6.19 | -0.93 | 0 | -395.55 | 1.87 | -3.81 | -0.21 | 0 | 8.62 | 0 | -1.03 | 0 | 1.87 | 0 | 0.94 | -3.09 | 1.87 | 1.41 | -2.06 | 0 | 18.74 | 0 | 5.25 | 214.57 | 0
11:45 - 12:00 | 11.24 | -0.93 | 0 | -394.53 | 1.87 | 0 | -0.21 | 0 | 8.62 | 0 | -1.03 | 0 | 1.87 | 0 | 0.94 | -3.09 | 1.87 | 1.41 | -2.06 | 0 | 18.74 | 0 | 5.25 | 214.57 | 0
12:00 - 12:15 | 11.24 | -0.93 | 0 | -498.01 | 1.87 | 0 | -0.62 | 0 | 8.62 | 0 | -1.03 | 4.22 | 3.74 | 0 | 0.94 | -3.09 | 1.87 | 1.41 | -2.06 | 0 | 18.74 | 0 | 5.25 | 0 | 0
12:15 - 12:30 | 11.24 | -0.93 | 0 | -527.46 | 1.87 | 0 | -0.72 | 0 | 8.62 | 0 | -1.03 | 0 | 1.87 | 0 | 0.94 | -3.09 | 1.87 | 1.41 | -2.06 | 0 | 18.74 | 0 | 5.25 | 0 | 0
12:30 - 12:45 | 11.24 | -0.72 | 0 | -281.29 | 1.87 | 0 | -0.72 | 0 | 8.62 | 0 | -1.03 | 0 | 1.87 | 0 | 0 | -3.09 | 1.87 | 1.41 | -2.06 | -46.39 | 18.74 | 0 | 0 | 0 | 0
12:45 - 13:00 | 11.24 | -0.72 | 0 | -208.5 | 1.87 | 0 | -0.82 | 0 | 8.62 | 0 | -1.03 | 0 | 1.87 | 0 | 0 | -3.09 | 1.87 | 1.41 | -2.06 | -41.24 | 18.74 | 0 | 0 | 0 | 0
13:00 - 13:15 | 11.24 | -0.72 | 0 | -415.07 | 1.87 | 0 | -0.62 | 0 | 8.62 | 0 | -1.03 | 0 | 1.87 | 0 | 0.94 | -3.09 | 1.87 | 1.41 | -2.06 | 0 | 37.48 | 0 | 5.25 | 165.67 | 0
13:15 - 13:30 | 11.24 | -0.72 | 0 | -500.03 | 1.87 | 0 | -0.82 | 0 | 8.62 | 0 | -1.03 | 0 | 1.87 | 0 | 0.31 | -3.09 | 1.87 | 1.41 | -2.06 | 0 | 37.48 | 0 | 1.75 | 55.13 | 0
13:30 - 13:45 | 11.24 | -1.34 | 0 | -431.26 | 1.87 | 0 | -0.82 | 0 | 8.62 | 0 | -1.03 | 0 | 1.87 | 0 | 0 | -3.09 | 1.87 | 1.41 | -2.06 | 0 | 46.85 | 0 | 0 | 0 | 0
13:45 - 14:00 | 11.24 | -1.34 | 0 | -428.52 | 1.87 | 0 | -0.62 | 0 | 8.62 | 0 | -1.03 | 0 | 1.87 | 0 | 0 | -3.09 | 1.87 | 1.41 | -2.06 | 0 | 46.85 | 0 | 0 | 0 | 0
14:00 - 14:15 | 11.24 | -1.34 | 0 | -289.94 | 0.94 | -2.47 | -0.72 | 9.37 | 8.62 | 2.81 | -1.03 | 5.43 | 3.74 | 0 | 0.94 | -3.09 | 1.87 | 1.41 | -2.06 | -41.24 | 46.85 | 0 | 5.25 | 79.08 | -3.09
14:15 - 14:30 | 11.24 | -1.34 | 0 | -209.76 | 0.94 | -2.27 | -0.62 | 9.37 | 8.62 | 2.81 | -1.03 | 5.81 | 3.74 | 0 | 0.94 | -3.09 | 1.87 | 1.41 | -2.06 | -41.24 | 46.85 | 0 | 5.25 | 64.37 | -3.09
14:30 - 14:45 | 11.24 | -1.34 | 0 | -200.04 | 0.94 | -2.06 | -0.62 | 0 | 8.62 | 2.81 | -1.03 | 0 | 1.87 | 0 | 0.3 | -3.09 | 1.87 | 1.41 | -2.06 | 0 | 65.59 | 0 | 1.66 | 14.52 | -2.06
14:45 - 15:00 | 11.24 | -1.34 | 0 | -83.47 | 0.94 | -0.52 | -0.52 | 0 | 8.62 | 2.81 | -1.03 | 0 | 1.87 | 0 | 0 | -3.09 | 1.87 | 1.41 | -2.06 | 0 | 65.59 | 0 | 0 | 0 | -2.06
15:00 - 15:15 | 11.24 | -1.34 | 0 | -10.51 | 0.94 | -0.52 | -0.1 | 9.37 | 8.62 | 2.81 | -1.03 | 0.84 | 3.74 | 0 | 0.94 | -3.09 | 1.87 | 1.41 | -2.06 | 0 | 65.59 | 0 | 5.25 | 90.98 | -2.06
15:15 - 15:30 | 11.24 | -1.34 | 0 | -108.13 | 0.94 | -0.41 | -0.1 | 0 | 8.62 | 2.81 | -1.03 | -1.55 | 1.87 | 0 | 0 | -3.09 | 1.87 | 1.41 | -2.06 | 0 | 64.1 | 0 | 0 | 0 | -2.06
15:30 - 15:45 | 11.24 | -1.03 | -1.65 | -261.54 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | -1.24 | 0 | 0 | 0 | -3.09 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | -2.06
15:45 - 16:00 | 0 | -1.03 | -1.65 | -300 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | -1.03 | 0 | 0 | 0 | -3.09 | 0 | 0 | -2.06 | -18.56 | 0 | 0 | 0 | 0 | -2.06
16:00 - 16:15 | 0 | -1.03 | -1.65 | -700 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | -0.72 | 0 | 0 | 0 | -3.09 | 0 | 0 | -2.06 | -36.08 | 0 | 0 | 0 | 2.82 | -2.06
16:15 - 16:30 | 0 | -1.03 | -1.65 | -700 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | -0.41 | 0 | 0 | 0 | -3.09 | 0 | 0 | -2.06 | -10.31 | 0 | 0 | 0 | 1.7 | -2.06
16:30 - 16:45 | 0 | -1.03 | -1.65 | -450 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | -0.21 | 0 | 0 | 0 | -3.09 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 1.16 | -2.06
16:45 - 17:00 | 0 | -1.03 | -1.65 | -450 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 35.55 | -2.06
17:00 - 17:15 | 0 | -1.03 | -1.65 | -450 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 66.73 | -2.06
17:15 - 17:30 | 0 | -1.03 | -1.65 | -300 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | -2.06 | -8.25 | 0 | 0 | 0 | 66.12 | -2.06
17:30 - 17:45 | -3.09 | -0.72 | -1.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | -2.06 | -48.45 | 0 | 0 | 0 | 0.19 | 0
17:45 - 18:00 | -4.12 | -0.72 | -1.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | -2.06 | -48.45 | 0 | 0 | 0 | 0.17 | 0
18:00 - 18:15 | 0 | -0.72 | -1.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 116.17 | 0
18:15 - 18:30 | 0 | -0.72 | -1.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 111.3 | 0
18:30 - 18:45 | 0 | -0.52 | -1.86 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | -2.06 | -30.93 | 0 | 0 | 0 | 62.8 | 0
18:45 - 19:00 | 0 | -0.52 | -1.86 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | -2.06 | -10.31 | 0 | 0 | 0 | 62.07 | 0
19:00 - 19:15 | 0 | -0.52 | -1.86 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 64.91 | 0
19:15 - 19:30 | 0 | -0.52 | -1.86 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | -2.06 | -20.62 | 0 | 0 | 0 | 66.05 | 0
19:30 - 19:45 | -4.12 | -0.52 | -1.86 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 72.9 | 0
19:45 - 20:00 | 0 | -0.52 | -1.86 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 72.98 | 0
20:00 - 20:15 | 0 | -0.52 | -1.86 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 97.54 | -3.09
20:15 - 20:30 | 0 | -0.52 | -1.86 | -150 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | -18.56 | 0 | 0 | 0 | 105.9 | -3.09
20:30 - 20:45 | 0 | -0.52 | -1.75 | -225 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | -8.25 | 0 | 0 | 0 | 175.1 | -3.09
20:45 - 21:00 | 0 | -0.52 | -1.75 | -250 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 205.44 | -3.09
21:00 - 21:15 | -10.31 | -0.52 | -1.75 | -350 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 125.27 | -3.09
21:15 - 21:30 | 0 | -0.52 | -1.75 | -375 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 106.82 | -3.09
21:30 - 21:45 | 0 | -0.52 | -1.75 | -400 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 141.71 | -3.09
21:45 - 22:00 | 0 | -0.52 | -1.75 | -400 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | -16.49 | 0 | 0 | 0 | 137.18 | -3.09
22:00 - 22:15 | 0 | -0.82 | -1.75 | -450 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | -10.31 | 0 | 0 | 0 | 67.49 | -3.09
22:15 - 22:30 | -9.28 | -0.82 | -1.75 | -450 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 66.85 | -3.09
22:30 - 22:45 | 0 | -0.52 | -1.75 | -500 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 62.25 | -3.09
22:45 - 23:00 | 0 | -0.52 | -1.75 | -500 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 60.81 | -3.09
23:00 - 23:15 | 0 | -0.52 | -1.75 | -500 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 80.3 | -3.09
23:15 - 23:30 | 0 | -0.52 | -1.75 | -500 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 81.25 | -3.09
23:30 - 23:45 | 0 | -0.52 | -1.65 | -450 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | -10.31 | 0 | 0 | 0 | 0 | -2.06 | -10.31 | 0 | 0 | 0 | 78.97 | -3.09
23:45 - 24:00 | 0 | -0.52 | -1.65 | -500 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | -10.31 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 86.88 | -3.09
Average | 2.1118 | -0.71354 | -1.3125 | -193.6014 | 0.4124 | -0.58844 | -0.32656 | 0.29281 | 1.9752 | 0.17563 | -0.53646 | -0.047917 | 0.52594 | -0.21479 | 0.12385 | -3.3912 | 0.31167 | 0.26437 | -1.7381 | -13.3809 | 7.1097 | -1.3531 | 0.69177 | 48.9127 | -2.3819