## POWER STATUS
POWER STATUS ON DT 17.10.2026
[9 empty] | 2026-10-17 | 2026-10-16
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 21:00
Demand -> | [8 empty] | 6153.9698 | 6677.3495
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla [Gate-L-0 , R-0] | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 205.833 | 4.94 | 630/590 ft | 630 | 628.77 | 628.52 | 204.5594 | 228.2339
| Chiplima | 72(3x24) | 65.25 | 1.566 | - |  |  |  | 65.9338 | 64.26
| Balimela | 510(6x60+2x75) | 203.708 | 4.889 | 1516/1440 ft | 1505.5 | 1505.2 | 1505.2 | 60.5172 | 434.148
| Rengali | 250(5x50) | 245.7333 | 5.8976 | 123.5/109.75 mt | 123.47 | 122.99 | 122.9 | 245.2804 | 246.1514
| Upper Kolab | 320(4x80) | 94.08 | 2.2579 | 858/844 mt | 856.85 | 855.9 | 855.89 | 1.138e-15 | 224.7918
| Upper Indravati [Gate-0] | 600(4x150) | 600.3125 | 14.4075 | 642/625 mt | 640.97 | 640.71 | 640.63 | 605.1275 | 603.2734
| Machkund | 60(50% of(3x17+3x23)) | 26.66 | 0.63984 | 2750/2685 ft | 2748.5 | 2746.5 | 2746.55 | 30.4576 | 32.8752
| Total Hydro | 2099.5 | 1441.5768 | 34.5978 |  |  |  |  | 1211.876 | 1833.7337
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1709.3159 | 41.0236 | RENEWABLE ENERGY (RE) |  |  |  | 1715.1117 | 1715.0031
[5 empty] | M.Hydl | 100.6658
| Total Thermal | 2200 | 1709.3159 | 41.0236 | Solar | 175.4709 |  |  | 1715.1117 | 1715.0031
IPP | VEDANTA #2 | 600 (1x600) | 434.4847 | 10.4276 | Total IPPs | Yesterday's Demand Profile |  |  | 391.3086 | 537.8516
| GMR #3 | 350 (1x350) | 307.3696 | 7.3769 | 844.3449 |  | MW | HRS | 334.1619 | 319.3299
| NBVL(IPP) | 60(1x60) | 52.8398 | 1.2682 |  |  |  |  | 48.7989 | 54.0685
| MDTPC |  | 49.6508 | 1.1916 |  |  |  |  | 41.0598 | 55.8195
| CGPs |  | 789.1774 | 18.9403 | IPPs, CGPs & RE | Maximum | 6677 | 21:00 | 2383.4614 | 2014.1862
| Central Sector(Drawl) |  | 1152.563 | 27.6615 | 1909.659 | Minimum | 5676 | 08:00 | 843.5207 | 1114.4265
| Central Sector(Sch) |  | 1254.4737 | 30.1074 |  | Average | 6213.1147 |  | 1299.0751 | 1256.72
| Grand Total |  | 6213.1147 | 149.1148 | Instantaneous Peak demand |  |  |  | 6153.9698 | 6677.3495
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(5) |  | ACTUAL |  | SCHEDULE(1)
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | 1 | TPCODL | 1640.4524 | 39.3709 | 1642.5772 | 39.4219 | 1621.7713 | 38.9225
Balimela | NIL | TSTPP St-I | NIL | TPWODL | 2031.807 | 48.7634 | 2339.4274 | 56.1463 | 1987.3618 | 47.6967
Rengali | NIL | TSTPP St-II | 5 | TPNODL | 1383.2784 | 33.1987 | 1431.6572 | 34.3598 | 1384.9796 | 33.2395
U.Kolab | 2 | KAHALGAON | 4,6 | TPSODL | 578.5222 | 13.8845 | 580.1684 | 13.924 | 583.4943 | 14.0039
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5634.06 | 135.2174 | 5993.8302 | 143.8519 | 5577.6071 | 133.8626
Machhkund | 4,5,6 | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 391.3086 | GMR |  |  |  | 334.1619
| NBVL #3 | 48.7989 | MDTPC |  |  |  | 41.0598
Mini Hydel: | MEENAKSHI | 33.9349 | OPCL |  |  |  | 0
| BTPL | 20.3827 | SAPTADHARA |  |  |  | 7.9433
| SNHEP | 31.7283 | KAKATIYA |  |  |  | 7.6682
Solar: |  | 425.6264
CGPs : | JSPL (Angul) | 487.2644 | JSL(Duburi) |  |  |  | -150.1832
| ICCL | 50.37 | visa |  |  |  | 17.579
| NALCO | -116.6264 | VAL (CGP) |  |  |  | 115.197
| RSP | -73.9964 | BSL(MMDL) |  |  |  | 86.3871
| INDAL | -4.6055 | ADITYA ALUMINIUM |  |  |  | 47.2255
| NINL | -30.593 | VAL CPP 400 kV |  |  |  | -993.1208
| NBVL | 48.7989 | Arati |  |  |  | 6.5226e-16
| BPSL(JSG) | -114.9189 | BPPL |  |  |  | 120.7796
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-10-09 | 2026-10-10 | 2026-10-11 | 2026-10-12 | 2026-10-13 | 2026-10-14 | 2026-10-15 | 2026-10-16
1400.235 | 1459.671 | 1462.5235 | 1429.2754 | 1478.8618 | 1570.28 | 1564.579 | 1441.5768
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.16.10.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | ARYAN_ISPAT | DNHDDPDCL | -5 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0.03
ENVIROCARE_INFRA | BALCO_LOAD | -6.5 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -2.4 | AAPL_BKN2 | UTCL | 0.13
ENVIROCARE_INFRA | BALCO_LOAD | -6.5 | DCBL_Rajgangpur | DALCEMAP | -3.79 | AGE26AL_PSS6_KPS1_S | ODISHA | 123.26
FACORPOWER | APCPDCL | -20 | DCBL_Rajgangpur | DCBLME | -7.29 | AP41PL_BHDL | ODISHA | 49.31
FACORPOWER | PUNJAB | -6 | DCBL_Rajgangpur | DCL_RCW | -4 | AP43PL_BKN | ODISHA | 77.21
GMRKEL_STU | RUVITSL | -38.69 | DCBL_Rajgangpur | DalmiaCementNEL2 | -1.17 | AWEK1L | ODISHA | 2.21
GMRKEL_STU | TNEB | -18 | ENVIROCARE_INFRA | DNHDDPDCL | -5 | AWEK1L | ODISHA | 3.32
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | FACORPOWER | BYPL | -14 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 4.42
JSPLANGUL | GEB_Beneficiary | -85 | GMRKEL_STU | RUVITSL | -23.21 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 10.32
JSPLANGUL | GEB_Beneficiary | -68 | JPIPL | TANGEDCO | -13.1 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 17.78
MAADURGA_THERMAL | NPCL_UP | -18.09 | JSPLANGUL | TANGEDCO | -34 | CGERP_MORJAR_BHJ2_HS | VLSEZ | 5.7
NBVLIPP | BALCO_LOAD | -46 | JSPLANGUL | TANGEDCO | -68 | CGERP_MORJAR_BHJ2_HW | VLSEZ | 2.08
NBVLIPP | TANGEDCO | 0 | NPSRL | TPL_DIS_SUR | -4 | CPTTNPL | VLSEZ | 2.97
OCL_IRON_STEEL | TPL_DIS_AHM_ISTS | -47 | OCL_IRON_STEEL | WBSEDCL | -8 | DADRI_SOLAR | ODISHA | 0.51
ODISHA | AMNSIL | -33.33 | ODISHA | BSPHCL | -45.83 | ENERSON_SOLAR_10MW | ODISHA | 1.05
ODISHA | HP | -50 | ODISHA | BSPHCL | -91.67 | ERAPL_BHDL2 | VLSEZ | 11.27
ODISHA | KPTCL | -50 | ODISHA | CESC | -18.75 | GADAG_GreenInfra_W | ODISHA | 0
ODISHA | MSEB_Beneficiary | -54.17 | ODISHA | PCKL | -22.92 | GADAG_GreenInfra_W | ODISHA | 0
ODISHA | MSEB_Beneficiary | -33.33 | ODISHA | WBSEDCL | -50 | GADAG_GreenInfra_W | ODISHA | 0.08
ORSISL | BALCO_LOAD | -3.5 | ODISHA | WBSEDCL | -50 | GADAG_Serentica3_S | VLSEZ | 35.41
VSL | BALCO_LOAD | -5 | ORSISL | TPLD | -3 | GADAG_Serentica3_W | VLSEZ | 1.88
FARIDABAD_SOLAR | ODISHA | 0.86 | RSPL_JHARSUGUDA | TPL_DIS_SUR | -20 | GIWEL_SECI_II_RE | ODISHA | 11.92
JSWEL_UTKAL | ODISHA | 75.74 | SGML | TPL_DIS_SUR | -7 | GPCL_SOLAR_10 | ODISHA | 1.58
RAJ_SOLAR | ODISHA | 2.2 | SMEL | TPL_DIS_SUR | -25 | GSECL_SOLAR | ODISHA | 1.78
RAJ_SOLAR | ODISHA | 1.99 | SMEL | TPL_DIS_SUR | -5 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.98
|  |  | Shri_JSPL | TPL_DIS_SUR | -2.5 | JREPL_BKN2 | VLSEZ | 7.12
|  |  | TSBSLA | TPL_DIS_SUR | -10 | KARUR_TPVARDHAMAN_W | TSKPO | 16.2
|  |  | VIRAJ_SEPL | TANGEDCO | -10 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.73
|  |  | VSL | DNHDDPDCL | -10 | Kurnool_Greenko_H_Inj | ADITYAAL | 4.94
|  |  | Darlipali_NTPC | ODISHA | 66.22 | Kurnool_Greenko_H_Inj | ADITYAAL | 3.44
|  |  | GIWPGLK26 | VLSEZ | 1.4 | NTPCRE1_SMND_BHJ2_W | ODISHA | 1.81
|  |  | JBVNL | VLSEZ | 117.73 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 0
|  |  | JIPL | ODISHA | 115.92 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0.03
|  |  | MYTRAHVAYU | VLSEZ | 5.79 | OKWPL_RE | ODISHA | 8.05
|  |  | NALCOAP | NACL_Odisha | 2.11 | RGMHP1_Patoda_klm_W | VLSEZ | 8.55
|  |  | NU_VISTA_LTD_CG | VLSEZ | 4.83 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 12.91
|  |  | RWEAPPL2026 | VLSEZ | 2.46 | RGMHS3_PSS5_SLPR_S | VLSEZ | 20
|  |  | RWEKPL2026 | VLSEZ | 1.68 | RSS11PL_BHDL3 | VLSEZ | 9.78
|  |  | SINGOLI | VLSEZ | 5.67 | RSS1PL_BHDL3 | VLSEZ | 17.27
|  |  | Tripura_Ben | VLSEZ | 8.86 | RWE_AP2_SECI_III | ODISHA | 4.41
|  |  | UPPCL | VLSEZ | 68.42 | RenewGreen_SLPR_HS | JSL_DUBURI | 11.92
|  |  | Ultratech_Awarpur_MH | VLSEZ | 11.59 | SRI9PL_FTG3 | VLSEZ | 104.17
|  |  | VIPL_CSEB | VLSEZ | 7.05 | TPVSL_BKN3 | TSKPO | 6.39
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.09
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.11
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 9.84
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 4.74
[6 empty] | XXPPL_FTG3 | ODISHA | 76.69

## DAM
DAM TRADING DETAILS FOR DT : 16.10.2026
Time Period | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | MGM_Minerals_Ltd | Nav_Bharat_ventures_Ltd | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | -0.93 | -2.06 | 3.47
00:15 - 00:30 | 0 | 0 | -0.93 | -2.06 | 3.2
00:30 - 00:45 | 0 | 0 | -0.93 | -2.06 | 3
00:45 - 01:00 | 0 | 0 | -0.93 | -2.06 | 2.89
01:00 - 01:15 | 0 | 0 | -0.93 | -2.06 | 0.81
01:15 - 01:30 | 0 | 0 | -0.93 | -2.06 | 0.94
01:30 - 01:45 | 0 | 0 | -0.93 | -2.06 | 1.73
01:45 - 02:00 | 0 | 0 | -0.93 | -2.06 | 1.77
02:00 - 02:15 | 0 | 0 | -0.93 | -2.06 | 0
02:15 - 02:30 | 0 | 0 | -0.93 | -2.06 | 0
02:30 - 02:45 | 0 | 0 | -0.93 | -2.06 | 0
02:45 - 03:00 | 0 | 0 | -0.93 | -2.06 | 0
03:00 - 03:15 | 0 | 0 | -0.93 | -2.06 | 0
03:15 - 03:30 | 0 | 0 | -0.93 | -2.06 | 0
03:30 - 03:45 | 0 | 0 | -0.93 | -2.06 | 0
03:45 - 04:00 | 0 | 0 | -0.93 | -2.06 | 0
04:00 - 04:15 | 0 | 0 | -0.93 | -2.06 | 0
04:15 - 04:30 | 0 | 0 | -0.93 | -2.06 | 0
04:30 - 04:45 | 0 | 0 | -0.93 | -2.06 | 0
04:45 - 05:00 | 0 | 0 | -0.93 | -2.06 | 0
05:00 - 05:15 | 0 | 0 | -0.93 | -2.06 | 0
05:15 - 05:30 | 0 | 0 | -0.93 | -2.06 | 0
05:30 - 05:45 | 0 | 0 | -0.93 | -2.06 | 0
05:45 - 06:00 | 0 | 0 | -0.93 | -2.06 | 0
06:00 - 06:15 | -26.29 | 0 | -0.93 | -2.06 | 0
06:15 - 06:30 | -26.29 | 0 | -0.93 | -2.06 | 0
06:30 - 06:45 | -26.29 | 0 | -0.93 | -2.06 | 0
06:45 - 07:00 | -26.29 | 0 | -0.93 | -2.06 | 0
07:00 - 07:15 | -26.29 | 0 | -0.93 | -2.06 | 0
07:15 - 07:30 | -26.29 | 0 | -0.93 | -2.06 | 0
07:30 - 07:45 | -26.29 | 0 | -0.93 | -2.06 | 0
07:45 - 08:00 | -26.29 | 0 | -0.93 | -2.06 | 0
08:00 - 08:15 | -26.29 | -925 | -0.93 | -2.06 | 0
08:15 - 08:30 | -26.29 | -925 | -0.93 | -2.06 | 0
08:30 - 08:45 | -26.29 | -925 | -0.93 | -2.06 | 0
08:45 - 09:00 | 0 | -925 | -0.93 | -2.06 | 0
09:00 - 09:15 | 0 | -1325 | -0.93 | -2.06 | 0
09:15 - 09:30 | 0 | -1325 | -0.93 | -2.06 | 0
09:30 - 09:45 | 0 | -1325 | -0.93 | -2.06 | 0
09:45 - 10:00 | 0 | -1325 | -0.93 | -2.06 | 0
10:00 - 10:15 | 0 | -1150 | -0.93 | -1.03 | 0
10:15 - 10:30 | 0 | -1150 | -0.93 | -1.03 | 0
10:30 - 10:45 | 0 | -1150 | -0.93 | -1.03 | 0
10:45 - 11:00 | 0 | -1150 | -0.93 | -1.03 | 0
11:00 - 11:15 | 0 | -1075 | -0.93 | -1.03 | 0
11:15 - 11:30 | 0 | -1075 | -0.93 | -1.03 | 0
11:30 - 11:45 | 0 | -1075 | -0.93 | -1.03 | 0
11:45 - 12:00 | 0 | -1075 | -0.93 | -1.03 | 0
12:00 - 12:15 | 0 | -1100 | -0.93 | -1.03 | 0
12:15 - 12:30 | 0 | -1100 | -0.93 | -1.03 | 0
12:30 - 12:45 | 0 | -1100 | -0.93 | -1.03 | 0
12:45 - 13:00 | 0 | -1100 | -0.93 | -1.03 | 0
13:00 - 13:15 | 0 | -1000 | -0.93 | -1.03 | 0
13:15 - 13:30 | 0 | -1000 | -0.93 | -1.03 | 0
13:30 - 13:45 | 0 | -1000 | -0.93 | -1.03 | 0
13:45 - 14:00 | 0 | -1000 | -0.93 | -1.03 | 0
14:00 - 14:15 | 0 | -1275 | -0.93 | -1.03 | 0
14:15 - 14:30 | 0 | -1275 | -0.93 | -1.03 | 0
14:30 - 14:45 | 0 | -1275 | -0.93 | -1.03 | 0
14:45 - 15:00 | 0 | -1275 | -0.93 | -1.03 | 0
15:00 - 15:15 | 0 | -750 | -0.93 | -2.06 | 0
15:15 - 15:30 | -26.29 | -700 | -0.93 | -2.06 | 0
15:30 - 15:45 | -26.29 | -500 | -0.93 | -2.06 | 0
15:45 - 16:00 | -26.29 | -450 | -0.93 | -2.06 | 0
16:00 - 16:15 | -26.29 | -600 | -0.93 | -2.06 | 0
16:15 - 16:30 | -26.29 | -575 | -0.93 | -2.06 | 0
16:30 - 16:45 | -26.29 | -450 | -0.93 | -2.06 | 0
16:45 - 17:00 | -26.29 | -275 | -0.93 | -2.06 | 0
17:00 - 17:15 | -26.29 | -75 | -0.93 | -2.06 | 0
17:15 - 17:30 | -26.29 | 0 | -0.93 | -2.06 | 0
17:30 - 17:45 | -26.29 | 0 | -0.93 | -2.06 | 9.08
17:45 - 18:00 | -26.29 | 0 | -0.93 | -2.06 | 0
18:00 - 18:15 | 0 | 0 | -0.93 | -2.06 | 3.92
18:15 - 18:30 | 0 | 0 | -0.93 | -2.06 | 1.8
18:30 - 18:45 | 0 | 0 | -0.93 | -2.06 | 0.24
18:45 - 19:00 | 0 | 0 | -0.93 | -2.06 | 0.18
19:00 - 19:15 | 0 | 0 | -0.93 | -2.06 | 0.78
19:15 - 19:30 | 0 | 0 | -0.93 | -2.06 | 1.67
19:30 - 19:45 | 0 | 0 | -0.93 | -2.06 | 1.18
19:45 - 20:00 | 0 | 0 | -0.93 | -2.06 | 1.33
20:00 - 20:15 | 0 | 0 | -0.93 | -2.06 | 2.33
20:15 - 20:30 | 0 | 0 | -0.93 | -2.06 | 3.14
20:30 - 20:45 | 0 | 0 | -0.93 | -2.06 | 1.8
20:45 - 21:00 | 0 | 0 | -0.93 | -2.06 | 2.07
21:00 - 21:15 | 0 | 0 | -0.93 | -2.06 | 0.81
21:15 - 21:30 | 0 | 0 | -0.93 | -2.06 | 0.1
21:30 - 21:45 | 0 | 0 | -0.93 | -2.06 | 1.1
21:45 - 22:00 | 0 | 0 | -0.93 | -2.06 | 0.77
22:00 - 22:15 | 0 | 0 | -0.93 | -2.06 | 0.48
22:15 - 22:30 | 0 | 0 | -0.93 | -2.06 | 0.68
22:30 - 22:45 | 0 | 0 | -0.93 | -2.06 | 0.71
22:45 - 23:00 | 0 | 0 | -0.93 | -2.06 | 0.41
23:00 - 23:15 | 0 | 0 | -0.93 | -2.06 | 1.86
23:15 - 23:30 | 0 | 0 | -0.93 | -2.06 | 1.67
23:30 - 23:45 | 0 | 0 | -0.93 | -2.06 | 2.35
23:45 - 24:00 | 0 | 0 | -0.93 | -2.06 | 2.28
Average | -6.0248 | -372.6562 | -0.93 | -1.8454 | 0.63073

## GDAM
GDAM TRADING DETAILS FOR DT:16.10.2026
Time Period | JSW_Sambalpur_Steel_Limited | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 5.12
00:15 - 00:30 | 0 | 5.02
00:30 - 00:45 | 0 | 4.92
00:45 - 01:00 | 0 | 4.91
01:00 - 01:15 | 0 | 5.07
01:15 - 01:30 | 0 | 5.3
01:30 - 01:45 | 0 | 5.26
01:45 - 02:00 | 0 | 5.26
02:00 - 02:15 | 0 | 0
02:15 - 02:30 | 0 | 0
02:30 - 02:45 | 0 | 0
02:45 - 03:00 | 0 | 0
03:00 - 03:15 | 0 | 0
03:15 - 03:30 | 0 | 0
03:30 - 03:45 | 0 | 0
03:45 - 04:00 | 0 | 0
04:00 - 04:15 | 0 | 0
04:15 - 04:30 | 0 | 0
04:30 - 04:45 | 0 | 0
04:45 - 05:00 | 0 | 0
05:00 - 05:15 | 0 | 0
05:15 - 05:30 | 0 | 0
05:30 - 05:45 | 0 | 0
05:45 - 06:00 | 0 | 0
06:00 - 06:15 | 0 | 0
06:15 - 06:30 | 0 | 0
06:30 - 06:45 | 0 | 0
06:45 - 07:00 | 0 | 0
07:00 - 07:15 | 0 | 0
07:15 - 07:30 | 0 | 0
07:30 - 07:45 | 0 | 0
07:45 - 08:00 | 0 | 0
08:00 - 08:15 | 0 | 0
08:15 - 08:30 | 0 | 0
08:30 - 08:45 | 0 | 0
08:45 - 09:00 | 0 | 0
09:00 - 09:15 | 3.74 | 0
09:15 - 09:30 | 3.74 | 0
09:30 - 09:45 | 3.74 | 0
09:45 - 10:00 | 3.74 | 0
10:00 - 10:15 | 9.37 | 0
10:15 - 10:30 | 9.37 | 0
10:30 - 10:45 | 9.37 | 0
10:45 - 11:00 | 9.37 | 0
11:00 - 11:15 | 9.37 | 0
11:15 - 11:30 | 9.37 | 0
11:30 - 11:45 | 9.37 | 0
11:45 - 12:00 | 9.37 | 0
12:00 - 12:15 | 9.37 | 0
12:15 - 12:30 | 9.37 | 0
12:30 - 12:45 | 9.37 | 0
12:45 - 13:00 | 9.37 | 0
13:00 - 13:15 | 9.37 | 0
13:15 - 13:30 | 9.37 | 0
13:30 - 13:45 | 9.37 | 0
13:45 - 14:00 | 9.37 | 0
14:00 - 14:15 | 3.74 | 0
14:15 - 14:30 | 3.74 | 0
14:30 - 14:45 | 3.74 | 0
14:45 - 15:00 | 3.74 | 0
15:00 - 15:15 | 0 | 0
15:15 - 15:30 | 0 | 0
15:30 - 15:45 | 0 | 0
15:45 - 16:00 | 0 | 0
16:00 - 16:15 | 0 | 0
16:15 - 16:30 | 0 | 0
16:30 - 16:45 | 0 | 0
16:45 - 17:00 | 0 | 0
17:00 - 17:15 | 0 | 0
17:15 - 17:30 | 0 | 0
17:30 - 17:45 | 0 | 0.39
17:45 - 18:00 | 0 | 0
18:00 - 18:15 | 0 | 4.46
18:15 - 18:30 | 0 | 1.7
18:30 - 18:45 | 0 | 0.51
18:45 - 19:00 | 0 | 0.04
19:00 - 19:15 | 0 | 2.84
19:15 - 19:30 | 0 | 4.24
19:30 - 19:45 | 0 | 4.38
19:45 - 20:00 | 0 | 4.81
20:00 - 20:15 | 0 | 5.54
20:15 - 20:30 | 0 | 6.02
20:30 - 20:45 | 0 | 5.2
20:45 - 21:00 | 0 | 4.33
21:00 - 21:15 | 0 | 4.04
21:15 - 21:30 | 0 | 4.14
21:30 - 21:45 | 0 | 4.21
21:45 - 22:00 | 0 | 4.2
22:00 - 22:15 | 0 | 4.78
22:15 - 22:30 | 0 | 4.83
22:30 - 22:45 | 0 | 4.9
22:45 - 23:00 | 0 | 4.92
23:00 - 23:15 | 0 | 5.01
23:15 - 23:30 | 0 | 5.43
23:30 - 23:45 | 0 | 5.44
23:45 - 24:00 | 0 | 5.45
Average | 1.8733 | 1.4861

## RTM
RTM TRADING DETAILS FOR DT: 16.10.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | GRIDCO | IOCL_Paradeep_Refinery | Indian_Farmers_Fertiliser_Cooperative_Limited | MGM_Green_Energy_Limited_5MW_Solar_Power_Plant_Lokapada | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | Narbheram_Power_and_Steel_Private_Limited | Nav_Bharat_ventures_Ltd | Neelachal_Ispat_Nigam_Limited | OCL_Iron_and_Steel_Limited_ENE | ORISSA_SPONGE_IRON_AND_STEEL_LIMITED | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Jharsuguda | SMC_Power_Generation_Limited_Unit_II_PTC | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Power_Plant_Athagarh | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Visa_Chrome_Limited
00:00 - 00:15 | 0 | 0 | -0.31 | -1.65 | -25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -3.09
00:15 - 00:30 | 0 | 0 | -0.31 | -1.65 | -25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -3.09
00:30 - 00:45 | 0 | -8.25 | -0.31 | 0 | -25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 25.02 | -3.09
00:45 - 01:00 | 0 | -8.25 | -0.31 | 0 | -25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 26.98 | -3.09
01:00 - 01:15 | 0 | 0 | -0.31 | -1.65 | -25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -3.09
01:15 - 01:30 | 0 | 0 | -0.31 | -1.65 | -25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | -1.03 | -10.31 | 0 | 0 | 0 | 0 | -3.09
01:30 - 01:45 | 0 | 0 | -0.31 | -1.65 | -75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | -1.03 | -5.15 | 0 | 0 | 0 | 0 | -3.09
01:45 - 02:00 | 0 | 0 | -0.31 | -1.65 | -75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -3.09
02:00 - 02:15 | 0 | 0 | -0.31 | -1.65 | -150 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -3.09
02:15 - 02:30 | 0 | 0 | -0.31 | -1.65 | -150 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -3.09
02:30 - 02:45 | 0 | 0 | -0.31 | -1.65 | -200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -3.09
02:45 - 03:00 | 0 | 0 | -0.31 | -1.65 | -200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -3.09
03:00 - 03:15 | 0 | 0 | -0.31 | -1.65 | -200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -5.15 | 0 | 0 | -2.06 | -10.31 | 0 | 0 | 0 | 0 | -3.09
03:15 - 03:30 | 0 | 0 | -0.31 | -1.65 | -200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -5.15 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | -3.09
03:30 - 03:45 | 0 | 0 | -0.31 | -1.65 | -200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -5.15 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | -3.09
03:45 - 04:00 | 0 | 0 | -0.31 | -1.65 | -300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -5.15 | 0 | 0 | -2.06 | -10.31 | 0 | 0 | 0 | 0 | -3.09
04:00 - 04:15 | 0 | -8.25 | -0.31 | -1.65 | -243.74 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -5.15 | 0 | 0 | -2.06 | -20.62 | 0 | 0 | 0 | 0 | -3.09
04:15 - 04:30 | 0 | 0 | -0.31 | -1.65 | -249.98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -5.15 | 0 | 0 | -2.06 | -10.31 | 0 | 0 | 0 | 0 | -3.09
04:30 - 04:45 | 0 | 0 | -0.31 | -1.65 | -249.98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -2.06 | -10.31 | 0 | 0 | 0 | 0 | -3.09
04:45 - 05:00 | 0 | 0 | -0.31 | -1.65 | -300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | -3.09
05:00 - 05:15 | 0 | 0 | -0.31 | -1.65 | -300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | -3.09
05:15 - 05:30 | 0 | -8.25 | -0.31 | -1.65 | -200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | -3.09
05:30 - 05:45 | 0 | 0 | -0.82 | -1.65 | -250 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -2.06 | -10.31 | 0 | 0 | 0 | 0 | -3.09
05:45 - 06:00 | 0 | 0 | -0.82 | -1.65 | -350 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -2.06 | -15.46 | 0 | 0 | 0 | 16.13 | -3.09
06:00 - 06:15 | 0 | 0 | -0.82 | -1.55 | -400 | 0 | 0 | -0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -2.06 | -10.31 | 0 | 0 | 0 | 39.19 | -3.09
06:15 - 06:30 | 0 | 0 | -0.82 | -1.55 | -350 | 0 | 0 | -0.21 | -0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 33.01 | -3.09
06:30 - 06:45 | 0 | 0 | -0.82 | -1.55 | -350 | 0 | 0 | -0.31 | -0.21 | 0 | 0 | 0 | 0 | 0 | 0 | -0.31 | 0 | 0 | 0 | 0 | -8.25 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 53.58 | -3.09
06:45 - 07:00 | 0 | -8.25 | -0.82 | -1.55 | -425 | 0 | 0 | -0.52 | -0.31 | 0 | 0 | 0 | 0 | 0 | 0 | -0.62 | 0 | 0 | 0 | 0 | -8.25 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 53.48 | -3.09
07:00 - 07:15 | 0 | 0 | -0.31 | -1.65 | -500 | 0 | 0 | -0.93 | -0.41 | 0 | 0 | 0 | 0 | 0 | 0 | -0.93 | 0 | 0 | 0 | 0 | -10.31 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 26.41 | -3.09
07:15 - 07:30 | 0 | 0 | -0.31 | -1.65 | -525 | 0 | 0 | -1.13 | -0.41 | 0 | 0 | 0 | 0 | 0 | 0 | -1.24 | 0 | 0 | 0 | 0 | -10.31 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | -3.09
07:30 - 07:45 | 0 | 0 | -0.31 | -1.75 | -625 | 0 | 0 | -1.44 | -0.62 | 0 | 0 | 0 | 0 | 0 | 0 | -1.65 | 0 | 0 | 0 | 0 | -10.31 | 0 | 0 | -2.06 | -10.31 | 0 | 0 | 0 | 0 | -3.09
07:45 - 08:00 | 0 | 0 | -0.31 | -1.75 | -850 | 0 | 0 | -1.75 | -0.82 | 0 | 0 | 0 | 0 | 0 | 0 | -1.96 | 0 | 0 | 0 | 0 | -10.31 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | -3.09
08:00 - 08:15 | 0 | 0 | -0.31 | -1.75 | -21.26 | 0 | 0 | -2.06 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | -2.58 | 0 | 0 | 0 | 0 | -6.19 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | -3.09
08:15 - 08:30 | 0 | -8.25 | -0.31 | -1.75 | -25.01 | 0 | 0 | -2.27 | -1.24 | 0 | 0 | 0 | 0 | 0 | 0 | -2.78 | 0 | 0 | 0 | 0 | -6.19 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | -3.09
08:30 - 08:45 | 0 | 11.24 | -0.31 | -1.65 | -256.25 | 0 | 0 | -2.37 | -1.65 | 0 | 0 | -4.12 | 0 | 0 | 0 | -3.09 | 0 | 0 | 0 | 0 | -6.19 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | -3.09
08:45 - 09:00 | 0 | 11.24 | -0.31 | -1.19 | -474.99 | 0 | 0 | -2.68 | -1.86 | 0 | 0 | -4.12 | 0 | 0 | 0 | -3.3 | 0 | 0 | 0 | 0 | -6.19 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | -3.09
09:00 - 09:15 | 0 | 11.24 | -0.31 | 0 | -371.05 | 0 | 0 | -2.99 | -1.86 | 0 | 0 | -4.12 | 0 | 0 | 0 | -3.71 | 0 | 0 | 0 | 0 | -6.19 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0
09:15 - 09:30 | 0 | 11.24 | -0.31 | 0 | -365.05 | 0 | 0 | -3.09 | -1.44 | 0 | 0 | -4.12 | 0 | 0 | 0 | -1.24 | 0 | 0 | 0 | 0 | -6.19 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0
09:30 - 09:45 | 0 | 14.99 | -0.31 | 0 | -326.38 | 0 | 0 | -3.2 | -1.24 | 0 | 0 | -4.12 | 1.87 | 0 | 0 | 0 | 1.87 | 0 | 0 | 0 | -6.19 | 2.81 | 0.94 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0
09:45 - 10:00 | 0 | -2.06 | -0.31 | 0 | -281.74 | 0 | 0 | -3.51 | -1.03 | 9.37 | 0 | -4.12 | 1.87 | 0 | 0 | 3.84 | 3.74 | 0 | 0 | 1.87 | -6.19 | 2.81 | 0.94 | -2.06 | 0 | 0 | 0 | 5.25 | 0 | 0
10:00 - 10:15 | 0 | 15 | -0.31 | 0 | -525 | 32.8 | 0 | 0 | -1.96 | 9.37 | 0 | -4.12 | 1.87 | 0 | 0 | 3.74 | 3.74 | -5.15 | 0 | 1.87 | -10.31 | 2.81 | 0.94 | -2.06 | 0 | 0 | 0 | 5.25 | 0 | 0
10:15 - 10:30 | 0 | 15 | -0.31 | 0 | -409.97 | 0 | 0 | 0 | -1.86 | 9.37 | 0 | -4.12 | 1.87 | 0 | 0 | 0 | 1.87 | -5.15 | 0 | 1.87 | -10.31 | 2.81 | 0.94 | -2.06 | -20.62 | 0 | 0 | 5.25 | 0 | 0
10:30 - 10:45 | 0 | 14.99 | -0.62 | 0 | -429.41 | 0 | 0 | 0 | -2.06 | 0 | -0.52 | -4.12 | 1.87 | 0 | 0 | 0 | 1.87 | -5.15 | 2.81 | 0 | -10.31 | 2.81 | 0.94 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0
10:45 - 11:00 | 0 | 14.99 | -0.62 | 0 | -574.66 | 0 | 0 | 0 | -2.06 | 0 | -0.52 | -4.12 | 1.87 | 0 | 0 | 0 | 1.87 | -5.15 | 2.81 | 1.87 | -10.31 | 2.81 | 0.94 | -2.06 | 0 | 0 | 0 | 5.25 | 0 | 0
11:00 - 11:15 | 0 | 15 | -0.31 | 0 | -361.5 | 32.8 | -2.06 | 0 | -2.06 | 9.37 | -0.52 | -4.12 | 1.87 | 0 | 0 | 4.69 | 3.74 | -5.15 | 2.81 | 1.87 | -6.19 | 2.81 | 0.94 | -2.06 | -8.25 | 0 | 0 | 5.25 | 0 | 0
11:15 - 11:30 | 0 | 15 | -0.31 | 0 | -475 | 32.8 | -2.06 | 0 | -2.06 | 9.37 | -0.52 | -4.12 | 1.87 | 0 | 0 | 0 | 3.74 | -5.15 | 2.81 | 1.87 | -6.19 | 2.81 | 0.94 | -2.06 | -8.25 | 0 | 0 | 5.25 | 0 | 0
11:30 - 11:45 | 0 | 10.3 | -0.31 | 0 | -384.98 | 0 | 0 | 0 | -2.16 | 9.37 | -0.52 | -4.12 | 1.87 | 0 | 0 | 0 | 1.87 | -5.15 | 2.81 | 1.87 | -6.19 | 2.81 | 0.94 | -2.06 | 0 | 0 | 0 | 5.25 | 0 | 0
11:45 - 12:00 | 0 | 14.99 | -0.31 | 0 | -286.79 | 0 | 0 | 0 | -2.16 | 9.37 | -0.52 | -4.12 | 1.87 | 0 | 0 | 0 | 1.87 | -5.15 | 2.81 | 1.87 | -6.19 | 2.81 | 0.94 | -2.06 | 0 | 0 | 0 | 5.25 | 0 | 0
12:00 - 12:15 | 0 | 15.93 | -0.31 | 0 | -195.98 | 0 | -2.06 | 0 | -2.47 | 0 | -0.52 | -4.12 | 1.87 | 0 | 0 | 0 | 1.87 | 0 | 2.81 | 1.87 | -6.19 | 2.81 | 0 | -2.06 | -46.39 | 0 | 0 | 5.25 | 125.57 | 0
12:15 - 12:30 | 0 | 15.93 | -0.31 | 0 | -200.03 | 0 | -2.06 | 0 | -2.47 | 0 | -0.52 | -4.12 | 1.87 | 0 | 0 | 0 | 1.87 | 0 | 2.81 | 0.99 | -6.19 | 2.81 | 0 | -2.06 | 0 | 0 | 0 | 2.77 | 42.55 | 0
12:30 - 12:45 | -0.21 | 15.93 | -0.31 | 0 | -294.51 | 0 | -2.06 | 0 | -2.27 | 9.37 | -0.52 | -4.12 | 1.87 | 0 | 0 | 0 | 1.87 | 0 | 2.81 | 1.87 | -6.19 | 2.81 | 0 | -2.06 | 0 | 28.11 | 0 | 10.31 | 56.22 | 0
12:45 - 13:00 | -0.21 | 15.93 | -0.31 | 0 | -286.77 | 0 | -2.06 | 0 | -2.06 | 9.37 | -0.52 | -4.12 | 1.87 | 0 | 0 | 0 | 1.87 | 0 | 2.81 | 1.87 | -6.19 | 2.81 | 0 | -2.06 | -10.31 | 28.11 | 0 | 10.31 | 50.6 | 0
13:00 - 13:15 | -0.21 | 0 | -0.82 | 0 | -385.26 | 32.8 | 0 | 0 | -1.86 | 9.37 | -0.52 | -4.12 | 1.87 | 0 | 0 | 4.59 | 3.74 | 0 | 2.81 | 1.87 | -2.06 | 2.81 | 0 | -2.06 | 0 | 9.37 | 0 | 10.31 | 97.46 | 0
13:15 - 13:30 | -0.21 | 0 | -0.82 | 0 | -400 | 32.8 | 0 | 0 | -1.65 | 9.37 | -0.52 | -4.12 | 1.87 | 0 | 0 | 5.53 | 3.74 | 0 | 2.81 | 1.87 | -2.06 | 2.81 | 0 | -2.06 | -36.08 | 9.37 | 0 | 10.31 | 97.45 | 0
13:30 - 13:45 | -0.21 | 0 | -0.82 | 0 | -300 | 32.8 | 0 | 0 | -1.44 | 9.37 | -0.52 | -4.12 | 1.87 | 0 | 0 | 4.87 | 3.74 | 0 | 2.81 | 1.87 | 0 | 2.81 | 0 | -2.06 | -49.48 | 9.37 | 0 | 10.31 | 97.46 | 0
13:45 - 14:00 | -0.21 | 0 | -0.82 | 0 | -200 | 0 | 0 | 0 | -1.24 | 9.37 | -0.52 | -4.12 | 1.87 | 0 | 0 | 0 | 1.87 | 0 | 2.81 | 1.87 | 0 | 2.81 | 0 | -2.06 | -36.08 | 9.37 | 0 | 10.31 | 97.45 | 0
14:00 - 14:15 | -0.21 | -15.46 | -1.24 | 0 | -200.05 | 0 | 0 | 0 | 0 | 0 | -0.52 | -4.12 | 1.87 | 0 | 0 | 0 | 1.87 | 0 | 2.81 | 0.08 | -2.06 | 2.81 | 0 | -2.06 | -10.31 | 9.37 | 0 | 0.42 | 3.49 | -3.09
14:15 - 14:30 | -0.21 | 0 | -1.24 | 0 | -204.44 | 0 | 0 | 0 | 0 | 0 | -0.52 | -4.12 | 1.87 | 0 | 0 | 0 | 1.87 | 0 | 2.81 | 0 | -2.06 | 2.81 | 0 | -2.06 | 0 | 9.37 | 0 | 0 | 0 | -3.09
14:30 - 14:45 | -0.21 | 0 | -1.24 | 0 | -275.65 | 0 | 0 | 0 | -0.1 | 0 | -0.52 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | 2.81 | 0 | -2.06 | 0 | 0 | -2.06 | -10.31 | 0 | 0 | 0 | 0 | -3.09
14:45 - 15:00 | -0.21 | 0 | -1.24 | 0 | -258.49 | 0 | 0 | 0 | 0 | 0 | -0.52 | -4.12 | 1.87 | 0 | 0 | 0 | 1.87 | 0 | 2.81 | 0 | -2.06 | 2.81 | 0 | -2.06 | 0 | 9.37 | 0 | 0 | 0 | -3.09
15:00 - 15:15 | -0.21 | 0 | -1.24 | 0 | -450 | 0 | 0 | 0 | 0 | 0 | -0.52 | -4.12 | 0 | -4.12 | 0 | 0 | 0 | -5.15 | 2.81 | 0 | -2.06 | 2.81 | 0 | -2.06 | -10.31 | 0 | 0 | 0 | 0 | -3.09
15:15 - 15:30 | -0.21 | 0 | -1.24 | 0 | -550 | 0 | 0 | 0 | 0 | 0 | -0.52 | -4.12 | 0 | -4.12 | 0 | 0 | 0 | -5.15 | 2.81 | 0 | -2.06 | 0 | 0 | -2.06 | -32.99 | 0 | 0 | 0 | 0 | -3.09
15:30 - 15:45 | -0.21 | -14.43 | -1.24 | 0 | -639.27 | 0 | 0 | -0.52 | 0 | 0 | -0.52 | -4.12 | 0 | -4.12 | 0 | 0 | 0 | -5.15 | 2.81 | 0 | 0 | 0 | 0 | -2.06 | -20.62 | 0 | 0 | 0 | 0 | -3.09
15:45 - 16:00 | -0.21 | 0 | -1.24 | 0 | -666.67 | 0 | 0 | -0.52 | 0 | 0 | -0.52 | -4.12 | 0 | -4.12 | 0 | -1.13 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | -3.09
16:00 - 16:15 | -0.21 | 0 | -1.24 | -1.44 | -250 | 0 | 0 | -0.52 | 0 | 0 | -0.52 | -11.03 | 0 | -4.12 | 0 | -0.82 | 0 | -5.15 | 0 | 0 | -2.06 | 0 | 0 | -2.06 | 0 | 0 | -14.95 | 0 | 0 | -3.09
16:15 - 16:30 | -0.21 | 0 | -1.24 | -1.44 | -250 | 0 | 0 | -0.31 | 0 | 0 | -0.52 | -11.03 | 0 | -4.12 | 0 | -0.52 | 0 | -5.15 | 0 | 0 | -2.06 | 0 | 0 | -2.06 | 0 | 0 | -14.95 | 0 | 0 | -3.09
16:30 - 16:45 | -0.21 | 0 | -1.24 | -1.44 | -500 | 0 | 0 | -0.21 | 0 | 0 | -0.52 | -11.03 | 0 | -4.12 | -3.09 | -0.21 | 0 | -5.15 | 0 | 0 | -3.09 | 0 | 0 | -2.06 | 0 | 0 | -14.95 | 0 | 0 | -3.09
16:45 - 17:00 | -0.21 | 0 | -1.24 | -1.44 | -500 | 0 | 0 | -0.1 | 0 | 0 | -0.52 | -11.03 | 0 | -4.12 | -3.09 | 0 | 0 | -5.15 | 0 | 0 | -3.09 | 0 | 0 | -2.06 | -18.56 | 0 | -14.95 | 0 | 0 | -3.09
17:00 - 17:15 | -0.21 | -7.22 | -1.03 | -1.75 | -500 | 0 | 0 | -0.1 | 0 | 0 | -0.52 | 0 | 0 | -4.12 | -3.09 | 0 | 0 | -5.15 | 0 | 0 | -4.12 | 0 | 0 | -2.06 | -10.31 | 0 | -14.95 | 0 | 1.08 | -3.09
17:15 - 17:30 | -0.21 | 0 | -1.03 | -1.75 | -400 | 0 | 0 | 0 | 0 | 0 | -0.52 | 0 | 0 | -4.12 | -3.09 | 0 | 0 | -5.15 | 0 | 0 | -4.12 | 0 | 0 | -2.06 | 0 | 0 | -14.95 | 0 | 0.84 | -3.09
17:30 - 17:45 | -0.21 | 0 | -0.72 | -1.75 | -400 | 0 | 0 | 0 | 0 | 0 | -0.52 | 0 | 0 | -4.12 | -3.09 | 0 | 0 | -5.15 | 0 | 0 | -5.15 | 0 | 0 | -2.06 | -10.31 | 0 | -14.95 | 0 | 47.35 | -3.09
17:45 - 18:00 | -0.21 | 0 | -0.72 | -1.75 | -250 | 0 | 0 | 0 | 0 | 0 | -0.52 | 0 | 0 | -4.12 | -3.09 | 0 | 0 | -5.15 | 0 | 0 | -5.15 | 0 | 0 | -2.06 | -8.25 | 0 | -14.95 | 0 | 84.75 | -3.09
18:00 - 18:15 | -0.21 | 0 | -0.41 | -1.75 | -350 | 0 | 0 | 0 | 0 | 0 | -0.52 | 0 | 0 | -4.12 | 0 | 0 | 0 | -5.15 | 0 | 0 | -5.15 | 0 | 0 | -2.06 | 0 | 0 | -14.95 | 0 | 60.31 | -3.09
18:15 - 18:30 | -0.21 | -15.46 | -0.41 | -1.75 | -200 | 0 | 0 | 0 | 0 | 0 | -0.52 | 0 | 0 | -4.12 | 0 | 0 | 0 | -5.15 | 0 | 0 | -5.15 | 0 | 0 | -2.06 | 0 | 0 | -14.95 | 0 | 56.28 | -3.09
18:30 - 18:45 | -0.21 | 0 | -0.41 | -1.55 | -100 | 0 | 0 | 0 | 0 | 0 | -0.52 | 0 | 0 | -4.12 | 0 | 0 | 0 | -5.15 | 0 | 0 | -5.15 | 0 | 0 | -2.06 | -10.31 | 0 | -14.95 | 0 | 42.24 | -3.09
18:45 - 19:00 | -0.21 | 0 | -0.41 | -1.55 | -25 | 0 | 0 | 0 | 0 | 0 | -0.52 | 0 | 0 | -4.12 | 0 | 0 | 0 | -5.15 | 0 | 0 | -5.15 | 0 | 0 | -2.06 | 0 | 0 | -14.95 | 0 | 43.3 | -3.09
19:00 - 19:15 | -0.21 | -1.03 | -0.41 | -1.65 | -100 | 0 | 0 | 0 | 0 | 0 | -0.52 | 0 | 0 | -4.12 | 0 | 0 | 0 | -5.15 | 0 | 0 | -5.15 | 0 | 0 | -2.06 | 0 | 0 | -14.95 | 0 | 164.41 | -3.09
19:15 - 19:30 | -0.21 | -1.03 | -0.41 | -1.65 | -100 | 0 | 0 | 0 | 0 | 0 | -0.52 | 0 | 0 | -4.12 | 0 | 0 | 0 | -5.15 | 0 | 0 | -5.15 | 0 | 0 | -2.06 | -5.15 | 0 | -14.95 | 0 | 0 | -3.09
19:30 - 19:45 | -0.21 | -22.68 | -0.41 | -1.75 | -250 | 0 | 0 | 0 | 0 | 0 | -0.52 | 0 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -2.06 | 0 | 0 | -14.95 | 0 | 0 | -3.09
19:45 - 20:00 | -0.21 | -8.25 | -0.41 | -1.75 | -250 | 0 | 0 | 0 | 0 | 0 | -0.52 | 0 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -2.06 | 0 | 0 | -14.95 | 0 | 0 | -3.09
20:00 - 20:15 | -0.21 | -1.03 | -0.41 | -1.75 | -250 | 0 | 0 | 0 | 0 | 0 | -0.52 | 0 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -2.06 | 0 | 0 | -14.95 | 0 | 0 | -3.09
20:15 - 20:30 | -0.21 | -1.03 | -0.41 | -1.75 | -250 | 0 | 0 | 0 | 0 | 0 | -0.52 | 0 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -2.06 | 0 | 0 | -14.95 | 0 | 0 | -3.09
20:30 - 20:45 | -0.21 | -1.03 | -0.41 | -1.75 | -375 | 0 | 0 | 0 | 0 | 0 | -0.52 | 0 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -2.06 | 0 | 0 | -14.95 | 0 | 0 | -3.09
20:45 - 21:00 | -0.21 | -2.06 | -0.41 | -1.75 | -375 | 0 | 0 | 0 | 0 | 0 | -0.52 | 0 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -2.06 | -5.15 | 0 | -14.95 | 0 | 0 | -3.09
21:00 - 21:15 | -0.21 | -3.09 | -0.41 | -1.75 | -400 | 0 | 0 | 0 | 0 | 0 | -0.52 | 0 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -2.06 | 0 | 0 | -14.95 | 0 | 0 | -3.09
21:15 - 21:30 | -0.21 | -1.03 | -0.41 | -1.75 | -400 | 0 | 0 | 0 | 0 | 0 | -0.52 | 0 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -2.06 | 0 | 0 | -14.95 | 0 | 0 | -3.09
21:30 - 21:45 | -0.21 | -1.03 | -0.41 | -1.75 | -450 | 0 | 0 | 0 | 0 | 0 | -0.52 | 0 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -2.06 | -5.15 | 0 | -14.95 | 0 | 0 | -3.09
21:45 - 22:00 | -0.21 | -1.03 | -0.41 | -1.75 | -450 | 0 | 0 | 0 | 0 | 0 | -0.52 | 0 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -2.06 | 0 | 0 | -14.95 | 0 | 0 | -3.09
22:00 - 22:15 | -0.21 | -1.03 | -0.82 | -1.75 | -500 | 0 | 0 | 0 | 0 | 0 | -0.52 | 0 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -2.06 | 0 | 0 | -14.95 | 0 | 0 | -3.09
22:15 - 22:30 | -0.21 | -1.03 | -0.82 | -1.75 | -500 | 0 | 0 | 0 | 0 | 0 | -0.52 | 0 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -2.06 | -5.15 | 0 | -14.95 | 0 | 0 | -3.09
22:30 - 22:45 | 0 | -15.46 | -0.31 | -1.75 | -550 | 0 | 0 | 0 | 0 | 0 | -0.52 | 0 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -2.06 | 0 | 0 | -14.95 | 0 | 0 | -3.09
22:45 - 23:00 | 0 | -1.03 | -0.31 | -1.75 | -550 | 0 | 0 | 0 | 0 | 0 | -0.52 | 0 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -2.06 | 0 | 0 | -14.95 | 0 | 0 | -3.09
23:00 - 23:15 | 0 | -1.03 | -0.31 | -1.75 | -675 | 0 | 0 | 0 | 0 | 0 | -0.52 | 0 | 0 | -4.12 | -1.86 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -2.06 | 0 | 0 | -14.95 | 0 | 0 | -3.09
23:15 - 23:30 | 0 | -1.03 | -0.31 | -1.75 | -675 | 0 | 0 | 0 | 0 | 0 | -0.52 | 0 | 0 | -4.12 | -1.86 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -2.06 | -10.31 | 0 | -14.95 | 0 | 0 | -3.09
23:30 - 23:45 | 0 | -1.03 | -0.31 | -1.75 | -625 | 0 | 0 | 0 | 0 | 0 | -0.52 | 0 | 0 | -4.12 | -1.86 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -2.06 | 0 | 0 | -14.95 | 0 | 0 | -3.09
23:45 - 24:00 | 0 | -2.06 | -0.31 | -1.75 | -625 | 0 | 0 | 0 | 0 | 0 | -0.52 | 0 | 0 | -4.12 | -1.86 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -2.06 | -10.31 | 0 | -14.95 | 0 | 0 | -3.09
Average | -0.0875 | 0.69573 | -0.53667 | -1.1437 | -325.2069 | 2.05 | -0.12875 | -0.32125 | -0.48094 | 1.2689 | -0.2925 | -1.7471 | 0.40906 | -1.545 | -0.27062 | 0.012188 | 0.54542 | -2.3604 | 0.61469 | 0.30333 | -4.3802 | 0.64396 | 0.097917 | -1.9313 | -5.4445 | 1.2689 | -4.9833 | 1.1698 | 15.0272 | -2.4463