## POWER STATUS
POWER STATUS ON DT 18.10.2026
[9 empty] | 2026-10-18 | 2026-10-17
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 21:00
Demand -> | [8 empty] | 5287.9111 | 6124.8137
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla [Gate-L-0 , R-0] | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 202.87 | 4.8689 | 630/590 ft | 630 | 628.52 | 628.37 | 134.1287 | 213.7413
| Chiplima | 72(3x24) | 66.04 | 1.585 | - |  |  |  | 63.7553 | 64.6798
| Balimela | 510(6x60+2x75) | 146.62 | 3.5189 | 1516/1440 ft | 1505.6 | 1505.2 | 1505.2 | 120.7278 | 436.8365
| Rengali | 250(5x50) | 244.7 | 5.8728 | 123.5/109.75 mt | 123.4 | 122.9 | 122.8 | 245.9611 | 244.5904
| Upper Kolab | 320(4x80) | 96.33 | 2.3119 | 858/844 mt | 856.83 | 855.89 | 855.9 | 76.0057 | 167.1289
| Upper Indravati [Gate-0] | 600(4x150) | 602.54 | 14.461 | 642/625 mt | 640.96 | 640.63 | 640.54 | 603.6719 | 605.4678
| Machkund | 60(50% of(3x17+3x23)) | 29.62 | 0.71088 | 2750/2685 ft | 2748.5 | 2746.55 | 2746.65 | 32.3657 | 33.1377
| Total Hydro | 2099.5 | 1388.72 | 33.3293 |  |  |  |  | 1276.6163 | 1765.5825
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1688.24 | 40.5178 | RENEWABLE ENERGY (RE) |  |  |  | 1640 | 1717
[5 empty] | M.Hydl | 103.36
| Total Thermal | 2200 | 1688.24 | 40.5178 | Solar | 170.04 |  |  | 1640 | 1717
IPP | VEDANTA #2 | 600 (1x600) | 436.34 | 10.4722 | Total IPPs | Yesterday's Demand Profile |  |  | 395.8596 | 550.6055
| GMR #3 | 350 (1x350) | 316.09 | 7.5862 | 855.21 |  | MW | HRS | 323.1328 | 318.0511
| NBVL(IPP) | 60(1x60) | 53.15 | 1.2756 |  |  |  |  | 54.3151 | 54.0586
| MDTPC |  | 49.63 | 1.1911 |  |  |  |  | 42.2248 | 56.4048
| CGPs |  | 824.56 | 19.7894 | IPPs, CGPs & RE | Maximum | 6178 | 15.00 | 1916.5543 | 1919
| Central Sector(Drawl) |  | 916.3281 | 21.9919 | 1953.17 | Minimum | 5469 | 06.00 | 454.7405 | 723.2312
| Central Sector(Sch) |  | 1059.8961 | 25.4375 |  | Average | 5946.4581 |  | 501.666 | 853.7108
| Grand Total |  | 5946.4581 | 142.715 | Instantaneous Peak demand |  | 6566 | 0:25 | 5287.9111 | 6124.8137
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(4) |  | ACTUAL |  | SCHEDULE(0)
Burla | NIL | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | 1 | TPCODL | 1618.3427 | 38.8402 | 1581.8655 | 37.9648 | 1633.3698 | 39.2009
Balimela | NIL | TSTPP St-I | NIL | TPWODL | 2189.5163 | 52.5484 | 2162.5304 | 51.9007 | 1544.9103 | 37.0778
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1370.6875 | 32.8965 | 1394.6185 | 33.4708 | 1381.8497 | 33.1644
U.Kolab | 2 | KAHALGAON | 4,6 | TPSODL | 579.0902 | 13.8982 | 576.3988 | 13.8336 | 587.3886 | 14.0973
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5757.6367 | 138.1833 | 5715.4133 | 137.1699 | 5147.5183 | 123.5404
Machhkund | 4,5,6 | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 396 | GMR |  |  |  | 323
| NBVL #3 | 54 | MDTPC |  |  |  | 42
Mini Hydel: | MEENAKSHI | 34 | OPCL |  |  |  | 0
| BTPL | 26 | SAPTADHARA |  |  |  | 7
| SNHEP | 32 | KAKATIYA |  |  |  | 8
Solar: |  | 368
CGPs : | JSPL (Angul) | 231.7349 | JSL(Duburi) |  |  |  | -114.2261
| ICCL | 2.2815 | visa |  |  |  | 15.4096
| NALCO | -120.847 | VAL (CGP) |  |  |  | 103.749
| RSP | -21.9387 | BSL(MMDL) |  |  |  | -35.7674
| INDAL | -1.5878 | ADITYA ALUMINIUM |  |  |  | 36.4417
| NINL | -33.5741 | VAL CPP 400 kV |  |  |  | -438.7554
| NBVL | 54.3151 | Arati |  |  |  | -2.6368e-16
| BPSL(JSG) | -59.2581 | BPPL |  |  |  | 113.83
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-10-10 | 2026-10-11 | 2026-10-12 | 2026-10-13 | 2026-10-14 | 2026-10-15 | 2026-10-16 | 2026-10-17
1459.671 | 1462.5235 | 1429.2754 | 1478.8618 | 1570.28 | 1564.579 | 1441.5768 | 1388.72
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.17.10.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | ARYAN_ISPAT | DNHDDPDCL | -5 | AEG03_S_FTG4 | VLSEZ | 3.61
ENVIROCARE_INFRA | BALCO_LOAD | -6.5 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -2.4 | AGE26AL_PSS6_KPS1_S | ODISHA | 119.41
ENVIROCARE_INFRA | BALCO_LOAD | -6.5 | DCBL_Rajgangpur | DALCEMAP | -1.75 | AP41PL_BHDL | ODISHA | 55.51
FACORPOWER | APCPDCL | -20 | DCBL_Rajgangpur | DCBLME | -9 | AP43PL_BKN | ODISHA | 85.43
FACORPOWER | PUNJAB | -6 | DCBL_Rajgangpur | DCL_RCW | -3.5 | AWEK1L | ODISHA | 1.78
GMRKEL_STU | RUVITSL | -38.69 | DCBL_Rajgangpur | DalmiaCementNEL2 | -1.42 | AWEK1L | ODISHA | 2.67
GMRKEL_STU | TNEB | -18 | ENVIROCARE_INFRA | DNHDDPDCL | -5 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 5.13
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | FACORPOWER | BYPL | -14 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 15.81
JSPLANGUL | GEB_Beneficiary | -65.78 | GMRKEL_STU | RUVITSL | -23.21 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 18.22
JSPLANGUL | GEB_Beneficiary | -82.22 | JPIPL | TANGEDCO | -13.2 | CGERP_MORJAR_BHJ2_HS | VLSEZ | 3.82
MAADURGA_THERMAL | NPCL_UP | -18.09 | JSPLANGUL | TANGEDCO | -32.89 | CGERP_MORJAR_BHJ2_HW | VLSEZ | 2.33
NBVLIPP | BALCO_LOAD | -46 | JSPLANGUL | TANGEDCO | -65.78 | CPTTNPL | VLSEZ | 1.67
NBVLIPP | TANGEDCO | 0 | KCMW_od | DALCEMAP | -0.67 | DADRI_SOLAR | ODISHA | 0.8
OCL_IRON_STEEL | TPL_DIS_AHM_ISTS | -51.5 | NPSRL | TPL_DIS_SUR | -4 | ENERSON_SOLAR_10MW | ODISHA | 0.87
ODISHA | GEB_Beneficiary | -26.04 | OCL_IRON_STEEL | WBSEDCL | -8.5 | GADAG_GreenInfra_W | ODISHA | 0.09
ODISHA | KPTCL | -55.21 | ODISHA | BSPHCL | -183.33 | GADAG_GreenInfra_W | ODISHA | 0
ORSISL | BALCO_LOAD | -3.5 | ODISHA | BSPHCL | -183.33 | GADAG_GreenInfra_W | ODISHA | 0
VSL | BALCO_LOAD | -5 | ODISHA | CESC | -175 | GADAG_Serentica3_S | VLSEZ | 25.3
FARIDABAD_SOLAR | ODISHA | 0.86 | ODISHA | WBSEDCL | -50 | GADAG_Serentica3_W | VLSEZ | 3.23
JSWEL_UTKAL | ODISHA | 72.58 | ODISHA | WBSEDCL | -50 | GIWEL_SECI_II_RE | ODISHA | 9.82
RAJ_SOLAR | ODISHA | 2.29 | ORSISL | TPLD | -3 | GPCL_SOLAR_10 | ODISHA | 1.7
RAJ_SOLAR | ODISHA | 2.19 | RSPL_JHARSUGUDA | CESC | -8.67 | GSECL_SOLAR | ODISHA | 1.87
|  |  | RSPL_JHARSUGUDA | TPL_DIS_SUR | -20 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.76
|  |  | SGML | TPL_DIS_SUR | -7 | JREPL_BKN2 | VLSEZ | 4.57
|  |  | SMEL | TPL_DIS_SUR | -5 | KARUR_TPVARDHAMAN_W | TSKPO | 11.45
|  |  | SMEL | TPL_DIS_SUR | -25 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.73
|  |  | Shri_JSPL | TPL_DIS_SUR | -2.5 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.74
|  |  | TSBSLA | TPL_DIS_SUR | -10 | Kurnool_Greenko_H_Inj | ADITYAAL | 3.11
|  |  | VIRAJ_SEPL | TANGEDCO | -10 | NTPCRE1_SMND_BHJ2_W | ODISHA | 1.5
|  |  | VSL | DNHDDPDCL | -10 | O2RE3PL_Wasi_klm_W | VLSEZ | 10
|  |  | BANNARIALATHUKOMBAI | VLSEZ | 9.66 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 0
|  |  | Darlipali_NTPC | ODISHA | 22.54 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0.92
|  |  | IRTPL2025 | VLSEZ | 6.46 | OKWPL_RE | ODISHA | 7.13
|  |  | JIPL | ODISHA | 115.92 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 9.86
|  |  | MYTRAHVAYU | VLSEZ | 4.78 | RSS5PL_FTG3 | VLSEZ | 5.64
|  |  | NALCOAP | NACL_Odisha | 1.74 | RWE_AP2_SECI_III | ODISHA | 4.46
|  |  | Sandur2025 | VLSEZ | 5.77 | RenewGreen_SLPR_HS | JSL_DUBURI | 9.21
|  |  | VCE4PLTD | VLSEZ | 3.25 | SRI9PL_FTG3 | VLSEZ | 106.34
|  |  | VCE5PLTD | VLSEZ | 3.94 | TPVSL_BKN3 | TSKPO | 5.84
|  |  | VCE7PLP2 | VLSEZ | 1.56 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.09
|  |  | VCE7PLTD | VLSEZ | 0.72 | TSESOPL_BKN2 | OPL_CUTTAK | 0.11
|  |  | VGPPL1KA | VLSEZ | 0.85 | Tuticorin_BETAMWIND | ODISHA | 10.14
|  |  | pssk1234 | VLSEZ | 1.45 | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 3.61
[6 empty] | XXPPL_FTG3 | ODISHA | 88.27

## DAM
DAM TRADING DETAILS FOR DT : 17.10.2026
Time Period | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | MGM_Minerals_Ltd | Nav_Bharat_ventures_Ltd | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | -0.9 | -2 | 2.44
00:15 - 00:30 | 0 | 0 | -0.9 | -2 | 1.1
00:30 - 00:45 | 0 | 0 | -0.9 | -2 | 2.42
00:45 - 01:00 | 0 | 0 | -0.9 | -2 | 3.19
01:00 - 01:15 | 0 | 0 | -0.9 | -2 | 5.28
01:15 - 01:30 | 0 | 0 | -0.9 | -2 | 7.73
01:30 - 01:45 | 0 | 0 | -0.9 | -2 | 9.51
01:45 - 02:00 | 0 | 0 | -0.9 | -2 | 10.47
02:00 - 02:15 | 0 | 0 | -0.9 | -2 | 0
02:15 - 02:30 | 0 | 0 | -0.9 | -2 | 0
02:30 - 02:45 | 0 | 0 | -0.9 | -2 | 0
02:45 - 03:00 | 0 | 0 | -0.9 | -2 | 0
03:00 - 03:15 | 0 | 0 | -0.9 | -2 | 0
03:15 - 03:30 | 0 | 0 | -0.9 | -2 | 0
03:30 - 03:45 | 0 | 0 | -0.9 | -2 | 0
03:45 - 04:00 | 0 | 0 | -0.9 | -2 | 0
04:00 - 04:15 | 0 | 0 | -0.9 | -2 | 0
04:15 - 04:30 | 0 | 0 | -0.9 | -2 | 0
04:30 - 04:45 | 0 | 0 | -0.9 | -2 | 0
04:45 - 05:00 | 0 | 0 | -0.9 | -2 | 0
05:00 - 05:15 | 0 | 0 | -0.9 | -2 | 0
05:15 - 05:30 | 0 | 0 | -0.9 | -2 | 0
05:30 - 05:45 | 0 | 0 | -0.9 | -2 | 0
05:45 - 06:00 | 0 | 0 | -0.9 | -2 | 0
06:00 - 06:15 | -25.5 | 0 | -0.9 | -2 | 0
06:15 - 06:30 | -25.5 | 0 | -0.9 | -2 | 0
06:30 - 06:45 | -25.5 | 0 | -0.9 | -2 | 0
06:45 - 07:00 | -25.5 | 0 | -0.9 | -2 | 0
07:00 - 07:15 | -25.5 | -150 | -0.9 | -2 | 0
07:15 - 07:30 | -25.5 | -150 | -0.9 | -2 | 0
07:30 - 07:45 | -25.5 | -150 | -0.9 | -2 | 0
07:45 - 08:00 | -25.5 | -150 | -0.9 | -2 | 0
08:00 - 08:15 | -25.5 | -775 | -0.9 | -2 | 0
08:15 - 08:30 | 0 | -775 | -0.9 | -2 | 0
08:30 - 08:45 | 0 | -775 | -0.9 | -2 | 0
08:45 - 09:00 | 0 | -775 | -0.9 | -2 | 0
09:00 - 09:15 | 0 | -1275 | -0.9 | -2 | 0
09:15 - 09:30 | 0 | -1275 | -0.9 | -2 | 0
09:30 - 09:45 | 0 | -1275 | -0.9 | -2 | 0
09:45 - 10:00 | 0 | -1275 | -0.9 | -2 | 0
10:00 - 10:15 | 0 | -1225 | -0.9 | -1 | 0
10:15 - 10:30 | 0 | -1225 | -0.9 | -1 | 0
10:30 - 10:45 | 0 | -1225 | -0.9 | -1 | 0
10:45 - 11:00 | 0 | -1225 | -0.9 | -1 | 0
11:00 - 11:15 | 0 | -1100 | -0.9 | -1 | 0
11:15 - 11:30 | 0 | -1100 | -0.9 | -1 | 0
11:30 - 11:45 | 0 | -1100 | -0.9 | -1 | 0
11:45 - 12:00 | 0 | -1100 | -0.9 | -1 | 0
12:00 - 12:15 | 0 | -1125 | -0.9 | -1 | 0
12:15 - 12:30 | 0 | -1125 | -0.9 | -1 | 0
12:30 - 12:45 | 0 | -1125 | -0.9 | -1 | 0
12:45 - 13:00 | 0 | -1125 | -0.9 | -1 | 0
13:00 - 13:15 | 0 | -1025 | -0.9 | -1 | 0
13:15 - 13:30 | 0 | -1025 | -0.9 | -1 | 0
13:30 - 13:45 | 0 | -1025 | -0.9 | -1 | 0
13:45 - 14:00 | 0 | -1025 | -0.9 | -1 | 0
14:00 - 14:15 | 0 | -1025 | -0.9 | -1 | 0
14:15 - 14:30 | 0 | -1025 | -0.9 | -1 | 0
14:30 - 14:45 | 0 | -1025 | -0.9 | -1 | 0
14:45 - 15:00 | 0 | -1025 | -0.9 | -1 | 0
15:00 - 15:15 | 0 | -1100 | -0.9 | -2 | 0
15:15 - 15:30 | -25.5 | -1050 | -0.9 | -2 | 0
15:30 - 15:45 | -25.5 | -850 | -0.9 | -2 | 0
15:45 - 16:00 | -25.5 | -750 | -0.9 | -2 | 0
16:00 - 16:15 | -25.5 | -475 | -0.9 | -2 | 0
16:15 - 16:30 | -25.5 | -375 | -0.9 | -2 | 0
16:30 - 16:45 | -25.5 | -200 | -0.9 | -2 | 0
16:45 - 17:00 | -25.5 | 0 | -0.9 | -2 | 0
17:00 - 17:15 | -25.5 | 0 | -0.9 | -2 | 0
17:15 - 17:30 | -25.5 | 0 | -0.9 | -2 | 0
17:30 - 17:45 | -25.5 | 0 | -0.9 | -2 | 3.76
17:45 - 18:00 | -25.5 | 0 | -0.9 | -2 | 0.01
18:00 - 18:15 | 0 | 0 | -0.9 | -2 | 6.37
18:15 - 18:30 | 0 | 0 | -0.9 | -2 | 5.03
18:30 - 18:45 | 0 | 0 | -0.9 | -2 | 0.3
18:45 - 19:00 | 0 | 0 | -0.9 | -2 | 0.17
19:00 - 19:15 | 0 | 0 | -0.9 | -2 | 2.47
19:15 - 19:30 | 0 | 0 | -0.9 | -2 | 0.58
19:30 - 19:45 | 0 | 0 | -0.9 | -2 | 0.29
19:45 - 20:00 | 0 | 0 | -0.9 | -2 | 0.46
20:00 - 20:15 | 0 | 0 | -0.9 | -2 | 0.54
20:15 - 20:30 | 0 | 0 | -0.9 | -2 | 1.72
20:30 - 20:45 | 0 | 0 | -0.9 | -2 | 0
20:45 - 21:00 | 0 | 0 | -0.9 | -2 | 1.04
21:00 - 21:15 | 0 | 0 | -0.9 | -2 | 1.76
21:15 - 21:30 | 0 | 0 | -0.9 | -2 | 0.07
21:30 - 21:45 | 0 | 0 | -0.9 | -2 | 1.85
21:45 - 22:00 | 0 | 0 | -0.9 | -2 | 2.26
22:00 - 22:15 | 0 | 0 | -0.9 | -2 | 2.45
22:15 - 22:30 | 0 | 0 | -0.9 | -2 | 3.41
22:30 - 22:45 | 0 | 0 | -0.9 | -2 | 5.02
22:45 - 23:00 | 0 | 0 | -0.9 | -2 | 4.88
23:00 - 23:15 | 0 | 0 | -0.9 | -2 | 5.92
23:15 - 23:30 | 0 | 0 | -0.9 | -2 | 5.01
23:30 - 23:45 | 0 | 0 | -0.9 | -2 | 6.57
23:45 - 24:00 | 0 | 0 | -0.9 | -2 | 7.38
Average | -5.3125 | -370.8333 | -0.9 | -1.7917 | 1.161

## GDAM
GDAM TRADING DETAILS FOR DT:17.10.2026
Time Period | JSW_Sambalpur_Steel_Limited | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 5.24
00:15 - 00:30 | 0 | 5.2
00:30 - 00:45 | 0 | 4.45
00:45 - 01:00 | 0 | 4.46
01:00 - 01:15 | 0 | 3.79
01:15 - 01:30 | 0 | 3.73
01:30 - 01:45 | 0 | 3.7
01:45 - 02:00 | 0 | 3.68
02:00 - 02:15 | 0 | 0
02:15 - 02:30 | 0 | 0
02:30 - 02:45 | 0 | 0
02:45 - 03:00 | 0 | 0
03:00 - 03:15 | 0 | 0
03:15 - 03:30 | 0 | 0
03:30 - 03:45 | 0 | 0
03:45 - 04:00 | 0 | 0
04:00 - 04:15 | 0 | 0
04:15 - 04:30 | 0 | 0
04:30 - 04:45 | 0 | 0
04:45 - 05:00 | 0 | 0
05:00 - 05:15 | 0 | 0
05:15 - 05:30 | 0 | 0
05:30 - 05:45 | 0 | 0
05:45 - 06:00 | 0 | 0
06:00 - 06:15 | 0 | 0
06:15 - 06:30 | 0 | 0
06:30 - 06:45 | 0 | 0
06:45 - 07:00 | 0 | 0
07:00 - 07:15 | 0 | 0
07:15 - 07:30 | 0 | 0
07:30 - 07:45 | 0 | 0
07:45 - 08:00 | 0 | 0
08:00 - 08:15 | 0 | 0
08:15 - 08:30 | 0 | 0
08:30 - 08:45 | 0 | 0
08:45 - 09:00 | 0 | 0
09:00 - 09:15 | 7.73 | 0
09:15 - 09:30 | 7.73 | 0
09:30 - 09:45 | 7.73 | 0
09:45 - 10:00 | 7.73 | 0
10:00 - 10:15 | 7.73 | 0
10:15 - 10:30 | 7.73 | 0
10:30 - 10:45 | 7.73 | 0
10:45 - 11:00 | 7.73 | 0
11:00 - 11:15 | 7.73 | 0
11:15 - 11:30 | 7.73 | 0
11:30 - 11:45 | 7.73 | 0
11:45 - 12:00 | 7.73 | 0
12:00 - 12:15 | 11.59 | 0
12:15 - 12:30 | 11.59 | 0
12:30 - 12:45 | 11.59 | 0
12:45 - 13:00 | 11.59 | 0
13:00 - 13:15 | 11.59 | 0
13:15 - 13:30 | 11.59 | 0
13:30 - 13:45 | 11.59 | 0
13:45 - 14:00 | 11.59 | 0
14:00 - 14:15 | 7.73 | 0
14:15 - 14:30 | 7.73 | 0
14:30 - 14:45 | 7.73 | 0
14:45 - 15:00 | 7.73 | 0
15:00 - 15:15 | 6.99 | 0
15:15 - 15:30 | 1.72 | 0
15:30 - 15:45 | 0 | 0
15:45 - 16:00 | 0 | 0
16:00 - 16:15 | 0 | 0
16:15 - 16:30 | 0 | 0
16:30 - 16:45 | 0 | 0
16:45 - 17:00 | 0 | 0
17:00 - 17:15 | 0 | 0
17:15 - 17:30 | 0 | 0
17:30 - 17:45 | 0 | 4.98
17:45 - 18:00 | 0 | 8.98
18:00 - 18:15 | 0 | 3.26
18:15 - 18:30 | 0 | 0.55
18:30 - 18:45 | 0 | 0
18:45 - 19:00 | 0 | 1
19:00 - 19:15 | 0 | 3.08
19:15 - 19:30 | 0 | 3.05
19:30 - 19:45 | 0 | 3.27
19:45 - 20:00 | 0 | 3.27
20:00 - 20:15 | 0 | 3.55
20:15 - 20:30 | 0 | 3.57
20:30 - 20:45 | 0 | 3.57
20:45 - 21:00 | 0 | 3.59
21:00 - 21:15 | 0 | 3.85
21:15 - 21:30 | 0 | 3.96
21:30 - 21:45 | 0 | 4.09
21:45 - 22:00 | 0 | 4.21
22:00 - 22:15 | 0 | 4.31
22:15 - 22:30 | 0 | 4.5
22:30 - 22:45 | 0 | 4.51
22:45 - 23:00 | 0 | 4.5
23:00 - 23:15 | 0 | 4.48
23:15 - 23:30 | 0 | 4.48
23:30 - 23:45 | 0 | 4.5
23:45 - 24:00 | 0 | 4.53
Average | 2.3449 | 1.3739

## RTM
RTM TRADING DETAILS FOR DT: 17.10.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | IOCL_Paradeep_Refinery | Indian_Farmers_Fertiliser_Cooperative_Limited | MGM_Green_Energy_Limited_5MW_Solar_Power_Plant_Lokapada | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | Narbheram_Power_and_Steel_Private_Limited | ORISSA_SPONGE_IRON_AND_STEEL_LIMITED | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Jharsuguda | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal | Tata_Steel_Power_Plant_Athagarh | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Visa_Chrome_Limited
00:00 - 00:15 | -0.2 | -20 | -0.4 | -1.7 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -1.8 | 0 | 0 | 0 | 0 | -4 | 0 | -2 | -30 | 0 | 0 | 0 | 90.73 | -3
00:15 - 00:30 | -0.2 | -8 | -0.4 | -1.7 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -1.8 | 0 | 0 | 0 | 0 | -4 | 0 | -2 | -20 | 0 | 0 | 0 | 87.25 | -3
00:30 - 00:45 | -0.2 | -1 | -0.4 | -1.7 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -1.8 | 0 | 0 | 0 | 0 | -4 | 0 | -2 | 0 | 0 | 0 | 0 | 67.64 | -3
00:45 - 01:00 | -0.2 | -1 | -0.4 | -1.7 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -1.8 | 0 | 0 | 0 | 0 | -4 | 0 | -2 | 0 | 0 | 0 | 0 | 66.87 | -3
01:00 - 01:15 | -0.2 | -1 | -0.4 | -1.7 | -150 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -1.8 | 0 | 0 | 0 | 0 | -3 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -3
01:15 - 01:30 | -0.2 | -1 | -0.4 | -1.7 | -150 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -1.8 | 0 | 0 | 0 | 0 | -3 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -3
01:30 - 01:45 | -0.2 | -1 | -0.4 | -1.7 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -1.8 | 0 | 0 | 0 | 0 | -3 | 0 | -2 | -25 | 0 | 0 | 0 | 0 | -3
01:45 - 02:00 | -0.2 | -1 | -0.4 | -1.7 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -1.8 | 0 | 0 | 0 | 0 | -3 | 0 | -2 | -25 | 0 | 0 | 0 | 0 | -3
02:00 - 02:15 | -0.2 | -7 | -0.4 | -1.8 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -1.8 | 0 | 0 | 0 | 0 | -3 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -3
02:15 - 02:30 | -0.2 | -8 | -0.4 | -1.8 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -1.8 | 0 | 0 | 0 | 0 | -3 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -3
02:30 - 02:45 | -0.2 | -1 | -0.4 | -1.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -1.8 | 0 | 0 | 0 | 0 | -3 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -3
02:45 - 03:00 | -0.2 | -1 | -0.4 | -1.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -1.8 | 0 | 0 | 0 | 0 | -3 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -3
03:00 - 03:15 | -0.2 | -1 | -0.4 | -1.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -1.8 | 0 | 0 | 0 | 0 | -2 | 0 | -2 | -25 | 0 | 0 | 0 | 0 | -3
03:15 - 03:30 | -0.2 | -1 | -0.4 | -1.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -1.8 | 0 | 0 | 0 | 0 | -2 | 0 | -2 | -30 | 0 | 0 | 0 | 0 | -3
03:30 - 03:45 | -0.2 | -15 | -0.4 | -1.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -1.8 | 0 | 0 | 0 | 0 | -2 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -3
03:45 - 04:00 | -0.2 | -1 | -0.4 | -1.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -1.8 | 0 | 0 | 0 | 0 | -2 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -3
04:00 - 04:15 | -0.2 | -1 | -0.4 | -1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -1.8 | 0 | 0 | 0 | 0 | -2 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -3
04:15 - 04:30 | -0.2 | -1 | -0.4 | -1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -1.8 | 0 | 0 | 0 | 0 | -2 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -3
04:30 - 04:45 | 0 | -1 | -0.4 | -1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -1.8 | 0 | 0 | 0 | 0 | -4 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -3
04:45 - 05:00 | 0 | -1 | -0.4 | -1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -1.8 | 0 | 0 | 0 | 0 | -4 | 0 | -2 | -25 | 0 | 0 | 0 | 0 | -3
05:00 - 05:15 | 0 | -15 | -0.4 | -1.7 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -1.8 | 0 | 0 | 0 | 0 | -4 | 0 | -2 | -25 | 0 | 0 | 0 | 0 | -3
05:15 - 05:30 | 0 | -1 | -0.4 | -1.7 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -1.8 | 0 | 0 | 0 | 0 | -4 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -3
05:30 - 05:45 | 0 | -2 | -0.8 | -1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -1.8 | 0 | 0 | 0 | 0 | -5 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -3
05:45 - 06:00 | 0 | -2 | -0.8 | -1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | -1.8 | 0 | 0 | 0 | 0 | -5 | 0 | -2 | -25 | 0 | 0 | 0 | 0 | -3
06:00 - 06:15 | 0 | -1 | -0.8 | -1.6 | 0 | 0 | 0 | 0 | 0 | -0.1 | 0 | 0 | -0.5 | -8.5 | 0 | 0 | 0 | 0 | -5 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -3
06:15 - 06:30 | 0 | -1 | -0.8 | -1.6 | 0 | 0 | 0 | 0 | -0.2 | -0.1 | 0 | 0 | -0.5 | -8.5 | 0 | 0 | 0 | 0 | -5 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -3
06:30 - 06:45 | 0 | -1 | -0.8 | -1.6 | 0 | 0 | 0 | 0 | -0.3 | -0.2 | 0 | 0 | -0.5 | -8.5 | -0.1 | 0 | 0 | 0 | -6 | 0 | -2 | -25 | 0 | 0 | 0 | 0 | -3
06:45 - 07:00 | 0 | -15 | -0.8 | -1.6 | 0 | 0 | 0 | 0 | -0.5 | -0.3 | 0 | 0 | -0.5 | -8.5 | -0.4 | 0 | 0 | 0 | -6 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -3
07:00 - 07:15 | 0 | -1.5 | -0.4 | -1.7 | 0 | 0 | 0 | 0 | -0.9 | -0.6 | 0 | 0 | -0.5 | -8.5 | -0.7 | 0 | 0 | 0 | -3 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -3
07:15 - 07:30 | 0 | -1.5 | -0.4 | -1.7 | 0 | 0 | 0 | 0 | -1.1 | -0.8 | 0 | 0 | -0.5 | -8.5 | -1 | 0 | 0 | 0 | -3 | 0 | -2 | -10 | 0 | 0 | 0 | 0 | -3
07:30 - 07:45 | 0 | -1.5 | -0.4 | -1.7 | 0 | 0 | 0 | 0 | -1.4 | -1 | 0 | 0 | -0.5 | -5 | -1.3 | 0 | 0 | 0 | 0 | 0 | -2 | -35 | 0 | 0 | 0 | 0 | -3
07:45 - 08:00 | 0 | -1.5 | -0.4 | -1.7 | 0 | 0 | 0 | 0 | -1.7 | -1.2 | 0 | 0 | -0.5 | -5 | -1.7 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -3
08:00 - 08:15 | 0 | -1.5 | -0.4 | 0 | 809.29 | 0 | 0 | 0 | -2 | -1.4 | 0 | 0 | -0.5 | -2.5 | -2.1 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -3
08:15 - 08:30 | 0 | -1.5 | -0.4 | 0 | 715.87 | 0 | 0 | 0 | -2.2 | -1.6 | 0 | 0 | -0.5 | -2.5 | -2.4 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -3
08:30 - 08:45 | 0 | -8 | -0.4 | 0 | 454.17 | 0 | 0 | 0 | -2.3 | -1.8 | 0 | 0 | -0.5 | -2.5 | -2.8 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -3
08:45 - 09:00 | 0 | -1.5 | -0.4 | 0 | 358.8 | 0 | 0 | 1.12 | -2.6 | -2 | 0 | 0 | -0.5 | -2.5 | -3 | 0 | 0 | 0 | 0 | 0 | -2 | -10 | 0 | 0 | 0 | 0 | -3
09:00 - 09:15 | 0 | 0 | -0.4 | 0 | 879.02 | 0 | 0 | 1.93 | -2.9 | -2.2 | 0 | 0 | -0.5 | -2.5 | -3.5 | 0 | 0 | 0 | 0 | 0 | -2 | -40 | 0 | 0 | 0 | 0 | 0
09:15 - 09:30 | 0 | 0 | -0.4 | 0 | 793.27 | 0 | 0 | 1.93 | -3 | -2.1 | 0 | 0 | -0.5 | -2.5 | -1.2 | 0 | 0 | 0 | 0 | 0 | -2 | -35 | 0 | 0 | 0 | 0 | 0
09:30 - 09:45 | 0 | -1.5 | -0.4 | 0 | 560.32 | 0 | 33.81 | 0 | 0 | -2.4 | 9.66 | 0 | -0.5 | -2.5 | 3.96 | 0 | 0 | 2.9 | 0 | 0 | -2 | 0 | 4.83 | 0 | 10.63 | 0 | 0
09:45 - 10:00 | 0 | -13 | -0.4 | 0 | 531.32 | 0 | 33.81 | 0 | 0 | -2.5 | 9.66 | 0 | -0.5 | -2.5 | 3.86 | 0 | 0 | 2.9 | 0 | 0 | -2 | 0 | 4.83 | 0 | 10.63 | 0 | 0
10:00 - 10:15 | 0 | 3.86 | -0.4 | 0 | 382.19 | 0 | 0 | 1.93 | 0 | -2.7 | 9.66 | 0 | -0.5 | -2.5 | 0 | 0 | 0 | 2.9 | 0 | 0 | -2 | 0 | 4.83 | 0 | 10.63 | 137.17 | 0
10:15 - 10:30 | 0 | 3.86 | -0.4 | 0 | 382.19 | 0 | 0 | 1.93 | 0 | -2.6 | 9.66 | 0 | -0.5 | -2.5 | 0 | 0 | 0 | 2.9 | 0 | 0 | -2 | 0 | 4.83 | 0 | 10.63 | 137.17 | 0
10:30 - 10:45 | 0 | 3.86 | -0.4 | 0 | 383.19 | 0 | 32.83 | 1.93 | 0 | -2 | 9.66 | 0 | -0.5 | -2.5 | 0 | 0 | 0 | 2.9 | 0 | 2.9 | -2 | -18 | 4.83 | 0 | 10.63 | 140.07 | 0
10:45 - 11:00 | 0 | 3.86 | -0.4 | 0 | 383.17 | 0 | 26.53 | 1.93 | 0 | -2.1 | 9.66 | 0 | -0.5 | -2.5 | 0 | 0 | 0 | 2.9 | 0 | 2.9 | -2 | -5 | 4.83 | 0 | 10.63 | 142 | 0
11:00 - 11:15 | 0 | 3.86 | -0.4 | 0 | -37.42 | 0 | 33.81 | 1.93 | 0 | -1.1 | 9.66 | 0 | -0.5 | -2.5 | 3.38 | 0 | 0 | 2.9 | 0 | 2.9 | -2 | 0 | 4.83 | 0 | 10.63 | 152.63 | 0
11:15 - 11:30 | 0 | 3.86 | -0.4 | 0 | -39.95 | 0 | 33.81 | 1.93 | 0 | -1.1 | 9.66 | 0 | -0.5 | -2.5 | 3.28 | 0 | 0 | 2.9 | 0 | 2.9 | -2 | 0 | 4.83 | 0 | 10.63 | 156.49 | 0
11:30 - 11:45 | 0 | -13 | -0.4 | 0 | -23.01 | 0 | 33.81 | 0 | 0 | -1 | 9.66 | 0 | -0.5 | -2.5 | 3.19 | 0 | 0 | 2.9 | 0 | 2.9 | -2 | 0 | 4.83 | 0 | 10.63 | 158.41 | 0
11:45 - 12:00 | 0 | 3.86 | -0.4 | 0 | -44.04 | 0 | 33.81 | 0 | 0 | -1 | 9.66 | 0 | -0.5 | -2.5 | 3.28 | 0 | 0 | 2.9 | 0 | 2.9 | -2 | 0 | 4.83 | 0 | 10.63 | 157.46 | 0
12:00 - 12:15 | 0 | 5.8 | -0.4 | 0 | 0 | 8.31 | 33.81 | 0 | 0 | -1.5 | 9.66 | 0 | -0.6 | -2 | 3.67 | 0 | 0 | 2.9 | 0 | 2.9 | 0 | 0 | 4.83 | 0 | 10.63 | 267.57 | 0
12:15 - 12:30 | 0 | 5.8 | -0.4 | 0 | 0 | 8.4 | 33.81 | 0 | 0 | -1.5 | 9.66 | 0 | -0.6 | -2 | 3.77 | 0 | 0 | 2.9 | 0 | 2.9 | 0 | -22 | 4.83 | 0 | 10.63 | 294.62 | 0
12:30 - 12:45 | 0 | 5.8 | -0.4 | 0 | 0 | 0 | 33.81 | 1.93 | 0 | -1.5 | 9.66 | 0 | -0.6 | -2 | 3.86 | 3.86 | 0 | 2.9 | 0 | 2.9 | -2 | -8 | 4.83 | 0 | 10.63 | 334.23 | 0
12:45 - 13:00 | 0 | 5.8 | -0.4 | 0 | -14.25 | 0 | 33.81 | 1.93 | 0 | -1.3 | 9.66 | 0 | -0.6 | -2 | 4.64 | 3.86 | 0 | 2.9 | 0 | 2.9 | -2 | 0 | 4.83 | 0 | 10.63 | 342.92 | 0
13:00 - 13:15 | 0 | 5.8 | -0.8 | 0 | 104.38 | 0 | 33.81 | 1.93 | 0 | -1.6 | 9.66 | 0 | -0.6 | -2 | 4.06 | 3.86 | 0 | 2.9 | 0 | 2.9 | -2 | 0 | 4.83 | 0 | 10.63 | 277.23 | 0
13:15 - 13:30 | 0 | 5.8 | -0.8 | 0 | 57.99 | 0 | 33.81 | 1.93 | 0 | -1.6 | 9.66 | 0 | -0.6 | -2 | 4.44 | 3.86 | 0 | 2.9 | 0 | 2.9 | -2 | 0 | 4.83 | 0 | 10.63 | 251.16 | 0
13:30 - 13:45 | 0 | 5.8 | -0.8 | 0 | 125.55 | 0 | 0 | 0 | 0 | -1.4 | 9.66 | 0 | -0.6 | -2 | 0 | 1.93 | 0 | 2.9 | 0 | 2.9 | -2 | 0 | 4.83 | 0 | 10.63 | 238.59 | 0
13:45 - 14:00 | 0 | 5.8 | -0.8 | 0 | 10.54 | 0 | 0 | 0 | 0 | -1.2 | 9.66 | 0 | -0.6 | -2 | 0 | 1.93 | 0 | 2.9 | 0 | 2.9 | -2 | -18 | 4.83 | 0 | 10.63 | 208.65 | 0
14:00 - 14:15 | 0 | 3.86 | 0 | 0 | -90.2 | 0 | 0 | 1.93 | 0 | -1 | 0 | 0 | -0.6 | -2 | 0 | 1.93 | 0 | 2.9 | 0 | 2.9 | -2 | -12 | 0 | 0 | 10.63 | 118.82 | 0
14:15 - 14:30 | 0 | 3.86 | 0 | 0 | -190.13 | 0 | 0 | 1.93 | 0 | -0.8 | 0 | 0 | -0.6 | -2 | 0 | 1.93 | 0 | 2.9 | 0 | 2.9 | -2 | 0 | 0 | 0 | 10.63 | 72.45 | 0
14:30 - 14:45 | -0.2 | 3.86 | 0 | 0 | 39 | 0 | 0 | 1.93 | 0 | -0.6 | 0 | 0 | -0.6 | -2 | 0 | 0 | 0 | 0 | 0 | 2.9 | -2 | 0 | 0 | 0 | 0 | 0 | 0
14:45 - 15:00 | -0.2 | 3.87 | 0 | 0 | 0 | 0 | 0 | 1.93 | 0 | -0.4 | 0 | 0 | -0.6 | -2 | 0 | 1.93 | 0 | 0 | 0 | 2.9 | -2 | 0 | 0 | 0 | 0 | 0 | 0
15:00 - 15:15 | -0.2 | 3.86 | 0 | 0 | 241.53 | 0 | 33.81 | 1.93 | 0 | -0.1 | 9.66 | 0 | -0.6 | -2 | 0 | 3.86 | 9.66 | 2.9 | 0 | 2.9 | -2 | 0 | 4.83 | 0 | 10.63 | 44.44 | 0
15:15 - 15:30 | -0.2 | 3.86 | 0 | 0 | 210.05 | 0 | 0 | 1.93 | -0.9 | 0 | 9.66 | 0 | -0.6 | -2 | 0 | 1.93 | 9.66 | 2.9 | 0 | 2.9 | -2 | 0 | 4.83 | 0 | 10.63 | 56.03 | 0
15:30 - 15:45 | -0.2 | -11 | 0 | 0 | 0 | 0 | 0 | 1.93 | -0.8 | 0 | 0 | 0 | -0.6 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -20 | 0 | 0 | 0 | 0 | 0
15:45 - 16:00 | -0.2 | -4 | 0 | 0 | -60.83 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -0.6 | -2.5 | -1.1 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0
16:00 - 16:15 | -0.2 | -1 | -0.8 | -1.5 | -500 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | -0.6 | -3.5 | -0.9 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -4
16:15 - 16:30 | -0.2 | 0 | -0.8 | -1.5 | -500 | 0 | 0 | 0 | -0.3 | 0 | 0 | 0 | -0.6 | -3.5 | -0.5 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -4
16:30 - 16:45 | -0.2 | 0 | -0.8 | -1.5 | -600 | 0 | 0 | 0 | -0.2 | 0 | 0 | 0 | -0.6 | -8 | -0.3 | 0 | 0 | 0 | -3 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -4
16:45 - 17:00 | -0.2 | -19 | -0.8 | -1.5 | -600 | 0 | 0 | 0 | -0.1 | 0 | 0 | 0 | -0.6 | -8 | 0 | 0 | 0 | 0 | -3 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -4
17:00 - 17:15 | -0.2 | -6 | -0.8 | -1.6 | -450 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.6 | -10 | 0 | 0 | 0 | 0 | -3 | 0 | -2 | -22 | 0 | -14.5 | 0 | 0 | -4
17:15 - 17:30 | -0.2 | 0 | -0.8 | -1.6 | -200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.6 | -10 | 0 | 0 | 0 | 0 | -3 | 0 | -2 | -10 | 0 | -14.5 | 0 | 0 | -4
17:30 - 17:45 | -0.2 | 0 | -0.4 | -1.8 | -25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.6 | -10 | 0 | 0 | 0 | 0 | -3 | 0 | -2 | 0 | 0 | -14.5 | 0 | 48.3 | -5
17:45 - 18:00 | -0.2 | 0 | -0.4 | -1.8 | -25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.6 | -10 | 0 | 0 | 0 | 0 | -3 | 0 | -2 | 0 | 0 | -14.5 | 0 | 48.3 | -5
18:00 - 18:15 | -0.2 | 0 | -0.4 | -2 | -300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.6 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -2 | 0 | 0 | -14.5 | 0 | 0 | -6
18:15 - 18:30 | -0.2 | 0 | -0.4 | -2 | -400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.6 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -2 | 0 | 0 | -14.5 | 0 | 0 | -6
18:30 - 18:45 | -0.3 | 0 | -0.4 | -1.8 | -400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.6 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -2 | 0 | 0 | -14.5 | 0 | 0 | -6
18:45 - 19:00 | -0.3 | 0 | -0.4 | -1.8 | -450 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.6 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -2 | -25 | 0 | -14.5 | 0 | 0 | -6
19:00 - 19:15 | -0.3 | 0 | -0.4 | -1.9 | -450 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.6 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -2 | -15 | 0 | -14.5 | 0 | 0 | -6
19:15 - 19:30 | -0.3 | 0 | -0.4 | -1.9 | -450 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.6 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -2 | 0 | 0 | -14.5 | 0 | 0 | -6
19:30 - 19:45 | -0.3 | -16 | -0.4 | -1.9 | -450 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.6 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -2 | 0 | 0 | -14.5 | 0 | 0 | -6
19:45 - 20:00 | -0.3 | -18 | -0.4 | -1.9 | -500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.6 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -2 | 0 | 0 | -14.5 | 0 | 0 | -6
20:00 - 20:15 | -0.3 | 0 | -0.4 | -1.9 | -625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.6 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -2 | 0 | 0 | -14.5 | 0 | 0 | -6
20:15 - 20:30 | -0.3 | 0 | -0.4 | -1.9 | -625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.6 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -2 | -25 | 0 | -14.5 | 0 | 0 | -6
20:30 - 20:45 | -0.3 | 0 | -0.4 | -2 | -700 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.6 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -2 | -22 | 0 | -14.5 | 0 | 0 | -5
20:45 - 21:00 | -0.3 | 0 | -0.4 | -2 | -700 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.6 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -2 | 0 | 0 | -14.5 | 0 | 0 | -5
21:00 - 21:15 | -0.3 | -16 | -0.4 | -2 | -700 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.6 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -2 | -10 | 0 | -14.5 | 0 | 0 | -5
21:15 - 21:30 | -0.3 | 0 | -0.4 | -2 | -675 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.6 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -2 | 0 | 0 | -14.5 | 0 | 0 | -5
21:30 - 21:45 | -0.3 | 0 | -0.4 | -2 | -550 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -0.6 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -2 | 0 | 0 | -14.5 | 0 | 0 | -5
21:45 - 22:00 | -0.3 | 0 | -0.4 | -2 | -550 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -0.6 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -2 | -20 | 0 | -14.5 | 0 | 0 | -5
22:00 - 22:15 | -0.3 | 0 | -0.8 | -1.9 | -550 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -0.6 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -2 | -25 | 0 | -14.5 | 0 | 0 | -5
22:15 - 22:30 | -0.3 | -16 | -0.8 | -1.9 | -550 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -0.6 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -2 | -10 | 0 | -14.5 | 0 | 0 | -5
22:30 - 22:45 | -0.3 | 0 | -0.4 | -1.9 | -625 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -0.6 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -2 | 0 | 0 | -14.5 | 0 | 0 | -5
22:45 - 23:00 | -0.3 | 0 | -0.4 | -1.9 | -650 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -0.6 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -2 | -5 | 0 | -14.5 | 0 | 0 | -5
23:00 - 23:15 | -0.3 | 0 | -0.4 | -1.9 | -675 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -0.6 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -2 | 0 | 0 | -14.5 | 0 | 0 | -5
23:15 - 23:30 | -0.3 | 0 | -0.4 | -1.9 | -675 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -0.6 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -2 | 0 | 0 | -14.5 | 0 | 0 | -5
23:30 - 23:45 | -0.3 | 0 | -0.4 | -1.7 | -716.25 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -0.6 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -2 | -25 | 0 | -14.5 | 0 | 0 | -5
23:45 - 24:00 | -0.3 | 0 | -0.4 | -1.7 | -774.2 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -0.6 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -2 | -20 | 0 | -14.5 | 0 | 0 | -5
Average | -0.13958 | -1.7439 | -0.44167 | -1.1813 | -111.6504 | 0.17406 | 5.1968 | 0.39365 | -0.25625 | -0.50417 | 2.0125 | -0.20833 | -0.55 | -2.5021 | 0.23323 | 0.32167 | 0.20125 | 0.66458 | -2.0625 | 0.60417 | -1.9583 | -7.5208 | 1.0062 | -4.2292 | 2.436 | 42.6792 | -2.8333 | #DIV/0! | #DIV/0! | #DIV/0!