## POWER STATUS
POWER STATUS ON DT 19.10.2026
[9 empty] | 2026-10-19 | 2026-10-18
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 5:00 | 22:00
Demand -> | [8 empty] | 5256.8501 | 5901.1819
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla [Gate-L-0 , R-0] | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 88.33 | 2.1199 | 630/590 ft | 630 | 628.37 | 628.33 | 16.2566 | 15.9468
| Chiplima | 72(3x24) | 58.29 | 1.399 | - |  |  |  | 21.434 | 45.781
| Balimela | 510(6x60+2x75) | 173.37 | 4.1609 | 1516/1440 ft | 1505.7 | 1505.2 | 1505.1 | 60.4524 | 436.1964
| Rengali | 250(5x50) | 245.35 | 5.8884 | 123.5/109.75 mt | 123.33 | 122.8 | 122.69 | 246.4732 | 246.956
| Upper Kolab | 320(4x80) | 90.04 | 2.161 | 858/844 mt | 856.83 | 855.9 | 855.89 | 102.0158 | 222.8605
| Upper Indravati [Gate-0] | 600(4x150) | 560.18 | 13.4443 | 642/625 mt | 640.94 | 640.54 | 640.46 | 596.0391 | 501.2711
| Machkund | 60(50% of(3x17+3x23)) | 30.16 | 0.72384 | 2750/2685 ft | 2748.5 | 2746.65 | 2746.65 | 27.928 | 32.3214
| Total Hydro | 2099.5 | 1245.72 | 29.8973 |  |  |  |  | 1070.5992 | 1501.3332
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1705.57 | 40.9337 | RENEWABLE ENERGY (RE) |  |  |  | 1710 | 1725
[5 empty] | M.Hydl | 104.48
| Total Thermal | 2200 | 1705.57 | 40.9337 | Solar | 147.07 |  |  | 1710 | 1725
IPP | VEDANTA #2 | 600 (1x600) | 426.76 | 10.2422 | Total IPPs | Yesterday's Demand Profile |  |  | 395.879 | 549.1602
| GMR #3 | 350 (1x350) | 319.09 | 7.6582 | 848.07 |  | MW | HRS | 332.1217 | 331.6927
| NBVL(IPP) | 60(1x60) | 53.13 | 1.2751 |  |  |  |  | 53.7257 | 54.8172
| MDTPC |  | 49.09 | 1.1782 |  |  |  |  | 56.2536 | 56.1198
| CGPs |  | 614.07 | 14.7377 | IPPs, CGPs & RE | Maximum | 5901 | 22.00 | 1595 | 1793.4052
| Central Sector(Drawl) |  | 849.1297 | 20.3791 | 1713.69 | Minimum | 4942 | 06.00 | 881.2509 | 881.4435
| Central Sector(Sch) |  | 888.9649 | 21.3352 |  | Average | 5514.1097 |  | 989.989 | 1084.91
| Grand Total |  | 5514.1097 | 132.3386 | Instantaneous Peak demand |  | 6236 | 435:36 | 5256.8501 | 5901.1819
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(3) |  | ACTUAL |  | SCHEDULE(0)
Burla | NIL | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | 1 | TPCODL | 1566.3886 | 37.5933 | 1550.0004 | 37.2 | 1588.8397 | 38.1322
Balimela | 6 | TSTPP St-I | NIL | TPWODL | 1803.9494 | 43.2948 | 1765.4875 | 42.3717 | 1559.8018 | 37.4352
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1387.764 | 33.3063 | 1394.5679 | 33.4696 | 1315.9719 | 31.5833
U.Kolab | 2 | KAHALGAON | 4,6 | TPSODL | 577.6918 | 13.8646 | 578.2722 | 13.8785 | 577.6555 | 13.8637
Indravati | NIL | TEESTA-V | 3 | DISCOM TOTAL | 5335.7938 | 128.0591 | 5288.328 | 126.9199 | 5042.2689 | 121.0145
Machhkund | 4,5,6 | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 393.2422 | GMR |  |  |  | 328.7426
| NBVL #3 | 54 | MDTPC |  |  |  | 40
Mini Hydel: | MEENAKSHI | 34 | OPCL |  |  |  | 0
| BTPL | 26 | SAPTADHARA |  |  |  | 7
| SNHEP | 32 | KAKATIYA |  |  |  | 8
Solar: |  | 333.6354
CGPs : | JSPL (Angul) | 160.0309 | JSL(Duburi) |  |  |  | -72.978
| ICCL | 6.3436 | visa |  |  |  | 15.5895
| NALCO | -118.6835 | VAL (CGP) |  |  |  | 105.5537
| RSP | -23.3184 | BSL(MMDL) |  |  |  | 114.2925
| INDAL | 0.45446 | ADITYA ALUMINIUM |  |  |  | 38.6141
| NINL | -22.4265 | VAL CPP 400 kV |  |  |  | -404.3042
| NBVL | 54.3861 | Arati |  |  |  | -3.747e-16
| BPSL(JSG) | -59.2212 | BPPL |  |  |  | 106.7358
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-10-11 | 2026-10-12 | 2026-10-13 | 2026-10-14 | 2026-10-15 | 2026-10-16 | 2026-10-17 | 2026-10-18
1462.5235 | 1429.2754 | 1478.8618 | 1570.28 | 1564.579 | 1441.5768 | 1388.72 | 1245.72
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.18.10.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | ARYAN_ISPAT | DNHDDPDCL | -5 | AGE26AL_PSS6_KPS1_S | ODISHA | 111.21
ENVIROCARE_INFRA | BALCO_LOAD | -6.5 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -2.4 | AP41PL_BHDL | ODISHA | 53.99
ENVIROCARE_INFRA | BALCO_LOAD | -6.5 | DCBL_Rajgangpur | DALCEMAP | -2.88 | AP43PL_BKN | ODISHA | 86.46
FACORPOWER | APCPDCL | -20 | DCBL_Rajgangpur | DCBLME | -8.25 | AWEK1L | ODISHA | 2.78
FACORPOWER | PUNJAB | -6 | DCBL_Rajgangpur | DCL_RCW | -3 | AWEK1L | ODISHA | 1.86
GMRKEL_STU | RUVITSL | -38.69 | ENVIROCARE_INFRA | DNHDDPDCL | -5 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 5.98
GMRKEL_STU | TNEB | -18 | FACORPOWER | BYPL | -14 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 16.28
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | GMRKEL_STU | RUVITSL | -23.21 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 17.09
JSPLANGUL | GEB_Beneficiary | -34.45 | JPIPL | TANGEDCO | -13.2 | DADRI_SOLAR | ODISHA | 0.73
JSPLANGUL | GEB_Beneficiary | -43.05 | JSPLANGUL | TANGEDCO | -34.45 | ENERSON_SOLAR_10MW | ODISHA | 1.03
MAADURGA_THERMAL | NPCL_UP | -18.09 | JSPLANGUL | TANGEDCO | -17.22 | GADAG_GreenInfra_W | ODISHA | 0.07
NBVLIPP | BALCO_LOAD | -46 | NPSRL | TPL_DIS_SUR | -4 | GADAG_GreenInfra_W | ODISHA | 0
NBVLIPP | TANGEDCO | 0 | OCL_IRON_STEEL | WBSEDCL | -8.5 | GADAG_GreenInfra_W | ODISHA | 0
OCL_IRON_STEEL | TPL_DIS_AHM_ISTS | -51.5 | ODISHA | BSPHCL | -150 | GADAG_Serentica3_S | VLSEZ | 31.86
ODISHA | AMNSIL | -27.08 | ODISHA | BSPHCL | -141.67 | GADAG_Serentica3_W | VLSEZ | 2.51
ODISHA | GEB_Beneficiary | -70.83 | ODISHA | CESC | -150 | GIWEL_SECI_II_RE | ODISHA | 11.64
ODISHA | GEB_Beneficiary | -43.75 | ODISHA | PCKL | -6.25 | GPCL_SOLAR_10 | ODISHA | 1.5
ODISHA | HP | -41.67 | ODISHA | TPL_DIS_AHM | -21.88 | GSECL_SOLAR | ODISHA | 1.87
ODISHA | KPTCL | -12.5 | ODISHA | TPL_DIS_AHM | -46.35 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.8
ORSISL | BALCO_LOAD | -3.5 | ODISHA | TPL_DIS_AHM | -21.09 | KARUR_TPVARDHAMAN_W | TSKPO | 5.2
RSPL_JHARSUGUDA | BALCO_LOAD | -6.67 | ODISHA | TPL_DIS_SUR | -1.56 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.95
VSL | BALCO_LOAD | -5 | ODISHA | WBSEDCL | -50 | Kurnool_Greenko_H_Inj | ADITYAAL | 1.92
FARIDABAD_SOLAR | ODISHA | 0.86 | ODISHA | WBSEDCL | -50 | Kurnool_Greenko_H_Inj | ADITYAAL | 1.95
JSWEL_UTKAL | ODISHA | 72.58 | ORSISL | TPLD | -3 | NTPCRE1_SMND_BHJ2_W | ODISHA | 1.86
RAJ_SOLAR | ODISHA | 2.07 | RSPL_JHARSUGUDA | TPL_DIS_SUR | -20 | O2RE3PL_Wasi_klm_W | VLSEZ | 14.93
RAJ_SOLAR | ODISHA | 2.24 | SGML | TPL_DIS_SUR | -7 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 0
|  |  | SMEL | TPL_DIS_SUR | -25 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0.08
|  |  | SMEL | TPL_DIS_SUR | -5 | OKWPL_RE | ODISHA | 7.87
|  |  | Shri_JSPL | TPL_DIS_SUR | -2.5 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 15.99
|  |  | TSBSLA | TPL_DIS_SUR | -10 | RWE_AP2_SECI_III | ODISHA | 4.77
|  |  | VIRAJ_SEPL | TANGEDCO | -10 | RenewGreen_SLPR_HS | JSL_DUBURI | 11.54
|  |  | VSL | DNHDDPDCL | -10 | SRI9PL_FTG3 | VLSEZ | 117.01
|  |  | JIPL | ODISHA | 115.92 | TPVSL_BKN3 | TSKPO | 1.16
|  |  | MYTRAHVAYU | VLSEZ | 7.47 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.09
|  |  | NALCOAP | NACL_Odisha | 1.17 | TSESOPL_BKN2 | OPL_CUTTAK | 0.1
|  |  | PCBLLTD_TN | VLSEZ | 2.9 | Tuticorin_BETAMWIND | ODISHA | 7.95
|  |  | PCBL_MUNDRA | VLSEZ | 1.93 | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 2.95
|  |  | PCBL_PALEJ | VLSEZ | 1.45 | XXPPL_FTG3 | ODISHA | 90.66
|  |  | TSTPP_I | ODISHA | 4.25

## DAM
DAM TRADING DETAILS FOR DT : 18.10.2026
Time Period | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | MGM_Minerals_Ltd | Nav_Bharat_ventures_Ltd | Tata_Steel_Power_Plant_Athagarh
00:00 - 00:15 | 0 | 0 | -0.9 | -2 | 0
00:15 - 00:30 | 0 | 0 | -0.9 | -2 | 0
00:30 - 00:45 | 0 | 0 | -0.9 | -2 | 0
00:45 - 01:00 | 0 | 0 | -0.9 | -2 | 0
01:00 - 01:15 | 0 | 0 | -0.9 | -2 | 0
01:15 - 01:30 | 0 | 0 | -0.9 | -2 | 0
01:30 - 01:45 | 0 | 0 | -0.9 | -2 | 0
01:45 - 02:00 | 0 | 0 | -0.9 | -2 | 0
02:00 - 02:15 | 0 | -75 | -0.9 | -2 | 0
02:15 - 02:30 | 0 | -75 | -0.9 | -2 | 0
02:30 - 02:45 | 0 | -75 | -0.9 | -2 | 0
02:45 - 03:00 | 0 | -75 | -0.9 | -2 | 0
03:00 - 03:15 | 0 | -150 | -0.9 | -2 | 0
03:15 - 03:30 | 0 | -150 | -0.9 | -2 | 0
03:30 - 03:45 | 0 | -150 | -0.9 | -2 | 0
03:45 - 04:00 | 0 | -150 | -0.9 | -2 | 0
04:00 - 04:15 | 0 | -150 | -0.9 | -2 | 0
04:15 - 04:30 | 0 | -150 | -0.9 | -2 | 0
04:30 - 04:45 | 0 | -150 | -0.9 | -2 | 0
04:45 - 05:00 | 0 | -150 | -0.9 | -2 | 0
05:00 - 05:15 | 0 | -250 | -0.9 | -2 | 0
05:15 - 05:30 | 0 | -250 | -0.9 | -2 | 0
05:30 - 05:45 | 0 | -250 | -0.9 | -2 | 0
05:45 - 06:00 | 0 | -250 | -0.9 | -2 | 0
06:00 - 06:15 | -25.5 | -150 | -0.9 | -2 | 0
06:15 - 06:30 | -25.5 | -150 | -0.9 | -2 | 0
06:30 - 06:45 | -25.5 | -150 | -0.9 | -2 | 0
06:45 - 07:00 | -25.5 | -150 | -0.9 | -2 | 0
07:00 - 07:15 | -25.5 | -250 | -0.9 | -2 | 0
07:15 - 07:30 | -25.5 | -250 | -0.9 | -2 | 0
07:30 - 07:45 | -25.5 | -250 | -0.9 | -2 | 0
07:45 - 08:00 | -25.5 | -250 | -0.9 | -2 | 0
08:00 - 08:15 | 0 | -950 | -0.9 | -1 | 0
08:15 - 08:30 | 0 | -950 | -0.9 | -1 | 0
08:30 - 08:45 | 0 | -950 | -0.9 | -1 | 0
08:45 - 09:00 | 0 | -950 | -0.9 | -1 | 0
09:00 - 09:15 | 0 | -1275 | -0.9 | -1 | 0
09:15 - 09:30 | 0 | -1275 | -0.9 | -1 | 0
09:30 - 09:45 | 0 | -1275 | -0.9 | -1 | 0
09:45 - 10:00 | 0 | -1275 | -0.9 | -1 | 0
10:00 - 10:15 | 0 | -1350 | -0.9 | -1 | 0
10:15 - 10:30 | 0 | -1268.07 | -0.9 | -1 | 0
10:30 - 10:45 | 0 | -1117.92 | -0.9 | -1 | 0
10:45 - 11:00 | 0 | -1089.89 | -0.9 | -1 | 0
11:00 - 11:15 | 0 | -863.51 | -0.9 | -1 | 0
11:15 - 11:30 | 0 | -869 | -0.9 | -1 | 0
11:30 - 11:45 | 0 | -834.01 | -0.9 | -1 | 0
11:45 - 12:00 | 0 | -800.86 | -0.9 | -1 | 0
12:00 - 12:15 | 0 | -674.44 | -0.9 | -1 | 0
12:15 - 12:30 | 0 | -888.29 | -0.9 | -1 | 0
12:30 - 12:45 | 0 | -597.53 | -0.9 | -1 | 0
12:45 - 13:00 | 0 | -660.09 | -0.9 | -1 | 0
13:00 - 13:15 | 0 | -675.72 | -0.9 | -1 | 0
13:15 - 13:30 | 0 | -1019.79 | -0.9 | -1 | 0
13:30 - 13:45 | 0 | -1175 | -0.9 | -1 | 0
13:45 - 14:00 | 0 | -1175 | -0.9 | -1 | 0
14:00 - 14:15 | 0 | -1075 | -0.9 | -1 | 0
14:15 - 14:30 | 0 | -1075 | -0.9 | -1 | 0
14:30 - 14:45 | 0 | -1075 | -0.9 | -1 | 0
14:45 - 15:00 | 0 | -1075 | -0.9 | -1 | 0
15:00 - 15:15 | 0 | -975 | -0.9 | -2 | 0
15:15 - 15:30 | 0 | -975 | -0.9 | -2 | 0
15:30 - 15:45 | 0 | -775 | -0.9 | -2 | 0
15:45 - 16:00 | -25.5 | -725 | -0.9 | -2 | 0
16:00 - 16:15 | -25.5 | -700 | -0.9 | -2 | -14.5
16:15 - 16:30 | -25.5 | -600 | -0.9 | -2 | -14.5
16:30 - 16:45 | -25.5 | -500 | -0.9 | -2 | -14.5
16:45 - 17:00 | -25.5 | -400 | -0.9 | -2 | -14.5
17:00 - 17:15 | -25.5 | -200 | -0.9 | -2 | -14.5
17:15 - 17:30 | -25.5 | 0 | -0.9 | -2 | -14.5
17:30 - 17:45 | -25.5 | 0 | -0.9 | -2 | -14.5
17:45 - 18:00 | -25.5 | 0 | -0.9 | -2 | -14.5
18:00 - 18:15 | 0 | 0 | -0.9 | -2 | -14.5
18:15 - 18:30 | 0 | 0 | -0.9 | -2 | -14.5
18:30 - 18:45 | 0 | 0 | -0.9 | -2 | -14.5
18:45 - 19:00 | 0 | 0 | -0.9 | -2 | -14.5
19:00 - 19:15 | 0 | 0 | -0.9 | -2 | -14.5
19:15 - 19:30 | 0 | 0 | -0.9 | -2 | -14.5
19:30 - 19:45 | 0 | 0 | -0.9 | -2 | -14.5
19:45 - 20:00 | 0 | 0 | -0.9 | -2 | -14.5
20:00 - 20:15 | 0 | 0 | -0.9 | -2 | -14.5
20:15 - 20:30 | 0 | 0 | -0.9 | -2 | -14.5
20:30 - 20:45 | 0 | 0 | -0.9 | -2 | -14.5
20:45 - 21:00 | 0 | 0 | -0.9 | -2 | -14.5
21:00 - 21:15 | 0 | 0 | -0.9 | -2 | -14.5
21:15 - 21:30 | 0 | 0 | -0.9 | -2 | -14.5
21:30 - 21:45 | 0 | 0 | -0.9 | -2 | -14.5
21:45 - 22:00 | 0 | 0 | -0.9 | -2 | -14.5
22:00 - 22:15 | 0 | 0 | -0.9 | -2 | -14.5
22:15 - 22:30 | 0 | 0 | -0.9 | -2 | -14.5
22:30 - 22:45 | 0 | 0 | -0.9 | -2 | -14.5
22:45 - 23:00 | 0 | 0 | -0.9 | -2 | -14.5
23:00 - 23:15 | 0 | 0 | -0.9 | -2 | -14.5
23:15 - 23:30 | 0 | 0 | -0.9 | -2 | -14.5
23:30 - 23:45 | 0 | 0 | -0.9 | -2 | -14.5
23:45 - 24:00 | 0 | 0 | -0.9 | -2 | -14.5
Average | -4.5156 | -398.0117 | -0.9 | -1.7083 | -4.8333

## GDAM
GDAM TRADING DETAILS FOR DT:18.10.2026
Time Period | IOCL_Paradeep_Refinery | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha
00:00 - 00:15 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | 0 | 0 | 0
08:15 - 08:30 | 0 | 0 | 0 | 0
08:30 - 08:45 | 0 | 0 | 0 | 0
08:45 - 09:00 | 0 | 11.59 | 0 | 0
09:00 - 09:15 | 0 | 11.59 | 0 | 0
09:15 - 09:30 | 0 | 11.59 | 0 | 0
09:30 - 09:45 | 0 | 11.59 | 0 | 0
09:45 - 10:00 | 0 | 11.59 | 0 | 0
10:00 - 10:15 | 33.81 | 11.59 | 50.23 | 9.66
10:15 - 10:30 | 33.81 | 11.59 | 50.23 | 9.66
10:30 - 10:45 | 33.81 | 11.59 | 50.23 | 9.66
10:45 - 11:00 | 33.81 | 11.59 | 50.23 | 9.66
11:00 - 11:15 | 33.81 | 11.59 | 50.23 | 9.66
11:15 - 11:30 | 33.81 | 11.59 | 50.23 | 9.66
11:30 - 11:45 | 33.81 | 11.59 | 50.23 | 9.66
11:45 - 12:00 | 33.81 | 11.59 | 50.23 | 9.66
12:00 - 12:15 | 33.81 | 11.59 | 50.23 | 9.66
12:15 - 12:30 | 33.81 | 11.59 | 50.23 | 9.66
12:30 - 12:45 | 33.81 | 11.59 | 50.23 | 9.66
12:45 - 13:00 | 33.81 | 11.59 | 50.23 | 9.66
13:00 - 13:15 | 33.81 | 11.59 | 50.23 | 9.66
13:15 - 13:30 | 33.81 | 11.59 | 50.23 | 9.66
13:30 - 13:45 | 33.81 | 11.59 | 50.23 | 9.66
13:45 - 14:00 | 33.81 | 11.59 | 50.23 | 9.66
14:00 - 14:15 | 33.81 | 11.59 | 50.23 | 9.66
14:15 - 14:30 | 33.81 | 11.59 | 50.23 | 9.66
14:30 - 14:45 | 33.81 | 11.59 | 50.23 | 9.66
14:45 - 15:00 | 0 | 11.59 | 0 | 0
15:00 - 15:15 | 0 | 11.59 | 0 | 0
15:15 - 15:30 | 0 | 11.59 | 0 | 0
15:30 - 15:45 | 0 | 11.59 | 0 | 0
15:45 - 16:00 | 0 | 0 | 0 | 0
16:00 - 16:15 | 0 | 0 | 0 | 0
16:15 - 16:30 | 0 | 0 | 0 | 0
16:30 - 16:45 | 0 | 0 | 0 | 0
16:45 - 17:00 | 0 | 0 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | 0
17:15 - 17:30 | 0 | 0 | 0 | 0
17:30 - 17:45 | 0 | 0 | 0 | 0
17:45 - 18:00 | 0 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0
Average | 6.6916 | 3.3804 | 9.9414 | 1.9119

## RTM
RTM TRADING DETAILS FOR DT: 18.10.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | IOCL_Paradeep_Refinery | Indian_Farmers_Fertiliser_Cooperative_Limited | MGM_Green_Energy_Limited_5MW_Solar_Power_Plant_Lokapada | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | Narbheram_Power_and_Steel_Private_Limited | Neelachal_Ispat_Nigam_Limited | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Jharsuguda | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Visa_Chrome_Limited
00:00 - 00:15 | -0.3 | -18 | -0.3 | -1.7 | -145.47 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -0.8 | 0 | 0 | 0 | 0 | -2 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -4
00:15 - 00:30 | -0.3 | -18 | -0.3 | -1.7 | -99.9 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -0.8 | 0 | 0 | 0 | 0 | -2 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -4
00:30 - 00:45 | -0.3 | 0 | -0.3 | -1.8 | -154.25 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -0.8 | 0 | 0 | 0 | 0 | -2 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -4
00:45 - 01:00 | -0.3 | 0 | -0.3 | -1.8 | -254.25 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -0.8 | 0 | 0 | 0 | 0 | -2 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -4
01:00 - 01:15 | -0.3 | 0 | -0.3 | -1.8 | -258.34 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -0.8 | 0 | 0 | 0 | 0 | -2 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -4
01:15 - 01:30 | -0.3 | 0 | -0.3 | -1.8 | -207.08 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -0.8 | 0 | 0 | 0 | 0 | -2 | 0 | -2 | -15 | 0 | 0 | 0 | 0 | -4
01:30 - 01:45 | -0.3 | 0 | -0.3 | -1.7 | -262.5 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -0.8 | 0 | 0 | 0 | 0 | -2 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -4
01:45 - 02:00 | -0.3 | 0 | -0.3 | -1.7 | -357.77 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -0.8 | 0 | 0 | 0 | 0 | -2 | 0 | -2 | -15 | 0 | 0 | 0 | 0 | -4
02:00 - 02:15 | -0.3 | -14 | -0.3 | -1.7 | -166.67 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -0.8 | 0 | 0 | 0 | 0 | -2 | 0 | -2 | -25 | 0 | 0 | 0 | 0 | -4
02:15 - 02:30 | -0.3 | 0 | -0.3 | -1.7 | -155.66 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -0.8 | 0 | 0 | 0 | 0 | -2 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -4
02:30 - 02:45 | -0.3 | 0 | -0.3 | -1.8 | -57.69 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -0.8 | 0 | 0 | 0 | 0 | -2 | 0 | -2 | -20 | 0 | 0 | 0 | 0 | -4
02:45 - 03:00 | -0.3 | 0 | -0.3 | -1.8 | -132.69 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -0.8 | 0 | 0 | 0 | 0 | -2 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -4
03:00 - 03:15 | -0.3 | 0 | -0.3 | -1.8 | -154.7 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -0.8 | 0 | 0 | 0 | 0 | -2 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -4
03:15 - 03:30 | -0.3 | 0 | -0.3 | -1.8 | -177.19 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -0.8 | 0 | 0 | 0 | 0 | -2 | 0 | -2 | -25 | 0 | 0 | 0 | 0 | -4
03:30 - 03:45 | -0.3 | -13 | -0.3 | -1.8 | -125.16 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -0.8 | 0 | 0 | 0 | 0 | -2 | 0 | -2 | -30 | 0 | 0 | 0 | 0 | -4
03:45 - 04:00 | -0.3 | 0 | -0.3 | -1.8 | -103.13 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -0.8 | 0 | 0 | 0 | 0 | -2 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -4
04:00 - 04:15 | -0.3 | 0 | -0.3 | -1.8 | -125 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -0.8 | 0 | 0 | 0 | 0 | -3 | 0 | -2 | -20 | 0 | 0 | 0 | 0 | -4
04:15 - 04:30 | -0.3 | 0 | -0.3 | -1.8 | -151.35 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -0.8 | 0 | 0 | 0 | 0 | -3 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -4
04:30 - 04:45 | -0.3 | 0 | -0.3 | -1.8 | -56.26 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -0.8 | 0 | 0 | 0 | 0 | -3 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -4
04:45 - 05:00 | -0.3 | 0 | -0.3 | -1.8 | -143.74 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -0.8 | 0 | 0 | 0 | 0 | -3 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -4
05:00 - 05:15 | -0.3 | 0 | -0.3 | -1.7 | -56.47 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -0.8 | 0 | 0 | 0 | 0 | -3 | 0 | -2 | -10 | 0 | 0 | 0 | 0 | -4
05:15 - 05:30 | -0.3 | 0 | -0.3 | -1.7 | -51.86 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -0.8 | 0 | 0 | 0 | 0 | -3 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -4
05:30 - 05:45 | -0.3 | 0 | -0.8 | -1.7 | -68.75 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -0.8 | 0 | 0 | 0 | 0 | -3 | 0 | -2 | -5 | 0 | 0 | 0 | 0 | -4
05:45 - 06:00 | -0.3 | 0 | -0.8 | -1.7 | -275 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -0.8 | 0 | 0 | 0 | 0 | -3 | 0 | -2 | -30 | 0 | 0 | 0 | 0 | -4
06:00 - 06:15 | -0.3 | 0 | -0.8 | -1.5 | -75 | 0 | 0 | 0 | 0 | -0.1 | 0 | -3 | -0.8 | 0 | 0 | 0 | 0 | -3 | 0 | -2 | -20 | 0 | 0 | 0 | 0 | -4
06:15 - 06:30 | -0.3 | -13 | -0.8 | -1.5 | -50 | 0 | 0 | 0 | -0.2 | -0.2 | 0 | -3 | -0.8 | 0 | 0 | 0 | 0 | -3 | 0 | -2 | -20 | 0 | 0 | 0 | 0 | -4
06:30 - 06:45 | -0.3 | 0 | -0.8 | -1.5 | -50 | 0 | 0 | 0 | -0.3 | -0.4 | 0 | -3 | -0.8 | 0 | 0 | -0.2 | 0 | -3 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -4
06:45 - 07:00 | -0.3 | 0 | -0.8 | -1.5 | -175 | 0 | 0 | 0 | -0.5 | -0.7 | 0 | -3 | -0.8 | 0 | 0 | -0.6 | 0 | -3 | 0 | -2 | -10 | 0 | 0 | 0 | 0 | -4
07:00 - 07:15 | -0.3 | 0 | -0.3 | -1.8 | -299.99 | 0 | 0 | 0 | -0.9 | -0.7 | 0 | -3 | -0.8 | 0 | 0 | -0.9 | 0 | -3 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -4
07:15 - 07:30 | -0.3 | 0 | -0.3 | -1.8 | -347.94 | 0 | 0 | 0 | -1.1 | -1 | 0 | -3 | -0.8 | 0 | 0 | -1.1 | 0 | -3 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -4
07:30 - 07:45 | -0.3 | 0 | -0.3 | 0 | -474.97 | 0 | 33.81 | 0 | -1.4 | -1.1 | 9.66 | -3 | -0.8 | 7.73 | 0 | -1.5 | 18.35 | -3 | 0 | -2 | -45 | 9.66 | 0 | 10.63 | 0 | -4
07:45 - 08:00 | 0 | 0 | -0.06 | 0 | -0.08 | 15.94 | 33.81 | 0 | 0 | 0 | 9.66 | 0 | 0 | 7.73 | 0 | 0 | 18.35 | 0 | 0 | 0 | 0 | 9.66 | 0 | 10.63 | 0 | 0
08:00 - 08:15 | 0 | 0 | -0.02 | 0 | 386.4 | 15.55 | 33.81 | 1.93 | 0 | 0 | 9.66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.66 | 0 | 10.63 | 0 | 0
08:15 - 08:30 | -0.3 | 0 | -0.8 | 0 | 427.43 | 0 | 33.81 | 1.93 | 0 | -1.8 | 9.66 | 0 | -0.8 | 0 | 0 | -2.6 | 0 | -5 | 0 | -2 | -5 | 9.66 | 0 | 10.63 | 0 | 0
08:30 - 08:45 | -0.3 | 0 | -0.8 | 0 | 132.79 | 0 | 0 | 1.93 | 0 | -2 | 0 | 0 | -0.8 | 0 | 0 | -3 | 0 | -5 | 2.9 | -2 | -15 | 9.66 | 0 | 0 | 0 | 0
08:45 - 09:00 | -0.3 | 0 | -0.8 | 0 | 47.94 | 0 | 0 | 1.93 | 0 | -2.2 | 0 | 0 | -0.8 | 0 | 0 | -3.3 | 0 | -5 | 2.9 | -2 | 0 | 9.66 | 0 | 0 | 0 | 0
09:00 - 09:15 | -0.3 | -10 | -0.3 | 0 | 178.67 | 0 | 33.81 | 1.93 | 0 | -2.3 | 9.66 | 0 | -0.8 | 0 | 0 | -3.7 | 0 | -3 | 2.9 | -2 | 0 | 9.66 | 4.83 | 10.63 | 0 | 0
09:15 - 09:30 | -0.3 | -10 | -0.3 | 0 | 113.85 | 0 | 33.81 | 1.93 | 0 | -2.5 | 9.66 | 0 | -0.8 | 0 | 0 | -1.4 | 0 | -3 | 2.9 | -2 | 0 | 9.66 | 4.83 | 10.63 | 0 | 0
09:30 - 09:45 | -0.3 | 0 | -0.3 | 0 | 69 | 0 | 33.81 | 2.9 | 0 | -2.6 | 9.66 | 0 | -0.8 | 0 | 0 | 3.77 | 0 | -5 | 2.9 | -2 | 0 | 9.66 | 4.83 | 10.63 | 0 | 0
09:45 - 10:00 | -0.3 | 6.76 | -0.3 | 0 | 117.54 | 9.56 | 33.81 | 2.9 | 0 | -1.62 | 9.66 | 0 | -0.8 | 0 | 0 | 3.67 | 0 | 0 | 2.9 | 0 | 0 | 9.66 | 4.83 | 10.63 | 0 | 0
10:00 - 10:15 | -0.3 | 6.76 | -0.3 | 0 | 0 | 9.47 | 0 | 2.9 | 0 | 0 | 0 | 0 | -0.8 | 0 | 0 | 3.57 | 0 | 0 | 2.9 | 0 | -15 | 9.66 | 4.83 | 10.63 | 0 | 0
10:15 - 10:30 | -0.3 | 6.76 | -0.3 | 0 | 0 | 9.56 | 0 | 2.9 | 0 | -2.9 | 0 | 0 | -0.8 | 0 | 0 | 2.9 | 0 | 0 | 2.9 | 0 | -25 | 9.66 | 4.83 | 10.63 | 0 | 0
10:30 - 10:45 | -0.3 | 6.76 | -0.3 | 0 | -34.35 | 0 | 0 | 2.9 | 0 | -2.6 | 0 | 0 | -0.8 | 0 | 0 | 2.8 | 0 | -7 | 2.9 | -2 | 0 | 9.66 | 4.83 | 10.63 | 0 | 0
10:45 - 11:00 | -0.3 | 6.76 | -0.3 | 0 | -10 | 9.85 | 0 | 2.9 | 0 | -2.8 | 0 | 0 | -0.8 | 0 | 0 | 2.7 | 0 | 0 | 2.9 | 0 | 0 | 9.66 | 4.83 | 10.63 | 0 | 0
11:00 - 11:15 | -0.3 | 6.76 | -0.3 | 0 | 77.28 | 10.05 | 0 | 2.9 | 0 | 0 | 0 | 0 | -0.8 | 0 | 0 | 2.51 | 0 | -7 | 2.9 | 0 | 0 | 0 | 4.83 | 10.63 | 0 | 0
11:15 - 11:30 | -0.3 | 6.76 | -0.3 | 0 | 77.27 | 9.66 | 0 | 2.9 | 0 | 0 | 0 | 0 | -0.8 | 0 | 0 | 2.9 | 0 | -7 | 2.9 | 0 | 0 | 0 | 4.83 | 10.63 | 0 | 0
11:30 - 11:45 | -0.3 | 6.76 | -0.3 | 0 | 125.59 | 9.47 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | 0 | 2.8 | 0 | -7 | 2.9 | 0 | -25 | 0 | 4.83 | 10.63 | 0 | 0
11:45 - 12:00 | -0.3 | 6.76 | -0.3 | 0 | 125.61 | 9.08 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | 0 | 2.8 | 0 | -7 | 2.9 | 0 | 0 | 0 | 4.83 | 10.63 | 0 | 0
12:00 - 12:15 | -0.3 | -12 | -0.3 | 0 | 53.16 | 8.69 | 0 | 1.93 | 0 | 0 | 0 | 0 | -0.8 | 0 | 0 | 2.8 | 0 | -7 | 2.9 | 0 | 0 | 0 | 4.83 | 10.63 | 0 | 0
12:15 - 12:30 | -0.3 | -12 | -0.3 | 0 | 125.6 | 8.79 | 0 | 1.93 | 0 | 0 | 0 | 0 | -0.8 | 0 | 0 | 2.9 | 0 | -7 | 2.9 | 0 | -30 | 0 | 4.83 | 10.63 | 0 | 0
12:30 - 12:45 | -0.3 | -12 | -0.3 | 0 | 0 | 8.79 | 0 | 1.93 | 0 | 0 | 0 | 0 | -0.8 | 0 | 0 | 3.48 | 0 | -7 | 2.9 | 0 | 0 | 0 | 4.83 | 10.62 | 0 | 0
12:45 - 13:00 | -0.3 | -13 | -0.3 | 0 | 16.43 | 8.69 | 0 | 1.93 | 0 | 0 | 0 | 0 | -0.8 | 0 | 0 | 3.48 | 0 | -7 | 2.9 | 0 | 0 | 0 | 4.83 | 10.63 | 0 | 0
13:00 - 13:15 | -1.2 | -14 | -0.8 | 0 | 0 | 8.69 | 0 | 1.93 | 0 | 0 | 0 | 0 | -0.8 | 0 | 0 | 3.67 | 0 | -7 | 2.9 | 0 | -35 | 0 | 4.83 | 10.63 | 0 | 0
13:15 - 13:30 | -1.2 | -17 | -0.8 | 0 | 125.58 | 9.66 | 0 | 1.93 | 0 | 0 | 0 | 0 | -0.8 | 0 | 0 | 3.48 | 0 | -7 | 2.9 | 0 | 0 | 0 | 4.83 | 10.63 | 0 | 0
13:30 - 13:45 | -1.2 | -17 | -0.8 | 0 | 260.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | 0 | 3.96 | 0 | -5 | 2.9 | -2 | -10 | 0 | 4.83 | 10.63 | 0 | 0
13:45 - 14:00 | -1.2 | -17 | -0.8 | 0 | 251.52 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | 0 | 4.06 | 0 | -5 | 2.9 | -2 | -40 | 0 | 4.83 | 10.63 | 0 | 0
14:00 - 14:15 | -1.2 | -17 | -1.2 | 0 | 380.72 | 0 | 0 | 1.93 | 0 | 0 | 0 | 0 | -0.8 | 0 | 0 | 0 | 0 | -7 | 2.9 | -2 | -10 | 0 | 4.83 | 10.63 | 0 | 0
14:15 - 14:30 | -1.2 | -17 | -1.2 | 0 | 464.18 | 0 | 0 | 1.93 | 0 | 0 | 0 | 0 | -0.8 | 0 | 0 | 0 | 0 | -7 | 2.9 | -2 | 0 | 0 | 4.83 | 10.63 | 0 | 0
14:30 - 14:45 | -1.2 | -17 | -1.2 | 0 | -69.53 | 0 | 0 | 1.93 | 0 | 0 | 0 | 0 | -0.8 | 0 | 0 | -0.2 | 0 | -7 | 2.9 | -2 | 0 | 0 | 4.83 | 10.63 | 0 | 0
14:45 - 15:00 | -1.2 | -17 | -1.2 | 0 | -58.39 | 0 | 33.81 | 1.93 | 0 | -1.2 | 9.66 | 0 | -0.8 | 0 | 0 | -2.4 | 0 | -7 | 2.9 | -2 | 0 | 0 | 4.83 | 10.63 | 0 | 0
15:00 - 15:15 | -1.2 | -12 | -1.2 | 0 | -54.25 | 0 | 33.81 | 1.93 | 0 | -0.9 | 9.66 | 0 | -0.8 | 0 | 0 | -2 | 0 | -7 | 2.9 | -2 | 0 | 0 | 4.83 | 10.63 | 0 | 0
15:15 - 15:30 | -1.2 | -12 | -1.2 | 0 | -7.14 | 0 | 33.81 | 1.93 | 0 | -0.7 | 9.66 | 0 | -0.8 | 0 | 0 | -1.7 | 0 | -7 | 2.9 | -2 | -30 | 0 | 4.83 | 10.63 | 0 | 0
15:30 - 15:45 | -1.2 | -12 | -1.2 | 0 | -10 | 0 | 33.81 | 1.93 | 0 | -0.1 | 9.66 | 0 | -0.8 | 0 | 0 | -1.4 | 0 | -7 | 2.9 | -2 | -40 | 0 | 4.83 | 5.41 | 30.91 | 0
15:45 - 16:00 | -1.2 | 0 | -1.2 | 0 | -124.51 | 0 | 33.81 | 1.93 | 0 | 0 | 9.66 | 0 | -0.8 | 0 | 0 | -1.1 | 0 | -7 | 2.9 | -2 | 0 | 0 | 4.83 | 5.41 | 77.28 | 0
16:00 - 16:15 | -1.2 | 2.9 | -1.2 | 0 | -300 | 16.62 | 33.81 | 1.93 | 0 | 0 | 9.66 | 0 | -0.8 | 7.73 | -1 | -0.9 | 18.35 | -7 | 2.9 | -2 | 0 | 9.66 | 4.83 | 5.41 | 30.91 | 0
16:15 - 16:30 | -1.2 | 0 | -1.2 | 0 | -520.45 | 0 | 0 | 1.93 | 0 | 0 | 0 | 0 | -0.8 | 7.73 | -1 | -0.5 | 15.45 | -7 | 2.9 | -2 | -25 | 9.66 | 0 | 5.41 | 0 | 0
16:30 - 16:45 | -1.2 | 0 | -1.2 | 0 | -207.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | -1 | -0.3 | 0 | -7 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0
16:45 - 17:00 | -1.2 | 0 | -1.2 | -1.7 | -335.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | -1 | 0 | 0 | -7 | 0 | -2 | -10 | 0 | 0 | 0 | 0 | 0
17:00 - 17:15 | -1.2 | 0 | -0.3 | 0 | -513.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | -1 | 0 | 0 | -3 | 0 | -2 | -35 | 0 | 0 | 0 | 0 | -1
17:15 - 17:30 | -1.2 | -7 | -0.3 | 0 | -415.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | -1 | 0 | 0 | -3 | 0 | -2 | -10 | 0 | 0 | 0 | 0 | -1
17:30 - 17:45 | -1.2 | -7 | -0.3 | -1.7 | -149.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | -1 | 0 | 0 | -2 | 0 | -2 | -20 | 0 | 0 | 0 | 0 | -1
17:45 - 18:00 | -1.2 | 0 | -0.3 | -1.7 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | -1 | 0 | 0 | -2 | 0 | -2 | -10 | 0 | 0 | 0 | 0 | -1
18:00 - 18:15 | -1.2 | 0 | -0.3 | -1.8 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | -1 | 0 | 0 | -2 | 0 | -2 | -15 | 0 | 0 | 0 | 0 | -1
18:15 - 18:30 | -1.2 | 0 | -0.3 | -1.8 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | -1 | 0 | 0 | -2 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -1
18:30 - 18:45 | -1.2 | 0 | -0.3 | -1.8 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | -1 | 0 | 0 | -1 | 0 | -1 | -20 | 0 | 0 | 0 | 0 | -1
18:45 - 19:00 | -1.2 | -14 | -0.3 | -1.8 | -150 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | -1 | 0 | 0 | -1 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -1
19:00 - 19:15 | -1.2 | 0 | -0.3 | -2 | -200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | -1 | 0 | 0 | -1 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -1
19:15 - 19:30 | -1.2 | 0 | -0.3 | -2 | -150 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | -1 | 0 | 0 | -1 | 0 | -1 | -10 | 0 | 0 | 0 | 0 | -1
19:30 - 19:45 | -1.2 | 0 | -0.3 | -2 | -300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | -1 | 0 | 0 | -1 | 0 | -1 | -40 | 0 | 0 | 0 | 0 | -1
19:45 - 20:00 | -1.2 | 0 | -0.3 | 0 | -300 | 0 | 0 | 1.93 | 0 | 0 | 0 | 0 | -0.8 | 7.73 | -1 | 0 | 15.46 | -1 | 0 | -1 | -10 | 19.32 | 0 | 5.41 | 0 | -1
20:00 - 20:15 | -1.2 | 0 | -0.3 | -2 | -475.46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 7.73 | -1 | 0 | 15.46 | -3 | 0 | -1 | -25 | 24.14 | 0 | 0 | 0 | 0
20:15 - 20:30 | -1.2 | 0 | -0.3 | -2 | -472.83 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 7.73 | -1 | 0 | 15.46 | -3 | 0 | -1 | -40 | 24.14 | 0 | 0 | 0 | 0
20:30 - 20:45 | -1.2 | 0 | -0.3 | -2 | -107.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | -1 | 0 | 0 | -6 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | -1.2 | 0 | -0.3 | -2 | -208.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | -1 | 0 | 0 | -6 | 0 | -1 | -20 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | -1 | 0 | -0.3 | -2 | -509.31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | -1 | 0 | 0 | -6 | 0 | -1 | -20 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | -1 | 0 | -0.3 | -2 | -412.14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | -1 | 0 | 0 | -6 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | -1 | 0 | -0.8 | -2 | -414.29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | -1 | 0 | 0 | -7 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | -1 | 0 | -0.8 | -2 | -414.29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | -1 | 0 | 0 | -7 | 0 | -1 | -40 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | -1 | 0 | -0.8 | -2 | -518.11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | -1 | 0 | 0 | -7 | 0 | -2 | -10 | 0 | 0 | 0 | 0 | -1
22:15 - 22:30 | -1 | 0 | -0.8 | -2 | -520.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | -1 | 0 | 0 | -7 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -1
22:30 - 22:45 | -1 | 0 | -0.3 | -2 | -611.51 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | -1 | 0 | 0 | -7 | 0 | -2 | -40 | 0 | 0 | 0 | 0 | -1
22:45 - 23:00 | -1 | 0 | -0.3 | -2 | -606.37 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | -1 | 0 | 0 | -7 | 0 | -2 | 0 | 24.15 | 0 | 0 | 0 | -1
23:00 - 23:15 | -1 | -14 | -0.3 | -2 | -508.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | -1 | 0 | 0 | -7 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -1
23:15 - 23:30 | -1 | 0 | -0.3 | -2 | -507.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | -1 | 0 | 0 | -7 | 0 | -2 | -25 | 0 | 0 | 0 | 0 | -1
23:30 - 23:45 | -1 | 0 | -0.3 | -2 | -607 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 0 | -1 | 0 | 0 | -7 | 0 | -2 | -40 | 0 | 0 | 0 | 0 | -1
23:45 - 24:00 | -1 | 0 | -0.3 | -2 | -604.84 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.8 | 7.73 | -1 | 0 | 15.46 | -7 | 0 | -2 | 0 | 28.97 | 0 | 0 | 0 | -1
Average | -0.68125 | -3.0444 | -0.49562 | -1.0635 | -140.2726 | 1.8554 | 4.9306 | 0.70406 | -0.045833 | -0.31688 | 1.4087 | -0.96875 | -0.78333 | 0.64417 | -0.33333 | 0.30677 | 1.3785 | -4.1042 | 0.96667 | -1.5208 | -10.7812 | 2.8675 | 1.4591 | 3.6035 | 1.449 | -1.5 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!