## POWER STATUS
POWER STATUS ON DT 20.10.2026
[9 empty] | 2026-10-20 | 2026-10-19
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 23:00
Demand -> | [8 empty] | 5281.5611 | 5794.3614
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla [Gate-L-0 , R-0] | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 60.458 | 1.451 | 630/590 ft | 630 | 628.33 | 628.39 | 15.7519 | 160.1909
| Chiplima | 72(3x24) | 22.875 | 0.549 | - |  |  |  | 45.8638 | 36.4104
| Balimela | 510(6x60+2x75) | 161.166 | 3.868 | 1516/1440 ft | 1505.8 | 1505.1 | 1505 | 27.5528 | 497.1306
| Rengali | 250(5x50) | 245.2667 | 5.8864 | 123.5/109.75 mt | 123.25 | 122.69 | 122.58 | 247.3745 | 244.0106
| Upper Kolab | 320(4x80) | 104.92 | 2.5181 | 858/844 mt | 856.83 | 855.89 | 855.87 | 20.1943 | 224.0499
| Upper Indravati [Gate-0] | 600(4x150) | 488.2292 | 11.7175 | 642/625 mt | 640.95 | 640.46 | 640.39 | 156.699 | 604.5639
| Machkund | 60(50% of(3x17+3x23)) | 28.16 | 0.67584 | 2750/2685 ft | 2748.55 | 2746.65 | 2746.65 | 31.33 | 21.6697
| Total Hydro | 2099.5 | 1111.0749 | 26.6658 |  |  |  |  | 544.7663 | 1788.0261
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1685.48 | 40.4515 | RENEWABLE ENERGY (RE) |  |  |  | 1729.6094 | 1709.7793
[5 empty] | M.Hydl | 103.63
| Total Thermal | 2200 | 1685.48 | 40.4515 | Solar | 128.39 |  |  | 1729.6094 | 1709.7793
IPP | VEDANTA #2 | 600 (1x600) | 422.75 | 10.146 | Total IPPs | Yesterday's Demand Profile |  |  | 392.7541 | 558.8281
| GMR #3 | 350 (1x350) | 320.41 | 7.6898 | 844.97 |  | MW | HRS | 330.3056 | 325.3897
| NBVL(IPP) | 60(1x60) | 52.65 | 1.2636 |  |  |  |  | 54.2236 | 54.2091
| MDTPC |  | 49.16 | 1.1798 |  |  |  |  | 30.8594 | 56.032
| CGPs |  | 610.86 | 14.6606 | IPPs, CGPs & RE | Maximum | 5887 | 18:00 | 1801.7619 | 1725.7403
| Central Sector(Drawl) |  | 995.31 | 23.8874 | 1687.85 | Minimum | 4962 | 06:00 | 1205.4235 | 570.8157
| Central Sector(Sch) |  | 1055.79 | 25.339 |  | Average | 5479.7149 |  | 1275.0847 | 611.23
| Grand Total |  | 5479.7149 | 131.5132 | Instantaneous Peak demand |  | 6082 | 18:12 | 5281.5611 | 5794.3614
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(3) |  | ACTUAL |  | SCHEDULE(0)
Burla | NIL | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1570.1514 | 37.6836 | 1536.5309 | 36.8767 | 1564.122 | 37.5389
Balimela | NIL | TSTPP St-I | NIL | TPWODL | 1807.4637 | 43.3791 | 1783.7377 | 42.8097 | 1550.7028 | 37.2169
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1347.3405 | 32.3362 | 1404.1865 | 33.7005 | 1304.7784 | 31.3147
U.Kolab | 2 | KAHALGAON | 4,6 | TPSODL | 577.7926 | 13.867 | 573.3597 | 13.7606 | 582.0206 | 13.9685
Indravati | NIL | TEESTA-V | 3 | DISCOM TOTAL | 5302.7483 | 127.266 | 5297.8148 | 127.1476 | 5001.6239 | 120.039
Machhkund | 4,5,6 | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 393 | GMR |  |  |  | 330
| NBVL #3 | 54 | MDTPC |  |  |  | 31
Mini Hydel: | MEENAKSHI | 33 | OPCL |  |  |  | 0
| BTPL | 19 | SAPTADHARA |  |  |  | 6
| SNHEP | 32 | KAKATIYA |  |  |  | 8
Solar: |  | 287
CGPs : | JSPL (Angul) | 181.0443 | JSL(Duburi) |  |  |  | -146.3113
| ICCL | 22.745 | visa |  |  |  | 15.0993
| NALCO | -128.0109 | VAL (CGP) |  |  |  | 103.4565
| RSP | -13.2699 | BSL(MMDL) |  |  |  | 29.7664
| INDAL | -0.48521 | ADITYA ALUMINIUM |  |  |  | 36.6866
| NINL | -30.7665 | VAL CPP 400 kV |  |  |  | -692.5662
| NBVL | 54.2236 | Arati |  |  |  | 7.3552e-16
| BPSL(JSG) | -111.595 | BPPL |  |  |  | 113.5276
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-10-12 | 2026-10-13 | 2026-10-14 | 2026-10-15 | 2026-10-16 | 2026-10-17 | 2026-10-18 | 2026-10-19
1429.2754 | 1478.8618 | 1570.28 | 1564.579 | 1441.5768 | 1388.72 | 1245.72 | 1111.0749
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.19.10.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | ARYAN_ISPAT | DNHDDPDCL | -5 | AAPL_BKN2 | UTCL | 0.06
ENVIROCARE_INFRA | BALCO_LOAD | -6.5 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -2.4 | AGE26AL_PSS6_KPS1_S | ODISHA | 110.81
ENVIROCARE_INFRA | BALCO_LOAD | -6.5 | DCBL_Rajgangpur | DALCEMAP | -2.96 | AP41PL_BHDL | ODISHA | 56.65
FACORPOWER | APCPDCL | -20 | DCBL_Rajgangpur | DCBLME | -8.38 | AP43PL_BKN | ODISHA | 85.65
FACORPOWER | PUNJAB | -6 | DCBL_Rajgangpur | DCL_RCW | -3.5 | AWEK1L | ODISHA | 2.96
GMRKEL_STU | RUVITSL | -38.69 | ENVIROCARE_INFRA | DNHDDPDCL | -5 | AWEK1L | ODISHA | 1.97
GMRKEL_STU | TNEB | -18 | FACORPOWER | BYPL | -14 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 4.88
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | GMRKEL_STU | RUVITSL | -23.21 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 8.15
JSPLANGUL | GEB_Beneficiary | -38.89 | JPIPL | TANGEDCO | -13.1 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 18.34
JSPLANGUL | GEB_Beneficiary | -31.11 | JSPLANGUL | TANGEDCO | -31.11 | DADRI_SOLAR | ODISHA | 0.76
MAADURGA_THERMAL | NPCL_UP | -18.09 | JSPLANGUL | TANGEDCO | -15.56 | ENERSON_SOLAR_10MW | ODISHA | 1.11
NBVLIPP | BALCO_LOAD | -46 | KCMW_od | DALCEMAP | -0.58 | GADAG_GreenInfra_W | ODISHA | 0.09
NBVLIPP | TANGEDCO | 0 | NPSRL | TPL_DIS_SUR | -4 | GADAG_GreenInfra_W | ODISHA | 0
OCL_IRON_STEEL | TPL_DIS_AHM_ISTS | -51.5 | OCL_IRON_STEEL | WBSEDCL | -8.5 | GADAG_GreenInfra_W | ODISHA | 0
ODISHA | AMNSIL | -18.75 | ODISHA | BSPHCL | -33.33 | GADAG_Serentica3_S | VLSEZ | 33.8
ODISHA | BALCO_LOAD | -20 | ODISHA | BSPHCL | -141.67 | GADAG_Serentica3_W | VLSEZ | 4.88
ODISHA | GEB_Beneficiary | -120.83 | ODISHA | BSPHCL | -162.5 | GIWEL_SECI_II_RE | ODISHA | 10.92
ODISHA | KPTCL | -58.33 | ODISHA | PCKL | -16.67 | GPCL_SOLAR_10 | ODISHA | 1.75
ODISHA | KPTCL | -29.17 | ODISHA | WBSEDCL | -50 | GSECL_SOLAR | ODISHA | 1.97
ORSISL | BALCO_LOAD | -3.5 | ODISHA | WBSEDCL | -50 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.99
VSL | BALCO_LOAD | -5 | ORSISL | TPLD | -3 | KARUR_TPVARDHAMAN_W | TSKPO | 6.23
FARIDABAD_SOLAR | ODISHA | 0 | RSPL_JHARSUGUDA | KRCIPPL | -2 | Kurnool_Greenko_H_Inj | ADITYAAL | 1.4
JSWEL_UTKAL | ODISHA | 70.75 | RSPL_JHARSUGUDA | MBPL | -3 | Kurnool_Greenko_H_Inj | ADITYAAL | 3.75
RAJ_SOLAR | ODISHA | 2.31 | RSPL_JHARSUGUDA | TPL_DIS_AHM | -7 | Kurnool_Greenko_H_Inj | ADITYAAL | 6.4
RAJ_SOLAR | ODISHA | 2.16 | RSPL_JHARSUGUDA | TPL_DIS_SUR | -20 | NTPCRE1_SMND_BHJ2_W | ODISHA | 1.83
|  |  | SGML | TPL_DIS_SUR | -7 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 0
|  |  | SMEL | TPL_DIS_SUR | -25 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0.08
|  |  | SMEL | TPL_DIS_SUR | -5 | OKWPL_RE | ODISHA | 7.98
|  |  | Shri_JSPL | TPL_DIS_SUR | -2.5 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 15.19
|  |  | TSBSLA | TPL_DIS_SUR | -10 | RWE_AP2_SECI_III | ODISHA | 6.18
|  |  | VIRAJ_SEPL | TANGEDCO | -10 | RenewGreen_SLPR_HS | JSL_DUBURI | 10
|  |  | VSL | DNHDDPDCL | -10 | SRI9PL_FTG3 | VLSEZ | 117.98
|  |  | Darlipali_NTPC | ODISHA | 12.96 | TPVSL_BKN3 | TSKPO | 5.37
|  |  | JIPL | ODISHA | 115.5 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.1
|  |  | MYTRAHVAYU | VLSEZ | 5.65 | TSESOPL_BKN2 | OPL_CUTTAK | 0.12
|  |  | NALCOAP | NACL_Odisha | 4.49 | Tuticorin_BETAMWIND | ODISHA | 7.61
|  |  | PCBLLTD_TN | VLSEZ | 2.89 | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 0.5
|  |  | PCBL_MUNDRA | VLSEZ | 1.92 | XXPPL_FTG3 | ODISHA | 89.4
|  |  | PCBL_PALEJ | VLSEZ | 1.35

## DAM
DAM TRADING DETAILS FOR DT : 19.10.2026
Time Period | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | MGM_Minerals_Ltd | Nav_Bharat_ventures_Ltd | Tata_Steel_Power_Plant_Athagarh | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | -100 | -0.9 | -2 | 0 | 0
00:15 - 00:30 | 0 | -100 | -0.9 | -2 | 0 | 0
00:30 - 00:45 | 0 | -100 | -0.9 | -2 | 0 | 0
00:45 - 01:00 | 0 | -100 | -0.9 | -2 | 0 | 0
01:00 - 01:15 | 0 | -100 | -0.9 | -2 | 0 | 0
01:15 - 01:30 | 0 | -100 | -0.9 | -2 | 0 | 0
01:30 - 01:45 | 0 | -100 | -0.9 | -2 | 0 | 0
01:45 - 02:00 | 0 | -100 | -0.9 | -2 | 0 | 0
02:00 - 02:15 | 0 | -150 | -0.9 | -2 | 0 | 0
02:15 - 02:30 | 0 | -150 | -0.9 | -2 | 0 | 0
02:30 - 02:45 | 0 | -150 | -0.9 | -2 | 0 | 0
02:45 - 03:00 | 0 | -150 | -0.9 | -2 | 0 | 0
03:00 - 03:15 | 0 | -351 | -0.9 | -2 | 0 | 0
03:15 - 03:30 | 0 | -351 | -0.9 | -2 | 0 | 0
03:30 - 03:45 | 0 | -351 | -0.9 | -2 | 0 | 0
03:45 - 04:00 | 0 | -351 | -0.9 | -2 | 0 | 0
04:00 - 04:15 | 0 | -351 | -0.9 | -2 | 0 | 0
04:15 - 04:30 | 0 | -351 | -0.9 | -2 | 0 | 0
04:30 - 04:45 | 0 | -351 | -0.9 | -2 | 0 | 0
04:45 - 05:00 | 0 | -351 | -0.9 | -2 | 0 | 0
05:00 - 05:15 | 0 | -351 | -0.9 | -2 | 0 | 0
05:15 - 05:30 | 0 | -351 | -0.9 | -2 | 0 | 0
05:30 - 05:45 | 0 | -351 | -0.9 | -2 | 0 | 0
05:45 - 06:00 | 0 | -351 | -0.9 | -2 | 0 | 0
06:00 - 06:15 | -25.5 | -351 | -0.9 | -2 | 0 | 0
06:15 - 06:30 | -25.5 | -351 | -0.9 | -2 | 0 | 0
06:30 - 06:45 | -25.5 | -351 | -0.9 | -2 | 0 | 0
06:45 - 07:00 | -25.5 | -351 | -0.9 | -2 | 0 | 0
07:00 - 07:15 | -25.5 | -601 | -0.9 | -2 | 0 | 0
07:15 - 07:30 | -25.5 | -601 | -0.9 | -2 | 0 | 0
07:30 - 07:45 | -25.5 | -601 | -0.9 | -2 | 0 | 0
07:45 - 08:00 | -25.5 | -601 | -0.9 | -2 | 0 | 0
08:00 - 08:15 | -25.5 | -1525 | -0.9 | -2 | 0 | 0
08:15 - 08:30 | 0 | -1525 | -0.9 | -2 | 0 | 0
08:30 - 08:45 | 0 | -1525 | -0.9 | -2 | 0 | 0
08:45 - 09:00 | 0 | -1525 | -0.9 | -2 | 0 | 0
09:00 - 09:15 | 0 | -1725 | -0.9 | -2 | 0 | 0
09:15 - 09:30 | 0 | -1725 | -0.9 | -2 | 0 | 0
09:30 - 09:45 | 0 | -1725 | -0.9 | -2 | 0 | 0
09:45 - 10:00 | 0 | -1725 | -0.9 | -2 | 0 | 0
10:00 - 10:15 | 0 | -1850 | -0.9 | -1 | 0 | 0
10:15 - 10:30 | 0 | -1850 | -0.9 | -1 | 0 | 0
10:30 - 10:45 | 0 | -1850 | -0.9 | -1 | 0 | 0
10:45 - 11:00 | 0 | -1850 | -0.9 | -1 | 0 | 0
11:00 - 11:15 | 0 | -1925 | -0.9 | -1 | 0 | 0
11:15 - 11:30 | 0 | -1925 | -0.9 | -1 | 0 | 0
11:30 - 11:45 | 0 | -1925 | -0.9 | -1 | 0 | 0
11:45 - 12:00 | 0 | -1925 | -0.9 | -1 | 0 | 0
12:00 - 12:15 | 0 | -1950 | -0.9 | -1 | 0 | 0
12:15 - 12:30 | 0 | -1950 | -0.9 | -1 | 0 | 0
12:30 - 12:45 | 0 | -1950 | -0.9 | -1 | 0 | 0
12:45 - 13:00 | 0 | -1950 | -0.9 | -1 | 0 | 0
13:00 - 13:15 | 0 | -1900 | -0.9 | -1 | 0 | 0
13:15 - 13:30 | 0 | -1900 | -0.9 | -1 | 0 | 0
13:30 - 13:45 | 0 | -1900 | -0.9 | -1 | 0 | 0
13:45 - 14:00 | 0 | -1900 | -0.9 | -1 | 0 | 0
14:00 - 14:15 | 0 | -1550 | -0.9 | -1 | 0 | 0
14:15 - 14:30 | 0 | -1550 | -0.9 | -1 | 0 | 0
14:30 - 14:45 | 0 | -1550 | -0.9 | -1 | 0 | 0
14:45 - 15:00 | 0 | -1550 | -0.9 | -1 | 0 | 0
15:00 - 15:15 | 0 | -1300 | -0.9 | -2 | 0 | 0
15:15 - 15:30 | -25.5 | -1100 | -0.9 | -2 | 0 | 0
15:30 - 15:45 | -25.5 | -850 | -0.9 | -2 | 0 | 0
15:45 - 16:00 | -25.5 | -900 | -0.9 | -2 | 0 | 0
16:00 - 16:15 | -25.5 | -1000 | -0.9 | -2 | 0 | 0
16:15 - 16:30 | -25.5 | -1000 | -0.9 | -2 | 0 | 0
16:30 - 16:45 | -25.5 | -675 | -0.9 | -2 | 0 | 0
16:45 - 17:00 | -25.5 | -550 | -0.9 | -2 | 0 | 0
17:00 - 17:15 | -25.5 | -650 | -0.9 | -2 | -9.7 | 0
17:15 - 17:30 | -25.5 | -450 | -0.9 | -2 | -9.7 | 3.34
17:30 - 17:45 | -25.5 | -199.99 | -0.9 | -2 | -9.7 | 2.63
17:45 - 18:00 | -25.5 | 0 | -0.9 | -2 | -9.7 | 0
18:00 - 18:15 | 0 | 0 | -0.9 | -2 | -9.7 | 0.04
18:15 - 18:30 | 0 | 0 | -0.9 | -2 | -9.7 | 0.09
18:30 - 18:45 | 0 | 0 | -0.9 | -2 | -9.7 | 0
18:45 - 19:00 | 0 | 0 | -0.9 | -2 | -9.7 | 0
19:00 - 19:15 | 0 | 0 | -0.9 | -2 | -9.7 | 0.11
19:15 - 19:30 | 0 | 0 | -0.9 | -2 | -9.7 | 0.02
19:30 - 19:45 | 0 | 0 | -0.9 | -2 | -9.7 | 0.03
19:45 - 20:00 | 0 | 0 | -0.9 | -2 | -9.7 | 0.14
20:00 - 20:15 | 0 | 0 | -0.9 | -2 | -9.7 | 0.26
20:15 - 20:30 | 0 | 0 | -0.9 | -2 | -9.7 | 0.17
20:30 - 20:45 | 0 | 0 | -0.9 | -2 | -9.7 | 0.13
20:45 - 21:00 | 0 | 0 | -0.9 | -2 | -9.7 | 0.18
21:00 - 21:15 | 0 | 0 | -0.9 | -2 | 0 | 0.19
21:15 - 21:30 | 0 | 0 | -0.9 | -2 | 0 | 0.11
21:30 - 21:45 | 0 | 0 | -0.9 | -2 | 0 | 0.24
21:45 - 22:00 | 0 | 0 | -0.9 | -2 | 0 | 0.21
22:00 - 22:15 | 0 | -1 | -0.9 | -2 | 0 | 0.27
22:15 - 22:30 | 0 | -1 | -0.9 | -2 | 0 | 0.28
22:30 - 22:45 | 0 | -1 | -0.9 | -2 | 0 | 0.3
22:45 - 23:00 | 0 | -1 | -0.9 | -2 | 0 | 0.54
23:00 - 23:15 | 0 | -3 | -0.9 | -2 | 0 | 0.69
23:15 - 23:30 | 0 | -3 | -0.9 | -2 | 0 | 0.74
23:30 - 23:45 | 0 | -5 | -0.9 | -2 | 0 | 1.05
23:45 - 24:00 | 0 | -5 | -0.9 | -2 | 0 | 1.31
Average | -5.3125 | -706.4061 | -0.9 | -1.7917 | -1.6167

## GDAM
GDAM TRADING DETAILS FOR DT:19.10.2026
Time Period | IOCL_Paradeep_Refinery | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | 0 | 0 | 0 | 0 | 0
08:15 - 08:30 | 0 | 0 | 0 | 0 | 0 | 0
08:30 - 08:45 | 0 | 7.7 | 0 | 0 | 0 | 0
08:45 - 09:00 | 0 | 7.7 | 0 | 0 | 0 | 0
09:00 - 09:15 | 0 | 7.7 | 0 | 0 | 0 | 0
09:15 - 09:30 | 0 | 7.7 | 0 | 0 | 0 | 0
09:30 - 09:45 | 0 | 7.7 | 0 | 0 | 0 | 0
09:45 - 10:00 | 0 | 7.7 | 0 | 0 | 0 | 0
10:00 - 10:15 | 33.69 | 7.7 | 50.05 | 9.63 | 4.81 | 0
10:15 - 10:30 | 33.69 | 7.7 | 50.05 | 9.63 | 4.81 | 0
10:30 - 10:45 | 33.69 | 7.7 | 50.05 | 9.63 | 4.81 | 0
10:45 - 11:00 | 33.69 | 7.7 | 50.05 | 9.63 | 4.81 | 0
11:00 - 11:15 | 33.69 | 7.7 | 50.05 | 9.63 | 4.81 | 0
11:15 - 11:30 | 33.69 | 7.7 | 50.05 | 9.63 | 4.81 | 0
11:30 - 11:45 | 33.69 | 7.7 | 50.05 | 9.63 | 4.81 | 0
11:45 - 12:00 | 33.69 | 7.7 | 50.05 | 9.63 | 4.81 | 0
12:00 - 12:15 | 33.69 | 11.55 | 50.05 | 9.63 | 4.81 | 0
12:15 - 12:30 | 33.69 | 11.55 | 50.05 | 9.63 | 4.81 | 0
12:30 - 12:45 | 33.69 | 11.55 | 50.05 | 9.63 | 4.81 | 0
12:45 - 13:00 | 33.69 | 11.55 | 50.05 | 9.63 | 4.81 | 0
13:00 - 13:15 | 33.69 | 11.55 | 50.05 | 9.63 | 4.81 | 0
13:15 - 13:30 | 33.69 | 11.55 | 50.05 | 9.63 | 4.81 | 0
13:30 - 13:45 | 33.69 | 11.55 | 50.05 | 9.63 | 4.81 | 0
13:45 - 14:00 | 33.69 | 11.55 | 50.05 | 9.63 | 4.81 | 0
14:00 - 14:15 | 33.69 | 7.7 | 50.05 | 9.63 | 4.81 | 0
14:15 - 14:30 | 33.69 | 7.7 | 50.05 | 9.63 | 4.81 | 0
14:30 - 14:45 | 0 | 7.7 | 39.21 | 9.63 | 0 | 0
14:45 - 15:00 | 0 | 7.7 | 0 | 0 | 0 | 0
15:00 - 15:15 | 0 | 7.7 | 0 | 0 | 0 | 0
15:15 - 15:30 | 0 | 7.7 | 0 | 0 | 0 | 0
15:30 - 15:45 | 0 | 7.7 | 0 | 0 | 0 | 0
15:45 - 16:00 | 0 | 0 | 0 | 0 | 0 | 0
16:00 - 16:15 | 0 | 0 | 0 | 0 | 0 | 0
16:15 - 16:30 | 0 | 0 | 0 | 0 | 0 | 0
16:30 - 16:45 | 0 | 0 | 0 | 0 | 0 | 0
16:45 - 17:00 | 0 | 0 | 0 | 0 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | 0 | 0 | 0
17:15 - 17:30 | 0 | 0 | 0 | 0 | 0 | 1.5
17:30 - 17:45 | 0 | 0 | 0 | 0 | 0 | 1.65
17:45 - 18:00 | 0 | 0 | 0 | 0 | 0 | 0.53
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0.17
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0.04
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0.03
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0.02
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0.02
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0.08
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0.09
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0.1
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0.1
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0.1
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0.09
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0.1
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0.1
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0.1
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0.1
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0.11
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0.11
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0.11
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0.11
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0.11
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0.11
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0.11
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0.11
Average | 6.3169 | 2.6469 | 9.7928 | 1.9059

## RTM
RTM TRADING DETAILS FOR DT: 19.10.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | IOCL_Paradeep_Refinery | Indian_Farmers_Fertiliser_Cooperative_Limited | MGM_Green_Energy_Limited_5MW_Solar_Power_Plant_Lokapada | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | Narbheram_Power_and_Steel_Private_Limited | Nav_Bharat_ventures_Ltd | Neelachal_Ispat_Nigam_Limited | OCL_Iron_and_Steel_Limited_ENE | ORISSA_SPONGE_IRON_AND_STEEL_LIMITED | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Jharsuguda | SMC_Power_Generation_Limited_Unit_II_PTC | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Visa_Chrome_Limited
00:00 - 00:15 | -1 | 3.85 | -0.3 | -1.9 | -178.92 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | -2 | -10 | 0 | 0 | 0
00:15 - 00:30 | -1 | 0 | -0.3 | -1.9 | -179.64 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | -2 | -40 | 0 | 0 | 0
00:30 - 00:45 | -1 | 3.85 | -0.3 | -1.8 | -178.93 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | -2 | 0 | 0 | 0 | 0
00:45 - 01:00 | -1 | -13 | -0.3 | -1.8 | -171.82 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | -2 | 0 | 0 | 0 | 0
01:00 - 01:15 | -1 | -9 | -0.3 | -1.8 | -134.1 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | 0 | 0 | -1 | 0 | 0 | 0 | -7 | 0 | 0 | -2 | -40 | 0 | 0 | 0
01:15 - 01:30 | -1 | 0 | -0.3 | -1.8 | -134.09 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | 0 | 0 | -1 | 0 | 0 | 0 | -7 | 0 | 0 | -2 | 0 | 0 | 0 | 0
01:30 - 01:45 | -1 | 0 | -0.3 | -1.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | 0 | 0 | -1 | 0 | 0 | 0 | -5 | 0 | 0 | -2 | 0 | 0 | 0 | 0
01:45 - 02:00 | -1 | 3.85 | -0.3 | -1.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | 0 | 0 | -1 | 0 | 0 | 0 | -5 | 0 | 0 | -2 | 0 | 0 | 0 | 0
02:00 - 02:15 | -1 | 3.85 | 0 | -1.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | 0 | 0 | -1 | 0 | 0 | 0 | -5 | 0 | 0 | -2 | 0 | 0 | 0 | -1
02:15 - 02:30 | -1 | -13 | 0 | -1.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | 0 | 0 | -1 | 0 | 0 | 0 | -5 | 0 | 0 | -2 | -30 | 0 | 0 | -1
02:30 - 02:45 | -1.2 | 3.85 | 0 | -1.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | 0 | 0 | -1 | 0 | 0 | 0 | -5 | 0 | 0 | -2 | -40 | 0 | 0 | -1
02:45 - 03:00 | -1.2 | 3.85 | 0 | -1.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | 0 | 0 | -1 | 0 | 0 | 0 | -5 | 0 | 0 | -2 | -20 | 0 | 0 | -1
03:00 - 03:15 | -1.2 | 3.85 | 0 | -1.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | 0 | 0 | -1 | 0 | 0 | 0 | -3 | 0 | 0 | -2 | 0 | 0 | 0 | -1
03:15 - 03:30 | -1.2 | 3.85 | 0 | -1.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | 0 | 0 | -1 | 0 | 0 | 0 | -3 | 0 | 0 | -2 | 0 | 0 | 0 | -1
03:30 - 03:45 | -1.2 | 3.85 | 0 | -1.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | 0 | 0 | -1 | 0 | 0 | 0 | -3 | 0 | 0 | -2 | 0 | 0 | 0 | -1
03:45 - 04:00 | -1.2 | 3.85 | 0 | -1.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | 0 | 0 | -1 | 0 | 0 | 0 | -3 | 0 | 0 | -2 | 0 | 0 | 0 | -1
04:00 - 04:15 | -1.2 | -6 | 0 | 0 | 0 | 0 | 0 | 1.93 | 0 | 0 | 0 | -0.5 | 0 | 7.7 | -1 | 0 | 0 | 15.4 | -3 | 0 | 0 | -2 | -40 | 28.87 | 5.39 | 0
04:15 - 04:30 | -1.2 | 3.85 | 0 | 0 | 0 | 0 | 0 | 1.93 | 0 | 0 | 0 | -0.5 | 0 | 0 | -1 | 0 | 0 | 0 | -3 | 0 | 0 | -2 | -40 | 20.69 | 0 | 0
04:30 - 04:45 | -1.2 | 3.85 | 0 | -1.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | 0 | 0 | -1 | 0 | 0 | 0 | -3 | 0 | 0 | -2 | 0 | 0 | 0 | 0
04:45 - 05:00 | -1.2 | 3.85 | 0 | -1.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | 0 | 0 | -1 | 0 | 0 | 0 | -3 | 0 | 0 | -2 | 0 | 0 | 0 | 0
05:00 - 05:15 | -1.2 | 3.85 | 0 | -1.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | 0 | 0 | -1 | 0 | 0 | 0 | -3 | 0 | 0 | -2 | 0 | 0 | 0 | 0
05:15 - 05:30 | -1.2 | -9 | 0 | -1.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | 0 | 0 | -1 | 0 | 0 | 0 | -3 | 0 | 0 | -2 | 0 | 0 | 0 | 0
05:30 - 05:45 | -1.2 | -6 | 0 | -1.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | 0 | 0 | -1 | 0 | 0 | 0 | -3 | 0 | 0 | -2 | 0 | 0 | 0 | 0
05:45 - 06:00 | -1.2 | 3.85 | 0 | -1.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | 0 | 0 | -1 | 0 | 0 | 0 | -3 | 0 | 0 | -2 | -40 | 0 | 0 | 0
06:00 - 06:15 | -1.2 | 0 | 0 | -1.7 | -49.96 | 0 | 0 | 0 | 0 | -0.1 | 0 | -0.5 | 0 | 0 | -1 | 0 | 0 | 0 | -3 | 0 | 0 | -2 | 0 | 0 | 0 | 0
06:15 - 06:30 | -1.2 | 0 | 0 | -1.7 | -100 | 0 | 0 | 0 | -0.2 | -0.2 | 0 | -0.5 | 0 | 0 | -1 | 0 | 0 | 0 | -3 | 0 | 0 | -2 | 0 | 0 | 0 | 0
06:30 - 06:45 | -1.2 | 0 | 0 | -1.7 | -100 | 0 | 0 | 0 | -0.3 | -0.4 | 0 | -0.5 | 0 | 0 | -1 | 0 | -0.2 | 0 | -3 | 0 | 0 | -2 | 0 | 0 | 0 | 0
06:45 - 07:00 | -1.2 | -9 | 0 | -1.7 | -100 | 0 | 0 | 0 | -0.5 | -0.5 | 0 | -0.5 | 0 | 0 | -1 | 0 | -0.5 | 0 | -3 | 0 | 0 | -2 | 0 | 0 | 0 | 0
07:00 - 07:15 | -1.2 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -0.9 | -0.7 | 0 | -0.5 | 0 | 0 | -1 | 0 | -0.8 | 0 | -3 | 0 | 0 | -2 | -10 | 0 | 0 | 0
07:15 - 07:30 | -1.2 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -1.1 | -0.7 | 0 | -0.5 | 0 | 0 | -1 | 0 | -1.1 | 0 | -3 | 0 | 0 | -2 | -40 | 0 | 0 | 0
07:30 - 07:45 | -1.2 | 3.85 | 0 | -1.9 | 0 | 0 | 0 | 0 | -1.4 | -0.1 | 0 | -0.5 | 0 | 0 | -1 | 0 | -1.5 | 0 | -5 | 0 | 0 | -2 | -15 | 0 | 0 | 0
07:45 - 08:00 | -1.2 | 3.85 | 0 | 0 | -85.02 | 0 | 0 | 1.93 | -1.7 | -0.1 | 0 | -0.5 | 0 | 7.7 | -1 | 0 | -1.9 | 15.4 | -5 | 0 | 0 | -2 | 0 | 28.87 | 5.39 | 0
08:00 - 08:15 | -1.2 | 3.85 | 0 | 0 | 938.4 | 0 | 0 | 2.89 | -2 | -0.1 | 0 | -0.5 | 0 | 0 | -1 | 0 | -2.4 | 0 | -5 | 0 | 0 | -2 | -20 | 0 | 0 | 0
08:15 - 08:30 | -1.2 | 3.85 | 0 | 0 | 866.22 | 0 | 0 | 2.89 | -2.2 | -0.1 | 0 | -0.5 | 0 | 0 | -1 | 0 | -2.8 | 0 | -5 | 0 | 0 | -2 | -10 | 6.74 | 2.27 | 0
08:30 - 08:45 | -1.2 | -12 | 0 | 0 | 1111.17 | 0 | 0 | 3.85 | -2.3 | 0 | 0 | -0.5 | 0 | 0 | -1 | 0 | -3.1 | 0 | -5 | 6.74 | 0 | -2 | 0 | 0 | 0 | 0
08:45 - 09:00 | -1.2 | 3.85 | 0 | 0 | 1074.73 | 0 | 0 | 3.85 | -2.6 | 0 | 0 | -0.5 | 0 | 0 | -1 | 0 | -3.4 | 0 | -5 | 6.74 | 0 | -2 | -40 | 0 | 0 | 0
09:00 - 09:15 | -1.2 | 3.85 | 0 | 0 | 818.07 | 0 | 0 | 3.85 | -2.9 | -0.1 | 0 | -0.5 | 0 | 0 | -1 | 0 | -3.8 | 0 | -7 | 6.74 | 0 | -2 | -20 | 0 | 0 | 0
09:15 - 09:30 | -1.2 | 3.85 | 0 | 0 | 760.36 | 0 | 33.69 | 3.85 | -3 | -0.1 | 9.63 | -0.5 | 0 | 0 | -1 | 0 | -1.6 | 0 | -7 | 6.74 | 0.96 | -2 | 0 | 6.74 | 5.39 | 0
09:30 - 09:45 | -1.2 | 3.85 | 0 | 0 | 784.4 | 0 | 33.69 | 3.85 | 0 | 0 | 9.63 | -0.5 | 0 | 9.63 | -1 | 0 | 0 | 0 | -9 | 6.74 | 0.96 | -2 | -20 | 16.36 | 5.39 | 0
09:45 - 10:00 | -1.2 | 3.85 | 0 | 0 | 791.65 | 0 | 33.69 | 3.85 | 0 | 0 | 9.63 | -0.5 | 0 | 9.63 | -1 | 0 | 0 | 0 | -9 | 6.74 | 0.96 | -2 | 0 | 16.36 | 5.39 | 0
10:00 - 10:15 | -1.2 | -3 | 0 | 0 | 798.89 | 0 | 0 | 3.85 | 0 | 0 | 0 | -0.5 | 0 | 9.63 | -1 | 0 | 3.08 | 0 | -2 | 6.74 | 0.96 | -2 | 0 | 16.36 | 5.39 | 0
10:15 - 10:30 | -1.2 | 3.85 | 0 | 0 | 798.89 | 0 | 0 | 3.85 | 0 | 0 | 0 | -0.5 | 0 | 9.63 | -1 | 0 | 2.7 | 0 | -2 | 6.74 | 0.96 | -2 | -40 | 16.36 | 5.39 | 0
10:30 - 10:45 | -1.2 | 3.85 | 0 | 0 | 981.75 | 0 | 0 | 3.85 | 0 | 0 | 0 | -0.5 | 0 | 9.63 | -1 | 0 | 2.6 | 0 | -2 | 6.74 | 0.96 | -2 | -10 | 16.36 | 5.39 | 0
10:45 - 11:00 | -1.2 | 3.85 | 0 | 0 | 974.57 | 0 | 0 | 3.85 | 0 | 0 | 0 | -0.5 | 0 | 9.63 | -1 | 0 | 2.5 | 0 | -2 | 6.74 | 0.96 | -2 | 0 | 16.36 | 5.39 | 0
11:00 - 11:15 | -1.2 | 3.85 | 0 | 0 | 1070.8 | 0 | 0 | 3.85 | 0 | -0.3 | 0 | -0.5 | 0 | 9.63 | -1 | 0 | 2.41 | 0 | -2 | 3.85 | 0.96 | -2 | -25 | 16.36 | 5.39 | 0
11:15 - 11:30 | -1.2 | 3.85 | 0 | 0 | 1086.67 | 0 | 0 | 3.85 | 0 | -0.4 | 0 | -0.5 | 0 | 9.63 | -1 | 0 | 2.6 | 0 | -2 | 3.85 | 0.96 | -2 | -45 | 16.36 | 5.39 | 0
11:30 - 11:45 | -1.2 | 3.85 | 0 | 0 | 1221.24 | 0 | 0 | 1.93 | 0 | -0.2 | 0 | -0.5 | 0 | 9.63 | -1 | 0 | 2.5 | 0 | -1 | 3.85 | 0.96 | -2 | -20 | 16.36 | 5.39 | 0
11:45 - 12:00 | -1.2 | 7.7 | 0 | 0 | 1239.38 | 5.68 | 0 | 1.93 | 0 | -0.3 | 0 | -0.5 | 0 | 9.63 | -1 | 0 | 2.6 | 0 | -1 | 3.85 | 0.96 | 0 | 0 | 16.36 | 5.39 | 0
12:00 - 12:15 | -1.2 | 6.85 | 0 | 0 | 1251.24 | 5.97 | 0 | 1.93 | 0 | 0 | 0 | -0.5 | 0 | 9.63 | -1 | 0 | 2.5 | 0 | -1 | 3.85 | 0.96 | -2 | -25 | 16.36 | 5.39 | 0
12:15 - 12:30 | -1.2 | 3.85 | 0 | 0 | 1227.23 | 0 | 0 | 1.93 | 0 | 0 | 0 | -0.5 | 0 | 9.63 | -1 | 0 | 2.6 | 0 | -1 | 3.85 | 0.96 | -2 | -10 | 16.36 | 5.39 | 0
12:30 - 12:45 | -1.2 | 7.7 | 0 | 0 | 1203.12 | 5.97 | 0 | 0 | 0 | -0.8 | 0 | -0.5 | 0 | 9.63 | -1 | 0 | 3.27 | 0 | 0 | 3.85 | 0.96 | -2 | -30 | 19.25 | 5.39 | 0
12:45 - 13:00 | -1.2 | 7.7 | 0 | 0 | 1203.12 | 5.97 | 0 | 0 | 0 | -0.8 | 0 | -0.5 | 0 | 9.63 | -1 | 0 | 3.27 | 0 | 0 | 3.85 | 0.96 | -2 | -35 | 19.25 | 5.39 | 0
13:00 - 13:15 | -1.2 | 7.7 | 0 | 0 | 1073.2 | 5.78 | 0 | 0.96 | 0 | -0.7 | 0 | -0.5 | 0 | 9.63 | -1 | 0 | 3.47 | 0 | 0 | 3.85 | 0.96 | 0 | -10 | 19.25 | 5.39 | 0
13:15 - 13:30 | -1.2 | 7.7 | 0 | 0 | 1073.2 | 5.97 | 0 | 0.96 | 0 | -0.7 | 0 | -0.5 | 0 | 9.63 | -1 | 0 | 3.56 | 0 | 0 | 3.85 | 0.96 | 0 | 0 | 19.25 | 5.39 | 0
13:30 - 13:45 | -1.2 | 3.85 | 0 | 0 | 1255.14 | 0 | 0 | 0.96 | 0 | -0.6 | 0 | 0 | 0 | 9.63 | -1 | 0 | 3.95 | 0 | 0 | 3.85 | 1.93 | -2 | 0 | 19.25 | 5.39 | 0
13:45 - 14:00 | -1.2 | 3.85 | 0 | 0 | 1237.16 | 0 | 0 | 0.96 | 0 | -0.6 | 0 | 0 | 0 | 9.63 | -1 | 0 | 4.24 | 0 | 0 | 3.85 | 1.93 | -2 | -20 | 19.25 | 5.39 | 0
14:00 - 14:15 | -2.2 | 3.85 | 0 | 0 | 800.59 | 0 | 0 | 0.96 | 0 | -0.7 | 0 | 0 | 0 | 9.63 | -1 | 0 | 4.91 | 0 | 0 | 3.85 | 1.93 | -2 | -10 | 19.25 | 5.39 | 0
14:15 - 14:30 | -2.2 | 3.85 | 0 | 0 | 794.54 | 0 | 0 | 0.96 | 0 | -0.6 | 0 | 0 | 0 | 9.63 | -1 | 0 | 0 | 0 | 0 | 3.85 | 1.93 | -2 | -10 | 19.25 | 5.39 | 0
14:30 - 14:45 | -2.2 | -5 | 0 | 0 | 721.84 | 0 | 33.69 | 0.96 | 0 | -0.5 | 0 | 0 | 0 | 9.63 | -1 | 0 | 0 | 0 | 0 | 3.85 | 1.93 | -2 | -30 | 19.25 | 5.39 | 0
14:45 - 15:00 | -2.2 | 3.85 | 0 | 0 | 616.74 | 0 | 33.69 | 0.96 | 0 | -0.4 | 9.63 | 0 | 0 | 9.63 | -1 | 0 | 0 | 0 | 0 | 3.85 | 1.93 | -2 | -25 | 19.25 | 5.39 | 0
15:00 - 15:15 | -1.2 | 3.85 | 0 | 0 | 171.26 | 0 | 0.05 | 1.93 | 0 | -0.4 | 0 | 0 | 0 | 9.63 | -1 | 0 | 0 | 0 | 0 | 3.85 | 1.93 | -2 | 0 | 0 | 5.39 | 0
15:15 - 15:30 | -1.2 | 3.85 | 0 | 0 | 37.97 | 0 | 33.69 | 1.93 | 0 | -0.4 | 9.63 | 0 | 0 | 9.63 | -1 | 0 | 0 | 0 | 0 | 3.85 | 1.93 | -2 | -10 | 0 | 5.39 | 0
15:30 - 15:45 | -1.2 | 3.85 | 0 | 0 | -124.41 | 0 | 33.67 | 1.93 | 0 | -0.3 | 9.63 | 0 | 0 | 9.63 | -1 | 0 | 0 | 0 | 0 | 3.85 | 1.93 | -2 | -40 | 19.25 | 5.39 | 0
15:45 - 16:00 | -1.2 | 3.85 | 0 | 0 | -145.05 | 0 | 33.67 | 1.93 | 0 | -0.2 | 0.2 | 0 | 0 | 9.63 | -1 | 0 | -1.2 | 0 | 0 | 3.85 | 1.93 | -2 | 0 | 19.25 | 5.39 | 0
16:00 - 16:15 | -2.2 | 3.85 | 0 | 0 | -111.01 | 0 | 33.67 | 1.93 | 0 | -0.1 | 9.63 | 0 | 0 | 17.33 | -1 | 0 | -0.9 | 14.44 | 0 | 0 | 1.93 | -2 | -40 | 0 | 5.39 | 0
16:15 - 16:30 | -2.2 | 3.85 | 0 | 0 | -83.89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -0.6 | 0 | 0 | 0 | 0 | -2 | -40 | 0 | 0 | 0
16:30 - 16:45 | -2.2 | 0 | 0 | 0 | -337.79 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -0.3 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0
16:45 - 17:00 | -2.2 | 0 | 0 | 0 | -371.58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0
17:00 - 17:15 | -2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -1
17:15 - 17:30 | -2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -1
17:30 - 17:45 | -2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -4 | 0 | 0 | 0 | 0 | 0 | -2 | -40 | 0 | 0 | -1
17:45 - 18:00 | -2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -4 | 0 | 0 | 0 | 0 | 0 | -2 | -45 | 0 | 0 | -1
18:00 - 18:15 | -2.2 | 0 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -50 | 0 | 0 | -1
18:15 - 18:30 | -2.2 | 0 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -50 | 0 | 0 | -1
18:30 - 18:45 | -2.2 | 0 | 0 | 0 | -150 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -1
18:45 - 19:00 | -2.2 | 0 | 0 | 0 | -150 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -1
19:00 - 19:15 | -2.2 | 0 | 0 | 0 | -350 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0
19:15 - 19:30 | -2.2 | 0 | 0 | 0 | -350 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -50 | 0 | 0 | 0
19:30 - 19:45 | -2.2 | 0 | 0 | 0 | -475 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -40 | 0 | 0 | 0
19:45 - 20:00 | -2.2 | 0 | 0 | 0 | -445.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -40 | 0 | 0 | 0
20:00 - 20:15 | -2.2 | 5.78 | 0 | 0 | -424.95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0
20:15 - 20:30 | -2.2 | 5.78 | 0 | 0 | -405.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.7 | -1 | 0 | 0 | 7.7 | 0 | 0 | 0 | -2 | 0 | 14.43 | 0 | 0
20:30 - 20:45 | -2.2 | -12 | 0 | 0 | -652.11 | 0 | 0 | 4.81 | 0 | 0 | 0 | 0 | 0 | 7.7 | -1 | 0 | 0 | 7.7 | 0 | 0 | 0 | -2 | 0 | 14.44 | 5.39 | 0
20:45 - 21:00 | -2.2 | 5.78 | 0 | 0 | -652.11 | 0 | 0 | 4.81 | 0 | 0 | 0 | 0 | 0 | 7.7 | -1 | 0 | 0 | 7.7 | 0 | 0 | 0 | -2 | 0 | 14.44 | 5.39 | 0
21:00 - 21:15 | -2.2 | 5.78 | 0 | 0 | -783.59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.7 | -1 | 0 | 0 | 7.7 | 0 | 0 | 0 | -2 | 0 | 14.43 | 0 | 0
21:15 - 21:30 | -2.2 | 5.78 | 0 | 0 | -738.89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -40 | 0 | 0 | 0
21:30 - 21:45 | -2.2 | 5.78 | 0 | 0 | -739.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0
21:45 - 22:00 | -2.2 | 5.78 | 0 | 0 | -792.63 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0
22:00 - 22:15 | -2.2 | 5.78 | 0 | 0 | -791.67 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0
22:15 - 22:30 | -2.2 | 5.78 | 0 | 0 | -745.14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -20 | 0 | 0 | 0
22:30 - 22:45 | -2 | 5.78 | 0 | 0 | -712.97 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.7 | -1 | 0 | 0 | 7.7 | 0 | 0 | 0 | -2 | 0 | 14.43 | 0 | 0
22:45 - 23:00 | -2 | 5.78 | 0 | 0 | -759.73 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.7 | -1 | 0 | 0 | 7.7 | 0 | 0 | 0 | -2 | 0 | 14.43 | 0 | 0
23:00 - 23:15 | -2 | 5.78 | 0 | 0 | -752.89 | 0 | 0 | 1.93 | 0 | 0 | 0 | 0 | -4 | 7.7 | -1 | 0 | 0 | 7.7 | 0 | 0 | 0 | -2 | -40 | 14.43 | 5.39 | 0
23:15 - 23:30 | -2 | 5.78 | 0 | 0 | -782.52 | 0 | 0 | 1.93 | 0 | 0 | 0 | 0 | -4 | 7.7 | -1 | 0 | 0 | 7.7 | 0 | 0 | 0 | -2 | -20 | 14.43 | 5.39 | 0
23:30 - 23:45 | -2 | -12 | 0 | 0 | -836.26 | 0 | 0 | 1.93 | 0 | 0 | 0 | 0 | -4 | 7.7 | -1 | 0 | 0 | 7.7 | 0 | 0 | 0 | -2 | 0 | 14.43 | 5.39 | 0
23:45 - 24:00 | -2 | 4.81 | 0 | 0 | -880.02 | 0 | 0 | 1.93 | 0 | 0 | 0 | 0 | -4 | 7.7 | -1 | 0 | 0 | 7.7 | 0 | 0 | 0 | -2 | 0 | 14.44 | 5.39 | 0
Average | -1.5417 | 1.8542 | -0.025 | -0.55729 | 123.188 | 0.36812 | 3.1583 | 1.0433 | -0.21979 | -0.12708 | 0.70427 | -0.28125 | -0.16667 | 3.7511 | -0.95833 | -0.083333 | 0.27771 | 1.2733 | -2.125 | 1.5042 | 0.39115 | -1.9375 | -14.4271 | 6.9121 | 2.0449 | -0.16667