## POWER STATUS
POWER STATUS ON DT 22.10.2026
[9 empty] | 2026-10-22 | 2026-10-21
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 5:00 | 19:00
Demand -> | [8 empty] | 6122.5804 | 6874.8474
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla [Gate-L-0 , R-0] | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 65.083 | 1.562 | 630/590 ft | 629.95 | 628.39 | 628.41 | 15.2567 | 163.5184
| Chiplima | 72(3x24) | 42.792 | 1.027 | - |  |  |  | 45.5557 | 36.0677
| Balimela | 510(6x60+2x75) | 170.625 | 4.095 | 1516/1440 ft | 1506.1 | 1505 | 1505 | 57.9566 | 314.7291
| Rengali | 250(5x50) | 215.4833 | 5.1716 | 123.5/109.75 mt | 123.12 | 122.47 | 122.37 | 241.173 | 239.1139
| Upper Kolab | 320(4x80) | 117.04 | 2.809 | 858/844 mt | 856.8 | 855.86 | 855.83 | 65.9285 | 100.1348
| Upper Indravati [Gate-0] | 600(4x150) | 521.4792 | 12.5155 | 642/625 mt | 640.99 | 640.31 | 640.22 | 599.3129 | 598.0003
| Machkund | 60(50% of(3x17+3x23)) | 28.37 | 0.68088 | 2750/2685 ft | 2748.6 | 2746.65 | 2746.65 | 25.8327 | 33.8581
| Total Hydro | 2099.5 | 1160.8725 | 27.8609 |  |  |  |  | 1051.016 | 1485.4222
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1708.9961 | 41.0159 | RENEWABLE ENERGY (RE) |  |  |  | 1512.9442 | 1725.1155
[5 empty] | M.Hydl | 91.05
| Total Thermal | 2200 | 1708.9961 | 41.0159 | Solar | 160.23 |  |  | 1512.9442 | 1725.1155
IPP | VEDANTA #2 | 600 (1x600) | 419.9185 | 10.078 | Total IPPs | Yesterday's Demand Profile |  |  | 394.5506 | 498.1055
| GMR #3 | 350 (1x350) | 328.176 | 7.8762 | 851.0228 |  | MW | HRS | 330.2964 | 328.0056
| NBVL(IPP) | 60(1x60) | 53.7342 | 1.2896 |  |  |  |  | 54.2107 | 55.2931
| MDTPC |  | 49.1941 | 1.1807 |  |  |  |  | 56.3254 | 56.399
| CGPs |  | 789.8294 | 18.9559 | IPPs, CGPs & RE | Maximum | 6875 | 19:00 | 1695.4725 | 1844.3774
| Central Sector(Drawl) |  | 1385.0064 | 33.2402 | 1892.1323 | Minimum | 5405 | 06:00 | 1863.1476 | 1819.9323
| Central Sector(Sch) |  | 1428.169 | 34.2761 |  | Average | 6147.0072 |  | 1508.5492 | 2055.6499
| Grand Total |  | 6147.0072 | 147.5282 | Instantaneous Peak demand |  | 7105 | 18:28 | 6122.5804 | 6874.8474
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(4) |  | ACTUAL |  | SCHEDULE(1)
Burla | NIL | IbTPS / OPGC | 2 |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1522 | 36.528 | 1467 | 35.208 | 1467 | 35.208
Balimela | NIL | TSTPP St-I | NIL | TPWODL | 2589 | 62.136 | 2509 | 60.216 | 1636 | 39.264
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1423 | 34.152 | 1367 | 32.808 | 1297 | 31.128
U.Kolab | 2 | KAHALGAON | 4,6 | TPSODL | 565 | 13.56 | 564 | 13.536 | 565 | 13.56
Indravati | NIL | TEESTA-V | 3 | DISCOM TOTAL | 6099 | 146.376 | 5907 | 141.768 | 4965 | 119.16
Machhkund | 4,5,6 | Darlipali | NIL
|  | N. KARANPURA-I | 1
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 397.5382 | GMR |  |  |  | 330.5639
| NBVL #3 | 54.497 | MDTPC |  |  |  | 45.9157
Mini Hydel: | MEENAKSHI | 15.8368 | OPCL |  |  |  | 0
| BTPL | 15.9078 | SAPTADHARA |  |  |  | 5.9947
| SNHEP | 31.7283 | KAKATIYA |  |  |  | 7.6317
Solar: |  | 389.4906
CGPs : | JSPL (Angul) | 216.2073 | JSL(Duburi) |  |  |  | -65.2257
| ICCL | 49.2262 | visa |  |  |  | 16.9545
| NALCO | -127.4424 | VAL (CGP) |  |  |  | 101.4235
| RSP | -74.621 | BSL(MMDL) |  |  |  | 90.9687
| INDAL | -8.2141 | ADITYA ALUMINIUM |  |  |  | 38.2991
| NINL | -34.0106 | VAL CPP 400 kV |  |  |  | -1243.4109
| NBVL | 54.497 | Arati |  |  |  | 8.1879e-16
| BPSL(JSG) | -48.7746 | BPPL |  |  |  | 114.4846
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-10-14 | 2026-10-15 | 2026-10-16 | 2026-10-17 | 2026-10-18 | 2026-10-19 | 2026-10-20 | 2026-10-21
1570.28 | 1564.579 | 1441.5768 | 1388.72 | 1245.72 | 1111.0749 | 1074.5066 | 1160.8725
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.21.10.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | ARYAN_ISPAT | DNHDDPDCL | -5 | AAPL_BKN2 | UTCL | 0.21
ENVIROCARE_INFRA | BALCO_LOAD | -6.5 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -2.4 | AGE26AL_PSS6_KPS1_S | ODISHA | 115.53
ENVIROCARE_INFRA | BALCO_LOAD | -6.5 | DCBL_Rajgangpur | DALCEMAP | -8.75 | AP41PL_BHDL | ODISHA | 54.88
FACORPOWER | APCPDCL | -20 | DCBL_Rajgangpur | DCBLME | -6.5 | AP43PL_BKN | ODISHA | 85.22
FACORPOWER | PUNJAB | -3.33 | DCBL_Rajgangpur | DCL_RCW | -1 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 0.74
GMRKEL_STU | RUVITSL | -38.69 | ENVIROCARE_INFRA | DNHDDPDCL | -5 | AWEK1L | ODISHA | 3.51
GMRKEL_STU | TNEB | -18 | FACORPOWER | BYPL | -14 | AWEK1L | ODISHA | 2.34
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | GMRKEL_STU | RUVITSL | -23.21 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 4.97
JSPLANGUL | GEB_Beneficiary | -71.67 | JPIPL | TANGEDCO | 0 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 11.15
JSPLANGUL | GEB_Beneficiary | -57.33 | JSPLANGUL | TANGEDCO | -57.33 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 18.63
MAADURGA_THERMAL | NPCL_UP | -17.33 | JSPLANGUL | TANGEDCO | -28.67 | DADRI_SOLAR | ODISHA | 0.68
NBVLIPP | BALCO_LOAD | -46 | KCMW_od | DALCEMAP | -0.42 | ENERSON_SOLAR_10MW | ODISHA | 0.99
NBVLIPP | TANGEDCO | 0 | OCL_IRON_STEEL | WBSEDCL | -9 | GADAG_GreenInfra_W | ODISHA | 0
OCL_IRON_STEEL | TPL_DIS_AHM_ISTS | -52 | ODISHA | DNHDDPDCL | -50 | GADAG_GreenInfra_W | ODISHA | 0.25
ODISHA | NPCL_UP | -45.83 | ODISHA | TPL_DIS_AHM | -50 | GADAG_GreenInfra_W | ODISHA | 0
ORSISL | BALCO_LOAD | -3.5 | ODISHA | TPL_DIS_AHM | -33.54 | GADAG_Serentica3_S | VLSEZ | 38.05
VSL | BALCO_LOAD | -5 | ODISHA | TPL_DIS_SUR | -1.88 | GADAG_Serentica3_W | VLSEZ | 13.5
FARIDABAD_SOLAR | ODISHA | 0.86 | ODISHA | TPL_DIS_SUR | -50 | GADAG_Serentica3_W | VLSEZ | 16.7
JSWEL_UTKAL | ODISHA | 67.61 | ODISHA | WBSEDCL | -50 | GIWEL_SECI_II_RE | ODISHA | 15.69
RAJ_SOLAR | ODISHA | 2.13 | ODISHA | WBSEDCL | -50 | GPCL_SOLAR_10 | ODISHA | 1.72
RAJ_SOLAR | ODISHA | 2.3 | ORSISL | TPLD | -3 | GSECL_SOLAR | ODISHA | 1.88
|  |  | RSPL_JHARSUGUDA | TPL_DIS_SUR | -20 | HIRIYUR_ZREPL_W | LINDA_INDIA_K | 41.94
|  |  | SGML | TPL_DIS_SUR | -7 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.94
|  |  | SMEL | TPL_DIS_SUR | -25 | KARUR_TPVARDHAMAN_W | TSKPO | 4.18
|  |  | SMEL | TPL_DIS_SUR | -5 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.63
|  |  | Shri_JSPL | TPL_DIS_SUR | -2.5 | Kurnool_Greenko_H_Inj | ADITYAAL | 6.29
|  |  | TSBSLA | TPL_DIS_SUR | -10 | Kurnool_Greenko_H_Inj | ADITYAAL | 2.5
|  |  | VIRAJ_SEPL | TANGEDCO | -1.25 | NTPCRE1_SMND_BHJ2_W | ODISHA | 2.05
|  |  | VSL | DNHDDPDCL | -10 | O2RE3PL_Wasi_klm_W | VLSEZ | 15.54
|  |  | Assam_Ben | VLSEZ | 83.22 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 0
|  |  | Darlipali_NTPC | ODISHA | 15.5 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0.08
|  |  | HARYANA | VLSEZ | 34.09 | OKWPL_RE | ODISHA | 11.76
|  |  | HARYANA | VLSEZ | 150.39 | RGMHP1_Patoda_klm_W | VLSEZ | 3.21
|  |  | JIPL | ODISHA | 115.5 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 32.07
|  |  | JPL | VLSEZ | 24.62 | RWE_AP2_SECI_III | ODISHA | 7.78
|  |  | MYTRAHVAYU | VLSEZ | 3.77 | RenewGreen_SLPR_HS | JSL_DUBURI | 11.48
|  |  | NALCOAP | NACL_Odisha | 5.85 | SRI9PL_FTG3 | VLSEZ | 119.08
|  |  | NSLSUGAR | VLSEZ | 1.92 | TPVSL_BKN3 | TSKPO | 0.98
|  |  | NSLSUGARALAND | VLSEZ | 14.44 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.1
|  |  | NU_VISTA_LTD_CG | VLSEZ | 3.41 | TSESOPL_BKN2 | OPL_CUTTAK | 0.11
|  |  | REAL_ISPAT_Ltd_CG | VLSEZ | 1.36 | Tuticorin_BETAMWIND | ODISHA | 6.72
|  |  | RISENIPL_CSEB | VLSEZ | 2.86 | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 8.27
|  |  | UPPCL | VLSEZ | 76.2 | XXPPL_FTG3 | ODISHA | 88.86
|  |  | VIPL_CSEB | VLSEZ | 5.18

## DAM
DAM TRADING DETAILS FOR DT : 21.10.2026
Time Period | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | IOCL_Paradeep_Refinery | MGM_Minerals_Ltd | Nav_Bharat_ventures_Ltd | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal | Tata_Steel_Power_Plant_Athagarh
00:00 - 00:15 | 0 | -600 | 0 | -0.9 | -2 | 0 | 0
00:15 - 00:30 | 0 | -600 | 0 | -0.9 | -2 | 0 | 0
00:30 - 00:45 | 0 | -600 | 0 | -0.9 | -2 | 0 | 0
00:45 - 01:00 | 0 | -600 | 0 | -0.9 | -2 | 0 | 0
01:00 - 01:15 | 0 | -600 | 0 | -0.9 | -2 | 0 | 0
01:15 - 01:30 | 0 | -600 | 0 | -0.9 | -2 | 0 | 0
01:30 - 01:45 | 0 | -600 | 0 | -0.9 | -2 | 0 | 0
01:45 - 02:00 | 0 | -600 | 0 | -0.9 | -2 | 0 | 0
02:00 - 02:15 | 0 | -875 | 0 | -0.9 | -2 | 0 | 0
02:15 - 02:30 | 0 | -875 | 0 | -0.9 | -2 | 0 | 0
02:30 - 02:45 | 0 | -875 | 0 | -0.9 | -2 | 0 | 0
02:45 - 03:00 | 0 | -875 | 0 | -0.9 | -2 | 0 | 0
03:00 - 03:15 | 0 | -875 | 0 | -0.9 | -2 | 0 | 0
03:15 - 03:30 | 0 | -875 | 0 | -0.9 | -2 | 0 | 0
03:30 - 03:45 | 0 | -875 | 0 | -0.9 | -2 | 0 | 0
03:45 - 04:00 | 0 | -875 | 0 | -0.9 | -2 | 0 | 0
04:00 - 04:15 | 0 | -875 | 0 | -0.9 | -2 | 0 | 0
04:15 - 04:30 | 0 | -875 | 0 | -0.9 | -2 | 0 | 0
04:30 - 04:45 | 0 | -875 | 0 | -0.9 | -2 | 0 | 0
04:45 - 05:00 | 0 | -875 | 0 | -0.9 | -2 | 0 | 0
05:00 - 05:15 | 0 | -950 | 0 | -0.9 | -2 | 0 | 0
05:15 - 05:30 | 0 | -950 | 0 | -0.9 | -2 | 0 | 0
05:30 - 05:45 | 0 | -950 | 0 | -0.9 | -2 | 0 | 0
05:45 - 06:00 | 0 | -950 | 0 | -0.9 | -2 | 0 | 0
06:00 - 06:15 | -25.5 | -1050 | 0 | -0.9 | -2 | 0 | 0
06:15 - 06:30 | -25.5 | -1050 | 0 | -0.9 | -2 | 0 | 0
06:30 - 06:45 | -25.5 | -1050 | 0 | -0.9 | -2 | 0 | 0
06:45 - 07:00 | -25.5 | -1050 | 0 | -0.9 | -2 | 0 | 0
07:00 - 07:15 | -25.5 | -1375 | 0 | -0.9 | -2 | 0 | 0
07:15 - 07:30 | -25.5 | -1375 | 0 | -0.9 | -2 | 0 | 0
07:30 - 07:45 | -25.5 | -1375 | 0 | -0.9 | -2 | 0 | 0
07:45 - 08:00 | 0 | -1375 | 0 | -0.9 | -2 | 0 | 0
08:00 - 08:15 | 0 | -2225 | 0 | -0.9 | -1 | 0 | 0
08:15 - 08:30 | 0 | -2225 | 0 | -0.9 | -1 | 0 | 0
08:30 - 08:45 | 0 | -2225 | 0 | -0.9 | -1 | 0 | 0
08:45 - 09:00 | 0 | -2225 | 0 | -0.9 | -1 | 0 | 0
09:00 - 09:15 | 0 | -2125 | 0 | -0.9 | -1 | 0 | 0
09:15 - 09:30 | 0 | -2125 | 0 | -0.9 | -1 | 0 | 0
09:30 - 09:45 | 0 | -2089.52 | 0 | -0.9 | -1 | 4.81 | 0
09:45 - 10:00 | 0 | -1674.64 | 0 | -0.9 | -1 | 4.81 | 0
10:00 - 10:15 | 0 | -1175 | 0 | -0.9 | -1 | 4.81 | 0
10:15 - 10:30 | 0 | -1175 | 0 | -0.9 | -1 | 4.81 | 0
10:30 - 10:45 | 0 | -1175 | 0 | -0.9 | -1 | 4.81 | 0
10:45 - 11:00 | 0 | -1175 | 0 | -0.9 | -1 | 4.81 | 0
11:00 - 11:15 | 0 | -1175 | 0 | -0.9 | -1 | 4.81 | 0
11:15 - 11:30 | 0 | -1175 | 0 | -0.9 | -1 | 4.81 | 0
11:30 - 11:45 | 0 | -1175 | 0 | -0.9 | -1 | 4.81 | 0
11:45 - 12:00 | 0 | -1175 | 0 | -0.9 | -1 | 4.81 | 0
12:00 - 12:15 | 0 | -1175 | 0 | -0.9 | -1 | 4.81 | 0
12:15 - 12:30 | 0 | -1175 | 0 | -0.9 | -1 | 4.81 | 0
12:30 - 12:45 | 0 | -1175 | 0 | -0.9 | -1 | 4.81 | 0
12:45 - 13:00 | 0 | -1175 | 0 | -0.9 | -1 | 4.81 | 0
13:00 - 13:15 | 0 | -1275 | 0 | -0.9 | -1 | 4.81 | 0
13:15 - 13:30 | 0 | -1275 | 0 | -0.9 | -1 | 4.81 | 0
13:30 - 13:45 | 0 | -1275 | 0 | -0.9 | -1 | 4.81 | 0
13:45 - 14:00 | 0 | -1275 | 0 | -0.9 | -1 | 4.81 | 0
14:00 - 14:15 | 0 | -1375 | 0 | -0.9 | -1 | 4.81 | 0
14:15 - 14:30 | 0 | -1425.71 | 0 | -0.9 | -1 | 4.81 | 0
14:30 - 14:45 | 0 | -1758.74 | 0 | -0.9 | -1 | 4.81 | 0
14:45 - 15:00 | 0 | -1800 | 0 | -0.9 | -1 | 4.81 | 0
15:00 - 15:15 | 0 | -1725 | 33.69 | -0.9 | -2 | 0 | 0
15:15 - 15:30 | 0 | -1725 | 0 | -0.9 | -2 | 0 | 0
15:30 - 15:45 | 0 | -1725 | 0 | -0.9 | -2 | 0 | 0
15:45 - 16:00 | 0 | -1725 | 0 | -0.9 | -2 | 0 | 0
16:00 - 16:15 | 0 | -1550 | 0 | -0.9 | -2 | 0 | 0
16:15 - 16:30 | -25.5 | -1500 | 0 | -0.9 | -2 | 0 | -9.7
16:30 - 16:45 | -25.5 | -1450 | 0 | -0.9 | -2 | 0 | -9.7
16:45 - 17:00 | -25.5 | -1275 | 0 | -0.9 | -2 | 0 | -9.7
17:00 - 17:15 | -25.5 | -850 | 0 | -0.9 | -2 | 0 | -9.7
17:15 - 17:30 | -25.5 | -675 | 0 | -0.9 | -2 | 0 | -9.7
17:30 - 17:45 | -25.5 | -525 | 0 | -0.9 | -2 | 0 | -9.7
17:45 - 18:00 | -25.5 | -350 | 0 | -0.9 | -2 | 0 | -9.7
18:00 - 18:15 | 0 | -100 | 0 | -0.9 | -2 | 0 | -9.7
18:15 - 18:30 | 0 | -100 | 0 | -0.9 | -2 | 0 | -9.7
18:30 - 18:45 | 0 | -100 | 0 | -0.9 | -2 | 0 | -9.7
18:45 - 19:00 | 0 | -100 | 0 | -0.9 | -2 | 0 | -9.7
19:00 - 19:15 | 0 | -100 | 0 | -0.9 | -2 | 0 | -9.7
19:15 - 19:30 | 0 | -100 | 0 | -0.9 | -2 | 0 | -9.7
19:30 - 19:45 | 0 | -100 | 0 | -0.9 | -2 | 0 | -9.7
19:45 - 20:00 | 0 | -100 | 0 | -0.9 | -2 | 0 | -9.7
20:00 - 20:15 | 0 | -100 | 0 | -0.9 | -2 | 0 | -9.7
20:15 - 20:30 | 0 | -100 | 0 | -0.9 | -2 | 0 | -9.7
20:30 - 20:45 | 0 | -100 | 0 | -0.9 | -2 | 0 | -9.7
20:45 - 21:00 | 0 | -100 | 0 | -0.9 | -2 | 0 | -9.7
21:00 - 21:15 | 0 | -100 | 0 | -0.9 | -2 | 0 | -9.7
21:15 - 21:30 | 0 | -100 | 0 | -0.9 | -2 | 0 | -9.7
21:30 - 21:45 | 0 | -100 | 0 | -0.9 | -2 | 0 | -9.7
21:45 - 22:00 | 0 | -100 | 0 | -0.9 | -2 | 0 | -9.7
22:00 - 22:15 | 0 | -100 | 0 | -0.9 | -2 | 0 | -9.7
22:15 - 22:30 | 0 | -100 | 0 | -0.9 | -2 | 0 | -9.7
22:30 - 22:45 | 0 | -200 | 0 | -0.9 | -2 | 0 | -9.7
22:45 - 23:00 | 0 | -200 | 0 | -0.9 | -2 | 0 | -9.7
23:00 - 23:15 | 0 | -350 | 0 | -0.9 | -2 | 0 | -9.7
23:15 - 23:30 | 0 | -350 | 0 | -0.9 | -2 | 0 | -9.7
23:30 - 23:45 | 0 | -450 | 0 | -0.9 | -2 | 0 | -9.7
23:45 - 24:00 | 0 | -450 | 0 | -0.9 | -2 | 0 | -9.7
Average | -3.7188 | -939.048 | 0.35094 | -0.9 | -1.7083 | 1.1023 | -3.1323

## GDAM
GDAM TRADING DETAILS FOR DT:21.10.2026
Time Period | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | IOCL_Paradeep_Refinery | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | 0 | 0 | 2.87 | 0 | 0 | 0
08:15 - 08:30 | 0 | 0 | 0 | 3.85 | 0 | 0 | 0
08:30 - 08:45 | 0 | 0 | 0 | 3.85 | 0 | 0 | 0
08:45 - 09:00 | 0 | 0 | 33.69 | 3.85 | 48.12 | 9.63 | 0
09:00 - 09:15 | 0 | 0 | 33.69 | 3.85 | 48.12 | 9.63 | 0
09:15 - 09:30 | 0 | 0 | 33.69 | 3.85 | 48.12 | 9.63 | 36.96
09:30 - 09:45 | 0 | 0 | 33.69 | 3.85 | 48.13 | 9.63 | 203.08
09:45 - 10:00 | 23.64 | 0 | 33.69 | 3.85 | 48.13 | 9.63 | 169.39
10:00 - 10:15 | 48.32 | 0 | 33.69 | 15.4 | 48.13 | 9.63 | 247.35
10:15 - 10:30 | 48.21 | 0 | 33.69 | 15.4 | 48.13 | 9.63 | 247.35
10:30 - 10:45 | 1.35 | 0 | 33.69 | 15.4 | 48.13 | 9.63 | 247.35
10:45 - 11:00 | 31.09 | 0 | 33.69 | 15.4 | 48.13 | 9.63 | 247.35
11:00 - 11:15 | 10.88 | 0 | 33.69 | 15.4 | 48.13 | 9.63 | 247.35
11:15 - 11:30 | 14.73 | 0 | 33.69 | 15.4 | 48.13 | 9.63 | 247.35
11:30 - 11:45 | 37.15 | 0 | 33.69 | 15.4 | 48.13 | 9.63 | 247.35
11:45 - 12:00 | 15.59 | 0 | 33.69 | 15.4 | 48.13 | 9.63 | 247.35
12:00 - 12:15 | 39.56 | 0 | 33.69 | 15.4 | 48.13 | 9.63 | 248.31
12:15 - 12:30 | 51.98 | 0 | 33.69 | 15.4 | 48.13 | 9.63 | 247.35
12:30 - 12:45 | 97.21 | 0 | 33.69 | 15.4 | 48.13 | 9.63 | 247.35
12:45 - 13:00 | 82.39 | 0 | 33.69 | 15.4 | 48.13 | 9.63 | 247.35
13:00 - 13:15 | 20.69 | 0 | 33.69 | 15.4 | 48.13 | 9.63 | 247.35
13:15 - 13:30 | 34.17 | 0 | 33.69 | 15.4 | 48.13 | 9.63 | 247.35
13:30 - 13:45 | 172.77 | 6.83 | 33.69 | 15.4 | 48.13 | 9.63 | 247.35
13:45 - 14:00 | 0 | 0 | 33.69 | 15.4 | 48.13 | 9.63 | 247.35
14:00 - 14:15 | 0 | 0 | 33.69 | 15.4 | 48.13 | 9.63 | 186.71
14:15 - 14:30 | 0 | 0 | 33.69 | 15.4 | 48.13 | 9.63 | 184.79
14:30 - 14:45 | 0 | 0 | 33.69 | 15.4 | 48.13 | 9.63 | 213.66
14:45 - 15:00 | 0 | 0 | 33.69 | 15.4 | 48.13 | 9.63 | 247.35
15:00 - 15:15 | 0 | 0 | 0 | 3.85 | 0 | 0 | 0
15:15 - 15:30 | 0 | 0 | 0 | 3.85 | 0 | 0 | 0
15:30 - 15:45 | 0 | 0 | 0 | 3.85 | 0 | 0 | 0
15:45 - 16:00 | 0 | 0 | 0 | 3.85 | 0 | 0 | 0
16:00 - 16:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:15 - 16:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:30 - 16:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:45 - 17:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:15 - 17:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:30 - 17:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:45 - 18:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | 7.6014 | 0.071146 | 8.7734 | 3.6794 | 12.5335 | 2.5078 | 54.1719

## RTM
RTM TRADING DETAILS FOR DT: 21.10.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | IOCL_Paradeep_Refinery | Indian_Farmers_Fertiliser_Cooperative_Limited | MGM_Green_Energy_Limited_5MW_Solar_Power_Plant_Lokapada | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | NU_VISTA_LIMITED_(FORMERLY_EMAMI_CEMENT_LIMITED) | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Jharsuguda | SMC_Power_Generation_Limited_Unit_II_PTC | Shri_Jagannath_Steels_&_Power_Ltd | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | -2 | 4.81 | -245.02 | 0 | 0 | 1.93 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | -5 | 0 | -3 | 0 | 0 | 0 | -2 | 0 | 9.63 | 0 | 173.24
00:15 - 00:30 | -2 | 4.81 | -148.42 | 0 | 0 | 1.93 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | -5 | 0 | -3 | 0 | 0 | 0 | -2 | -30 | 9.63 | 0 | 176.13
00:30 - 00:45 | -2 | 4.81 | -50.16 | 0 | 0 | 0 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 9.63 | 0 | 178.06
00:45 - 01:00 | -2 | 4.81 | -145.52 | 0 | 0 | 1.93 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -10 | 9.63 | 0 | 178.06
01:00 - 01:15 | -2 | -12 | -144.94 | 0 | 0 | 1.93 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -35 | 9.63 | 0 | 178.05
01:15 - 01:30 | -2 | 4.81 | -143.56 | 0 | 0 | 1.93 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -10 | 9.63 | 0 | 178.06
01:30 - 01:45 | -2 | 4.81 | -150.07 | 0 | 0 | 0 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 9.63 | 0 | 179.02
01:45 - 02:00 | -2 | 4.81 | -248.13 | 0 | 0 | 1.93 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 9.63 | 0 | 177.09
02:00 - 02:15 | -2 | 4.81 | -43.58 | 0 | 0 | 1.93 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -2 | 0 | 9.63 | 0 | 144.37
02:15 - 02:30 | -2 | 4.81 | -130.05 | 0 | 0 | 1.93 | 0 | 0 | 0 | -9 | 0 | 7.7 | 0 | 6.74 | 0 | 0 | -4 | 0 | 0 | 0 | -2 | -15 | 9.63 | 0 | 144.37
02:30 - 02:45 | -2 | -6 | 96.25 | 0 | 0 | 1.93 | 0 | 0 | 0 | -9 | 0 | 7.7 | 0 | 6.74 | 0 | 0 | -4 | 0 | 0 | 0 | -2 | -30 | 9.63 | 1.33 | 144.36
02:45 - 03:00 | -2 | -6 | 96.25 | 0 | 0 | 1.93 | 0 | 0 | 0 | -9 | 0 | 7.7 | 0 | 6.74 | 0 | 0 | -4 | 0 | 0 | 0 | -2 | 0 | 9.63 | 5.39 | 144.36
03:00 - 03:15 | -2 | 4.81 | 214.62 | 0 | 0 | 1.93 | 0 | 0 | 0 | -9 | 0 | 7.7 | 0 | 6.74 | 0 | 0 | -4 | 0 | 0 | 0 | -2 | 0 | 9.63 | 5.39 | 144.38
03:15 - 03:30 | -2 | 4.81 | 126.71 | 0 | 0 | 1.93 | 0 | 0 | 0 | -9 | 0 | 7.7 | 0 | 6.74 | 0 | 0 | -4 | 0 | 0 | 0 | -2 | -10 | 9.63 | 5.39 | 144.37
03:30 - 03:45 | -2 | 4.81 | 128.32 | 0 | 0 | 1.93 | 0 | 0 | 0 | -9 | 0 | 7.7 | 0 | 6.74 | 0 | 0 | -4 | 0 | 0 | 0 | -2 | 0 | 9.63 | 5.39 | 250.97
03:45 - 04:00 | -2 | 4.81 | 141.24 | 0 | 33.69 | 1.93 | 0 | 0 | 9.63 | -9 | 0 | 7.7 | 0.19 | 6.74 | 0 | 0 | -4 | 0 | 0 | 0 | -2 | -20 | 9.63 | 5.39 | 371.51
04:00 - 04:15 | -2 | 4.81 | 144.38 | 0 | 33.69 | 0.96 | 0 | 0 | 9.63 | -9 | 0 | 7.7 | 0.19 | 7.7 | 0 | 0 | -4 | 0 | 0 | 0 | -2 | -40 | 9.63 | 5.39 | 371.52
04:15 - 04:30 | -2 | 4.81 | 48.18 | 0 | 33.69 | 0.96 | 0 | 0 | 9.63 | -9 | 0 | 7.7 | 0.19 | 7.7 | 0 | 0 | -4 | 0 | 0 | 0 | -2 | -5 | 9.63 | 5.39 | 370.56
04:30 - 04:45 | -2 | -12 | 53.83 | 0 | 33.69 | 0.96 | 0 | 0 | 9.63 | -9 | 0 | 7.7 | 0.19 | 7.7 | 0 | 0 | -4 | 0 | 0 | 0 | -2 | 0 | 9.63 | 5.39 | 370.56
04:45 - 05:00 | -2 | 4.81 | 48.13 | 0 | 0 | 0.96 | 0 | 0 | 0 | -9 | 0 | 7.7 | 0 | 6.74 | 0 | 0 | -4 | 0 | 0 | 0 | -2 | 0 | 9.63 | 5.39 | 144.37
05:00 - 05:15 | -2 | 4.81 | 48.13 | 0 | 0 | 0.96 | 0 | 0 | 0 | -9 | 0 | 7.7 | 0 | 6.74 | 0 | 0 | -4 | 0 | 0 | 0 | -2 | 0 | 9.63 | 5.39 | 48.12
05:15 - 05:30 | -2 | 4.81 | -180.03 | 0 | 0 | 0.96 | 0 | 0 | 0 | -9 | 0 | 7.7 | 0 | 6.74 | 0 | 0 | -4 | 0 | 0 | 0 | -2 | -8 | 9.63 | 5.39 | 48.12
05:30 - 05:45 | -2 | 4.81 | -280.32 | 0 | 0 | 0.96 | 0 | 0 | 0 | -9 | 0 | 7.7 | 0 | 6.74 | 0 | 0 | -4 | 0 | 0 | 0 | -2 | -40 | 9.63 | 5.39 | 48.12
05:45 - 06:00 | -2 | 4.81 | -380.31 | 0 | 0 | 0.96 | 0 | 0 | 0 | -9 | 0 | 7.7 | 0 | 6.74 | 0 | 0 | -4 | 0 | 0 | 0 | -2 | -45 | 9.63 | 5.39 | 48.12
06:00 - 06:15 | -2 | 4.81 | -325.04 | 0 | 0 | 0 | 0 | -0.1 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | -4 | -2 | -20 | 0 | 0 | 48.13
06:15 - 06:30 | -2 | 4.81 | -333.36 | 0 | 0 | 0 | -0.1 | -0.2 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 48.13
06:30 - 06:45 | -2 | 4.81 | -355.25 | 0 | 0 | 0 | -0.3 | -0.4 | 0 | -9 | 0 | 0 | -0.4 | 0 | 0 | 0 | -4 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 48.13
06:45 - 07:00 | -2 | 4.81 | -357.76 | 0 | 0 | 0 | -0.5 | -0.6 | 0 | -9 | 0 | 0 | -0.8 | 0 | 0 | 0 | -4 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 48.13
07:00 - 07:15 | -2 | -12 | -152.17 | 0 | 0 | 0 | -0.7 | -0.5 | 0 | -9 | 0 | 0 | -1.1 | 0 | 0 | 0 | -4 | 0 | 0 | -4 | -2 | -10 | 0 | 0 | 48.13
07:15 - 07:30 | -2 | 4.81 | -19.09 | 0 | 0 | 0 | -1 | -0.7 | 0 | -9 | 0 | 0 | -1.5 | 0 | 0 | 0 | -4 | 0 | 0 | -4 | -2 | -45 | 0 | 0 | 48.13
07:30 - 07:45 | -2 | 4.81 | -24.26 | 0 | 0 | 0 | -1.2 | -0.9 | 0 | -9 | 0 | 0 | -1.9 | 0 | 0 | 0 | -4 | 0 | 0 | -2 | -2 | -40 | 0 | 0 | 48.13
07:45 - 08:00 | -2 | 4.81 | -283.35 | 0 | 0 | 0.96 | -1.4 | -1.1 | 0 | -9 | 0 | 7.7 | -2.4 | 6.74 | 0 | 0 | -4 | 0 | 0 | -2 | -2 | 0 | 9.63 | 1.95 | 48.13
08:00 - 08:15 | -2.2 | 4.81 | 681.76 | 0 | 0 | 0.96 | -1.7 | -1.3 | 0 | 0 | 0 | 0 | -3.1 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0
08:15 - 08:30 | -2.2 | 4.81 | 681.89 | 0 | 0 | 0.96 | -2 | -1.4 | 0 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0
08:30 - 08:45 | -2.2 | 4.81 | 673.76 | 0 | 0 | 0 | -2.2 | -1.5 | 0 | 0 | 0 | 0 | -3.9 | 0.96 | 0 | 0 | -3 | 0 | 0 | 0 | -2 | -10 | 0 | 0 | 0
08:45 - 09:00 | -2.2 | -11 | 385 | 0 | 0 | 0 | -2.5 | -1.8 | 0 | 0 | 0 | 0 | -4.1 | 0.96 | 0 | 2.89 | -3 | 0 | 0 | 0 | -2 | -45 | 0 | 5.39 | 154.96
09:00 - 09:15 | -2.2 | 4.81 | 288.74 | 0 | 0 | 1.93 | 0 | -2.1 | 0 | 0 | 0 | 0 | -4.5 | 0.96 | 0 | 0 | -3 | 0 | 1.93 | 0 | -2 | -45 | 0 | 0 | 144.38
09:15 - 09:30 | -2.2 | 4.81 | 288.75 | 0 | 0 | 1.93 | 0 | -2.2 | 0 | 0 | 0 | 0 | -4.8 | 0.96 | 0 | 0 | -3 | 0 | 1.93 | 0 | -2 | 0 | 0 | 0 | 104.91
09:30 - 09:45 | -2.2 | 4.81 | 89.24 | 0 | 0 | 1.93 | 0 | -2.2 | 0 | 0 | 0 | 0 | -5 | 0.96 | 0 | 0 | -5 | 0 | 1.93 | 0 | -2 | 0 | 0 | 0 | 0
09:45 - 10:00 | -2.2 | 4.81 | -200 | 0 | 0 | 1.93 | 0 | -2.4 | 0 | 0 | 0 | 0 | -2.6 | 0.96 | 0 | 0 | -5 | 0 | 1.93 | 0 | -2 | 0 | 0 | 0 | 0
10:00 - 10:15 | -2.2 | 4.81 | -500 | 0 | 0 | 1.93 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0.96 | 0 | 0 | -5 | 0 | 1.93 | 0 | -2 | 0 | 0 | 0 | 0
10:15 - 10:30 | -2.2 | 4.81 | -700 | 0 | 0 | 1.93 | 0 | -2.4 | 0 | 0 | 0 | 0 | 0 | 0.96 | 0 | 0 | -5 | 0 | 1.93 | 0 | -2 | -45 | 0 | 0 | 0
10:30 - 10:45 | -2.3 | 4.81 | -586.04 | 0 | 0 | 1.93 | 0 | -2.6 | 0 | 0 | 0 | 0 | 0 | 0.96 | 0 | 2.89 | -5 | 0 | 1.93 | 0 | -2 | -45 | 0 | 5.39 | 123.19
10:45 - 11:00 | -2.3 | 4.81 | -568.24 | 0 | 0 | 1.93 | 0 | -2.6 | 0 | 0 | 0 | 0 | 2.6 | 1.93 | 0 | 2.89 | -5 | 0 | 1.93 | 0 | -2 | -10 | 0 | 5.39 | 123.18
11:00 - 11:15 | -2.3 | 4.81 | -406.74 | 0 | 0 | 1.93 | 0 | -2.8 | 0 | 0 | 0 | 0 | 2.41 | 1.93 | 0 | 2.89 | -5 | 2.89 | 1.93 | 0 | -2 | 0 | 0 | 5.39 | 123.18
11:15 - 11:30 | -2.3 | 4.81 | -161.54 | 0 | 0 | 1.93 | 0 | -2.8 | 0 | 0 | 0 | 0 | 2.31 | 1.93 | 0 | 2.89 | -5 | 2.89 | 1.93 | 0 | -2 | -45 | 0 | 5.39 | 124.15
11:30 - 11:45 | -2.3 | -6 | -118.2 | 0 | 0 | 0.48 | 0 | -2.8 | 0 | 0 | 0 | 0 | 2.31 | 1.93 | 0 | 2.89 | -5 | 2.89 | 1.93 | 0 | -2 | 0 | 0 | 5.39 | 124.15
11:45 - 12:00 | -2.3 | -6 | -125.03 | 0 | 0 | 0.48 | 0 | -2.6 | 0 | 0 | 0 | 0 | 0 | 1.93 | 0 | 2.89 | -5 | 2.89 | 1.93 | 0 | -2 | 0 | 0 | 5.39 | 124.15
12:00 - 12:15 | -2.3 | 4.81 | -55.04 | 0 | 0 | 0 | 0 | -2.7 | 0 | 0 | 8.85 | 0 | 0 | 0.96 | 0 | 2.89 | -5 | 2.89 | 1.93 | 0 | -2 | -50 | 0 | 5.39 | 0
12:15 - 12:30 | -2.3 | 4.81 | -150.02 | 0 | 0 | 0 | 0 | -2.8 | 0 | 0 | 8.84 | 0 | 0 | 1.93 | 0 | 2.89 | -5 | 2.89 | 1.93 | 0 | -2 | -10 | 0 | 5.39 | 0
12:30 - 12:45 | -2.3 | 4.81 | -377.52 | 0 | 0 | 0 | 0 | -2.6 | 0 | 0 | 8.86 | 0 | 3.08 | 1.93 | 0 | 2.89 | -5 | 2.89 | 1.93 | 0 | -2 | -10 | 0 | 5.39 | 129.92
12:45 - 13:00 | -2.3 | 4.81 | -416.91 | 0 | 0 | 0 | 0 | -2.4 | 0 | 0 | 8.86 | 0 | 3.18 | 1.93 | 0 | 2.89 | -5 | 2.89 | 1.93 | 0 | -2 | -50 | 0 | 5.39 | 129.72
13:00 - 13:15 | -2.3 | 8.66 | -20 | 6.35 | 0 | 0 | 0 | -2.1 | 0 | 0 | 8.86 | 0 | 3.27 | 1.93 | 0 | 2.89 | -5 | 2.89 | 1.93 | 0 | 0 | 0 | 0 | 5.39 | 129.54
13:15 - 13:30 | -2.3 | 8.66 | -10 | 6.55 | 0 | 0 | 0 | -2.2 | 0 | 0 | 8.86 | 0 | 3.08 | 1.93 | 0 | 2.89 | -5 | 2.89 | 1.93 | 0 | 0 | 0 | 0 | 5.39 | 21.83
13:30 - 13:45 | -2.3 | 5.29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.86 | 0 | 0 | 0.96 | 0 | 2.89 | -5 | 2.89 | 1.93 | 0 | -2 | 0 | 0 | 5.39 | 137.63
13:45 - 14:00 | -2.3 | 5.29 | 181.17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.86 | 0 | 0 | 0.96 | 0 | 2.89 | -5 | 2.89 | 1.93 | 0 | -2 | -50 | 0 | 5.39 | 262.76
14:00 - 14:15 | -2.3 | 5.29 | 0 | 0 | 0 | 0 | 0 | -1.3 | 0 | 0 | 8.86 | 0 | -1.6 | 1.93 | 0 | 2.89 | 0 | 2.89 | 1.93 | 0 | -2 | 0 | 0 | 5.39 | 290.66
14:15 - 14:30 | -2.3 | 5.29 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | 8.86 | 0 | -3.6 | 1.93 | 0 | 2.89 | 0 | 2.89 | 1.93 | 0 | -2 | 0 | 0 | 5.39 | 381.13
14:30 - 14:45 | -2.3 | 5.29 | 481.66 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 8.86 | 0 | -3.3 | 1.93 | 0 | 2.89 | 0 | 2.89 | 1.93 | 0 | -2 | -40 | 0 | 5.39 | 395.59
14:45 - 15:00 | -2.3 | -10 | 466.84 | 0 | 0 | 0 | 0 | -0.8 | 0 | 0 | 8.86 | 0 | -2.9 | 0.96 | 0 | 2.89 | 0 | 2.89 | 1.93 | 0 | -2 | 0 | 0 | 5.39 | 403.29
15:00 - 15:15 | -2.3 | 5.29 | 466.82 | 0 | 0 | 0 | 0 | -0.6 | 9.63 | 0 | 8.86 | 0 | -2.6 | 0.96 | 0 | 2.89 | 0 | 2.89 | 1.93 | 0 | -2 | 0 | 0 | 5.39 | 185.76
15:15 - 15:30 | -2.3 | 5.29 | 449 | 0 | 0 | 0 | 0 | -0.4 | 0 | 0 | 8.86 | 0 | -2.1 | 0.96 | 0 | 0 | 0 | 2.89 | 1.93 | 0 | -2 | -40 | 0 | 0 | 25.99
15:30 - 15:45 | -2.3 | 5.29 | 492.12 | 0 | 0 | 0 | -1 | -0.3 | 0 | 0 | 8.86 | 0 | -1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -40 | 0 | 0 | 0
15:45 - 16:00 | -2.3 | 5.29 | 577.48 | 0 | 0 | 0 | -0.8 | -0.2 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 13.48
16:00 - 16:15 | -2.3 | -11 | 144.37 | 0 | 0 | 0 | -0.6 | -0.1 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 56.79
16:15 - 16:30 | -2.3 | 5.29 | 144.38 | 0 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -40 | 0 | 0 | 102.99
16:30 - 16:45 | -2.3 | 0 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | -4 | 0 | 0 | -0.3 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 109.73
16:45 - 17:00 | -2.3 | 0 | 0.95 | 0 | 0 | 0 | -0.1 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -2 | -15 | 0 | 0 | 111.66
17:00 - 17:15 | -2.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -2 | -30 | 0 | 0 | 130.79
17:15 - 17:30 | -2.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 135.55
17:30 - 17:45 | -2.3 | 0 | 13.88 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 72.19
17:45 - 18:00 | -2.3 | 0 | 9.36 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -2 | -35 | 0 | 0 | 48.62
18:00 - 18:15 | -2.3 | 0 | 3.82 | 0 | 0 | 0 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -2 | -25 | 0 | 0 | 3.9
18:15 - 18:30 | -2.3 | 0 | 3.39 | 0 | 0 | 0 | 0 | 0 | 0 | -8.99 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 3.45
18:30 - 18:45 | -2.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -2 | -10 | 0 | 0 | 24.82
18:45 - 19:00 | -2.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 23.96
19:00 - 19:15 | -2.3 | 0 | -300 | 0 | 0 | 0 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 91.51
19:15 - 19:30 | -2.3 | -10 | -300 | 0 | 0 | 0 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -2 | -10 | 0 | 0 | 100.05
19:30 - 19:45 | -2.3 | 0 | -350 | 0 | 0 | 0 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -2 | -10 | 0 | 0 | 87.81
19:45 - 20:00 | -2.3 | 0 | -350 | 0 | 0 | 0 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 95.45
20:00 - 20:15 | -2.3 | 0 | -524.99 | 0 | 0 | 0 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 117.11
20:15 - 20:30 | -2.3 | 0 | -491.01 | 0 | 0 | 0 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -2 | -20 | 0 | 0 | 122.24
20:30 - 20:45 | -2.3 | -5 | -584.67 | 0 | 0 | 0 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | -2 | -8 | 0 | 0 | 49.09
20:45 - 21:00 | -2.3 | -6 | -583.71 | 0 | 0 | 0 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 49.09
21:00 - 21:15 | -2.3 | 5.29 | -680.64 | 0 | 0 | 0 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 49.09
21:15 - 21:30 | -2.3 | 5.29 | -688.02 | 0 | 0 | 0 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 49.09
21:30 - 21:45 | -2.3 | 5.29 | -699.6 | 0 | 0 | 0 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 49.09
21:45 - 22:00 | -2.3 | 5.29 | -696.96 | 0 | 0 | 0 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | -2 | -22 | 0 | 0 | 49.09
22:00 - 22:15 | -2.3 | 0 | -651 | 0 | 0 | 0 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | -2 | -38 | 0 | 0 | 49.09
22:15 - 22:30 | -2.3 | 0.68 | -650.01 | 0 | 0 | 0 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | -2 | -8 | 0 | 0 | 50.05
22:30 - 22:45 | -2.3 | 5.29 | -594.02 | 0 | 0 | 0 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 49.09
22:45 - 23:00 | -2.3 | 5.29 | -590.01 | 0 | 0 | 0 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | -2 | -6 | 0 | 0 | 49.09
23:00 - 23:15 | -2.3 | 5.29 | -575 | 0 | 0 | 0 | 0 | 0 | 0 | -9 | 0 | 7.7 | 0 | 7.7 | 0 | 0 | -1 | 0 | 0 | 0 | -2 | 0 | 19.25 | 0 | 69.3
23:15 - 23:30 | -2.3 | 5.29 | -572.65 | 0 | 0 | 0 | 0 | 0 | 0 | -9 | 0 | 7.7 | 0 | 7.7 | 0 | 0 | -1 | 0 | 0 | 0 | -2 | 0 | 19.25 | 0 | 69.3
23:30 - 23:45 | -2.3 | 5.29 | -477.39 | 0 | 0 | 0 | 0 | 0 | 0 | -9 | 0 | 7.7 | 0 | 7.7 | 0 | 0 | -1 | 0 | 0 | 0 | -2 | -38 | 19.25 | 0 | 69.3
23:45 - 24:00 | -2.3 | 5.29 | -475.02 | 0 | 0 | 0.83 | 0 | 0 | 0 | -9 | 0 | 7.7 | 0 | 7.7 | 0 | 0 | -1 | 0 | 0 | 0 | -2 | 0 | 19.25 | 2.3 | 69.3
Average | -2.1896 | 2.3171 | -121.8745 | 0.13437 | 1.4037 | 0.61115 | -0.17396 | -0.63646 | 0.50156 | -5.4999 | 1.3841 | 1.6042 | -0.39375 | 1.8855 | -0.10417 | 0.60208 | -3 | 0.54187 | 0.52271 | -0.29167 | -1.9583 | -13.1562