## POWER STATUS
POWER STATUS ON DT 24.10.2026
[9 empty] | 2026-10-24 | 2026-10-23
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 18:00
Demand -> | [8 empty] | 5942.0236 | 6495.7158
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla [Gate-L-0 , R-0] | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 60.417 | 1.45 | 630/590 ft | 629.73 | 628.41 | 628.39 | 0 | 88.14
| Chiplima | 72(3x24) | 39.958 | 0.95899 | - |  |  |  | 51.9719 | 34.7015
| Balimela | 510(6x60+2x75) | 202.416 | 4.858 | 1516/1440 ft | 1506.2 | 1505 | 1504.9 | 300.7142 | 367.7414
| Rengali | 250(5x50) | 187.425 | 4.4982 | 123.5/109.75 mt | 122.89 | 122.24 | 122.13 | 229.2706 | 238.0401
| Upper Kolab | 320(4x80) | 105.79 | 2.539 | 858/844 mt | 856.74 | 855.82 | 855.8 | 152.3673 | 224.9623
| Upper Indravati [Gate-0] | 600(4x150) | 525.8333 | 12.62 | 642/625 mt | 640.95 | 640.15 | 640.09 | 595.8702 | 590.519
| Machkund | 60(50% of(3x17+3x23)) | 24.83 | 0.59592 | 2750/2685 ft | 2748.45 | 2746.8 | 2746.8 | 21.1105 | 29.1676
| Total Hydro | 2099.5 | 1146.6693 | 27.5201 |  |  |  |  | 1351.3047 | 1573.2719
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1508.7512 | 36.21 | RENEWABLE ENERGY (RE) |  |  |  | 1513.903 | 1511.0906
[5 empty] | M.Hydl | 89.4854
| Total Thermal | 2200 | 1508.7512 | 36.21 | Solar | 164.3021 |  |  | 1513.903 | 1511.0906
IPP | VEDANTA #2 | 600 (1x600) | 331.1752 | 7.9482 | Total IPPs | Yesterday's Demand Profile |  |  | 399.0037 | 399.3359
| GMR #3 | 350 (1x350) | 327.3459 | 7.8563 | 761.3398 |  | MW | HRS | 323.9454 | 330.1355
| NBVL(IPP) | 60(1x60) | 53.1808 | 1.2763 |  |  |  |  | 54.659 | 53.9231
| MDTPC |  | 49.6379 | 1.1913 |  |  |  |  | 32.5648 | 56.322
| CGPs |  | 807.3024 | 19.3753 | IPPs, CGPs & RE | Maximum | 6496 | 18:00 | 2022.5376 | 1840.6951
| Central Sector(Drawl) |  | 1488.3033 | 35.7193 | 1822.4297 | Minimum | 5437 | 06:00 | 1054.2783 | 1570.6583
| Central Sector(Sch) |  | 1545.8984 | 37.1016 |  | Average | 5966.1535 |  | 1065.7552 | 1549.27
| Grand Total |  | 5966.1535 | 143.1877 | Instantaneous Peak demand |  | 6802 | 18:36 | 5942.0236 | 6495.7158
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(5) |  | ACTUAL |  | SCHEDULE(0)
Burla | NIL | IbTPS / OPGC | 2 |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1509.1544 | 36.2197 | 1545.2423 | 37.0858 | 1499.4574 | 35.987
Balimela | NIL | TSTPP St-I | NIL | TPWODL | 2310.3973 | 55.4495 | 2256.489 | 54.1557 | 1695.9835 | 40.7036
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1228.3985 | 29.4816 | 1337.5812 | 32.1019 | 1230.2784 | 29.5267
U.Kolab | 2 | KAHALGAON | 4,6 | TPSODL | 567.2544 | 13.6141 | 578.901 | 13.8936 | 571.0381 | 13.7049
Indravati | NIL | TEESTA-V | 3 | DISCOM TOTAL | 5615.2045 | 134.7649 | 5718.2135 | 137.2371 | 4996.7574 | 119.9222
Machhkund | 4,5,6 | Darlipali | NIL
|  | N. KARANPURA-I | 1
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 399.0037 | GMR |  |  |  | 323.9454
| NBVL #3 | 54.659 | MDTPC |  |  |  | 32.5648
Mini Hydel: | MEENAKSHI | 30.4091 | OPCL |  |  |  | 0
| BTPL | 12.631 | SAPTADHARA |  |  |  | 4.9714
| SNHEP | 31.7283 | KAKATIYA |  |  |  | 7.5223
Solar: |  | 388.5234
CGPs : | JSPL (Angul) | 264.5126 | JSL(Duburi) |  |  |  | -131.5749
| ICCL | 46.7998 | visa |  |  |  | 15.472
| NALCO | -111.1969 | VAL (CGP) |  |  |  | 97.921
| RSP | -39.5169 | BSL(MMDL) |  |  |  | 6.6013
| INDAL | 1.9887 | ADITYA ALUMINIUM |  |  |  | 49.4055
| NINL | -38.9528 | VAL CPP 400 kV |  |  |  | -954.7017
| NBVL | 54.659 | Arati |  |  |  | 7.6696
| BPSL(JSG) | -80.7879 | BPPL |  |  |  | 110.4351
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-10-16 | 2026-10-17 | 2026-10-18 | 2026-10-19 | 2026-10-20 | 2026-10-21 | 2026-10-22 | 2026-10-23
1441.5768 | 1388.72 | 1245.72 | 1111.0749 | 1074.5066 | 1160.8725 | 1185.59 | 1146.6693
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.23.10.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | ARYAN_ISPAT | DNHDDPDCL | -5 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0.01
ENVIROCARE_INFRA | BALCO_LOAD | -6.5 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -2.4 | AAPL_BKN2 | UTCL | 0
ENVIROCARE_INFRA | BALCO_LOAD | -6.5 | DCBL_Rajgangpur | DALCEMAP | -6.88 | AGE26AL_PSS6_KPS1_S | ODISHA | 114.35
FACORPOWER | APCPDCL | -15.83 | DCBL_Rajgangpur | DCBLME | -6.5 | AP41PL_BHDL | ODISHA | 54.1
FACORPOWER | PUNJAB | -3.33 | DCBL_Rajgangpur | DCL_RCW | -1.75 | AP43PL_BKN | ODISHA | 81.75
GMRKEL_STU | RUVITSL | -38.69 | DCBL_Rajgangpur | DCL_RCW | -2 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 0.84
GMRKEL_STU | TNEB | -18 | ENVIROCARE_INFRA | DNHDDPDCL | -5 | AWEK1L | ODISHA | 4.06
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | FACORPOWER | BYPL | -9.62 | AWEK1L | ODISHA | 6.09
JSPLANGUL | GEB_Beneficiary | -57.33 | GMRKEL_STU | RUVITSL | -23.21 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 4.74
JSPLANGUL | GEB_Beneficiary | -71.67 | JPIPL | TANGEDCO | 0 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 16.65
MAADURGA_THERMAL | NPCL_UP | -18.09 | JSPLANGUL | TANGEDCO | -57.33 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 18.46
NBVLIPP | BALCO_LOAD | -46 | JSPLANGUL | TANGEDCO | -28.67 | DADRI_SOLAR | ODISHA | 0.72
NBVLIPP | TANGEDCO | 0 | KCMW_od | DALCEMAP | -0.47 | ENERSON_SOLAR_10MW | ODISHA | 0.94
OCL_IRON_STEEL | TPL_DIS_AHM_ISTS | -52 | OCL_IRON_STEEL | WBSEDCL | -9 | GADAG_GreenInfra_W | ODISHA | 0.12
ODISHA | NPCL_UP | -20.83 | ODISHA | CSEB_Beneficiary | -70.83 | GADAG_GreenInfra_W | ODISHA | 0
ORSISL | BALCO_LOAD | -3.5 | ODISHA | DNHDDPDCL | -50 | GADAG_GreenInfra_W | ODISHA | 0
VSL | BALCO_LOAD | -5 | ODISHA | TANGEDCO | -100 | GADAG_Serentica3_S | VLSEZ | 25.66
FARIDABAD_SOLAR | ODISHA | 0 | ODISHA | TPL_DIS_AHM | -50 | GADAG_Serentica3_W | VLSEZ | 15.04
JSWEL_UTKAL | ODISHA | 64.46 | ODISHA | TPL_DIS_AHM | -56.67 | GIWEL_SECI_II_RE | ODISHA | 16.34
RAJ_SOLAR | ODISHA | 2.25 | ODISHA | TPL_DIS_SUR | -50 | GPCL_SOLAR_10 | ODISHA | 1.67
RAJ_SOLAR | ODISHA | 2.22 | ODISHA | TPL_DIS_SUR | -26.67 | GSECL_SOLAR | ODISHA | 1.69
|  |  | ODISHA | WBSEDCL | -50 | HIRIYUR_ZREPL_W | LINDA_INDIA_K | 24.32
|  |  | ODISHA | WBSEDCL | -50 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.71
|  |  | ORSISL | TPLD | -3 | KARUR_TPVARDHAMAN_W | TSKPO | 0
|  |  | RSPL_JHARSUGUDA | TPL_DIS_SUR | -20 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.8
|  |  | SGML | TPL_DIS_SUR | -7 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.43
|  |  | SMEL | TPL_DIS_SUR | -25 | Kurnool_Greenko_H_Inj | ADITYAAL | 3.28
|  |  | SMEL | TPL_DIS_SUR | -5 | NTPCRE1_SMND_BHJ2_W | ODISHA | 1.94
|  |  | Shri_JSPL | TPL_DIS_SUR | -2.5 | O2RE3PL_Wasi_klm_W | VLSEZ | 10.63
|  |  | TSBSLA | TPL_DIS_SUR | -10 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 1.1
|  |  | VIRAJ_SEPL | TANGEDCO | -2.92 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0.08
|  |  | VSL | DNHDDPDCL | -10 | OKWPL_RE | ODISHA | 9.33
|  |  | Darlipali_NTPC | ODISHA | 13.49 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 9.37
|  |  | HARYANA | VLSEZ | 76.2 | RWE_AP2_SECI_III | ODISHA | 6.7
|  |  | JIPL | ODISHA | 115.5 | RenewGreen_SLPR_HS | JSL_DUBURI | 7.09
|  |  | JPL | VLSEZ | 23.9 | SRI9PL_FTG3 | VLSEZ | 122.36
|  |  | LPPL_CSEB | VLSEZ | 1.93 | TPVSL_BKN3 | TSKPO | 0
|  |  | MYTRAHVAYU | VLSEZ | 3.64 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.1
|  |  | NALCOAP | NACL_Odisha | 3 | TSESOPL_BKN2 | OPL_CUTTAK | 0.11
|  |  | NSLSUGAR | VLSEZ | 1.92 | Tuticorin_BETAMWIND | ODISHA | 8.42
|  |  | NSLSUGARALAND | VLSEZ | 13.44 | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 2.27
|  |  | NU_VISTA_LTD_CG | VLSEZ | 3.53 | XXPPL_FTG3 | ODISHA | 88.2
|  |  | RISENIPL_CSEB | VLSEZ | 2.69
|  |  | TATA_POWER_HALDIA | VLSEZ | 3.21
|  |  | UPPCL | VLSEZ | 228.59
|  |  | VIPL_CSEB | VLSEZ | 4.62

## DAM
DAM TRADING DETAILS FOR DT : 23.10.2026
Time Period | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | MGM_Minerals_Ltd | Nav_Bharat_ventures_Ltd | Tata_Steel_Power_Plant_Athagarh
00:00 - 00:15 | 0 | -300 | -1.13 | -2.06 | 0
00:15 - 00:30 | 0 | -300 | -1.13 | -2.06 | 0
00:30 - 00:45 | 0 | -300 | -1.13 | -2.06 | 0
00:45 - 01:00 | 0 | -300 | -1.13 | -2.06 | 0
01:00 - 01:15 | 0 | -350 | -1.13 | -2.06 | 0
01:15 - 01:30 | 0 | -350 | -1.13 | -2.06 | 0
01:30 - 01:45 | 0 | -350 | -1.13 | -2.06 | 0
01:45 - 02:00 | 0 | -350 | -1.13 | -2.06 | 0
02:00 - 02:15 | 0 | -450 | -1.13 | -2.06 | 0
02:15 - 02:30 | 0 | -450 | -1.13 | -2.06 | 0
02:30 - 02:45 | 0 | -450 | -1.13 | -2.06 | 0
02:45 - 03:00 | 0 | -450 | -1.13 | -2.06 | 0
03:00 - 03:15 | 0 | -450 | -1.13 | -2.06 | 0
03:15 - 03:30 | 0 | -450 | -1.13 | -2.06 | 0
03:30 - 03:45 | 0 | -450 | -1.13 | -2.06 | 0
03:45 - 04:00 | 0 | -450 | -1.13 | -2.06 | 0
04:00 - 04:15 | 0 | -400 | -1.13 | -2.06 | 0
04:15 - 04:30 | 0 | -400 | -1.13 | -2.06 | 0
04:30 - 04:45 | 0 | -400 | -1.13 | -2.06 | 0
04:45 - 05:00 | 0 | -400 | -1.13 | -2.06 | 0
05:00 - 05:15 | 0 | -450 | -1.13 | -2.06 | 0
05:15 - 05:30 | 0 | -450 | -1.13 | -2.06 | 0
05:30 - 05:45 | 0 | -450 | -1.13 | -2.06 | 0
05:45 - 06:00 | 0 | -450 | -1.13 | -2.06 | 0
06:00 - 06:15 | -26.29 | -575 | -1.13 | -2.06 | 0
06:15 - 06:30 | -26.29 | -575 | -1.13 | -2.06 | 0
06:30 - 06:45 | -26.29 | -575 | -1.13 | -2.06 | 0
06:45 - 07:00 | -26.29 | -575 | -1.13 | -2.06 | 0
07:00 - 07:15 | -26.29 | -875 | -1.13 | -2.06 | -24.95
07:15 - 07:30 | -26.29 | -875 | -1.13 | -2.06 | -24.95
07:30 - 07:45 | -26.29 | -875 | -1.13 | -2.06 | -24.95
07:45 - 08:00 | 0 | -875 | -1.13 | -2.06 | 0
08:00 - 08:15 | 0 | -1200 | -1.13 | -1.03 | 0
08:15 - 08:30 | 0 | -1200 | -1.13 | -1.03 | 0
08:30 - 08:45 | 0 | -1350 | -1.13 | -1.03 | 0
08:45 - 09:00 | 0 | -1350 | -1.13 | -1.03 | 0
09:00 - 09:15 | 0 | -1350 | -1.13 | -1.03 | 0
09:15 - 09:30 | 0 | -1350 | -1.13 | -1.03 | 0
09:30 - 09:45 | 0 | -1350 | -1.13 | -1.03 | 0
09:45 - 10:00 | 0 | -1350 | -1.13 | -1.03 | 0
10:00 - 10:15 | 0 | -1500 | 0 | -1.03 | 0
10:15 - 10:30 | 0 | -1500 | 0 | -1.03 | 0
10:30 - 10:45 | 0 | -1500 | 0 | -1.03 | 0
10:45 - 11:00 | 0 | -1500 | 0 | -1.03 | 0
11:00 - 11:15 | 0 | -1600 | 0 | -1.03 | 0
11:15 - 11:30 | 0 | -1556.46 | 0 | -1.03 | 0
11:30 - 11:45 | 0 | -1544.55 | 0 | -1.03 | 0
11:45 - 12:00 | 0 | -1543.21 | 0 | -1.03 | 0
12:00 - 12:15 | 0 | -1468.39 | 0 | -1.03 | 0
12:15 - 12:30 | 0 | -1467.77 | 0 | -1.03 | 0
12:30 - 12:45 | 0 | -950 | 0 | -1.03 | 0
12:45 - 13:00 | 0 | -950 | 0 | -1.03 | 0
13:00 - 13:15 | 0 | -950 | 0 | -1.03 | 0
13:15 - 13:30 | 0 | -950 | 0 | -1.03 | 0
13:30 - 13:45 | 0 | -1469.74 | 0 | -1.03 | 0
13:45 - 14:00 | 0 | -1525 | 0 | -1.03 | 0
14:00 - 14:15 | 0 | -1350 | -1.03 | -1.03 | 0
14:15 - 14:30 | 0 | -1350 | -1.03 | -1.03 | 0
14:30 - 14:45 | 0 | -1350 | -1.03 | -1.03 | 0
14:45 - 15:00 | 0 | -1350 | -1.03 | -1.03 | 0
15:00 - 15:15 | 0 | -1000 | -1.03 | -2.06 | 0
15:15 - 15:30 | 0 | -1000 | -1.03 | -2.06 | 0
15:30 - 15:45 | 0 | -1000 | -1.03 | -2.06 | 0
15:45 - 16:00 | 0 | -1000 | -1.03 | -2.06 | 0
16:00 - 16:15 | -26.29 | -850 | -1.03 | -2.06 | -14.95
16:15 - 16:30 | -26.29 | -900 | -1.03 | -2.06 | -14.95
16:30 - 16:45 | -26.29 | -750 | -1.03 | -2.06 | -14.95
16:45 - 17:00 | -26.29 | -550 | -1.03 | -2.06 | -14.95
17:00 - 17:15 | -26.29 | -225 | -1.03 | -2.06 | -14.95
17:15 - 17:30 | -26.29 | -125 | -1.03 | -2.06 | -14.95
17:30 - 17:45 | -26.29 | 0 | -1.03 | -2.06 | -14.95
17:45 - 18:00 | -26.29 | 0 | -1.03 | -2.06 | -14.95
18:00 - 18:15 | 0 | 0 | -1.03 | -2.06 | -14.95
18:15 - 18:30 | 0 | 0 | -1.03 | -2.06 | -14.95
18:30 - 18:45 | 0 | 0 | -1.03 | -2.06 | -14.95
18:45 - 19:00 | 0 | 0 | -1.03 | -2.06 | -14.95
19:00 - 19:15 | 0 | 0 | -1.03 | -2.06 | -14.95
19:15 - 19:30 | 0 | 0 | -1.03 | -2.06 | -14.95
19:30 - 19:45 | 0 | 0 | -1.03 | -2.06 | -14.95
19:45 - 20:00 | 0 | 0 | -1.03 | -2.06 | -14.95
20:00 - 20:15 | 0 | -200 | -1.03 | -2.06 | -14.95
20:15 - 20:30 | 0 | -200 | -1.03 | -2.06 | -14.95
20:30 - 20:45 | 0 | -200 | -1.03 | -2.06 | -14.95
20:45 - 21:00 | 0 | -200 | -1.03 | -2.06 | -14.95
21:00 - 21:15 | 0 | -150 | -1.03 | -2.06 | -14.95
21:15 - 21:30 | 0 | -150 | -1.03 | -2.06 | -14.95
21:30 - 21:45 | 0 | -150 | -1.03 | -2.06 | -14.95
21:45 - 22:00 | 0 | -150 | -1.03 | -2.06 | -14.95
22:00 - 22:15 | 0 | -150 | -1.03 | -2.06 | -14.95
22:15 - 22:30 | 0 | -150 | -1.03 | -2.06 | -14.95
22:30 - 22:45 | 0 | -150 | -1.03 | -2.06 | -14.95
22:45 - 23:00 | 0 | -150 | -1.03 | -2.06 | -14.95
23:00 - 23:15 | 0 | -200 | -1.03 | -2.06 | -14.95
23:15 - 23:30 | 0 | -200 | -1.03 | -2.06 | -14.95
23:30 - 23:45 | 0 | -200 | -1.03 | -2.06 | -14.95
23:45 - 24:00 | 0 | -200 | -1.03 | -2.06 | -14.95
Average | -4.1078 | -661.1992 | -0.9 | -1.7596 | -5.763

## GDAM
GDAM TRADING DETAILS FOR DT:23.10.2026
Time Period | IOCL_Paradeep_Refinery | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha
00:00 - 00:15 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | 0 | 0 | 0
08:15 - 08:30 | 0 | 3.73 | 0 | 0
08:30 - 08:45 | 0 | 3.73 | 0 | 0
08:45 - 09:00 | 0 | 3.73 | 0 | 0
09:00 - 09:15 | 0 | 3.73 | 0 | 0
09:15 - 09:30 | 0 | 3.73 | 0 | 0
09:30 - 09:45 | 0 | 3.73 | 0 | 0
09:45 - 10:00 | 0 | 3.73 | 0 | 0
10:00 - 10:15 | 32.68 | 18.67 | 51.34 | 9.34
10:15 - 10:30 | 32.68 | 18.67 | 51.34 | 9.34
10:30 - 10:45 | 32.68 | 18.67 | 51.34 | 9.34
10:45 - 11:00 | 32.68 | 18.67 | 51.34 | 9.34
11:00 - 11:15 | 32.68 | 18.67 | 51.34 | 9.34
11:15 - 11:30 | 32.68 | 18.67 | 51.34 | 9.34
11:30 - 11:45 | 32.68 | 18.67 | 51.34 | 9.34
11:45 - 12:00 | 32.68 | 18.67 | 51.34 | 9.34
12:00 - 12:15 | 32.68 | 18.67 | 51.34 | 9.34
12:15 - 12:30 | 32.68 | 18.67 | 51.34 | 9.34
12:30 - 12:45 | 32.68 | 18.67 | 51.34 | 9.34
12:45 - 13:00 | 32.68 | 18.67 | 51.34 | 9.34
13:00 - 13:15 | 32.68 | 18.67 | 51.34 | 9.34
13:15 - 13:30 | 32.68 | 18.67 | 51.34 | 9.34
13:30 - 13:45 | 32.68 | 18.67 | 51.34 | 9.34
13:45 - 14:00 | 32.68 | 18.67 | 51.34 | 9.34
14:00 - 14:15 | 0 | 18.67 | 0 | 0
14:15 - 14:30 | 0 | 18.67 | 0 | 0
14:30 - 14:45 | 0 | 18.67 | 0 | 0
14:45 - 15:00 | 0 | 18.67 | 0 | 0
15:00 - 15:15 | 0 | 3.73 | 0 | 0
15:15 - 15:30 | 0 | 3.73 | 0 | 0
15:30 - 15:45 | 0 | 3.73 | 0 | 0
15:45 - 16:00 | 0 | 3.73 | 0 | 0
16:00 - 16:15 | 0 | 0 | 0 | 0
16:15 - 16:30 | 0 | 0 | 0 | 0
16:30 - 16:45 | 0 | 0 | 0 | 0
16:45 - 17:00 | 0 | 0 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | 0
17:15 - 17:30 | 0 | 0 | 0 | 0
17:30 - 17:45 | 0 | 0 | 0 | 0
17:45 - 18:00 | 0 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0
Average | 5.4467 | 4.317 | 8.5567 | 1.5567

## RTM
RTM TRADING DETAILS FOR DT: 23.10.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | IOCL_Paradeep_Refinery | Indian_Farmers_Fertiliser_Cooperative_Limited | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | Neelachal_Ispat_Nigam_Limited | ORISSA_SPONGE_IRON_AND_STEEL_LIMITED | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Unit_II_PTC | Shri_Jagannath_Steels_&_Power_Ltd | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | -2.27 | 5.13 | -179.09 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | -2.27 | 5.13 | -179.78 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | -2.27 | 5.13 | -177.77 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.19 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | -2.27 | -10.31 | -173.62 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.19 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | -2.27 | -6.19 | -118.2 | 0 | 0 | 0.93 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -2.06 | -10.31 | 0 | 0 | 0 | 0
01:15 - 01:30 | -2.27 | -1.03 | -115.26 | 0 | 0 | 0.93 | 0 | 0 | -9.28 | 7.47 | 0 | 0 | 7.47 | 0 | 0 | 0 | -4.12 | 0 | 0 | -2.06 | -36.08 | 28.01 | 0 | 0 | 0
01:30 - 01:45 | -2.27 | -1.03 | 287.8 | 0 | 0 | 0.93 | 0 | 0 | -9.28 | 7.47 | 0 | 0 | 7.47 | 0 | 0 | 0 | -4.12 | 0 | 0 | -2.06 | 0 | 28.01 | 0 | 0 | 0
01:45 - 02:00 | -2.27 | -1.03 | 282.45 | 0 | 0 | 0.93 | 0 | 0 | -9.28 | 7.47 | 0 | 0 | 7.47 | 0 | 0 | 0 | -4.12 | 0 | 0 | -2.06 | 0 | 28.01 | 0 | 0 | 0
02:00 - 02:15 | -2.27 | -1.03 | 279.65 | 0 | 0 | 0.93 | 0 | 0 | -9.28 | 7.47 | 0 | 0 | 7.47 | 0 | 0 | 0 | -4.12 | 0 | 0 | -2.06 | 0 | 28.01 | 0 | 0 | 0
02:15 - 02:30 | -2.27 | -1.03 | 283.9 | 0 | 0 | 0.93 | 0 | 0 | -9.28 | 7.47 | 0 | 0 | 7.47 | 0 | 0 | 0 | -4.12 | 0 | 0 | -2.06 | 0 | 28.01 | 0 | 0 | 0
02:30 - 02:45 | -2.27 | -5.15 | 283.54 | 0 | 0 | 0.93 | 0 | 0 | -9.28 | 7.47 | 0 | 0 | 7.47 | 0 | 0 | 0 | -4.12 | 0 | 0 | -2.06 | -10.31 | 28.01 | 0 | 0 | 14.01
02:45 - 03:00 | -2.27 | -5.15 | 283.9 | 0 | 0 | 0.93 | 0 | 0 | -9.28 | 7.47 | 0 | 0 | 7.47 | 0 | 0 | 0 | -4.12 | 0 | 0 | -2.06 | -25.77 | 28.01 | 0 | 0 | 12.13
03:00 - 03:15 | -2.27 | -2.06 | 292.61 | 0 | 0 | 0.93 | 0 | 0 | -9.28 | 7.47 | 0 | 0 | 7.47 | 0 | 0 | 0 | -2.06 | 0 | 0 | -2.06 | 0 | 28.01 | 0 | 0 | 9.34
03:15 - 03:30 | -2.27 | -2.06 | 297.84 | 0 | 0 | 0.93 | 0 | 0 | -9.28 | 7.47 | 0 | 0 | 7.47 | 0 | 0 | 0 | -2.06 | 0 | 0 | -2.06 | 0 | 28.01 | 0 | 0 | 9.34
03:30 - 03:45 | -2.27 | -2.06 | 295.93 | 0 | 0 | 0.93 | 0 | 0 | -9.28 | 7.47 | 0 | 0 | 7.47 | 0 | 0 | 0 | -2.06 | 0 | 0 | -2.06 | 0 | 37.35 | 0 | 0 | 9.34
03:45 - 04:00 | -2.27 | -2.06 | 298.33 | 0 | 0 | 0.93 | 0 | 0 | -9.28 | 7.47 | 0 | 0 | 7.47 | 0 | 0 | 0 | -2.06 | 0 | 0 | -2.06 | 0 | 37.35 | 0 | 0 | 7.47
04:00 - 04:15 | -2.27 | -5.15 | 307.03 | 0 | 0 | 0.93 | 0 | 0 | -9.28 | 7.47 | 0 | 0 | 7.47 | 0 | 0 | 0 | -2.06 | 0 | 0 | -2.06 | 0 | 37.35 | 0 | 0 | 15.87
04:15 - 04:30 | -2.27 | -5.15 | 310.43 | 0 | 0 | 0.93 | 0 | 0 | -9.28 | 7.47 | 0 | 0 | 7.47 | 0 | 0 | 0 | -2.06 | 0 | 0 | -2.06 | -10.31 | 37.35 | 0 | 0 | 14.01
04:30 - 04:45 | -2.27 | -5.15 | -19.39 | 0 | 32.68 | 0.93 | 0 | 9.34 | -9.28 | 7.47 | 0 | 0.18 | 9.34 | 9.34 | 0 | 18.67 | -2.06 | 0 | 0 | -2.06 | 0 | 37.35 | 4.67 | 0 | 213.79
04:45 - 05:00 | -2.27 | -5.15 | -24.99 | 0 | 32.68 | 0.93 | 0 | 9.34 | -9.28 | 7.47 | 0 | 0.18 | 9.34 | 9.34 | 0 | 18.67 | -2.06 | 0 | 0 | -2.06 | 0 | 37.35 | 4.67 | 0 | 212.86
05:00 - 05:15 | -2.27 | -5.15 | 0 | 0 | 32.68 | 0.93 | 0 | 9.34 | -9.28 | 7.47 | 0 | 0.18 | 9.34 | 9.34 | 0 | 18.67 | -2.06 | 0 | 0 | -2.06 | 0 | 37.35 | 4.67 | 0 | 210.99
05:15 - 05:30 | -2.27 | -5.15 | -5 | 0 | 0 | 0.93 | 0 | 0 | -9.28 | 7.47 | 0 | 0 | 7.47 | 9.34 | 0 | 11.19 | -2.06 | 0 | 0 | -2.06 | 0 | 37.35 | 0 | 0 | 125.94
05:30 - 05:45 | -2.27 | -5.15 | -55.26 | 0 | 0 | 0.93 | 0 | 0 | -9.28 | 7.47 | 0 | 0 | 7.47 | 0 | 0 | 0 | -2.06 | 0 | 0 | -2.06 | 0 | 37.35 | 0 | 0 | 0
05:45 - 06:00 | -2.27 | -5.15 | -112.85 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -2.06 | -15.46 | 0 | 0 | 0 | 0
06:00 - 06:15 | -2.27 | -8.25 | -125.02 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | -4.33 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -4.12 | -2.06 | -30.93 | 0 | 0 | 0 | 0
06:15 - 06:30 | -2.27 | -12.37 | -150 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | -4.33 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -4.12 | -2.06 | -10.31 | 0 | 0 | 0 | 0
06:30 - 06:45 | -2.27 | -18.56 | -150 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | -4.33 | -0.31 | 0 | 0 | 0 | 0 | -4.12 | 0 | -4.12 | -2.06 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | -2.27 | -18.56 | -210 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | -4.33 | -0.82 | 0 | 0 | 0 | 0 | -4.12 | 0 | -4.12 | -2.06 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | -2.27 | -12.37 | -146.76 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | -4.33 | -1.24 | 0 | 0 | 0 | 0 | -1.03 | 0 | -4.12 | -2.06 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | -2.27 | -8.05 | -125 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | -4.33 | -1.55 | 0 | 0 | 0 | 0 | -1.03 | 0 | -4.12 | -2.06 | -10.31 | 0 | 0 | 0 | 0
07:30 - 07:45 | -2.27 | -5.15 | -104.3 | 0 | 0 | 0.93 | -0.93 | 0 | -9.28 | 7.47 | -4.33 | -1.96 | 7.47 | 0 | 0 | 0 | -1.03 | 0 | -2.06 | -2.06 | -35.05 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | -0.08 | 10.36 | 32.68 | 0.93 | 0 | 9.34 | 0 | 7.47 | 0 | 0 | 8.4 | 9.34 | 0 | 18.67 | 0 | 0 | 0 | 0 | 0 | 0 | 4.67 | 5.23 | 0
08:00 - 08:15 | 0 | 0 | 0 | 9.89 | 32.67 | 0 | 0 | 9.34 | 0 | 0 | 0 | 0 | 0 | 9.34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.67 | 5.23 | 0
08:15 - 08:30 | -2.27 | 0 | -1.11 | 8.78 | 32.67 | 0 | 0 | 9.34 | 0 | 0 | 0 | 0 | 0 | 9.34 | 0 | 0 | 0 | 0 | 0 | 0 | -10.31 | 0 | 4.67 | 5.23 | 0
08:30 - 08:45 | -2.27 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.64 | -4.02 | 0 | 0 | 5.61 | 0 | -4.12 | 0.93 | 0 | -2.06 | -10.31 | 0 | 0 | 0 | 0
08:45 - 09:00 | -2.27 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.64 | -4.33 | 0 | 0 | 5.61 | 0 | -4.12 | 0.93 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0
09:00 - 09:15 | -2.27 | -4.12 | 0 | 0 | 0 | 0 | -1.55 | 0 | 0 | 0 | -4.64 | -4.74 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -2.06 | -10.31 | 0 | 0 | 0 | 0
09:15 - 09:30 | -2.27 | -4.12 | -90.77 | 0 | 0 | 0.93 | -1.75 | 0 | 0 | 0 | -4.64 | -4.85 | 0 | 0 | 5.61 | 0 | -4.12 | 0.93 | 0 | -2.06 | -41.24 | 11.2 | 0 | 0 | 0
09:30 - 09:45 | -2.27 | -4.12 | -162.46 | 0 | 32.68 | 0 | -1.96 | 9.34 | 0 | 0 | -4.64 | -5.15 | 0 | 9.34 | 5.61 | 0 | -4.12 | 0.93 | 0 | -2.06 | -30.93 | 14.01 | 4.67 | 5.23 | 66.27
09:45 - 10:00 | -2.27 | -1.06 | -14.89 | 4.48 | 32.68 | 0 | -0.53 | 9.34 | 0 | 0 | -1.19 | 0 | 0 | 9.34 | 5.61 | 0 | 0 | 0.93 | 0 | 0 | 0 | 14.01 | 4.67 | 5.23 | 43.86
10:00 - 10:15 | -2.27 | -4.12 | 84.24 | 0 | 0 | 0.93 | 0 | 0 | 0 | 0 | -4.64 | 2.62 | 0 | 9.34 | 5.61 | 0 | -4.12 | 0.93 | 0 | -2.06 | 0 | 32.68 | 4.67 | 5.23 | 202.58
10:15 - 10:30 | -2.27 | -4.12 | 78.68 | 0 | 0 | 0.93 | 0 | 0 | 0 | 0 | -4.64 | 2.71 | 0 | 9.34 | 5.61 | 0 | -4.12 | 0.93 | 0 | -2.06 | -10.31 | 32.68 | 4.67 | 5.23 | 196.07
10:30 - 10:45 | -2.27 | -4.12 | 301.83 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.64 | 2.71 | 0 | 9.34 | 5.61 | 0 | -4.12 | 0.93 | 0 | -2.06 | 0 | 32.68 | 4.67 | 5.23 | 195.13
10:45 - 11:00 | -2.27 | -4.12 | 301.81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.64 | 2.8 | 0 | 9.34 | 5.61 | 0 | -4.12 | 0.93 | 0 | -2.06 | -43.3 | 32.68 | 4.67 | 5.23 | 194.19
11:00 - 11:15 | -2.27 | -4.12 | 452.27 | 0 | 0 | 1.87 | -2.37 | 0 | 0 | 0 | -4.64 | 2.8 | 0 | 9.34 | 5.61 | 0 | -1.03 | 0.47 | 0 | -2.06 | -41.24 | 32.68 | 4.67 | 5.23 | 179.26
11:15 - 11:30 | -2.27 | -4.12 | 446.13 | 0 | 0 | 1.87 | -2.37 | 0 | 0 | 0 | -4.64 | 2.24 | 0 | 9.34 | 5.61 | 0 | -1.03 | 0 | 0 | -2.06 | -20.62 | 32.68 | 4.67 | 5.23 | 180.19
11:30 - 11:45 | -2.27 | -4.12 | 638.66 | 0 | 0 | 1.87 | -2.37 | 0 | 0 | 0 | -4.64 | 2.43 | 0 | 14.01 | 5.61 | 0 | -1.03 | 0 | 0 | -2.06 | 0 | 32.68 | 4.67 | 5.23 | 182.06
11:45 - 12:00 | -2.27 | -4.12 | 734.86 | 0 | 0 | 1.87 | -2.27 | 0 | 0 | 0 | -4.64 | 2.34 | 0 | 14.01 | 5.61 | 0 | -1.03 | 0 | 0 | -2.06 | 0 | 32.68 | 4.67 | 5.23 | 182.99
12:00 - 12:15 | -2.27 | -4.12 | 662.75 | 0 | 0 | 2.34 | -2.37 | 0 | 0 | 0 | -4.64 | 2.62 | 0 | 14.01 | 5.61 | 0 | -1.03 | 0 | 0 | -2.06 | 0 | 37.35 | 4.67 | 5.23 | 185.79
12:15 - 12:30 | -2.27 | -4.12 | 590.49 | 0 | 0 | 2.34 | -2.58 | 0 | 0 | 0 | -4.64 | 2.43 | 0 | 14.01 | 5.61 | 0 | -1.03 | 0 | 0 | -2.06 | -20.62 | 37.35 | 4.67 | 5.23 | 185.79
12:30 - 12:45 | -2.27 | -4.12 | 669.67 | 0 | 0 | 2.34 | -2.58 | 0 | 0 | 0 | -4.64 | 2.52 | 0 | 14.01 | 5.61 | 0 | -1.03 | 0 | 0 | -2.06 | -18.56 | 37.35 | 4.67 | 5.23 | 187.66
12:45 - 13:00 | -2.27 | -4.12 | 886.27 | 0 | 0 | 2.34 | -2.37 | 0 | 0 | 0 | -4.64 | 2.71 | 0 | 14.01 | 5.61 | 0 | -1.03 | 0 | 0 | -2.06 | 0 | 37.35 | 4.67 | 5.23 | 187.66
13:00 - 13:15 | -2.27 | -4.12 | 825.3 | 0 | 0 | 2.34 | -2.16 | 0 | 0 | 0 | -4.64 | 2.8 | 0 | 14.01 | 5.61 | 0 | -1.03 | 0 | 0 | -2.06 | 0 | 37.35 | 4.67 | 5.23 | 188.6
13:15 - 13:30 | -2.27 | -4.12 | 818.17 | 0 | 0 | 2.34 | -2.27 | 0 | 0 | 0 | -4.64 | 2.99 | 0 | 14.01 | 5.61 | 0 | -1.03 | 0 | 0 | -2.06 | 0 | 37.35 | 4.67 | 5.23 | 189.53
13:30 - 13:45 | -2.37 | -4.12 | 904.81 | 0 | 0 | 0 | -1.96 | 0 | 0 | 0 | -4.64 | 3.27 | 0 | 14.01 | 5.61 | 0 | -1.03 | 0 | 0 | -2.06 | 0 | 14.01 | 4.67 | 5.23 | 189.53
13:45 - 14:00 | -2.37 | -4.12 | 680.45 | 0 | 0 | 0 | -1.65 | 0 | 0 | 0 | -4.64 | 0 | 0 | 14.01 | 5.61 | 0 | -1.03 | 0 | 0 | -2.06 | -41.24 | 14.01 | 4.67 | 5.23 | 197
14:00 - 14:15 | -2.37 | -4.12 | 286.7 | 0 | 0 | 0.93 | -1.34 | 0 | 0 | 0 | -4.64 | 0 | 0 | 14.01 | 5.61 | 0 | -1.03 | 0 | 0 | -2.06 | -41.24 | 14.01 | 0 | 0 | 0
14:15 - 14:30 | -2.37 | -4.12 | 261.8 | 0 | 0 | 0.93 | -1.13 | 0 | 0 | 0 | -4.64 | 0 | 0 | 0 | 5.61 | 0 | -1.03 | 0 | 0 | -2.06 | -26.8 | 0 | 0 | 0 | 0
14:30 - 14:45 | -2.37 | -4.12 | 203.08 | 0 | 0 | 0.93 | -1.03 | 0 | 0 | 0 | -4.64 | -0.82 | 0 | 0 | 5.61 | 0 | -1.03 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0
14:45 - 15:00 | -2.37 | -4.12 | 275.42 | 0 | 0 | 0.93 | -0.82 | 0 | 0 | 0 | -4.64 | -3.09 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0
15:00 - 15:15 | -2.37 | -4.12 | -22.1 | 0 | 0 | 0.93 | -0.62 | 0 | 0 | 0 | -4.64 | -2.78 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0
15:15 - 15:30 | -2.37 | -4.12 | -24.67 | 0 | 0 | 0.93 | -0.41 | 0 | 0 | 0 | -4.64 | -2.16 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0
15:30 - 15:45 | -2.37 | -4.12 | -42.51 | 0 | 0 | 0.93 | -0.21 | 0 | 0 | 0 | -4.64 | -1.75 | 0 | 0 | 5.61 | 0 | -1.03 | 0 | 0 | -2.06 | -10.31 | 0 | 0 | 0 | 0
15:45 - 16:00 | -2.37 | -4.12 | -70.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.64 | -1.44 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | -2.06 | -15.46 | 0 | 0 | 0 | 0
16:00 - 16:15 | -2.37 | -4.12 | -149.8 | 0 | 0 | 1.4 | 0 | 0 | 0 | 0 | -4.64 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0
16:15 - 16:30 | -2.37 | -8.25 | -107.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.64 | -0.62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0
16:30 - 16:45 | -2.37 | -13.4 | -123.41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.64 | -0.31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0
16:45 - 17:00 | -2.37 | -16.49 | -200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | -15.46 | 0 | 0 | 0 | 0
17:00 - 17:15 | -2.37 | -16.49 | -250 | 0 | 0 | 0 | 0 | 0 | -6.19 | 0 | -4.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | -20.62 | 0 | 0 | 0 | 5.69
17:15 - 17:30 | -2.37 | -16.49 | -250 | 0 | 0 | 0 | 0 | 0 | -6.19 | 0 | -4.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | -20.62 | 0 | 0 | 0 | 3.31
17:30 - 17:45 | -2.37 | -16.49 | -250 | 0 | 0 | 0 | 0 | 0 | -6.19 | 0 | -6.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 1.52
17:45 - 18:00 | -2.37 | -16.49 | -200 | 0 | 0 | 0 | 0 | 0 | -6.19 | 0 | -6.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 104.18
18:00 - 18:15 | -2.37 | -20.62 | -200 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 57.14
18:15 - 18:30 | -2.37 | -20.62 | -200 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 57.16
18:30 - 18:45 | -2.37 | -20.62 | -225 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -2.06 | -36.08 | 0 | 0 | 0 | 94.75
18:45 - 19:00 | -2.37 | -20.62 | -225 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -2.06 | -51.55 | 0 | 0 | 0 | 95.15
19:00 - 19:15 | -2.37 | -20.62 | -150 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -2.06 | -8.25 | 0 | 0 | 0 | 0
19:15 - 19:30 | -2.37 | -20.62 | -150 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | -2.37 | -15.46 | -115.38 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | -2.37 | -10.31 | -110.96 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | -2.37 | -10.31 | -200 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -2.06 | -10.31 | 0 | 0 | 0 | 0
20:15 - 20:30 | -2.37 | -10.31 | -200 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -2.06 | -41.24 | 0 | 0 | 0 | 0
20:30 - 20:45 | -2.37 | -10.31 | -257.7 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -2.06 | -36.08 | 0 | 0 | 0 | 0
20:45 - 21:00 | -2.37 | -10.31 | -256.23 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -2.06 | -36.08 | 0 | 0 | 0 | 0
21:00 - 21:15 | -2.37 | -10.31 | -300 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -2.06 | -36.08 | 0 | 0 | 0 | 0
21:15 - 21:30 | -2.37 | -10.31 | -300 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -2.06 | -25.77 | 0 | 0 | 0 | 0
21:30 - 21:45 | -2.37 | -15.46 | -350 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -2.06 | -30.93 | 0 | 0 | 0 | 0
21:45 - 22:00 | -2.37 | -15.46 | -350 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -2.06 | -30.93 | 0 | 0 | 0 | 0
22:00 - 22:15 | -2.37 | -15.46 | -350 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | -2.37 | -15.46 | -350 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | -2.37 | -15.46 | -400 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -2.06 | -10.31 | 0 | 0 | 0 | 0
22:45 - 23:00 | -2.37 | -15.46 | -400 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | -2.37 | -10.31 | -410.35 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | -2.37 | -5.15 | -408.18 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | -2.37 | -5.15 | -395.79 | 0 | 0 | 0 | 0 | 0 | -9.28 | 7.47 | 0 | 0 | 7.47 | 0 | 0 | 0 | -2.06 | 0 | 0 | -2.06 | -15.46 | 9.34 | 0 | 0 | 0
23:45 - 24:00 | -2.37 | -5.15 | -394.01 | 0 | 0 | 0 | 0 | 0 | -9.28 | 7.47 | 0 | 0 | 7.47 | 0 | 0 | 0 | -2.06 | 0 | 0 | -2.06 | 0 | 9.34 | 0 | 0 | 0
Average | -2.2665 | -7.3744 | 28.9196 | 0.34906 | 2.7231 | 0.53906 | -0.4125 | 0.77833 | -5.5746 | 1.7119 | -2.331 | -0.025417 | 1.78 | 3.0647 | 1.4609 | 0.89448 | -2.4143 | 0.092083 | -0.27896 | -1.9742 | -10.5564 | 12.2261 | 1.1675 | 1.1441 | 45.9182