## POWER STATUS
POWER STATUS ON DT 25.10.2026
[9 empty] | 2026-10-25 | 2026-10-24
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 19:00
Demand -> | [8 empty] | 5728.0164 | 6519.4214
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla [Gate-L-0 , R-0] | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 143.708 | 3.449 | 630/590 ft | 629.6 | 628.39 | 628.17 | 239.4743 | 238.34
| Chiplima | 72(3x24) | 52.083 | 1.25 | - |  |  |  | 57.6386 | 53.199
| Balimela | 510(6x60+2x75) | 285.5 | 6.852 | 1516/1440 ft | 1506.3 | 1504.9 | 1504.8 | 28.9875 | 376.1494
| Rengali | 250(5x50) | 221.2666 | 5.3104 | 123.5/109.75 mt | 122.79 | 122.13 | 121.98 | 241.297 | 237.7823
| Upper Kolab | 320(4x80) | 106.54 | 2.557 | 858/844 mt | 856.71 | 855.8 | 855.79 | 20.3307 | 218.2491
| Upper Indravati [Gate-0] | 600(4x150) | 596.7292 | 14.3215 | 642/625 mt | 640.92 | 640.09 | 639.91 | 608.0699 | 599.3274
| Machkund | 60(50% of(3x17+3x23)) | 20.2 | 0.4848 | 2750/2685 ft | 2748.45 | 2746.8 | 2746.75 | 20.481 | 16.2247
| Total Hydro | 2099.5 | 1426.0268 | 34.2246 |  |  |  |  | 1216.279 | 1739.2719
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1534.526 | 36.8286 | RENEWABLE ENERGY (RE) |  |  |  | 1662.7113 | 1645.2284
[5 empty] | M.Hydl | 86.1585
| Total Thermal | 2200 | 1534.526 | 36.8286 | Solar | 166.0259 |  |  | 1662.7113 | 1645.2284
IPP | VEDANTA #2 | 600 (1x600) | 393.4011 | 9.4416 | Total IPPs | Yesterday's Demand Profile |  |  | 398.2422 | 494.57
| GMR #3 | 350 (1x350) | 300.2238 | 7.2054 | 794.8356 |  | MW | HRS | 311.7469 | 323.7003
| NBVL(IPP) | 60(1x60) | 53.0795 | 1.2739 |  |  |  |  | 48.982 | 53.7904
| MDTPC |  | 48.1312 | 1.1551 |  |  |  |  | 31.9547 | 55.7751
| CGPs |  | 799.8179 | 19.1956 | IPPs, CGPs & RE | Maximum | 6519 | 19:00 | 2035.0261 | 1901.6138
| Central Sector(Drawl) |  | 1196.5861 | 28.7181 | 1846.8378 | Minimum | 5504 | 06:00 | 814 | 1233.3074
| Central Sector(Sch) |  | 1248.1699 | 29.9561 |  | Average | 6003.9768 |  | 1058 | 1379.88
| Grand Total |  | 6003.9768 | 144.0954 | Instantaneous Peak demand |  | 6802 | 18:43 | 5728.0164 | 6519.4214 | 0.016423
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(5) |  | ACTUAL |  | SCHEDULE(0)
Burla | NIL | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1522.5311 | 36.5407 | 1503.9854 | 36.0956 | 1509.9966 | 36.2399
Balimela | NIL | TSTPP St-I | NIL | TPWODL | 2046.1583 | 49.1078 | 2215.6185 | 53.1748 | 1951.1757 | 46.8282
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1240.0359 | 29.7609 | 1390.3167 | 33.3676 | 1226.7845 | 29.4428
U.Kolab | 2 | KAHALGAON | 4,6 | TPSODL | 564.2926 | 13.543 | 570.5725 | 13.6937 | 573.8064 | 13.7714
Indravati | NIL | TEESTA-V | 3 | DISCOM TOTAL | 5373.018 | 128.9524 | 5680.4931 | 136.3318 | 5261.7633 | 126.2823
Machhkund | 4,5,6 | Darlipali | NIL
|  | N. KARANPURA-I | 1
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 398.2422 | GMR |  |  |  | 311.7469
| NBVL #3 | 48.982 | MDTPC |  |  |  | 32
Mini Hydel: | MEENAKSHI | 27.6645 | OPCL |  |  |  | 0
| BTPL | 15 | SAPTADHARA |  |  |  | 5
| SNHEP | 32 | KAKATIYA |  |  |  | 7
Solar: |  | 414.6948
CGPs : | JSPL (Angul) | 245.9809 | JSL(Duburi) |  |  |  | -179.7413
| ICCL | 52.3779 | visa |  |  |  | 16.903
| NALCO | -129.3325 | VAL (CGP) |  |  |  | 108.1633
| RSP | -21.1644 | BSL(MMDL) |  |  |  | 73.3017
| INDAL | 6.8338 | ADITYA ALUMINIUM |  |  |  | 4.1633e-16
| NINL | -28.2634 | VAL CPP 400 kV |  |  |  | -996.1962
| NBVL | 48.982 | Arati |  |  |  | -6.5226e-16
| BPSL(JSG) | -16.6728 | BPPL |  |  |  | 110.4351
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-10-17 | 2026-10-18 | 2026-10-19 | 2026-10-20 | 2026-10-21 | 2026-10-22 | 2026-10-23 | 2026-10-24
1388.72 | 1245.72 | 1111.0749 | 1074.5066 | 1160.8725 | 1185.59 | 1146.6693 | 1426.0268
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.24.10.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | ARYAN_ISPAT | DNHDDPDCL | -5 | AGE26AL_PSS6_KPS1_S | ODISHA | 114.35
ENVIROCARE_INFRA | BALCO_LOAD | -6.5 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -2.4 | AP41PL_BHDL | ODISHA | 55.7
ENVIROCARE_INFRA | BALCO_LOAD | -6.5 | DCBL_Rajgangpur | DALCEMAP | -6.46 | AP43PL_BKN | ODISHA | 80.57
FACORPOWER | APCPDCL | -5 | DCBL_Rajgangpur | DCBLME | -6.5 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 0.82
FACORPOWER | PUNJAB | -1.5 | DCBL_Rajgangpur | DCL_RCW | -1.54 | AWEK1L | ODISHA | 5.07
GMRKEL_STU | RUVITSL | -38.69 | DCBL_Rajgangpur | DalmiaCementNEL2 | -2.48 | AWEK1L | ODISHA | 7.6
GMRKEL_STU | TNEB | -18 | ENVIROCARE_INFRA | DNHDDPDCL | -5 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 4.41
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | FACORPOWER | BYPL | -3.5 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 19.28
JSPLANGUL | GEB_Beneficiary | -62 | GMRKEL_STU | RUVITSL | -23.21 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 17.03
JSPLANGUL | GEB_Beneficiary | -77.5 | JPIPL | TANGEDCO | 0 | DADRI_SOLAR | ODISHA | 0.68
MAADURGA_THERMAL | NPCL_UP | -17.26 | JSPLANGUL | TANGEDCO | -62 | ENERSON_SOLAR_10MW | ODISHA | 0.94
NBVLIPP | BALCO_LOAD | -46 | JSPLANGUL | TANGEDCO | -31 | GADAG_GreenInfra_W | ODISHA | 0.12
NBVLIPP | TANGEDCO | 0 | KCMW_od | DALCEMAP | -0.36 | GADAG_GreenInfra_W | ODISHA | 0
OCL_IRON_STEEL | TPL_DIS_AHM_ISTS | -51 | OCL_IRON_STEEL | WBSEDCL | -8 | GADAG_GreenInfra_W | ODISHA | 0
ODISHA | GEB_Beneficiary | -16.67 | ODISHA | CESC | -20.83 | GADAG_Serentica3_S | VLSEZ | 33.54
ODISHA | GEB_Beneficiary | -58.33 | ODISHA | DNHDDPDCL | -50 | GADAG_Serentica3_W | VLSEZ | 8.5
ORSISL | BALCO_LOAD | -3.5 | ODISHA | TANGEDCO | -100 | GIWEL_SECI_II_RE | ODISHA | 31.16
VSL | BALCO_LOAD | -5 | ODISHA | TPL_DIS_AHM | -50 | GPCL_SOLAR_10 | ODISHA | 1.72
FARIDABAD_SOLAR | ODISHA | 0.86 | ODISHA | TPL_DIS_SUR | -50 | GSECL_SOLAR | ODISHA | 1.88
JSWEL_UTKAL | ODISHA | 64.46 | ODISHA | WBSEDCL | -50 | HIRIYUR_ZREPL_W | LINDA_INDIA_K | 20.08
RAJ_SOLAR | ODISHA | 2.11 | ODISHA | WBSEDCL | -50 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.64
RAJ_SOLAR | ODISHA | 2.33 | ORSISL | TPLD | -3 | KARUR_TPVARDHAMAN_W | TSKPO | 0
|  |  | RSPL_JHARSUGUDA | TPL_DIS_SUR | -20 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.67
|  |  | SGML | TPL_DIS_SUR | -7 | Kurnool_Greenko_H_Inj | ADITYAAL | 1.68
|  |  | SMEL | TPL_DIS_SUR | -25 | Kurnool_Greenko_H_Inj | ADITYAAL | 2.47
|  |  | SMEL | TPL_DIS_SUR | -5 | NTPCRE1_SMND_BHJ2_W | ODISHA | 3.72
|  |  | Shri_JSPL | TPL_DIS_SUR | -2.5 | O2RE3PL_Wasi_klm_W | VLSEZ | 8.7
|  |  | TSBSLA | TPL_DIS_SUR | -10 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 3.11
|  |  | VIRAJ_SEPL | TANGEDCO | -10 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0.06
|  |  | VSL | DNHDDPDCL | -10 | OKWPL_RE | ODISHA | 19.08
|  |  | Darlipali_NTPC | ODISHA | 26.7 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 3.6
|  |  | HARYANA | VLSEZ | 36.09 | RWE_AP2_SECI_III | ODISHA | 11.39
|  |  | HARYANA | VLSEZ | 56.15 | RenewGreen_SLPR_HS | JSL_DUBURI | 10.82
|  |  | HARYANA | VLSEZ | 150.39 | SRI9PL_FTG3 | VLSEZ | 123.14
|  |  | JIPL | ODISHA | 115.5 | TPVSL_BKN3 | TSKPO | 0
|  |  | MYTRAHVAYU | VLSEZ | 3.33 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.09
|  |  | NALCOAP | NACL_Odisha | 2.94 | TSESOPL_BKN2 | OPL_CUTTAK | 0.11
|  |  | NSLSUGARALAND | VLSEZ | 14.44 | Tuticorin_BETAMWIND | ODISHA | 9.24
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 0
[6 empty] | XXPPL_FTG3 | ODISHA | 89.65

## DAM
DAM TRADING DETAILS FOR DT : 24.10.2026
Time Period | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | IOCL_Paradeep_Refinery | MGM_Minerals_Ltd | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | Nav_Bharat_ventures_Ltd | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | -350 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | 0 | 234.34
00:15 - 00:30 | 0 | -350 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | 0 | 234.34
00:30 - 00:45 | 0 | -350 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | 0 | 234.34
00:45 - 01:00 | 0 | -350 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | 0 | 234.34
01:00 - 01:15 | 0 | -400 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | 0 | 234.34
01:15 - 01:30 | 0 | -400 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | 0 | 234.34
01:30 - 01:45 | 0 | -400 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | 0 | 234.34
01:45 - 02:00 | 0 | -400 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | 0 | 206.33
02:00 - 02:15 | 0 | -425 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | 0 | 178.32
02:15 - 02:30 | 0 | -425 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | 0 | 150.31
02:30 - 02:45 | 0 | -425 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | 0 | 122.31
02:45 - 03:00 | 0 | -425 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | 0 | 94.29
03:00 - 03:15 | 0 | -600 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | 0 | 66.29
03:15 - 03:30 | 0 | -600 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | 0 | 38.28
03:30 - 03:45 | 0 | -600 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | 0 | 11.2
03:45 - 04:00 | 0 | -600 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | 0 | 0
04:00 - 04:15 | 0 | -525 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | 0 | 0
04:15 - 04:30 | 0 | -525 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | 0 | 0
04:30 - 04:45 | 0 | -525 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | 0 | 0
04:45 - 05:00 | 0 | -525 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | 0 | 0
05:00 - 05:15 | 0 | -525 | 0 | 0 | -1.13 | 0 | -9.28 | -2.06 | 0 | 0 | 0
05:15 - 05:30 | 0 | -525 | 0 | 0 | -1.13 | 0 | -9.28 | -2.06 | 0 | 0 | 0
05:30 - 05:45 | 0 | -525 | 0 | 0 | -1.13 | 0 | -9.28 | -2.06 | 0 | 0 | 0
05:45 - 06:00 | 0 | -525 | 0 | 0 | -1.13 | 0 | -9.28 | -2.06 | 0 | 0 | 0
06:00 - 06:15 | 0 | -575 | 0 | 0 | -1.13 | 0 | -9.28 | -2.06 | 0 | 0 | 0
06:15 - 06:30 | 0 | -575 | 0 | 0 | -1.13 | 0 | -9.28 | -2.06 | 0 | -5.15 | 0
06:30 - 06:45 | -26.29 | -575 | 0 | 0 | -1.13 | 0 | -9.28 | -2.06 | 0 | -5.15 | 0
06:45 - 07:00 | -26.29 | -575 | 0 | 0 | -1.13 | 0 | -9.28 | -2.06 | 0 | -5.15 | 0
07:00 - 07:15 | 0 | -900 | 0 | 0 | -1.13 | 0 | -9.28 | -2.06 | 0 | 0 | 0
07:15 - 07:30 | 0 | -900 | 0 | 0 | -1.13 | 0 | -9.28 | -2.06 | 0 | 0 | 0
07:30 - 07:45 | 0 | -900 | 0 | 0 | -1.13 | 0 | -9.28 | -2.06 | 0 | 0 | 0
07:45 - 08:00 | 0 | -900 | 0 | 0 | -1.13 | 0 | -9.28 | -2.06 | 0 | 0 | 0
08:00 - 08:15 | 0 | -1050 | 0 | 0 | -1.13 | 0 | 0 | -1.03 | 0 | 0 | 0
08:15 - 08:30 | 0 | -1050 | 0 | 0 | -1.13 | 0 | 0 | -1.03 | 0 | 0 | 0
08:30 - 08:45 | 0 | -1050 | 0 | 32.68 | -1.13 | 0 | 0 | -1.03 | 0 | 0 | 0
08:45 - 09:00 | 0 | -1050 | 0 | 32.67 | -1.13 | 9.34 | 0 | -1.03 | 0 | 0 | 0
09:00 - 09:15 | 0 | -1477.48 | 0 | 0 | -1.13 | 0 | 0 | -1.03 | 0 | 0 | 0
09:15 - 09:30 | 0 | -1052.5 | 0 | 0 | -1.13 | 0 | 0 | -1.03 | 0 | 0 | 0
09:30 - 09:45 | 0 | -800 | 0 | 0 | -1.13 | 0 | 0 | -1.03 | 0 | 0 | 0
09:45 - 10:00 | 0 | -800 | 0 | 0 | -1.13 | 0 | 0 | -1.03 | 0 | 0 | 0
10:00 - 10:15 | 0 | -525 | 5.23 | 0 | -1.13 | 0 | 0 | -1.03 | 0 | 0 | 0
10:15 - 10:30 | 0 | -525 | 4.86 | 0 | -1.13 | 0 | 0 | -1.03 | 0 | 0 | 0
10:30 - 10:45 | 0 | -525 | 4.86 | 0 | -1.13 | 0 | 0 | -1.03 | 0 | 0 | 0
10:45 - 11:00 | 0 | -525 | 4.86 | 0 | -1.13 | 0 | 0 | -1.03 | 0 | 0 | 0
11:00 - 11:15 | 0 | -525 | 4.3 | 0 | -1.13 | 0 | 0 | -1.03 | 0 | 0 | 0
11:15 - 11:30 | 0 | -525 | 4.67 | 0 | -1.13 | 0 | 0 | -1.03 | 0 | 0 | 0
11:30 - 11:45 | 0 | -525 | 0 | 0 | -1.13 | 0 | 0 | -1.03 | 0 | 0 | 0
11:45 - 12:00 | 0 | -394.29 | 0 | 0 | -1.13 | 0 | 0 | -1.03 | 0 | 0 | 0
12:00 - 12:15 | 0 | -350.43 | 0 | 0 | -1.13 | 0 | 0 | -1.03 | 0 | 0 | 0
12:15 - 12:30 | 0 | -350.44 | 0 | 0 | -1.13 | 0 | 0 | -1.03 | 0 | 0 | 0
12:30 - 12:45 | 0 | -300.34 | 5.04 | 0 | -1.13 | 0 | 0 | -1.03 | 0 | 0 | 0
12:45 - 13:00 | 0 | -300.34 | 5.13 | 0 | -1.13 | 0 | 0 | -1.03 | 0 | 0 | 0
13:00 - 13:15 | 0 | -350.38 | 0 | 0 | -1.13 | 0 | 0 | -1.03 | 0 | 0 | 0
13:15 - 13:30 | 0 | -350.4 | 0 | 0 | -1.13 | 0 | 0 | -1.03 | 0 | 0 | 0
13:30 - 13:45 | 0 | -350.52 | 0 | 0 | -1.13 | 0 | 0 | -1.03 | 0 | 0 | 0
13:45 - 14:00 | 0 | -350.56 | 0 | 0 | -1.13 | 0 | 0 | -1.03 | 0 | 0 | 0
14:00 - 14:15 | 0 | -432.77 | 0 | 0 | -1.13 | 0 | 0 | -1.03 | 0 | 0 | 0
14:15 - 14:30 | 0 | -525 | 0 | 0 | -1.13 | 0 | 0 | -1.03 | 0 | 0 | 0
14:30 - 14:45 | 0 | -677.01 | 0 | 0 | -1.13 | 0 | 0 | -1.03 | 0 | 0 | 0
14:45 - 15:00 | 0 | -825 | 0 | 0 | -1.13 | 0 | 0 | -1.03 | 0 | 0 | 0
15:00 - 15:15 | 0 | -525 | 0 | 32.68 | -1.13 | 0 | 0 | -1.03 | 0 | 0 | 0
15:15 - 15:30 | 0 | -793.1 | 0 | 0 | -1.13 | 0 | 0 | -1.03 | 0 | 0 | 0
15:30 - 15:45 | 0 | -1147.8 | 0 | 32.68 | -1.13 | 0 | 0 | -1.03 | 0 | 0 | 0
15:45 - 16:00 | 0 | -1520.2 | 0 | 32.67 | -1.13 | 9.34 | 0 | -1.03 | 0 | 0 | 0
16:00 - 16:15 | 0 | -1025 | 0 | 32.68 | -1.13 | 0 | 0 | -1.03 | 7.47 | 0 | 0
16:15 - 16:30 | 0 | -1180.86 | 0 | 0 | -1.13 | 0 | 0 | -1.03 | 7.47 | 0 | 0
16:30 - 16:45 | 0 | -1300 | 0 | 0 | -1.13 | 0 | 0 | -1.03 | 7.47 | 0 | 0
16:45 - 17:00 | 0 | -1100 | 0 | 0 | -1.13 | 0 | 0 | -1.03 | 7.47 | 0 | 0
17:00 - 17:15 | 0 | -575 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | 0 | 0
17:15 - 17:30 | 0 | -425 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | 0 | 0
17:30 - 17:45 | -26.29 | -325 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | -5.15 | 0
17:45 - 18:00 | -26.29 | -250 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | -5.15 | 0
18:00 - 18:15 | 0 | -250 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | -5.15 | 0
18:15 - 18:30 | 0 | -250 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | -5.15 | 0
18:30 - 18:45 | 0 | -250 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | -5.15 | 0
18:45 - 19:00 | 0 | -250 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | -5.15 | 0
19:00 - 19:15 | 0 | -250 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | -5.15 | 0
19:15 - 19:30 | 0 | -250 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | -5.15 | 0
19:30 - 19:45 | 0 | -250 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | 0 | 0
19:45 - 20:00 | 0 | -250 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | 0 | 0
20:00 - 20:15 | 0 | -250 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | 0 | 0
20:15 - 20:30 | 0 | -250 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | 0 | 0
20:30 - 20:45 | 0 | -250 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | 0 | 0
20:45 - 21:00 | 0 | -250 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | 0 | 0
21:00 - 21:15 | 0 | -250 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | 0 | 0
21:15 - 21:30 | 0 | -250 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | 0 | 0
21:30 - 21:45 | 0 | -250 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | 0 | 0
21:45 - 22:00 | 0 | -250 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | 0 | 0
22:00 - 22:15 | 0 | -375 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | 0 | 0
22:15 - 22:30 | 0 | -375 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | 0 | 0
22:30 - 22:45 | 0 | -375 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | 0 | 0
22:45 - 23:00 | 0 | -375 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | 0 | 0
23:00 - 23:15 | 0 | -450 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | 0 | 0
23:15 - 23:30 | 0 | -450 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | 0 | 0
23:30 - 23:45 | 0 | -450 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | 0 | 0
23:45 - 24:00 | 0 | -450 | 0 | 0 | -1.03 | 0 | -9.28 | -2.06 | 0 | 0 | 0
Average | -1.0954 | -544.0565 | 0.40573 | 2.0423 | -1.08 | 0.19458 | -5.8 | -1.6738 | 0.31125 | -0.5901 | 26.122

## GDAM
GDAM TRADING DETAILS FOR DT:24.10.2026
Time Period | Ampin_C&I_Three_Private_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | IOCL_Paradeep_Refinery | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | 0 | 0 | 0 | 3.73 | 0 | 0
08:15 - 08:30 | 0 | 0 | 0 | 0 | 3.73 | 0 | 0
08:30 - 08:45 | -1.86 | 0 | 0 | 0 | 3.73 | 0 | 0
08:45 - 09:00 | -3.71 | 0 | 0 | 0 | 3.73 | 0 | 0
09:00 - 09:15 | -5.26 | 0 | 0 | 32.68 | 3.73 | 46.68 | 9.34
09:15 - 09:30 | -6.7 | 0 | 0 | 32.68 | 3.73 | 46.68 | 9.34
09:30 - 09:45 | -8.14 | 0 | 0 | 32.68 | 3.73 | 46.68 | 9.34
09:45 - 10:00 | -8.97 | 0 | 0 | 32.68 | 3.73 | 46.68 | 9.34
10:00 - 10:15 | -9.79 | 0 | 0 | 32.68 | 11.2 | 46.68 | 9.34
10:15 - 10:30 | -11.44 | 0 | 0 | 32.68 | 11.2 | 46.68 | 9.34
10:30 - 10:45 | -12.47 | 0 | 0 | 32.68 | 11.2 | 46.68 | 9.34
10:45 - 11:00 | -13.2 | 0 | 0 | 32.68 | 11.2 | 46.68 | 9.34
11:00 - 11:15 | -13.4 | 0 | 0 | 32.68 | 11.2 | 46.68 | 9.34
11:15 - 11:30 | -13.81 | 0 | 0 | 32.68 | 11.2 | 46.68 | 9.34
11:30 - 11:45 | -13.92 | 48.17 | 4.86 | 32.68 | 11.2 | 46.69 | 9.34
11:45 - 12:00 | -13.92 | 48.19 | 4.95 | 32.68 | 11.2 | 46.69 | 9.34
12:00 - 12:15 | -13.92 | 48.2 | 4.86 | 32.68 | 11.2 | 46.69 | 9.34
12:15 - 12:30 | -13.71 | 48.17 | 4.86 | 32.68 | 11.2 | 46.69 | 9.34
12:30 - 12:45 | -12.99 | 0 | 0 | 32.68 | 11.2 | 46.68 | 9.34
12:45 - 13:00 | -11.55 | 0 | 0 | 32.68 | 11.2 | 46.68 | 9.34
13:00 - 13:15 | -11.75 | 48.13 | 5.04 | 32.68 | 11.2 | 46.68 | 9.34
13:15 - 13:30 | -11.34 | 48.15 | 5.13 | 32.68 | 11.2 | 46.69 | 9.34
13:30 - 13:45 | -10.31 | 48.23 | 5.51 | 32.68 | 11.2 | 46.69 | 9.34
13:45 - 14:00 | -8.87 | 48.28 | 5.61 | 32.68 | 11.2 | 46.69 | 9.34
14:00 - 14:15 | -8.04 | 48.16 | 5.88 | 32.68 | 3.73 | 46.69 | 9.34
14:15 - 14:30 | -6.7 | 47.07 | 6.35 | 32.68 | 3.73 | 46.67 | 9.34
14:30 - 14:45 | -5.05 | 0 | 0 | 32.68 | 3.73 | 46.68 | 9.34
14:45 - 15:00 | -3.61 | 0 | 0 | 32.68 | 3.73 | 46.68 | 9.34
15:00 - 15:15 | -1.65 | 0 | 0 | 0 | 3.73 | 46.68 | 9.34
15:15 - 15:30 | 0 | 0 | 0 | 32.68 | 3.73 | 46.68 | 9.34
15:30 - 15:45 | 0 | 0 | 0 | 0 | 3.73 | 46.68 | 9.34
15:45 - 16:00 | 0 | 0 | 0 | 0 | 3.73 | 0 | 0
16:00 - 16:15 | 0 | 0 | 0 | 0 | 18.67 | 27.96 | 0
16:15 - 16:30 | 0 | 0 | 0 | 0 | 18.67 | 0 | 0
16:30 - 16:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:45 - 17:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:15 - 17:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:30 - 17:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:45 - 18:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | -2.6675 | 5.0078 | 0.5526 | 8.5104 | 2.8773 | 13.4207 | 2.6269

## RTM
RTM TRADING DETAILS FOR DT: 24.10.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Ampin_C&I_Three_Private_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | IOCL_Paradeep_Refinery | Indian_Farmers_Fertiliser_Cooperative_Limited | MGM_Green_Energy_Limited_5MW_Solar_Power_Plant_Lokapada | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | Nav_Bharat_ventures_Ltd | Neelachal_Ispat_Nigam_Limited | ORISSA_SPONGE_IRON_AND_STEEL_LIMITED | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | Shri_Jagannath_Steels_&_Power_Ltd | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | -2.37 | -6.19 | 0 | -329.09 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 9.34
00:15 - 00:30 | -2.37 | -6.19 | 0 | -327.78 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | -10.31 | 0 | 0 | 9.34
00:30 - 00:45 | -2.37 | -6.19 | 0 | -327.76 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 19.42
00:45 - 01:00 | -2.37 | -6.19 | 0 | -324.83 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 19.05
01:00 - 01:15 | -2.37 | -6.19 | 0 | -268.65 | 0 | 0 | 0.93 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | -20.62 | 0 | 0 | 19.52
01:15 - 01:30 | -2.37 | -6.19 | 0 | -264.9 | 0 | 0 | 0.93 | 0 | 0 | 0 | -9.28 | 0 | 7.47 | 0 | 0 | 9.34 | 0 | 0 | 0 | 0 | -2.06 | -41.24 | 0 | 0 | 16.99
01:30 - 01:45 | -2.37 | -6.19 | 0 | -264.78 | 0 | 0 | 0.93 | 0 | 0 | 0 | -9.28 | 0 | 7.47 | 0 | 0 | 9.34 | 0 | 0 | 0 | 0 | -2.06 | -36.08 | 0 | 0 | 15.31
01:45 - 02:00 | -2.37 | -6.19 | 0 | -264.18 | 0 | 0 | 0.93 | 0 | 0 | 0 | -9.28 | 0 | 7.47 | 0 | 0 | 9.34 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 15.5
02:00 - 02:15 | -2.37 | -7.22 | 0 | -195.68 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | -25.77 | 0 | 0 | 10.92
02:15 - 02:30 | -2.37 | -7.22 | 0 | -195.29 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | -25.77 | 0 | 0 | 11.02
02:30 - 02:45 | -2.37 | -7.22 | 0 | -168.54 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 11.11
02:45 - 03:00 | -2.37 | -7.22 | 0 | -170.29 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | -36.08 | 0 | 0 | 11.3
03:00 - 03:15 | -2.37 | -7.22 | 0 | -166.94 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | -15.46 | 0 | 0 | 14.29
03:15 - 03:30 | -2.37 | -7.22 | 0 | -166.74 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 14.38
03:30 - 03:45 | -2.37 | -7.22 | 0 | -35 | 0 | 0 | 0.93 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | -30.93 | 0 | 0 | 14.47
03:45 - 04:00 | -2.37 | -7.22 | 0 | -31 | 0 | 0 | 0.93 | 0 | 0 | 0 | -9.28 | 0 | 7.47 | 0 | 0 | 9.34 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 14.56
04:00 - 04:15 | -2.37 | -7.22 | 0 | -32.76 | 0 | 0 | 0.93 | 0 | 0 | 0 | -9.28 | 0 | 5.47 | 0 | 0 | 9.34 | 0 | 0 | 0 | 0 | -2.06 | -10.31 | 0 | 0 | 12.51
04:15 - 04:30 | -2.37 | -7.22 | 0 | -37.24 | 0 | 0 | 0.93 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | -20.62 | 0 | 0 | 12.51
04:30 - 04:45 | -2.37 | -7.22 | 0 | -28.62 | 0 | 0 | 0.93 | 0 | 0 | 0 | -9.28 | 0 | 7.47 | 0 | 0 | 9.34 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 12.42
04:45 - 05:00 | -2.37 | -7.22 | 0 | -153.62 | 0 | 0 | 0.93 | 0 | 0 | 0 | -9.28 | 0 | 7.47 | 0 | 0 | 9.34 | 0 | 0 | 0 | 0 | -2.06 | -8.25 | 0 | 0 | 13.26
05:00 - 05:15 | -2.37 | -7.22 | 0 | -262.5 | 0 | 0 | 0.89 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | -20.62 | 0 | 0 | 13.26
05:15 - 05:30 | -2.37 | -7.22 | 0 | -269.78 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 11.39
05:30 - 05:45 | -2.37 | -7.22 | 0 | -317 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | -10.31 | 0 | 0 | 11.2
05:45 - 06:00 | -2.37 | -7.22 | 0 | -315.75 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | -20.62 | 0 | 0 | 11.2
06:00 - 06:15 | -2.37 | -11.34 | 0 | -326.67 | 0 | 0 | 0 | 0 | -0.1 | 0 | -9.28 | 0 | 0 | -0.52 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | -15.46 | 0 | 0 | 11.2
06:15 - 06:30 | -2.37 | -16.49 | 0 | -237.9 | 0 | 0 | 0 | -0.1 | -0.21 | 0 | -9.28 | 0 | 0 | -0.52 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 11.2
06:30 - 06:45 | -2.37 | -20.62 | 0 | -300 | 0 | 0 | 0 | -0.31 | -0.1 | 0 | -9.28 | 0 | 0 | -0.52 | -0.31 | 0 | 0 | 0 | -2.06 | -6.19 | -2.06 | -10.31 | 0 | 0 | 8.65
06:45 - 07:00 | -2.37 | -20.62 | 0 | -400 | 0 | 0 | 0 | -0.52 | -0.21 | 0 | -9.28 | 0 | 0 | -0.52 | -0.72 | 0 | 0 | 0 | -2.06 | -9.28 | -2.06 | 0 | 0 | 0 | 13.17
07:00 - 07:15 | -2.37 | -16.49 | 0 | -200 | 0 | 0 | 0 | -0.82 | -0.31 | 0 | -9.28 | 0 | 0 | -0.52 | -1.24 | 0 | 0 | 0 | -2.06 | -9.28 | -2.06 | 0 | 0 | 0 | 15.87
07:15 - 07:30 | -2.37 | -16.49 | 0 | -300 | 0 | 0 | 0 | -1.13 | -0.41 | 0 | -9.28 | 0 | 0 | -0.52 | -1.55 | 0 | 0 | 0 | -2.06 | -5.67 | -2.06 | -30.93 | 0 | 0 | 19.6
07:30 - 07:45 | -2.37 | -6.19 | 0 | -431.26 | 0 | 0 | 0.93 | -1.44 | -0.41 | 0 | -9.28 | 0 | 7.47 | -0.52 | -1.96 | 9.34 | 0 | 0 | -2.06 | -9.28 | -2.06 | -46.39 | 0 | 0 | 17.74
07:45 - 08:00 | -2.37 | -6.19 | 0 | -263.8 | 11.02 | 32.68 | 0.93 | -1.75 | -0.62 | 9.34 | -9.28 | 0 | 7.47 | -0.52 | -2.27 | 11.2 | 9.34 | 18.67 | -2.06 | -9.28 | -2.06 | 0 | 0 | 5.23 | 206.32
08:00 - 08:15 | -2.37 | -6.19 | 0 | 197.31 | 0 | 0 | 0.93 | -1.96 | 0 | 0 | 0 | 0 | 0 | -0.52 | -3.09 | 0 | 0 | 0 | 0 | -2.06 | -2.06 | 0 | 0 | 0 | 2.8
08:15 - 08:30 | -2.37 | -6.19 | 0 | 193.92 | 0 | 0 | 0.93 | -2.06 | 0 | 0 | 0 | 0 | 0 | -0.52 | -3.61 | 0 | 0 | 0 | 0 | -2.06 | -2.06 | -10.31 | 0 | 0 | 0
08:30 - 08:45 | -2.37 | -6.19 | -2.68 | 240.62 | 0 | 0 | 0.93 | -2.37 | -1.55 | 0 | 0 | 0 | 0 | -0.52 | -4.02 | 0 | 0 | 0 | -2.06 | -2.06 | -2.06 | 0 | 0 | 0 | 0
08:45 - 09:00 | -2.37 | -6.19 | -5.36 | 0 | 0 | 0 | 0.93 | -2.78 | -1.86 | 0 | 0 | 0 | 0 | -0.52 | -4.23 | 0 | 9.34 | 0 | -2.06 | -2.06 | -2.06 | -30.93 | 0 | 2.08 | 88.87
09:00 - 09:15 | -2.37 | -6.19 | -7.63 | 154.45 | 0 | 0 | 0.93 | -2.89 | -2.06 | 0 | 0 | 0 | 0 | -0.52 | -4.54 | 0 | 0 | 0 | -2.06 | 0 | -2.06 | -25.77 | 0 | 0 | 0
09:15 - 09:30 | -2.37 | -6.19 | -9.79 | 0 | 0 | 32.68 | 0.93 | -3.09 | -2.16 | 0 | 0 | 0 | 0 | -0.52 | -2.06 | 0 | 9.34 | 0 | -2.06 | 0 | -2.06 | 0 | 0 | 5.23 | 224.07
09:30 - 09:45 | -2.37 | -6.19 | -11.65 | -148.49 | 0 | 0 | 0 | -3.2 | -2.16 | 0 | 0 | 0 | 0 | -0.52 | 0 | 0 | 0 | 0 | -2.06 | 0 | -2.06 | 0 | 0 | 0 | 0
09:45 - 10:00 | -2.37 | -6.19 | -12.89 | -139.14 | 0 | 0 | 0 | -3.51 | -2.47 | 0 | 0 | 0 | 0 | -0.52 | 0 | 0 | 0 | 0 | -2.06 | 0 | -2.06 | 0 | 0 | 0 | 0
10:00 - 10:15 | -2.37 | -6.19 | -14.12 | 168.43 | 0 | 0 | 0.93 | -3.61 | -2.58 | 0 | 0 | 0 | 0 | -0.52 | 0 | 0 | 9.34 | 0 | -2.06 | 0 | -2.06 | 0 | 0 | 5.23 | 224.07
10:15 - 10:30 | -2.37 | -6.19 | -16.39 | 266.23 | 0 | 0 | 0.93 | -3.61 | -2.47 | 0 | 0 | 0 | 0 | -0.52 | 0 | 0 | 9.34 | 0 | -2.06 | 0 | -2.06 | 0 | 0 | 5.23 | 224.07
10:30 - 10:45 | -2.37 | -6.19 | -17.84 | 184.23 | 0 | 0 | 0.93 | 0 | 0 | 0 | 0 | 0 | 0 | -0.52 | 2.71 | 0 | 9.34 | 0 | -2.06 | 0 | -2.06 | -8.25 | 0 | 5.23 | 224.07
10:45 - 11:00 | -2.37 | -6.19 | -18.87 | 184.25 | 0 | 0 | 0.93 | 0 | 0 | 0 | 0 | 0 | 0 | -0.52 | 3.08 | 0 | 9.34 | 0 | -2.06 | 0 | -2.06 | 0 | 0 | 5.23 | 224.07
11:00 - 11:15 | -2.47 | -8.25 | -19.28 | 72.21 | 4.58 | 0 | 0.93 | 0 | -2.58 | 0 | 0 | 0 | 0 | -0.52 | 3.17 | 0 | 9.34 | 0 | -2.06 | 0 | -2.06 | 0 | 0 | 5.23 | 210.99
11:15 - 11:30 | -2.47 | -3.09 | -19.79 | 180.48 | 4.95 | 0 | 0.93 | 0 | -2.58 | 0 | 0 | 0 | 0 | -0.52 | 2.62 | 0 | 9.34 | 0 | -2.06 | 0 | -1.48 | 0 | 0 | 5.23 | 210.05
11:30 - 11:45 | -2.47 | 0 | -19.9 | 447.09 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.52 | 2.71 | 0 | 9.34 | 0 | -2.06 | 0 | -2.06 | 0 | 0 | 5.23 | 210.06
11:45 - 12:00 | -2.47 | 0 | -19.9 | 632.09 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.52 | 2.62 | 0 | 9.34 | 0 | -2.06 | 0 | -2.06 | 0 | 0 | 5.23 | 211
12:00 - 12:15 | -2.47 | -14.43 | -19.9 | 632.1 | 0 | 0 | 0.93 | 0 | -2.58 | 0 | 0 | 0 | 0 | -0.52 | 2.99 | 0 | 18.67 | 0 | -2.06 | 0 | -2.06 | -30.93 | 0 | 5.23 | 211
12:15 - 12:30 | -2.47 | -3.09 | -19.79 | 727.9 | 0 | 0 | 0.93 | 0 | -2.68 | 0 | 0 | 0 | 0 | -0.52 | 2.8 | 0 | 18.67 | 0 | -2.06 | 0 | -2.06 | -25.77 | 0 | 5.23 | 211
12:30 - 12:45 | -2.47 | -3.09 | -18.66 | 827.76 | 0 | 0 | 0.93 | 0 | -2.68 | 0 | 0 | 0 | 0 | -0.52 | 2.99 | 0 | 18.67 | 0 | -2.06 | 0 | -2.06 | 0 | 0 | 5.23 | 210.06
12:45 - 13:00 | -2.47 | -8.25 | -16.49 | 737.28 | 0 | 0 | 0.93 | 0 | -2.47 | 0 | 0 | 0 | 0 | -0.52 | 3.37 | 0 | 18.67 | 0 | -2.06 | 0 | -2.06 | 0 | 0 | 5.23 | 210.06
13:00 - 13:15 | -2.47 | 0 | -16.8 | 664.14 | 5.13 | 0 | 0.93 | 0 | -2.16 | 0 | 0 | 0 | 0 | -0.52 | 3.37 | 0 | 18.67 | 0 | -2.06 | 0 | 0 | 0 | 0 | 5.23 | 210.06
13:15 - 13:30 | -2.47 | 0 | -16.29 | 664.13 | 4.95 | 0 | 0.93 | 0 | -2.27 | 0 | 0 | 0 | 0 | -0.52 | 3.45 | 0 | 18.67 | 0 | -2.06 | 0 | 0 | 0 | 0 | 5.23 | 211
13:30 - 13:45 | -2.47 | 0 | -14.85 | 824.63 | 0 | 0 | 0.93 | 0 | 0 | 0 | 0 | 0 | 0 | -0.52 | 3.64 | 0 | 18.67 | 0 | -2.06 | 0 | -2.06 | -5.15 | 0 | 5.23 | 210.06
13:45 - 14:00 | -2.47 | 0 | -12.89 | 818.13 | 0 | 0 | 0.93 | 0 | 0 | 0 | 0 | 0 | 0 | -0.52 | 0 | 0 | 18.67 | 0 | -2.06 | 0 | -2.06 | -10.31 | 0 | 5.23 | 211
14:00 - 14:15 | -2.47 | 0 | -11.55 | 664.12 | 0 | 0 | 0.93 | 0 | -1.34 | 0 | 0 | 0 | 0 | -0.52 | -1.44 | 0 | 18.67 | 0 | -2.06 | 0 | -2.06 | -15.46 | 0 | 5.23 | 211
14:15 - 14:30 | -2.47 | 0 | -9.69 | 505.81 | 0 | 0 | 0.93 | 0 | -1.13 | 0 | 0 | 0 | 0 | -0.52 | -3.71 | 0 | 18.67 | 0 | -2.06 | 0 | -2.06 | 0 | 0 | 5.23 | 211
14:30 - 14:45 | -2.47 | 0 | -7.32 | 308.89 | 0 | 0 | 0.93 | 0 | -1.03 | 0 | 0 | -2.06 | 0 | -0.52 | -3.09 | 0 | 0 | 0 | -2.06 | 0 | -2.06 | 0 | 0 | 0 | 4.67
14:45 - 15:00 | -2.47 | 0 | -5.15 | 192.52 | 0 | 0 | 0.93 | 0 | -0.82 | 0 | 0 | -2.06 | 0 | -0.52 | -2.89 | 0 | 0 | 0 | -2.06 | 0 | -2.06 | 0 | 0 | 0 | 5.61
15:00 - 15:15 | -2.47 | 0 | -2.47 | -66.66 | 8.31 | 32.68 | 0.93 | -1.13 | -0.62 | 9.34 | 0 | -2.06 | 0 | -0.52 | 0 | 0 | 18.67 | 0 | -2.06 | 0 | 0 | 0 | 0 | 5.23 | 235.26
15:15 - 15:30 | -2.47 | 0 | -0.1 | 0 | 0 | 32.68 | 0.93 | -1.03 | -0.31 | 9.34 | 0 | -2.06 | 0 | -0.52 | -1.96 | 0 | 18.67 | 0 | -2.06 | 0 | -2.06 | 0 | 0 | 5.23 | 232.47
15:30 - 15:45 | -2.47 | 3.73 | 0 | -194.18 | 0 | 0 | 0.93 | -0.82 | -0.1 | 0 | 0 | -2.06 | 0 | -0.52 | -1.55 | 0 | 0 | 0 | -3.09 | 0 | -2.06 | 0 | 0 | 0 | 3.73
15:45 - 16:00 | -2.47 | -10.31 | 0 | -150.03 | 0 | 0 | 0.93 | -0.41 | 0 | 0 | 0 | -2.06 | 0 | -0.52 | -1.24 | 0 | 18.67 | 0 | -3.09 | 0 | -2.06 | -20.62 | 0 | 3.44 | 154.87
16:00 - 16:15 | -2.47 | 3.73 | 0 | -318.97 | 0 | 0 | 0.93 | -0.31 | 0 | 0 | 0 | -2.06 | 7.47 | -1.75 | -0.93 | 9.34 | 0 | 0 | -3.09 | 0 | -2.06 | 0 | 11.2 | 0 | 4.67
16:15 - 16:30 | -2.47 | 3.73 | 0 | -353.57 | 0 | 0 | 0 | -0.21 | 0 | 0 | 0 | -2.06 | 0 | -1.75 | -0.62 | 0 | 0 | 0 | -3.09 | 0 | -2.06 | 0 | 0 | 0 | 9.34
16:30 - 16:45 | -2.47 | 3.73 | 0 | -654.62 | 0 | 0 | 0 | -0.1 | 0 | 0 | -6.19 | -2.06 | 0 | -1.75 | -0.21 | 0 | 0 | 0 | -4.12 | 0 | -2.06 | 0 | 0 | 0 | 9.34
16:45 - 17:00 | -2.47 | 0 | 0 | -619.23 | 0 | 0 | 0 | 0 | 0 | 0 | -6.19 | -2.06 | 0 | -1.75 | 0 | 0 | 0 | 0 | -4.12 | 0 | -2.06 | 0 | 0 | 0 | 7.47
17:00 - 17:15 | -2.47 | -1.03 | 0 | -349.24 | 0 | 0 | 0 | 0 | 0 | 0 | -6.19 | -2.06 | 0 | -8.25 | 0 | 0 | 0 | 0 | -4.12 | -3.09 | -2.06 | 0 | 0 | 0 | 0
17:15 - 17:30 | -2.47 | 0 | 0 | -200 | 0 | 0 | 0 | 0 | 0 | 0 | -6.19 | -2.06 | 0 | -8.25 | 0 | 0 | 0 | 0 | -4.12 | -3.09 | -2.06 | -20.62 | 0 | 0 | 0
17:30 - 17:45 | -2.27 | 0 | 0 | -200 | 0 | 0 | 0 | 0 | 0 | 0 | -6.19 | -2.06 | 0 | -8.25 | 0 | 0 | 0 | 0 | -2.06 | -3.09 | -2.06 | -25.77 | 0 | 0 | 0
17:45 - 18:00 | -2.27 | 0 | 0 | -200 | 0 | 0 | 0 | 0 | 0 | 0 | -6.19 | -2.06 | 0 | -8.25 | 0 | 0 | 0 | 0 | -2.06 | -3.09 | -2.06 | 0 | 0 | 0 | 0
18:00 - 18:15 | -2.27 | 0 | 0 | -250 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | -2.06 | 0 | -2.58 | 0 | 0 | 0 | 0
18:15 - 18:30 | -2.27 | 0 | 0 | -250 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | -2.06 | 0 | -2.58 | 0 | 0 | 0 | 0
18:30 - 18:45 | -2.27 | 0 | 0 | -125 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | -2.06 | 0 | -2.58 | 0 | 0 | 0 | 0
18:45 - 19:00 | -2.27 | 0 | 0 | -225 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | -2.06 | 0 | -2.58 | -10.31 | 0 | 0 | 0
19:00 - 19:15 | -2.27 | 0 | 0 | -300 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | -2.06 | 0 | -2.58 | -20.62 | 0 | 0 | 0
19:15 - 19:30 | -2.27 | 0 | 0 | -300 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | -2.06 | 0 | -2.58 | 0 | 0 | 0 | 0
19:30 - 19:45 | -2.27 | 0 | 0 | -523.08 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | -3.09 | 0 | -2.58 | -10.31 | 0 | 0 | 0
19:45 - 20:00 | -2.27 | 0 | 0 | -565.39 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | -3.09 | 0 | -2.58 | 0 | 0 | 0 | 0
20:00 - 20:15 | -2.27 | 4.67 | 0 | -458.08 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -2.58 | 0 | 0 | 0 | 5.61
20:15 - 20:30 | -2.27 | 4.67 | 0 | -456.69 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -2.58 | -25.77 | 0 | 0 | 33.61
20:30 - 20:45 | -2.27 | 4.67 | 0 | -452.79 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0.31 | 0 | 0 | -3.09 | 0 | -2.58 | -25.77 | 18.67 | 0 | 58.82
20:45 - 21:00 | -2.27 | 4.67 | 0 | -451 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 7.47 | 0 | 0 | 9.34 | 0 | 0 | -3.09 | 0 | -2.58 | 0 | 18.67 | 0 | 86.82
21:00 - 21:15 | -2.27 | 4.67 | 0 | -465.93 | 0 | 0 | 0.93 | 0 | 0 | 0 | -9.28 | 0 | 7.47 | 0 | 0 | 9.34 | 0 | 0 | -3.09 | 0 | -2.58 | 0 | 18.67 | 5.23 | 112.97
21:15 - 21:30 | -2.27 | 4.67 | 0 | -483.54 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -2.58 | 0 | 0 | 0 | 142.85
21:30 - 21:45 | -2.47 | 4.67 | 0 | -483.62 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -2.58 | 0 | 0 | 0 | 170.86
21:45 - 22:00 | -2.47 | 4.67 | 0 | -483.08 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -2.58 | -20.62 | 0 | 0 | 197.93
22:00 - 22:15 | -2.47 | 4.67 | 0 | -506.73 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.58 | -30.93 | 0 | 0 | 225.94
22:15 - 22:30 | -2.47 | 4.67 | 0 | -507.81 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.58 | 0 | 0 | 0 | 226.87
22:30 - 22:45 | -2.47 | 4.67 | 0 | -508.54 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.58 | 0 | 0 | 0 | 227.8
22:45 - 23:00 | -2.47 | 4.67 | 0 | -506.15 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.58 | 0 | 0 | 0 | 227.8
23:00 - 23:15 | -2.47 | 4.67 | 0 | -427.99 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.58 | 0 | 18.67 | 0 | 217.54
23:15 - 23:30 | -2.47 | 4.67 | 0 | -427.98 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.58 | -8.25 | 18.67 | 0 | 218.47
23:30 - 23:45 | -2.47 | 4.67 | 0 | -403.49 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.58 | -41.24 | 0 | 0 | 218.47
23:45 - 24:00 | -2.47 | 4.67 | 0 | -402.24 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 7.47 | 0 | 0 | 9.34 | 0 | 0 | 0 | 0 | -2.58 | -30.93 | 18.67 | 0 | 218.46
Average | -2.3908 | -3.288 | -3.8338 | -108.8322 | 0.40562 | 1.3617 | 0.41615 | -0.40792 | -0.46906 | 0.29187 | -5.8002 | -0.30042 | 0.99073 | -0.805 | -0.080417 | 1.2874 | 3.5984 | 0.19448 | -1.5235 | -0.72479 | -2.1196 | -9.2783 | 1.2835 | 1.3105 | 83.8191