## POWER STATUS
POWER STATUS ON DT 26.10.2026
[9 empty] | 2026-10-26 | 2026-10-25
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 18:00
Demand -> | [8 empty] | 5387.1287 | 6396.4366
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla [Gate-L-0 , R-0] | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 226.7 | 5.4408 | 630/590 ft | 629.41 | 628.17 | 627.89 | 221 | 241.6923
| Chiplima | 72(3x24) | 63.79 | 1.531 | - |  |  |  | 55 | 66.0533
| Balimela | 510(6x60+2x75) | 161.7 | 3.8808 | 1516/1440 ft | 1506.3 | 1504.8 | 1504.9 | 29 | 470.239
| Rengali | 250(5x50) | 232.2 | 5.5728 | 123.5/109.75 mt | 122.67 | 121.98 | 121.84 | 241 | 241.1475
| Upper Kolab | 320(4x80) | 89.17 | 2.1401 | 858/844 mt | 856.67 | 855.79 | 855.77 | 65 | 219.9871
| Upper Indravati [Gate-0] | 600(4x150) | 605.06 | 14.5214 | 642/625 mt | 640.9 | 639.91 | 639.69 | 608 | 593.3334
| Machkund | 60(50% of(3x17+3x23)) | 23.43 | 0.56232 | 2750/2685 ft | 2748.45 | 2746.75 | 2746.75 | 26 | 33.0548
| Total Hydro | 2099.5 | 1402.05 | 33.6492 |  |  |  |  | 1245 | 1865.5074
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1525.65 | 36.6156 | RENEWABLE ENERGY (RE) |  |  |  | 1700 | 1539
[5 empty] | M.Hydl | 85.1213
| Total Thermal | 2200 | 1525.65 | 36.6156 | Solar | 183.5385 |  |  | 1700 | 1539
IPP | VEDANTA #2 | 600 (1x600) | 391.1432 | 9.3874 | Total IPPs | Yesterday's Demand Profile |  |  | 399.121 | 405.8008
| GMR #3 | 350 (1x350) | 293.9424 | 7.0546 | 784.6426 |  | MW | HRS | 327.4373 | 327.2256
| NBVL(IPP) | 60(1x60) | 52.7038 | 1.2649 |  |  |  |  | 54.1146 | 55
| MDTPC |  | 46.8532 | 1.1245 |  |  |  |  | 31.4676 | 55
| CGPs |  | 846.3906 | 20.3134 | IPPs, CGPs & RE | Maximum | 6396 | 18:00 | 1968 | 1865.7879
| Central Sector(Drawl) |  | 976.7738 | 23.4426 | 1899.6929 | Minimum | 5441 | 12:00 | 474.1287 | 1126.1414
| Central Sector(Sch) |  | 1121.0632 | 26.9055 |  | Average | 5804.1667 |  | 665.84 | 1285.0121
| Grand Total |  | 5804.1667 | 139.3 | Instantaneous Peak demand |  | 6570 | 18:06 | 5387.1287 | 6396.4366
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(6) |  | ACTUAL |  | SCHEDULE(1)
Burla | NIL | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1476.7913 | 35.443 | 1416.8469 | 34.0043 | 1483.8207 | 35.6117
Balimela | NIL | TSTPP St-I | NIL | TPWODL | 2175.8429 | 52.2202 | 2188.8581 | 52.5326 | 1934.0788 | 46.4179
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1254.8497 | 30.1164 | 1361.8786 | 32.6851 | 1324.179 | 31.7803
U.Kolab | 2 | KAHALGAON | 4,6 | TPSODL | 559.0297 | 13.4167 | 550.0625 | 13.2015 | 559.2594 | 13.4222
Indravati | NIL | TEESTA-V | 3 | DISCOM TOTAL | 5466.5135 | 131.1963 | 5517.6461 | 132.4235 | 5301.3379 | 127.2321
Machhkund | 4,5,6 | Darlipali | NIL
|  | N. KARANPURA-I | 1
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 399.121 | GMR |  |  |  | 327.4373
| NBVL #3 | 54.1146 | MDTPC |  |  |  | 31.4676
Mini Hydel: | MEENAKSHI | 30.2189 | OPCL |  |  |  | 0
| BTPL | 10.1176 | SAPTADHARA |  |  |  | 4.9445
| SNHEP | 31.7283 | KAKATIYA |  |  |  | 7.5116
Solar: |  | 367
CGPs : | JSPL (Angul) | 302.5089 | JSL(Duburi) |  |  |  | -217.4672
| ICCL | 48.8106 | visa |  |  |  | 14.9311
| NALCO | -118.8687 | VAL (CGP) |  |  |  | -21.6481
| RSP | -52.9982 | BSL(MMDL) |  |  |  | 37.5075
| INDAL | -1.099 | ADITYA ALUMINIUM |  |  |  | 43.5553
| NINL | -34.0304 | VAL CPP 400 kV |  |  |  | -678.7245
| NBVL | 54.1146 | Arati |  |  |  | 11.0035
| BPSL(JSG) | -2.4045 | BPPL |  |  |  | 112.803
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-10-18 | 2026-10-19 | 2026-10-20 | 2026-10-21 | 2026-10-22 | 2026-10-23 | 2026-10-24 | 2026-10-25
1245.72 | 1111.0749 | 1074.5066 | 1160.8725 | 1185.59 | 1146.6693 | 1426.0268 | 1402.05
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.25.10.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | ARYAN_ISPAT | DNHDDPDCL | -5 | AGE26AL_PSS6_KPS1_S | ODISHA | 115.64
ENVIROCARE_INFRA | BALCO_LOAD | -6.5 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -2.4 | AP41PL_BHDL | ODISHA | 56.16
ENVIROCARE_INFRA | BALCO_LOAD | -6.5 | DCBL_Rajgangpur | DALCEMAP | -7.88 | AP43PL_BKN | ODISHA | 83.72
FACORPOWER | APCPDCL | -6.67 | DCBL_Rajgangpur | DCBLME | -7.08 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 1.53
FACORPOWER | PUNJAB | -2 | DCBL_Rajgangpur | DalmiaCementNEL2 | -2.48 | AWEK1L | ODISHA | 1.91
GMRKEL_STU | RUVITSL | -38.69 | ENVIROCARE_INFRA | DNHDDPDCL | -5 | AWEK1L | ODISHA | 2.87
GMRKEL_STU | TNEB | -18 | FACORPOWER | BYPL | -4.67 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 4.9
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | GMRKEL_STU | RUVITSL | -23.21 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 13.31
JSPLANGUL | GEB_Beneficiary | -68 | JPIPL | TANGEDCO | -11.24 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 18.41
JSPLANGUL | GEB_Beneficiary | -85 | JSPLANGUL | TANGEDCO | -34 | DADRI_SOLAR | ODISHA | 0.66
MAADURGA_THERMAL | NPCL_UP | -17.26 | JSPLANGUL | TANGEDCO | -68 | ENERSON_SOLAR_10MW | ODISHA | 0.87
NBVLIPP | BALCO_LOAD | -46 | KCMW_od | DALCEMAP | -0.36 | GADAG_GreenInfra_W | ODISHA | 0
NBVLIPP | TANGEDCO | 0 | OCL_IRON_STEEL | WBSEDCL | -8.29 | GADAG_GreenInfra_W | ODISHA | 0
OCL_IRON_STEEL | TPL_DIS_AHM_ISTS | -51.58 | ODISHA | CSEB_Beneficiary | -58.33 | GADAG_GreenInfra_W | ODISHA | 0.2
ODISHA | BALCO_LOAD | -81.67 | ODISHA | DNHDDPDCL | -50 | GADAG_Serentica3_S | VLSEZ | 31.45
ORSISL | BALCO_LOAD | -3.5 | ODISHA | TANGEDCO | -100 | GADAG_Serentica3_W | VLSEZ | 22.09
VSL | BALCO_LOAD | -5 | ODISHA | TPL_DIS_AHM | -50 | GADAG_Serentica3_W | VLSEZ | 3.56
FARIDABAD_SOLAR | ODISHA | 0.86 | ODISHA | TPL_DIS_SUR | -50 | GIWEL_SECI_II_RE | ODISHA | 10.62
JSWEL_UTKAL | ODISHA | 61.32 | ODISHA | WBSEDCL | -50 | GPCL_SOLAR_10 | ODISHA | 1.74
RAJ_SOLAR | ODISHA | 2.26 | ODISHA | WBSEDCL | -50 | GSECL_SOLAR | ODISHA | 1.88
RAJ_SOLAR | ODISHA | 2.41 | ORSISL | TPLD | -3 | HIRIYUR_ZREPL_W | LINDA_INDIA_K | 22.12
|  |  | RSPL_JHARSUGUDA | TPL_DIS_SUR | -20 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.63
|  |  | SGML | TPL_DIS_SUR | -7 | KARUR_TPVARDHAMAN_W | TSKPO | 1.84
|  |  | SMEL | TPL_DIS_SUR | -25 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.87
|  |  | SMEL | TPL_DIS_SUR | -5 | Kurnool_Greenko_H_Inj | ADITYAAL | 2.51
|  |  | Shri_JSPL | TPL_DIS_SUR | -2.5 | Kurnool_Greenko_H_Inj | ADITYAAL | 3.44
|  |  | TSBSLA | TPL_DIS_SUR | -10 | NTPCRE1_SMND_BHJ2_W | ODISHA | 1.6
|  |  | VIRAJ_SEPL | TANGEDCO | -10 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 0
|  |  | VSL | DNHDDPDCL | -10 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0.13
|  |  | Assam_Ben | VLSEZ | 32.08 | OKWPL_RE | ODISHA | 6.59
|  |  | Darlipali_NTPC | ODISHA | 15.09 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 22.41
|  |  | JIPL | ODISHA | 115.5 | RWE_AP2_SECI_III | ODISHA | 4.11
|  |  | NALCOAP | NACL_Odisha | 2.89 | RenewGreen_SLPR_HS | JSL_DUBURI | 13.37
[6 empty] | SRI9PL_FTG3 | VLSEZ | 125.69
[6 empty] | TPVSL_BKN3 | TSKPO | 0
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.1
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.11
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 8.45
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 0.86
[6 empty] | XXPPL_FTG3 | ODISHA | 85.9

## DAM
DAM TRADING DETAILS FOR DT : 25.10.2026
Time Period | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | IOCL_Paradeep_Refinery | MGM_Minerals_Ltd | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | Nav_Bharat_ventures_Ltd | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | -350 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | 0 | 241.59
00:15 - 00:30 | 0 | -350 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | 0 | 241.59
00:30 - 00:45 | 0 | -350 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | 0 | 241.59
00:45 - 01:00 | 0 | -350 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | 0 | 241.59
01:00 - 01:15 | 0 | -400 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | 0 | 241.59
01:15 - 01:30 | 0 | -400 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | 0 | 241.59
01:30 - 01:45 | 0 | -400 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | 0 | 241.59
01:45 - 02:00 | 0 | -400 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | 0 | 212.71
02:00 - 02:15 | 0 | -425 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | 0 | 183.84
02:15 - 02:30 | 0 | -425 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | 0 | 154.96
02:30 - 02:45 | 0 | -425 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | 0 | 126.09
02:45 - 03:00 | 0 | -425 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | 0 | 97.21
03:00 - 03:15 | 0 | -600 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | 0 | 68.34
03:15 - 03:30 | 0 | -600 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | 0 | 39.46
03:30 - 03:45 | 0 | -600 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | 0 | 11.55
03:45 - 04:00 | 0 | -600 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | 0 | 0
04:00 - 04:15 | 0 | -525 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | 0 | 0
04:15 - 04:30 | 0 | -525 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | 0 | 0
04:30 - 04:45 | 0 | -525 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | 0 | 0
04:45 - 05:00 | 0 | -525 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | 0 | 0
05:00 - 05:15 | 0 | -525 | 0 | 0 | -1.1 | 0 | -9 | -2 | 0 | 0 | 0
05:15 - 05:30 | 0 | -525 | 0 | 0 | -1.1 | 0 | -9 | -2 | 0 | 0 | 0
05:30 - 05:45 | 0 | -525 | 0 | 0 | -1.1 | 0 | -9 | -2 | 0 | 0 | 0
05:45 - 06:00 | 0 | -525 | 0 | 0 | -1.1 | 0 | -9 | -2 | 0 | 0 | 0
06:00 - 06:15 | 0 | -575 | 0 | 0 | -1.1 | 0 | -9 | -2 | 0 | 0 | 0
06:15 - 06:30 | 0 | -575 | 0 | 0 | -1.1 | 0 | -9 | -2 | 0 | -5 | 0
06:30 - 06:45 | -25.5 | -575 | 0 | 0 | -1.1 | 0 | -9 | -2 | 0 | -5 | 0
06:45 - 07:00 | -25.5 | -575 | 0 | 0 | -1.1 | 0 | -9 | -2 | 0 | -5 | 0
07:00 - 07:15 | 0 | -900 | 0 | 0 | -1.1 | 0 | -9 | -2 | 0 | 0 | 0
07:15 - 07:30 | 0 | -900 | 0 | 0 | -1.1 | 0 | -9 | -2 | 0 | 0 | 0
07:30 - 07:45 | 0 | -900 | 0 | 0 | -1.1 | 0 | -9 | -2 | 0 | 0 | 0
07:45 - 08:00 | 0 | -900 | 0 | 0 | -1.1 | 0 | -9 | -2 | 0 | 0 | 0
08:00 - 08:15 | 0 | -1050 | 0 | 0 | -1.1 | 0 | 0 | -1 | 0 | 0 | 0
08:15 - 08:30 | 0 | -1050 | 0 | 0 | -1.1 | 0 | 0 | -1 | 0 | 0 | 0
08:30 - 08:45 | 0 | -1050 | 0 | 33.69 | -1.1 | 0 | 0 | -1 | 0 | 0 | 0
08:45 - 09:00 | 0 | -1050 | 0 | 33.68 | -1.1 | 9.63 | 0 | -1 | 0 | 0 | 0
09:00 - 09:15 | 0 | -1477.48 | 0 | 0 | -1.1 | 0 | 0 | -1 | 0 | 0 | 0
09:15 - 09:30 | 0 | -1052.5 | 0 | 0 | -1.1 | 0 | 0 | -1 | 0 | 0 | 0
09:30 - 09:45 | 0 | -800 | 0 | 0 | -1.1 | 0 | 0 | -1 | 0 | 0 | 0
09:45 - 10:00 | 0 | -800 | 0 | 0 | -1.1 | 0 | 0 | -1 | 0 | 0 | 0
10:00 - 10:15 | 0 | -525 | 5.39 | 0 | -1.1 | 0 | 0 | -1 | 0 | 0 | 0
10:15 - 10:30 | 0 | -525 | 5.01 | 0 | -1.1 | 0 | 0 | -1 | 0 | 0 | 0
10:30 - 10:45 | 0 | -525 | 5.01 | 0 | -1.1 | 0 | 0 | -1 | 0 | 0 | 0
10:45 - 11:00 | 0 | -525 | 5.01 | 0 | -1.1 | 0 | 0 | -1 | 0 | 0 | 0
11:00 - 11:15 | 0 | -525 | 4.43 | 0 | -1.1 | 0 | 0 | -1 | 0 | 0 | 0
11:15 - 11:30 | 0 | -525 | 4.81 | 0 | -1.1 | 0 | 0 | -1 | 0 | 0 | 0
11:30 - 11:45 | 0 | -525 | 0 | 0 | -1.1 | 0 | 0 | -1 | 0 | 0 | 0
11:45 - 12:00 | 0 | -394.29 | 0 | 0 | -1.1 | 0 | 0 | -1 | 0 | 0 | 0
12:00 - 12:15 | 0 | -350.43 | 0 | 0 | -1.1 | 0 | 0 | -1 | 0 | 0 | 0
12:15 - 12:30 | 0 | -350.44 | 0 | 0 | -1.1 | 0 | 0 | -1 | 0 | 0 | 0
12:30 - 12:45 | 0 | -300.34 | 5.2 | 0 | -1.1 | 0 | 0 | -1 | 0 | 0 | 0
12:45 - 13:00 | 0 | -300.34 | 5.29 | 0 | -1.1 | 0 | 0 | -1 | 0 | 0 | 0
13:00 - 13:15 | 0 | -350.38 | 0 | 0 | -1.1 | 0 | 0 | -1 | 0 | 0 | 0
13:15 - 13:30 | 0 | -350.4 | 0 | 0 | -1.1 | 0 | 0 | -1 | 0 | 0 | 0
13:30 - 13:45 | 0 | -350.52 | 0 | 0 | -1.1 | 0 | 0 | -1 | 0 | 0 | 0
13:45 - 14:00 | 0 | -350.56 | 0 | 0 | -1.1 | 0 | 0 | -1 | 0 | 0 | 0
14:00 - 14:15 | 0 | -432.77 | 0 | 0 | -1.1 | 0 | 0 | -1 | 0 | 0 | 0
14:15 - 14:30 | 0 | -525 | 0 | 0 | -1.1 | 0 | 0 | -1 | 0 | 0 | 0
14:30 - 14:45 | 0 | -677.01 | 0 | 0 | -1.1 | 0 | 0 | -1 | 0 | 0 | 0
14:45 - 15:00 | 0 | -825 | 0 | 0 | -1.1 | 0 | 0 | -1 | 0 | 0 | 0
15:00 - 15:15 | 0 | -525 | 0 | 33.69 | -1.1 | 0 | 0 | -1 | 0 | 0 | 0
15:15 - 15:30 | 0 | -793.1 | 0 | 0 | -1.1 | 0 | 0 | -1 | 0 | 0 | 0
15:30 - 15:45 | 0 | -1147.8 | 0 | 33.69 | -1.1 | 0 | 0 | -1 | 0 | 0 | 0
15:45 - 16:00 | 0 | -1520.2 | 0 | 33.68 | -1.1 | 9.63 | 0 | -1 | 0 | 0 | 0
16:00 - 16:15 | 0 | -1025 | 0 | 33.69 | -1.1 | 0 | 0 | -1 | 7.7 | 0 | 0
16:15 - 16:30 | 0 | -1180.86 | 0 | 0 | -1.1 | 0 | 0 | -1 | 7.7 | 0 | 0
16:30 - 16:45 | 0 | -1300 | 0 | 0 | -1.1 | 0 | 0 | -1 | 7.7 | 0 | 0
16:45 - 17:00 | 0 | -1100 | 0 | 0 | -1.1 | 0 | 0 | -1 | 7.7 | 0 | 0
17:00 - 17:15 | 0 | -575 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | 0 | 0
17:15 - 17:30 | 0 | -425 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | 0 | 0
17:30 - 17:45 | -25.5 | -325 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | -5 | 0
17:45 - 18:00 | -25.5 | -250 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | -5 | 0
18:00 - 18:15 | 0 | -250 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | -5 | 0
18:15 - 18:30 | 0 | -250 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | -5 | 0
18:30 - 18:45 | 0 | -250 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | -5 | 0
18:45 - 19:00 | 0 | -250 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | -5 | 0
19:00 - 19:15 | 0 | -250 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | -5 | 0
19:15 - 19:30 | 0 | -250 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | -5 | 0
19:30 - 19:45 | 0 | -250 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | 0 | 0
19:45 - 20:00 | 0 | -250 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | 0 | 0
20:00 - 20:15 | 0 | -250 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | 0 | 0
20:15 - 20:30 | 0 | -250 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | 0 | 0
20:30 - 20:45 | 0 | -250 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | 0 | 0
20:45 - 21:00 | 0 | -250 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | 0 | 0
21:00 - 21:15 | 0 | -250 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | 0 | 0
21:15 - 21:30 | 0 | -250 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | 0 | 0
21:30 - 21:45 | 0 | -250 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | 0 | 0
21:45 - 22:00 | 0 | -250 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | 0 | 0
22:00 - 22:15 | 0 | -375 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | 0 | 0
22:15 - 22:30 | 0 | -375 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | 0 | 0
22:30 - 22:45 | 0 | -375 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | 0 | 0
22:45 - 23:00 | 0 | -375 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | 0 | 0
23:00 - 23:15 | 0 | -450 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | 0 | 0
23:15 - 23:30 | 0 | -450 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | 0 | 0
23:30 - 23:45 | 0 | -450 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | 0 | 0
23:45 - 24:00 | 0 | -450 | 0 | 0 | -1 | 0 | -9 | -2 | 0 | 0 | 0
Average | -1.0625 | -544.0565 | 0.41823 | 2.1054 | -1.05 | 0.20063 | -5.625 | -1.625 | 0.32083 | -0.57292 | 26.9301

## GDAM
GDAM TRADING DETAILS FOR DT:25.10.2026
Time Period | Ampin_C&I_Three_Private_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | IOCL_Paradeep_Refinery | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | 0 | 0 | 0 | 3.85 | 0 | 0
08:15 - 08:30 | 0 | 0 | 0 | 0 | 3.85 | 0 | 0
08:30 - 08:45 | -1.8 | 0 | 0 | 0 | 3.85 | 0 | 0
08:45 - 09:00 | -3.6 | 0 | 0 | 0 | 3.85 | 0 | 0
09:00 - 09:15 | -5.1 | 0 | 0 | 33.69 | 3.85 | 48.12 | 9.63
09:15 - 09:30 | -6.5 | 0 | 0 | 33.69 | 3.85 | 48.12 | 9.63
09:30 - 09:45 | -7.9 | 0 | 0 | 33.69 | 3.85 | 48.12 | 9.63
09:45 - 10:00 | -8.7 | 0 | 0 | 33.69 | 3.85 | 48.12 | 9.63
10:00 - 10:15 | -9.5 | 0 | 0 | 33.69 | 11.55 | 48.12 | 9.63
10:15 - 10:30 | -11.1 | 0 | 0 | 33.69 | 11.55 | 48.12 | 9.63
10:30 - 10:45 | -12.1 | 0 | 0 | 33.69 | 11.55 | 48.12 | 9.63
10:45 - 11:00 | -12.8 | 0 | 0 | 33.69 | 11.55 | 48.12 | 9.63
11:00 - 11:15 | -13 | 0 | 0 | 33.69 | 11.55 | 48.12 | 9.63
11:15 - 11:30 | -13.4 | 0 | 0 | 33.69 | 11.55 | 48.12 | 9.63
11:30 - 11:45 | -13.5 | 48.17 | 5.01 | 33.69 | 11.55 | 48.13 | 9.63
11:45 - 12:00 | -13.5 | 48.19 | 5.1 | 33.69 | 11.55 | 48.13 | 9.63
12:00 - 12:15 | -13.5 | 48.2 | 5.01 | 33.69 | 11.55 | 48.13 | 9.63
12:15 - 12:30 | -13.3 | 48.17 | 5.01 | 33.69 | 11.55 | 48.13 | 9.63
12:30 - 12:45 | -12.6 | 0 | 0 | 33.69 | 11.55 | 48.12 | 9.63
12:45 - 13:00 | -11.2 | 0 | 0 | 33.69 | 11.55 | 48.12 | 9.63
13:00 - 13:15 | -11.4 | 48.13 | 5.2 | 33.69 | 11.55 | 48.12 | 9.63
13:15 - 13:30 | -11 | 48.15 | 5.29 | 33.69 | 11.55 | 48.13 | 9.63
13:30 - 13:45 | -10 | 48.23 | 5.68 | 33.69 | 11.55 | 48.13 | 9.63
13:45 - 14:00 | -8.6 | 48.28 | 5.78 | 33.69 | 11.55 | 48.13 | 9.63
14:00 - 14:15 | -7.8 | 48.16 | 6.06 | 33.69 | 3.85 | 48.13 | 9.63
14:15 - 14:30 | -6.5 | 47.07 | 6.55 | 33.69 | 3.85 | 48.11 | 9.63
14:30 - 14:45 | -4.9 | 0 | 0 | 33.69 | 3.85 | 48.12 | 9.63
14:45 - 15:00 | -3.5 | 0 | 0 | 33.69 | 3.85 | 48.12 | 9.63
15:00 - 15:15 | -1.6 | 0 | 0 | 0 | 3.85 | 48.12 | 9.63
15:15 - 15:30 | 0 | 0 | 0 | 33.69 | 3.85 | 48.12 | 9.63
15:30 - 15:45 | 0 | 0 | 0 | 0 | 3.85 | 48.12 | 9.63
15:45 - 16:00 | 0 | 0 | 0 | 0 | 3.85 | 0 | 0
16:00 - 16:15 | 0 | 0 | 0 | 0 | 19.25 | 28.82 | 0
16:15 - 16:30 | 0 | 0 | 0 | 0 | 19.25 | 0 | 0
16:30 - 16:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:45 - 17:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:15 - 17:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:30 - 17:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:45 - 18:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | -2.5875 | 5.0078 | 0.56969 | 8.7734 | 2.9677 | 13.8347 | 2.7084

## RTM
RTM TRADING DETAILS FOR DT: 25.10.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Ampin_C&I_Three_Private_Limited | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | IOCL_Paradeep_Refinery | Indian_Farmers_Fertiliser_Cooperative_Limited | Jagannath_Power_And_Infra_Private_Limited | MGM_Green_Energy_Limited_5MW_Solar_Power_Plant_Lokapada | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | Neelachal_Ispat_Nigam_Limited | ORISSA_SPONGE_IRON_AND_STEEL_LIMITED | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | Shri_Jagannath_Steels_&_Power_Ltd | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | -2.5 | 4.81 | 0 | 0 | -251.42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0
00:15 - 00:30 | -2.5 | 4.81 | 0 | 0 | -250.71 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0
00:30 - 00:45 | -2.5 | -3 | 0 | 0 | -251.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -2 | -40 | 0 | 0 | 0
00:45 - 01:00 | -2.5 | 4.81 | 0 | 0 | -251.47 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -2 | -40 | 0 | 0 | 0
01:00 - 01:15 | -2.5 | 4.81 | 0 | 0 | -253.08 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -40 | 0 | 0 | 0
01:15 - 01:30 | -2.5 | 4.81 | 0 | 0 | -253.01 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -40 | 0 | 0 | 0
01:30 - 01:45 | -2.5 | 4.81 | 0 | 0 | -251.31 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0
01:45 - 02:00 | -2.5 | -6 | 0 | 0 | -251 | 0 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0
02:00 - 02:15 | -2.5 | 5.78 | 0 | 0 | -50.5 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -10 | 0 | 0 | 0
02:15 - 02:30 | -2.5 | 5.78 | 0 | 0 | -25.36 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -10 | 0 | 0 | 0
02:30 - 02:45 | -2.5 | 5.77 | 0 | 0 | -23.53 | 0 | 0 | 1.93 | -11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -40 | 0 | 0 | 0
02:45 - 03:00 | -2.5 | 5.78 | 0 | 0 | -19.31 | 0 | 0 | 1.93 | -11 | 0 | 0 | 0 | 5.23 | 0 | 0 | 6.74 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 33.67 | 0 | 0
03:00 - 03:15 | -2.5 | 5.78 | 0 | 0 | -4.55 | 0 | 0 | 1.93 | -12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 14.71
03:15 - 03:30 | -2.5 | 5.78 | 0 | 0 | -4.55 | 0 | 0 | 1.93 | -13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 43.58
03:30 - 03:45 | -2.5 | 5.78 | 0 | 0 | -4.25 | 0 | 0 | 1.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 64.77
03:45 - 04:00 | -2.5 | 5.78 | 0 | 0 | -4.04 | 0 | 0 | 1.93 | 0 | 0 | 0 | 0 | 7.7 | 0 | 0 | 9.63 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 33.69 | 0 | 83.34
04:00 - 04:15 | -2.5 | 5.78 | 0 | 0 | -5.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 113.28
04:15 - 04:30 | -2.5 | 5.78 | 0 | 0 | -25.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 143.31
04:30 - 04:45 | -2.5 | 5.78 | 0 | 0 | -25.87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 148.22
04:45 - 05:00 | -2.5 | 5.78 | 0 | 0 | -26.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -40 | 0 | 0 | 148.22
05:00 - 05:15 | -2.5 | 5.78 | 0 | 0 | -26.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 147.26
05:15 - 05:30 | -2.5 | 5.78 | 0 | 0 | -27.81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 145.33
05:30 - 05:45 | -2.5 | 5.78 | 0 | 0 | -150 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 146.3
05:45 - 06:00 | -2.5 | 5.78 | 0 | 0 | -250 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 145.33
06:00 - 06:15 | -2.5 | 5.78 | 0 | -10 | -200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 143.41
06:15 - 06:30 | -2.5 | 5.78 | 0 | -10 | -200 | 0 | 0 | 0 | 0 | -0.1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 142.45
06:30 - 06:45 | -2.5 | 5.78 | 0 | 0 | -200 | 0 | 0 | 0 | 0 | -0.3 | -0.1 | 0 | 0 | 0 | -0.3 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -30 | 0 | 0 | 143.41
06:45 - 07:00 | -2.5 | 5.78 | 0 | 0 | -200 | 0 | 0 | 0 | 0 | -0.5 | -0.1 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 144.37
07:00 - 07:15 | -2.5 | -7 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | -0.7 | -0.5 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 149.19
07:15 - 07:30 | -2.5 | 5.78 | 0 | 0 | -200 | 0 | 0 | 2.89 | 0 | -1 | -0.7 | 0 | 7.7 | 0 | -1.5 | 9.63 | 0 | 0 | 0 | 0 | -4 | -2 | 0 | 33.69 | 0 | 152.06
07:30 - 07:45 | -2.5 | 5.78 | 0 | 0 | -427.49 | 0 | 0 | 2.89 | 0 | -1.2 | -0.8 | 0 | 7.7 | -1 | -1.9 | 9.63 | 19.25 | 0 | 0 | 0 | -4 | -2 | -10 | 33.69 | 5.39 | 153.99
07:45 - 08:00 | -2.5 | 5.78 | 0 | 0 | -397.38 | 0 | 33.69 | 2.89 | 0 | -1.5 | 0 | 9.63 | 7.7 | -1 | -2.2 | 11.55 | 19.25 | 0 | 19.25 | 0 | -4 | -2 | 0 | 33.69 | 5.39 | 384.98
08:00 - 08:15 | -2.5 | 5.29 | -2.4 | 0 | 115.47 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | -1 | -3.1 | 0 | 0 | 0 | 0 | -2 | -3 | -2 | -40 | 0 | 0 | 150.15
08:15 - 08:30 | -2.5 | 5.29 | -5.3 | 0 | 48.11 | 0 | 0 | 0 | 0 | -1.9 | 0 | 0 | 0 | -1 | -3.6 | 0 | 19.25 | 0 | 0 | -2 | -3 | -2 | -50 | 0 | 2.78 | 270.38
08:30 - 08:45 | -2.6 | 5.29 | -6.4 | 0 | -79.08 | 0 | 0 | 2.89 | 0 | -2.1 | -1.4 | 0 | 0 | -1 | -4 | 0 | 19.25 | 0 | 0 | -2 | -3 | -2 | -15 | 0 | 0 | 186.73
08:45 - 09:00 | -2.6 | 5.29 | -7.3 | 0 | -218.85 | 0 | 0 | 2.89 | 0 | -2.4 | -1.6 | 0 | 0 | -1 | -4.2 | 0 | 19.25 | 0 | 0 | -2 | -3 | -2 | 0 | 0 | 5.39 | 445.64
09:00 - 09:15 | -2.6 | 5.29 | -8 | 0 | 147.57 | 0 | 0 | 3.85 | 0 | 0 | -1.8 | 0 | 0 | -1 | -4.6 | 0 | 19.25 | 0 | 0 | -2 | 0 | -2 | -20 | 0 | 5.39 | 429.28
09:15 - 09:30 | -2.6 | -7 | -8.8 | 0 | 60.17 | 0 | 0 | 3.85 | 0 | 0 | -1.9 | 0 | 0 | -1 | -4.8 | 0 | 19.25 | 0 | 0 | -2 | 0 | -2 | 0 | 0 | 5.39 | 410.02
09:30 - 09:45 | -2.6 | -1 | -9.4 | 0 | -112.5 | 0 | 0 | 3.85 | 0 | 0 | 0 | 0 | 0 | -1 | -5 | 0 | 19.25 | 0 | 0 | -2 | 0 | -2 | -20 | 0 | 5.39 | 386.93
09:45 - 10:00 | -2.6 | -1 | -10.1 | 0 | 0 | 0 | 0 | 3.85 | 0 | 0 | -2.3 | 0 | 0 | -1 | -2.1 | 0 | 19.25 | 0 | 0 | -2 | 0 | -2 | -55 | 0 | 5.39 | 353.24
10:00 - 10:15 | -2.6 | 3.85 | -10.7 | 0 | -29.99 | 0 | 0 | 3.85 | 0 | 0 | 0 | 0 | 0 | -1 | 2.79 | 1.93 | 19.25 | 0 | 0 | -2 | -2 | 0 | -10 | 0 | 5.39 | 314.73
10:15 - 10:30 | -2.6 | 8.66 | -11.1 | 0 | -29.99 | 0 | 0 | 3.85 | 0 | 0 | 0 | 0 | 0 | -1 | 2.79 | 1.93 | 19.25 | 0 | 0 | -2 | -2 | 0 | 0 | 0 | 5.39 | 285.86
10:30 - 10:45 | -2.6 | 5.29 | -11.3 | 0 | -87.67 | 0 | 0 | 3.85 | 0 | 0 | 0 | 0 | 7.7 | -1 | 2.79 | 1.93 | 19.25 | 1.93 | 0 | -2 | -2 | -2 | -30 | 0 | 10.59 | 283.93
10:45 - 11:00 | -2.6 | 8.66 | -11.2 | 0 | -37.49 | 0 | 0 | 3.85 | 0 | 0 | 0 | 0 | 7.7 | -1 | 2.79 | 1.93 | 19.25 | 1.93 | 0 | -2 | -2 | -1.79 | 0 | 0 | 10.59 | 301.25
11:00 - 11:15 | -2.6 | 8.66 | -11.2 | 0 | 81.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.7 | -1 | 2.89 | 4.81 | 19.25 | 1.93 | 0 | -2 | -2 | 0 | 0 | 0 | 10.59 | 310.88
11:15 - 11:30 | -2.6 | 8.66 | -11.1 | 0 | 81.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.7 | -1 | 2.41 | 4.81 | 19.25 | 1.93 | 0 | -2 | -2 | 0 | -45 | 0 | 10.59 | 310.88
11:30 - 11:45 | -2.6 | 8.66 | -11 | 0 | 0 | 0 | 0 | 3.85 | 0 | 0 | 0 | 0 | 7.7 | -1 | 2.6 | 4.81 | 19.25 | 1.93 | 0 | -2 | -2 | 0 | -20 | 0 | 10.59 | 311.85
11:45 - 12:00 | -2.6 | 8.66 | -11.1 | 0 | 0 | 0 | 0 | 3.85 | 0 | 0 | 0 | 0 | 7.7 | -1 | 2.41 | 4.81 | 19.25 | 1.93 | 0 | -2 | -2 | 0 | 0 | 0 | 10.59 | 312.81
12:00 - 12:15 | -2.6 | 8.66 | -11.1 | 0 | -79.83 | 0 | 0 | 3.85 | 0 | 0 | 0 | 0 | 7.7 | -1 | 2.79 | 4.81 | 19.25 | 1.93 | 0 | -2 | 0 | 0 | -30 | 0 | 10.59 | 312.81
12:15 - 12:30 | -2.6 | 8.66 | -11.2 | 0 | -79.85 | 0 | 0 | 3.85 | 0 | 0 | 0 | 0 | 7.7 | -1 | 2.5 | 4.81 | 19.25 | 1.93 | 0 | -2 | 0 | 0 | -50 | 0 | 10.59 | 315.7
12:30 - 12:45 | -2.6 | 8.66 | -11.3 | 0 | -79.85 | 0 | 0 | 3.85 | 0 | 0 | 0 | 0 | 7.7 | -1.7 | 2.6 | 4.81 | 28.88 | 1.93 | 0 | -2 | 0 | 0 | -45 | 0 | 10.59 | 316.65
12:45 - 13:00 | -2.6 | 8.66 | -11.7 | 0 | -79.88 | 0 | 0 | 3.85 | 0 | 0 | 0 | 0 | 7.7 | -1.7 | 2.89 | 4.81 | 28.88 | 1.93 | 0 | -2 | 0 | 0 | -30 | 0 | 10.59 | 319.54
13:00 - 13:15 | -2.6 | 8.66 | 0 | 0 | -6.95 | 0 | 0 | 3.85 | 0 | 0 | 0 | 0 | 7.7 | 0 | 2.79 | 4.81 | 28.88 | 1.93 | 0 | 0 | 0 | 0 | -50 | 0 | 10.59 | 324.36
13:15 - 13:30 | -2.6 | 8.66 | -9.02 | 0 | -39.88 | 0 | 0 | 3.85 | 0 | 0 | 0 | 0 | 7.7 | -1.7 | 3.08 | 4.81 | 28.88 | 1.93 | 0 | -2 | 0 | 0 | -8 | 0 | 10.59 | 332.06
13:30 - 13:45 | -2.6 | 8.66 | -10.9 | 0 | 154.1 | 0 | 0 | 3.85 | 0 | 0 | 0 | 0 | 7.7 | -1.7 | 3.27 | 4.81 | 28.88 | 1.93 | 0 | -6 | 0 | 0 | -10 | 0 | 10.59 | 336.86
13:45 - 14:00 | -2.6 | 8.66 | -10.2 | 0 | 154.06 | 0 | 0 | 3.85 | 0 | 0 | 0 | 0 | 7.7 | -1.7 | 3.66 | 4.81 | 28.88 | 1.93 | 0 | -6 | 0 | 0 | -50 | 0 | 10.59 | 341.68
14:00 - 14:15 | -2.6 | 5.29 | -9.1 | 0 | 180.31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.7 | -1.7 | 3.85 | 4.81 | 28.88 | 1.93 | 0 | -6 | 0 | -2 | -48 | 0 | 10.59 | 329.17
14:15 - 14:30 | -2.6 | 5.29 | -8.9 | 0 | 257.84 | 0 | 0 | 1.93 | 0 | 0 | 0 | 0 | 7.7 | -1.7 | 4.14 | 4.81 | 28.88 | 1.93 | 0 | -6 | 0 | -2 | -52 | 0 | 10.59 | 319.54
14:30 - 14:45 | -2.6 | 5.29 | -8.7 | 0 | 450.22 | 0 | 0 | 1.93 | 0 | 0 | -1 | 0 | 7.7 | -1.7 | 4.81 | 4.81 | 28.88 | 1.93 | 0 | -6 | 0 | -2 | -55 | 0 | 10.59 | 340.73
14:45 - 15:00 | -2.6 | 5.29 | -8 | 0 | 439.66 | 0 | 0 | 1.93 | 0 | 0 | -0.8 | 0 | 7.7 | -1.7 | 5.01 | 4.81 | 28.88 | 1.93 | 0 | -6 | 0 | -2 | -55 | 0 | 10.59 | 366.71
15:00 - 15:15 | -2.3 | 5.29 | -7.6 | 0 | -23.03 | 0 | 0 | 1.93 | 0 | 0 | -0.6 | 0 | 7.7 | -1.7 | -0.1 | 4.81 | 28.88 | 1.93 | 0 | -2 | 0 | -2 | 0 | 0 | 10.59 | 390.76
15:15 - 15:30 | -2.3 | 5.29 | -6.7 | 0 | 192.51 | 0 | 0 | 1.93 | 0 | 0 | -0.3 | 0 | 7.7 | -1.7 | -2.1 | 4.81 | 28.88 | 1.93 | 0 | -2 | 0 | -2 | -20 | 0 | 10.59 | 423.49
15:30 - 15:45 | -2.3 | -1 | -4 | 0 | 331.88 | 0 | 0 | 1.93 | 0 | 0 | -0.2 | 0 | 7.7 | -1.7 | -1.7 | 3.85 | 28.88 | 1.93 | 0 | 0 | 0 | -2 | -50 | 0 | 10.59 | 458.12
15:45 - 16:00 | -2.3 | 0 | -1.1 | 0 | 576.87 | 0 | 0 | 1.93 | 0 | 0 | -0.1 | 0 | 7.7 | -1.7 | -1.4 | 3.85 | 28.88 | 1.93 | 0 | 0 | 0 | -2 | -50 | 0 | 0 | 279.13
16:00 - 16:15 | -2.3 | 5.29 | 0 | 0 | 0 | 0 | 0 | 3.85 | 0 | 0 | 0 | 9.63 | 15.4 | -1.7 | -1 | 6.74 | 28.88 | 1.93 | 19.25 | 0 | -1 | -2 | -55 | 0 | 10.59 | 562.08
16:15 - 16:30 | -2.3 | 5.29 | 0 | 0 | 0 | 0 | 0 | 3.85 | 0 | 0 | 0 | 0 | 15.4 | -1.7 | -0.7 | 5.78 | 28.88 | 1.93 | 19.25 | 0 | -1 | -2 | -50 | 0 | 10.59 | 613.1
16:30 - 16:45 | -2.3 | 5.29 | 0 | 0 | 220.76 | 0 | 0 | 3.85 | 0 | 0 | 0 | 0 | 15.4 | -1.7 | -0.3 | 5.78 | 0 | 1.93 | 0 | 0 | -1 | -2 | 0 | 0 | 0 | 442.74
16:45 - 17:00 | -2.3 | 5.29 | 0 | 0 | 192.07 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7 | 0 | 0 | 0 | 1.93 | 0 | 0 | -1 | -2 | -30 | 0 | 0 | 487.99
17:00 - 17:15 | -2.3 | 5.29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7 | 0 | 0 | 0 | 1.93 | 0 | 0 | -1 | -2 | -50 | 0 | 0 | 370.56
17:15 - 17:30 | -2.3 | 5.29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -2 | -50 | 0 | 0 | 375.38
17:30 - 17:45 | -2.3 | 0.7 | 0 | 0 | -114.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -2 | -40 | 0 | 0 | 374.42
17:45 - 18:00 | -2.3 | 0 | 0 | 0 | -151.99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -2 | -40 | 0 | 0 | 374.41
18:00 - 18:15 | -2.3 | 0 | 0 | 0 | -259.98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -30 | 0 | 0 | 415.8
18:15 - 18:30 | -2.3 | 0 | 0 | 0 | -335.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -30 | 0 | 0 | 415.8
18:30 - 18:45 | -2.3 | 0 | 0 | 0 | -131.44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -20 | 0 | 0 | 353.24
18:45 - 19:00 | -2.3 | 0 | 0 | 0 | -228.57 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 356.13
19:00 - 19:15 | -2.3 | 5.29 | 0 | 0 | -102.63 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 207.9
19:15 - 19:30 | -2.3 | 5.29 | 0 | 0 | -35.32 | 0 | 0 | 4.81 | 0 | 0 | 0 | 0 | 17.33 | 0 | 0 | 13.48 | 0 | 1.93 | 0 | 0 | 0 | -2 | -40 | 0 | 10.59 | 207.89
19:30 - 19:45 | -2.3 | 8.66 | 0 | 0 | 0 | 17.33 | 33.69 | 4.81 | 0 | 0 | 0 | 9.63 | 17.33 | 0 | 0.39 | 11.55 | 28.88 | 1.93 | 19.25 | 0 | 0 | 0 | -20 | 0 | 10.59 | 433.1
19:45 - 20:00 | -2.3 | 8.66 | 0 | 0 | -11.98 | 17.33 | 33.69 | 4.81 | 0 | 0 | 0 | 9.63 | 17.33 | 0 | 0.39 | 11.55 | 28.88 | 1.93 | 19.25 | 0 | 0 | 0 | 0 | 0 | 10.59 | 429.25
20:00 - 20:15 | -2.3 | 3.74 | 0 | 0 | -200.03 | 17.33 | 33.69 | 4.81 | 0 | 0 | 0 | 9.63 | 17.33 | 0 | 0.39 | 11.55 | 28.88 | 1.93 | 19.25 | 0 | 0 | -2 | -40 | 9.63 | 5.39 | 428.28
20:15 - 20:30 | -2.3 | 3.37 | 0 | 0 | -248.72 | 0 | 0 | 4.81 | 0 | 0 | 0 | 0 | 17.33 | 0 | 0.39 | 9.63 | 28.88 | 1.93 | 19.25 | 0 | 0 | -2 | -10 | 9.63 | 5.39 | 429.25
20:30 - 20:45 | -2.5 | 5.29 | 0 | 0 | -246.34 | 0 | 33.69 | 4.81 | 0 | 0 | 0 | 9.63 | 17.33 | 0 | 0.39 | 9.63 | 28.88 | 1.93 | 19.25 | 0 | 0 | -2 | 0 | 19.25 | 5.39 | 484.11
20:45 - 21:00 | -2.5 | 5.29 | 0 | 0 | -223.58 | 0 | 33.69 | 4.81 | 0 | 0 | 0 | 9.63 | 17.33 | 0 | 0.39 | 11.55 | 28.88 | 1.93 | 19.25 | 0 | 0 | -2 | 0 | 19.25 | 5.39 | 484.12
21:00 - 21:15 | -2.5 | 5.29 | 0 | 0 | -173.54 | 0 | 0 | 4.81 | 0 | 0 | 0 | 0 | 17.33 | 0 | 0 | 9.63 | 0 | 1.93 | 0 | -5 | 0 | -2 | -10 | 19.25 | 5.39 | 270.45
21:15 - 21:30 | -2.5 | 5.29 | 0 | 0 | -76.66 | 0 | 0 | 4.81 | 0 | 0 | 0 | 0 | 17.33 | 0 | 0 | 9.63 | 0 | 1.93 | 0 | -5 | 0 | -2 | 0 | 19.25 | 5.39 | 271.42
21:30 - 21:45 | -2.5 | 5.29 | 0 | 0 | 0 | 0 | 0 | 2.1 | 0 | 0 | 0 | 0 | 17.33 | 0 | 0 | 9.63 | 0 | 1.93 | 0 | -5 | 0 | -2 | -35 | 19.25 | 2.35 | 294.51
21:45 - 22:00 | -2.5 | 4.62 | 0 | 0 | -76.7 | 0 | 0 | 4.81 | 0 | 0 | 0 | 0 | 17.33 | 0 | 0 | 9.63 | 0 | 1.93 | 0 | -5 | 0 | -2 | -50 | 19.25 | 5.39 | 294.51
22:00 - 22:15 | -2.5 | 5.29 | 0 | 0 | -273.34 | 0 | 0 | 1.93 | 0 | 0 | 0 | 0 | 17.33 | 0 | 0 | 11.55 | 0 | 1.93 | 0 | -5 | 0 | -2 | 0 | 19.25 | 5.39 | 294.51
22:15 - 22:30 | -2.5 | 5.29 | 0 | 0 | -180.01 | 0 | 0 | 1.93 | 0 | 0 | 0 | 0 | 17.33 | 0 | 0 | 11.55 | 0 | 1.93 | 0 | -5 | 0 | -2 | 0 | 19.25 | 5.39 | 294.51
22:30 - 22:45 | -2.5 | 5.29 | 0 | 0 | -86.42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17.33 | 0 | 0 | 11.55 | 0 | 1.93 | 0 | -5 | 0 | -2 | -30 | 19.25 | 0 | 294.52
22:45 - 23:00 | -2.5 | 5.29 | 0 | 0 | -183.36 | 0 | 0 | 0.18 | 0 | 0 | 0 | 0 | 17.33 | 0 | 0 | 11.55 | 0 | 1.93 | 0 | -5 | 0 | -2 | 0 | 19.25 | 0.52 | 294.52
23:00 - 23:15 | -2.5 | -8 | 0 | 0 | -303.51 | 0 | 0 | 1.93 | 0 | 0 | 0 | 0 | 15.4 | 0 | 0.39 | 11.55 | 28.88 | 1.93 | 0 | -5 | 0 | -2 | 0 | 19.25 | 5.39 | 294.51
23:15 - 23:30 | -2.5 | 5.29 | 0 | 0 | -202.89 | 0 | 0 | 1.93 | 0 | 0 | 0 | 0 | 15.4 | 0 | 0.39 | 11.55 | 28.88 | 1.93 | 0 | -5 | 0 | -2 | -50 | 19.25 | 5.39 | 294.51
23:30 - 23:45 | -2.5 | 4.81 | 0 | 0 | -300.01 | 0 | 0 | 1.93 | 0 | 0 | 0 | 0 | 15.4 | 0 | 0.39 | 11.55 | 28.88 | 1.93 | 8.83 | -5 | 0 | -2 | 0 | 19.25 | 5.39 | 369.3
23:45 - 24:00 | -2.5 | 4.81 | 0 | 0 | -249.97 | 0 | 33.69 | 1.93 | 0 | 0 | 0 | 9.63 | 15.4 | 0 | 0.39 | 13.48 | 28.88 | 1.93 | 19.25 | -5 | 0 | -2 | 0 | 19.25 | 5.39 | 491.81
Average | -2.4813 | 4.6974 | -2.8742 | -0.20833 | -65.7136 | 0.54156 | 2.4566 | 1.8995 | -1.0104 | -0.13854 | -0.15833 | 0.8025 | 5.9706 | -0.58021 | 0.21104 | 3.9507 | 11.6316 | 0.92479 | 2.0972 | -1.5208 | -0.54167 | -1.6645 | -19.6667 | 4.7624 | 4.1622 | 263.8959