## Sheet1
SLDC MIS REPORT FOR MAY- 2021
(A) State Maximum Demand during the month: |  |  | 5638.07 | MW on dt: 18.05.2021, at 23:00 Hrs
(B) State Energy Accounting Status
(i) Discom Demand during the month:
Sl. No. | Name of the DISCOM | Maximum Demand with Date & Time | Energy Consumption including OA | OA Transactions | Energy Consumption excluding OA | Average Demand
|  | MVA | MU | MU | MU | MW
1 | TPCODL | 1678.485 on 20.05.21, 23:15 | 822.7505 | 38.8043 | 783.9462 | 1053.6911
2 | TPWODL | 2563.850 on 20.05.21, 11:45 | 1200.2548 | 455.0345 | 745.2203 | 1001.6401
3 | TPNODL | 1156.231 on 18.05.21, 23:15 | 555.0552 | 144.661 | 410.3942 | 551.6051
4 | TPSODL | 612.681 on 19.05.21, 19:30 | 353.7576 | 15.4035 | 338.3541 | 454.777
(ii) PAFM Reports of Thermal Generators for the month:
Sl.No. | Name of Generator |  | PAFM% |  | PLF%
1 | OPGC Stage-I |  | 77.079 |  | 77.016
2 | OPGC Stage-II |  | 95.106 |  | 91.601
3 | TTPS |  | 0 |  | 0
4 | VAL |  | 51.069 |  | 50.978
5 | GMR |  | 95.016 |  | 91.496
(iii) DSM Report For the month : APRIL 2021
Sl.No. | Name of Generator |  | Schedule in MU | Actual in MU | Deviation (A-S) | Total Deviation Charges in Rs.
1 | OPGC Stage-II |  | 419.1405 | 421.4654 | 2.3249 | 3165434.7367 | 1.3615
2 | GMR |  | 230.7044 | 233.2477 | 2.5433 | 7220977.3748 | 2.8392
*(-) implies total charges payable by the generator (+) implies total charges receivable by the generator
(C) Open Access Transaction Details during the month
| No. of OA applications processed : |  | 663 | No's
(D) SLDC Charges : SOC/MOC Charges
(i) | Amount billed during April'21: |  | Rs. | 9089168.96
(ii) | Amount Collected during May'21 : |  | Rs. | 8539238.64
(E) New Elements / Grid Substations added in OPTCL Network
Sl.No. | Date of energization | Name of element/Grid substation
1 | 04.05.2021 | 220kV LILO line from 220kV Joda-TTPS Ckt-I (loc. No.206) up to dead end tower of newly constructed 220/33kV Grid S/s, Telkoi.
2 | 31.05.2021 | 132/33kV 40MVA Power Transformer-II at 132/33kV Grid S/s, Betanoti
(F) New Elements/Grid Substations added in SCADA System
Sl.No. | Name of element/ Grid substation
1 | SN MOHANTY,11KV(SOLAR)
2 | VIVACITY,11KV(SOLAR)
3 | MGM SOLAR,11KV(SOLAR)
4 | AFTAB SOLAR,33KV
5 | MAHINDRA-1,33KV(SOLAR)
6 | MAHINDRA-2,33KV(SOLAR)
7 | MAHINDRA-3,132KV(SOLAR)
(G) Major Disturbance during the month
Sl.No. | Name of element/Grid s/s | Event |  |  |  | Duration of interruption
1 | 23.05.2021 | 220kV System Black-out at Joda Grid due to bursting of Y-ph CT in 220kV Joda-TSIL Ckt at Joda end |  |  |  | 10:15 Hrs to 11:07 Hrs
2 | 28.05.2021 | 220kV System Black-out Rengali S/Y and PH due to CVT failure in Rengali S/Y-Kaniha Ckt and snapping of Y-ph Jumper at Rengali S/Y end in 220kv Rengali S/Y-Rengali PG Ckt-II |  |  |  | 07:45 Hrs to 13:12 Hrs
(H) New Regulations notified during the month
Sl.No. | Name of the Forum | Details of Regulation |  |  |  | Date of implementation
NIL | NIL | NIL |  |  |  | NIL
(I) Training imparted to SLDC personnel during the month
Sl.No. | Name of the Organization imparting training |  | No. of personnel availed training |  | Remarks
NIL | NIL |  | NIL |  | NIL