Distribution list

###### The Director (Commercial), GRIDCO, Bhubaneswar.

###### The Director (Operation), OHPC, Bhubaneswar

###### The CGM (O&M), OPTCL, Bhubaneswar.

###### The CGM (Const.), OPTCL Bhubaneswar.

###### The CGM (RT&C), OPTCL, Bhubaneswar.

###### The CGM (PP), GRIDCO, Bhubaneswar.

###### The CGM (IT), OPTCL, Bhubaneswar.

###### The C GM (Telecom), OPTCL, Bhubaneswar.

###### The Sr. G.M (Const)-I, OPTCL, Bhubaneswar.

###### The Sr. G.M (Const)-II, OPTCL, Sambalpur.

###### The Sr. G.M (CPC), OPTCL, Bhubaneswar.

###### The Sr. G.M (CP), OPTCL, Bhubaneswar.

###### The Sr. G.M. (O&M), Zone-I, Narendrapur.

###### The Sr. G.M.(O&M), Zone-II, Meramundali.

###### The CEO, CESU, Bhubaneswar.

###### The A.O., WESCO, Burla

###### The A.O., NESCO, Balasore

###### The A.O., SOUTHCO, Berhampur.

###### The Member Secretary (GCC), OPTCL.

- The ED, Power Grid Corporation of India, Bhubaneswar.

###### The Sr. G.M. (El.), BHEP, Balimela

###### The A.G.M. (El.), CHEP, Chiplima

###### The Sr. G.M. (El.), UIHEP, Mukhiguda

###### The Sr. G.M. (El.), RHEP, Rengali

###### The D.G.M. (El.), HHEP, Burla

###### The D.G.M. (El.), UKHEP, Bariniput, Koraput

###### The S.E. (O&M), Machhakund

###### The DGM (Elect.),  IbTPS, OPGC, Banharpali.

###### The Vice President (O), IMFA, Choudwar.

###### The D.G.M. (O&M), NTPC (TTPS), Talcher.

###### The AGM (Elect.), JINDAL Stainless Ltd., Duburi

###### The G.M, HINDALCO, Hirakud.

###### The G.M.CPP, NALCO, Angul.

###### The Director, M/s. Jindal Steel & Power Ltd., Angul

###### The AVP-Vedanta Ltd (IPP), Jharsuguda

###### The G.M, Vedanta Ltd (CGP), Jharsuguda.

###### The DGM (Power Distribution), RSP, Rourkela.

###### Joint President, Aditya Aluminium Ltd., Lapanga, Sambalpur

###### The G.M.(Elect.),  Bhusan Steel Limited. Meramundali

###### The G.M. (Elect.), Bhusan Power & Steel Ltd, Budhipadar.

###### The G.M.(Elect.), IFFCO Limited.

- Director & COO, GMR Kamalanga Energy Limited, Satyanagar, Bhubaneswar.

## Odisha Power Transmission Corporation Ltd. Bhubaneswar.

Minutes of 95th PSOC meeting held on 29.03.2016 at PTC, Chandaka

List of participants is at Annexure.

Chief Load Despatcher, SLDC, OPTCL welcomed all the participants to the 95th Power System Operational Coordination meeting and highlighted the system performance during the month of February’2016 and overall power scenario of the State. He also emphasized on the drawal by all the Discoms during the month.

The meeting was chaired by CGM (O&M), OPTCL.

D.G.M. (SS), SLDC took the agenda items for discussion.

The review proceeded as follows:

1: Confirmation of minutes of 94th PSOC meeting held on 23.02.2016

The minutes of meeting was circulated vide letter No. SGM (PS)-Pl-15/2015/765(43), dated 17.03.2016 to all the members and also uploaded in the SLDC website. No comment has been received from any of the members.

Deliberation in the meeting

Since no comments have received from the members, the minutes of 94th PSOC meeting was confirmed.

PART A: List of items

List of items to be discussed in the meeting are given in the subsequent parts

PART B : SYSTEM PERFORMANCE

B1: Review of Grid Performance for the month of February’2016.

## (A)  Frequency

It was noticed that, during the month of February’16, 75.09% of times the frequency remained in the IEGC band i.e.  49.90Hz - 50.05Hz in comparison to 65.59% during the month of January’15. The maximum and minimum System frequency during the month was 50.20 Hz & 49.80Hz respectively.

## (B)  Grid demand

Grid demand for the month of  February’16 was reviewed. The energy average consumption during the month was 2993 MW. The maximum System demand of 4021 MW occurred on 23.02.2016 at 20:00 Hrs and minimum demand of 2201 MW occurred on 09.02.16 at 14:00 Hrs.

Deliberation in the meeting

It is observed that the average demand during the month of February’ 16 was increased by 177 MW and the peak demand  was increased by 160 MW from that of January’16. The average energy consumption during the month has been increased by 305 MW in comparison to February’15.

(C)  Voltage Profile of important Sub Stations in OPTCL System during the month of Feb’16.

The Voltage profile at different 220 kV buses in OPTCL system during the month of February’16 was reviewed.

Deliberation in the meeting

The maximum Voltage of 242.25 kV occurred at Jaynagar 220 kV bus while Narendrapur, 220 kV buses have experienced the minimum Voltage of 170.66 kV. CESU stated that Low Voltage is being experienced at Khurda Grid, as it is getting 132 kV supply from Narendrapur end. Kesura Grid is also experiencing low voltage. CGM (O&M) stated that Voltage at Khurda will be improved marginally, if fed from Narendrapur through Mendhasal Auto.

[Action: CGM (O&M)]

(D) Loading of 220/ 132 kV Auto at 220 kV S/Ss in OPTCL system for the month of February’16.

Auto loading of all 220 kV S/Ss was reviewed. It was noticed that some of the ICTs have not been provided with energy meter.

Deliberation in the meeting.

It was deliberated that procurement of meters was under process.

[Action: CGM (O&M)]

(E) DISCOM Drawal during the month of February’16

The schedule and actual energy drawal by Discoms for the month of February’16 was reviewed.

Deliberation in the meeting

It was noticed that WESCO & CESU had overdrawn 30.532 MU and 22.935 MU respectively during the month, while NESCO and Southco had drawn  energy almost as per their schedule. All Distribution Utilities were requested to comply with their respective drawal schedule. Southco stated that their OA import to be corrected.

[Action: All Distribution Utilities / SLDC]

(F) Energy Generation / import during the month of February’16

Energy generation and exchange during the month of February’16 was reviewed. The total quantum of energy drawn from all the generation sources including Central Sector Share and CGP/IPP support during the month was 2083.070 MU.

(G) Drawal of Machhakund Power during the month of February’16

The drawal of Machhakund power during the month of February’16 was 28.501 MU against AP drawal of 30.314 MU.

In the last meeting it was deliberated:

- Shift in charge of Jayanagar S/S shall be instructed to reduce load in case of over drawal, to avoid hand tripping of feeder from Machhakund end.

- OHPC shall persuade Machhakund authority to make the 2nd bay functional for contingency requirement.

- Southco to take follow up action for early inspection of newly constructed 33 kV Akhusing-Gumuda feeder.

- Gridco to write Machhakund authority, to compensate the quantum of energy not drawn by Odisha by allowing over drawal.

- CGM (Telecom) stated that offer from M/s Chemtrol for providing RVDU at Jayanagar control room is awaited for want of OSI licenses.

Deliberations in the meeting

It was decided that Sr. G.M (O&M), Zone-I shall instruct Jayanagar suitably.

DGM (OHPC) Upper Kolab stated that he had visited Machhakund PH and discussed with them. They have taken action procurement of equipments to make the bay functional.

CLD, SLDC stated that Machhakund authority are not taking up the maintenance work in case of breakdown of Jayanagar feeder at their end, rather they are depending OPTCL for maintenance work. OHPC may discuss the issue with Machhakund.

Southco stated that inspection of 33 kV Akhusing –Gumuda feeder is likely to be done by 15th April’16.

CGM (Telecom) stated that M/s Chemtrol is negotiating for reduction of licensing charge, which is around 7 lacs.

[Action: CGM(Telecom) / Sr.GM (O&M)-II / OHPC / Southco / Gridco / SLDC]

(H) Under Frequency relay operation in OPTCL System during the month of February’16.

There is no UF Relay operation occurred during the month of February’16 as the frequency had never gone beyond 48.50 Hz.

PART C – Issues to be raised in 118th OCC meeting of ERPC to be held on 26.02.16

C.1: Implementation of Automatic Demand management Scheme

OPTCL vide mail dated 24.02.2016 pointed that Hon’ble CERC vide their order dated 31.12.2015 passed in Sou-motu Petition No.- 5/SM/2014 in the matter of non-compliance of Regulation 5.4.2 (d) of IEGC directed all Respondents (SLDCs) for implantation of ADMS in their respective control area. CERC have allowed dead line till 30.06.2016 to the Respondent for implementation of ADMS. Failing which they will be liable for action under Section 142 of the Act.

OCC may provide / guide the mechanism / logic for implementation of ADMS in the state system to the constituents.

DVC and West Bengal stated that they are in the process of development of the scheme for their respective area. ERPC advised to develop the ADMS in the State control area. The Discoms may be advised to development ADMS for their respective control area. OPTCL may take necessary action for implementation of the same.

Deliberations in the meeting

It was decided that SLDC shall take necessary action for appointment of consultant to prepare the tender documents. In subsequent step, tender process may be taken up by SLDC for implementing the ADMS in OPTCL system in coordination with Telecom and O&M.

[Action: SLDC/ GM (Teleco0M/O&M]

C.2: Charging of 220 KV Raigarh (PGCIL)- Budhipadar line

The issue was discussed in 117th OCC meeting followed by discussion in 32nd TCC OPTCL informed in the 32nd TCC that 60 km line belongs to them and some details such as protection setting, meter and communication details are needed to fill B1 to B5 formats.

TCC advised OPTCL to coordinate with Powergrid and submit the formats and advised Powergrid to provide the relevant information to OPTCL.

Subsequently, ERPC has taken up the issue with WRPC, OPTCL & Powergrid to charge the above line.

WRPC vide letter dated 08.03.2016 has requested PGCIL and CSPTCL to interact with OPTCL representatives for charging the line.

Deliberations in the meeting

O&M stated that Powergrid shall make the relay setting at their end and intimate the details to OPTCL for relay setting at Budhipadar end. Powergrid representative of Odisha have agreed to coordinate.

[Action: Powergrid, Odisha / O&M]

C.3: 220 kV inter-connecting lines of OPTCL with 400/220 kV Bolangir (PG), Keonjhar & Pandiabil S/s

PGCIL has already commissioned the 2 X 315MVA 400/220kV Bolangir S/s by LILOing of 400kV Meramandali-Jeypore S/C line and 400/220 kV Keonjhar S/s with an objective of supplying power from ER grid to its adjoining areas in Odisha.

In 119th OCC, OPTCL updated the completion schedule of inter-connecting system as follows:

| Sl. No. | Name of the transmission line | Completion schedule |
| --- | --- | --- |
| 1. | 2 X 315MVA 400/220kV Bolangir S/s |
| a. | LILO of one circuit of Sadeipalli-Kesinga 220 kV D/C line at Bolangir S/S. | 7 out of 14 completed. Severe ROW problem. Negotiation under progress. |
| b. | LILO of one circuit of Katapalli-Sadeipalli 220 kV D/C line at Bolangir S/S. | All work completed. ERLDC agreed to charge the line without PLCC. Powergrid, Odisha has sent the relay settings to their corporate office for approval. Expected to be made through by end of April’16. |
| 2. | 400/220 kV Keonjhar S/S. |
| a. | Keonjhar (PG)-Keonjhar (OPTCL) 220 kV D/C line | Work order expected to be issued by Feb-16 |
| b. | Keonjhar (PG)-Turumunga (OPTCL) 220 kV D/C Line. | Yet to be awarded |
| 3. | 400/220 kV Pandiabil Grid S/s |
| a. | Pratapsasan(OPTCL)-Pandiabil (PG) 220 kV D/C line | It will take 1 year for completion. |
| b. | LILO of one circuit of Atri-Puri (Samangara) 220 kV D/C line at Pandiabil (PG) | Pandiabili S/S is expected to be completed by April’16. LILO of Atri-Samangra 220 kV line at Pandiabili, by July’16 |

[Action: CGM (Const) / CGM (O&M)/ Powergrid]

C.4: Preparation of crisis management plan for Cyber Security in Power Sector in line with CERT-IN.

The activity of the preparation of Crisis Management Plan for countering the cyber attacks and its implementation including the Mock Drills, audits etc. is being monitored by CEA regularly in line with crisis management plant of Ministry of Power. Power Utilities (including generation, transmission & distribution utilities) of eastern region are to furnish regularly, the updated status to Chief Engineer, Distribution Planning & Development Division, CEA.NTPC communicated their activity of the preparation of Crisis Management Plan for countering the cyber attacks vide letter dated 2nd August, 2013.

In 113th OCC, Member Secretary informed that during interaction with consultants of Grid Study Committee, NLDC agreed that they will plan for conducting workshops on crisis management plan for Cyber Security and few workshops will also be held in Eastern Region.

In the last meeting, CGM (IT) stated that the draft report has been prepared, which has to be finalized by the consultant. After finalizing the report, a workshop shall be organized by IT.

Deliberations in the meeting.

IT representative stated that tendering has been done. It may take one month time.

[Action: CGM (IT)]

C.5: Certification through BIS as per IS 18001:2007 to all generating/ transmission units.

In 84th OCC meeting all constituents were requested to interact with BIS with intimation to ERPC and get certified as per CEA direction.

In 85th OCC, NTPC informed that NTPC-Farakka has been certified with IS 18001. Other constituents including OHPC requested to interact with BIS with intimation to ERPC and get certified as per CEA direction. The matter is getting reviewed by highest authorities with top priority.

In the last meeting it was decided that BIS shall be reminded again. OPTCL may take the help of any consultancy agency for the above purpose.

Deliberations in the meeting.

O&M stated that BIS, Kolkata have responded to send their offer.

[Action: CGM (O&M)]

C.6: Replacement / repair of meters on Various Locations

i. Replacement/Repair of Defective meter at Mendhasal – SLDC, Odisha

Meter at Mendhasal (GRIDCO) end of Mendhasal (GRIDCO) – Baripada (PG)- I is defective since more than two months. SLDC, Odisha vide mail dated 05.01.2016 have requested for early replacement / repair of meter at Mendhasal.

In the last meeting SLDC stated that the meter at Mendhasal end is functioning at present. Gridco may raise the issue for adjustment of the reactive power flow recorded in the past period, during which the meter was defective.

Deliberations in the meeting.

Powergrid stated that meters are available for Mendhasal (GRIDCO) – Baripada (PG)- I ckt. Gridco stated that Powergrid may replace the meters. It was decided that Gridco may raise the issue in the Commercial Committee meeting of ERPC for waving out the reactive power injection charges during the period.

[Action: GRIDCO]

ii. Installation of New SEMs in B/C panels at Joda Grid S/s of OPTCL - OPTCL

OTPCL vide mail dated 30.12.2015 have requested for installation of new SEMs at B/C panel at their Joda GSS for 220kV Joda- Ramchandarpur & Joda – Jindal Interstate tie lines.

In the 117th OCC meeting Powergrid informed that required meters are already installed and SEM for bus coupler is not required.

SLDC deliberated in the OCC that, since there is no line CT, installation of meter in the B/C bay was sought for.

Deliberations in the meeting.

SLDC has deliberated the issue before the OCC. Powergrid was requested to install meters at Joda.

[Action: Powergrid]

C.7: Dynamic data of Generator Models required in PSSE for Simulations – ERLDC

To carryout proper simulation studies in PSSE, actual generator parameters are required as incomplete or incorrect modeling of generator may not give valid simulation result. Hence all the generating companies are requested to furnish data for generator, exciter, governor, PSS of their all generating units in the format.

In 114th OCC, the house was informed that the formats are available at ERPC website.(www.erpc.gov.in)

OCC advised all the generating utilities to submit the relevant information as per the format.

Deliberations in the meeting.

OHPC stated that only 30 % data are available with them. SLDC stated that they may forward the data to ERPC / ERLDC. All other generators including CPPs may furnish their data to ERPC.

[Action: OHPC/ All generators /CPPs]

C.8: Furnishing data to CTU for TTC / ATC estimation in planning horizon

CTU vide letter dated 08/01/2016 requested all states to furnish their respective bus-wise projected demand for 2017-18 and 2018-19 and also intra state transmission system data (220 kV and above) to work out ATC / TTC in planning horizon. A reminder in this regard was further sent by CTU to all states on 04/02/2016.

Deliberations in the meeting.

It was decided that SLDC shall expedite for computing ATC /TTC in respect of OPTCL network.

[Action: SLDC]

C.9: Mock Black start exercises in Eastern Region – ERLDC

| Sl. No. | Name of Hydro Station | Schedule (1st) | Tentative Date | Schedule (2nd) | Tentative Date |
| --- | --- | --- | --- | --- | --- |
| 1 | U.Kolab | Last week of May, 2015 | Done on 16/07/2015 | Last Week of January, 16 | Done on 28.03.2016 |
| 2 | Rengali | 2nd week of June 2015 | - | Last Week of November, 15 | Done on 09.02.2016 |
| 3 | U. Indravati | 3rd week of June 2015 | Done on 16/07/2015 | 2nd week of February 2016 | Done on 28.03.2016 |
| 4 | Balimela | 1st week of November,15 | Done on 24/11/2015 | 1st week of March 2016 | Done on 21st March, 2016 |
| 5 | Burla | Last week of July,15 | Done on 19/01/2016 | Last week of February,2016 |  |

During black start exercise of Balimela unit, it is observed that a considerable time was taken to bring the black started unit to the bus, which is not solving the purpose of the exercise to acquaint the operators for quick restoration in case of system black out.

Deliberations in the meeting.

OHPC may educate the Power station shift engineers to get acquainted with the standard procedure and minimize the restoration time, which is the very purpose of the exercise.

[Action: OHPC]

PART-D – Operational Issues

D.1: Non-compliance of drawal schedule by DISCOMs

Non compliance of drawal schedule messages issued to Discoms during the month of February’16 was reviewed.

It is noticed that WESCO and CESU had overdrawn a substantial quantum of power to the tune of 30.532 MU and 22.935 MU respectively, while Southco & NESCO had almost drawn as per the schedule.

Deliberations in the meeting.

SLDC stated that 5 nos of messages were issued to WESCO for compliance of drawal schedule.

All the Discoms were advised to remain in the schedule to maintain grid discipline and security.

[Action: All Discom utilities]

D.2: Revival of Station Transformer for Station Auxiliary supply at Balimela HEP.

It was suggested in earlier meetings for revival of station supply for Balimela HEP from Balimela Grid S/S.

Deliberations in the meeting

OHPC stated that revival of station transformer to avail supply from Balimela 220/33 kV S/S will be done by end of March’ 2016.

[Action: OHPC]

D.3: Prolonged outage of transmission elements and tentative revival dates

The tentative revival dates of transmission elements are updated in the last meeting are as follows:

| Sl.No | Name of transmission element | Reason of outage | Probable date of revival |
| --- | --- | --- | --- |
| 1 | 220kVJayanagar-Theruvali ckt-III breaker | Breaker already erected but not commissioned. | All work completed. Not yet charged. |
| 2 | 132 kV Jayanagar-Sunabeda line | For conversion to Double ckt | April’16. |
| 3 | 220 kV TTPS-Joda ckt-I | Replacement of conductor | April’2016 |
| 4 | 220 kV Meramundali-Bhanjanagar ckt-I | Replacement of conductor | April’2016 |

Deliberations in the meeting

CLD, SLDC stated that Outage of 220 kV Meramundali –Bhanjanagar ckt-I is causing overloading of Mendhasal ICT, which may aggravate during summer. Outage of TTPS-Joda ckt-I, limits the operational flexibility.

[Action: C.G.M. (O&M)]

D.4. Tripping of 400 kV Vedanta-Meramundali D/C line.

It is noticed that in case of tripping of 400 kV Vedanta-Meramundali ckt-I, ckt –II of the said line also trips at Vedanta end causing evacuation problem of Vedanta IPP generation. Outage of 600 MW (Vedanta) generation is also creating load generation mismatch and the State is forced to overdraw power from the Grid, which lead to heavy financial implications to Gridco as well as violation of grid discipline. M/S Vedanta should examine their bus configuration and rectify the problem. Also there is no carrier inter tripping arrangement for the above line. Frequent tripping of the line is also noticed. It is to mention here that the lines have been charged recently i.e. during last day of December-15.

Deliberations in the meeting

Director (Commercial) stated that there will be a meeting between O&M, Vedanta and Gridco today to discuss the issue.

[Action: Vedanta Ltd / O&M / Gridco]

D.5. Delay in restoration of transmission elements.

It is noticed that some of the Grid S/Ss are taking considerable time for restoration of transmission lines after tripping. On enquiry, it is learnt that the delay is due to manual spring charging, as automatic spring charge mechanism is not functioning properly. O&M may identify such breakers and take initiative to rectify.

Deliberations in the meeting

SLDC stated that Jayanagar S/S took a considerable time (some hours) for restoration of the transmission line. It was decided that the CBs shall be properly maintained to avoid delay in restoration of transmission elements after tripping.

[Action: O&M]

D.6. Maintenance of 400 kV Indravati (OHPC)- Indravati (PG) S/C line.

Indravati(OHPC)-Indravati(PG) 400 kV S/C line was being maintained by Powergrid since commissioning of the line. At present Powergrid is insisting OHPC / OPTCL for maintenance of the said line. As per Powergrid’s statement, the line and bay at PGCIL end belongs to the then OSEB. A meeting was convened between Powergrid, OPTCL, Gridco and SLDC to resolve the ownership dispute. Powergrid vide their letter dated 19.03.2016, addressed to CGM (O&M) also indicated the same and requested OPTCL to take up the maintenance work. The line was tripped at PG end due to blasting of R-phase CB. OHPC and OPTCL may verify the records and resolve the issue.

Deliberations in the meeting

Powergrid stated that since the line and bay at Indravati PG belongs to OPTCL / OHPC, they should take up the maintenance work. Director (Commercial ) stated that OHPC may collect the documents pertaining the ownership of the line and ICT at Indravati (OHPC) S/S from Govt. office, as the matter was dealt by the then Indravati Cell of under Electricity-cum –Electrical Projects. OHPC may intimate to OPTCL, the details of the 400 kV SC line. CGM (O&M) stated that let Powergrid shall maintain the bay at Indravati (PG) and OPTCL shall maintain the two nos of bays at Mendhasal S/S (Baripada PG and Duburi line) for smooth operation of the system till a decision is made in this regard.

It was decided that a meeting shall be convened to take a decision in this regard by 15th April’16. It was further decided that OPTCL shall provide the breaker pole and Powergrid will take up the restoration work at Indravati (PG). OHPC shall coordinate.

[Action: O&M / OHPC / Powergrid]

D.7: Communication issues

- Installation of communication equipment by CGPs / Industries.

The status of data communication from CGPs as deliberated in the last meeting is as follows

| Sl. No | Name of CGP | Present status |
| --- | --- | --- |
| 1 | M/s IFFCO, Paradeep | Outdoor commissioning work completed. RTU was locally tested. After replacement of the faulty CVT, data will be integrated. |
| 2 | M/s MSP Mettalicks | PLCC / RTU installed. Database has already been prepared by OPTCL. Final RTU integration with OPTCL system by the vendor is awaited. |
| 3 | M/s NINL, Duburi | M/s NINL has requested for Scheme, BOQ for PLCC / SCADA, which has been forwarded by OPTCL. No action has been taken by NINL so far. |
| 4 | M/s Rohit Ferro tech | PLCC established and inspection by Telecom Engineers completed. Data base has already been prepared by OPTCL. |
| 5 | M/s Vedanta Ltd. (IPP), Jharsuguda | Generators data remains suspect most of the times. |

In the last meeting it was decided that GCC, OPTCL may file a case before the OERC through RT&C wing of OPTCL against those CGPs not complying the data communication provisions with SLDC.

- SLDC stated that the newly installed Chemtrol system for data acquisition is giving frequent problem such as display of wrong data resulting erroneous display of drawal from Central Sector. As such, monitoring of actual drawal  becomes difficult causing commercial impact on Gridco.

[Action: CGM (Telecom) / GCC]

D.8. Islanding Scheme of Ib TPS

The islanding scheme for IbTPS has already been commissioned but not functioning due to non- incorporate the trip commands to the breakers at Budhipadar from the Islanding Relay. This has already been discussed in the 81st PSOC meeting, wherein Telecom wing of OPTCL assured to complete the optical fibre link, provided IbTPs allow for working in their premises. Ib TPS had also agreed to allow them. The link is yet to be completed yet.

The status of work deliberated in the last meeting by GGM (Telecom) is as detailed.

- All works work for interconnection to trip the identified feeders at Budhipadar grid completed.

- Sending of direct trip command to Tarkera for tripping of 132 kV Tarkera-Rajgangpur ckt-I & II is done and tested.

- Sending of command to ramp down generation for unit-I has been tested. Testing for unit-II is yet to be done by OPGC.

- Ramping down through governor, assigned to M/S BHEL will take 1- 2 week of time.

- OPTCL had requested OPGC to fix a date for simulating the test without effecting power flow, for which no response has been received.

Deliberations in the meeting

IB TPS stated that testing for # 2 will be done after availing shutdown of the unit during the month of July’16. SLDC stated that the shutdown will be considered only after ascertaining the rainfall status.

[Action: IBTPS/ CGM (Telecom)]

D.9: Web based drawal / generation scheduling.

SLDC is going to implement web based drawal / generation scheduling for Dist. Utilities and State generating stations including IPPs and CGPs soon. A demo has been organized on 29.07.15.

In the last meeting, CGM (IT) stated that, web based generation scheduling module for State generating stations has been already been developed by IT wing. Modules for Discom and CGP / IPP shall be made available before the next PSOC meeting. After approval by the stake holders the same shall be go live from September’15. All Users were requested to forward their respective schedule in the prescribed format.

In the last meeting CGM (IT) stated that final demo will be arranged by end of February’2016.

Deliberations in the meeting

IT representative stated that scheduling for Generators have been completed. SLDC may organize the training by 2nd week of April’16.

[Action: CGM (IT)/ SLDC]

D.10: Implementation of Automatic Meter Reading for OPTCL-Discom interface points.

The work for Automatic Meter Reading (AMR) for all the interface points is in progress.

In the last meeting all Discoms have agreed to display the meter data on the dashboard required for analysis purpose.

In the last meeting CGM (IT) stated that from 1st March onwards the AMR shall be made “Go live”. Data will be available after one hour lapses of time.

AMR data for six types of meters has been mailed to GM (SLDC) for checking and acceptance. Action will be taken after acceptance of the data.

Deliberations in the meeting

IT representative stated that after receiving report from SLDC the process will be implemented.

[Action: SLDC / IT]

D.11: Software for Deviation charge billing.

Hon’ble OERC may notify “Intra State Deviation settlement and related matters” Regulation at any time. For implementation of the regulation, required software for Deviation Charge billing need to be developed and tested. CGM (IT) may take necessary steps for development of the software.

Deliberations in the meeting

IT stated that the proposal for appointment of outside agency for development of the software has been placed before the CMD for approval.

[Action: SLDC/IT]

D.10: DISCOM Issues

CESU

A.In the last meeting, it was decided that CESU shall approach O&M through a meeting to resolve bilateral issues. The discussion in the meeting may be placed in the next PSOC meeting.

B.

- Mismatch of SCADA drawal with the billing meter data to the tune of 24 MU during February’16.

- Fixed data indicated on dashboard may be converted to variable for accurate drawal display.

- Interruption of RVDU data.

- Mismatch in dashboard and RVDU data.

- Exploring of AMR on real time basis.

Deliberations in the meeting

CGM (Telecom) stated that due to transition period the data mismatch may be continue for 1-2 months. The Distribution Utility may collect the data from SLDC through their representatives deployed at SLDC. SLDC stated that the fixed data cannot be converted and incorporated in the display. CESU may convert the data as per the demand trend and utilize for demand estimation purpose.

[Action: CESU / Telecom]

NESCO

NESCO is insisting SLDC for billing of Cross subsidy surcharge to M/s JSPL, Barbil for importing power from its CGP at Angul. There is no such provision in the Act for levy of cross subsidy surcharge to the industry importing power from its own CGP. This has been intimated several times to NESCO.

Deliberations in the meeting

SLDC stated that JSPL, Angul generating plant is a captive generation for its Angul as well as Barbil plant. As per the provision under the Electricity Act, cross subsidy surcharge cannot be charged to the industry importing power from its own CGP.

[Action: NESCO]

PART E: OPERATIONAL PLANNING

E.1:  Commissioning status of New Transmission elements.

The status of commissioning of new transmission elements is as follows:

| Sl. No | Transmission element details | Present Status |
| --- | --- | --- |
| 1 | Commissioning of 220 kV Jayanagar-Jeypore 2nd DC line | Work has already been started. Expected to be completed by June 2016. |
| 2 | Commissioning of 400 kV Meramundali-Mendhasal 2nd ckt | Line is ready and shall be charged after commissioning of 3rd ICT at Mendhasal, which is under progress. ICT is at BHEL factory |
| 3 | Commissioning of 220 kV Bidanasi-Cuttack line | Work in progress and expected to be completed by April 2016. |
| 4 | Commissioning of 220/132 kV Cuttack S/S | Work in progress and expected to be completed by April 2016. |
| 5 | Commissioning of 132 kV Baripada (PG)-Jaleswar line | Work has already been started, which will be completed by June 2016. |
| 6 | Commissioning of 220/132 kV Kesinga S/S | Work under progress. Expected by September 2016. |

Status of Discom’s action plan for power drawal from the S/Ss commissioned / expected to be commissioned in near future.

| Sl. No | Name of the sub-station | Probable month of commissioning | Name of DISCOM | Action taken by Discoms |
| --- | --- | --- | --- | --- |
| 1 | 132/33kV, 2x20 MVA Khajuriakota | July’16 | CESU | Action being taken |
| 2 | 220/33kV, 2x20 MVA Banei | Dec’17 | WESCO Utility | Stayed by Court. |
| 3 | 132/33kV, 2x20 MVA Padmapur | February’16 | WESCO Utility | Line is ready |
| 4 | 132/33kV, 2x20 MVA Udala | Dec-17 | NESCO Utility | Line existing |

CESU stated that action is being taken for construction of 33/0.4 kV S/S at Mendhasal to avail power supply for Mendhasal area.

WESCO stated that diversion of 11 kV lines from Jharusuguda S/S will be done soon.

Action: CGM (O&M)/CGM(Const.) / All Discoms]

E.2: Energy Metering at Hydro stations.

Energy meters have already been installed at all hydro stations. Billing for all OHPC stations, except Upper Kolab, is being done from the newly installed energy meters. The energy meters at Upper Kolab are have been rectified in the mean time.

In the last meeting OHPC stated that Upper Kolab and Balimela PH meters are showing error. Mismatch noticed at both ends metering data of Burla-Chipilima Tie line. Rengali-TTPS feeder meter is not functioning. The meter data can be considered for billing purpose only after rectification of all defects. OHPC has already written to CGM (O&M) in this regard. It was decided that O&M shall take up the matter with the vender for rectification of energy meters.

Deliberations in the meeting

OHPC stated that Upper Kolab and Balimela PH meters are showing error. Mismatch in Burla-Chipilima Tie line meter at both ends noticed. Rengali-TTPS feeder meter is not functioning. The meter data can be considered for billing purpose only after rectification of all defects. OHPC has already written to CGM (O&M) in this regard. It was decided that O&M shall take up the matter with the vender for rectification of energy meters.

Deliberations in the meeting

O&M stated that the matter has already been taken up with the vender and rectification action is being taken.

[Action: O&M / OHPC]

E.3: TTPS Issue.

Implementation of Feeder Metering

In the earlier PSOC meeting, TTPS deliberated that all the meters were tested & calibrated by the STL on 09.10.2015. The 132kV CTs for TTPS-Duburi-1 have been replaced. Further, as per the PPA dated 08.03.1995, the energy meters are to be installed at GT end. Since the meter locations will be shifted to feeders, the corresponding clause in the PPA is required to be amended. Accordingly, the proposal has been sent to the competent authority of NTPC for approval.

TTPS in their letter No.045/GGM/TTPS, Dated. 20.11.2015 addressed to CGM (PP) Gridco pointed out that, as per clause 7(1), 1st proviso of CEA (Installation and operation of Energy meters) Regulation, 2006 as amended in 2010 “ for existing stations the location of Main, Check and Standby meters shall not be changed unless permitted by the Authority”.

In the present case, for the first time, energy meters have been installed at the interface points, which should have been installed earlier, without changing the position of the existing meters. As such the regulation as mentioned by TTPS is not applicable. However the existing meters will be treated as standby meters.

In the 93rd PSOC meeting, GRIDCO stated that, in response to the letter of GRIDCO, CEA has sought for some information such as location of Main, Check and Standby meters. TTPS was requested to comply with those queries.  OPTCL may take action for installation of feeder meters.

In the 94th PSOC meeting TTPS stated that the reply has already been sent to CEA. DGM (O&M), Meramundali stated that action has been taken for installation of feeder meters at TTPS.

Deliberations in the meeting:

TTPS stated that CEA has asked for the signed copy of the reply, which will be send by TTPS. DGM (O&M), Meramundali stated that installation of panel and meters is expected to be completed by end of April’16.

[Action: TTPS / O&M]

E.4: Major Events in the month of February’16

No report of major events has been received during the month.

E.5: Important Grid Incidences during the month of February’16.

Important Grid incidents during the month of February’16 were reviewed. The incidents need to be analyzed and deliberated in the PCC meeting of ERPC

[Action: O&M / SLDC]

E.6: Outage of major transmission Elements during the month of February’16. (above 10 hrs).

Outage of major transmission elements above 10 hours during the month of February’16 was reviewed. Out of two Nos. of such outage, one is due snapping of jumper and another due to tree fault.

[Action: O&M]

E.7:  Review of Outage Program of State Generators / Transmission elements for the month of Apr’16:

Tentative Outage programme for State Generators for the month of April’2016 are as follows:

| Sl. | Station | Unit | Period | Remarks |
| --- | --- | --- | --- | --- |
| 1 | Burla | # 1 # 5 # 6 | 05.03.16 to 31.03.16 25.02.16 to 22.03.16 17.02.14 to continue | Gov. oil pump failure Annual Maintenance Programming for R, M & U |
| 2 | Chiplima | #3 | 15.02.14 to continue | Programming for R, M &U |
| 3 | Balimela | # 1 # 4 # 8 | 31.01.13 to continue 05.04.16 to 30.04.16 02.03.16 to 04.04.16 | TGB problem and started R,M & U Annual maintenance Annual maintenance |
| 4 | Upper Kolab | # 1 | 29.07.15 to 17.05.16 | Capital Maintenance |
| 5 | Rengali | # 3 | 28.03.16 to 27.04.16 | Annual maintenance |
| 6 | Upper Indravati | # 3 | 23.11.15 to 31.05.16 | Capital Maintenance |

[Action: OHPC / SLDC]

E.8: Generation Program for the month of March’16.

Generation schedule for the month of April’16 furnished by OHPC are given below.

| Name of Hydro Gen. Station | Generation Programme (MW) | Reservoir Level as on 15.03.15 | Reservoir Level as on 15.03.16 | MDDL | High Flood Reservoir Level |
| --- | --- | --- | --- | --- | --- |
|  | April’16 (1st fortnight) | April’16 (2nd fortnight) |  |  |  |  |
| HPS-I, Burla | 30 | 30 | 617.79ft | 617.00ft | 590 ft. | 630 ft. |
| HPS-II, Chipilima | 20 | 20 | - | - | - | - |
| Balimela | 110 | 110 | 1499.50ft | 1482.90ft | 1440 ft. | 1516 ft. |
| Rengali | 45 | 45 | 120.32mt 1.78mt mtr mt | 116.76mt mt | 109.72mtr | 123.5 mtr. |
| U.Kolab | 150 | 150 | 854.39mt mt | 852.68mt | 844 mtr | 858 mtr. |
| U. Indravati | 105 | 105 | 637.14mt | 633.42mt mt | 625mtr | 642 mtr |
| MKD (O/D) | 30 | 30 | 2733.50ft | 2732.65ft | 2685 ft. | 2750 ft. |
| TOTAL | 490 | 490 |  |  |  |  |

[Action: OHPC/ SLDC]

E.9:  Operating procedure for Odisha System.

As per provision in the Regulation 5.1(4) of Odisha  Grid Code, the draft Operating Procedure for Odisha System has been prepared and uploaded in the SLDC site (path: Document    information). Members were requested and forward their comments / suggestions to SLDC before 15th December 2015. No comment has been received from Members except OHPC. It is again requested to forward comments on the said procedure. The final Operating Procedure shall be uploaded in SLDC site.

[Action: SLDC]

E.10:  Automatic Demand Management Scheme (ADMS)- Implementation in OPTCL system.

Hon’ble CERC vide their order dated 31.12.2015 passed in Suo-motu Petition No.- 5/SM/2014 in the matter of Non-compliance of Regulation 5.4.2 (d) of IEGC directed all Respondents (SLDCs) for implementation of ADMS in their respective control area. CERC have allowed dead line till 30.06.2016 to the Respondent for implementation of ADMS. Failing which they will be liable for action under Section 142 of the Act. Copy of the order has already been forwarded to CGM (O&M) and CGM (RT&C). OPTCL may take necessary action for implementation of the same.

Deliberations in the meeting

It was decided that SLDC may raise the issue in the OCC meeting and request ERLDC to provide the logic for implementation of the scheme in OPTCL system

[Action: SLDC / O&M / Telecom]

E.11: Anticipated power generation and demand for the month of April’2016.

| Sl. No | Discom | Average | Peak |
| --- | --- | --- | --- |
| 1 | CESU | 970 | 1200 |
| 2 | WESCO | 950 | 1200 |
| 3 | NESCO | 800 | 1000 |
| 4 | SOUTHCO | 400 | 550 |
| 5 | OPEN ACCESS | 200 | 200 |
| 6 | Total | 3320 | 4150 |
| Availability |  |  |
| 1 | Hydro | 490 | 1300 |
| 2 | State Thermal | 750 | 750 |
| 3 | IPP, small hydro &RE | 800 | 800 |
| 4 | ISGS share (including OA) | 1000 | 1050 |
| 5 | CGP support (OA) | 280 | 250 |
| 6 | Total availability | 3320 | 4150 |
| 7 | Surplus / Deficit | 0 | 0 |

PART F: OTHER ISSUES

F.1:  Date and Venue of the next (96th) PSOC meeting

Annexure

List of participants in the 95th PSOC meeting dated 29.03.2016