[image: image1.jpg]STATE LOAD DESPATCH CENTRE

OFFICE OF THE CHIEF LOAD DESPATCHER
ODISHA POWER TRANSMISSION CORPORATION LIMITED

‘W GRIDCO Colony, P.O.- Mancheswar Rly. Colony, Bhubaneswar-17, FAX-0674- 2748509
I. evrnvomd)sh-r. CIN - U401020R2004SGC007553
- >
No-SGM (PS)-PL-15/2017 / \'1-‘-P-}N Dated:12.07.2018

From:

The Chief Load Despatcher
SLDC, OPTCL, Bhubaneswar-17.

To:

As per distribution list

Sub: Minutes of 122" PSOC meeting held on 25.06.2018 at PTC, Chandaka

Sir,
Please find enclosed herewith the minutes of 122™ Power System Operational Co-
ordination meeting held on 25.06.2018 at PTC, Chandaka, Bhubaneswar.

This is for your information & necessary action.

Yours faithfully;

Encl: As above R&

Chief Load Despatcher,
SLDC, OPTCL

Copy along with enclosures forwarded to the Executive Assistant to CMD, Gridco / OPTCL
for kind information of CMD.




Distribution list

1. The Director (Commercial), Gridco, Bhubaneswar

2. The Director (Operation), OPTCL, Bhubaneswar

3. The Director (Projects), OPTCL, Bhubaneswar

4. The Director (Operation), OHPC, Bhubaneswar

5. The CGM (O&M), OPTCL, Bhubaneswar.

6. The CGM (Const.), OPTCL Bhubaneswar.

7. The Sr. G. M. (RT&C), OPTCL, Bhubaneswar.

8. The CGM (PP), GRIDCO, Bhubaneswar.

9. The CGM (IT), OPTCL, Bhubaneswar.

10. The CGM (Telecom), OPTCL, Bhubaneswar.

11. The Sr. G. M. (Const)-I, OPTCL, Bhubaneswar.

12. The C.G.M. (Const), OPTCL, Sambalpur.

13. The Sr. G.M (CPC), OPTCL, Bhubaneswar.

14. The Sr. G.M (CP), OPTCL, Bhubaneswar.

15. The Sr. G.M. (O&M), Zone-I, Narendrapur 

16. The Sr. G.M. (O&M), Zone-II, Meramundali.

17. The CEO, CESU, Bhubaneswar.

18. The A.O., WESCO, Burla

19. The A.O., NESCO, Balasore

20. The A.O., SOUTHCO, Berhampur.

21. The Member Secretary (GCC), OPTCL.

22. The ED, Power Grid Corporation of India, Bhubaneswar.

23. The Sr. G.M. (El.), BHEP, Balimela

24. The A.G.M. (El.), CHEP, Chiplima

25. The Sr. G.M. (El.), UIHEP, Mukhiguda

26. The Sr. G.M. (El.), RHEP, Rengali

27. The D.G.M. (El.), HHEP, Burla

28. The D.G.M. (El.), UKHEP, Bariniput, Koraput

29. The S.E. (O&M), Machhakund

30. The DGM (Elect.), IbTPS, OPGC, Banharpali.

31. The Vice President (O), IMFA, Choudwar.

32. The D.G.M. (O&M), NTPC (TTPS), Talcher.

33. The AGM (Elect.), JINDAL Stainless Ltd., Duburi

34. The G.M, HINDALCO, Hirakud.

35. The G.M.CPP, NALCO, Angul.

36. The Director, M/s. Jindal Steel & Power Ltd., Angul

37. The AVP-Vedanta Ltd (IPP), Jharsuguda

38. The G.M, Vedanta Ltd (CGP), Jharsuguda.

39. The DGM (Power Distribution), RSP, Rourkela.

40. Joint President, Aditya Aluminium Ltd., Lapanga, Sambalpur

41. The G.M. (Elect.),  Bhusan Steel Limited. Meramundali

42. The G.M. (Elect.), Bhusan Power & Steel Ltd, Budhipadar.
43. The G.M. (Elect.), IFFCO Limited.

44. Director & COO, GMR Kamalanga Energy Limited, Satyanagar, Bhubaneswar.

45. The CEO, Bhubaneswar Power Pvt. Ltd, IRC Village, Nayapalli, Bhubaneswar.

46. M/S Tata Power & Steel Ltd., Kalinganagar
Odisha Power Transmission Corporation Ltd. Bhubaneswar.


Minutes of 122nd PSOC meeting held on 25.06.2018 at PTC, Chandaka, BBSR
List of participants is at Annexure.

CLD, SLDC welcomed all the members to the 122nd PSOC meeting. In his welcome address, he highlighted the system performance for the month of May’2018 and overall power scenario of the State. He also emphasized on the power drawal, made by all the Discoms during the month. 
G.M. (PP), GRIDCO took the agenda items for discussion.
The review proceeded as follows: 
1: Confirmation of minutes of 121st PSOC meeting held on 26.05.2018
The minutes of meeting was circulated vide letter No. SGM (PS)-PL-15/2017/1870(47) dated 19.06.2018 to all the members and also uploaded in the SLDC website. No comment has been received from any of the members.

Deliberation in the meeting:
The minutes of 121st PSOC meeting was confirmed. 
PART B : SYSTEM PERFORMANCE
B1: Review of Grid Performance for the month of May’2018.
(A)  Frequency 

It was noticed that, during the month of May’18, 69.25 % of times the frequency remained in the IEGC band i.e.  49.90Hz - 50.05Hz in comparison to 78.33 % during the month of  April’18. The maximum and minimum System frequency during the month was 50.13 Hz & 49.69 Hz respectively.
In the 121st PSOC meeting SLDC stated that the frequency profile of SLDC is not matching with that of ELDC frequency data. Telecom was requested to enquire the source from which ERLDC is collecting the frequency and do the needful. CGM Telecom stated that adoption of uniform frequency acquisition may create problem of resetting at the time of link failure. However the issue may be discussed with ERLDC.

[Action: Telecom / SLDC]  
 (B)  Grid demand 

Grid demand for the month of  May’18 was reviewed. The average consumption during the month was 3798 MW. The maximum System demand of 4692 MW occurred on 07.05.18 at 21:00 Hrs and minimum demand of 2113 MW occurred on 14.05.18 at 12:00 Hrs. 
Deliberation in the meeting

It is observed that the average demand during the month of  May’ 18 has been increased by 464 MW and peak demand  was increased by 262 MW from that of April’18. The average demand during the month has increased by 392 MW in comparison to April’17. Due to change of weather condition and power import by Vedanta Ltd through Open Access transaction, the average demand has increased during the month.
 (C)  Voltage Profile of important Sub Stations in OPTCL System during the month of May’18.

The Voltage profile at different 220 kV buses in OPTCL system during the month of  May’18 was reviewed. 
The maximum Voltage of 245.14 kV occurred at Tarkera 220 kV bus, while Budhipadar  220 kV bus has experienced the minimum Voltage of 201.09. The 220 kV Voltage profile of Jayanagar and Narendrapur and 400 kV Voltage profile of Meramundali, Mendhasal  and New Duburi bus during the month of May 2018 is shown below. 
Deliberation in the meeting:
SLDC stated that, Maximum  Voltage at Tarkera 220 kV bus may be due to some transient incident. CGM (O&M) stated that SLDC may investigate the low Voltage problem at Palasponga Grid.








 [Action: SLDC]
(D) Loading of 220/ 132 kV Auto at 220 kV S/Ss in OPTCL system for the month of May’18.

Auto loading of all 220 kV S/Ss during the month of May18 was reviewed. 
(E) DISCOM Drawal during the month of May’18 
The schedule and actual energy drawal by Discoms for the month of May’18 was reviewed. 
Deliberation in the meeting:
It was noticed that WESCO had over drawl 44.5 MU while CESU had over drawn 11 246 MU. NESCO and SOUTHCO were drawn in line with their scheduled energy with marginal deviation.

[Action: DISCOMs] 
(F) Energy Generation / import during the month of May’18 
Energy generation and exchange during the month of  May’18 was reviewed. The total quantum of energy drawn from all the generation sources including Central Sector Share and CGP/IPP support during the month was 2734.893 MU. 
Deliberations in the meeting
The energy demand has been increased due change in weather condition. 
 (G) Drawal of Machhakund Power during the month of May’18
The drawal of Machhakund power during the month of May’18 was 41.037 MU, against AP drawal of 41.435 MU. 
Deliberations in the meeting

It was deliberated that the takeoff arrangement from Podagada S/S is yet to be completed by SOUTHCO. SOUTHCO stated that the contractor is not responding.

It was suggested that OPTCL may pursue the matter.
  [Action: Southco]

(H) Under Frequency relay operation in OPTCL System during the month of May18.

There is no UF Relay operation during the month of May’18 as the frequency had never gone beyond 48.50 Hz. 
(I) Status of Open Access applications during the month of May’2018
Status of Open Access Applications received and disposed by SLDC during the month was reviewed.

Deliberations in the meeting
Total 175 numbers of Short Term / Medium term and Collective transaction applications have been processed by SLDC for according Approval / Consent / NoC during the month. 
PART C – Issues discussed in the 146th  OCC meeting of ERPC held on 15.06.2018

C.1: Status of projects funded under PSDF schemes

In the PSDF review meeting, it was advised to RPCs to monitor the status of all the projects funded by PSDF. Therefore, constituents are requested to update the status of projects which are being funded by PSDF in the desired format.

The latest status as updated by OPTCL / OHPC is as given below:
	Sl No


	Name of

Constituent
	Name of Project
	Date of approval from PSDF
	Target Date of Completion
	PSDF grant
Approved (in Rs.)
	Amount

Drawn till date (in Rs.)
	Status as updated in
145th meeting

	4
	OPTCL
	Renovation & Up-gradation of protection and control systems of Sub-stations in the State of Odisha in order to rectify protection related deficiencies.
	11.05.15
	30.11.18
	162.5 Cr.


	38.08Cr.
	Total contract awarded for

Rs. 51.349 Cr



	7
	
	Implementation of OPGW based reliable communication at 132kV and above substations
	15.11.2017
	
	51.225 Cr
	
	Tender floated

	13
	OHPC
	Renovation & up-gradation of protection & control system of 4 nos. OHPC sub-stations
	
	U.Kolab-

March 19

Balimela-

Feb 2019

U.Indravati-Jan 19

Burla-Nov

2018,

Chiplima

Dec 2018
	22.35 Cr.
	
	Tendering under process

	Projects under process of approval:

	
	OPTCL 
	Installation of 125 MVAR Bus Reactor along with construction of associated bay each at 400kV Grid S/S of Mendhasal,           Meramundali & New Duburi for VAR control & stabilisation of system voltage 


	28.08.17
	
	31.94 Cr
	
	Date of submission: 28.08.2017. Examined by TSEG on: 16.11.2017

	Projects recently submitted:

	
	OPTCL 
	Implementation of Automatic Demand Management System (ADMS) in SLDC, Odisha 


	22.12.17    Date of submission
	
	3.26 Cr Estt cost
	
	Compliance to TSEG observation submitted.

	
	OPTCL 

.
	Protection up gradation and installation of SAS for seven numbers of 220/132/33kV Grid substations (Balasore, Bidanasi, Budhipadar, Katapalli, Narendrapur, New-Bolangir & Paradeep).  
	20.02.2018  Date of submission 
	
	41.1 Cr

Estt cost
	
	Compliance to TSEG observation submitted on 20.02.2018


In the 121st PSOC meeting O&M stated that for Implementation of ADMS by SLDC and Protection up-gradation & installation of SAS for 7 Nos. of S/Ss projects, PSDF raised some queries, which have been submitted.  

CGM (Telecom) stated that for implementation of OPGW based reliable communication at 132 kV and above S/Ss, tender has been floated. CGM (O&M) stated that for installation of Bus reactor, PSDF Appraisal committee have recommended for project funding. Compliance to TSEG observation has been submitted for implementation of ADMS by SLDC and protection up-gradation and installation of SAS for 7 Nos. of S/Ss.

Deliberations in the meeting

The status has been updated.

[Action: O&M / Telecom/SLDC]

C.2: Automatic Under Frequency Load Shedding

NPC vide letter dated 30 May 2018, informed that considering the grid size and assuming Power Number of 7000, the following two options of AUFLS are proposed.

Option-1

AUFLS scheme with 4 stages of frequency viz 49.2, 49.0, 48.8 & 48.6 Hz

	AUFLS
	Frequency (Hz)
	Load relief in MW

	
	
	NR
	WR
	SR
	ER
	NER
	Total

	Stage-I
	49.2
	3920
	3360
	3170
	1380
	170
	12000

	Stage-II
	49.0
	3950
	3380
	3190
	1380
	170
	12070

	Stage-III
	48.8
	3970
	3400
	3210
	1390
	170
	12140

	Stage-IV
	48.6
	4000
	3430
	3230
	1400
	170
	12230

	
	Total (MW)
	15840
	13570
	12800
	5550
	680
	48440


 Option-2

AUFLS scheme with 4 stages of frequency viz 49.4, 49.2, 49.0 & 48.8 Hz

	AUFLS
	Frequency (Hz)
	Load relief in MW

	
	
	NR
	WR
	SR
	ER
	NER
	Total

	Stage-I
	49.4
	3900
	3340
	3150
	1370
	170
	11930

	Stage-II
	49.2
	3920
	3360
	3170
	1380
	170
	12000

	Stage-III
	49.0
	3950
	3380
	3190
	1380
	170
	12070

	Stage-IV
	48.8
	3970
	3400
	3210
	1390
	170
	12140

	
	Total (MW)
	15740
	13480
	12720
	5520
	680
	48140


Constituents may forward their views within 10 days regarding frequency and quantum of load shedding.
Deliberations in the meeting

Members opined to adopt the 2nd option. SLDC may deliberate in the OCC meeting accordingly

 [Action: SLDC / O&M)]

C.3:  Data for GEOSPATIAL energy portal of Neeti Aayog-CEA

NITI Aayog is developing a user friendly GIS based Energy Map of India, which would provide true locations of all energy resources in India including power plants, coal and oil reserves, transmission lines etc. 
CEA sought the information of name, Voltage level, capacity, longitude and latitude of 33 kV and 66 kV S/Ss and lines.

The information may be shared with CEA vide email: cedpd-cea@gov.in.

All Discoms are requested to submit the above data to CEA with a copy to SLDC for forwarding to ERPC.                                                                                        
Deliberations in the meeting
Members stated that for submission of line data, detail mapping of the line is required, which involve a lot of expenditure. However, the Discoms may furnish the S/S data in 1st phase. SLDC may write to all Discoms in this regard.

 [Action: SLDC/ All DISCOMS]

C.4: 220 kV Inter-connecting lines of OPTCL with 400/220 kV Bolangir (PG), Keonjhar & Pandiabil S/s
PGCIL has already commissioned the 2 X 315MVA 400/220kV Bolangir S/s by LILOing of 400 kV Meramandali-Jeypore S/C line and 400/220 kV Keonjhar S/s with an objective of supplying power from ER grid to its adjoining areas in Odisha.
In 121th PSOC meeting the status has been updated as follows:
	Sl. 
	Name of the transmission line
	Completion schedule

	1.
	2 X 315MVA 400/220kV Bolangir S/s

	a.
	LILO of one circuit of Sadeipalli-Kesinga 220 kV D/C line at Bolangir (PG) S/S.
	Construction of 220 kV Sadeipali- Kesinga line has started. Expected by June’18. 220 kV Sadeipali-Bolangir (PG) portion of the line is expected by Dec’18. 

	2.
	400/220 kV Keonjhar S/S.

	a.
	Keonjhar (PG)-Keonjhar (220/33 kV) 220 kV D/C line
	Keonjhar S/S (220/33 kV) by July’18.

	b.
	Keonjhar (PG)-Turumunga (220/132 kV) 220 kV D/C Line.
	By 2019

	3.
	400/220 kV Pandiabil Grid S/s

	a.
	Pratapsasan(OPTCL)-Pandiabil (PG) 220 kV D/C line
	December 2018 


[Action: CGM (O&M)]
C.5:Auxiliary power consumption by Powergrid Substations-GRIDCO 

GRIDCO vide letter dated 14th May 2018 informed that, GRIDCO had convened a meeting with Powergrid with a suggestion to become the consumer of state DISCOM and make the payment towards auxiliary power consumption as per the applicable tariff. Further, GRIDCO prevailed upon Powegrid that the amount to be paid to DISCOM should not be claimed in transmission tariff as the same has already been factored in the tariff as per the Regulation 29(4) of 2014 Tariff Regulations.  

In this regard, Powergrid is not signing the minutes for commercial settlement.  It was decided in the OCC that the issue may be raised in the Commercial sub-Committee meeting of ERPC

In the 121st PSOC meeting it was suggested that Gridco shall write a letter to Powergrid to become consumer of DISCOM. The matter may be raised in the Commercial Sub-Committee meeting of ERPC.

Deliberations in the meeting

GRIDCO stated that this issue has been discussed in the Commercial Sub Committee meeting of ERPC. POWERGRID agreed to become a consumer of Discom. A meeting will be convened by ERPC between the GRIDCO, Discoms & Powergrid.

[All DISCOMS / GRIDC)]
C.6: Preparation of crisis management plan for Cyber Security in Power Sector in line with CERT-IN.

The activity of the preparation of Crisis Management Plan for countering the cyber-attacks and its implementation including the Mock Drills, audits etc. is being monitored by CEA regularly in line with crisis management plant of Ministry of Power. Power Utilities (including generation, transmission & distribution utilities) of eastern region are to furnish regularly, the updated status to Chief Engineer, Distribution Planning & Development Division, CEA. NTPC communicated their activity of the preparation of Crisis Management Plan for countering the cyber-attacks vide letter dated 2nd August, 2013.

In the 107th PSOC meeting, CGM (IT) informed that “Crisis management plan” work is awarded to M/s Digital Age Strategies Pvt. Ltd. The said firm has completed the study of Servers and Firewalls at SLDC, Bhubaneswar and back-up SLDC at Meramundali. Presently the data centers of SLDC and GRIDCO are being audited for IT security vulnerability assessment.

In the 121st PSC meeting CGM (IT) stated that the certificate has been received. Audit for FY-2018-19 will be started from June’2018.
Deliberations in the meeting

CGM (IT) stated that Audit report is yet to be received. Audit fot the next FY will be commenced from July’18.

[Action: CGM (IT)]
C.7: Certification through BIS as per IS 18001:2007 to all generating / transmission units.
In 84th OCC meeting all constituents were requested to interact with BIS with intimation to ERPC and get certified as per CEA direction.

In the 111th PSOC meeting CGM (O&M) stated that 22 No’s of officers are nominated from Chandaka, Mendhasal, Atri, Kesura, Bidanasi & Cuttack S/Ss to undergo training. Awareness training shall be started from 1st week of August’17. After receiving the price offer, order will be placed. 

In the 113th PSOC meeting CGM (O&M) stated that certification for 6 Nos of S/Ss will be done by December’2017.
In the 116th PSOC meeting, CGM (O&M) stated that draft modality has been prepared. Order for Mendhasal S/S will be issued as a pilot project.

In the 117th PSOC meeting CGM (O&M) stated that draft project report for Mendhasal S/S has been submitted to BIS. The report will be approved in the meeting to be conducted by them.

In the 118th PSOC meeting, O&M stated that the report has already been submitted. Approval is yet to be received.
In the 121st PSOC meeting CGM (O&M) stated that Audit team is expected soon.

Deliberations in the meeting

The status remains unchanged

[Action: CGM (O&M)]
C.8: Implementation of Automatic Demand Management Scheme

OPTCL vide mail dated 24.02.2016 pointed that Hon’ble CERC vide their order dated 31.12.2015 passed in Sou-motu Petition No.- 5/SM/2014 in the matter of non-compliance of Regulation 5.4.2 (d) of IEGC directed all Respondents (SLDCs) for implantation of ADMS in their respective control area. CERC have allowed dead line till 30.06.2016 to the Respondent for implementation of ADMS. Failing which they will be liable for action under Section 142 of the Act.

   *****************************************************************************

The latest status along with proposed logic as follows:
[image: image2.emf]
[image: image3.emf]
In the 116th PSOC meeting, CGM (O&M) stated that since considerable time has already been lapsed SLDC may prepare the EoI without waiting for CPC.
In the 117th PSOC meeting it was decided that SLDC shall process for tendering.

In the 118th PSOC meeting, SLDC stated that the tender specification is expected to be received from CPC by 1st week of March’2018. After receiving the same SLDC will process for tendering
In the 121st PSOC meeting SLDC stated that M/S GE has given a presentation on ADMS during at SLDC. Tendering will be done by end of June18.
Deliberations in the meeting

SLDC stated that the tendering will be done by end of July’2018.

[Action: SLDC]
C.9: Mock Black start exercises in Eastern Region 
The tentative schedule of black-start exercises for F.Y 2018-19 given by OCC is as follows
	Sl.
	Name of Hydro Station
	Schedule
	Tentative Date
	Schedule
	Tentative Date

	
	
	Test-I
	
	Test-II
	

	1
	Upper Kolab
	Last week of May-2018
	Done on 08.06.2018
	Last week of January 2019
	

	3
	Rengali
	2nd week of June 2018
	June’18
	Last week of November 2018
	

	4
	U. Indravati
	3rd week of June 2018
	
	2nd week of February 2019
	

	6
	Balimela
	3rd week of October  2018
	
	1st week of March 2019
	

	9
	Burla
	Last week of June 2018
	Done on 07.06.2018
	Last week of February 2019
	


In the 120th PSOC meeting SLDC stated that ERPC has proposed to conduct a workshop at U. Kolab / Balimela, probably during the month of July’18. 
Deliberations in the meeting
SLDC stated that mock black start exercise for Balimela will be done at the time of workshop conducted by ERPC at Upper Kolab/ Balimela.

[Action: OHPC / SLDC]
C.10: Implementation of Islanding scheme:

Efforts should be made to design islanding scheme based on frequency sensing relays so that in case of imminent grid failure, electrical islands can be formed. These electrical islands can not only help in maintaining supply to essential services but would also help in faster restoration of grid.

No islanding scheme is available in Odisha, Bihar and Sikkim.

OPTCL has submitted the detail plan of  IbTPS islanding scheme

OCC advised OPTCL to give a presentation on CPP islanding scheme existing in Odisha with the details of extending power capacity to Odisha during emergencies.

OPTCL / SLDC have convened a meeting with major CGPs of the State. The views of CGPs for extending power during blackout is awaited. 
In the 68th PCC meeting held at ERPC, Kolkata, members suggested for review of IbTPS islanding scheme considering present load scenario which will be discussed in the 69th PCC meeting.

Deliberations in the meeting

IB TPS stated that the will examine the scheme considering the changed load scenario.

[Action: CGM (O&M) / Ib TPS]
PART-D – Operational Issues
D.1: Non-compliance of drawal schedule by DISCOMs

Non-compliance of drawal schedule messages issued to Discoms during the month of May’18:
	Sl. No
	Name of Discom
	No. of message issued
	Over drawal (MU)
	Deviation (%)

	1
	CESU
	0
	11.246
	1.3717

	2
	WESCO
	0
	44.504
	6.9972

	3
	NESCO
	0
	-3.136
	1.1895

	4
	SOUTHCO
	0
	1.661
	0.5167

	
	Total
	0
	21.011
	


It is noticed that CESU, WESCO were over drawn while NESCO& SOUTHCO have under drawn during the month. 

[Action: All Discoms/SLDC]
D.2: Prolonged outage of transmission elements and tentative revival dates
The tentative revival dates of transmission elements are updated in the last meeting are as follows:

	  Sl. No
	Name of transmission element
	Reason of outage
	Probable date of revival

	1
	220/132 kV, 100 MVA, Auto- 1 at Duburi
	Main tank severely damaged
	Charged on 23.06.18

	2
	220/132kV, 100MVA  Auto-2  at Bhadrak
	Fire hazard on 31.05.2017
	June-2018


Deliberations in the meeting

CGM (O&M) stated that 160MVA Auto at Duburi has already charged on 23.06.2018 in place of damaged 100 MVA Auto.
[Action: CGM (O&M)]

D.3: Communication issues 
The status of data communication from CGPs as deliberated in the 120th PSOC meeting meeting is as follows.

	Sl.
	Name of CGP
	Present status

	1
	M/s NINL, Duburi
	M/s NINL has requested for Scheme, BOQ for PLCC/SCADA, which has been forwarded by OPTCL. No action has been taken by NINL so far. 

	2
	IRE, Chatrapur
	Data communication system yet to be established by the Plant


In the 117th PSOC meeting, Members opined that GCC should file a case soon against NINL & IRE before the OERC.

In the 119th PSOC meeting it was decided that GCC shall file a case against the defaulting CGP/ Consumers before the OERC. 
In the 121st PSOC meeting G.M. (RT&C) stated that they have raised certain queries regarding the provision of providing data communication facilities to SLDC by the CGP / Industries. SLDC stated that the “Procedure on Communication and Data Transmission”  approved by Hon’ble OERC  vide orders, dated 23.09.2011 passed in case Nos. 41, 42 and 51/2011 followed by corrigendum order issued in letter No.2243, dated 01.12.201, published in the Odisha Gazette No. 485 Dated 29th March 2012 was circulated by RT&C wing of OPTCL vide letter No. R&T-REGN-08/2011/198 (8) dated 19.04.2012. RT&C may refer the said letter wherein the provisions have been clearly mentioned.  Also RTC may take necessary initiative for filing Petition before the OERC. 
Deliberations in the meeting

GCC stated that Telecom have forwarded a list of 8 Nos. of CGP/Industries who have not complied the data communication facilities. It was suggested that RT&C may file a case before the OERC.

[Action: GCC / RT&C]
D.4: Implementation of Automatic Meter Reading for OPTCL-Discom interface points.

In the 116th PSOC meeting, IT stated that out of 840 nos of meters integrated, around data from 750 nos of meters will be received each month. Data from the remaining 90 meters are to be collected manually.

In the 117th PSOC meeting IT stated that out of 840 nos of meters integrated, data from 717 nos of meters have been extracted for the month of December’17. Data could not be collected from 63 Nos of meters, which were replaced, as the information was received by IT one day before. CGM (O&M) may instruct Secure meters Ltd to inform the replacement of meters to IT immediately. 

In the 118th PSOC meeting, IT stated that out of 840 nos. of meters integrated, data from 754 nos. of meters have been extracted for the month of January’18. The extracted data will be compared with the M cubed meter reading. If found satisfactory, the project will be made go live.
In the 119th PSOC meeting IT stated that Parameters of 16 Nos meters are showing wrong. DLMS data for the newly installed Secure meters are not coming. It was decided that O&M shall discuss the matter with Secure meters to resolve the issue.
In the 120th PSOC meeting IT stated that M/s Secure Meter is not responding to them. It was decided that O&M shall convene a meeting with M/s Secure meters to resolve the issue.  
In the 121st PSOC meeting it was decided that SLDC shall write CPC and OPTCL to convene a meeting with TCS and Secure meters to discuss the issue. 

Deliberations in the meeting

IT stated that they will study 2 Nos of sample meters.

[CGM (IT)]
D.5: Web based drawal / generation scheduling.

In the 111th PSOC meeting it was decided that from 1st August 2017 the schedule submitted through web portal will be considered. The web based schedule will be implemented for TTPS and Ib TPS from 1st September’2017. 
At present all State thermal generating stations including IPPs & CGPs are furnishing their schedule through web portal.

The following fetchers need to be incorporated in the software: 

1. Provisions for acceptance of backing down schedule for past block.

2. Provision for automatic extraction of Power Exchange schedule from the worksheet for incorporation in the schedule of respective Generator / CGP.

3. Navigation between different web pages within the portal.

4. Report generation in excel format with down loading provision.

In the 121st PSOC meeting it was decided that SLDC & IT will discuss the issue and resolve

Deliberations in the meeting
SLDC stated that they have discussed the issue with IT and expected to resolve soon.

[Action: SLDC / IT]

D.6: DISCOM Issues
CESU

1. Construction of 132/33 kV S/S at Parjang and Kantilo
2. Providing of 15 minute drawl data.
Deliberations in the meeting

AGM (Const) stated that Approval has already been done. CESU may collect data from SLDC.

[Action: CESU / SLDC]

NESCO

1. Day ahead Open Access schedule is being changed at the end of the day since last two months due to which NESCO is facing huge over drawl or under drawl.

2. Date suspect for Joda and Jajpur road S/S.
3. Since the RVDU shows suspected data, it is difficult to predict the actual drawl. It is requested to display correct drawl.

4. There is huge difference to the tune of 7-10 MU between RVDU data and actual drawl, due to which it is difficult to maintain minimum deviation.

Deliberations in the meeting

SLDC stated that NESCO may estimate their demand from the RVDU data with correction factor. NESCO may collect Exchange schedule through their representative deployed at SLDC and incorporate in their drawl schedule.

[Action: SLDC / NESCO] 
PART E: OPERATIONAL PLANNING
E.1:  Commissioning status of new Transmission elements. 
The status of commissioning of new transmission elements deliberated in the meeting is as follows:
	   Sl. No
	Transmission element details
	Present Status

	1
	Commissioning of 220 kV Jayanagar-Jeypore 2nd DC line 
	Work has already been started. Expected to be completed by June’18.

	2
	Commissioning of 400 kV Meramundali-Mendhasal 2nd ckt.
	Line is ready and shall be charged after commissioning of 3rd ICT at Mendhasal. Expected by April’2018.

	3
	400/220 kV, 315 MVA 3rd ICT at Mendhasal S/S
	August’18

	4
	400/220 kV, 2x315 MVA Lapanga S/S
	July’18

	5
	220/33 kV, 2x20 MVA Baliguda S/S
	December’18

	6
	220/33 kV, 2x20 MVA Kalimela S/S
	December’18

	7
	220/33 kV, 2x20 MVA Kasipur S/S
	July’18

	8
	220/33 kV, 2x40 MVA Keonjhar GIS S/S
	July’18

	9
	220/33 kV, 2x20 MVA Narasinghpur S/S
	July’18

	10
	220/132 /33 kV, 2x100 MVA Aska S/S
	December’18

	11
	220/132/33 kV, Bargarh (New) S/S (320 MVA)
	Charged during March’18

	12
	220/132/33 kV, Goda Chhak S/S (320 MVA)
	December’18

	13
	220/132/33 kV Jayapatana S/S(320 MVA)
	December’18

	14
	220/132 kV Pratapsasan S/S(320 MVA)
	March’19

	15
	220/132 kV Kesinga S/S (320 MVA)
	December’18

	16
	400 KV IB - Lapanga D/C (SEL, Bhushan & L&T)
	July’18

	17
	132/33 kV Ghense S/S
	Charged during April’18

	18
	132/33 kV Dhenkikote S/S 
	Charged on 24.02.2018

	19
	132/33 kV Betanati S/S
	July’18

	20
	132/33 kV Kantabanji S/S
	Charged on 28.02.18 

	21
	132/33 kV R.Udyagiri S/S
	December’18

	22
	132/33 kV Chikiti S/S
	August’18

	23
	132/33 kV Athagarh S/S
	Charged on 31.05.2018


The Discoms were requested to take necessary action for availing power supply from those S/Ss and prepare their action plan for takeoff arrangement. 
[Action: DISCOMS / CGM (Const)]

E.2: Installation of ABT compliance Energy Meter at Ib TPS feeders & Generators / Furnishing of DC

As per the provision in the Act, SLDC shall prepare the schedule and Energy Accounting in respect of IbTPS. It is learnt that the Main meter installed by IbTPS feeders is recording 30 minutes reading while Check meter provided by OPTCL is recording 15 minutes reading. Unless ABT compliance Main and Check energy meters installed in IbTPS feeders & Generators will record 15 min block energy injection,   the energy accounting and PAFM cannot be computed. It is requested OPTCL / IbTPS to provide ABT compliance Main and Check meters in all the 220 kV IbTPS feeders & Generators.

In the 119th PSOC meeting CGM (O&M) stated that Ib TPS may deposit the required amount to release meters (for check meter).

In the 121st PSOC meeting it was deliberated that IB TPS is yet to deposit the required amount for release of Energy meters.

In the 121st PSOC meeting it was decided that SLDC shall write IBTPS to attend the meeting and to deposit the required amount for release of Energy meter by O&M.
Deliberations in the meeting

IB TPS representative stated that This has already approved by their Authority. The required amount will be deposited soon.

[Action: IBTPS]

E.3: Compliance of CEA Regulations for Grid Connectivity of Renewable Energy Sources.
As per CEA (Technical Standards for connectivity to Grid) Regulations, 2007, dated 21st February 2007, the pertinent clauses 6 (iii) & 6 (iv) (b) of general Connectivity Conditions shall be applicable to all the Generating Projects including the renewable, which are getting connected to the Grid at voltage level of 33kV & above. Subsequently, CEA have notified the CEA (Technical Standards for Connectivity of the Distributed Generation Resources) Regulations 2013 dated 30.09.2013. These Regulations are applicable for “Distributed Generation Resources”, which means A Generating Station feeding electricity into the System at voltage level below 33kV. Needless to mention that these Regulations also cover the renewable projects connected to the Distribution Licensee’s System at voltage level of below 33kV. The letter received from CEA is annexed herewith. 

SLDC has already forwarded the Regulations & a letter received from DoE, Govt. of Odisha to the Distribution Licensees.  

A meeting was convened on 29.07.2017 by Director (Commercial) between all RE Generators, SLDC, GRIDCO, DISCOMS & Telecom to decide the strategy. It was decided that the RE generators shall suggest the mechanism to be adopted for real time data communication to SLDC & Telecom to examine the same.

In the 113th PSOC meeting, it was decided that GRIDCO will take follow up action with all the RE generators to provide real time generation data to SLDC. ERLDC has reminded again to intimate the status.   

A meeting has been convened by Gridco in this regard with the RE generators, OPTCL, Telecom & SLDC. In the meeting, two nos of agencies presented their data acquisition logic from the RE sources. It was decided that each agency will take up a pilot project for data communication from one RE source to SLDC. On completion of the above project next course of application shall be decided.
In the 121st PSOC meeting  it was decided that SLDC shall write a letter to Gridco to expedite the pilot projects.

Deliberations in the meeting

SLDC stated that they have already witten to GRIDCO to take up the work. It is learnt that only Secure meter will take up the pilot project.

[Action: GRIDCO]

E.4: Major Events in the month of May’18
18.05.18: 132 kV Kesinga Traction feeder charged from Kesinga S/S..

23.05.18: LILO arrangement of 132 kV Nimapara-Kesura line bypassing Pratap Sasan 132 kV bus
31.05.18 : 132/ 33 kV, 1x40 MVA, Khuntuni GIS charged  through LILO arrangement of 132 kV Dehekanal-Grid Steel Alloys line.

E.5: Important Grid Incidences during the month of May’18.
There is only one major incident occurred during the month due to snapping of earth wire of 220 kV Jaynagar-Balimela Ckt-I from gantry tower to  Loc. No-1454A at Jaynagar end causing disturbance at Jayanagar Grid. O&M may analyse for deliberation in the PCC meeting
[Action: O&M]
E.6: Outage of major transmission Elements during the month of May’18. (above 10 hrs).
Outage of majr transmission elements above 10 hours was reviewed. All the events are due to insulator failure.

[Action: O&M]
E.7:  Review of Outage Program of State Generators / Transmission elements for the month of July’18:
Tentative Outage programme for State Generators for the month of July’2018 are as follows:
	Sl.
	Station
	Unit
	Period
	Remarks

	1
	Burla
	# 1

# 2

# 5

# 6
	14.03.18 to 31.07.18

25.05.18 to 31.07.18

25.10.16 to continue

16.10.15 to continue
	T&G coupling cover water leakage

Shaft seal problem

Under R,M & U

Under R, M & U

	2
	Chiplima
	# 3
	15.10.15 to continue
	Under R,M & U

	3
	Balimela
	# 1

# 2
	05.08.16 to continue

20.11.17 to continue
	Under R,M & U

Programming for R&M

	4
	Rengali
	# 5
	04.06.18 to 20.06.18
	Shaft seal problem

	4
	Upper Kolab
	# 2
	28.05.17 to continue
	Upstream leakage & intake gate Problem

	5
	TTPS
	# 2
	25.06.18 to 12.07.18
	Annual Maintenance


[Action: SLDC / OHPC] 
E.8: Generation Program for the month of July’18.
Generation schedule for the month of July’18 furnished by OHPC are given below. 

	Name of Hydro Gen. Station               
	Generation Program (MW)
	Reservoir Level as on 01.06.17
	Reservoir Level as on 01.06.18
	MDDL
	High Flood    Reservoir Level

	
	July’18
(1st fortnight)
	July’18
(2nd fortnight)
	
	
	
	

	HPS-I, Burla
	35
	35
	605.12
	606.33
	590 ft.
	630 ft.

	HPS-II, Chiplima
	25
	25
	-
	-
	-
	-

	Balimela
	120
	120
	1467
	1449.60
	1440 ft.
	1516 ft.

	Rengali
	30
	30
	115.12
	113.75
	109.72mtr 
	123.5 mtr.

	U.Kolab
	60
	60
	849.39
	847.69
	844 mtr 
	858 mtr.

	U. Indravati
	130
	130
	630.14
	628.77
	625mtr 
	642 mtr

	MKD (O/D)
	30
	30
	2705.3
	2712.20
	2685 ft.
	2750 ft.

	TOTAL
	430
	430
	
	
	
	


Generation schedule may change depending on inflow & availability of machine.

[Action: SLDC / OHPC] 
E.9: Anticipated power generation and demand for the month of July’2018.
	Sl. No
	Discom
	Average
	Peak

	1
	CESU
	1100
	1320

	2
	WESCO
	950
	1150

	3
	NESCO
	750
	950

	4
	SOUTHCO
	350
	450

	6
	Total Discom
	3150
	3870

	
	System Loss & others
	150
	200

	
	Total Demand
	3300
	4070

	Availability
	
	

	1
	Hydro
	430  
	1210

	2
	State Thermal
	710
	710

	3
	IPP, small hydro &RE
	350
	350

	4
	ISGS share (including OA& purchase)
	1460
	1450

	5
	CGP support (OA)
	350
	350

	6
	Total availability
	3300
	4070

	7
	Surplus / Deficit
	0
	0


Members may discuss.

PART F: OTHER ISSUES

F.1 Power Supply to Bulk consumers
CGM (O&M) raised the feasibility of power supply to Bulk consumers through LILO arrangement of existing transmission line. CGM (Const) stated that as per earlier discussion and OERC order LILO connectivity will not be allowed to any consumer. Such consumers may be insisted to avail power sully directly from the S/S through dedicated transmission line.
[Action: O&M]

F.2:  Date and Venue of the next (123rd) PSOC meeting.
Annexure

[image: image4.jpg]122nd Power System Operational Co-ordination Committee Meeting

[ At 11:00 A.M. on 25.06.2018]

[At PTC, Chandaka, Bhubaneswar]

hilal Name Designation | Organisation Mobile No. E-mail Address Signature
1 | &K, Sahu com (e op7e L 438907919 | bagaies. . he
1 cgm-poaD opfel - 2 B b

H-K. fqm¢/y7 com( 7e))

OPTCL |9 %9039 or,.m@aﬁq-u-i.«

N fidais comltmh) orrcL | 94%850 F ot | cgm.ton € phil-Bo)

Pf Cohu (ﬁM(‘"")

0PTCL | 943890 FFFE [ele Ksalw@aprl-toin

Pk, Mishgn

cLp

Sty AQULEG 0 7902 | eltphmi tha @ Sle oy
[ip T

Qo Pokeart=  |Semalpbtp—tPEL | AN | AN

G-k Puss SemieTE0)

OPTCL | TAWTFIL  |ele e el cos)

S Anrrpic | 5575

’)',"flb gus990762]  ehm - 9am)- N

K K Pyt

1 X% 7] 2% gjm ep

o
%’
-

10

P |t bed

BypeP Bl bedomld
sel 1318370300 ”@’3\;—\;3 bl

\

! H D Mabopadia] G |Orpe _L7azsggovis by ot O

2| o s gl [%dnY %éf?’ ?6%g9098a%3;‘$&”rb/m/‘m —,
5 (PR oomdied Nalfrg, Act| OHPC | 23228bopas S,ji Mel‘.mhler %ﬁmﬁf;
4 | QUMysn [Mam-siedi BPOL Q80 2U22Y [Skpiiere @ bhubs Sl

s [P R Mexcar D) @ Sti] 9apq 0150 T &%’%ﬁ(ﬁﬂyﬁ

¢ Pknokapate | WPhL [a391500 @ ’b@“)?a/f 201 N eatapd

17 | P K Nayge |PoW |ofTCl [9458907562 éu@ﬁ”aﬁ@” %L//

18

T Joumdev | £4 .

Sudeo |99 81275 |abd- 3t @ o]

19

T N CHANDR

GM (&)

TSPL . _ inchancrg @
oL [1PW Y35 “/amo;az ,s',a cons

20

M\L .%e"\%‘\"@ '\N\ \Sj

WES®  [AWs W00 4‘5@\\6« & PO ) Sy

21

A w. Patvyal f"c\g"""w

dgacc@ el coodd

kS co qqu-;;“a 14 Msw\j\-oxw} el L@ e

22

Dolaly,  |Mansgre

ooz 1/\-\

Nesw 19429904022 | pe @W‘m

23

S K Nighn | Dgta (1)

eptet 1443890144 el SKmighn @0y

24

Q, 1< Das MM

25

0 R. MAshoa| Do ME

“ 30§ CxneRheze
gPICL STRE e% el e we

26 | ¢

‘i Mokgudy | DGMEY

8P Ll 94>¢ 9o 7outlde W

27

59 Aads ' [MHR)

HS%e, |T1287°0830| gecepie/

28

Pk padhy

Gm

cEo | 913% 6 U0 |df § aso o





[image: image5.jpg][ Sl Name Designation | Organisation Mobile No. E- mall Address Signature
No. s
gl bt
s BT iAe PN eR| ST [T o7t ,;W\ﬁv%
0 DG baasRe (DM(e)| C1De | q4%92 999 d&-kg @ 5,
. mancp.- parcla@
3 | Mancg Fondla |46M |Vedbeds | 97147222 {0 gnmw o
32 Dol g'ﬂ&&g K| aGimgink  sive [PURBOTY 16 klde o5, }g&q 459 D/(? ko~
‘ (e bgradlan
3 p;m\m&w&& \”\'GA\MN\ PlonoegeL SLHC [Anzsqedr 2 ) i\c\ oA AS 109 @;V‘
3\ fuls Guods Canap | PMCed) aLpC | Au32902160 de‘sswﬁf’f‘d Gndns
3 | &k pon Toch ozl 0cDC | 942F000261 | L. Sbupciso®@ medihfotrte Sty
36 | Pk Dan am Cel) | ar/pCo | 44390 FUsy progiuaticdas Oyoh te-» QL
37 | yigaheo gamle) SIC | A42690my03 | Visbbar@ gans -em Lgﬁ

38

39

40

41

43

44

45

46

47

48

49

50

51

52

53

54

55





