[image: image1.png]STATE LOAD DESPATCH CENTRE

OFFICE OF THE CHIEF LOAD DESPATCHER
i ODISHA POWER TRANSMISSION CORPORATION LIMITED
¢ GRIDCO Colony, P.O.- Mancheswar Rly. Colony, Bhubaneswar-17, FAX-0674- 2748509
CIN — U401020R2004SGC007553

No-SGM (PS)-PL-15/2016/ 33320 C\'\ ‘) Dated:5.09.2017

From:

The Chief Load Despatcher
SLDC, OPTCL, Bhubaneswar-17.

To:
As per distribution list

Sub: Minutes of 113" PSOC meeting held on 16.09.2017 at PTC, Chandaka,
Bhubaneswar

Sir,
Please find enclosed herewith the minutes of 113" Power System Operational Co-
ordination meeting held on 16.09.2017 at PTC, Chandaka, Bhubaneswar.

This is for your information & necessary action.
Yours faithfully;

&“ l%,\e\\w

Chief Load Despatcher,
SLDC, OPTCL

Encl: As above

Copy along with enclosures forwarded to the Executive Assistant to CMD, Gridco / OPTCL
for kind information of CMD.




Distribution list

1. The Director (Commercial), Gridco, Bhubaneswar

2. The Director (Operation), OHPC, Bhubaneswar

3. The CGM (O&M), OPTCL, Bhubaneswar.

4. The CGM (Const.), OPTCL Bhubaneswar.

5. The CGM (RT&C), OPTCL, Bhubaneswar.

6. The CGM (PP), GRIDCO, Bhubaneswar.

7. The CGM (IT), OPTCL, Bhubaneswar.

8. The CGM (Telecom), OPTCL, Bhubaneswar.

9. The Sr. G.M (Const)-I, OPTCL, Bhubaneswar.

10. The Sr. G.M (Const)-II, OPTCL, Sambalpur.

11. The Sr. G.M (CPC), OPTCL, Bhubaneswar.

12. The Sr. G.M (CP), OPTCL, Bhubaneswar.

13. The Sr. G.M. (O&M), Zone-I, Narendrapur 

14. The Sr. G.M. (O&M), Zone-II, Meramundali.

15. The CEO, CESU, Bhubaneswar.

16. The A.O., WESCO, Burla

17. The A.O., NESCO, Balasore

18. The A.O., SOUTHCO, Berhampur.

19. The Member Secretary (GCC), OPTCL.

20. The ED, Power Grid Corporation of India, Bhubaneswar.

21. The Sr. G.M. (El.), BHEP, Balimela

22. The A.G.M. (El.), CHEP, Chiplima

23. The Sr. G.M. (El.), UIHEP, Mukhiguda

24. The Sr. G.M. (El.), RHEP, Rengali

25. The D.G.M. (El.), HHEP, Burla

26. The D.G.M. (El.), UKHEP, Bariniput, Koraput

27. The S.E. (O&M), Machhakund

28. The DGM (Elect.), IbTPS, OPGC, Banharpali.

29. The Vice President (O), IMFA, Choudwar.

30. The D.G.M. (O&M), NTPC (TTPS), Talcher.

31. The AGM (Elect.), JINDAL Stainless Ltd., Duburi

32. The G.M, HINDALCO, Hirakud.

33. The G.M.CPP, NALCO, Angul.

34. The Director, M/s. Jindal Steel & Power Ltd., Angul

35. The AVP-Vedanta Ltd (IPP), Jharsuguda

36. The G.M, Vedanta Ltd (CGP), Jharsuguda.

37. The DGM (Power Distribution), RSP, Rourkela.

38. Joint President, Aditya Aluminium Ltd., Lapanga, Sambalpur

39. The G.M. (Elect.),  Bhusan Steel Limited. Meramundali

40. The G.M. (Elect.), Bhusan Power & Steel Ltd, Budhipadar.
41. The G.M. (Elect.), IFFCO Limited.

42. Director & COO, GMR Kamalanga Energy Limited, Satyanagar, Bhubaneswar.

43. The CEO, Bhubaneswar Power Pvt. Ltd, IRC Village, Nayapalli, Bhubaneswar.

44. M/S Tata Power & Steel Ltd., Kalinganagar

45. DGM, EHT (O&M) Division, Jayanagar 
46. The Executive Assistant to C.M.D, OPTCL for kind information of C.M.D.
Odisha Power Transmission Corporation Ltd. Bhubaneswar.


Minutes of 113th PSOC meeting held on 16.09.2017 at PTC, Chandaka
List of participants is at Annexure.

CGM, SLDC welcomed all the members to the 113th PSOC meeting. In his welcome address, he highlighted the system performance for the month of August’2017 and overall power scenario of the State. He also emphasized on the power drawal, made by all the Discoms during the month. 
D.G.M. (SS), SLDC took the agenda items for discussion. 

The review proceeded as follows: 
1: Confirmation of minutes of 112th PSOC meeting held on 19.08.2017
The minutes of meeting was circulated vide letter No. SGM (PS)-Pl-15/2016/3174(46) dated 31.08.2017 to all the members and also uploaded in the SLDC website. No comment has been received from any of the member except OHPC, which was clarified in the Agenda. 
Deliberation in the meeting:
The minutes of 112th PSOC meeting was confirmed. 
PART B : SYSTEM PERFORMANCE
B1: Review of Grid Performance for the month of August’2017.
(A)  Frequency 

It was noticed that, during the month of August’17, 70.68% of times the frequency remained in the IEGC band i.e.  49.90Hz - 50.05Hz in comparison to 68.33 % during the month of  July’17. The maximum and minimum System frequency during the month was 50.12 Hz & 49.74 Hz respectively.

 (B)  Grid demand 

Grid demand for the month of  August’17 was reviewed. The average consumption during the month was 3360MW. The maximum System demand of 4269 MW occurred on 26.08.17at 24:00 Hrs and minimum demand of 2647 MW occurred on 17.08.17 at 16:00 Hrs. 
Deliberation in the meeting

It is observed that the average demand during the month of  August’ 17 has been increased by 84 MW while the peak demand  was increased by 36 MW from that of July’17. The average demand during the month has been increased by 214 MW in comparison to July’16. Besides normal load growth, import of power by M/s Vedanta Ltd. through Open Access transaction is reason for increase of average demand.
 (C)  Voltage Profile of important Sub Stations in OPTCL System during the month of August’17.

The Voltage profile at different 220 kV buses in OPTCL system during the month of August’17 was reviewed. 
The maximum Voltage of 240.81 kV occurred at Laxmipur 220 kV bus. Narendrapur 220 kV bus has experienced the minimum Voltage of 207.49 kV. Bus Voltages at Samgara, Lapanga and Cuttack could not be incorporated due to non availability of energy meter in those S/Ss. The 220 kV Voltage profile of Jayanagar and Narendrapur and 400 kV Voltage profile of Meramundali bus during the month of August 2017 in 15 minute block was reviewed.
Deliberation in the meeting:
The overall Voltage profile of 220 kV buses is satisfactory. SLDC may monitor the VAr injection by generators connected to Meramundali S/S.  







 [Action: CGM (O&M) / SLDC]
(D) Loading of 220/ 132 kV Auto at 220 kV S/Ss in OPTCL system for the month of August’17.

Auto loading of all 220 kV S/Ss was reviewed. It was noticed that some of the Autos have not been provided with energy meter. 
Deliberation in the meeting:
Energy meter have installed at Mendhasal Auto. All meters are expected to be commissioned by end of September’17. 









        
        [Action: CGM (O&M)]

(E) DISCOM Drawal during the month of August’17 
The schedule and actual energy drawal by Discoms for the month of August’17 was reviewed. 
Deliberation in the meeting:
It was noticed that CESU had overdrawn 9.456 MU all other Discoms have under drawn marginally during the month. 

 [Action: All Distribution Utilities / SLDC]
(F) Energy Generation / import during the month of August’17 
Energy generation and exchange during the month of  August’17 was reviewed. The total quantum of energy drawn from all the generation sources including Central Sector Share and CGP/IPP support during the month was 2500 MU. 
Deliberations in the meeting
The energy demand has been increased due to import of power by M/S Vedanta Ltd. through Open Access transaction.
 (G) Drawal of Machhakund Power during the month of August’17
The drawal of Machhakund power during the month of August’17 was 24.448 MU, against AP drawal of 25.220 MU. 
Deliberations in the meeting

SLDC stated that drawal of Machhakund share has been improved during the month in comparison to previous months. 
 [Action: SLDC / CGM (Telecom)]
(H) Under Frequency relay operation in OPTCL System during the month of August’17.

There is no UF Relay operation during the month of August’17 as the frequency had never gone beyond 48.50 Hz. 
(I) Status of Open Access applications during the month of August’2017
Status of Open Access Applications received and disposed by SLDC during the month was reviewed.

Deliberations in the meeting
Total 159 numbers of Short Term / Medium term and Collective transaction applications have been processed by SLDC for according Approval / Consent / NoC during the month. 
PART C – Issues likely to be discussed in the 137th OCC meeting of ERPC on 21.09.2017
C.1: Status of projects funded under PSDF schemes

In the PSDF review meeting held on 29.04.16 at New Delhi, it was advised to RPCs to monitor the status of all the projects funded by PSDF. Therefore, constituents are requested to update the status of projects which are being funded by PSDF in the desired format. 
The latest status as updated by OPTCL is as given below:
	Sl No


	Name of

Constituent
	Name of Project
	Date of approval from PSDF
	Target Date of Completion
	Amount

Approved (in Rs.)
	Amount

Drawn till date (in Rs.)
	Status as updated in
129th meeting

	3
	OPTCL
	Renovation & Up-gradation of protection and control systems of Sub-stations in the State of Odisha in order to rectify protection related deficiencies.
	11.05.15
	04.08.17
	162.5 Cr.


	25.16 Cr.
	Total contract awarded for

Rs. 51.35 Cr




In the 112th PSOC meeting, O&M stated that DPR for installation of 400 kV bus reactor for funding through PSDF at Meramundali S/S shall be sent to NLDC.

Deliberations in the meeting

CGM (O&M) stated that that the DPR for installation of reactor has been sent to NLDC for PSDF funding as per the suggestion given by ERLDC during a joint study. CPC has been requested to take necessary action for tendering the 400 kV Bus reactor to be installed at Meramundali S/S.
[Action: CGM (O&M)]

C.2: Status of construction of 400 kV Sterlite-Jharsuguda D/C sections

35th ERPC decided to extend the dead line for removal of LILO up to 15.04.2017 and advised Vedanta to strictly adhere to the schedule for commissioning of the dedicated line in all aspects.

Further, ERPC authorised CTU to open the LILO on 16.04.2017.

In 131st OCC, Vedanta submitted the item wise schedule. Subsequently, GRIDCO vide letter dated 13.04.17 has requested for extending the LILO connectivity till 30.06.2017.

In 132nd OCC, GRIDCO/OPTCL intimated that the line is expected to be completed by 31st May, 2017 in all respects. But keeping in view of peak summer the LILO may be allowed to continue till 30th June, 2017 to support the OPTCL system.

In view of above, OCC agreed to extend the interim LILO connectivity till 30th June, 2017. It was also decided that the LILO may be disconnected on 1st July, 2017.
GRIDCO/OPTCL assured that the dedicated line will be completed by mid of June, 2017 and the LILO may be disconnected on 01.07.2017.

OCC advised OPTCL and Vedanta to complete the work at the earliest and no further extension will be granted for removal of LILO.
In 113th PSOC, Vedanta updated the latest status as follows:
	Activities
	Nos
	Status as updated in

35th TCC
	Status as updated in

133rd OCC
	Status as updated in

113th PSOC
	Remarks

	Tower Foundation
	64
	64
	64
	64
	Completed

	Tower Erection
	64
	59
	63
	64
	Completed

	Stringing /OPGW

Cabling & Testing
	20.5 km
	9 km completed
	15 km completed


	19.7
	

	Sub-station Bay
	2
	Bay construction completed
	Testing going on
	
	


Vedanta stated that they have targeted to complete all works by 30.09.2017. 
[Action: Vedanta Ltd.]
C.3: 220 kV inter-connecting lines of OPTCL with 400/220 kV Bolangir (PG), Keonjhar & Pandiabil S/s

PGCIL has already commissioned the 2x315MVA 400/220kV Bolangir S/s by LILOing of 400 kV Meramandali-Jeypore S/C line and 400/220 kV Keonjhar S/s with an objective of supplying power from ER grid to its adjoining areas in Odisha.

In 137th OCC of ERPC, SLDC shall deliberate deliberate the completion schedule of inter-connecting system as follows:

	Sl. 
	Name of the transmission line
	Completion schedule

	1.
	2 X 315MVA 400/220kV Bolangir S/s

	a.
	LILO of one circuit of Sadeipalli-Kesinga 220 kV D/C line at Bolangir S/S.
	Construction of 220 kV Sadeipali-Kesinga portion has started. Expected by March’18

	b.
	LILO of one circuit of Katapalli-Sadeipalli 220 kV D/C line at Bolangir S/S.
	Charged on 04.05.16

	2.
	400/220 kV Keonjhar S/S.

	a.
	Keonjhar (PG)-Keonjhar (220/33 kV) 220 kV D/C line
	Line is expected by Dec’2017

Keonjhar(220/33 kV) by Dec’17

	b.
	Keonjhar (PG)-Turumunga (220/133 kV) 220 kV D/C Line.
	By 2019

	3.
	400/220 kV Pandiabil Grid S/s

	a.
	Pratapsasan(OPTCL)-Pandiabil (PG) 220 kV D/C line
	December 2017 

	b.


	LILO of one circuit of Atri-Puri (Samangara) 220 kV D/C line at Pandiabil (PG). 
	Atri – Pandibili 220 kV one ckt charged on 19.05.2017

Pandiabili – Samangara 220 kV one ckt. charged on 20.05.17


In the 110th PSOC meeting, SLDC stated that permission for charging of 220 kV Pandiabili-Samangara line was allowed by ERLDC with an undertaking by SLDC to install RTU at Samangara within two months time. It was decided that Telecom may use the RTU already installed in any new S/S which is yet to be commissioned and install at Samangara S/S.  

In the 111th PSOC meeting CGM (Telecom) stated that the RTU presently installed at Olaver S/S shall be removed and used at Samangara S/S by end of July’17. CGM (Const) has already been requested for provision of RTU at Samangara for booking the cost of the RTU.   

In the 112th PSOC meeting CGM (Telecom) stated that tender for installation of RTU at Samangara will be done within a week of time.

Deliberations in the meeting
AGM (Construction) stated that 2nd ckt of 220 kV Atri-Samangara line will be made LILO at Pandiabili. CGM (Telecom) stated that tender for installation of RTU will be opened on 20.09.2017. Installation is expected to be completed by 30.09.2017.

[Action: CGM (Const.) / CGM (Telecom.)]
C.4: Preparation of crisis management plan for Cyber Security in Power Sector in line with CERT-IN.

The activity of the preparation of Crisis Management Plan for countering the cyber attacks and its implementation including the Mock Drills, audits etc. is being monitored by CEA regularly in line with crisis management plant of Ministry of Power. Power Utilities (including generation, transmission & distribution utilities) of eastern region are to furnish regularly, the updated status to Chief Engineer, Distribution Planning & Development Division, CEA. NTPC communicated their activity of the preparation of Crisis Management Plan for countering the cyber attacks vide letter dated 2nd August, 2013.

In 113th OCC, Member Secretary informed that during interaction with consultants of Grid Study Committee, NLDC agreed that they will plan for conducting workshops on crisis management plan for Cyber Security and few workshops will also be held in Eastern Region.

CESC vide letter dated 22.08.15 had furnished their status of the preparation of Crisis Management Plan (CMP) for Cyber attacks in their system.
In the 107th PSOC meeting, CGM (IT) informed that “Crisis management plan” work is awarded to M/s Digital Age Strategies Pvt. Ltd. The said firm has completed the study of Servers and Firewalls at SLDC, Bhubaneswar and back-up SLDC at Meramundali. Presently the data centers of SLDC and GRIDCO are being audited for IT security vulnerability assessment.

SLDC is requested to nominate one officer for attending the Cyber Security training to be held at Bengaluru during 11th to 15th April’2017. Nominations from GRIDCO and OPTCL have since been received. Top management awareness-cum Seminar on the subject shall be organized subsequently.

In the 108th PSOC meeting, IT stated that the Cyber Security training was held at Bengaluru during 11th to 15th April’2017. Regarding the proposed in house training to be held at Bangalore, members suggested to conduct the training at Bhubaneswar, so that all other officers can attend the same. IT requested to spare one room at SLDC building for Security Operation Center. SLDC stated that there is no spare room available at present.

In the 109th PSOC meeting CGM (IT) stated that top level sensitization program will be held on 25th May’17, after which the suggestions will be implemented.
In the 110th PSOC meeting, IT stated that the meeting was held on 23.06.2017. SLDC shall comply with the action to be taken relating to SCADA.

In the 111th PSOC meeting DGM (Telecom) stated that the compliance of action to be taken on SCADA related issues is under process.
In the 112th PSOC meeting IT stated that compliance of audit report is pending with DGM (Telecom.) / Chemtrols. Tendering for ISO 27001 certification & Security Operation Centre (SOC) is under process. A presentation on the same is scheduled on 22.08.17 by Earnest & Young & RSA.

Deliberations in the meeting
CGM (Telecom) stated that after testing of dual reporting of RTU and back up control center and compliance of audit report, Telecom will process for tendering. 

[Action: CGM (IT) / Telecom]
C.5: Certification through BIS as per IS 18001:2007 to all generating / transmission units.

In 84th OCC meeting all constituents were requested to interact with BIS with intimation to ERPC and get certified as per CEA direction.

In the 110th PSOC meeting CGM (O&M) stated that BIS office at Bhubaneswar was contacted in this regard. It was decided that OPTCL shall nominate its officers to take training. After completion of training they will conduct audit and certify.
In the 111th PSOC meeting CGM (O&M) stated that 22 nos of officers are nominated from Chandaka, Mendhasal, Atri, Kesura, Bidanasi & Cuttack S/Ss to undergo training. Awareness training shall be started from 1st week of August’17. After receiving the price offer, order will be placed. 

In the 112th PSOC meeting CGM (O&M) stated that offer letter has been received from BIS. Certification for 6 Nos of S/Ss will be done by December’2017.

Deliberations in the meeting
Certification for 6 Nos of S/Ss will be done by December’2017.
[Action: CGM (O&M)]
C.6: Replacement of old RTU in Eastern Region for reporting of RTU / SAS to back-up control centre
The matter for replacement of old RTU in Eastern Region for reporting to back up control centre has been discussed in a special project review meeting held on 14th February 2017 at ERPC & also on 35th TCC/ERPC meeting held on 24th / 25th February 2017, It was also mentioned that there would not be any service support for the old RTUs from POWERGRID after 15 years of operation period. It was accordingly advised to ERLDC to form a committee with POWERGRID as a nodal agency for assessment of such old RTUs vis-a-vis further action plan on replacement.

It was also advised to submit a report in the next TCC/ERPC meeting.

The matter for replacement of old RTU in Eastern Region for reporting to back up control centre has been discussed again in 19th SCADA O&M meeting held at ERLDC, Kolkata on 07th April 2017, wherein nomination of nodal person name from OPTCL, WBSETCL, DVC, BSPTCL, JUSNL, POWERGRID ERTS-1, POWERGRID ERTS-2, ERLDC, MPL & Jorethang has been collected.

Nomination from NTPC all stations including Nabinagar, NHPC all stations, Dikchu, Teesta-III, Chuzachen, JITPL, GMR, Ind Bharat & APNRL are yet to be provided. ERLDC has already issued letter ref no: ERLDC / SCADA O&M / 2017/ dated 11.04.2017 for the same. It is requested to provide the nomination from these stations.
In the 108th PSOC meeting, CGM (Telecom) stated that tender has already been floated for replacement of old RTUs. A meeting is scheduled to be held between OPTCL, POWERGRID and Chemtrol during 1st week of May’17 to decide integration charges.  

In the 109th PSOC meeting, CGM (Telecom) stated that POWERGRID suggested to contact the vendor directly as the contract period is over. The tender has been cancelled. A fresh tender will be done.

In the 109th PSOC meeting, CGM (Telecom) stated that OPTCL has asked some clarifications regarding integration charges. After receiving the same, retendering process will be initiated.

In the 111th PSOC meeting CGM (Telecom) stated that ERLDC has forwarded one RTU specification for Eastern region. A meeting is scheduled to be held on 04.08.2017 at ERLDC to finalize the tender specification. 
In the 112th PSOC meeting CGM (Telecom) stated that RTU specification has been finalized on 7th August’17. Tendering will be done after approval of CMD, OPTCL.

Deliberations in the meeting

CGM (Telecom) stated that tendering for procurement of 90 Nos of RTUs (47 for replacement and 43 new) will be done.
[Action: CGM (O&M) / CGM (Telecom)]
C.7: Implementation of Automatic Demand Management Scheme

OPTCL vide mail dated 24.02.2016 pointed that Hon’ble CERC vide their order dated 31.12.2015 passed in Sou-motu Petition No.- 5/SM/2014 in the matter of non-compliance of Regulation 5.4.2 (d) of IEGC directed all Respondents (SLDCs) for implantation of ADMS in their respective control area. CERC have allowed dead line till 30.06.2016 to the Respondent for implementation of ADMS. Failing which they will be liable for action under Section 142 of the Act.

   *****************************************************************************
The DPR for ADMS has already been approved by BoD, OPTCL. SLDC shall submit the proposal for funding by PSDF for ADMS to O&M wing of OPTCL for further action.
In the 108th PSOC meeting, SLDC stated that filling of format for PSDF and floating of tender is under process. The DPR will be sent to ERPC. CGM (Telecom) stated that SLDC may contact the consultant of PSDF for filling the format. The proposal has already been sent to NLDC to include for funding through PSDF.
In the 109th PSOC meeting, SLDC stated that floating of tender is under process. 
In the 110th PSOC meeting, SLDC stated that floating of tender will be done within two weeks.
In the 111th PSOC meeting SLDC stated that on implementation of GST in the country, the commercial aspect of the tender need to be changed. The tender is expected to be floated within 10 days.
In the 112th PSOC meeting it was decided that a meeting will be conducted between SLDC, O&M & Telecom to finalize the logic and implementation strategy.

Deliberations in the meeting
SLDC stated that CPC has been requested to prepare the “Expression of Interest” before processing the tender.
[Action: CGM (O&M) / SLDC]
C.8: Pollution mapping for Eastern Region
Powergrid updated the latest status as follows: 
	
	No of locations
	Installed locations
	1st set of measurements
	2nd set of measurements
	3rd set of measurements
	4th set of measurements
	5th set of measurements

	OPTCL
	164
	102
	100
	90
	79
	78
	24


Powergrid added that they prepared an online format to submit the details of measurements.

Powergrid requested to fill the Google form (https://goo.gl/6375HJ) for onward submission of measurements for better analysis of results.

Further, the schedule for measurement as informed vide letter dated 20.01.2016 & mail dated 21.01.2016 are as follows:

Measurement Schedule

	4th set
	5th set
	6th set

	21st -30th Sep 2016
	21st -31st Jan 2017
	21st -31st May 2017


OCC advised all the constituents to complete the measurements as per the schedule.

It is also requested to send the onward measurement results to following emails in addition to current email ids

1. vbhaskar@powergridindia.com

2. ritesh.kumar@powergridindia.com

In the 110th PSOC meeting, O&M stated that data for 92 locations have been collected.

O&M stated in the 111th PSOC meeting that data from 54 Nos of locations are available during the month of June’17. Due to continuous rain, further testing has been stalled as the data so obtained will not be so much useful.

In the 112th PSOC meeting O&M stated that measurement cannot be done during rainy season. 90 Nos of locations have been completed in 5th set. It was suggested that O&M may intimate to ERPC to update the database. 
Deliberations in the meeting

O&M stated that measurement shall be done after rainy season.
[Action: CGM (O&M)]
C.9: Mock Black start exercises in Eastern Region 
The tentative schedule of black-start exercises for F.Y 2017-18 given by OCC is as follows
	Sl. No.
	Name of Hydro Station
	Schedule
	Tentative Date
	Schedule
	Tentative Date

	
	
	Test-I
	
	Test-II
	

	1
	Upper Kolab
	Last week of May-2017
	Conducted on 30th May 2017
	Last week of January 2018
	

	3
	Rengali
	2nd week of June 2017
	Conducted on 29.06.17
	Last week of November 2017
	

	4
	U. Indravati
	3rd week of June 2017
	2nd week of July-2017
	2nd week of February 2018
	

	6
	Balimela
	3rd week of October  2017
	
	1st week of March 2018
	

	9
	Burla
	Last week of June 2017
	Can be conducted after synchronization of #2
	Last week of February 2018
	


In the 110th PSOC meeting, SLDC suggested that OHPC may send their officers of different Power Stations to SLDC to study and realize the conditions of frequent increase / decrease of hydro generation instruction given by SLDC on real time operation. 
In the 111th PSOC meeting SLDC stated that OHPC may intimate their readiness for conducting mock black start exercise for Burla HEP, as unit #2 has been synchronized. Mock black start exercise for Indravati HEP could not be conducted due to tower collapse of Indravati-Theruvali ckt 3&4. 
In the 112th PSOC meeting OHPC stated that there are certain limitations in Burla PH such as # 2 & # 7 can only participate in mock black start exercise. It was suggested that OHPC may deliberate the same in OCC meeting of ERPC.

Deliberatios in the meeting
OHPC stated that since # 7 has been synchronized black start exercise for Burla HEP may be programmed after Durga Puja i.e in the month of October17.

[Action: OHPC / SLDC]
PART-D – Operational Issues
D.1: Non-compliance of drawal schedule by DISCOMs

Non compliance of drawal schedule messages issued to Discoms during the month of August’17:
	Sl. No
	Name of Discom
	No. of message issued
	Over drawal (MU)
	Deviation (%)

	1
	CESU
	0
	9.456
	1.230

	2
	WESCO
	0
	-5.248
	0.843

	3
	NESCO
	0
	-2.028
	0.004

	4
	SOUTHCO
	0
	-3.184
	0.010

	
	Total
	0
	-0.969
	


It is noticed that CESU had overdrawn during the month.
Deliberations in the meeting
CESU stated that they are not able to predict their day ahead drawal due to non availability of correct drawal from SCADA. SLDC state that SCADA data is an indicative of drawal, which may not match with the meter data. CESU may collect field data and compute the correction factor or other software for their demand prediction.   

[Action: CESU/SLDC]
D.2: Prolonged outage of transmission elements and tentative revival dates
The tentative revival dates of transmission elements are updated in the last meeting are as follows:

	  Sl. No
	Name of transmission element
	Reason of outage
	Probable date of revival

	1
	220/132 kV, 100 MVA, Auto- 1 at Duburi
	Main tank severely damaged
	The damaged 100 MVA Auto will be replaced by 160 MVA. 

	2
	220/132 kV, 100 MVA, Auto-I at Tarkera
	220 kV breaker problem
	30.09.2017

	3
	220/132kV, 100MVA  Auto-2 & 3 at Bhadrak
	Fire hazard on 31.05.2017
	The damaged Autos will be replaced by 2 Nos. 160 MVA Auto. 1st Auto will be charged by 25.09.17 

	4
	400kV Meramundali-Vedanta ckt.-I & II
	3 nos of tower collapsed on 11.06.17
	23.09.2017

	5
	220 kV Theruvali-Indravati ckt-3&4
	Tower 69 & 70 collapse due to flood. 
	20.09.2017


[Action: GM (O&M) / CGM (Const.) / Vedanta].

D.3: Communication issues 
Installation of communication equipment by CGPs / IPP /  Industries.
The status of data communication from CGPs as deliberated in the last meeting is as follows.

	Sl.
	Name of CGP
	Present status

	1
	M/s IFFCO, Paradeep
	Outdoor commissioning work completed. RTU was locally tested. CVT already replaced. Data will be integrated after restoration of OPGW between New Duburi & Paradeep.

	2
	M/s MSP Mettalicks
	PLCC / RTU installed. Database has already been prepared by OPTCL. Final RTU integration with OPTCL system by the vendor is awaited.

	3
	M/s NINL, Duburi
	M/s NINL has requested for Scheme, BOQ for PLCC/SCADA, which has been forwarded by OPTCL. No action has been taken by NINL so far. 

	4
	M/s Rohit Ferrotech
	PLCC established and inspection by Telecom Engineers completed.  Database has already been prepared by OPTCL.    

	5
	CONCAST
	No kV/Hz. (Industry is under lock up)

	6
	VISA
	CB & Status data are not available

	7
	Paradeep
	Data not available at ERLDC (Transducers need replacement)

	8
	Vedanta (400kV) 
	Frequent interruption of Line data & Generation data 

	9
	GMR
	GMR line data not available as reported by ERLDC.

	10
	Samangar & Lapanga
	No data available as reported by ERLDC

	11
	NALCO
	No data available since 14.07.17. NALCO is not responding


GCC has convened a meeting with all the CGP and EHT consumers on 21st February’2017 to discuss the communication issues. In the 106th PSOC, SGM (Telecom) stated that data from Paradeep S/S will be obtained after availing shutdown of 220 kV Duburi-Paradeep DC line for OPGW stringing. 

In the 107th PSOC meeting, GCC stated that the CGPs and EHT consumers have assured to establish communication system within a specified time limit. In case they fail to do so the matter will be placed before the OERC.

In the 108th PSOC meeting, GCC stated that, the minutes of the meeting have already been forwarded to OERC. SLDC stated that the generation of GMR unit connected to the State network is being received. It was decided that CGM (Telecom) will write to GMR for installation of a separate RTU for the said unit.

In the 109th PSOC meeting, Members suggested that GCC may file a Petition before the OERC for non compliance of data communication by the CGPs.
In the 111th PSOC meeting GCC stated that the information has been received from Telecom. The status shall be submitted to OERC.

Member Secretary GCC vide letter No. 4531(6) dated 07.08.2017 intimated that they have requested Hon’ble OERC vide letter 4510 dated 05.08.2017 to initiate suitable action against the industries those have not complied the provision of real time data communication with SLDC. 
In the 112th PSOC meeting CGM (Telecom) stated that GMR has agreed to lay OPGW to provide data of their STU connected unit to SLDC control room. SLDC suggested that GCC has to take necessary follow up action with OERC. 

Deliberations in the meeting
SLDC stated that establishment of communication facility by the CGP / IPP / Industry has been delayed considerably. GCC may examine for filing of a case before the OERC through RT&C. 
SLDC stated that at present, data from all the units of GMRKEL are being reported to SLDC. In the 19th SCADA O&M meeting of ER held at ERLDC, Kolkata on 07th April 2017 ERLDC informed that scheduling of GMR is being done at ERLDC so data must be reported to ERLDC directly from GMR. ERLDC requested OPTCL to take up the matter with GMR so that data & voice should be available directly to ERLDC. OPTCL agreed for the same.
[Action: GCC / GMR / Telecom. / RT&C]
D.4: Web based drawal / generation scheduling.

In the 107th PSOC meeting, CGM (IT) informed that Generators web based scheduling work is completed except for generation of report indicating “Final Generation Schedule” for which SLDC shall furnish the requisite format.  SLDC was requested for a report to ascertain the submission of schedule by the CGPs.

In the 108th PSOC meeting, IT stated that final report generation will be completed by April’2017. Searching and Sorting of data has been done. The status to indicate whether the CGP has done scheduling or not, will be completed. SLDC may go for parallel run of the program for the month of May and June’17. From 1st July’17 the software will be made operative. SLDC may write a letter in line with the above program.
In the 111th PSOC meeting it was decided that from 1st August 2017 the schedule submitted through web portal will be considered. The web based schedule will be implemented for TTPS and Ib TPS from 1st September’2017. SLDC may intimate all the CGP and State Thermal generators accordingly. SLDC have intimated some problems in the software which need to be rectified by IT.

In the 112th PSOC meeting SLDC stated that GMR has raised certain issues regarding the provisions. IT has assured to resolve the same. It was decided that SLDC will conduct a training program for Generators before implementation of 2nd phase web based scheduling for TTPS, IBTPS & IPPs.

Deliberations in the meeting

It was decided that SLDC will conduct an interactive meeting with the IPPs connected to State network, IbTPS and TTPS to furnish their schedule through SLDC portal instead of mail.

[Action: SLDC/IT]
D.5: Implementation of Automatic Meter Reading for OPTCL-Discom interface points.

The work for Automatic Meter Reading (AMR) for all the interface points is in progress. 

It was deliberated that from 1st March onwards the AMR shall be made “Go live”. Data will be available after one hour lapses of time.

In the 100th PSOC meeting CGM (IT) stated that by end of August’2016 testing of all meters of CESU control area will be completed for billing purpose. SLDC may check August data from both the meters.

In the 104th PSOC meeting, DGM (IT) stated that, data from 90 Nos of S/Ss will be provided by January’2017. Gridco stated that the events such as PT failure, CT polarity reversal, meter power failure, MD reset, time synchronization etc. are not being incorporated the AMR. It was decided that IT, SLDC and GRIDCO may have a separate meeting to resolve the issue.

In the 105th PSOC meeting DGM (IT) stated that, data from 100 Nos of S/Ss will be provided by February’17. The issues raised by Gridco will be addressed except Time synchronization and MD reset.

In the 109th PSOC meeting IT stated that parallel billing for 188 Nos of metering points has been done but the report is yet to be received by IT. UAT team has given their observations. The parallel billing shall be continued. 

In the 111th PSOC meeting DGM (IT) stated that TCS will comply with the discrepancies identified by UAT team by 20th August’17. Director (Commercial) will take a meeting on 27th August’17. The no of decimal points to be kept will be decided in the meeting.

In the 112th PSOC meeting DGM (IT) stated that TCS has complied with the discrepancies in August data. 679 Nos meter data have been collected during this month. Further, 750 Nos meter data will be available by next month. It was also decided that on 1st day of the month, SLDC will download the meter data and TCS will collect data on 2nd day and complete by evening of the day. On the 3rd day, SLDC and TCS will analyze the mismatch of data, if any. Further, a meeting may be convened by GRIDCO with all the DISCOMs to discuss acceptance of meter data through Text file.

Deliberations in the meeting
IT stated that data from 690 Nos of meters have received during last month. It was decided that the data received by 2nd working day of the month shall be considered as final. It was further decided that the script shall be stopped on the 1st working day to enable for meter data collection by SLDC. 
[Action: SLDC / IT]
D.6: Software for Deviation charge billing.

Hon’ble OERC may notify “Intra State Deviation settlement and related matters” Regulation at any time. For implementation of the regulation, required software for Deviation Charge billing need to be developed and tested. CGM (IT) may take necessary steps for development of the software.

As decided a committee has been constituted for development of the software in house. The work is in progress. 

Deliberations in the meeting
Development of software work is in progress.
[Action: CGM (IT) / SLDC]
D.7.DISCOM Issues

CESU

Wide mismatch between actual drawal data and drawal displayed in the SCADA. The mismatch is to the tune of -105 to +135 MW some times. Action may be taken to reduce the mismatch. 
Deliberations in the meeting

SLDC stated that CESU may develop the demand estimation logic without depending fully on SCADA data. The SCADA display data is for monitoring purpose only, which may not match exactly with the meter data. Both data may be compared to ascertain the error correction factor. CESU may instruct their representative deployed at SLDC to match the SCADA data with the field data and intimate the discrepancy, if any, to Telecom personnel at SLDC.  

[Action: CESU / SLDC / (Telecom)]
PART E: OPERATIONAL PLANNING
E.1:  Commissioning status of new Transmission elements. 
The status of commissioning of new transmission elements deliberated in the meeting is as follows:
	   Sl. No
	Transmission element details
	Present Status

	1
	Commissioning of 220 kV Jayanagar-Jeypore 2nd DC line 
	Work has already been started. Expected to be completed by December’ 2017.

	2
	Commissioning of 400 kV Meramundali-Mendhasal 2nd ckt.
	Line is ready and shall be charged after commissioning of 3rd ICT at Mendhasal. Expected by December’2017.

	3
	Commissioning of 132 kV Baripada (PG)-Jaleswar D/C line (One ckt. made LILO at Bhograi)
	Line idle charge on 29.07.17 from Jaleswar & Bhograi end. 

	4
	400/220 kV, 315 MVA 3rd ICT at Mendhasal S/S
	December’2017

	5
	400/220 kV, 2x315 MVA Lapanga S/S
	Nov-17

	6
	220/33 kV, 2x20 MVA Baliguda S/S
	Mar-18

	7
	220/33 kV, 2x20 MVA Kalimela S/S
	Mar-18

	8
	220/33 kV, 2x20 MVA Kasipur S/S
	October’17

	9
	220/33 kV, 2x40 MVA Keonjhar GIS S/S
	Dec’2017

	10
	220/33 kV, 2x20 MVA Narasinghpur S/S
	Dec’2017

	11
	220/132 /33 kV, 2x100 MVA Aska S/S
	March’18

	12
	220/132/33 kV, Bargarh (New) S/S (320 MVA)
	Oct’17

	13
	220/132/33 kV, Goda Chhak S/S (320 MVA)
	March’18

	14
	220/132/33 kV Jayapatana S/S(320 MVA)
	Jun’2018

	15
	220/132/33 kV Pratapassan S/S(320 MVA)
	March’18

	16
	220/132 kV Kesinga S/S (320 MVA)
	March’18

	17
	400 KV IB - Lapanga D/C (SEL, Bhushan & L&T)
	December’17

	18
	400 KV Restoration of IB - Lapanga line D/C
	September’17

	19
	132/33 kV Ghense S/S
	December’17

	20
	132/33 kV Dhenkikote S/S 
	December’17

	21
	132/33 kV Betanati S/S
	March’2018

	22
	132/33 kV Kantabanji S/S
	November’2017

	23
	132/33 kV Podagada S/S
	November’2017

	24
	132/33 kV Muniguda S/S
	November’2017

	25
	132/33 kV R.Udyagiri S/S
	December’2017

	26
	132/33 kV Chikiti S/S
	March’2018

	27
	132/33 kV Athagarh S/S
	December’2017

	28
	132/33 kV Tirtol S/S
	December’2017


Deliberations in the meeting

The Discoms were requested to take necessary action for availing power supply from those S/Ss and prepare their action plan for takeoff arrangement. 
[Action: All Distribution Licensees]
E.2: Installation of ABT compliance Energy Meter at Ib TPS feeders & Generators / Furnishing of DC

SLDC shall prepare the schedule and Energy Accounting in respect of IbTPS. It is learnt that the Main meter installed by IbTPS feeders is recording 30 minutes reading while Check meter provided by OPTCL is recording 15 minutes reading. Unless ABT compliance Main and Check energy meters installed in IbTPS feeders & Generators, the energy accounting and PAFM cannot be computed. It is requested OPTCL / IbTPS to provide ABT compliance Main and Check meters in all the 220 kV IbTPS feeders & Generators.

In the last meeting, O&M stated that IB TPS has placed requisition for 6 Nos of Apex meters. SLDC stated that for replacement of all meters including generators, 10 nos of meters will be required. IBTPS may place their requisition for 10 Nos. of meters.

In the 112th PSOC meeting it was decided that OPTCL shall release 6 Nos of meters to IbTPS and install 4 nos of meters as check meters in feeders. 

Deliberations in the meeting

O&M has agreed to install 4 Nos meters as check meter in 220 kV Ib-Budhipadar line.

[Action: OPTCL / IB TPS]   

E.3: Major Events in the month of August’17
        No Major Event report has been received by SLDC during the month.

E.4: Short Term Load Forecasting (STLF)  by Distribution Utilities using the Weather  Forecast Portal
As per the discussion in the FOLD meeting on 12.06.17, weather forecast portal has been provided in the ERLDC as well as SLDC website. The Distribution Utilities may use the said portal for estimation of their drawal more accurately.

Subsequently, in the meeting held on 10.08.2017 at ERLDC, Kolkata, the detailed procedure was discussed. ERLDC has developed A Software for STLF at Regional level and constituent level as well. The said software can also be utilized by the Discoms with suitable modifications. The Discoms are requested to nominate their officers for attending the training programe at ERLDC to get acquainted with the software for use at their end.   

In the 112th PSOC meeting it was decided that SLDC and Telecom executives who participated in the ERPC meeting may use the software for demand estimation and test the accuracy. After satisfactory operation, a training program may be conducted for DISCOMs.

Deliberations in the meeting
It was decided that SLDC will use the software for demand estimation and check the accuracy of the estimated demand with the actual and a training program may be conducted for DISCOMs.  

[Action: Telecom / SLDC]
E.5: Charging of 132 kV Joda-Kenduposi Inter-State tie line

As per discussion in the 135th OCC meeting of ERPC, 132 kV Joda-Kenduposi Inter-State tie line has to be kept charged from Joda end and kept open at Kenduposi end so that in case of any power failure at 132 kV Rajkarswan / Kenduposi S/S the power can be extended immediately by closing at Kenduposi end after taking consent from SLDC, Odisha.

In the 112th PSOC meeting it was deliberated that 132 kV Joda-Kenduposi Inter-State tie line should be charged at both ends. SLDC may raise the issue in the OCC meeting.

Deliberations in the meeting
The line is has been kept charged from both ends.
E.6: Important Grid Incidences during the month of August’17.
There was only one reportable incident occurred during the month. 
E.7: Outage of major transmission Elements during the month of August’17. (above 10 hrs).

Outage of major transmission elements above 10 hours during the month was reviewed. Only one transmission element was remained out of service for more than 10 hrs during the month due to jumper snapping.
 [Action: C.G.M. (O&M)]
E.8:  Review of Outage Program of State Generators / Transmission elements for the month of Oct’17:
Tentative Outage programme for State Generators for the month of Oct’2017 are as follows:
	Sl.
	Station
	Unit
	Period
	Remarks

	1
	Burla
	# 5

# 6
	25.10.16 to continue

16.10.15 to continue
	Under R,M & U

Under R, M & U

	2
	Chiplima
	# 3
	15.10.15 to continue
	Under R,M & U

	3
	Balimela
	# 1
	05.08.16 to continue
	Under R,M & U

	4
	Rengali
	# 1

# 5
	05.08.17 to 30.11.17

21.03.17 to 15.10.17
	Starter problem

Hoist gate problem

	5
	Upper Kolab
	# 2

# 3
	28.05.17 to 15.10.17

19.04.17 to 25.09.17
	MIV Problem

Generator inter turn fault


Deliberations in the meeting

Capital maintenance for # 4 at Upper Kolab HEP shall be decided later.

[Action: OHPC / SLDC] 
E.9: Generation Program for the month of October’17.
Generation schedule for the month of October’17 furnished by OHPC are given below. 

	Name of Hydro Gen. Station               
	Generation Program (MW)
	Reservoir Level as on 01.09.16
	Reservoir Level as on 01.09.17
	MDDL
	High Flood    Reservoir Level

	
	Oct’17

(1st fortnight)
	Oct’17

(2nd fortnight)
	
	
	
	

	HPS-I, Burla
	120
	120
	620.29 ft 
	 620.15 ft
	590 ft.
	630 ft.

	HPS-II, Chipilima
	40
	40
	-
	-
	-
	-

	Balimela
	200
	200
	1497.10 ft 
	1480.40 ft
	1440 ft.
	1516 ft.

	Rengali
	110
	110
	121.54 mt

1.78mt mtr mt
	120.94 mt mt
	109.72mtr 
	123.5 mtr.

	U.Kolab
	80
	80
	854.10 mt mt
	851.69 mt
	844 mtr 
	858 mtr.

	U. Indravati
	250
	250
	636.91 mt
	635.21mt mt
	625mtr 
	642 mtr

	MKD (O/D)
	40
	40
	2737.90 ft 
	2735.80 ft
	2685 ft.
	2750 ft.

	TOTAL
	840
	840
	
	
	
	


Generation schedule may change depending on inflow & availability of machine.

E.10: Charging of 33kV Balimela PH feeder from Balimela OPTCL sub-station

As reported by DGM, EHT (O&M) Division, Jaynagar, 33kV Balimela(OPTCL)-Balimela PH feeder is ready for charging. The said feeder could not be charged in absence of a decision for energy accounting. A decision need to be taken for metering arrangement & energy accounting.

Deliberations in the meeting
It was decided that OPTCL shall provide energy meter for recording the drawal of Balimela HEP. The energy accounting will be done in line with other HEPs.
[Action: CGM (O&M) / DGM (Elect.), EHT (O&M) Divn., Jaynagar / Southco / OHPC / Gridco / SLDC]
E.11: Revision of drawal schedule by DISCOM representatives deployed at SLDC

It is noticed that a considerable time is being lapsed for forwarding the revision request by the ABT cell of DISCOMs. It is suggested that the DISCOMs may authorize their representatives deployed at SLDC to forward the drawal schedule revision request as and when required as they are monitoring the drawal schedule on real time basis which will reduce the revision timing. 

Deliberations in the meeting

All Discoms stated that they have authorized their officers deployed at SLDC for revision of schedule.

[Action: All Discoms / SLDC]
E.12: Compliance of CEA Regulations for Grid Connectivity of Renewable Energy Sources.
As per CEA (Technical Standards for connectivity to Grid) Regulations, 2007, dated 21st February 2007, the pertinent clauses 6 (iii) & 6 (iv) (b) of general Connectivity Conditions shall be applicable to all the Generating Projects including the renewable, which are getting connected to the Grid at voltage level of 33kV & above. Subsequently, CEA have notified the CEA (Technical Standards for Connectivity of the Distributed Generation Resources) Regulations 2013 dated 30.09.2013. These Regulations are applicable for “Distributed Generation Resources”, which means A Generating Station feeding electricity into the System at voltage level below 33kV. Needless to mention that these Regulations also cover the renewable projects connected to the Distribution Licensee’s System at voltage level of below 33kV. The letter received from CEA is annexed herewith. 

SLDC has already forwarded the Regulations & a letter received from DoE, Govt. of Odisha to the Distribution Licensees.  

A meeting was convened on 29.07.2017 by Director (Commercial) between all RE Generators, SLDC, GRIDCO, DISCOMS & Telecom to decide the strategy. It was decided that the RE generators shall suggest the mechanism to be adopted for real time data communication to SLDC & Telecom to examine the same. Another meeting was proposed to be convened in the month of August’17 to finalize the mechanism of data communication.   

In the 112th PSOC meeting CGM (PP) stated that the RE Generators will give a demo for real time data communication from their unit to SLDC through GPS.

Deliberations in the meeting
It was decided that GRIDCO will take follow up action with all the RE generators to provide real time generation data to SLDC.  

[Action: Telecom / GRIDCO]
E.13: Anticipated power generation and demand for the month of October’2017.
	Sl. No
	Discom
	Average
	Peak

	1
	CESU
	950
	1150

	2
	WESCO
	850
	1050

	3
	NESCO
	700
	900

	4
	SOUTHCO
	410
	540

	6
	Total Discom
	2910
	3640

	
	System Loss & others
	190
	200

	
	Total Demand
	3100
	3840

	Availability
	
	

	1
	Hydro
	850
	1390

	2
	State Thermal
	750
	750

	3
	IPP, small hydro &RE
	400
	400

	4
	ISGS share (including OA)
	900
	1100

	5
	CGP support (OA)
	200
	200

	6
	Total availability
	3100
	3800

	7
	Surplus / Deficit
	0
	0


PART F: OTHER ISSUES

All members expressed their gratitude to Er. M. R. Choudhury, Sr. G.M (O&M)-I, OPTCL, who is going to retire from service on superannuation by end of this month for his guidance and advice. PSOC will remember his valuable advices and the foot prints he has left for all times with deep regard.  

F.1: Accounting of energy drawal by Station transformers at OPTCL Grid S/S. 
At present the station transformer drawal of OPTCL grid S/Ss is being deducted from the drawal of respective Discoms. In absence of ABT compliance energy meter the energy is not considered for Deviation Charge calculation. It was decided that SLDC may distribute the energy uniformly in all the blocks and deduct from DISCOM drawal for calculation of Deviation charges.

[Action: SLDC / DISCOMS]  

ANNEXURE

    [image: image2.png]Designation | Organisation Mobile No. E-mail Address
AGHeS | Sbre

~
0\
g.

nz
D A s o
CERFRoLeY il

=
o e 1
4 ot Jorizbseans | et R,
: mzmi
e [l [ 7o [agaismf i@l o
o e o [ aoerm s e 527
(L G felil s 7% o ]
; L ATy
ot o o it oo
o |k
l e

- Pune
F’?ﬂ*“ CW‘S;’\Z"\‘ q 11(4 l= SL’%C
SR gy,
ey

=

27





[image: image3.png]Sadar RIS (G ortal®TES) | 942290809, | ofe sapd @
SAhAaN | gee | opTer 93,0724 Feechitl
" camdl, ceo) e ~

G o] opso |

Y99959603

KPS P VS

oM &LDC | 9188907702
| M Stoe

5700038 |
2985 0793 |1 sentwnine watet| G |

29
30
&





