[image: image1.jpg]QARY SR QUR 6JAE 6RG

OFFICE OF THE CHIEF LOAD DESPATCHER,SLDC

ODISHA POWER TRANSMISSION CORPORATION LIMITED
GRIDCO Colony, P.0.-Mancheswar Rly. Colony, Bhubaneswar-751017, FAX-0674- 2748509

Lifeline of Odisha CIN — U401020R2004SGC007553

Clo,

No-SGM (PS)-PL-152019/ & 70 Dated: 01.03.2019

From:

The Chief Load Despatcher
SLDC, OPTCL, Bhubaneswar-17.

To:

As per distribution list

Sub: Minutes of 130™ PSOC meeting held on 25.02.2019 at PTC, Chandaka,
Bhubaneswar.

Sir,
Please find enclosed herewith the minutes of 130"™ Power System Operational
Co-ordination meeting held on 25.02.2019 at PTC, Chandaka, Bhubaneswar.

This is for your information & necessary action.

Yours faithfully;

Encl: As above m
o 5\\%
Chief Load Dggpatcher,

SLDC, OPTCL

Copy along with enclosures forwarded to the Executive Assistant to CMD, Gridco / OPTCL
for kind information of CMD.





Distribution list

1. The Director (Commercial), Gridco, Bhubaneswar

2. The Director (Operation), OPTCL, Bhubaneswar

3. The Director (Projects), OPTCL, Bhubaneswar

4. The Director (Operation), OHPC, Bhubaneswar

5. The CGM (O&M), OPTCL, Bhubaneswar.

6. The CGM (Const.), OPTCL, Bhubaneswar.

7. The Sr. G. M. (RT&C), OPTCL, Bhubaneswar.

8. The CGM (PP), GRIDCO, Bhubaneswar.

9. The CGM (IT), OPTCL, Bhubaneswar.

10. The CGM (Telecom), OPTCL, Bhubaneswar.

11. The Sr. G. M. (Const)-I, OPTCL, Bhubaneswar.

12. The C.G.M. (Const), OPTCL, Sambalpur.

13. The Sr. G.M (CPC), OPTCL, Bhubaneswar.

14. The Sr. G.M (CP), OPTCL, Bhubaneswar.

15. The Sr. G.M. (O&M), Zone-I, Narendrapur 

16. The Sr. G.M. (O&M), Zone-II, Meramundali.

17. The CEO, CESU, Bhubaneswar.

18. The A.O., WESCO, Burla

19. The A.O., NESCO, Balasore

20. The A.O., SOUTHCO, Berhampur.

21. The Member Secretary (GCC), OPTCL.

22. The ED, Power Grid Corporation of India, Bhubaneswar.

23. The Sr. G.M. (El.), BHEP, Balimela

24. The A.G.M. (El.), CHEP, Chiplima

25. The Sr. G.M. (El.), UIHEP, Mukhiguda

26. The Sr. G.M. (El.), RHEP, Rengali

27. The D.G.M. (El.), HHEP, Burla

28. The D.G.M. (El.), UKHEP, Bariniput, Koraput

29. The S.E. (O&M), Machhakund

30. The DGM (Elect.), IbTPS, OPGC, Banharpali.

31. The Vice President (O), IMFA, Choudwar.

32. The D.G.M. (O&M), NTPC (TTPS), Talcher.

33. The AGM (Elect.), JINDAL Stainless Ltd., Duburi

34. The G.M, HINDALCO, Hirakud.

35. The G.M.CPP, NALCO, Angul.

36. The Director, M/s. Jindal Steel & Power Ltd., Angul

37. The AVP-Vedanta Ltd (IPP), Jharsuguda

38. The G.M, Vedanta Ltd (CGP), Jharsuguda.

39. The DGM (Power Distribution), RSP, Rourkela.

40. Joint President, Aditya Aluminium Ltd., Lapanga, Sambalpur

41. The G.M. (Elect.),  Bhusan Steel Limited. Meramundali

42. The G.M. (Elect.), Bhusan Power & Steel Ltd, Budhipadar.
43. The G.M. (Elect.), IFFCO Limited.

44. Director & COO, GMR Kamalanga Energy Limited, Satyanagar, Bhubaneswar.

45. The CEO, Bhubaneswar Power Pvt. Ltd, IRC Village, Nayapalli, Bhubaneswar.

46. M/S Tata Power & Steel Ltd., Kalinganagar
Odisha Power Transmission Corporation Ltd. Bhubaneswar.


Minutes of 130th PSOC meeting held on 25.02.2019 at PTC, Chandaka, BBSR
List of participants is at Annexure.

Chief Load Despatcher, SLDC, OPTCL welcomed all the participants to the 130th Power System Operational Coordination meeting and highlighted the system performance during the month of January’2019 and overall power scenario of the State. He also emphasized on the drawal by all the Discoms during the month. 

G.M, GRIDCO took the agenda items for discussion. 

The review proceeded as follows: 
1: Confirmation of minutes of 129th PSOC meeting held on 29.01.2019
The minutes of meeting was circulated vide letter No. SGM (PS)-Pl-15/2017/407(48) dated 11.02.2019 to all the members and also uploaded in the SLDC website. No comment has been received from any of the members.

Deliberation in the meeting:
Since no comments have been received from the members, the minutes of 129th PSOC meeting was confirmed. 
PART B : SYSTEM PERFORMANCE
B1: Review of Grid Performance for the month of January’2019.
(A)  Frequency 

It was noticed that, during the month of January’19, 69.48 % of times the frequency remained in the IEGC band i.e.  49.90Hz - 50.05Hz in comparison to 76.66 % during the month of  December’18. The maximum and minimum System frequency during the month was 50.17 Hz & 49.70 Hz respectively.
Deliberations in the meeting

SLDC stated that on implementation of CERC (Deviation Settlement and related matters) (Fourth Amendment) Regulations, 2018 w.e.f dt.01.01.2019, the percentage of times of frequency in the IEGC band has been reduced. However the “above 50.05 Hz” range has been increased from 11.54 % to 20.23 % in comparison with the previous month. . 
 (B)  Grid demand 

Grid demand for the month of  January’19 was reviewed. The average consumption during the month was 3095 MW. The maximum System demand of 4199 MW occurred on 29.01.19 at 20:00 Hrs and minimum demand of 2246 MW occurred on 02.01.19 at 03:00 Hrs. 
Deliberation in the meeting

It is observed that the average demand during the month of  January’ 19 has increased by 154 MW and maximum demand  by 161 MW in comparison to December’18. The demand has increased during the month due to change in weather condition.
 (C) Voltage Profile of important Sub Stations in OPTCL System during the month of Jan’19.
The Voltage profile at different 220 kV buses in OPTCL system during the month of  January’19 was reviewed. 
The maximum Voltage of 238.50  kV occurred at Bidanasi 220 kV bus, while Katapali  220 kV bus has experienced the minimum Voltage of 205.13 kV. The 220 kV Voltage profile of Bidanasi, Katapali, Jayanagar and Narendrapur and 400 kV  Voltage profile of Meramundali, Mendhasal  and New Duburi bus during the month of January’ 2019 was reviewed. 
Deliberations in the meeting

It is noticed that only one block period the Bus Voltage of Bidanasi has gone high. Katapali bus Voltage has become low on 07.01.2019 due to grid disturbance.
(D) Loading of 220/ 132 kV Auto at 220 kV S/Ss in OPTCL system for the month of Jan’19.

Auto loading of all 220 kV S/Ss during the month of January’19 was reviewed. 
(E) DISCOM Drawal during the month of January’19 
The schedule and actual energy drawal by Discoms for the month of January’19 was reviewed. 
Deliberation in the meeting:
It is noticed that CESU & SOUTHCO have over drawn during the month while NESCO & WESCO have under drawn marginally during the month. CESU has over drawn 16.411 MU followed by SOUTHCO 15.799 MU, while WESCO & NESCO have under drawn 2.33 MU & 5.715 MU respectively. The deviation of SOUTHCO, CESU, NESCO & WESCO are 5.717%, 2.831%, 1.247% & 0.380 % respectively from the scheduled energy. The net over drawal of Discoms during the month was 24.165 MU. All DISCOMs were requested to predict their drawal in a realistic manner. In the 129th PSOC meeting SLDC suggested that the DISCOMs may furnish their week ahead drawal schedule for generation planning, which is yet to be received.
 [Action: DISCOMs] 
(F) Energy Generation / import during the month of January’19 
Energy generation and exchange during the month of January’19 was reviewed. The total quantum of energy drawn from all the generation sources including Central Sector Share and CGP/IPP support during the month was 2303 MU. 
Deliberations in the meeting
The energy demand has been increased due to change in weather condition.

(G) Drawal of Machhakund Power during the month of January’19
The drawal of Machhakund power during the month of January’19 was 28.179 MU, against AP drawal of 29.257 MU. 
Deliberations in the meeting

It was noticed that the State’s drawl from Machhakund has reduced since last eight months. Southco may explore for adding of Koraput, Dasmantpur & Kakariguma feeders to Podagada S/S. SOUTHCO stated that they have written a letter to Head, PMU to expedite the addition of new feeders at Podagada S/S. One feeder is expected by end of March’2019.
[Action: Southco]

(H) Under Frequency relay operation in OPTCL System during the month of January’19.

There is no UF Relay operation during the month of January’19 as the frequency had never gone beyond 48.50 Hz. 
(I) Status of Open Access applications during the month of January’2019
Status of Open Access Applications received and disposed by SLDC during the month was reviewed.

Deliberations in the meeting
Total 193 numbers of Short Term / Medium term and Collective transaction applications have been processed by SLDC for according Approval / Consent / NoC during the month. 
PART C – Issues discussed in the 154th  OCC meeting of ERPC held on 21.02.2019
C.1: Status of projects funded under PSDF schemes

In the PSDF review meeting, it was advised to RPCs to monitor the status of all the projects funded by PSDF. Therefore, constituents are requested to update the status of projects which are being funded by PSDF in the desired format.

The latest status as updated by OPTCL / OHPC is as given below:
	Sl No


	Name of

Constituent
	Name of Project
	Date of approval from PSDF
	Target Date of Completion
	PSDF grant
Approved (in Rs.)
	Amount

Drawn till date (in Rs.)
	Status as updated in
149th meeting

	4
	OPTCL
	Renovation & Up-gradation of protection and control systems of Sub-stations in the State of Odisha in order to rectify protection related deficiencies.
	11.05.15
	31.03.19
	162.5 Cr.
Total expenditure may not exceed Rs. 68 Crs.


	38.09Cr. Requisition for 11.00 Cr placed.
	90% equipment installed and commissioned. Stn Tfr and some measuring instruments are under tendering process.



	7
	
	Implementation of OPGW based reliable communication at 132kV and above substations
	15.11.2017
	
	51.22 Cr
	Request for 10% grant already submitted. Agreement  signed
	Tender floated. Bank mandate to be opened.

	13
	OHPC
	Renovation & up-gradation of protection & control system of 4 nos. OHPC sub-stations
	
	U.Kolab-

March 19

Balimela-

Feb 2019

U.Indravati-Jan 19

Burla-Nov18
Chiplima

Dec 2018
	22.35 Cr.
	2.235 Cr
	Placed work order for Balimele

	Projects under process of approval:

	
	OPTCL 
	Installation of 125 MVAR Bus Reactor along with construction of associated bay each at 400kV Grid S/S of Mendhasal,           Meramundali & New Duburi for VAR control & stabilisation of system voltage 
	27-07-18
	
	31.94 Cr
Ested. Cost. Approved amount 30.26 Cr. Grant amount 27.23 Cr.
	27.23 Cr. 10% funding will be asked.
	Agreement signed and sent to NLDC for signature. Tender floated.

	Projects recently submitted:

	
	OPTCL 
	Implementation of Automatic Demand Management System (ADMS) in SLDC, Odisha 


	22-12-17    Date of submission
	
	3.26 Cr Estt cost. 2.93 Cr recommended by Appraisal committee.
	
	Approved by Appraisal committee. Forwarded to CERC for concurrence.

	
	OPTCL 

.
	Protection up gradation and installation of SAS for seven numbers of 220/132/33kV Grid substations (Balasore, Bidanasi, Budhipadar, Katapalli, Narendrapur, New-Bolangir & Paradeep).  
	12.03.2018  Date of submission 
	
	41.1 Cr

Estt cost
	
	Compliance to TSEG observation submitted. Audit observation has been sent to NLDC. 


Deliberations in the meeting

G.M (O&M) Bhubaneswar stated that OHPC have not attended the last PSDF meeting held at NLDC, New Delhi.OHPC may forward the updated status to NLDC.
 [Action: CGM (O&M) / OHPC]

C.2: Implementation of Automatic Generation Control (AGC) in India (at Inter-State level) 

 
CERC in its order dated 13.10.2015 in Petition No. 11/SM/2015 reiterated the need for mandating Primary Reserves as well as enabling Secondary Reserves, through Automatic Generation Control (AGC) as follows: 

“(a) All generating stations that are regional entities must plan to operationalize AGC along with reliable telemetry and communication by 1st April, 2017. This would entail a one-time expense for the generators to install requisite software and firmware, which could be compensated for Communication infrastructure must be planned by the CTU and developed in parallel, in a cost effective manner. 
(b) On the other hand, National/Regional/State Load Dispatch Centers (NLDC/RLDCs/SLDCs) would need technical upgrades as well as operational procedures to be able to send automated signals to these generators. NLDC /RLDCs and SLDCs should plan to be ready with requisite software and procedures by the same date. (c) The Central Commission advises the State Commissions to issue orders for intra-state generators in line with this timeline as AGC is essential for reliable operation of India’s large inter-connected grid.” 

The issue was discussed in 8th NPC Meeting held on 30th November 2018, it was decided that each RPC would submit the status of implementation of AGC to NPC.  

Deliberations in the meeting

Telecom stated that the required facility is available in the SCADA-EMS package. The IPPs /OHPC/ SLDC may request ERLDC for providing a detail procedure and guideline in the next OCC meeting.

[Action: All IPPs/ OHPC / OPGC.  

C.3: Power Assistance at Manique GSS from DVC and at Kendposi GSS from OPTCL –JUSNL 

JUSNL vide letter dated 8th February 2019 informed that they are planning shutdown of 132 KV D/C RCP-ADP line for erection of 05 nos. Multi Circuit Tower in place of existing transmission tower. Erection of Multi Circuit Tower is inevitable for new 132 KV RCP-Jadugoda transmission line due to limitation of vacant corridor. 

Due to proposed shutdown, 220/132 KV Chandil GSS will be overloaded. lt will be pertinent to mention here that SER is availing power from Kendposi, RKSN, CKP and Goilkera GSS which require reliable power for smooth functioning of Railway. 

Considering all the above facts and for reliability of the system it is requested to shift the load  of Manique GSS on DVC system and Kendposi should be fed through OPTCL Joda Power for 31 days. 

 
Deliberations in the meeting

It was decided in the OCC that ERPC will convene a separate meeting to discuss the issue. OPTCL may depute G.M EHT (O&M), Jajpur road to represent.

Action: CGM (O&M).

C.4: Automatic Under Frequency Load Shedding (AUFLS) Scheme and Mapping of Feeders 

  (A) Review of AUFLS Settings 

In 8th NPC held on 30th November 2018, it was agreed for the AUFLS scheme with 4 stages and raising the frequency by 0.2 Hz viz. 49.4, 49.2, 49.0 & 48.8 Hz. It was also decided that, NRPC may appoint a Consultant from their own resources as proposed by MS (NRPC) for studying the AUFLS scheme for Indian grid and submit the study report to NPC Secretariat within a time of six months. 

 
The revised load relief for AUFLS computed by NPC Secretariat would be discussed along with the report of Consultant appointed by NRPC (if available), in the next meeting of NPC which would be held in the month of May, 2019. 

Members may note. 

   
(B) Mapping of Feeders 

 
In 8th NPC held on 30th November 2018, it was decided that each RPC would submit the details / progress of feeder mapping to NPC secretariat on a regular basis (quarterly). 

Deliberations in the meeting

Telecom stated that this issue will be discussed in the next SCADA meeting.
[Action: Sr. G.M (Telecom)]
C.5: Coal requirement for thermal power plants –MoP 

MoP vide letter dated 7th February 2019 informed that, it has been decided that in view of expected increased power demand in the next few months up to monsoons, all power plants be advised to be watchful, and do maintain plant availability and adequate coal stocks as per norms, in this period.  

 
All the thermal plants are advised to take effective steps for immediate implementation of the decision. The action taken report may also be forwarded to the Ministry at the earliest.  

Action: All Thermal plants may comply and submit the report.

C.6: RGMO / FGMO and PSS Tuning of Generators in Eastern Region 

In line with 148th OCC decision, a separate meeting on Restricted Governor /Free Governor Mode Operation and PSS Tuning of generators with the power station authorities in the Eastern Region was held on 31st January 2019.  All the station representatives stated that the gap in understanding the provisions of the grid code had been addressed through the deliberations in the meeting. Minutes of the meeting are awaited.   

 [State Generators may note]
C.7: Information regarding details of existing transmission system (220 kV and above AC & DC voltage level) in Eastern Region as on 31.12.2018 

CEA vide letter dated 29/01/2019 intimated that MoP, GoI has desired information regarding details of state wise growth of transmission system (both interstate and intra state system) over the years to create database of existing transmission system. 

Accordingly, it is requested that the information in respect of existing transmission system (both interstate and intra state system) as well as State Power Map and single line Diagram of transmission network including Power grid (ISTS) and other Transmission Service Provider (TSPs) (as on 31.12.2018) may please be made available in the specified format attached at Annexure –B14. I & II to ERPC for onward transmission to CEA / MoP by 28.02.2019. 

[CGM (O&M) may furnish]
C.8: Adequate measures to safeguard system(s) during planned shutdown – Proposal of POSOCO 

It has been noted with concern that whenever the transmission elements including bus bars are taken under shutdown on account of Annual maintenance work / System Augmentation, inadvertent switching / testing activities / Mal – operations are causing unwanted tripping of other bus leading to multiple element tripping and in some cases complete outage of substations which is a real threat to system security /reliability. It is also observed that during planned shutdown, works related to bus bar stability, Protection testing, bay maintenance and other miscellaneous activities are carried out without any advanced intimation to NLDC / RLDC, which is causing difficulties in assessment of the risk involved for such shutdown. 

 
It may be mentioned that the manual of “Transmission Planning Criterion ” of CEA suggests that even“ A stuck breaker condition shall not cause disruption of more than four feeders for the 220 kV systems and two feeders for the 400 kV and 765 kV Systems”. 

All concerned are requested to take necessary precautions before availing shutdown and furnish the details of nature of work to be carried out during shutdown so as to ensure adequate measures & preparatory actions to safeguard systems during shutdown period. 

Deliberations in the meeting

O&M may furnish the information while availing shut down of transmission elements.
[CGM (O&M]

C.9: Updation of Restoration procedure of Eastern Region 

In compliance with clause 5.8 (a) and (b) of the present IEGC, The Restoration Procedure has to be developed and updated annually by RLDC in consultation with NLDC, all users, STU, SLDC,CTU, RPC Secretariat of the region. 

Draft copy of “Black Start and Restoration Procedure” was mailed on 11th Jan 2019 for review and feedback from stake holder.  

Only DVC has provided the comments on the draft procedure. Based on comments and updates procedure was finalized on 31st Jan 2019 and same was also sent to all the entity of ER. 

As per 153rd OCC decision, a workshop on Restoration procedure of Eastern Region had been conducted on 15th February 2019.  

1. Ensuring healthiness of normally switched off Tie lines between states/utilities for fast restoration during blackout: ERLDC 

 
As per approved black start and restoration procedure of Eastern Region the following 132 kV lines which are normally kept off may be required to be used during start-up procedure: 

a) Joda-Kendposi 132 kV S/C (GRIDCO/JUSNL)
b) Sahupuri-Karmnasa 132 kV D/C (UPPCL /BSPTCL) 
c) Kharagpur-Kharagpur 132 kV Bus Extension (DVC/WBSETCL) 
d) Kolaghat-Kolaghat 132 kV Bus Extension (DVC/WBSETCL) 
e) Patratu-Patratu 132 kV S/C (DVC/JUSNL) 
f) Golekera-Rourkela 132 kV S/C (JUSNL/GRIDCO) 
The lines, therefore, should be tested once in a month for its healthiness. The communication between the concerned stations should be kept healthy. 

 
[Action: CGM (O&M)]

2. Updated Black Start and Restoration procedure of State 

 
As per clause IEGC 5.8(b)  

“Detailed plans and procedures for restoration after partial/total blackout of each User’s/STU/CTU system within a Region will be finalized by the concerned User’s/STU/CTU in coordination with the RLDC. The procedure will be reviewed, confirmed and/or revised once every subsequent year.” 

In fulfillment of same constituents are requested to share their updated restoration procedure. 

[Action: SLDC]

C.10: Ratification of projected Demand and generation for POC transmission charges and loss calculations for Q1 (2019-20)--ERLDC 

The projected Demand and Generation of ER constituents to be considered in the base case for POC transmission charge and loss calculations for Q1 (April 19-June 19) are attached at Annexure-B17 for ratification by the constituents. 

Deliberations in the meeting

GRIDCO stated that they have already complied 

[Action: GRIDCO]

C.11: Implementation of Automatic Demand Management Scheme

The latest status along with proposed logic as follows: 
	Sl. No
	State /Utility
	Logic for ADMS operation
	Implementation status/target
	Proposed logic (if different from under implementation logic

	1
	Odisha
	1. System Frequency < 49.9 Hz 
2. Odisha over-drawl > 150 MW
3. DISCOM over-drawl > (40 MW) 
	10 Months

Sent for PSDF approval
	Logic 2 and 3 is AND or OR, in case it is AND then ADMS may not operate when DISCOMs are in schedule but GRIDCO is over drawing due to less generation at State embedded generators.


In the 116th PSOC meeting, CGM (O&M) stated that since considerable time has already been lapsed SLDC may prepare the EoI without waiting for CPC.
In the 123rd PSOc meeting SLDC stated that since the estimated cost has increased due to inclusive of SCADA integration, the revised estimate is placed in the BoD for approval

In the 124th PSOC meeting SLDC stated that the revised estimate has been approved in the BoD.

In the 129th PSOC meeting SLDC stated that CERC approval is awaited for tendering.

In the 129th PSOC meeting it was suggested by members that SLDC may write to ERPC in this regard.
[Action: SLDC]
C.12: 220 kV Inter-connecting lines of OPTCL with 400/220 kV Bolangir(PG), Keonjhar & Pandiabil S/s
PGCIL has already commissioned the 2 X 315MVA 400/220kV Bolangir S/s by LILOing of 400 kV Meramandali-Jeypore S/C line and 400/220 kV Keonjhar S/s with an objective of supplying power from ER grid to its adjoining areas in Odisha.
In 129th PSOC meeting the status has been updated as follows:
	Sl. 
	Name of the transmission line
	Completion schedule

	1.
	2 X 315MVA 400/220kV Bolangir S/s

	a.
	LILO of one circuit of Sadeipalli-Kesinga 220 kV D/C line at Bolangir (PG) S/S.
	Construction of 220 kV Sadeipali- Kesinga line has started. Expected by March’19. 220 kV Sadeipali-Bolangir (PG) portion of the line is expected by July’19.

	2.
	400/220 kV Keonjhar S/S.

	a.
	Keonjhar (PG)-Keonjhar (220/33 kV) 220 kV D/C line
	220 kV S.C line and Keonjhar S/S (220/33 kV) , 2x20 MVA charged on 31.12.2018. 2nd ckt; March’2019

	b.
	Keonjhar (PG)-Turumunga (220/132 kV) 220 kV D/C Line.
	By 2019. Order placed.

	3.
	400/220 kV Pandiabil Grid S/s

	a.
	Pratapsasan(OPTCL)-Pandiabil (PG) 220 kV D/C line
	July’2019 


Deliberations in the meeting

Telecom stated that OPGW and telecom equipment for Keonjhar (PG)-Keonjhar line is not available. CGM (Cont) was requested to process the file and write a letter to Telecom. NESCO stated that two nos of feeders will be completed by end of March’2019 for drawing load from Keonjhar S/S.
[Action: CGM (Const) / CGM (O&M) / Sr. G.M (Telecom)]
C.13: Bypassing arrangement of LILO of 400kV Lines at Angul 
LILO of Meramundali-Bolangir/Jeypore 400 kV S/C line and LILO of one Ckt of Talcher-Meramundali 400 kV D/C line has been done at Angul 765/400kV Sub-station. The bypass arrangements for these circuits were under implementation at Angul by Powergrid.  

In 150th OCC, Powergrid informed that bypass arrangement would be completed by January 2019.   

Deliberations in the meeting

It was decided that O&M may raise the issue in the TCC meeting, since PGCIL is not taking any action.
[CGM (O&M)]

 C.14: Update on status of telemetry  

 
CERC vide order dated 28.02.2016 on Petition No. 007/SN/2014 directed  NLDC and respective RLDCs to update the status of telemetry every month at their respective websites and take up the issue of persistent non-availability of data from Generating Stations/substations at RPC meetings for appropriate action.  

Major issues are given below: 

 
i. Regarding frequent intermittent of real time SCADA data from Talcher STPS Stage 1 & 2, NTPC agreed to provide additional ports by March 2019.  ii. Alternate path for Malda–Farakka OPGW link 

In 153rd OCC, Powergrid was advised to implement alternate OPGW link through 400 kV Kishenganj- Darbhanga-Muzaffarpur lines.  

OCC advised Powergrid to coordinate with Kalpatru Power Transmission Ltd. and DMTCL for implementation of the scheme.  

With regard to the State network, this was deliberated in the last meetings that data communication from Narsingpur S/s is not in place. Also date communication from NALCO is not stable. Telecom stated that provision for laying optical fibre in Bhanjanagar-Meramundali line has been kept in PSDF scheme. However, if wave trap foundation will be done at Narsingpur S/S, the data communication can be established. 

In the 129th PSOC meeting it was decided that NALCO shall write to OPTCL for preparation of estimate for laying of Optical fibre. Construction wing of OPTCL agreed for construction of wave trap foundation at Narsingpur S/S.
Deliberations in the meeting
Sr. G.M (Telecom) stated that NALCO has submitted a request letter in this regard. Wave trap foundation at Narsingpur is yet to be done.
[Action: Const./Telecom / NALCO]

C.15: Replacement of Non-functioning/Defective Meter--ERLDC 

  Erroneous data of Energy meter 

Following meters at different substation of PGCIL and BSPTCL is recording erroneous reading since last few weeks. The problem was informed to the respective substation through e mail and telephonically. However the problem of erroneous data of meters is still persisting. 

	Sl. No.
	Substation
	Name of Feeder
	Meter  S.No
	Date of start of problem Issues

	4
	BOLANGIR
	220 KV SIDE BOLANGIR 400/220 KV 500 MVA ICT-I
	ER-1573-A
	03.12.18 Wrong Connection of CT/PT

	5
	BOLANGIR
	220 KV SIDE BOLANGIR 400/220 KV 500 MVA ICT-I
	NP-7919-A
	03.12.18 Wrong Connection of CT/PT

	9
	BARIPADA
	400 KV SIDE 500 MVA 400/220 BARIPADA ICT-3
	ER-1564-A
	26.12.18 Wrong connection of CT/PT 



OCC advised all the concerned constituents to take the necessary action to resolve the issues at other locations.  

 [O&M may please update]
C.16: Mock Black start exercises in Eastern Region – ERLDC 

The tentative schedule of black-start exercises for F.Y 2018-19 given by OCC is as follows
	Sl.
	Name of Hydro Station
	Schedule
	Tentative Date
	Schedule
	Tentative Date

	
	
	Test-I
	
	Test-II
	

	1
	Upper Kolab
	Last week of May-2018
	Done on 28.06.2018& 27.09.18
	Last week of January 2019
	March’2019

	3
	Rengali
	2nd week of June 2018
	Done on 18.08.2018
	Last week of November 2018
	Done on 12.02.19

	4
	U. Indravati
	3rd week of June 2018
	Done on 28th Dec’18
	2nd week of February 2019
	February’2019

	6
	Balimela
	3rd week of October  2018
	Done on 21st Dec’18
	1st week of March 2019
	March’19

	9
	Burla
	Last week of June 2018
	Done on 07.06.2018
	Last week of February 2019
	March’19


[Action: SLDC / OHPC]

  C.17: Submission of Thermal Loading of Transmission line and associated terminal equipment by ISTS licensee  

In line with the MoM of 4th NRCE Meeting dt.03-11-14 and “Operational Guidelines for determination Of TTC, ATC and TRM for the Short-Term Horizon (0-3 Months)” published by NRCE dt.20-02-15, thermal limit for transmission line has to be used for calculation of ATC/TTC. However, the thermal loading of transmission line depend on the Maximum Conductor Temperature, End equipment thermal rating. This has to be submitted by the Owner of the equipment. Further, the equipment owner also has to confirm that relay setting has been aligned so that the line can be operated up to its thermal limit. In the absence of complete details, ERLDC is utilising the data from the CEA Planning Criteria  for thermal rating as given below : 

	Conductor Type 


	Ampacity per 

conductor(A)* 
	Thermal loading 

limit of line (MVA) 

	765 kV Quad ACSR_Bersimis
	732
	3880

	765 kV HexaACSR_Zebra
	560
	4452

	400 kV Twin ACSR_Moose
	631
	874

	400 kV Quad ACSR_Moose 
	631
	1749

	400 kV Quad ACSR_Bersimis 
	732
	2029

	400 kV Triple Snowbird
	630
	1309

	400 kV Twin ACSR_Lapwing
	773
	1071

	220 kV Single AAAC_Zebra
	557
	212

	220 kV Single ACSR_Zebra 
	560
	213

	220 kV Twin ACSR_Moose 
	631
	481

	132 kV Single ACSR_Zebra 
	560
	128

	132 kV Single ACSR_Panther 
	366
	84


*Ambient and Maximum conductor temperature are taken as 45°C and 75°C respectively. Apart from above specifically mentioned in CEA transmission planning criteria following loading limit is considered for HTLS line while calculating ATC/TTC 

	Conductor Type 


	Ampacity per 

conductor(A)* 


	Thermal loading 

limit of line (MVA) 



	400 kV Twin HTLS
	1262 
	1750

	220 kV Single HTLS 
	1020 
	390

	132 kV Single HTLS
	732
	168


In view of this, it is desired that all ISTS Licensee and STU (for 400 kV and important 220 kV lines) may kindly submit the following details to ERLDC for utilization in ATC/TTC calculation: 
a) Transmission line wise Ampacity and Thermal loading along with Maximum Conductor Temperature and conductor type.
b) End Equipment Rating and 
c) Confirmation whether the relay setting has been adopted in line with the thermal rating of the line 

d) Any constraint during thermal loading of line  

In 152nd OCC, ERLDC informed they received the details only from DVC. 

OCC advised all the other ISTS licensees and STUs to submit the relevant data to ERLDC and ERPC. 
In the 128th PSOC meeting it was suggested that Corporate Planning wing may intimate the required data to ERPC/ERLDC.

In the 129th PSOC meeting Sr. G.M (CP) stated that thermal loading data has been submitted by them. O&M shall submit the terminal equipment data

Deliberations in the meeting

It was decided that O&M may expedite for furnishing the data.
[Action: C.G.M (O&M)]
C.18: Delay in furnishing information to ERLDC/ERPC regarding of Commissioning of new Transmission Elements/ Generating Units within State--ERLDC 

The above matter was deliberated in various OCC meetings and data submission format was also circulated. All states and transmission licensees agreed to submit the list of transmissions elements (ISTS & within state) synchronized for the first timeduring last month and new elements to be commissioned during next month, within 7th day of the current month to ERLDC through mail.  

For the Month of January-2019, states and transmission licensees did not submit their List of Transmission element /generators synchronised in the previous Month and List of Transmission element and generators expected to be synchronised during next Month. 

Non-submission of new charged elements list of Jan '19 and tentative charging list of Feb '19 

It has been observed that some major 220kV intra-state lines have been charged without any data integration & prior information to ERLDC. The list of the lines is as follows: 

220 KV Meramundali (GR) - Bhanjanagar(GR) LILO at Narsingpur 

 
Deliberations in the meeting

It was decided that construction wing will inform ERLDC prior to commissioning of new S/Ss. 

[Action: CGM (Const)]
C.19: Review of Cyber Security Works/Activities- CEA 

CEA vide letter informed that Secretary (Power) is going to review the cyber security related works /activities being carried out in Power Sector. In this regard, it is requested to provide the State wise status on following action points pertaining to cyber security at the earliest: 

1. Appointment of organization-wise Chief Information Security Officers and its status

2. Identification of organization-wise Critical Infrastructure and its status 

3. Preparation of organization-wise Crisis Management Plan and its status 

4. Status of Cyber Security Mock Drill activity in coordination with CERT-In 

5. Status of Training / Workshops on Cyber Security organized / participated by power sector entities 

6. Status of action taken on CERT-In / NCIIPC advisories 

In 148th OCC, all the constituents were advised to send the latest status to mserpc-power@nic.in within a week.   

The details had been received from DVC, WBSETCL, Bihar and OPTCL only.  

[Action: Sr. G.M (IT]
C.20: Submission of static data for preparation of a report on coal fired stations in the country--ERLDC 

One internal committee has been formed by POSOCO to prepare a report on coal fired stations in the country, which will be submitted to the FOLD &FOR, at a later stage. Similar reports have already been prepared by POSOCO for hydro, gas and RES plants, which has been widely appreciated in different forums like FOLD & FOR.  

To prepare this report, some static data (commercial, technical, environmental & general) in proper format for all coal fired stations (ISGS, IPP and State Generators) of capacity >= 200 MW need to be submitted to ERLDC so that the compilation and subsequent analysis of data of thermal generators on an all India basis could be made within stipulated time period. 

The format for data submission was intimated to all generators and state SLDCs via email. Till date only GMR, Adhunik, MPL and Sagardighi have submitted their static data. 

ISGS (NTPC), IPP and State Generators of Eastern Region are requested to kindly accord high priority for submitting the static data to ERLDC in erldcso@posoco.in for preparation of the report within stipulated period. 

Nodal coordinators for this Process from ERLDC are: 

1. Shri Biswajit Mondal, Sr. Engineer, Mob No: 9903329271 2. Shri Chandan Mallick, Sr. Engineer, Mob No: 9007059660 

In 152nd OCC, ERLDC updated the following generating stations have not submitted static data for preparation of report on coal firing stations: 

1.    IB thermal stage -1 

2.    TTPS (Odisha) 

3.    Talcher STPP

4.    Santaldih TPP

5.    Budge-Budge TPP 

6.    Tenughat TPP 

OCC advised above thermal generators to submit the relevant information to ERLDC at the earliest.

Deliberations in the meeting

OPGC stated that they have submitted the data.
C.21: Collection of modeling data from Renewable as well as conventional energy generators: ERLDC 

As a National Grid operator, POSOCO is continuously working for ensuring reliability and security of the Grid. With penetration of more and more renewable energy source the task is becoming complicated day by day.  An accurate dynamic modeling of the National Grid needs modeling of conventional as well as renewable / distributed generation sources. World Bank has engaged Digsilent as consultant for assisting POSOCO for building dynamic model of the Grid. A guideline for dynamic data collection has been developed in consultation with Digsilent Pacific team.    All the utilities are requested to collect data from the grid scale renewable power plants as well as from conventional power plants under their jurisdiction and submit the same to ERLDC/ERPC as early as possible. 

In the 129th PSOC meeting CGM (PP), GRIDCO stated that M/S MGM Solar has been selected for the pilot project

Deliberations in the meeting

GRIDCO stated that CESU MRT is not co-operating for accessing the energy meter by M/s Chemtrol. CESU representative assured to take up the matter with their MRT wing
[Action: GRIDCO / CESU]

C.22: Operation Eastern Regional grid from ERLDC back up control Centre at, NLDC, New Delhi as a part of Disaster Management--ERLDC 

 
As informed in 153rd OCC ERPC, ERLDC has successfully operated its backup control center at NLDC, New Delhi from 11:00Hrs to 14:00Hrs on 8th February 2019. All control room activity such as issuance of real time switching code, monitoring of Eastern Region GRID, real time scheduling & reporting were done from backup control center NLDC New Delhi. Entire SCADA system, Open Access & scheduling system have shifted to backup control center of ERLDC. During this process, all the utilities have obtained real time switching code from back up control center and use scheduling server hosted at backup control NLDC, New Delhi for submission of their requisition. 

 
Entire process of operation of ERLDC backup control center was successful only because of full co-operation of utilities of Eastern Region. 

Members may note. 

 C.23: Preparation of crisis management plan for Cyber Security in Power Sector in line with CERT-IN. 

The activity of the preparation of Crisis Management Plan for countering the cyber attacks and its implementation including the Mock Drills, audits etc. is being monitored by CEA regularly in line with crisis management plant of Ministry of Power. Power Utilities (including generation, transmission & distribution utilities) of eastern region are to furnish regularly the updated status to on the same to Chief Engineer, Distribution Planning & Development Division, CEA. 

In 142nd OCC, ERLDC informed that, in line with Enquiry Committee Recommendation, cyber security audit is being conducted on regular basis for SCADA system installed at ERLDC and SLDC as well but cyber security audit for telecom infrastructure installed in Eastern Region is not being carried out.  

OCC advised all the constituents to conduct the cyber security audit on telecom infrastructure installed in Eastern Region. It is further advised that compliance / mitigation of the points observed during the audit should also be completed for improvement of the telecom infrastructure in ER. 

A workshop on cyber security was conducted by CEA at ERPC, Kolkata on 09-05-2018.  

 
As suggested by CEA, a format would be circulated among ER constituents for furnishing the information of their respective systems for discussion in OCC Meeting. The format is enclosed at Annexure-E2. 

 
OCC advised all the constituents to submit the information to ERPC as per Annexure-E2.  

Deliberations in the meeting
IT stated that the certification extended for one year. The required information has already been submitted to ERPC. 
 C.24: Certification through BIS as per IS 18001:2007 to all generating/ transmission units.    

 
In 84th OCC meeting all constituents were requested to interact with BIS with intimation to ERPC and get certified as per CEA direction.  

As per the information received from the constituents the following generators certified with IS 18001:  • All NTPC stations in Eastern Region  • Teesta, NHPC • All OHPC generating units  • All CESC generating units  • All units of WBPDCL • DGPC units 

In the 129th PSOC meeting O&M stated that 2nd stage internal audit has been done. Report is yet to be received. Process has been initiated for deposit of application money for external audit. On compliance of the observations Certificate may be issued.    

Deliberations in the meeting
O&M stated that the external audit will be conducted on 7th & 8th March’2019.

[Action: CGM (O&M]

C.25: Providing relevant data by Power Utilities /Stations in National Power Portal. 

CEA vide letter dated 26th June 2018 informed that National Power Portal (NPP) (URL: npp.gov.in), has been launched by Hon'ble Minister of Power on 14th November, 2017. NPP is modified and more user-friendly data portal than the existing Information Management System (IMS) in CEA. Reports prepared from NPP are of vital importance for Power Sector data analytics in order to frame policies, regulations, future road-map for Power Sector etc. at Central as well as at State level. Accordingly, all power utilities have been issued user ID and password, either organisation-wise or station-wise, based on their request, for providing their data on NPP. 

NPP has replaced IMS since 1st June, 2018. A Circular (which is available in Circular Section of CEA Website, i.e. cea.nic.in) has been issued by CEA to all power utilities/stations  on  14.06.2018  for  providing  their  data  online  in  NPP  only.  

In this regard, letters/mails have been issued to Utilities to provide their data online through NPP. A letter dated 20.06.2018 was also issued to all SLDC, requesting them to direct the power utilities I stations under their purview for providing data on NPP. 
 
Any issue/problem faced by utilities may kindly be communicated to itcea@nic.in, npp.support@gov.in, ceopm-cea@gov.in and if required, IT Division, CEA may be contacted on 011-26732368 or 011-26732303 

CEA requested to pursue the power utilities / stations under their purview for providing data on NPP. Further, a workshop/presentation may be arranged if required in each region in which IT Division, CEA will provide a brief demonstration regarding data entering process and report generation into NPP. 
C.26: Commissioning of new transmission elements in Eastern Region
IB_St2_OPGC unit # 4 First time synchronization on 23-01-2019 at 18:01Hrs.

Deliberations in the meeting

OPGC stated that # 4 stopped due to vibration problem. # 3 is expected to be synchronized by 17th March’2019. 
[Action: OPGC]
PART-D – Operational Issues
D.1: Non-compliance of drawal schedule by DISCOMs

Non-compliance of drawal schedule messages issued to Discoms during the month of January’19:
	Sl. No
	Name of Discom
	No. of message issued
	Over drawal (MU)
	Deviation (%)

	1
	CESU
	0
	16.411
	2.831

	2
	WESCO
	0
	-2.330
	0.380

	3
	NESCO
	0
	-5.715
	1.247

	4
	SOUTHCO
	0
	15.799
	5.717

	
	Total
	0
	24.165
	


It is noticed that SOUTHCO & CESU were over drawn during the month while WESCO & NESCO were under drawn. SOUTHCO has deviated 5.717% followed by CESU 2.831% from the scheduled energy while WESCO and NESCO have deviated 0.380 % & 1.247 % respectively. DISCOMs may forecast their drawal in realistic approach to minimise deviation.

Deliberations in the meeting

SLDC advised all DISCOMs to remain in the schedule in view of implementation of 4th Amendment DSM Regulation.
[Action: All DISCOMs]

D.2: Communication issues 
The status of data communication from CGPs as deliberated in the 124rd PSOC meeting meeting is as follows.

	Sl.
	Name of CGP
	Present status

	1
	M/s NINL, Duburi
	M/s NINL has requested for Scheme, BOQ for PLCC/SCADA, which has been forwarded by OPTCL. No action has been taken by NINL so far. 

	2
	IRE, Chatrapur
	Data communication system yet to be established by the Plant


In the 117th PSOC meeting, Members opined that GCC should file a case soon against NINL & IRE before the OERC.

In the 119th PSOC meeting it was decided that GCC shall file a case against the defaulting CGP/ Consumers before the OERC. 
In the 123rd PSOC meeting it was deliberated that RT&C have sought some information from Telecom wing which will be intimated. NALCO stated that due to problem in their internal communication system, data communication to SLDC is being interrupted.
In the 124th PSOC meeting Telecom stated that communication system for Paradeep area industries will be completed by September’2018. Telecom was advised to give a reply to the information sought by RT&C. 

In the 125th PSOC meeting Telecom stated that the information sought by RT&C will be forwarded soon.
In the 126th PSOC meeting it was decided that SLDC shall convene a meeting with Telecom, GCC & RT&C and discuss the issue for filing case before the OERC.

A meeting was convened between SLDC, Telecom, GCC, RT&C, NINL & IRE Ltd on dt.15.01.2019 at SLDC conference hall to discuss the communication issue. Representative of IRE, SLDC, GCC and Telecom were attended the meeting. IRE deliberated that presently CB, CT & CVT are not installed at their end. Tendering for procurement of CB, CT & CVT have already been done, which will be expected by end of April’2019. Due to space constraint at IRE Switch yard, installation of the equipment may not be possible, unless the Switchyard is modified. For modification they may need the help of OPTCL. It was suggested by SLDC that IRE may approach Sr. G.M (O&M), Zone-1, OPTCL in this regard. Simultaneously, they also to write Sr. G.M (Telecom), OPTCL for preparing estimate for extending data communication from their end.

NINL was not present in the meeting.  

In the 129th PSOC meeting it was decided that DGM (O&M), Berhampur and DGM (Cons.), Berhampur shall visit IRE S/W yard and submit a status report to Sr. G.M (O&M), Berhampur. RT&C may file a case before the OERC for non-compliance of extending data communication facility by M/s NINL

Deliberations in the meeting

Sr. G.M (O&M), Berhampur stated that he has not received any field inspection report. He further stated that at present there is no space available at IRE S/W yard for installation of CB and other associated equipment. As required by RT&C, Telecom may provide the required information to them for filing a case before the OERC against the entity / CGP for noncompliance of OGC provisions in respect of providing data communication facility to SLDC Control room
[Action: GCC /RT&C/ Telecom]

D.3: Implementation of Automatic Meter Reading for OPTCL-Discom interface points.

In the 116th PSOC meeting, IT stated that out of 840 nos of meters integrated, around data from 750 nos of meters will be received each month. Data from the remaining 90 meters are to be collected manually.

In the 117th PSOC meeting IT stated that out of 840 nos of meters integrated, data from 717 nos of meters have been extracted for the month of December’17. Data could not be collected from 63 Nos of meters, which were replaced, as the information was received by IT one day before. CGM (O&M) may instruct Secure meters Ltd to inform the replacement of meters to IT immediately. 

In the 118th PSOC meeting, IT stated that out of 840 nos. of meters integrated, data from 754 nos. of meters have been extracted for the month of January’18. The extracted data will be compared with the M cubed meter reading. If found satisfactory, the project will be made go live.
In the 119th PSOC meeting IT stated that Parameters of 16 Nos meters are showing wrong. DLMS data for the newly installed Secure meters are not coming. It was decided that O&M shall discuss the matter with Secure meters to resolve the issue.
In the 123rd PSOC meeting IT stated that out of 840 Nos interface meters connected with AMI, 750 Nos are reporting at present. The newly replaced meters are not reporting. 2 Nos. of meters has sent to M/s SECURE meters for study.

In the 127th PSOC meeting IT stated that TCS is demanding Rs. 6.5 lacs for developing the required software. The proposal is placed before the management for approval

In the 128th PSOC meeting IT stated that the memorandum has been placed before the PSC

In the 129th PSOC meeting IT stated that PSC has already approved the proposal. TCS will develop the software.
Deliberations in the meeting
IT stated that the minutes of PSC are yet to be received by them. Action will be taken on receipt of the minutes.

[Action: Sr.G.M. (IT)]

D.4: OPGC Agenda:


OPGC proposed to carry out the following activities in 220KV IB – Budhipadar Circuits. 

1. IB-Budhipadar ckt-2, R-Phase, CVT oil leakage to be arrested.

2. Implementation of Carrier Protection Scheme to be implemented in all 4 ckts of 220 KV IB-Budhipadar lines.

3. Implementation of  Single Phase Auto Recloser scheme to be implemented in all 4 ckts of 220 KV IB-Budhipadar lines.

Deliberations in the meeting

Telecom stated that rectification of CVT oil leakage problem has already been taken up. It was deliberated that OPGW may be used for implementation of carrier protection scheme. For the same OPGC may write to Telecom wing of OPTCL. For single phase auto enclosure O&M will may take necessary action.
[Action: OPGC / O&M / Telecom]
PART E: OPERATIONAL PLANNING
E.1:  Commissioning status of new Transmission elements. 
The status of commissioning of new transmission elements deliberated in the meeting is as follows:
	   Sl. No
	Transmission element details
	Present Status

	1
	Commissioning of 220 kV Jayanagar-Jeypore 2nd DC line 
	Expected to be completed by March’19.

	2
	Commissioning of 400 kV Meramundali-Mendhasal 2nd ckt.
	March’2019

	3
	400/220 kV, 315 MVA 3rd ICT at Mendhasal S/S
	February’2019

	4
	220/33 kV, 2x20 MVA Baliguda S/S
	July’19

	5
	220/33 kV, 2x20 MVA Kalimela S/S
	July’19

	6
	220/33 kV, 2x20 MVA Kasipur S/S
	March’2019. Line charged.

	7
	220/132 /33 kV, 2x100 MVA Aska S/S
	March’19

	8
	220/132/33 kV, Goda Chhak S/S (320 MVA)
	June’19

	9
	220/132/33 kV Jayapatana S/S(320 MVA)
	July’19

	10
	220/132 kV Pratapsasan S/S(320 MVA)
	Dec’19

	11
	220/132 kV Kesinga S/S (320 MVA)
	July’19

	12
	132/33 kV Betanati S/S
	March’19

	13
	132/33 kV R.Udyagiri S/S
	March’19

	14
	132/33 kV Chikiti S/S
	S/S charged on 25.02.2019


The Discoms are requested to take necessary action for availing power supply from those S/Ss and prepare their action plan for takeoff arrangement.
CGM (Construction) / DISCOMs may please deliberate the status.

E.2: Major Events in the month of January’19
1.   On 16.01.2019 at 14:56 Hrs 132 KV Sunabeda-Patangi line idle charged from Sunabeda end.
2.  On 26.01.2019 at 18:32 Hrs 220 kV Theruvali-Indravati ckt-IV LILO at Kasipur main bus and Kasipur bus charged.
3. On 28.01.2019, 3rd 132/33 kV , 40 MVA Transformer charged at Padmapur Grid S/S.
Members may note

E.3: Important Grid Incidences during the month of January’19.
The major incidences occurred during the month was reviewed.  O&M may analyse the incidences for deliberation in the PCC meeting of ERPC.
[Action: (O&M)]
E.4: Outage of major transmission Elements during the month of January’19. (above 10 hrs).
Outages of major transmission elements during the month were reviewed. The outages are due to jumper snapping and insulator failure.

[Action: (O&M)]

E.5:  Review of Outage Program of State Generators / Transmission elements for the month of March’19:

Tentative Outage programme for State Generators for the month of March’2019 
	Sl.
	Station
	Unit
	Period
	Remarks

	1
	Burla
	# 1
# 4
# 5

# 6
	14.03.18 to continue
25.10.18 to continue
25.10.16 to continue

16.10.15 to continue
	T&G coupling cover water leakage

Annual Maintenance

Under R,M & U

Under R, M & U

	2
	Chiplima
	# 3
	15.10.15 to continue
	Under R,M & U

	3
	Balimela
	# 1

# 2
# 3
	05.08.16 to continue

20.11.17 to continue

04.02.19 to 03.03.19
	Under R,M & U

Programming for R&M
Annual Maintenance

	4
	Rengali
	# 2

# 5
	12.12.18 to continue

01.03.19 to 31.03.19
	Replacement of Runner disc.

Annual Maintenance

	5
	Upper Kolab
	# 1

# 4
	10.03.19 to 09.04.19

01.02.19 to continue
	Annual Maintenance

Capital maintenance work



[Action: OHPC]

E.6: Generation Program for the month of March’19.
Generation schedule for the month of March’19 furnished by OHPC are given below. 

	Name of Hydro Gen. Station               
	Generation Program (MW)
	Reservoir Level as on 01.02.19
	Reservoir Level as on 01.02.18
	MDDL
	High Flood    Reservoir Level

	
	Mar’19
(1st fortnight)
	Mar’19
 (2nd fortnight)
	
	
	
	

	HPS-I, Burla
	35
	35
	622.58 ft.
	623.91 ft.
	590 ft.
	630 ft.

	HPS-II, Chiplima
	25
	25
	-
	-
	-
	-

	Balimela
	300
	300
	1503.20 ft.
	1467.30 ft.
	1440 ft.
	1516 ft.

	Rengali
	40
	40
	117.20 mtr.
	122.25 mtr.
	109.72mtr 
	123.5 mtr.

	U.Kolab
	100
	100
	854.22 mts.
	853.02 mtr.
	844 mtr 
	858 mtr.

	U. Indravati
	250
	250
	638.00 mtr.
	635.20 mtr.
	625mtr 
	642 mtr

	MKD (O/D)
	30
	30
	2739.55 ft.
	2745.90 ft.
	2685 ft.
	2750 ft.

	TOTAL
	780
	780
	
	
	
	


Generation schedule may change depending on inflow & availability of machine.

[Action: SLDC / OHPC]
E.7: Anticipated power generation and demand for the month of March’2019.
	Sl. No
	Discom
	Average
	Peak

	1
	CESU
	1150
	1350

	2
	WESCO
	1100
	1250

	3
	NESCO
	850
	970

	4
	SOUTHCO
	450
	570

	6
	Total Discom
	3550
	4140

	
	System Loss & others 
	150
	200

	
	Total Demand
	3700
	4340

	Availability
	
	

	1
	Hydro
	780  
	1300

	2
	State Thermal
	750
	750

	3
	IPP, small hydro &RE
	500
	500

	4
	ISGS share (including OA& purchase)
	1320
	1440

	5
	CGP support (OA)
	350
	350

	6
	Total availability
	3700
	4340

	7
	Surplus / Deficit
	0
	0


Members may discuss.

PART F: OTHER ISSUES
F.1: All members expressed their gratitude to Er. N.C.Swain, CGM (Const.), Er. B.K.Sahoo, CGM (O&M) & Er.S.Pattanayak, Sr.GM, (O&M), Zone-I, Berhampur who are going to retire from service on superannuation by end of this month, for their advice and guidance. PSOC will remember their valuable advice and the foot prints they have left for all times with deep regard.  

F.2: Members not present in the meeting.

It is noticed that following organizations / wings have not deputed their members to represent in the 130th PSOC meeting. Some of the agenda items could not be discussed in absence of representatives of those utility.
Representatives not presented in the meeting.
	Sl. No
	Name of Organization/Wing
	Sl. No
	Name of Organization/Wing

	1
	JSPL
	7
	TATA Power Ltd

	2
	HINDALCO
	8
	BSL

	3
	TTPS
	9
	BPSL 

	4
	IMFA
	10
	Vedanta Ltd. (IPP)

	5
	NALCO
	11
	GMR (IPP)

	6
	BPPL
	12
	RSP (SAIL)


Members are requested to depute their officers to represent in the PSOC meeting in future, since the forum is discussing important operational issues of the State Transmission system.     
F.3:  Date and Venue of the next (131st) PSOC meeting.
Date and venue of 131st PSOC meeting will be intimated to all members.
ANNEXURE

[image: image2.jpg]130th Power System Operational Co-ordination Committee Meeting
[ At 11:00 A.M. on dt. 25.02.2019]
[At PTC, Chandaka, Bhubaneswar]

:L Name Designation | Organisation | Mobile No. E-mail Address Signature
1 | B-K. Sahe Com(otm)| OPTeL 7455,77077/7 @j,k_

2 Pk Mishra cLp sLp e G5 £q0TH0>- dd-gdtéi)fvai»n. JLL

3 | Pos. Cohy CGM(;)§E OPTel | q43890FFFL |ele- prschm@ ofil- & és& 0

4 | K K’(‘]‘sﬁv*»[_ Qe N /21 Svm of \\/\&\ L
14, f/mm;u, Sllptsn)| 1 layssaorbel| Sym mi-rpr 2}\/

6 |5 Bhes [SAMEL] opppe | 72288592493 Sim’—wﬂ)’,g?é,//go -
7 M; QM LGMED 6,’5’;; e o A »

8 A% Mohauly | pemED oNfC | 72258 qo0 [ P 676€ pales to. }w/@]/

" | Pk moboprts] Ay [9FGC |12205300 B3 lin] Asatuagond
0[S wourabee Gn(en) [SPGC |g3nsus ﬁi@?ﬁ‘m& Ay L

| P Nagos pum(Tel) |0 PTeL |7428907502{E80 o V- bhg | e

2 | P g Mekap|—lo— | —do— 2439907540 HIRAD | dmay

= /’ww“ (’w/ml fom (o) JSL | 7920250130 pmh:,-t oy Lm”’%'
4] 0 K M DO T | ppTen | 9389074k Tl Shpu shon @am B

15 | B aned Pt |ndhie |aygrreiz7d |25 snutta o sotedik: M

6 Do e Bahuw  Memsoreflneste [qy38q0k022 pescodA@gmil. ]y
7=, D ?\(OJ\?(WI\_G]M(O) N ESCo [qYa g4obolY e‘;q,,,;\ﬁw@wto:i?)tu %Z?Y

18 M.\,%a\@:\ AMCE) | WESCO [ BHYIMLR :)socc@mescw\\sgg: %\\‘\' o
9 ()€ Bomgp |Aonle) | ofrei 9439757351 |l g @ L | HED

| R bbb | Dbt |etpey | TessoeE | SRCERRare) Chontiagy
20K Dy [AhM) | oPTEL 9329073/ %‘%’mﬂﬁ Q}m

2 [k, Wptorpn) G ()] oPTEE Aol Gt Sl By
= G%Wmfm&\wg mvlw | orel [qumasa ﬁ&x‘iﬁ\‘ﬁ?@w L@J%—

u |P g, SHapeltl, | €M | cone |7438909410 yaP A 7% ny -

5| pensuawr u\mfslz m{ 6 Guanly | Sensurgany | PERRLAR D h
T | eree|avor s figslicbr] P
27 | Loolhadiar Cabon| AGhy | OPTCL | T43%9080S ) p,f-/fftfﬁwb\@ o
2 [P Rar [naw |scoe paassorddEd it oprar





[image: image3.jpg]» | o |99/ S5C | T8 g9 d o) éfftafﬂ e

o | phepedhy | G | caov |9 3Rer6RI0 AHC eSO 7

30 P Medipan le ppCL 9,3 8507 55) e@-?bmém@{[’@/ W

32 ES,S.N%ouL GetM, PP | GRIDLO qy3 14044 S¥ ,zzm.(otpgr,lww,;w ﬂ/?vu—‘ltL

3 [N O Gratn  [egh tenh| apTCL. | 9453%5079¢) Cqmitom @ opel e, M/

3 Ak Pl |Sramlrc) o FTel [quyssgo7ye|cqm Lot o %ﬂﬁ
5 | M cpeheva. o mm)| oevel  |aussrassy |ébmkbehed st o o
5 12 padujonlly |MERE |@kioce [Fooseacnin| YR Sl i AP
7 | P mobels  |IUED | qipe plzegonal) | elepronki@ai  Go—
38 éméwfweub'&%if) SULDC RY3BIoF6T eJes LMem(C%ttM %
39 | rotodtn Kowon i s | SLBe | 4489000361 |8 Jorbsndn @ otiur S0





